## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-11_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-11_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-11_0_7_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3443-11_0_7_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3443-11_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3443-11_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3443-11_0_7_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3443-11_0_7_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_3443-11_0_7_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_3443-11_0_7_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_3443-11_0_7_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3443-11_0_7_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_3443-11_0_7_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3443-11_0_7_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_3443-11_0_7_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_3443-11_0_7_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_3443-11_0_7_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_3443-11_0_7_node_91 | 0.4 | n |  | TRUE
18 | bus_LV_3443-11_0_7_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3443-11_0_7_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_3443-11_0_7_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_3443-11_0_7_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_3443-11_0_7_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3443-11_0_7_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3443-11_0_7_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3443-11_0_7_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_3443-11_0_7_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_3443-11_0_7_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_3443-11_0_7_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3443-11_0_7_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_3443-11_0_7_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_3443-11_0_7_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_3443-11_0_7_node_78 | 0.4 | n |  | TRUE
33 | bus_LV_3443-11_0_7_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_3443-11_0_7_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_3443-11_0_7_node_59 | 0.4 | n |  | TRUE
36 | bus_LV_3443-11_0_7_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_3443-11_0_7_node_87 | 0.4 | n |  | TRUE
38 | bus_LV_3443-11_0_7_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_3443-11_0_7_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_3443-11_0_7_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_3443-11_0_7_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_3443-11_0_7_node_82 | 0.4 | n |  | TRUE
43 | bus_LV_3443-11_0_7_node_83 | 0.4 | n |  | TRUE
44 | bus_LV_3443-11_0_7_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_3443-11_0_7_node_30 | 0.4 | n |  | TRUE
46 | bus_LV_3443-11_0_7_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_3443-11_0_7_node_32 | 0.4 | n |  | TRUE
48 | bus_LV_3443-11_0_7_node_33 | 0.4 | n |  | TRUE
49 | bus_LV_3443-11_0_7_node_34 | 0.4 | n |  | TRUE
50 | bus_LV_3443-11_0_7_node_89 | 0.4 | n |  | TRUE
51 | bus_LV_3443-11_0_7_node_84 | 0.4 | n |  | TRUE
52 | bus_LV_3443-11_0_7_node_60 | 0.4 | n |  | TRUE
53 | bus_LV_3443-11_0_7_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3443-11_0_7_node_90 | 0.4 | n |  | TRUE
55 | bus_LV_3443-11_0_7_node_61 | 0.4 | n |  | TRUE
56 | bus_LV_3443-11_0_7_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_3443-11_0_7_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_3443-11_0_7_node_36 | 0.4 | n |  | TRUE
59 | bus_LV_3443-11_0_7_node_38 | 0.4 | n |  | TRUE
60 | bus_LV_3443-11_0_7_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3443-11_0_7_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_3443-11_0_7_node_46 | 0.4 | n |  | TRUE
63 | bus_LV_3443-11_0_7_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_3443-11_0_7_node_45 | 0.4 | n |  | TRUE
65 | bus_LV_3443-11_0_7_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_3443-11_0_7_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_3443-11_0_7_node_47 | 0.4 | n |  | TRUE
68 | bus_LV_3443-11_0_7_node_48 | 0.4 | n |  | TRUE
69 | bus_LV_3443-11_0_7_node_49 | 0.4 | n |  | TRUE
70 | bus_LV_3443-11_0_7_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_3443-11_0_7_node_51 | 0.4 | n |  | TRUE
72 | bus_LV_3443-11_0_7_node_52 | 0.4 | n |  | TRUE
73 | bus_LV_3443-11_0_7_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_3443-11_0_7_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_3443-11_0_7_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_3443-11_0_7_node_86 | 0.4 | n |  | TRUE
77 | bus_LV_3443-11_0_7_node_64 | 0.4 | n |  | TRUE
78 | bus_LV_3443-11_0_7_node_62 | 0.4 | n |  | TRUE
79 | bus_LV_3443-11_0_7_node_63 | 0.4 | n |  | TRUE
80 | bus_LV_3443-11_0_7_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_3443-11_0_7_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_3443-11_0_7_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_3443-11_0_7_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_3443-11_0_7_node_67 | 0.4 | n |  | TRUE
85 | bus_LV_3443-11_0_7_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_3443-11_0_7_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_3443-11_0_7_node_72 | 0.4 | n |  | TRUE
88 | bus_LV_3443-11_0_7_node_73 | 0.4 | n |  | TRUE
89 | bus_LV_3443-11_0_7_node_74 | 0.4 | n |  | TRUE
90 | bus_LV_3443-11_0_7_node_75 | 0.4 | n |  | TRUE
91 | bus_LV_3443-11_0_7_node_88 | 0.4 | n |  | TRUE
92 | bus_MV_590_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-11_0_7_load_0 | 0 | 0.013069 | 0.0032754 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-11_0_7_load_1 | 1 | 0.0031098 | 0.00077939 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-11_0_7_load_4 | 4 | 0.0018828 | 0.00047188 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-11_0_7_load_5 | 5 | 0.021784 | 0.0054595 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-11_0_7_load_10 | 7 | 0.0012404 | 0.00031088 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-11_0_7_load_6 | 9 | 0.00037828 | 9.4806e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-11_0_7_load_7 | 10 | 0.0015344 | 0.00038455 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-11_0_7_load_8 | 11 | 0.00027596 | 6.9163e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-11_0_7_load_15 | 14 | 0.00056264 | 0.00014101 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-11_0_7_load_16 | 15 | 0.00069322 | 0.00017374 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-11_0_7_load_17 | 16 | 0.0001971 | 4.9397e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-11_0_7_load_91 | 17 | 0.040893 | 0.010249 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-11_0_7_load_13 | 18 | 0.030985 | 0.0077657 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-11_0_7_load_56 | 19 | 0.0015943 | 0.00039957 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-11_0_7_load_18 | 22 | 0.0032614 | 0.00081738 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-11_0_7_load_19 | 23 | 0.002775 | 0.00069549 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-11_0_7_load_21 | 25 | 0.013006 | 0.0032595 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-11_0_7_load_22 | 26 | 0.0011861 | 0.00029726 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-11_0_7_load_79 | 27 | 0.096498 | 0.024185 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-11_0_7_load_23 | 28 | 0.0025613 | 0.00064192 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-11_0_7_load_80 | 29 | 0.012786 | 0.0032044 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-11_0_7_load_76 | 30 | 0.013918 | 0.0034882 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-11_0_7_load_57 | 34 | 0.0040746 | 0.0010212 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-11_0_7_load_59 | 35 | 0.0021534 | 0.00053971 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-11_0_7_load_58 | 36 | 0.0018141 | 0.00045465 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-11_0_7_load_87 | 37 | 0.0020884 | 0.00052341 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-11_0_7_load_25 | 38 | 0.0017209 | 0.00043129 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-11_0_7_load_26 | 39 | 0.0034134 | 0.00085548 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-11_0_7_load_27 | 40 | 0.00042059 | 0.00010541 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-11_0_7_load_28 | 41 | 0.0032545 | 0.00081567 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-11_0_7_load_82 | 42 | 0.0014818 | 0.00037137 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-11_0_7_load_83 | 43 | 0.004656 | 0.0011669 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-11_0_7_load_29 | 44 | 0.0028906 | 0.00072445 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-11_0_7_load_30 | 45 | 0.004927 | 0.0012348 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-11_0_7_load_33 | 48 | 0.0057179 | 0.001433 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-11_0_7_load_34 | 49 | 0.002656 | 0.00066565 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-11_0_7_load_89 | 50 | 0.0035231 | 0.00088297 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-11_0_7_load_84 | 51 | 0.0058667 | 0.0014703 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-11_0_7_load_60 | 52 | 0.001217 | 0.00030501 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-11_0_7_load_90 | 54 | 0.0045949 | 0.0011516 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-11_0_7_load_61 | 55 | 0.0019371 | 0.00048548 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-11_0_7_load_39 | 56 | 0.00337 | 0.0008446 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-11_0_7_load_35 | 57 | 0.0030442 | 0.00076295 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-11_0_7_load_36 | 58 | 0.0061883 | 0.0015509 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-11_0_7_load_42 | 60 | 0.0018396 | 0.00046105 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-11_0_7_load_40 | 61 | 0.0030566 | 0.00076605 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-11_0_7_load_46 | 62 | 0.0058608 | 0.0014689 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-11_0_7_load_41 | 63 | 0.0030627 | 0.00076757 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-11_0_7_load_43 | 65 | 0.0032728 | 0.00082024 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-11_0_7_load_44 | 66 | 0.0029702 | 0.00074441 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-11_0_7_load_47 | 67 | 0.0018917 | 0.0004741 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-11_0_7_load_48 | 68 | 0.0032596 | 0.00081694 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-11_0_7_load_49 | 69 | 0.0017005 | 0.0004262 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-11_0_7_load_50 | 70 | 0.00090081 | 0.00022577 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-11_0_7_load_51 | 71 | 0.0029318 | 0.00073479 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-11_0_7_load_52 | 72 | 0.0018203 | 0.00045621 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-11_0_7_load_53 | 73 | 0.001042 | 0.00026116 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-11_0_7_load_54 | 74 | 0.003232 | 0.00081001 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-11_0_7_load_85 | 75 | 0.0026484 | 0.00066375 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3443-11_0_7_load_86 | 76 | 0.0028328 | 0.00070997 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3443-11_0_7_load_64 | 77 | 0.0020833 | 0.00052212 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3443-11_0_7_load_62 | 78 | 0.0014755 | 0.0003698 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3443-11_0_7_load_63 | 79 | 0.0081627 | 0.0020458 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3443-11_0_7_load_65 | 80 | 0.001468 | 0.00036791 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3443-11_0_7_load_70 | 81 | 0.0022762 | 0.00057047 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3443-11_0_7_load_68 | 82 | 0.0027426 | 0.00068735 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3443-11_0_7_load_66 | 83 | 0.0013226 | 0.00033147 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3443-11_0_7_load_67 | 84 | 0.001332 | 0.00033384 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3443-11_0_7_load_69 | 85 | 0.0020043 | 0.00050231 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3443-11_0_7_load_71 | 86 | 0.0013135 | 0.00032919 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3443-11_0_7_load_72 | 87 | 0.0019135 | 0.00047957 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3443-11_0_7_load_73 | 88 | 0.0018349 | 0.00045986 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3443-11_0_7_load_74 | 89 | 0.0014002 | 0.00035092 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3443-11_0_7_load_75 | 90 | 0.001434 | 0.00035939 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3443-11_0_7_load_88 | 91 | 0.0035992 | 0.00090204 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 20 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-11_0_7_line_0 |  | 0 | 1 | 0.025757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-11_0_7_line_1 |  | 0 | 2 | 0.18135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-11_0_7_line_2 |  | 1 | 3 | 0.045897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-11_0_7_line_3 |  | 2 | 4 | 0.011344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-11_0_7_line_4 |  | 2 | 5 | 0.037688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-11_0_7_line_5 |  | 3 | 6 | 0.111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-11_0_7_line_6 |  | 3 | 7 | 0.21722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-11_0_7_line_7 |  | 6 | 8 | 0.10286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_3443-11_0_7_line_8 |  | 7 | 12 | 0.012706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-11_0_7_line_9 |  | 8 | 17 | 0.10161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_3443-11_0_7_line_10 |  | 8 | 18 | 0.13134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-11_0_7_line_11 |  | 9 | 10 | 0.025171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-11_0_7_line_12 |  | 10 | 11 | 0.017809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3443-11_0_7_line_13 |  | 11 | 12 | 0.025517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-11_0_7_line_14 |  | 12 | 13 | 0.003602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-11_0_7_line_15 |  | 13 | 14 | 0.084401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-11_0_7_line_16 |  | 14 | 15 | 0.051055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-11_0_7_line_17 |  | 15 | 16 | 0.014079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3443-11_0_7_line_18 |  | 17 | 21 | 0.033798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_3443-11_0_7_line_19 |  | 19 | 20 | 0.0058628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-11_0_7_line_20 |  | 20 | 33 | 0.022819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_3443-11_0_7_line_21 |  | 20 | 34 | 0.022162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-11_0_7_line_22 |  | 20 | 28 | 0.026578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3443-11_0_7_line_23 |  | 21 | 32 | 0.074222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3443-11_0_7_line_24 |  | 22 | 23 | 0.057103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-11_0_7_line_25 |  | 23 | 24 | 0.027269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-11_0_7_line_26 |  | 24 | 25 | 0.0095455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3443-11_0_7_line_27 |  | 25 | 26 | 0.022553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-11_0_7_line_28 |  | 26 | 27 | 0.063261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-11_0_7_line_29 |  | 27 | 29 | 0.054988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-11_0_7_line_30 |  | 28 | 29 | 0.083277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3443-11_0_7_line_31 |  | 29 | 32 | 0.032388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3443-11_0_7_line_32 |  | 30 | 31 | 0.033617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3443-11_0_7_line_33 |  | 31 | 32 | 0.020402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3443-11_0_7_line_34 |  | 33 | 35 | 0.025073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3443-11_0_7_line_35 |  | 33 | 36 | 0.0044639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3443-11_0_7_line_36 |  | 34 | 37 | 0.024018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-11_0_7_line_37 |  | 35 | 75 | 0.019942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-11_0_7_line_38 |  | 36 | 56 | 0.0082304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3443-11_0_7_line_39 |  | 38 | 39 | 0.0034559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3443-11_0_7_line_40 |  | 38 | 40 | 0.013541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-11_0_7_line_41 |  | 39 | 41 | 0.02092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3443-11_0_7_line_42 |  | 41 | 42 | 0.0064764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-11_0_7_line_43 |  | 42 | 43 | 0.016459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3443-11_0_7_line_44 |  | 43 | 51 | 0.02487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3443-11_0_7_line_45 |  | 44 | 45 | 0.00025525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3443-11_0_7_line_46 |  | 44 | 46 | 0.01481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-11_0_7_line_47 |  | 45 | 47 | 0.049363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3443-11_0_7_line_48 |  | 46 | 48 | 0.018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3443-11_0_7_line_49 |  | 46 | 49 | 0.013688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3443-11_0_7_line_50 |  | 47 | 50 | 0.019887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3443-11_0_7_line_51 |  | 47 | 51 | 0.015032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-11_0_7_line_52 |  | 48 | 52 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3443-11_0_7_line_53 |  | 49 | 53 | 0.029481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3443-11_0_7_line_54 |  | 50 | 54 | 0.016368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3443-11_0_7_line_55 |  | 52 | 55 | 0.0017509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3443-11_0_7_line_56 |  | 53 | 56 | 0.015741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3443-11_0_7_line_57 |  | 53 | 57 | 0.01451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3443-11_0_7_line_58 |  | 55 | 77 | 0.00032351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3443-11_0_7_line_59 |  | 57 | 58 | 0.010042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-11_0_7_line_60 |  | 58 | 59 | 0.0053937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3443-11_0_7_line_61 |  | 59 | 60 | 0.0081268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-11_0_7_line_62 |  | 59 | 61 | 0.010514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3443-11_0_7_line_63 |  | 60 | 62 | 0.012203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3443-11_0_7_line_64 |  | 61 | 63 | 0.020236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3443-11_0_7_line_65 |  | 62 | 64 | 0.0033921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-11_0_7_line_66 |  | 64 | 67 | 0.0083693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-11_0_7_line_67 |  | 64 | 65 | 0.011186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-11_0_7_line_68 |  | 65 | 66 | 0.015548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-11_0_7_line_69 |  | 67 | 68 | 0.012241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3443-11_0_7_line_70 |  | 68 | 69 | 0.012032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3443-11_0_7_line_71 |  | 69 | 70 | 0.00018608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3443-11_0_7_line_72 |  | 70 | 71 | 0.011684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3443-11_0_7_line_73 |  | 71 | 72 | 0.0069648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3443-11_0_7_line_74 |  | 72 | 73 | 0.004233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3443-11_0_7_line_75 |  | 73 | 74 | 0.010966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-11_0_7_line_76 |  | 75 | 76 | 0.0093007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3443-11_0_7_line_77 |  | 76 | 91 | 0.011834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-11_0_7_line_78 |  | 77 | 78 | 0.0071105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-11_0_7_line_79 |  | 78 | 79 | 0.004553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3443-11_0_7_line_80 |  | 79 | 80 | 0.011382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3443-11_0_7_line_81 |  | 80 | 81 | 0.0019295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3443-11_0_7_line_82 |  | 81 | 82 | 0.00022267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3443-11_0_7_line_83 |  | 82 | 83 | 0.00057446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3443-11_0_7_line_84 |  | 83 | 84 | 0.023572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3443-11_0_7_line_85 |  | 84 | 85 | 0.0010304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3443-11_0_7_line_86 |  | 85 | 86 | 0.0011306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3443-11_0_7_line_87 |  | 86 | 87 | 0.00055541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3443-11_0_7_line_88 |  | 87 | 88 | 0.0069866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3443-11_0_7_line_89 |  | 88 | 89 | 0.015002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3443-11_0_7_line_90 |  | 89 | 90 | 0.00054396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-11_0_7_trafo_24 | 0.63 MVA 20/0.4 kV | 92 | 20 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2737957.5009 | 1253942.4529 | 2737959.2355 | 1253942.1585 | 2737982.8715 | 1253938.0084
1 | 2737957.5009 | 1253942.4529 | 2737778.4435 | 1253971.2108
2 | 2738028.1878 | 1253930.7432 | 2737995.8039 | 1253935.7377 | 2737982.8715 | 1253938.0084
3 | 2737778.4435 | 1253971.2108 | 2737779.5892 | 1253982.4966
4 | 2737778.4435 | 1253971.2108 | 2737748.6275 | 1253967.0802 | 2737741.2383 | 1253965.3584
5 | 2738018.4013 | 1253824.1275 | 2738019.1136 | 1253830.8059 | 2738032.2949 | 1253930.0493 | 2738028.1878 | 1253930.7432
6 | 2738028.1878 | 1253930.7432 | 2738095.1029 | 1254137.3987
7 | 2738018.4013 | 1253824.1275 | 2738116.605 | 1253792.6095
8 | 2738099.7764 | 1254149.2142 | 2738095.1029 | 1254137.3987
9 | 2738116.605 | 1253792.6095 | 2738128.2226 | 1253691.6648
10 | 2738116.605 | 1253792.6095 | 2738133.382 | 1253803.066 | 2738136.7413 | 1253806.6031 | 2738145.6098 | 1253817.2976 | 2738156.8775 | 1253833.531 | 2738165.8551 | 1253843.4274 | 2738205.0081 | 1253875.6928 | 2738210.1062 | 1253883.0363
11 | 2738046.5031 | 1254162.24 | 2738054.3554 | 1254163.0904 | 2738058.1951 | 1254159.2986 | 2738060.7607 | 1254153.175 | 2738063.365 | 1254148.6315
12 | 2738076.4751 | 1254154.4896 | 2738075.2264 | 1254152.9898 | 2738068.754 | 1254145.7211 | 2738063.365 | 1254148.6315 | 2738063.365 | 1254148.6315
13 | 2738099.7764 | 1254149.2142 | 2738083.7737 | 1254156.4033 | 2738077.6345 | 1254155.8819 | 2738076.4751 | 1254154.4896
14 | 2738099.7764 | 1254149.2142 | 2738103.2209 | 1254148.1268
15 | 2738103.2209 | 1254148.1268 | 2738104.6929 | 1254151.6755 | 2738127.2583 | 1254210.2894 | 2738133.9103 | 1254226.7477
16 | 2738153.9108 | 1254273.7131 | 2738143.1133 | 1254249.5177 | 2738133.9103 | 1254226.7477
17 | 2738153.9108 | 1254273.7131 | 2738159.6484 | 1254286.5701
18 | 2738128.2226 | 1253691.6648 | 2738119.1375 | 1253697.0357 | 2738112.5442 | 1253697.5157 | 2738108.5349 | 1253696.9217 | 2738100.3639 | 1253694.4956 | 2738097.7363 | 1253691.2981
19 | 2738001.6017 | 1253695.5171 | 2738002.357 | 1253701.331
20 | 2737979.0024 | 1253695.5129 | 2737987.8531 | 1253697.2763 | 2738001.6017 | 1253695.5171
21 | 2738001.6017 | 1253695.5171 | 2737998.7467 | 1253702.3903 | 2738000.6634 | 1253716.9848
22 | 2738001.6017 | 1253695.5171 | 2737998.2374 | 1253669.1533
23 | 2738097.7363 | 1253691.2981 | 2738099.1409 | 1253674.7711 | 2738100.6239 | 1253640.3293 | 2738099.6315 | 1253617.1959
24 | 2737948.9249 | 1253451.0148 | 2737963.2817 | 1253465.5119 | 2737968.7387 | 1253472.0116 | 2737975.0003 | 1253483.1789 | 2737981.6983 | 1253497.0578
25 | 2738002.5716 | 1253513.1044 | 2737991.8544 | 1253508.8285 | 2737983.4467 | 1253500.6807 | 2737981.6983 | 1253497.0578
26 | 2738002.5716 | 1253513.1044 | 2738000.741 | 1253522.4727
27 | 2738000.741 | 1253522.4727 | 2737996.4156 | 1253544.6072
28 | 2737996.4156 | 1253544.6072 | 2738045.2774 | 1253584.7876
29 | 2738045.2774 | 1253584.7876 | 2738044.4761 | 1253595.8239 | 2738046.0187 | 1253610.9182 | 2738048.7481 | 1253617.1988 | 2738054.7345 | 1253622.9992 | 2738066.9424 | 1253624.1959 | 2738068.2318 | 1253624.0325
30 | 2737998.2374 | 1253669.1533 | 2738068.2318 | 1253624.0325
31 | 2738099.6315 | 1253617.1959 | 2738094.5645 | 1253619.5466 | 2738089.17 | 1253621.3781 | 2738068.2318 | 1253624.0325
32 | 2738099.0353 | 1253596.8076 | 2738103.482 | 1253596.7779 | 2738114.1805 | 1253596.9942 | 2738132.6451 | 1253596.565
33 | 2738099.0353 | 1253596.8076 | 2738099.514 | 1253607.3507 | 2738099.6315 | 1253617.1959
34 | 2737979.0024 | 1253695.5129 | 2737971.237 | 1253702.2382 | 2737967.7934 | 1253709.7539 | 2737966.6884 | 1253716.1926
35 | 2737979.0024 | 1253695.5129 | 2737975.9248 | 1253692.2794
36 | 2738000.6634 | 1253716.9848 | 2738003.7907 | 1253740.7979
37 | 2737966.6884 | 1253716.1926 | 2737963.3151 | 1253735.8467
38 | 2737975.9248 | 1253692.2794 | 2737972.6588 | 1253688.8479 | 2737971.1399 | 1253685.7024
39 | 2737866.6331 | 1253561.0809 | 2737868.1534 | 1253564.1844
40 | 2737866.6331 | 1253561.0809 | 2737860.6764 | 1253548.9205
41 | 2737868.1534 | 1253564.1844 | 2737877.3563 | 1253582.9715
42 | 2737880.2264 | 1253588.7772 | 2737879.1547 | 1253586.6429 | 2737877.3563 | 1253582.9715
43 | 2737880.2264 | 1253588.7772 | 2737885.207 | 1253598.6949 | 2737887.0621 | 1253603.7246
44 | 2737892.2137 | 1253627.8846 | 2737891.7677 | 1253620.0229 | 2737889.5308 | 1253610.4175 | 2737887.0621 | 1253603.7246
45 | 2737920.0165 | 1253661.9803 | 2737920.0479 | 1253662.2336
46 | 2737921.8651 | 1253676.9318 | 2737920.0479 | 1253662.2336
47 | 2737887.0571 | 1253640.7769 | 2737892.1864 | 1253643.5211 | 2737913.3922 | 1253642.1134 | 2737917.9846 | 1253645.5457 | 2737920.0165 | 1253661.9803
48 | 2737921.8651 | 1253676.9318 | 2737919.2531 | 1253677.2713 | 2737913.177 | 1253683.4133 | 2737911.3098 | 1253690.6951
49 | 2737921.8651 | 1253676.9318 | 2737935.4387 | 1253675.164
50 | 2737887.0571 | 1253640.7769 | 2737867.1734 | 1253640.438
51 | 2737887.0571 | 1253640.7769 | 2737891.8855 | 1253636.3519 | 2737892.3028 | 1253629.4552 | 2737892.2137 | 1253627.8846
52 | 2737911.3098 | 1253690.6951 | 2737907.6027 | 1253705.1525
53 | 2737964.6729 | 1253671.3568 | 2737935.4387 | 1253675.164
54 | 2737867.1734 | 1253640.438 | 2737865.719 | 1253640.4132 | 2737852.3758 | 1253640.9699 | 2737850.8479 | 1253641.2796
55 | 2737907.6027 | 1253705.1525 | 2737907.1678 | 1253706.8485
56 | 2737964.6729 | 1253671.3568 | 2737967.928 | 1253679.0508 | 2737971.1399 | 1253685.7024
57 | 2737964.6729 | 1253671.3568 | 2737962.8359 | 1253656.9636
58 | 2737907.0874 | 1253707.1619 | 2737907.1678 | 1253706.8485
59 | 2737962.8359 | 1253656.9636 | 2737961.5645 | 1253647.0025
60 | 2737960.8817 | 1253641.6521 | 2737961.5645 | 1253647.0025
61 | 2737960.8817 | 1253641.6521 | 2737960.0279 | 1253633.5703
62 | 2737960.8817 | 1253641.6521 | 2737950.4368 | 1253642.8575
63 | 2737960.0279 | 1253633.5703 | 2737958.746 | 1253621.4345
64 | 2737930.3346 | 1253645.1774 | 2737950.4368 | 1253642.8575
65 | 2737958.3896 | 1253618.0612 | 2737958.746 | 1253621.4345
66 | 2737958.3896 | 1253618.0612 | 2737957.2607 | 1253609.7684
67 | 2737958.3896 | 1253618.0612 | 2737947.2464 | 1253619.0346
68 | 2737931.7578 | 1253620.3876 | 2737947.2464 | 1253619.0346
69 | 2737957.2607 | 1253609.7684 | 2737955.6095 | 1253597.6396
70 | 2737955.6095 | 1253597.6396 | 2737953.9864 | 1253585.7172
71 | 2737953.9613 | 1253585.5328 | 2737953.9864 | 1253585.7172
72 | 2737953.9613 | 1253585.5328 | 2737952.3852 | 1253573.9553
73 | 2737952.3852 | 1253573.9553 | 2737952.1897 | 1253572.5191 | 2737951.2561 | 1253567.0834
74 | 2737950.5397 | 1253562.9115 | 2737951.2561 | 1253567.0834
75 | 2737950.5397 | 1253562.9115 | 2737949.5644 | 1253557.2327 | 2737948.3277 | 1253552.1772
76 | 2737961.7419 | 1253745.0133 | 2737963.3151 | 1253735.8467
77 | 2737959.7401 | 1253756.6764 | 2737961.7419 | 1253745.0133
78 | 2737905.3213 | 1253714.0496 | 2737907.0874 | 1253707.1619
79 | 2737905.3213 | 1253714.0496 | 2737904.1904 | 1253718.4599
80 | 2737904.1904 | 1253718.4599 | 2737901.3632 | 1253729.4855
81 | 2737900.884 | 1253731.3545 | 2737901.3632 | 1253729.4855
82 | 2737900.8287 | 1253731.5702 | 2737900.884 | 1253731.3545
83 | 2737900.686 | 1253732.1267 | 2737900.8287 | 1253731.5702
84 | 2737900.686 | 1253732.1267 | 2737894.8311 | 1253754.9601
85 | 2737894.8311 | 1253754.9601 | 2737894.5751 | 1253755.9582
86 | 2737894.2943 | 1253757.0534 | 2737894.5751 | 1253755.9582
87 | 2737894.1564 | 1253757.5914 | 2737894.2943 | 1253757.0534
88 | 2737894.1564 | 1253757.5914 | 2737892.421 | 1253764.3591
89 | 2737888.6948 | 1253778.8909 | 2737892.421 | 1253764.3591
90 | 2737888.5597 | 1253779.4179 | 2737888.6948 | 1253778.8909

## bus_geodata
| x | y | coords
0 | 2737957.5009 | 1253942.4529
1 | 2737982.8715 | 1253938.0084
2 | 2737778.4435 | 1253971.2108
3 | 2738028.1878 | 1253930.7432
4 | 2737779.5892 | 1253982.4966
5 | 2737741.2383 | 1253965.3584
6 | 2738018.4013 | 1253824.1275
7 | 2738095.1029 | 1254137.3987
8 | 2738116.605 | 1253792.6095
9 | 2738046.5031 | 1254162.24
10 | 2738063.365 | 1254148.6315
11 | 2738076.4751 | 1254154.4896
12 | 2738099.7764 | 1254149.2142
13 | 2738103.2209 | 1254148.1268
14 | 2738133.9103 | 1254226.7477
15 | 2738153.9108 | 1254273.7131
16 | 2738159.6484 | 1254286.5701
17 | 2738128.2226 | 1253691.6648
18 | 2738210.1062 | 1253883.0363
19 | 2738002.357 | 1253701.331
20 | 2738001.6017 | 1253695.5171
21 | 2738097.7363 | 1253691.2981
22 | 2737948.9249 | 1253451.0148
23 | 2737981.6983 | 1253497.0578
24 | 2738002.5716 | 1253513.1044
25 | 2738000.741 | 1253522.4727
26 | 2737996.4156 | 1253544.6072
27 | 2738045.2774 | 1253584.7876
28 | 2737998.2374 | 1253669.1533
29 | 2738068.2318 | 1253624.0325
30 | 2738132.6451 | 1253596.565
31 | 2738099.0353 | 1253596.8076
32 | 2738099.6315 | 1253617.1959
33 | 2737979.0024 | 1253695.5129
34 | 2738000.6634 | 1253716.9848
35 | 2737966.6884 | 1253716.1926
36 | 2737975.9248 | 1253692.2794
37 | 2738003.7907 | 1253740.7979
38 | 2737866.6331 | 1253561.0809
39 | 2737868.1534 | 1253564.1844
40 | 2737860.6764 | 1253548.9205
41 | 2737877.3562 | 1253582.9715
42 | 2737880.2264 | 1253588.7772
43 | 2737887.0621 | 1253603.7246
44 | 2737920.0479 | 1253662.2336
45 | 2737920.0165 | 1253661.9803
46 | 2737921.8651 | 1253676.9318
47 | 2737887.0571 | 1253640.7769
48 | 2737911.3098 | 1253690.6951
49 | 2737935.4387 | 1253675.164
50 | 2737867.1734 | 1253640.438
51 | 2737892.2137 | 1253627.8846
52 | 2737907.6027 | 1253705.1525
53 | 2737964.6729 | 1253671.3568
54 | 2737850.8479 | 1253641.2796
55 | 2737907.1678 | 1253706.8485
56 | 2737971.1399 | 1253685.7024
57 | 2737962.8359 | 1253656.9636
58 | 2737961.5645 | 1253647.0025
59 | 2737960.8817 | 1253641.6521
60 | 2737960.0279 | 1253633.5703
61 | 2737950.4368 | 1253642.8575
62 | 2737958.746 | 1253621.4345
63 | 2737930.3346 | 1253645.1774
64 | 2737958.3896 | 1253618.0612
65 | 2737947.2464 | 1253619.0346
66 | 2737931.7578 | 1253620.3876
67 | 2737957.2607 | 1253609.7684
68 | 2737955.6095 | 1253597.6396
69 | 2737953.9864 | 1253585.7172
70 | 2737953.9613 | 1253585.5328
71 | 2737952.3852 | 1253573.9553
72 | 2737951.2561 | 1253567.0834
73 | 2737950.5397 | 1253562.9115
74 | 2737948.3277 | 1253552.1772
75 | 2737963.3151 | 1253735.8467
76 | 2737961.7419 | 1253745.0133
77 | 2737907.0874 | 1253707.1619
78 | 2737905.3213 | 1253714.0496
79 | 2737904.1904 | 1253718.4599
80 | 2737901.3632 | 1253729.4855
81 | 2737900.884 | 1253731.3545
82 | 2737900.8287 | 1253731.5702
83 | 2737900.686 | 1253732.1267
84 | 2737894.8311 | 1253754.9601
85 | 2737894.5751 | 1253755.9582
86 | 2737894.2943 | 1253757.0534
87 | 2737894.1564 | 1253757.5914
88 | 2737892.421 | 1253764.3591
89 | 2737888.6948 | 1253778.8909
90 | 2737888.5597 | 1253779.4179
91 | 2737959.7401 | 1253756.6764
92 | 2737979.0024 | 1253695.5129

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1