## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-18_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-18_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-18_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3443-18_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3443-18_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3443-18_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3443-18_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3443-18_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3443-18_0_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_3443-18_0_3_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_3443-18_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3443-18_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_3443-18_0_3_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_3443-18_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3443-18_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_3443-18_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3443-18_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3443-18_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_3443-18_0_3_node_23 | 0.4 | n |  | TRUE
19 | bus_LV_3443-18_0_3_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_3443-18_0_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_3443-18_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_3443-18_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_3443-18_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_3443-18_0_3_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3443-18_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_3443-18_0_3_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3443-18_0_3_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_3443-18_0_3_node_28 | 0.4 | n |  | TRUE
29 | bus_LV_3443-18_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_3443-18_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_3443-18_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_3443-18_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_3443-18_0_3_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_3443-18_0_3_node_50 | 0.4 | n |  | TRUE
35 | bus_LV_3443-18_0_3_node_49 | 0.4 | n |  | TRUE
36 | bus_LV_3443-18_0_3_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_3443-18_0_3_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_3443-18_0_3_node_43 | 0.4 | n |  | TRUE
39 | bus_LV_3443-18_0_3_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_3443-18_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_3443-18_0_3_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_3443-18_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_3443-18_0_3_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_3443-18_0_3_node_45 | 0.4 | n |  | TRUE
45 | bus_LV_3443-18_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_3443-18_0_3_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3443-18_0_3_node_39 | 0.4 | n |  | TRUE
48 | bus_LV_3443-18_0_3_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_3443-18_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_3443-18_0_3_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_3443-18_0_3_node_77 | 0.4 | n |  | TRUE
52 | bus_LV_3443-18_0_3_node_76 | 0.4 | n |  | TRUE
53 | bus_LV_3443-18_0_3_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_3443-18_0_3_node_66 | 0.4 | n |  | TRUE
55 | bus_LV_3443-18_0_3_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_3443-18_0_3_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_3443-18_0_3_node_70 | 0.4 | n |  | TRUE
58 | bus_LV_3443-18_0_3_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_3443-18_0_3_node_97 | 0.4 | n |  | TRUE
60 | bus_LV_3443-18_0_3_node_95 | 0.4 | n |  | TRUE
61 | bus_LV_3443-18_0_3_node_88 | 0.4 | n |  | TRUE
62 | bus_LV_3443-18_0_3_node_89 | 0.4 | n |  | TRUE
63 | bus_LV_3443-18_0_3_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_3443-18_0_3_node_91 | 0.4 | n |  | TRUE
65 | bus_LV_3443-18_0_3_node_92 | 0.4 | n |  | TRUE
66 | bus_LV_3443-18_0_3_node_93 | 0.4 | n |  | TRUE
67 | bus_LV_3443-18_0_3_node_94 | 0.4 | n |  | TRUE
68 | bus_LV_3443-18_0_3_node_98 | 0.4 | n |  | TRUE
69 | bus_LV_3443-18_0_3_node_96 | 0.4 | n |  | TRUE
70 | bus_LV_3443-18_0_3_node_67 | 0.4 | n |  | TRUE
71 | bus_LV_3443-18_0_3_node_56 | 0.4 | n |  | TRUE
72 | bus_LV_3443-18_0_3_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_3443-18_0_3_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_3443-18_0_3_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_3443-18_0_3_node_60 | 0.4 | n |  | TRUE
76 | bus_LV_3443-18_0_3_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3443-18_0_3_node_81 | 0.4 | n |  | TRUE
78 | bus_LV_3443-18_0_3_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_3443-18_0_3_node_84 | 0.4 | n |  | TRUE
80 | bus_LV_3443-18_0_3_node_80 | 0.4 | n |  | TRUE
81 | bus_LV_3443-18_0_3_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_3443-18_0_3_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_3443-18_0_3_node_62 | 0.4 | n |  | TRUE
84 | bus_LV_3443-18_0_3_node_63 | 0.4 | n |  | TRUE
85 | bus_LV_3443-18_0_3_node_64 | 0.4 | n |  | TRUE
86 | bus_LV_3443-18_0_3_node_65 | 0.4 | n |  | TRUE
87 | bus_LV_3443-18_0_3_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_3443-18_0_3_node_85 | 0.4 | n |  | TRUE
89 | bus_LV_3443-18_0_3_node_71 | 0.4 | n |  | TRUE
90 | bus_LV_3443-18_0_3_node_72 | 0.4 | n |  | TRUE
91 | bus_LV_3443-18_0_3_node_73 | 0.4 | n |  | TRUE
92 | bus_LV_3443-18_0_3_node_74 | 0.4 | n |  | TRUE
93 | bus_LV_3443-18_0_3_node_75 | 0.4 | n |  | TRUE
94 | bus_LV_3443-18_0_3_node_86 | 0.4 | n |  | TRUE
95 | bus_LV_3443-18_0_3_node_82 | 0.4 | n |  | TRUE
96 | bus_LV_3443-18_0_3_node_83 | 0.4 | n |  | TRUE
97 | bus_MV_411_0_node_20 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-18_0_3_load_0 | 0 | 0.0052605 | 0.0013184 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-18_0_3_load_1 | 1 | 0.013692 | 0.0034315 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-18_0_3_load_4 | 4 | 0.0020983 | 0.00052589 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-18_0_3_load_5 | 5 | 0.0045613 | 0.0011432 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-18_0_3_load_6 | 6 | 0.0037743 | 0.00094592 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-18_0_3_load_7 | 7 | 0.0034859 | 0.00087365 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-18_0_3_load_21 | 8 | 0.013018 | 0.0032625 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-18_0_3_load_17 | 11 | 0.011069 | 0.0027742 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-18_0_3_load_13 | 12 | 0.002291 | 0.00057417 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-18_0_3_load_10 | 13 | 0.0020309 | 0.000509 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-18_0_3_load_8 | 14 | 0.0086675 | 0.0021723 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-18_0_3_load_25 | 17 | 0.0088992 | 0.0022304 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-18_0_3_load_23 | 18 | 0.0023471 | 0.00058824 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-18_0_3_load_33 | 19 | 0.0041535 | 0.001041 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-18_0_3_load_24 | 20 | 0.0016993 | 0.0004259 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-18_0_3_load_14 | 21 | 0.0029939 | 0.00075033 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-18_0_3_load_15 | 22 | 0.0018425 | 0.00046177 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-18_0_3_load_20 | 24 | 0.014149 | 0.003546 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-18_0_3_load_32 | 25 | 0.0046233 | 0.0011587 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-18_0_3_load_26 | 26 | 0.0011434 | 0.00028658 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-18_0_3_load_27 | 27 | 0.0059658 | 0.0014952 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-18_0_3_load_31 | 31 | 0.017123 | 0.0042914 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-18_0_3_load_48 | 32 | 0.00065508 | 0.00016418 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-18_0_3_load_42 | 33 | 0.00261 | 0.00065412 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-18_0_3_load_50 | 34 | 0.00068631 | 0.00017201 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-18_0_3_load_55 | 36 | 0.00056542 | 0.00014171 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-18_0_3_load_52 | 37 | 0.0015323 | 0.00038402 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-18_0_3_load_35 | 40 | 0.0038405 | 0.00096251 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-18_0_3_load_36 | 42 | 0.0032725 | 0.00082018 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-18_0_3_load_45 | 44 | 0.00377 | 0.00094486 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-18_0_3_load_37 | 45 | 0.0034741 | 0.00087069 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-18_0_3_load_38 | 46 | 0.0050368 | 0.0012623 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-18_0_3_load_39 | 47 | 0.0033577 | 0.00084152 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-18_0_3_load_41 | 49 | 0.0026757 | 0.0006706 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-18_0_3_load_44 | 50 | 0.0029387 | 0.00073651 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-18_0_3_load_76 | 52 | 0.0034959 | 0.00087616 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-18_0_3_load_51 | 53 | 0.0024478 | 0.00061348 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-18_0_3_load_66 | 54 | 0.00071262 | 0.0001786 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-18_0_3_load_53 | 55 | 0.00071444 | 0.00017906 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-18_0_3_load_69 | 56 | 0.0029095 | 0.00072918 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-18_0_3_load_70 | 57 | 0.0062356 | 0.0015628 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-18_0_3_load_97 | 59 | 0.00079528 | 0.00019932 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-18_0_3_load_95 | 60 | 0.0020443 | 0.00051235 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-18_0_3_load_88 | 61 | 0.0053828 | 0.001349 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-18_0_3_load_89 | 62 | 0.0027948 | 0.00070044 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-18_0_3_load_91 | 64 | 0.0014326 | 0.00035905 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-18_0_3_load_92 | 65 | 0.0042901 | 0.0010752 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-18_0_3_load_94 | 67 | 0.0010555 | 0.00026454 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-18_0_3_load_98 | 68 | 0.0012272 | 0.00030757 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-18_0_3_load_96 | 69 | 0.0009098 | 0.00022802 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-18_0_3_load_67 | 70 | 0.0012636 | 0.00031669 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-18_0_3_load_56 | 71 | 0.0045148 | 0.0011315 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-18_0_3_load_57 | 72 | 0.0042154 | 0.0010565 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-18_0_3_load_59 | 74 | 0.0046098 | 0.0011553 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-18_0_3_load_60 | 75 | 0.003797 | 0.00095161 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-18_0_3_load_61 | 76 | 0.0039867 | 0.00099917 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-18_0_3_load_81 | 77 | 0.0042183 | 0.0010572 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-18_0_3_load_79 | 78 | 0.0055688 | 0.0013957 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-18_0_3_load_84 | 79 | 0.0029674 | 0.00074371 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3443-18_0_3_load_80 | 80 | 0.0051043 | 0.0012793 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3443-18_0_3_load_68 | 81 | 0.0038493 | 0.00096473 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3443-18_0_3_load_78 | 82 | 0.0029693 | 0.00074418 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3443-18_0_3_load_62 | 83 | 0.003843 | 0.00096314 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3443-18_0_3_load_64 | 85 | 0.0041921 | 0.0010506 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3443-18_0_3_load_65 | 86 | 0.0059784 | 0.0014983 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3443-18_0_3_load_87 | 87 | 0.0060021 | 0.0015043 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3443-18_0_3_load_71 | 89 | 0.0037168 | 0.00093152 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3443-18_0_3_load_72 | 90 | 0.0050386 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3443-18_0_3_load_73 | 91 | 0.0037202 | 0.00093238 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3443-18_0_3_load_74 | 92 | 0.0039935 | 0.0010009 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3443-18_0_3_load_75 | 93 | 0.0059778 | 0.0014982 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3443-18_0_3_load_86 | 94 | 0.0048281 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3443-18_0_3_load_82 | 95 | 0.0048785 | 0.0012227 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3443-18_0_3_load_83 | 96 | 0.004758 | 0.0011925 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 92 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-18_0_3_line_0 |  | 0 | 1 | 0.01028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-18_0_3_line_1 |  | 0 | 2 | 0.006312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-18_0_3_line_2 |  | 1 | 3 | 0.012951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-18_0_3_line_3 |  | 2 | 4 | 0.059829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-18_0_3_line_4 |  | 2 | 5 | 0.026513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-18_0_3_line_5 |  | 3 | 6 | 0.032156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-18_0_3_line_6 |  | 3 | 7 | 0.0283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-18_0_3_line_7 |  | 4 | 8 | 0.0048432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-18_0_3_line_8 |  | 5 | 9 | 0.015929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-18_0_3_line_9 |  | 7 | 10 | 0.017415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-18_0_3_line_10 |  | 9 | 11 | 0.022575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-18_0_3_line_11 |  | 10 | 12 | 0.021519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-18_0_3_line_12 |  | 10 | 13 | 0.0047106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3443-18_0_3_line_13 |  | 11 | 23 | 0.015599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-18_0_3_line_14 |  | 12 | 21 | 0.016222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-18_0_3_line_15 |  | 13 | 15 | 0.034049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-18_0_3_line_16 |  | 14 | 15 | 0.026798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-18_0_3_line_17 |  | 15 | 16 | 0.00435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3443-18_0_3_line_18 |  | 16 | 17 | 0.024689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3443-18_0_3_line_19 |  | 16 | 18 | 0.014539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-18_0_3_line_20 |  | 17 | 19 | 0.024721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_3443-18_0_3_line_21 |  | 18 | 20 | 0.00036576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-18_0_3_line_22 |  | 19 | 25 | 0.020482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_3443-18_0_3_line_23 |  | 21 | 22 | 0.0052251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3443-18_0_3_line_24 |  | 23 | 24 | 0.009463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-18_0_3_line_25 |  | 25 | 39 | 0.014932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_3443-18_0_3_line_26 |  | 26 | 27 | 0.051922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3443-18_0_3_line_27 |  | 26 | 28 | 0.0016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-18_0_3_line_28 |  | 27 | 29 | 0.035137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-18_0_3_line_29 |  | 28 | 30 | 0.011351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-18_0_3_line_30 |  | 28 | 31 | 0.037367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3443-18_0_3_line_31 |  | 29 | 32 | 0.013337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3443-18_0_3_line_32 |  | 30 | 33 | 0.031781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3443-18_0_3_line_33 |  | 32 | 34 | 0.027424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3443-18_0_3_line_34 |  | 33 | 38 | 0.0077834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3443-18_0_3_line_35 |  | 34 | 53 | 0.013539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3443-18_0_3_line_36 |  | 35 | 36 | 0.016717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-18_0_3_line_37 |  | 35 | 37 | 0.028343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-18_0_3_line_38 |  | 36 | 54 | 0.028352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3443-18_0_3_line_39 |  | 37 | 55 | 0.14061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3443-18_0_3_line_40 |  | 38 | 50 | 0.00907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-18_0_3_line_41 |  | 39 | 40 | 0.0078246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
42 | LV_3443-18_0_3_line_42 |  | 40 | 41 | 0.0080374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_3443-18_0_3_line_43 |  | 41 | 43 | 0.014393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_3443-18_0_3_line_44 |  | 42 | 43 | 0.0071516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3443-18_0_3_line_45 |  | 43 | 44 | 0.035333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_3443-18_0_3_line_46 |  | 44 | 48 | 0.025045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_3443-18_0_3_line_47 |  | 45 | 46 | 0.027291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_3443-18_0_3_line_48 |  | 45 | 47 | 0.018516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_3443-18_0_3_line_49 |  | 46 | 48 | 0.028872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_3443-18_0_3_line_50 |  | 47 | 49 | 0.0041816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
51 | LV_3443-18_0_3_line_51 |  | 48 | 50 | 0.010995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-18_0_3_line_52 |  | 49 | 51 | 0.028609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_3443-18_0_3_line_53 |  | 51 | 52 | 0.017955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3443-18_0_3_line_54 |  | 52 | 92 | 0.01624 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
55 | LV_3443-18_0_3_line_55 |  | 53 | 56 | 0.021393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3443-18_0_3_line_56 |  | 54 | 70 | 0.0021134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3443-18_0_3_line_57 |  | 55 | 58 | 0.035018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3443-18_0_3_line_58 |  | 56 | 57 | 0.01706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3443-18_0_3_line_59 |  | 58 | 59 | 0.052039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-18_0_3_line_60 |  | 58 | 60 | 0.012437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3443-18_0_3_line_61 |  | 59 | 66 | 0.0073923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-18_0_3_line_62 |  | 60 | 69 | 0.018498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3443-18_0_3_line_63 |  | 61 | 62 | 0.06022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3443-18_0_3_line_64 |  | 62 | 63 | 0.038899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3443-18_0_3_line_65 |  | 63 | 64 | 0.010829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-18_0_3_line_66 |  | 63 | 65 | 0.049028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-18_0_3_line_67 |  | 63 | 66 | 0.020946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-18_0_3_line_68 |  | 64 | 67 | 0.054855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-18_0_3_line_69 |  | 66 | 68 | 0.010853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3443-18_0_3_line_70 |  | 70 | 81 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3443-18_0_3_line_71 |  | 71 | 72 | 0.012769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3443-18_0_3_line_72 |  | 71 | 73 | 0.0092243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3443-18_0_3_line_73 |  | 72 | 74 | 0.018597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3443-18_0_3_line_74 |  | 73 | 75 | 0.024236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3443-18_0_3_line_75 |  | 73 | 76 | 0.019659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-18_0_3_line_76 |  | 74 | 77 | 0.0042103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3443-18_0_3_line_77 |  | 75 | 78 | 0.017736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-18_0_3_line_78 |  | 76 | 79 | 0.021466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-18_0_3_line_79 |  | 77 | 80 | 0.020871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3443-18_0_3_line_80 |  | 78 | 81 | 0.0034868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3443-18_0_3_line_81 |  | 79 | 82 | 0.013565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3443-18_0_3_line_82 |  | 80 | 95 | 0.010523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3443-18_0_3_line_83 |  | 83 | 84 | 0.012133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3443-18_0_3_line_84 |  | 83 | 85 | 0.017889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3443-18_0_3_line_85 |  | 84 | 86 | 0.0086081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3443-18_0_3_line_86 |  | 86 | 87 | 0.037202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3443-18_0_3_line_87 |  | 87 | 88 | 0.0075026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3443-18_0_3_line_88 |  | 88 | 94 | 0.017427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3443-18_0_3_line_89 |  | 88 | 96 | 0.01222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3443-18_0_3_line_90 |  | 89 | 90 | 0.018195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3443-18_0_3_line_91 |  | 89 | 91 | 0.0095557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3443-18_0_3_line_92 |  | 90 | 92 | 0.010844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3443-18_0_3_line_93 |  | 91 | 93 | 0.027703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3443-18_0_3_line_94 |  | 93 | 94 | 0.029374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3443-18_0_3_line_95 |  | 95 | 96 | 0.015434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-18_0_3_trafo_74 | 0.63 MVA 20/0.4 kV | 97 | 92 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2736341.7033 | 1253763.4894 | 2736346.3388 | 1253762.7036 | 2736350.5855 | 1253760.5327 | 2736351.1773 | 1253759.9813
1 | 2736335.48 | 1253764.5443 | 2736341.7033 | 1253763.4894
2 | 2736356.0688 | 1253748.5924 | 2736355.3785 | 1253754.6376 | 2736353.4858 | 1253757.8303 | 2736351.1773 | 1253759.9813
3 | 2736335.48 | 1253764.5443 | 2736336.8142 | 1253774.1282 | 2736338.4616 | 1253785.5099 | 2736339.6111 | 1253790.3297 | 2736342.1661 | 1253793.7695 | 2736346.8339 | 1253796.5795 | 2736368.0855 | 1253807.6539
4 | 2736335.48 | 1253764.5443 | 2736309.3406 | 1253768.9791
5 | 2736356.0688 | 1253748.5924 | 2736377.7964 | 1253753.3192 | 2736386.4358 | 1253758.3672
6 | 2736356.0688 | 1253748.5924 | 2736357.175 | 1253738.909 | 2736358.6446 | 1253720.4134
7 | 2736368.0855 | 1253807.6539 | 2736372.3806 | 1253809.8921
8 | 2736293.6363 | 1253771.6434 | 2736309.3406 | 1253768.9791
9 | 2736360.0241 | 1253703.0527 | 2736358.6446 | 1253720.4134
10 | 2736293.6363 | 1253771.6434 | 2736296.8274 | 1253787.7761 | 2736297.9128 | 1253793.8092
11 | 2736360.0241 | 1253703.0527 | 2736338.6267 | 1253700.7637
12 | 2736360.0241 | 1253703.0527 | 2736364.7296 | 1253703.2706
13 | 2736300.675 | 1253809.1621 | 2736297.9128 | 1253793.8092
14 | 2736338.6267 | 1253700.7637 | 2736331.1406 | 1253699.9628 | 2736322.4858 | 1253699.1466
15 | 2736398.7423 | 1253704.8458 | 2736364.7296 | 1253703.2706
16 | 2736398.7423 | 1253704.8458 | 2736394.0237 | 1253730.4384 | 2736393.8772 | 1253731.1989
17 | 2736403.1005 | 1253705.0463 | 2736398.7423 | 1253704.8458
18 | 2736403.1005 | 1253705.0463 | 2736407.5654 | 1253704.5487 | 2736412.7957 | 1253705.8814 | 2736417.404 | 1253708.0006 | 2736427.0405 | 1253709.3251
19 | 2736403.1005 | 1253705.0463 | 2736406.022 | 1253690.8037
20 | 2736451.1524 | 1253707.0632 | 2736448.1856 | 1253706.675 | 2736439.8592 | 1253707.6953 | 2736433.348 | 1253710.1921 | 2736427.0405 | 1253709.3251
21 | 2736406.0955 | 1253690.4454 | 2736406.022 | 1253690.8037
22 | 2736471.4191 | 1253708.6232 | 2736464.7241 | 1253709.2695 | 2736457.472 | 1253707.8901 | 2736451.1524 | 1253707.0632
23 | 2736317.2837 | 1253698.656 | 2736322.4858 | 1253699.1466
24 | 2736300.675 | 1253809.1621 | 2736301.973 | 1253813.1067 | 2736304.4591 | 1253815.277 | 2736306.4093 | 1253815.8113
25 | 2736479.3723 | 1253696.9512 | 2736478.4575 | 1253701.9236 | 2736475.8821 | 1253705.5899 | 2736471.4191 | 1253708.6232
26 | 2736620.505 | 1253714.2196 | 2736637.4801 | 1253763.2884
27 | 2736619.9778 | 1253712.6958 | 2736620.505 | 1253714.2196
28 | 2736648.5568 | 1253796.6322 | 2736646.9268 | 1253791.7123 | 2736640.696 | 1253772.5843 | 2736637.4801 | 1253763.2884
29 | 2736616.681 | 1253701.832 | 2736619.9778 | 1253712.6958
30 | 2736619.9778 | 1253712.6958 | 2736625.3178 | 1253711.2398 | 2736627.1722 | 1253711.0157 | 2736629.8505 | 1253711.4001 | 2736632.9608 | 1253713.3402 | 2736637.7185 | 1253716.5085 | 2736641.7178 | 1253718.8473 | 2736643.3227 | 1253719.2958 | 2736654.896 | 1253719.5982
31 | 2736648.5568 | 1253796.6322 | 2736646.2829 | 1253797.3693 | 2736635.4109 | 1253798.6469
32 | 2736616.681 | 1253701.832 | 2736598.8115 | 1253698.0386 | 2736585.6169 | 1253695.1231
33 | 2736635.4109 | 1253798.6469 | 2736632.599 | 1253798.9773 | 2736624.4682 | 1253799.7016 | 2736614.9127 | 1253800.9935 | 2736608.2083 | 1253802.051
34 | 2736578.0168 | 1253693.4438 | 2736585.6169 | 1253695.1231
35 | 2736594.996 | 1253801.0725 | 2736595.1899 | 1253801.3167 | 2736597.9955 | 1253802.3935 | 2736603.3408 | 1253802.339 | 2736608.2083 | 1253802.051 | 2736608.2083 | 1253802.051
36 | 2736653.8826 | 1253855.9318 | 2736643.6832 | 1253855.6963 | 2736637.1702 | 1253855.5406
37 | 2736653.8826 | 1253855.9318 | 2736652.5439 | 1253878.9332 | 2736652.4131 | 1253884.2342
38 | 2736608.8823 | 1253854.0988 | 2736616.5935 | 1253855.0487 | 2736637.1702 | 1253855.5406
39 | 2736652.4131 | 1253884.2342 | 2736648.9446 | 1254024.8017
40 | 2736578.0168 | 1253693.4438 | 2736573.8316 | 1253692.6132 | 2736569.029 | 1253692.6883
41 | 2736479.3723 | 1253696.9512 | 2736480.7801 | 1253689.2544
42 | 2736484.7828 | 1253682.2846 | 2736480.7801 | 1253689.2544
43 | 2736484.7828 | 1253682.2846 | 2736493.8514 | 1253684.1064 | 2736498.9046 | 1253685.2683
44 | 2736498.9046 | 1253685.2683 | 2736497.0029 | 1253687.5377 | 2736494.5108 | 1253689.2263 | 2736493.498 | 1253689.8327
45 | 2736498.9046 | 1253685.2683 | 2736512.3819 | 1253688.3706 | 2736519.716 | 1253686.5268 | 2736530.2325 | 1253686.7694 | 2736533.5846 | 1253687.4563
46 | 2736558.0352 | 1253692.8603 | 2736547.9698 | 1253690.4038 | 2736533.5846 | 1253687.4563
47 | 2736527.2763 | 1253738.9535 | 2736530.7284 | 1253734.636 | 2736534.1559 | 1253729.6993 | 2736536.947 | 1253722.9019 | 2736539.6964 | 1253717.9162 | 2736541.1735 | 1253715.6422
48 | 2736527.2763 | 1253738.9535 | 2736526.7645 | 1253739.5936 | 2736525.6652 | 1253743.4051 | 2736525.2331 | 1253748.0661 | 2736525.3019 | 1253753.9175 | 2736525.3714 | 1253757.1131
49 | 2736558.0352 | 1253692.8603 | 2736554.7263 | 1253694.619 | 2736550.6576 | 1253699.2072 | 2736547.7003 | 1253704.3771 | 2736544.7285 | 1253710.1695 | 2736541.1735 | 1253715.6422
50 | 2736525.4589 | 1253761.2937 | 2736525.4594 | 1253761.1612 | 2736525.3714 | 1253757.1131
51 | 2736558.0352 | 1253692.8603 | 2736569.029 | 1253692.6883
52 | 2736504.2107 | 1253772.3262 | 2736515.4821 | 1253772.2303 | 2736518.9314 | 1253771.9095 | 2736522.6124 | 1253770.3818 | 2736524.3603 | 1253768.2312 | 2736525.4458 | 1253765.0199 | 2736525.4589 | 1253761.2937
53 | 2736504.2107 | 1253772.3262 | 2736486.2557 | 1253772.3675
54 | 2736486.2557 | 1253772.3675 | 2736470.016 | 1253772.4049
55 | 2736594.996 | 1253801.0725 | 2736592.2486 | 1253797.6122 | 2736587.5141 | 1253782.9784 | 2736587.002 | 1253781.4688
56 | 2736608.8823 | 1253854.0988 | 2736606.7847 | 1253853.8404
57 | 2736647.824 | 1254059.802 | 2736648.8984 | 1254026.674 | 2736648.9446 | 1254024.8017
58 | 2736581.5211 | 1253765.3129 | 2736587.002 | 1253781.4688
59 | 2736647.824 | 1254059.802 | 2736649.8515 | 1254074.3066 | 2736652.2439 | 1254086.0837 | 2736660.5452 | 1254110.0629
60 | 2736647.824 | 1254059.802 | 2736635.4043 | 1254060.4516
61 | 2736662.9635 | 1254117.0484 | 2736660.5452 | 1254110.0629
62 | 2736635.4043 | 1254060.4516 | 2736616.9313 | 1254061.4178
63 | 2736756.6773 | 1254155.7836 | 2736732.7744 | 1254154.4829 | 2736723.5801 | 1254140.1686 | 2736704.3458 | 1254139.0136
64 | 2736683.7903 | 1254114.3043 | 2736690.168 | 1254138.1623 | 2736704.3458 | 1254139.0136
65 | 2736683.7903 | 1254114.3043 | 2736694.0374 | 1254110.8011
66 | 2736683.7903 | 1254114.3043 | 2736690.168 | 1254138.1623 | 2736714.4565 | 1254139.6208
67 | 2736662.9635 | 1254117.0484 | 2736683.7903 | 1254114.3043
68 | 2736694.0374 | 1254110.8011 | 2736700.5501 | 1254108.5746 | 2736713.7653 | 1254100.7613 | 2736725.245 | 1254094.565 | 2736742.2203 | 1254092.5773 | 2736744.7018 | 1254092.4785
69 | 2736662.9635 | 1254117.0484 | 2736666.824 | 1254127.1914
70 | 2736606.7847 | 1253853.8404 | 2736584.9343 | 1253851.1488
71 | 2736531.2663 | 1253840.9875 | 2736518.7946 | 1253838.2477
72 | 2736540.2758 | 1253842.9668 | 2736531.2663 | 1253840.9875
73 | 2736500.6308 | 1253834.2573 | 2736518.7946 | 1253838.2477
74 | 2736540.2758 | 1253842.9668 | 2736563.907 | 1253848.3469
75 | 2736540.2758 | 1253842.9668 | 2736540.8091 | 1253823.3145
76 | 2736500.6308 | 1253834.2573 | 2736496.5186 | 1253833.3539
77 | 2736581.4736 | 1253850.7225 | 2736565.9324 | 1253848.8081 | 2736563.907 | 1253848.3469
78 | 2736539.8986 | 1253802.0649 | 2736539.8986 | 1253802.0649 | 2736540.7416 | 1253804.1307 | 2736541.2053 | 1253806.9328 | 2736541.3205 | 1253810.7724 | 2736540.9306 | 1253818.8375 | 2736540.8091 | 1253823.3145
79 | 2736476.1337 | 1253828.8757 | 2736476.1337 | 1253828.8757 | 2736496.5186 | 1253833.3539
80 | 2736581.4736 | 1253850.7225 | 2736584.9343 | 1253851.1488
81 | 2736539.8986 | 1253802.0649 | 2736537.7928 | 1253800.426 | 2736533.9733 | 1253799.1256 | 2736527.1116 | 1253799.1684
82 | 2736476.1337 | 1253828.8757 | 2736465.6113 | 1253828.9867
83 | 2736391.8206 | 1253858.1273 | 2736396.0866 | 1253861.3396 | 2736401.4554 | 1253865.5004
84 | 2736418.6794 | 1253870.1012 | 2736409.8923 | 1253868.5196 | 2736401.4554 | 1253865.5004
85 | 2736391.8206 | 1253858.1273 | 2736398.9439 | 1253853.2942
86 | 2736431.3467 | 1253835.3258 | 2736414.3794 | 1253842.8216 | 2736398.9439 | 1253853.2942
87 | 2736438.2094 | 1253832.2941 | 2736431.3467 | 1253835.3258
88 | 2736438.2094 | 1253832.2941 | 2736431.4927 | 1253816.2135
89 | 2736438.2094 | 1253832.2941 | 2736450.2826 | 1253830.4079
90 | 2736440.9767 | 1253772.4718 | 2736459.1721 | 1253772.4299
91 | 2736440.9767 | 1253772.4718 | 2736431.4211 | 1253772.4938 | 2736431.4211 | 1253772.4938
92 | 2736470.016 | 1253772.4049 | 2736459.1721 | 1253772.4299
93 | 2736431.4211 | 1253772.4938 | 2736423.0807 | 1253775.1041 | 2736419.3655 | 1253778.7775 | 2736415.8634 | 1253784.3353 | 2736415.7288 | 1253790.8271 | 2736416.0464 | 1253791.4249
94 | 2736416.0464 | 1253791.4249 | 2736420.1127 | 1253799.0801 | 2736429.3538 | 1253811.0928 | 2736431.4927 | 1253816.2135
95 | 2736450.2826 | 1253830.4079 | 2736458.9277 | 1253829.0572 | 2736465.6113 | 1253828.9867

## bus_geodata
| x | y | coords
0 | 2736341.7033 | 1253763.4894
1 | 2736351.1773 | 1253759.9813
2 | 2736335.48 | 1253764.5443
3 | 2736356.0688 | 1253748.5924
4 | 2736368.0855 | 1253807.6539
5 | 2736309.3406 | 1253768.9791
6 | 2736386.4358 | 1253758.3672
7 | 2736358.6446 | 1253720.4134
8 | 2736372.3806 | 1253809.8921
9 | 2736293.6363 | 1253771.6434
10 | 2736360.024 | 1253703.0527
11 | 2736297.9128 | 1253793.8092
12 | 2736338.6267 | 1253700.7637
13 | 2736364.7296 | 1253703.2706
14 | 2736393.8772 | 1253731.1989
15 | 2736398.7423 | 1253704.8458
16 | 2736403.1005 | 1253705.0463
17 | 2736427.0405 | 1253709.3251
18 | 2736406.022 | 1253690.8037
19 | 2736451.1524 | 1253707.0632
20 | 2736406.0955 | 1253690.4454
21 | 2736322.4858 | 1253699.1466
22 | 2736317.2837 | 1253698.656
23 | 2736300.675 | 1253809.1621
24 | 2736306.4093 | 1253815.8113
25 | 2736471.4191 | 1253708.6232
26 | 2736620.505 | 1253714.2196
27 | 2736637.4801 | 1253763.2884
28 | 2736619.9778 | 1253712.6958
29 | 2736648.5568 | 1253796.6322
30 | 2736616.681 | 1253701.832
31 | 2736654.896 | 1253719.5982
32 | 2736635.4109 | 1253798.6469
33 | 2736585.6169 | 1253695.1231
34 | 2736608.2084 | 1253802.051
35 | 2736653.8826 | 1253855.9318
36 | 2736637.1702 | 1253855.5406
37 | 2736652.4131 | 1253884.2342
38 | 2736578.0168 | 1253693.4438
39 | 2736479.3723 | 1253696.9512
40 | 2736480.7801 | 1253689.2543
41 | 2736484.7828 | 1253682.2846
42 | 2736493.498 | 1253689.8327
43 | 2736498.9046 | 1253685.2683
44 | 2736533.5846 | 1253687.4563
45 | 2736527.2764 | 1253738.9535
46 | 2736541.1735 | 1253715.6422
47 | 2736525.3714 | 1253757.1131
48 | 2736558.0352 | 1253692.8603
49 | 2736525.4589 | 1253761.2937
50 | 2736569.029 | 1253692.6883
51 | 2736504.2107 | 1253772.3262
52 | 2736486.2557 | 1253772.3675
53 | 2736594.996 | 1253801.0725
54 | 2736608.8823 | 1253854.0988
55 | 2736648.9446 | 1254024.8017
56 | 2736587.002 | 1253781.4688
57 | 2736581.5211 | 1253765.3129
58 | 2736647.824 | 1254059.802
59 | 2736660.5452 | 1254110.0629
60 | 2736635.4043 | 1254060.4516
61 | 2736756.6773 | 1254155.7836
62 | 2736704.3458 | 1254139.0136
63 | 2736683.7903 | 1254114.3043
64 | 2736694.0374 | 1254110.8011
65 | 2736714.4565 | 1254139.6208
66 | 2736662.9635 | 1254117.0484
67 | 2736744.7018 | 1254092.4785
68 | 2736666.824 | 1254127.1914
69 | 2736616.9313 | 1254061.4178
70 | 2736606.7847 | 1253853.8404
71 | 2736531.2663 | 1253840.9875
72 | 2736518.7946 | 1253838.2477
73 | 2736540.2758 | 1253842.9668
74 | 2736500.6308 | 1253834.2573
75 | 2736563.907 | 1253848.3469
76 | 2736540.8091 | 1253823.3145
77 | 2736496.5186 | 1253833.3539
78 | 2736581.4736 | 1253850.7225
79 | 2736539.8986 | 1253802.0649
80 | 2736476.1337 | 1253828.8757
81 | 2736584.9343 | 1253851.1488
82 | 2736527.1116 | 1253799.1684
83 | 2736401.4554 | 1253865.5004
84 | 2736391.8206 | 1253858.1273
85 | 2736418.6794 | 1253870.1012
86 | 2736398.9439 | 1253853.2942
87 | 2736431.3467 | 1253835.3258
88 | 2736438.2094 | 1253832.2941
89 | 2736440.9767 | 1253772.4718
90 | 2736459.1721 | 1253772.4299
91 | 2736431.4211 | 1253772.4938
92 | 2736470.016 | 1253772.4049
93 | 2736416.0464 | 1253791.4249
94 | 2736431.4927 | 1253816.2135
95 | 2736465.6113 | 1253828.9867
96 | 2736450.2826 | 1253830.4079
97 | 2736504.2107 | 1253772.3262

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1