## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-23_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-23_0_7_node_21 | 0.4 | n |  | TRUE
2 | bus_LV_3443-23_0_7_node_22 | 0.4 | n |  | TRUE
3 | bus_LV_3443-23_0_7_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_3443-23_0_7_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_3443-23_0_7_node_24 | 0.4 | n |  | TRUE
6 | bus_LV_3443-23_0_7_node_2 | 0.4 | n |  | TRUE
7 | bus_LV_3443-23_0_7_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_3443-23_0_7_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_3443-23_0_7_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_3443-23_0_7_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_3443-23_0_7_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_3443-23_0_7_node_3 | 0.4 | n |  | TRUE
13 | bus_LV_3443-23_0_7_node_4 | 0.4 | n |  | TRUE
14 | bus_LV_3443-23_0_7_node_5 | 0.4 | n |  | TRUE
15 | bus_LV_3443-23_0_7_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_3443-23_0_7_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_3443-23_0_7_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3443-23_0_7_node_78 | 0.4 | n |  | TRUE
19 | bus_LV_3443-23_0_7_node_79 | 0.4 | n |  | TRUE
20 | bus_LV_3443-23_0_7_node_80 | 0.4 | n |  | TRUE
21 | bus_LV_3443-23_0_7_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_3443-23_0_7_node_82 | 0.4 | n |  | TRUE
23 | bus_LV_3443-23_0_7_node_97 | 0.4 | n |  | TRUE
24 | bus_LV_3443-23_0_7_node_94 | 0.4 | n |  | TRUE
25 | bus_LV_3443-23_0_7_node_95 | 0.4 | n |  | TRUE
26 | bus_LV_3443-23_0_7_node_10 | 0.4 | n |  | TRUE
27 | bus_LV_3443-23_0_7_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_3443-23_0_7_node_6 | 0.4 | n |  | TRUE
29 | bus_LV_3443-23_0_7_node_7 | 0.4 | n |  | TRUE
30 | bus_LV_3443-23_0_7_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_3443-23_0_7_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_3443-23_0_7_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_3443-23_0_7_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_3443-23_0_7_node_43 | 0.4 | n |  | TRUE
35 | bus_LV_3443-23_0_7_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_3443-23_0_7_node_45 | 0.4 | n |  | TRUE
37 | bus_LV_3443-23_0_7_node_46 | 0.4 | n |  | TRUE
38 | bus_LV_3443-23_0_7_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_3443-23_0_7_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_3443-23_0_7_node_89 | 0.4 | n |  | TRUE
41 | bus_LV_3443-23_0_7_node_73 | 0.4 | n |  | TRUE
42 | bus_LV_3443-23_0_7_node_93 | 0.4 | n |  | TRUE
43 | bus_LV_3443-23_0_7_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_3443-23_0_7_node_87 | 0.4 | n |  | TRUE
45 | bus_LV_3443-23_0_7_node_88 | 0.4 | n |  | TRUE
46 | bus_LV_3443-23_0_7_node_90 | 0.4 | n |  | TRUE
47 | bus_LV_3443-23_0_7_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_3443-23_0_7_node_92 | 0.4 | n |  | TRUE
49 | bus_LV_3443-23_0_7_node_42 | 0.4 | n |  | TRUE
50 | bus_LV_3443-23_0_7_node_39 | 0.4 | n |  | TRUE
51 | bus_LV_3443-23_0_7_node_26 | 0.4 | n |  | TRUE
52 | bus_LV_3443-23_0_7_node_99 | 0.4 | n |  | TRUE
53 | bus_LV_3443-23_0_7_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_3443-23_0_7_node_33 | 0.4 | n |  | TRUE
55 | bus_LV_3443-23_0_7_node_16 | 0.4 | n |  | TRUE
56 | bus_LV_3443-23_0_7_node_17 | 0.4 | n |  | TRUE
57 | bus_LV_3443-23_0_7_node_18 | 0.4 | n |  | TRUE
58 | bus_LV_3443-23_0_7_node_20 | 0.4 | n |  | TRUE
59 | bus_LV_3443-23_0_7_node_84 | 0.4 | n |  | TRUE
60 | bus_LV_3443-23_0_7_node_98 | 0.4 | n |  | TRUE
61 | bus_LV_3443-23_0_7_node_83 | 0.4 | n |  | TRUE
62 | bus_LV_3443-23_0_7_node_35 | 0.4 | n |  | TRUE
63 | bus_LV_3443-23_0_7_node_29 | 0.4 | n |  | TRUE
64 | bus_LV_3443-23_0_7_node_31 | 0.4 | n |  | TRUE
65 | bus_LV_3443-23_0_7_node_48 | 0.4 | n |  | TRUE
66 | bus_LV_3443-23_0_7_node_37 | 0.4 | n |  | TRUE
67 | bus_LV_3443-23_0_7_node_34 | 0.4 | n |  | TRUE
68 | bus_LV_3443-23_0_7_node_55 | 0.4 | n |  | TRUE
69 | bus_LV_3443-23_0_7_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_3443-23_0_7_node_36 | 0.4 | n |  | TRUE
71 | bus_LV_3443-23_0_7_node_54 | 0.4 | n |  | TRUE
72 | bus_LV_3443-23_0_7_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_3443-23_0_7_node_38 | 0.4 | n |  | TRUE
74 | bus_LV_3443-23_0_7_node_41 | 0.4 | n |  | TRUE
75 | bus_LV_3443-23_0_7_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_3443-23_0_7_node_68 | 0.4 | n |  | TRUE
77 | bus_LV_3443-23_0_7_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_3443-23_0_7_node_72 | 0.4 | n |  | TRUE
79 | bus_LV_3443-23_0_7_node_49 | 0.4 | n |  | TRUE
80 | bus_LV_3443-23_0_7_node_50 | 0.4 | n |  | TRUE
81 | bus_LV_3443-23_0_7_node_53 | 0.4 | n |  | TRUE
82 | bus_LV_3443-23_0_7_node_76 | 0.4 | n |  | TRUE
83 | bus_LV_3443-23_0_7_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_3443-23_0_7_node_56 | 0.4 | n |  | TRUE
85 | bus_LV_3443-23_0_7_node_60 | 0.4 | n |  | TRUE
86 | bus_LV_3443-23_0_7_node_61 | 0.4 | n |  | TRUE
87 | bus_LV_3443-23_0_7_node_62 | 0.4 | n |  | TRUE
88 | bus_LV_3443-23_0_7_node_59 | 0.4 | n |  | TRUE
89 | bus_LV_3443-23_0_7_node_63 | 0.4 | n |  | TRUE
90 | bus_LV_3443-23_0_7_node_70 | 0.4 | n |  | TRUE
91 | bus_LV_3443-23_0_7_node_64 | 0.4 | n |  | TRUE
92 | bus_LV_3443-23_0_7_node_65 | 0.4 | n |  | TRUE
93 | bus_LV_3443-23_0_7_node_66 | 0.4 | n |  | TRUE
94 | bus_LV_3443-23_0_7_node_67 | 0.4 | n |  | TRUE
95 | bus_MV_590_0_node_92 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-23_0_7_load_0 | 0 | 0.0038399 | 0.00096237 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-23_0_7_load_21 | 1 | 0.0010429 | 0.00026138 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-23_0_7_load_22 | 2 | 0.0010695 | 0.00026805 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-23_0_7_load_8 | 3 | 0.0032443 | 0.0008131 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-23_0_7_load_25 | 4 | 0.0073798 | 0.0018496 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-23_0_7_load_24 | 5 | 0.0020903 | 0.00052388 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-23_0_7_load_96 | 7 | 0.00056666 | 0.00014202 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-23_0_7_load_28 | 8 | 0.0043764 | 0.0010968 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-23_0_7_load_32 | 9 | 0.0011859 | 0.00029721 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-23_0_7_load_30 | 10 | 0.0018097 | 0.00045355 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-23_0_7_load_27 | 11 | 0.0087174 | 0.0021848 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-23_0_7_load_23 | 15 | 0.002338 | 0.00058596 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-23_0_7_load_78 | 18 | 0.011146 | 0.0027935 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-23_0_7_load_79 | 19 | 0.0048736 | 0.0012214 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-23_0_7_load_81 | 21 | 0.0057667 | 0.0014453 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-23_0_7_load_82 | 22 | 0.0057568 | 0.0014428 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-23_0_7_load_94 | 24 | 0.0057669 | 0.0014453 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-23_0_7_load_95 | 25 | 0.0057667 | 0.0014453 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-23_0_7_load_10 | 26 | 0.00070577 | 0.00017688 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-23_0_7_load_11 | 27 | 0.0035739 | 0.00089571 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-23_0_7_load_6 | 28 | 0.010159 | 0.0025462 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-23_0_7_load_7 | 29 | 0.0033033 | 0.00082789 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-23_0_7_load_13 | 32 | 0.0005811 | 0.00014564 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-23_0_7_load_43 | 34 | 0.040692 | 0.010198 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-23_0_7_load_89 | 40 | 0.0015147 | 0.00037962 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-23_0_7_load_73 | 41 | 0.0077812 | 0.0019502 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-23_0_7_load_93 | 42 | 0.0057568 | 0.0014428 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-23_0_7_load_86 | 43 | 0.0015135 | 0.00037932 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-23_0_7_load_87 | 44 | 0.0015155 | 0.00037981 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-23_0_7_load_88 | 45 | 0.0048932 | 0.0012263 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-23_0_7_load_90 | 46 | 0.0057667 | 0.0014453 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-23_0_7_load_91 | 47 | 0.0051059 | 0.0012797 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-23_0_7_load_92 | 48 | 0.0057594 | 0.0014435 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-23_0_7_load_42 | 49 | 0.0098607 | 0.0024713 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-23_0_7_load_39 | 50 | 0.050455 | 0.012645 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-23_0_7_load_26 | 51 | 0.0064947 | 0.0016277 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-23_0_7_load_99 | 52 | 0.020626 | 0.0051693 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-23_0_7_load_40 | 53 | 0.0048037 | 0.0012039 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-23_0_7_load_16 | 55 | 0.0091123 | 0.0022837 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-23_0_7_load_20 | 58 | 0.0013985 | 0.00035049 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-23_0_7_load_84 | 59 | 0.0012651 | 0.00031706 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-23_0_7_load_98 | 60 | 0.00048972 | 0.00012273 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-23_0_7_load_83 | 61 | 0.0053677 | 0.0013453 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-23_0_7_load_35 | 62 | 0.081261 | 0.020366 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-23_0_7_load_31 | 64 | 0.032092 | 0.0080431 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-23_0_7_load_48 | 65 | 0.017129 | 0.004293 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-23_0_7_load_57 | 69 | 0.016305 | 0.0040863 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-23_0_7_load_54 | 71 | 0.018414 | 0.004615 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-23_0_7_load_58 | 72 | 0.0077064 | 0.0019314 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-23_0_7_load_38 | 73 | 0.014696 | 0.0036832 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-23_0_7_load_41 | 74 | 0.0018264 | 0.00045774 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-23_0_7_load_69 | 75 | 0.0042552 | 0.0010664 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-23_0_7_load_68 | 76 | 0.0016663 | 0.00041761 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-23_0_7_load_71 | 77 | 0.01124 | 0.0028171 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-23_0_7_load_49 | 79 | 0.0017565 | 0.00044022 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-23_0_7_load_53 | 81 | 0.00054485 | 0.00013655 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-23_0_7_load_76 | 82 | 0.0089746 | 0.0022492 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-23_0_7_load_56 | 84 | 0.01252 | 0.0031378 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-23_0_7_load_59 | 88 | 0.0028443 | 0.00071285 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3443-23_0_7_load_63 | 89 | 0.01617 | 0.0040525 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3443-23_0_7_load_70 | 90 | 0.0093281 | 0.0023378 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3443-23_0_7_load_65 | 92 | 0.010245 | 0.0025677 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3443-23_0_7_load_66 | 93 | 0.0076445 | 0.0019159 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-23_0_7_line_0 |  | 0 | 1 | 0.056672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-23_0_7_line_1 |  | 1 | 2 | 0.016703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-23_0_7_line_2 |  | 1 | 3 | 0.013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-23_0_7_line_3 |  | 2 | 4 | 0.036695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-23_0_7_line_4 |  | 3 | 29 | 0.01229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-23_0_7_line_5 |  | 4 | 5 | 0.042547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-23_0_7_line_6 |  | 5 | 30 | 0.039882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-23_0_7_line_7 |  | 6 | 7 | 0.05096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-23_0_7_line_8 |  | 6 | 8 | 0.16791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-23_0_7_line_9 |  | 8 | 11 | 0.017916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-23_0_7_line_10 |  | 9 | 10 | 0.0039297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-23_0_7_line_11 |  | 10 | 63 | 0.0078003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-23_0_7_line_12 |  | 11 | 63 | 0.015941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3443-23_0_7_line_13 |  | 12 | 13 | 0.005798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-23_0_7_line_14 |  | 12 | 14 | 0.02101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-23_0_7_line_15 |  | 13 | 15 | 0.042681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-23_0_7_line_16 |  | 14 | 16 | 0.003694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-23_0_7_line_17 |  | 15 | 17 | 0.050233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3443-23_0_7_line_18 |  | 16 | 26 | 0.10814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3443-23_0_7_line_19 |  | 16 | 27 | 0.016642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-23_0_7_line_20 |  | 17 | 56 | 0.021537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3443-23_0_7_line_21 |  | 18 | 19 | 0.026501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-23_0_7_line_22 |  | 18 | 20 | 0.018786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3443-23_0_7_line_23 |  | 19 | 21 | 0.0098397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3443-23_0_7_line_24 |  | 20 | 22 | 0.038697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-23_0_7_line_25 |  | 20 | 23 | 0.17218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-23_0_7_line_26 |  | 21 | 24 | 0.00063541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3443-23_0_7_line_27 |  | 22 | 42 | 0.011077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-23_0_7_line_28 |  | 23 | 60 | 0.025988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-23_0_7_line_29 |  | 24 | 25 | 0.004343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-23_0_7_line_30 |  | 26 | 31 | 0.037776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3443-23_0_7_line_31 |  | 28 | 29 | 0.013162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3443-23_0_7_line_32 |  | 30 | 51 | 0.053931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_3443-23_0_7_line_33 |  | 30 | 32 | 0.019272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3443-23_0_7_line_34 |  | 31 | 32 | 0.012617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_3443-23_0_7_line_35 |  | 31 | 33 | 0.035977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
36 | LV_3443-23_0_7_line_36 |  | 33 | 49 | 0.056517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_3443-23_0_7_line_37 |  | 33 | 50 | 0.040828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-23_0_7_line_38 |  | 34 | 35 | 0.024932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
39 | LV_3443-23_0_7_line_39 |  | 34 | 36 | 0.036602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_3443-23_0_7_line_40 |  | 35 | 37 | 0.10553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_3443-23_0_7_line_41 |  | 36 | 38 | 0.050901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_3443-23_0_7_line_42 |  | 37 | 39 | 0.030841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-23_0_7_line_43 |  | 37 | 40 | 0.09798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_3443-23_0_7_line_44 |  | 38 | 77 | 0.030598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_3443-23_0_7_line_45 |  | 39 | 41 | 0.026279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3443-23_0_7_line_46 |  | 40 | 44 | 0.00065243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-23_0_7_line_47 |  | 42 | 48 | 0.0034346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3443-23_0_7_line_48 |  | 43 | 44 | 0.010809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3443-23_0_7_line_49 |  | 43 | 45 | 0.0011886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3443-23_0_7_line_50 |  | 45 | 46 | 0.0062437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3443-23_0_7_line_51 |  | 46 | 47 | 0.0027388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-23_0_7_line_52 |  | 47 | 48 | 0.0081899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3443-23_0_7_line_53 |  | 49 | 52 | 0.16917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_3443-23_0_7_line_54 |  | 50 | 53 | 0.065375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3443-23_0_7_line_55 |  | 51 | 54 | 0.031065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_3443-23_0_7_line_56 |  | 52 | 78 | 0.081614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3443-23_0_7_line_57 |  | 53 | 74 | 0.0041094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3443-23_0_7_line_58 |  | 54 | 62 | 0.03365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_3443-23_0_7_line_59 |  | 55 | 56 | 0.039205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-23_0_7_line_60 |  | 55 | 57 | 0.016694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3443-23_0_7_line_61 |  | 57 | 58 | 0.020679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-23_0_7_line_62 |  | 58 | 59 | 0.11631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3443-23_0_7_line_63 |  | 59 | 61 | 0.0023826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3443-23_0_7_line_64 |  | 62 | 70 | 0.023622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_3443-23_0_7_line_65 |  | 63 | 64 | 0.035334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-23_0_7_line_66 |  | 64 | 65 | 0.0020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-23_0_7_line_67 |  | 65 | 66 | 0.03979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-23_0_7_line_68 |  | 66 | 70 | 0.10413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-23_0_7_line_69 |  | 67 | 68 | 0.046074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
70 | LV_3443-23_0_7_line_70 |  | 67 | 69 | 0.019915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
71 | LV_3443-23_0_7_line_71 |  | 68 | 71 | 0.0014446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
72 | LV_3443-23_0_7_line_72 |  | 69 | 72 | 0.020163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_3443-23_0_7_line_73 |  | 70 | 73 | 0.03558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
74 | LV_3443-23_0_7_line_74 |  | 71 | 73 | 0.015268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
75 | LV_3443-23_0_7_line_75 |  | 72 | 88 | 0.0040677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
76 | LV_3443-23_0_7_line_76 |  | 74 | 75 | 0.042422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3443-23_0_7_line_77 |  | 75 | 76 | 0.023754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-23_0_7_line_78 |  | 76 | 81 | 0.012518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-23_0_7_line_79 |  | 77 | 78 | 0.014239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_3443-23_0_7_line_80 |  | 79 | 80 | 0.016215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3443-23_0_7_line_81 |  | 80 | 81 | 0.03405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3443-23_0_7_line_82 |  | 82 | 83 | 0.014046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3443-23_0_7_line_83 |  | 83 | 90 | 0.034655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3443-23_0_7_line_84 |  | 83 | 94 | 0.041581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3443-23_0_7_line_85 |  | 84 | 85 | 0.0029727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3443-23_0_7_line_86 |  | 85 | 86 | 0.04371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
87 | LV_3443-23_0_7_line_87 |  | 85 | 87 | 0.028721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_3443-23_0_7_line_88 |  | 86 | 88 | 0.0095591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_3443-23_0_7_line_89 |  | 87 | 89 | 0.013537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3443-23_0_7_line_90 |  | 89 | 91 | 0.0071856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3443-23_0_7_line_91 |  | 91 | 92 | 0.02005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3443-23_0_7_line_92 |  | 92 | 93 | 0.046224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3443-23_0_7_line_93 |  | 93 | 94 | 0.0092515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-23_0_7_trafo_14 | 0.63 MVA 20/0.4 kV | 95 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2737603.5596 | 1252810.0558 | 2737605.0313 | 1252753.4029
1 | 2737586.8981 | 1252808.8861 | 2737603.5596 | 1252810.0558
2 | 2737617.5377 | 1252810.6304 | 2737610.3458 | 1252810.5322 | 2737603.5596 | 1252810.0558
3 | 2737588.8883 | 1252845.5271 | 2737586.8981 | 1252808.8861
4 | 2737629.8267 | 1252810.7982 | 2737617.5377 | 1252810.6304
5 | 2737622.3314 | 1252864.5346 | 2737620.2317 | 1252857.772 | 2737614.8564 | 1252850.9631 | 2737604.1718 | 1252846.8445 | 2737588.8883 | 1252845.5271
6 | 2737636.3049 | 1252901.5636 | 2737631.8904 | 1252895.3219 | 2737622.3314 | 1252864.5346
7 | 2737406.5445 | 1252726.2912 | 2737444.554 | 1252692.2304
8 | 2737413.6349 | 1252894.0521 | 2737406.5445 | 1252726.2912
9 | 2737395.9719 | 1252897.0508 | 2737413.6349 | 1252894.0521
10 | 2737372.6648 | 1252901.5132 | 2737368.8405 | 1252902.4171
11 | 2737380.256 | 1252899.7189 | 2737372.6648 | 1252901.5132
12 | 2737380.256 | 1252899.7189 | 2737395.9719 | 1252897.0508
13 | 2737745.3757 | 1252742.2961 | 2737744.0577 | 1252736.6492
14 | 2737745.3757 | 1252742.2961 | 2737746.4557 | 1252754.9329 | 2737744.9891 | 1252763.1286
15 | 2737744.0577 | 1252736.6492 | 2737737.4562 | 1252722.8385 | 2737723.9017 | 1252704.4843 | 2737721.1155 | 1252700.8785
16 | 2737743.4165 | 1252766.4729 | 2737744.9891 | 1252763.1286
17 | 2737703.4213 | 1252654.7736 | 2737708.0051 | 1252678.413 | 2737714.8359 | 1252692.7517 | 2737721.1155 | 1252700.8785
18 | 2737743.4165 | 1252766.4729 | 2737740.8441 | 1252772.8745 | 2737737.1877 | 1252781.4196 | 2737722.1733 | 1252802.7791 | 2737688.6205 | 1252849.9872 | 2737684.26 | 1252856.5955
19 | 2737755.1935 | 1252776.8563 | 2737753.3706 | 1252772.7879 | 2737750.422 | 1252769.0826 | 2737743.4165 | 1252766.4729
20 | 2737682.5262 | 1252649.4942 | 2737694.1312 | 1252651.7104 | 2737703.4213 | 1252654.7736
21 | 2737992.4924 | 1252666.8024 | 2737989.9423 | 1252667.0512 | 2737977.9416 | 1252669.1848 | 2737966.7969 | 1252672.9078
22 | 2738011.2138 | 1252666.5351 | 2738001.7161 | 1252665.9022 | 2737992.4924 | 1252666.8024
23 | 2737957.5832 | 1252676.3583 | 2737965.4937 | 1252673.3432 | 2737966.7969 | 1252672.9078
24 | 2738011.2138 | 1252666.5351 | 2738009.8825 | 1252704.528 | 2738009.9169 | 1252705.2083
25 | 2738011.2138 | 1252666.5351 | 2738015.529 | 1252494.4103
26 | 2737956.9894 | 1252676.5846 | 2737957.5832 | 1252676.3583
27 | 2738010.4753 | 1252716.271 | 2738009.9169 | 1252705.2083
28 | 2738039.1896 | 1252486.3318 | 2738031.5966 | 1252486.5663 | 2738019.9693 | 1252489.8317 | 2738015.529 | 1252494.4103
29 | 2737956.9894 | 1252676.5846 | 2737952.9312 | 1252678.1314
30 | 2737665.3421 | 1252889.1045 | 2737669.0342 | 1252879.6705 | 2737684.26 | 1252856.5955
31 | 2737642.9875 | 1252810.9779 | 2737629.8267 | 1252810.7982
32 | 2737636.3049 | 1252901.5636 | 2737626.0256 | 1252902.7481 | 2737616.3843 | 1252904.737 | 2737597.483 | 1252911.1484 | 2737584.4072 | 1252915.4991
33 | 2737636.3049 | 1252901.5636 | 2737642.47 | 1252897.4586 | 2737648.8271 | 1252894.181 | 2737653.2193 | 1252892.4723
34 | 2737665.3421 | 1252889.1045 | 2737657.4052 | 1252890.8439 | 2737653.2193 | 1252892.4723
35 | 2737665.3421 | 1252889.1045 | 2737666.4647 | 1252897.3159 | 2737666.6554 | 1252909.2425 | 2737665.234 | 1252919.7191 | 2737666.8481 | 1252924.65
36 | 2737666.8481 | 1252924.65 | 2737721.2273 | 1252909.2516
37 | 2737666.8481 | 1252924.65 | 2737669.644 | 1252933.6233 | 2737675.9499 | 1252964.4139
38 | 2737973.4007 | 1252832.2517 | 2737968.2266 | 1252835.6121 | 2737966.7047 | 1252840.014 | 2737968.9715 | 1252853.9353
39 | 2737974.8539 | 1252890.0611 | 2737968.9715 | 1252853.9353
40 | 2737973.4007 | 1252832.2517 | 2738019.7981 | 1252848.4696 | 2738023.5308 | 1252850.2693 | 2738031.8319 | 1252854.2886 | 2738045.5603 | 1252860.9257 | 2738047.1763 | 1252852.4889 | 2738047.8694 | 1252848.6682 | 2738050.7183 | 1252839.1592 | 2738052.3474 | 1252834.048
41 | 2737983.5137 | 1252940.2201 | 2737974.8539 | 1252890.0611
42 | 2738025.935 | 1252833.9325 | 2738029.2217 | 1252835.4326 | 2738039.1969 | 1252837.5893 | 2738047.6567 | 1252838.3649 | 2738050.7183 | 1252839.1592 | 2738052.3474 | 1252834.048
43 | 2738052.3474 | 1252834.048 | 2738044.2015 | 1252832.4344 | 2738037.6221 | 1252826.1309 | 2738031.9753 | 1252815.445 | 2738025.2498 | 1252788.8527 | 2738014.7073 | 1252749.1816 | 2738014.7073 | 1252749.1816
44 | 2737983.5137 | 1252940.2201 | 2737953.4678 | 1252946.0088
45 | 2738025.935 | 1252833.9325 | 2738002.0615 | 1252822.9483
46 | 2738014.5862 | 1252748.5405 | 2738014.7073 | 1252749.1816
47 | 2738010.6484 | 1252719.7013 | 2738010.4753 | 1252716.271
48 | 2738012.5793 | 1252737.9191 | 2738014.5862 | 1252748.5405
49 | 2738012.5793 | 1252737.9191 | 2738012.3586 | 1252736.7512
50 | 2738012.3586 | 1252736.7512 | 2738011.1994 | 1252730.6161 | 2738011.1994 | 1252730.6161
51 | 2738011.0613 | 1252727.8808 | 2738011.1994 | 1252730.6161
52 | 2738011.0613 | 1252727.8808 | 2738010.6484 | 1252719.7013
53 | 2737721.2273 | 1252909.2516 | 2737869.5005 | 1252990.6901
54 | 2737675.9499 | 1252964.4139 | 2737682.7346 | 1252997.542 | 2737689.944 | 1253028.2671
55 | 2737554.9313 | 1252925.3066 | 2737584.4072 | 1252915.4991
56 | 2737939.4855 | 1252948.7027 | 2737869.5005 | 1252990.6901
57 | 2737690.8827 | 1253032.2678 | 2737689.944 | 1253028.2671
58 | 2737554.9313 | 1252925.3066 | 2737522.9684 | 1252935.8292
59 | 2737682.5262 | 1252649.4942 | 2737678.059 | 1252648.7564 | 2737643.9066 | 1252642.7447
60 | 2737627.4652 | 1252639.8505 | 2737643.9066 | 1252642.7447
61 | 2737627.4652 | 1252639.8505 | 2737615.4572 | 1252638.0811 | 2737606.9157 | 1252638.0389
62 | 2737606.9157 | 1252638.0389 | 2737621.4841 | 1252522.6478
63 | 2737621.9108 | 1252520.3037 | 2737621.4841 | 1252522.6478
64 | 2737500.5311 | 1252943.2158 | 2737522.9684 | 1252935.8292
65 | 2737380.256 | 1252899.7189 | 2737389.6621 | 1252933.7782
66 | 2737390.2139 | 1252935.7761 | 2737389.6621 | 1252933.7782
67 | 2737400.8063 | 1252974.1306 | 2737390.2139 | 1252935.7761
68 | 2737400.8063 | 1252974.1306 | 2737466.4059 | 1252953.7447 | 2737500.5311 | 1252943.2158
69 | 2737523.7543 | 1252981.4679 | 2737569.9643 | 1252981.0626
70 | 2737569.9643 | 1252981.0626 | 2737575.223 | 1253000.2712
71 | 2737523.7543 | 1252981.4679 | 2737523.7158 | 1252980.0238
72 | 2737575.223 | 1253000.2712 | 2737580.5471 | 1253019.7187
73 | 2737500.5311 | 1252943.2158 | 2737504.7577 | 1252957.2268 | 2737515.7597 | 1252957.4268 | 2737521.5311 | 1252963.433 | 2737522.0035 | 1252964.9743
74 | 2737522.0035 | 1252964.9743 | 2737523.4398 | 1252969.6608 | 2737523.7158 | 1252980.0238
75 | 2737581.6212 | 1253023.642 | 2737580.5471 | 1253019.7187
76 | 2737690.8827 | 1253032.2678 | 2737700.5734 | 1253073.5682
77 | 2737706.1114 | 1253096.668 | 2737702.2744 | 1253080.8173 | 2737700.5734 | 1253073.5682
78 | 2737706.1114 | 1253096.668 | 2737709.0565 | 1253108.8344
79 | 2737939.4855 | 1252948.7027 | 2737953.4678 | 1252946.0088
80 | 2737717.0677 | 1253141.9287 | 2737720.7517 | 1253157.7198
81 | 2737717.0677 | 1253141.9287 | 2737709.0565 | 1253108.8344
82 | 2737613.9369 | 1253136.3047 | 2737616.2101 | 1253144.0536 | 2737618.0787 | 1253149.7244
83 | 2737613.9369 | 1253136.3047 | 2737604.3459 | 1253103.0029
84 | 2737572.2394 | 1253135.5356 | 2737613.9369 | 1253136.3047
85 | 2737540.3055 | 1253032.6437 | 2737539.9438 | 1253029.6931
86 | 2737540.3055 | 1253032.6437 | 2737584.1453 | 1253032.8619
87 | 2737540.3055 | 1253032.6437 | 2737539.2972 | 1253042.5739 | 2737536.7488 | 1253053.1578 | 2737544.5483 | 1253054.0731
88 | 2737584.1453 | 1253032.8619 | 2737581.6212 | 1253023.642
89 | 2737544.5483 | 1253054.0731 | 2737550.9413 | 1253054.4441 | 2737554.9923 | 1253055.8617 | 2737555.9645 | 1253058.5311
90 | 2737555.8432 | 1253065.7016 | 2737556.121 | 1253062.5162 | 2737555.9645 | 1253058.5311
91 | 2737555.8432 | 1253065.7016 | 2737560.591 | 1253070.5941 | 2737561.983 | 1253083.7528
92 | 2737561.983 | 1253083.7528 | 2737562.7882 | 1253091.3643 | 2737559.2598 | 1253109.032 | 2737562.7022 | 1253120.7227 | 2737567.2312 | 1253127.7569
93 | 2737572.2394 | 1253135.5356 | 2737567.2312 | 1253127.7569

## bus_geodata
| x | y | coords
0 | 2737605.0313 | 1252753.4029
1 | 2737603.5596 | 1252810.0558
2 | 2737586.8981 | 1252808.8861
3 | 2737617.5377 | 1252810.6304
4 | 2737588.8883 | 1252845.5271
5 | 2737622.3314 | 1252864.5346
6 | 2737406.5445 | 1252726.2912
7 | 2737444.554 | 1252692.2304
8 | 2737413.6349 | 1252894.0521
9 | 2737368.8405 | 1252902.4171
10 | 2737372.6648 | 1252901.5132
11 | 2737395.9719 | 1252897.0508
12 | 2737745.3757 | 1252742.2961
13 | 2737744.0577 | 1252736.6492
14 | 2737744.9891 | 1252763.1286
15 | 2737721.1155 | 1252700.8785
16 | 2737743.4165 | 1252766.4729
17 | 2737703.4213 | 1252654.7736
18 | 2737992.4924 | 1252666.8024
19 | 2737966.7969 | 1252672.9078
20 | 2738011.2138 | 1252666.5351
21 | 2737957.5832 | 1252676.3583
22 | 2738009.9169 | 1252705.2083
23 | 2738015.529 | 1252494.4103
24 | 2737956.9894 | 1252676.5846
25 | 2737952.9312 | 1252678.1314
26 | 2737684.26 | 1252856.5955
27 | 2737755.1935 | 1252776.8563
28 | 2737642.9875 | 1252810.9779
29 | 2737629.8267 | 1252810.7982
30 | 2737636.3049 | 1252901.5636
31 | 2737665.3421 | 1252889.1045
32 | 2737653.2193 | 1252892.4723
33 | 2737666.8481 | 1252924.65
34 | 2737968.9715 | 1252853.9353
35 | 2737973.4007 | 1252832.2517
36 | 2737974.8539 | 1252890.0611
37 | 2738052.3474 | 1252834.048
38 | 2737983.5137 | 1252940.2201
39 | 2738025.935 | 1252833.9325
40 | 2738014.7073 | 1252749.1816
41 | 2738002.0615 | 1252822.9483
42 | 2738010.4753 | 1252716.271
43 | 2738012.5793 | 1252737.9191
44 | 2738014.5862 | 1252748.5405
45 | 2738012.3586 | 1252736.7512
46 | 2738011.1994 | 1252730.6161
47 | 2738011.0613 | 1252727.8808
48 | 2738010.6484 | 1252719.7013
49 | 2737721.2273 | 1252909.2516
50 | 2737675.9499 | 1252964.4139
51 | 2737584.4072 | 1252915.4991
52 | 2737869.5005 | 1252990.6901
53 | 2737689.944 | 1253028.2671
54 | 2737554.9313 | 1252925.3066
55 | 2737643.9066 | 1252642.7447
56 | 2737682.5262 | 1252649.4942
57 | 2737627.4652 | 1252639.8505
58 | 2737606.9157 | 1252638.0389
59 | 2737621.4841 | 1252522.6478
60 | 2738039.1896 | 1252486.3318
61 | 2737621.9108 | 1252520.3037
62 | 2737522.9684 | 1252935.8292
63 | 2737380.256 | 1252899.7189
64 | 2737389.6621 | 1252933.7782
65 | 2737390.2139 | 1252935.7761
66 | 2737400.8063 | 1252974.1306
67 | 2737569.9643 | 1252981.0626
68 | 2737523.7543 | 1252981.4679
69 | 2737575.223 | 1253000.2712
70 | 2737500.5311 | 1252943.2158
71 | 2737523.7158 | 1252980.0238
72 | 2737580.5471 | 1253019.7187
73 | 2737522.0035 | 1252964.9743
74 | 2737690.8827 | 1253032.2678
75 | 2737700.5734 | 1253073.5682
76 | 2737706.1114 | 1253096.668
77 | 2737953.4678 | 1252946.0088
78 | 2737939.4855 | 1252948.7027
79 | 2737720.7517 | 1253157.7198
80 | 2737717.0677 | 1253141.9287
81 | 2737709.0565 | 1253108.8344
82 | 2737618.0787 | 1253149.7244
83 | 2737613.9369 | 1253136.3047
84 | 2737539.9438 | 1253029.6931
85 | 2737540.3055 | 1253032.6437
86 | 2737584.1453 | 1253032.8619
87 | 2737544.5483 | 1253054.0731
88 | 2737581.6212 | 1253023.642
89 | 2737555.9645 | 1253058.5311
90 | 2737604.3459 | 1253103.0029
91 | 2737555.8432 | 1253065.7016
92 | 2737561.983 | 1253083.7528
93 | 2737567.2312 | 1253127.7569
94 | 2737572.2394 | 1253135.5356
95 | 2737665.234 | 1252919.7191

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1