## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-2_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-2_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-2_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3443-2_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3443-2_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3443-2_0_6_node_25 | 0.4 | n |  | TRUE
6 | bus_LV_3443-2_0_6_node_92 | 0.4 | n |  | TRUE
7 | bus_LV_3443-2_0_6_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_3443-2_0_6_node_24 | 0.4 | n |  | TRUE
9 | bus_LV_3443-2_0_6_node_91 | 0.4 | n |  | TRUE
10 | bus_LV_3443-2_0_6_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_3443-2_0_6_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_3443-2_0_6_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3443-2_0_6_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_3443-2_0_6_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3443-2_0_6_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_3443-2_0_6_node_40 | 0.4 | n |  | TRUE
17 | bus_LV_3443-2_0_6_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_3443-2_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3443-2_0_6_node_35 | 0.4 | n |  | TRUE
20 | bus_LV_3443-2_0_6_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_3443-2_0_6_node_27 | 0.4 | n |  | TRUE
22 | bus_LV_3443-2_0_6_node_38 | 0.4 | n |  | TRUE
23 | bus_LV_3443-2_0_6_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3443-2_0_6_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_3443-2_0_6_node_66 | 0.4 | n |  | TRUE
26 | bus_LV_3443-2_0_6_node_96 | 0.4 | n |  | TRUE
27 | bus_LV_3443-2_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_3443-2_0_6_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_3443-2_0_6_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_3443-2_0_6_node_58 | 0.4 | n |  | TRUE
31 | bus_LV_3443-2_0_6_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_3443-2_0_6_node_74 | 0.4 | n |  | TRUE
33 | bus_LV_3443-2_0_6_node_73 | 0.4 | n |  | TRUE
34 | bus_LV_3443-2_0_6_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3443-2_0_6_node_46 | 0.4 | n |  | TRUE
36 | bus_LV_3443-2_0_6_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3443-2_0_6_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_3443-2_0_6_node_64 | 0.4 | n |  | TRUE
39 | bus_LV_3443-2_0_6_node_18 | 0.4 | n |  | TRUE
40 | bus_LV_3443-2_0_6_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_3443-2_0_6_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_3443-2_0_6_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_3443-2_0_6_node_17 | 0.4 | n |  | TRUE
44 | bus_LV_3443-2_0_6_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_3443-2_0_6_node_20 | 0.4 | n |  | TRUE
46 | bus_LV_3443-2_0_6_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_3443-2_0_6_node_22 | 0.4 | n |  | TRUE
48 | bus_LV_3443-2_0_6_node_23 | 0.4 | n |  | TRUE
49 | bus_LV_3443-2_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_3443-2_0_6_node_30 | 0.4 | n |  | TRUE
51 | bus_LV_3443-2_0_6_node_41 | 0.4 | n |  | TRUE
52 | bus_LV_3443-2_0_6_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_3443-2_0_6_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_3443-2_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_3443-2_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_3443-2_0_6_node_43 | 0.4 | n |  | TRUE
57 | bus_LV_3443-2_0_6_node_49 | 0.4 | n |  | TRUE
58 | bus_LV_3443-2_0_6_node_95 | 0.4 | n |  | TRUE
59 | bus_LV_3443-2_0_6_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_3443-2_0_6_node_37 | 0.4 | n |  | TRUE
61 | bus_LV_3443-2_0_6_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_3443-2_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_3443-2_0_6_node_57 | 0.4 | n |  | TRUE
64 | bus_LV_3443-2_0_6_node_55 | 0.4 | n |  | TRUE
65 | bus_LV_3443-2_0_6_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_3443-2_0_6_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_3443-2_0_6_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_3443-2_0_6_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_3443-2_0_6_node_60 | 0.4 | n |  | TRUE
70 | bus_LV_3443-2_0_6_node_84 | 0.4 | n |  | TRUE
71 | bus_LV_3443-2_0_6_node_83 | 0.4 | n |  | TRUE
72 | bus_LV_3443-2_0_6_node_50 | 0.4 | n |  | TRUE
73 | bus_LV_3443-2_0_6_node_51 | 0.4 | n |  | TRUE
74 | bus_LV_3443-2_0_6_node_53 | 0.4 | n |  | TRUE
75 | bus_LV_3443-2_0_6_node_54 | 0.4 | n |  | TRUE
76 | bus_LV_3443-2_0_6_node_78 | 0.4 | n |  | TRUE
77 | bus_LV_3443-2_0_6_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_3443-2_0_6_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_3443-2_0_6_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_3443-2_0_6_node_75 | 0.4 | n |  | TRUE
81 | bus_LV_3443-2_0_6_node_65 | 0.4 | n |  | TRUE
82 | bus_LV_3443-2_0_6_node_67 | 0.4 | n |  | TRUE
83 | bus_LV_3443-2_0_6_node_81 | 0.4 | n |  | TRUE
84 | bus_LV_3443-2_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3443-2_0_6_node_85 | 0.4 | n |  | TRUE
86 | bus_LV_3443-2_0_6_node_86 | 0.4 | n |  | TRUE
87 | bus_LV_3443-2_0_6_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_3443-2_0_6_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_3443-2_0_6_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_3443-2_0_6_node_93 | 0.4 | n |  | TRUE
91 | bus_LV_3443-2_0_6_node_94 | 0.4 | n |  | TRUE
92 | bus_MV_411_0_node_105 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-2_0_6_load_0 | 0 | 0.00088666 | 0.00022222 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-2_0_6_load_1 | 1 | 0.0043274 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-2_0_6_load_2 | 2 | 0.0051289 | 0.0012854 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-2_0_6_load_3 | 3 | 0.0057764 | 0.0014477 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-2_0_6_load_4 | 4 | 0.0013161 | 0.00032984 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-2_0_6_load_26 | 7 | 0.025809 | 0.0064683 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-2_0_6_load_24 | 8 | 0.012311 | 0.0030853 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-2_0_6_load_5 | 10 | 0.020873 | 0.0052313 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-2_0_6_load_40 | 16 | 0.0011563 | 0.0002898 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-2_0_6_load_35 | 19 | 0.0099606 | 0.0024964 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-2_0_6_load_27 | 21 | 0.0012594 | 0.00031563 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-2_0_6_load_38 | 22 | 0.045164 | 0.011319 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-2_0_6_load_16 | 24 | 0.0048695 | 0.0012204 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-2_0_6_load_96 | 26 | 0.0076103 | 0.0019073 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-2_0_6_load_62 | 28 | 0.00019784 | 4.9584e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-2_0_6_load_58 | 30 | 0.0012568 | 0.00031499 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-2_0_6_load_73 | 33 | 0.00016992 | 4.2586e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-2_0_6_load_34 | 34 | 0.01381 | 0.003461 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-2_0_6_load_46 | 35 | 0.017478 | 0.0043803 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-2_0_6_load_28 | 36 | 0.0028925 | 0.00072492 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-2_0_6_load_15 | 37 | 0.0082787 | 0.0020748 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-2_0_6_load_64 | 38 | 0.0022396 | 0.00056129 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-2_0_6_load_18 | 39 | 0.0064499 | 0.0016165 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-2_0_6_load_63 | 40 | 0.0011042 | 0.00027674 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-2_0_6_load_59 | 42 | 0.00016429 | 4.1174e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-2_0_6_load_17 | 43 | 0.0060567 | 0.001518 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-2_0_6_load_19 | 44 | 0.033798 | 0.0084705 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-2_0_6_load_20 | 45 | 0.042671 | 0.010694 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-2_0_6_load_33 | 49 | 0.041728 | 0.010458 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-2_0_6_load_30 | 50 | 0.026348 | 0.0066035 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-2_0_6_load_41 | 51 | 0.0034815 | 0.00087255 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-2_0_6_load_31 | 54 | 0.033317 | 0.00835 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-2_0_6_load_43 | 56 | 0.064527 | 0.016172 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-2_0_6_load_49 | 57 | 0.034869 | 0.008739 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-2_0_6_load_95 | 58 | 0.0048099 | 0.0012055 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-2_0_6_load_36 | 59 | 0.0026425 | 0.00066229 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-2_0_6_load_37 | 60 | 0.010029 | 0.0025135 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-2_0_6_load_57 | 63 | 0.0001312 | 3.2883e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-2_0_6_load_55 | 64 | 4.7226e-05 | 1.1836e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-2_0_6_load_69 | 65 | 0.00057798 | 0.00014486 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-2_0_6_load_68 | 66 | 0.00019131 | 4.7947e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-2_0_6_load_80 | 67 | 0.00032371 | 8.113e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-2_0_6_load_72 | 68 | 0.00076219 | 0.00019102 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-2_0_6_load_60 | 69 | 0.00081374 | 0.00020394 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-2_0_6_load_84 | 70 | 0.0005218 | 0.00013078 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-2_0_6_load_83 | 71 | 0.0031635 | 0.00079284 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-2_0_6_load_50 | 72 | 0.00030489 | 7.6414e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-2_0_6_load_51 | 73 | 9.4011e-05 | 2.3561e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-2_0_6_load_78 | 76 | 6.2785e-05 | 1.5735e-05 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-2_0_6_load_71 | 77 | 5.4463e-05 | 1.365e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-2_0_6_load_76 | 79 | 0.00025377 | 6.36e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-2_0_6_load_75 | 80 | 0.00013513 | 3.3867e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-2_0_6_load_67 | 82 | 0.0048685 | 0.0012202 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-2_0_6_load_81 | 83 | 0.00048306 | 0.00012107 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-2_0_6_load_82 | 84 | 0.0027875 | 0.00069863 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-2_0_6_load_85 | 85 | 0.003728 | 0.00093433 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-2_0_6_load_86 | 86 | 0.0038253 | 0.00095871 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-2_0_6_load_87 | 87 | 0.0020942 | 0.00052487 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-2_0_6_load_88 | 88 | 0.0045656 | 0.0011443 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3443-2_0_6_load_90 | 89 | 0.0027661 | 0.00069326 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3443-2_0_6_load_93 | 90 | 0.0030328 | 0.0007601 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3443-2_0_6_load_94 | 91 | 0.0017429 | 0.00043682 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 47 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-2_0_6_line_0 |  | 0 | 1 | 0.0029739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-2_0_6_line_1 |  | 0 | 2 | 0.036256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-2_0_6_line_2 |  | 1 | 3 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-2_0_6_line_3 |  | 2 | 4 | 0.002772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-2_0_6_line_4 |  | 3 | 5 | 0.045694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-2_0_6_line_5 |  | 4 | 6 | 0.051676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-2_0_6_line_6 |  | 5 | 7 | 0.09781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-2_0_6_line_7 |  | 5 | 8 | 0.016744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-2_0_6_line_8 |  | 6 | 9 | 0.032959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-2_0_6_line_9 |  | 8 | 46 | 0.098544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-2_0_6_line_10 |  | 9 | 91 | 0.067573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-2_0_6_line_11 |  | 10 | 11 | 0.050165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-2_0_6_line_12 |  | 11 | 12 | 0.086893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_3443-2_0_6_line_13 |  | 11 | 13 | 0.051535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_3443-2_0_6_line_14 |  | 12 | 17 | 0.094193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_3443-2_0_6_line_15 |  | 12 | 18 | 0.29208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-2_0_6_line_16 |  | 12 | 19 | 0.024235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-2_0_6_line_17 |  | 13 | 20 | 0.082147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_3443-2_0_6_line_18 |  | 13 | 22 | 0.054656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3443-2_0_6_line_19 |  | 14 | 15 | 0.064682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-2_0_6_line_20 |  | 14 | 16 | 0.023625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3443-2_0_6_line_21 |  | 15 | 20 | 0.015106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_3443-2_0_6_line_22 |  | 15 | 21 | 0.018262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_3443-2_0_6_line_23 |  | 17 | 26 | 0.01532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3443-2_0_6_line_24 |  | 18 | 27 | 0.08329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-2_0_6_line_25 |  | 18 | 28 | 0.078793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-2_0_6_line_26 |  | 19 | 34 | 0.058526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3443-2_0_6_line_27 |  | 20 | 35 | 0.029803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-2_0_6_line_28 |  | 21 | 36 | 0.0035745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_3443-2_0_6_line_29 |  | 23 | 24 | 0.015384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_3443-2_0_6_line_30 |  | 23 | 25 | 0.36209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3443-2_0_6_line_31 |  | 24 | 37 | 0.044185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_3443-2_0_6_line_32 |  | 25 | 38 | 0.024662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3443-2_0_6_line_33 |  | 26 | 39 | 0.013691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_3443-2_0_6_line_34 |  | 27 | 29 | 0.34363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3443-2_0_6_line_35 |  | 27 | 30 | 0.023129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3443-2_0_6_line_36 |  | 28 | 40 | 0.032196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-2_0_6_line_37 |  | 29 | 41 | 0.03764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-2_0_6_line_38 |  | 30 | 42 | 0.0019723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3443-2_0_6_line_39 |  | 31 | 32 | 0.01793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3443-2_0_6_line_40 |  | 31 | 33 | 0.050926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-2_0_6_line_41 |  | 32 | 67 | 0.45646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3443-2_0_6_line_42 |  | 32 | 68 | 0.033115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-2_0_6_line_43 |  | 33 | 69 | 0.029067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3443-2_0_6_line_44 |  | 34 | 59 | 0.020109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3443-2_0_6_line_45 |  | 36 | 48 | 0.060742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_3443-2_0_6_line_46 |  | 37 | 43 | 0.028423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_3443-2_0_6_line_47 |  | 38 | 81 | 0.017606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3443-2_0_6_line_48 |  | 39 | 43 | 0.059456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3443-2_0_6_line_49 |  | 41 | 79 | 0.025741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3443-2_0_6_line_50 |  | 42 | 69 | 0.067573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3443-2_0_6_line_51 |  | 44 | 45 | 0.0073179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3443-2_0_6_line_52 |  | 44 | 46 | 0.045229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3443-2_0_6_line_53 |  | 45 | 47 | 0.05331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_3443-2_0_6_line_54 |  | 46 | 48 | 0.010628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_3443-2_0_6_line_55 |  | 47 | 49 | 0.0808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3443-2_0_6_line_56 |  | 47 | 50 | 0.021321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3443-2_0_6_line_57 |  | 48 | 51 | 0.031575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3443-2_0_6_line_58 |  | 49 | 52 | 0.0049824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3443-2_0_6_line_59 |  | 51 | 53 | 0.25725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-2_0_6_line_60 |  | 52 | 56 | 0.023932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3443-2_0_6_line_61 |  | 53 | 61 | 0.39102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-2_0_6_line_62 |  | 54 | 55 | 0.018674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3443-2_0_6_line_63 |  | 55 | 56 | 0.02981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3443-2_0_6_line_64 |  | 55 | 57 | 0.012289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3443-2_0_6_line_65 |  | 57 | 58 | 0.014877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-2_0_6_line_66 |  | 59 | 60 | 0.0082911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-2_0_6_line_67 |  | 61 | 70 | 0.066426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-2_0_6_line_68 |  | 62 | 63 | 0.13321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-2_0_6_line_69 |  | 62 | 64 | 0.051324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3443-2_0_6_line_70 |  | 63 | 77 | 0.015636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3443-2_0_6_line_71 |  | 65 | 66 | 0.0016521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3443-2_0_6_line_72 |  | 66 | 78 | 0.01456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3443-2_0_6_line_73 |  | 67 | 75 | 0.042934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3443-2_0_6_line_74 |  | 68 | 78 | 0.03763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3443-2_0_6_line_75 |  | 70 | 71 | 0.056575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-2_0_6_line_76 |  | 71 | 84 | 0.010627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3443-2_0_6_line_77 |  | 72 | 73 | 0.16918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-2_0_6_line_78 |  | 73 | 74 | 0.20137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-2_0_6_line_79 |  | 74 | 75 | 0.23954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3443-2_0_6_line_80 |  | 75 | 76 | 0.036802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3443-2_0_6_line_81 |  | 77 | 78 | 0.079468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3443-2_0_6_line_82 |  | 79 | 80 | 0.020663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3443-2_0_6_line_83 |  | 81 | 82 | 0.060011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3443-2_0_6_line_84 |  | 83 | 84 | 0.018757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3443-2_0_6_line_85 |  | 85 | 86 | 0.0034903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3443-2_0_6_line_86 |  | 85 | 87 | 0.014825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3443-2_0_6_line_87 |  | 86 | 88 | 0.020939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3443-2_0_6_line_88 |  | 88 | 89 | 0.0038943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3443-2_0_6_line_89 |  | 89 | 90 | 0.016221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3443-2_0_6_line_90 |  | 90 | 91 | 0.0089363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-2_0_6_trafo_22 | 0.63 MVA 20/0.4 kV | 92 | 47 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18
0 | 2735933.6016 | 1253306.2162 | 2735930.7001 | 1253306.8682
1 | 2735933.6016 | 1253306.2162 | 2735943.1883 | 1253304.0618 | 2735968.9871 | 1253298.3196
2 | 2735930.7001 | 1253306.8682 | 2735915.9021 | 1253310.1936
3 | 2735971.6914 | 1253297.7107 | 2735969.729 | 1253298.1544 | 2735968.9871 | 1253298.3196
4 | 2735871.4002 | 1253320.5411 | 2735879.9672 | 1253318.2689 | 2735915.9021 | 1253310.1936
5 | 2736022.0942 | 1253286.3124 | 2735971.6914 | 1253297.7107
6 | 2735871.4002 | 1253320.5411 | 2735873.1773 | 1253327.9665 | 2735883.5882 | 1253337.7698 | 2735891.3918 | 1253341.7858 | 2735911.6817 | 1253348.7132 | 2735916.2532 | 1253352.4548 | 2735919.1751 | 1253357.3597 | 2735919.7811 | 1253391.3966
7 | 2735871.4002 | 1253320.5411 | 2735855.2399 | 1253324.9231
8 | 2736022.0942 | 1253286.3124 | 2736025.1865 | 1253308.7595 | 2736029.0624 | 1253311.8958 | 2736034.2663 | 1253313.0831
9 | 2735761.7802 | 1253355.7379 | 2735808.8941 | 1253337.49 | 2735855.2399 | 1253324.9231
10 | 2736034.2663 | 1253313.0831 | 2736033.7286 | 1253319.3987 | 2736032.5424 | 1253324.6986 | 2736030.0744 | 1253339.1329 | 2736026.5486 | 1253346.7144 | 2736023.4574 | 1253354.1058 | 2736020.153 | 1253362.2374 | 2736018.2157 | 1253372.3021 | 2736015.676 | 1253377.4722
11 | 2735585.0473 | 1253497.0641 | 2735620.6344 | 1253532.4212
12 | 2735524.7599 | 1253536.2426 | 2735531.3667 | 1253529.2318 | 2735572.9132 | 1253485.3757 | 2735577.3765 | 1253489.5594 | 2735585.0473 | 1253497.0641
13 | 2735585.0473 | 1253497.0641 | 2735591.8482 | 1253489.8242 | 2735614.7694 | 1253468.218 | 2735616.1476 | 1253467.0374 | 2735622.6366 | 1253461.8812
14 | 2735524.7599 | 1253536.2426 | 2735495.2089 | 1253568.5295 | 2735499.6813 | 1253572.6467 | 2735509.1808 | 1253581.3831 | 2735529.9505 | 1253557.7811
15 | 2735334.2733 | 1253733.8907 | 2735331.3168 | 1253730.4867 | 2735348.5603 | 1253714.4772 | 2735372.9217 | 1253691.8687 | 2735398.6134 | 1253668.2009 | 2735420.7625 | 1253652.2371 | 2735418.3922 | 1253647.3006 | 2735417.83 | 1253641.8494 | 2735419.167 | 1253636.5307 | 2735422.2298 | 1253631.9854 | 2735426.6516 | 1253628.7502 | 2735431.9257 | 1253627.1916 | 2735437.4057 | 1253627.5172 | 2735442.4588 | 1253629.6791 | 2735448.228 | 1253620.6695 | 2735460.1511 | 1253605.962 | 2735468.5323 | 1253596.6117 | 2735495.2089 | 1253568.5295 | 2735524.7599 | 1253536.2426
16 | 2735524.7599 | 1253536.2426 | 2735507.4472 | 1253519.2838
17 | 2735622.6366 | 1253461.8812 | 2735635.8303 | 1253451.0512 | 2735648.9156 | 1253440.341 | 2735661.3464 | 1253430.1941 | 2735675.967 | 1253419.686 | 2735687.4259 | 1253411.4409
18 | 2735622.6366 | 1253461.8812 | 2735648.5966 | 1253493.449 | 2735659.34 | 1253484.8118
19 | 2735629.9061 | 1253409.4886 | 2735641.472 | 1253424.5672 | 2735679.1714 | 1253398.7736
20 | 2735629.9061 | 1253409.4886 | 2735621.2729 | 1253387.4978
21 | 2735679.1714 | 1253398.7736 | 2735687.4259 | 1253411.4409
22 | 2735679.1714 | 1253398.7736 | 2735694.8944 | 1253389.4851
23 | 2735529.9505 | 1253557.7811 | 2735541.3479 | 1253568.0186
24 | 2735334.2733 | 1253733.8907 | 2735331.3168 | 1253730.4867 | 2735348.5603 | 1253714.4772 | 2735324.1443 | 1253705.8114 | 2735307.3762 | 1253698.3883 | 2735299.3744 | 1253690.8319
25 | 2735334.2733 | 1253733.8907 | 2735357.3592 | 1253760.4425 | 2735386.1998 | 1253793.1517
26 | 2735507.4472 | 1253519.2838 | 2735492.0471 | 1253504.1983 | 2735457.4046 | 1253517.1039
27 | 2735687.4259 | 1253411.4409 | 2735703.785 | 1253436.3527
28 | 2735697.972 | 1253387.667 | 2735694.8944 | 1253389.4851
29 | 2735535.1416 | 1253607.6455 | 2735548.5178 | 1253600.0466
30 | 2735535.1416 | 1253607.6455 | 2735538.4605 | 1253616.9744 | 2735537.4978 | 1253625.0598 | 2735535.5095 | 1253629.485 | 2735606.9082 | 1253691.3868 | 2735628.6298 | 1253706.6203 | 2735704.8163 | 1253739.0393 | 2735744.9253 | 1253754.5614 | 2735758.2695 | 1253758.8712 | 2735766.173 | 1253760.1535 | 2735772.5777 | 1253760.3116 | 2735836.2715 | 1253765.7435
31 | 2735577.6526 | 1253572.2196 | 2735578.1079 | 1253572.63 | 2735578.9361 | 1253574.0391 | 2735579.2079 | 1253576.0138 | 2735578.8913 | 1253577.975 | 2735578.299 | 1253579.1181 | 2735577.3442 | 1253580.5976 | 2735575.3746 | 1253582.5543 | 2735571.6156 | 1253585.5154 | 2735564.7611 | 1253590.819 | 2735548.5178 | 1253600.0466
32 | 2735836.2715 | 1253765.7435 | 2735860.8856 | 1253767.2753
33 | 2735551.5334 | 1253577.1676 | 2735541.3479 | 1253568.0186
34 | 2735299.3744 | 1253690.8319 | 2735303.1018 | 1253687.2582 | 2735307.6539 | 1253680.3003 | 2735311.5638 | 1253674.0283 | 2735313.0523 | 1253663.397 | 2735311.475 | 1253655.1312 | 2735306.1887 | 1253637.4165 | 2735295.4643 | 1253611.926 | 2735189.5832 | 1253461.0374 | 2735183.567 | 1253452.7815 | 2735170.261 | 1253429.5678 | 2735163.1865 | 1253419.0634 | 2735148.3936 | 1253400.7981
35 | 2735299.3744 | 1253690.8319 | 2735278.1592 | 1253700.0433
36 | 2735386.1998 | 1253793.1517 | 2735407.4932 | 1253817.3013
37 | 2735124.3501 | 1253371.7787 | 2735148.3936 | 1253400.7981
38 | 2735278.1592 | 1253700.0433 | 2735276.3502 | 1253700.8288
39 | 2735141.8339 | 1253761.4447 | 2735125.0797 | 1253767.9573
40 | 2735141.8339 | 1253761.4447 | 2735174.3742 | 1253745.5393 | 2735187.8294 | 1253739.6022
41 | 2735125.0797 | 1253767.9573 | 2735121.183 | 1253761.7628 | 2735076.6548 | 1253737.0802 | 2734914.2453 | 1253645.3286 | 2734730.1247 | 1253540.852
42 | 2735125.0797 | 1253767.9573 | 2735094.9433 | 1253781.6842
43 | 2735187.8294 | 1253739.6022 | 2735214.4229 | 1253727.8679
44 | 2735438.5605 | 1253524.124 | 2735457.4046 | 1253517.1039
45 | 2735752.1855 | 1253360.3667 | 2735724.7047 | 1253373.0598 | 2735706.3364 | 1253382.7256 | 2735697.972 | 1253387.667
46 | 2735555.9829 | 1253553.8954 | 2735559.0541 | 1253555.912 | 2735562.0448 | 1253558.1491 | 2735577.6526 | 1253572.2196
47 | 2735878.4574 | 1253768.369 | 2735860.8856 | 1253767.2753
48 | 2735555.9829 | 1253553.8954 | 2735558.8451 | 1253557.7867 | 2735561.9655 | 1253561.2835 | 2735573.8452 | 1253573.1996 | 2735574.4022 | 1253574.2578 | 2735574.5492 | 1253575.4178 | 2735574.0575 | 1253576.4519 | 2735572.8652 | 1253577.7591 | 2735565.1394 | 1253585.178 | 2735564.0222 | 1253585.8419 | 2735563.0273 | 1253586.1083 | 2735561.8077 | 1253585.9691 | 2735560.6591 | 1253585.3645 | 2735551.5334 | 1253577.1676
49 | 2735124.3501 | 1253371.7787 | 2735128.5383 | 1253368.1932 | 2735132.2048 | 1253361.6709 | 2735135.3742 | 1253357.4171 | 2735137.9666 | 1253355.619 | 2735140.649 | 1253354.5125 | 2735142.0223 | 1253354.3381
50 | 2735276.3502 | 1253700.8288 | 2735235.7926 | 1253718.4386 | 2735214.4229 | 1253727.8679
51 | 2735782.7068 | 1253403.9375 | 2735779.7924 | 1253397.225
52 | 2735761.7802 | 1253355.7379 | 2735779.7924 | 1253397.225
53 | 2735803.9375 | 1253452.8376 | 2735782.7068 | 1253403.9375
54 | 2735752.1855 | 1253360.3667 | 2735761.7802 | 1253355.7379
55 | 2735803.9375 | 1253452.8376 | 2735881.6329 | 1253430.6533
56 | 2735803.9375 | 1253452.8376 | 2735812.1332 | 1253472.5207
57 | 2735752.1855 | 1253360.3667 | 2735737.8582 | 1253332.229
58 | 2735886.4238 | 1253429.2853 | 2735881.6329 | 1253430.6533
59 | 2735811.423 | 1253111.8081 | 2735791.4117 | 1253136.7833 | 2735748.63 | 1253192.5205 | 2735723.5568 | 1253226.2658 | 2735717.3539 | 1253240.6591 | 2735714.4249 | 1253253.5037 | 2735713.6364 | 1253270.4456 | 2735716.04 | 1253289.0733 | 2735729.8225 | 1253316.4474 | 2735737.8582 | 1253332.229
60 | 2735886.4238 | 1253429.2853 | 2735892.3384 | 1253452.4745
61 | 2735811.423 | 1253111.8081 | 2735789.1702 | 1253111.0974 | 2735720.4762 | 1253098.5673 | 2735630.8265 | 1253077.139 | 2735573.6019 | 1253062.8161 | 2735532.7596 | 1253110.414 | 2735506.825 | 1253139.9477 | 2735490.2049 | 1253160.9534 | 2735479.609 | 1253176.6699
62 | 2735899.7059 | 1253481.3599 | 2735881.6661 | 1253486.1843
63 | 2735899.7059 | 1253481.3599 | 2735892.3384 | 1253452.4745
64 | 2735899.7059 | 1253481.3599 | 2735909.2349 | 1253481.234 | 2735909.2825 | 1253483.9931
65 | 2735909.5395 | 1253498.8683 | 2735909.2825 | 1253483.9931
66 | 2735430.7911 | 1253527.0184 | 2735438.5605 | 1253524.124
67 | 2735479.609 | 1253176.6699 | 2735449.1482 | 1253158.6013 | 2735420.9573 | 1253145.6842
68 | 2734852.6052 | 1253891.2162 | 2734959.3413 | 1253843.4368 | 2734974.1452 | 1253836.6956
69 | 2734852.6052 | 1253891.2162 | 2734805.873 | 1253912.4346
70 | 2734988.3754 | 1253830.2157 | 2734974.1452 | 1253836.6956
71 | 2735068.3718 | 1253809.6559 | 2735069.2426 | 1253811.0599
72 | 2735060.6981 | 1253797.2825 | 2735068.3718 | 1253809.6559
73 | 2734692.7832 | 1253519.6631 | 2734730.1247 | 1253540.852
74 | 2735060.6981 | 1253797.2825 | 2735094.9433 | 1253781.6842
75 | 2735420.9573 | 1253145.6842 | 2735410.1375 | 1253140.7265 | 2735400.0398 | 1253157.4443 | 2735394.3368 | 1253158.9265 | 2735378.2033 | 1253148.4247
76 | 2735369.2966 | 1253142.6271 | 2735378.2033 | 1253148.4247
77 | 2734549.0207 | 1253776.0776 | 2734531.0345 | 1253730.0682 | 2734491.5947 | 1253621.1956 | 2734491.5857 | 1253617.2124
78 | 2734478.847 | 1253417.5095 | 2734477.4307 | 1253427.353 | 2734480.4144 | 1253446.5271 | 2734484.6015 | 1253470.544 | 2734487.8552 | 1253487.4667 | 2734491.3745 | 1253504.3286 | 2734493.8025 | 1253522.7116 | 2734494.7731 | 1253543.4414 | 2734491.5227 | 1253589.1537 | 2734491.5857 | 1253617.2124
79 | 2734692.7832 | 1253519.6631 | 2734663.1074 | 1253502.5728 | 2734554.7096 | 1253441.0203 | 2734520.3893 | 1253423.6583 | 2734500.6931 | 1253417.461 | 2734485.1093 | 1253415.9725 | 2734478.847 | 1253417.5095
80 | 2734692.7832 | 1253519.6631 | 2734711.961 | 1253488.2533
81 | 2735060.6981 | 1253797.2825 | 2734988.3754 | 1253830.2157
82 | 2735160.6632 | 1253361.9088 | 2735147.416 | 1253354.3556 | 2735143.6923 | 1253354.126 | 2735142.0223 | 1253354.3381
83 | 2735878.4574 | 1253768.369 | 2735881.0259 | 1253747.5643 | 2735883.8459 | 1253738.4874 | 2735885.41 | 1253731.1832 | 2735883.0212 | 1253724.767 | 2735878.1354 | 1253719.9283 | 2735870.0876 | 1253717.6972
84 | 2735353.4844 | 1253132.5387 | 2735362.6582 | 1253138.3059 | 2735369.2966 | 1253142.6271
85 | 2736009.6273 | 1253428.1348 | 2736007.8989 | 1253425.1025
86 | 2736009.6273 | 1253428.1348 | 2736016.9688 | 1253441.0142
87 | 2736007.8989 | 1253425.1025 | 2736007.8989 | 1253425.1025 | 2736005.3311 | 1253413.3328 | 2736005.1353 | 1253404.4424 | 2736005.1353 | 1253404.4424
88 | 2736005.1353 | 1253404.4424 | 2736006.2663 | 1253400.7159
89 | 2736006.2663 | 1253400.7159 | 2736009.5128 | 1253390.0185 | 2736011.7359 | 1253385.493
90 | 2736011.7359 | 1253385.493 | 2736015.676 | 1253377.4722

## bus_geodata
| x | y | coords
0 | 2735933.6016 | 1253306.2162
1 | 2735930.7001 | 1253306.8682
2 | 2735968.9871 | 1253298.3196
3 | 2735915.9021 | 1253310.1936
4 | 2735971.6914 | 1253297.7107
5 | 2735871.4002 | 1253320.5411
6 | 2736022.0942 | 1253286.3124
7 | 2735919.7811 | 1253391.3966
8 | 2735855.2399 | 1253324.9231
9 | 2736034.2663 | 1253313.0831
10 | 2735620.6344 | 1253532.4212
11 | 2735585.0473 | 1253497.0641
12 | 2735524.7599 | 1253536.2426
13 | 2735622.6366 | 1253461.8812
14 | 2735629.9061 | 1253409.4886
15 | 2735679.1714 | 1253398.7736
16 | 2735621.2729 | 1253387.4978
17 | 2735529.9505 | 1253557.7811
18 | 2735334.2733 | 1253733.8907
19 | 2735507.4472 | 1253519.2838
20 | 2735687.4259 | 1253411.4409
21 | 2735694.8944 | 1253389.4851
22 | 2735659.34 | 1253484.8118
23 | 2735535.1416 | 1253607.6455
24 | 2735548.5178 | 1253600.0466
25 | 2735836.2715 | 1253765.7435
26 | 2735541.3479 | 1253568.0186
27 | 2735299.3744 | 1253690.8319
28 | 2735386.1998 | 1253793.1517
29 | 2735148.3936 | 1253400.7981
30 | 2735278.1592 | 1253700.0433
31 | 2735141.8339 | 1253761.4447
32 | 2735125.0797 | 1253767.9573
33 | 2735187.8294 | 1253739.6022
34 | 2735457.4046 | 1253517.1039
35 | 2735703.785 | 1253436.3527
36 | 2735697.972 | 1253387.667
37 | 2735577.6526 | 1253572.2196
38 | 2735860.8856 | 1253767.2753
39 | 2735551.5334 | 1253577.1676
40 | 2735407.4932 | 1253817.3013
41 | 2735124.3501 | 1253371.7787
42 | 2735276.3502 | 1253700.8288
43 | 2735555.9829 | 1253553.8954
44 | 2735779.7924 | 1253397.225
45 | 2735782.7068 | 1253403.9375
46 | 2735761.7802 | 1253355.7379
47 | 2735803.9375 | 1253452.8376
48 | 2735752.1855 | 1253360.3667
49 | 2735881.6329 | 1253430.6533
50 | 2735812.1332 | 1253472.5207
51 | 2735737.8582 | 1253332.229
52 | 2735886.4238 | 1253429.2853
53 | 2735811.423 | 1253111.8081
54 | 2735881.6661 | 1253486.1843
55 | 2735899.7059 | 1253481.3599
56 | 2735892.3384 | 1253452.4745
57 | 2735909.2825 | 1253483.9931
58 | 2735909.5395 | 1253498.8683
59 | 2735438.5605 | 1253524.124
60 | 2735430.7911 | 1253527.0184
61 | 2735479.609 | 1253176.6699
62 | 2734852.6052 | 1253891.2162
63 | 2734974.1452 | 1253836.6956
64 | 2734805.873 | 1253912.4346
65 | 2735069.2426 | 1253811.0599
66 | 2735068.3718 | 1253809.6559
67 | 2734730.1247 | 1253540.852
68 | 2735094.9433 | 1253781.6842
69 | 2735214.4229 | 1253727.8679
70 | 2735420.9573 | 1253145.6842
71 | 2735378.2033 | 1253148.4247
72 | 2734549.0207 | 1253776.0776
73 | 2734491.5857 | 1253617.2124
74 | 2734478.847 | 1253417.5095
75 | 2734692.7832 | 1253519.6631
76 | 2734711.961 | 1253488.2533
77 | 2734988.3754 | 1253830.2157
78 | 2735060.6981 | 1253797.2825
79 | 2735142.0223 | 1253354.3381
80 | 2735160.6632 | 1253361.9088
81 | 2735878.4574 | 1253768.369
82 | 2735870.0876 | 1253717.6972
83 | 2735353.4844 | 1253132.5387
84 | 2735369.2966 | 1253142.6271
85 | 2736009.6273 | 1253428.1348
86 | 2736007.8989 | 1253425.1025
87 | 2736016.9688 | 1253441.0142
88 | 2736005.1353 | 1253404.4424
89 | 2736006.2663 | 1253400.7159
90 | 2736011.7359 | 1253385.493
91 | 2736015.676 | 1253377.4722
92 | 2735761.7802 | 1253355.7379

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1