## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-33_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-33_0_7_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-33_0_7_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3443-33_0_7_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3443-33_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3443-33_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3443-33_0_7_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_3443-33_0_7_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_3443-33_0_7_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_3443-33_0_7_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_3443-33_0_7_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_3443-33_0_7_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_3443-33_0_7_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_3443-33_0_7_node_20 | 0.4 | n |  | TRUE
14 | bus_LV_3443-33_0_7_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_3443-33_0_7_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_3443-33_0_7_node_15 | 0.4 | n |  | TRUE
17 | bus_LV_3443-33_0_7_node_16 | 0.4 | n |  | TRUE
18 | bus_LV_3443-33_0_7_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_3443-33_0_7_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_3443-33_0_7_node_19 | 0.4 | n |  | TRUE
21 | bus_LV_3443-33_0_7_node_80 | 0.4 | n |  | TRUE
22 | bus_LV_3443-33_0_7_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_3443-33_0_7_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_3443-33_0_7_node_78 | 0.4 | n |  | TRUE
25 | bus_LV_3443-33_0_7_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_3443-33_0_7_node_27 | 0.4 | n |  | TRUE
27 | bus_LV_3443-33_0_7_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_3443-33_0_7_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_3443-33_0_7_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_3443-33_0_7_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_3443-33_0_7_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_3443-33_0_7_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_3443-33_0_7_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_3443-33_0_7_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_3443-33_0_7_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_3443-33_0_7_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_3443-33_0_7_node_86 | 0.4 | n |  | TRUE
38 | bus_LV_3443-33_0_7_node_84 | 0.4 | n |  | TRUE
39 | bus_LV_3443-33_0_7_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_3443-33_0_7_node_83 | 0.4 | n |  | TRUE
41 | bus_LV_3443-33_0_7_node_81 | 0.4 | n |  | TRUE
42 | bus_LV_3443-33_0_7_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_3443-33_0_7_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_3443-33_0_7_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_3443-33_0_7_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_3443-33_0_7_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_3443-33_0_7_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_3443-33_0_7_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_3443-33_0_7_node_88 | 0.4 | n |  | TRUE
50 | bus_LV_3443-33_0_7_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_3443-33_0_7_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_3443-33_0_7_node_56 | 0.4 | n |  | TRUE
53 | bus_LV_3443-33_0_7_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_3443-33_0_7_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_3443-33_0_7_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_3443-33_0_7_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_3443-33_0_7_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_3443-33_0_7_node_54 | 0.4 | n |  | TRUE
59 | bus_LV_3443-33_0_7_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_3443-33_0_7_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_3443-33_0_7_node_77 | 0.4 | n |  | TRUE
62 | bus_LV_3443-33_0_7_node_75 | 0.4 | n |  | TRUE
63 | bus_LV_3443-33_0_7_node_73 | 0.4 | n |  | TRUE
64 | bus_LV_3443-33_0_7_node_57 | 0.4 | n |  | TRUE
65 | bus_LV_3443-33_0_7_node_76 | 0.4 | n |  | TRUE
66 | bus_LV_3443-33_0_7_node_74 | 0.4 | n |  | TRUE
67 | bus_LV_3443-33_0_7_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_3443-33_0_7_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_3443-33_0_7_node_64 | 0.4 | n |  | TRUE
70 | bus_LV_3443-33_0_7_node_72 | 0.4 | n |  | TRUE
71 | bus_LV_3443-33_0_7_node_60 | 0.4 | n |  | TRUE
72 | bus_LV_3443-33_0_7_node_61 | 0.4 | n |  | TRUE
73 | bus_LV_3443-33_0_7_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_3443-33_0_7_node_65 | 0.4 | n |  | TRUE
75 | bus_LV_3443-33_0_7_node_66 | 0.4 | n |  | TRUE
76 | bus_LV_3443-33_0_7_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_3443-33_0_7_node_71 | 0.4 | n |  | TRUE
78 | bus_LV_3443-33_0_7_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_3443-33_0_7_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_3443-33_0_7_node_68 | 0.4 | n |  | TRUE
81 | bus_LV_3443-33_0_7_node_89 | 0.4 | n |  | TRUE
82 | bus_LV_3443-33_0_7_node_82 | 0.4 | n |  | TRUE
83 | bus_MV_411_0_node_116 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-33_0_7_load_0 | 0 | 0.00099017 | 0.00024816 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-33_0_7_load_3 | 3 | 0.00072056 | 0.00018059 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-33_0_7_load_4 | 4 | 0.0042429 | 0.0010634 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-33_0_7_load_13 | 7 | 0.002528 | 0.00063358 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-33_0_7_load_11 | 8 | 0.0025861 | 0.00064814 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-33_0_7_load_10 | 9 | 0.0017326 | 0.00043423 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-33_0_7_load_7 | 10 | 0.0077998 | 0.0019548 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-33_0_7_load_12 | 11 | 0.0017649 | 0.00044232 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-33_0_7_load_9 | 12 | 0.00066078 | 0.00016561 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-33_0_7_load_20 | 13 | 0.0094813 | 0.0023762 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-33_0_7_load_21 | 14 | 0.0076515 | 0.0019177 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-33_0_7_load_14 | 15 | 0.010736 | 0.0026908 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-33_0_7_load_15 | 16 | 0.00835 | 0.0020927 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-33_0_7_load_17 | 18 | 0.0020699 | 0.00051876 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-33_0_7_load_18 | 19 | 0.0015181 | 0.00038047 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-33_0_7_load_19 | 20 | 0.0016614 | 0.00041638 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-33_0_7_load_30 | 22 | 0.003713 | 0.00093057 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-33_0_7_load_26 | 23 | 0.0061005 | 0.0015289 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-33_0_7_load_78 | 24 | 0.0024497 | 0.00061394 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-33_0_7_load_31 | 25 | 0.0045139 | 0.0011313 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-33_0_7_load_28 | 27 | 0.0094213 | 0.0023612 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-33_0_7_load_22 | 29 | 0.0063641 | 0.001595 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-33_0_7_load_23 | 30 | 0.0072767 | 0.0018237 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-33_0_7_load_24 | 31 | 0.0031058 | 0.00077839 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-33_0_7_load_39 | 33 | 0.0066797 | 0.0016741 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-33_0_7_load_35 | 34 | 0.014309 | 0.0035863 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-33_0_7_load_33 | 35 | 0.0062044 | 0.001555 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-33_0_7_load_34 | 36 | 0.0063219 | 0.0015844 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-33_0_7_load_86 | 37 | 0.0061598 | 0.0015438 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-33_0_7_load_84 | 38 | 0.0022528 | 0.0005646 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-33_0_7_load_36 | 39 | 0.0086216 | 0.0021608 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-33_0_7_load_81 | 41 | 0.008855 | 0.0022193 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-33_0_7_load_40 | 42 | 0.014924 | 0.0037402 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-33_0_7_load_41 | 43 | 0.035069 | 0.0087892 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-33_0_7_load_45 | 46 | 0.0053632 | 0.0013441 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-33_0_7_load_87 | 47 | 0.0058388 | 0.0014633 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-33_0_7_load_46 | 48 | 0.0029907 | 0.00074954 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-33_0_7_load_88 | 49 | 0.0059435 | 0.0014896 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-33_0_7_load_47 | 50 | 0.011409 | 0.0028595 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-33_0_7_load_56 | 52 | 0.0038597 | 0.00096733 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-33_0_7_load_49 | 54 | 0.095639 | 0.023969 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-33_0_7_load_53 | 57 | 0.011349 | 0.0028444 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-33_0_7_load_55 | 59 | 0.027324 | 0.0068479 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-33_0_7_load_79 | 60 | 0.005222 | 0.0013088 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-33_0_7_load_77 | 61 | 0.0049132 | 0.0012314 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-33_0_7_load_73 | 63 | 0.025674 | 0.0064346 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-33_0_7_load_57 | 64 | 0.001253 | 0.00031403 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-33_0_7_load_74 | 66 | 0.088303 | 0.022131 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-33_0_7_load_58 | 67 | 0.0060408 | 0.001514 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-33_0_7_load_64 | 69 | 0.019401 | 0.0048624 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-33_0_7_load_72 | 70 | 0.0016482 | 0.00041308 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-33_0_7_load_60 | 71 | 0.00064597 | 0.00016189 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-33_0_7_load_61 | 72 | 0.0050724 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-33_0_7_load_65 | 74 | 0.0036767 | 0.00092147 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-33_0_7_load_63 | 78 | 0.0022107 | 0.00055404 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-33_0_7_load_70 | 79 | 0.0027192 | 0.00068148 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-33_0_7_load_68 | 80 | 0.00079005 | 0.000198 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-33_0_7_load_89 | 81 | 0.019208 | 0.004814 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-33_0_7_load_82 | 82 | 0.0033946 | 0.00085076 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 55 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-33_0_7_line_0 |  | 0 | 1 | 0.016767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-33_0_7_line_1 |  | 0 | 2 | 0.023545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-33_0_7_line_2 |  | 1 | 3 | 0.010295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-33_0_7_line_3 |  | 1 | 4 | 0.013782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-33_0_7_line_4 |  | 2 | 5 | 0.03293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-33_0_7_line_5 |  | 3 | 6 | 0.0015221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-33_0_7_line_6 |  | 5 | 7 | 0.03233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-33_0_7_line_7 |  | 5 | 8 | 0.022501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-33_0_7_line_8 |  | 6 | 9 | 0.01197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-33_0_7_line_9 |  | 6 | 10 | 0.018528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-33_0_7_line_10 |  | 8 | 11 | 0.025737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-33_0_7_line_11 |  | 9 | 13 | 0.023293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-33_0_7_line_12 |  | 10 | 12 | 0.015328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3443-33_0_7_line_13 |  | 13 | 14 | 0.020226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-33_0_7_line_14 |  | 14 | 26 | 0.0090049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-33_0_7_line_15 |  | 15 | 16 | 0.011922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-33_0_7_line_16 |  | 15 | 17 | 0.023278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-33_0_7_line_17 |  | 16 | 18 | 0.0039351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3443-33_0_7_line_18 |  | 17 | 19 | 0.052895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3443-33_0_7_line_19 |  | 17 | 20 | 0.019053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-33_0_7_line_20 |  | 18 | 21 | 0.0068178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3443-33_0_7_line_21 |  | 20 | 22 | 0.048456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-33_0_7_line_22 |  | 21 | 23 | 0.021373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3443-33_0_7_line_23 |  | 21 | 24 | 0.011024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
24 | LV_3443-33_0_7_line_24 |  | 22 | 25 | 0.0071447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-33_0_7_line_25 |  | 23 | 31 | 0.032399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-33_0_7_line_26 |  | 24 | 60 | 0.050352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3443-33_0_7_line_27 |  | 26 | 27 | 0.025322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-33_0_7_line_28 |  | 26 | 28 | 0.007651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-33_0_7_line_29 |  | 27 | 35 | 0.036135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-33_0_7_line_30 |  | 28 | 32 | 0.034496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3443-33_0_7_line_31 |  | 28 | 30 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3443-33_0_7_line_32 |  | 29 | 30 | 0.02196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3443-33_0_7_line_33 |  | 29 | 31 | 0.0028472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3443-33_0_7_line_34 |  | 32 | 33 | 0.035152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3443-33_0_7_line_35 |  | 32 | 34 | 0.0051035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3443-33_0_7_line_36 |  | 33 | 40 | 0.018047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-33_0_7_line_37 |  | 34 | 39 | 0.020383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-33_0_7_line_38 |  | 35 | 36 | 0.0088385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3443-33_0_7_line_39 |  | 35 | 37 | 0.067052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3443-33_0_7_line_40 |  | 37 | 38 | 0.0054029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-33_0_7_line_41 |  | 40 | 41 | 0.0067255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3443-33_0_7_line_42 |  | 41 | 82 | 0.0052997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-33_0_7_line_43 |  | 42 | 43 | 0.0051037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3443-33_0_7_line_44 |  | 43 | 44 | 0.014677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3443-33_0_7_line_45 |  | 44 | 45 | 0.029159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3443-33_0_7_line_46 |  | 44 | 46 | 0.0035745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-33_0_7_line_47 |  | 45 | 47 | 0.027068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3443-33_0_7_line_48 |  | 46 | 48 | 9.6483e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3443-33_0_7_line_49 |  | 47 | 49 | 0.010276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3443-33_0_7_line_50 |  | 48 | 50 | 0.032163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3443-33_0_7_line_51 |  | 50 | 51 | 0.011311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-33_0_7_line_52 |  | 51 | 52 | 0.030342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3443-33_0_7_line_53 |  | 52 | 53 | 0.0062308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3443-33_0_7_line_54 |  | 53 | 60 | 0.014227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_3443-33_0_7_line_55 |  | 53 | 55 | 0.047872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_3443-33_0_7_line_56 |  | 54 | 55 | 0.039963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_3443-33_0_7_line_57 |  | 54 | 56 | 0.016013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
58 | LV_3443-33_0_7_line_58 |  | 55 | 57 | 0.030027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3443-33_0_7_line_59 |  | 56 | 58 | 0.035276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-33_0_7_line_60 |  | 56 | 59 | 0.053939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3443-33_0_7_line_61 |  | 57 | 61 | 0.0027822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-33_0_7_line_62 |  | 58 | 62 | 0.042798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3443-33_0_7_line_63 |  | 58 | 63 | 0.066444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3443-33_0_7_line_64 |  | 59 | 64 | 0.021167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3443-33_0_7_line_65 |  | 62 | 65 | 0.053618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-33_0_7_line_66 |  | 63 | 66 | 0.057122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-33_0_7_line_67 |  | 64 | 67 | 0.031799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-33_0_7_line_68 |  | 65 | 81 | 0.019969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-33_0_7_line_69 |  | 67 | 68 | 0.026752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3443-33_0_7_line_70 |  | 67 | 69 | 0.054282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3443-33_0_7_line_71 |  | 68 | 70 | 0.010709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3443-33_0_7_line_72 |  | 69 | 73 | 0.030903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3443-33_0_7_line_73 |  | 70 | 77 | 0.0083712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3443-33_0_7_line_74 |  | 71 | 72 | 0.017884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3443-33_0_7_line_75 |  | 71 | 73 | 0.010065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-33_0_7_line_76 |  | 72 | 78 | 0.035252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3443-33_0_7_line_77 |  | 73 | 74 | 0.0068133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-33_0_7_line_78 |  | 74 | 75 | 0.024416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-33_0_7_line_79 |  | 75 | 76 | 0.073334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3443-33_0_7_line_80 |  | 76 | 80 | 0.011593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3443-33_0_7_line_81 |  | 77 | 79 | 0.032965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-33_0_7_trafo_50 | 0.63 MVA 20/0.4 kV | 83 | 55 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2737155.2806 | 1256510.9128 | 2737161.7894 | 1256526.3651
1 | 2737171.0486 | 1256548.0126 | 2737167.3299 | 1256539.5186 | 2737161.7894 | 1256526.3651
2 | 2737155.2806 | 1256510.9128 | 2737156.7656 | 1256500.7254
3 | 2737155.2806 | 1256510.9128 | 2737153.4662 | 1256523.438 | 2737153.1641 | 1256524.5233
4 | 2737171.0486 | 1256548.0126 | 2737179.1323 | 1256568.0297 | 2737183.5599 | 1256578.4864
5 | 2737156.9852 | 1256499.2192 | 2737156.7656 | 1256500.7254
6 | 2737183.5599 | 1256578.4864 | 2737190.7219 | 1256592.3764 | 2737195.4406 | 1256597.4349 | 2737201.0203 | 1256601.8016 | 2737203.4663 | 1256602.944
7 | 2737183.5599 | 1256578.4864 | 2737188.6521 | 1256573.9446 | 2737191.8239 | 1256567.957 | 2737191.8535 | 1256559.0557
8 | 2737156.9852 | 1256499.2192 | 2737158.9221 | 1256487.4065
9 | 2737156.9852 | 1256499.2192 | 2737151.0108 | 1256495.5997 | 2737145.6169 | 1256492.6498 | 2737140.3892 | 1256491.3163
10 | 2737196.8109 | 1256536.3987 | 2737191.2832 | 1256540.1964 | 2737190.3316 | 1256546.7471 | 2737191.8568 | 1256558.0819 | 2737191.8535 | 1256559.0557
11 | 2737159.6118 | 1256464.4057 | 2737160.377 | 1256467.1457 | 2737160.9546 | 1256475.0999 | 2737158.9799 | 1256487.0541 | 2737158.9221 | 1256487.4065
12 | 2737128.076 | 1256498.4934 | 2737131.4137 | 1256494.1333 | 2737135.3249 | 1256491.3991 | 2737140.3892 | 1256491.3163
13 | 2737153.5775 | 1256445.108 | 2737157.4164 | 1256456.5451 | 2737159.6118 | 1256464.4057
14 | 2737150.712 | 1256436.5712 | 2737153.5775 | 1256445.108
15 | 2737066.9612 | 1256489.7457 | 2737063.8695 | 1256478.232
16 | 2737070.0664 | 1256512.7857 | 2737067.7762 | 1256492.7807 | 2737066.9612 | 1256489.7457
17 | 2737062.849 | 1256474.4316 | 2737063.8695 | 1256478.232
18 | 2737070.0664 | 1256512.7857 | 2737070.7565 | 1256522.3995 | 2737071.0296 | 1256541.5458 | 2737068.4848 | 1256563.7854 | 2737068.182 | 1256565.4824
19 | 2737070.0664 | 1256512.7857 | 2737065.7642 | 1256513.1865 | 2737058.1304 | 1256517.6917 | 2737053.2327 | 1256520.9247
20 | 2737061.0809 | 1256467.847 | 2737062.849 | 1256474.4316
21 | 2737013.257 | 1256548.3032 | 2737040.991 | 1256529.0055 | 2737053.2327 | 1256520.9247
22 | 2737061.0809 | 1256467.847 | 2737081.0981 | 1256460.357
23 | 2737061.0809 | 1256467.847 | 2737058.1424 | 1256457.2217
24 | 2737013.257 | 1256548.3032 | 2737012.2815 | 1256548.9819 | 2737007.5247 | 1256552.5666
25 | 2737081.0981 | 1256460.357 | 2737089.9937 | 1256457.0285 | 2737101.4457 | 1256452.1781 | 2737110.8686 | 1256447.6279
26 | 2737058.1424 | 1256457.2217 | 2737056.6047 | 1256451.6617 | 2737051.5464 | 1256429.3349 | 2737047.8172 | 1256407.9676
27 | 2737150.712 | 1256436.5712 | 2737160.5385 | 1256435.4533 | 2737174.7356 | 1256441.5027
28 | 2737150.712 | 1256436.5712 | 2737148.0035 | 1256429.4129
29 | 2737174.7356 | 1256441.5027 | 2737185.7676 | 1256446.2034 | 2737188.5694 | 1256455.5214 | 2737188.3391 | 1256469.9322
30 | 2737138.174 | 1256396.4879 | 2737140.2246 | 1256407.9461 | 2737145.0259 | 1256422.7933 | 2737148.0035 | 1256429.4129
31 | 2737148.0035 | 1256429.4129 | 2737132.0211 | 1256434.9163
32 | 2737113.4325 | 1256446.3898 | 2737115.0272 | 1256445.6198 | 2737123.3146 | 1256440.9185 | 2737127.0421 | 1256437.6462 | 2737130.8457 | 1256435.321 | 2737132.0211 | 1256434.9163
33 | 2737113.4325 | 1256446.3898 | 2737110.8686 | 1256447.6279
34 | 2737138.174 | 1256396.4879 | 2737107.7613 | 1256405.9257 | 2737106.8461 | 1256402.7463
35 | 2737138.174 | 1256396.4879 | 2737137.4985 | 1256391.4293
36 | 2737101.8541 | 1256385.4032 | 2737106.8461 | 1256402.7463
37 | 2737137.4985 | 1256391.4293 | 2737134.8007 | 1256371.2256
38 | 2737188.3391 | 1256469.9322 | 2737188.3187 | 1256471.208 | 2737186.7696 | 1256478.6102
39 | 2737188.3391 | 1256469.9322 | 2737249.1999 | 1256441.7915
40 | 2737249.1999 | 1256441.7915 | 2737247.9757 | 1256436.5291
41 | 2737101.8541 | 1256385.4032 | 2737095.4319 | 1256387.4003
42 | 2737090.3712 | 1256388.974 | 2737095.4319 | 1256387.4003
43 | 2737033.3809 | 1256291.221 | 2737033.7446 | 1256294.3419 | 2737033.9716 | 1256296.2904
44 | 2737035.6705 | 1256310.8685 | 2737033.9716 | 1256296.2904
45 | 2737035.6705 | 1256310.8685 | 2737040.4072 | 1256310.2776 | 2737047.0894 | 1256309.4092 | 2737055.5691 | 1256308.1376 | 2737064.6372 | 1256306.8686
46 | 2737035.6705 | 1256310.8685 | 2737036.1019 | 1256314.4168
47 | 2737064.6372 | 1256306.8686 | 2737068.6106 | 1256333.6433
48 | 2737036.1031 | 1256314.4264 | 2737036.1019 | 1256314.4168
49 | 2737070.119 | 1256343.8076 | 2737068.6106 | 1256333.6433
50 | 2737036.1031 | 1256314.4264 | 2737039.587 | 1256343.0779 | 2737039.9934 | 1256346.3529
51 | 2737041.3863 | 1256357.5775 | 2737039.9934 | 1256346.3529
52 | 2737041.3863 | 1256357.5775 | 2737045.1894 | 1256387.6801
53 | 2737045.9704 | 1256393.8618 | 2737045.1894 | 1256387.6801
54 | 2737045.9704 | 1256393.8618 | 2737047.7499 | 1256407.5824 | 2737047.8172 | 1256407.9676
55 | 2736998.3488 | 1256391.2239 | 2737001.4331 | 1256392.2629 | 2737008.8375 | 1256393.4354 | 2737016.9627 | 1256394.4354 | 2737033.2147 | 1256395.0566 | 2737045.9704 | 1256393.8618
56 | 2736998.3488 | 1256391.2239 | 2736993.4962 | 1256388.9985 | 2736963.4358 | 1256371.8157
57 | 2736949.5339 | 1256363.8693 | 2736963.4358 | 1256371.8157
58 | 2736998.3488 | 1256391.2239 | 2736999.3731 | 1256421.2331
59 | 2736949.5339 | 1256363.8693 | 2736947.5377 | 1256366.9927 | 2736943.887 | 1256386.5041 | 2736943.058 | 1256398.1958
60 | 2736949.5339 | 1256363.8693 | 2736924.3111 | 1256348.9054 | 2736903.3725 | 1256335.971
61 | 2736999.468 | 1256424.0136 | 2736999.3731 | 1256421.2331
62 | 2736943.565 | 1256440.8249 | 2736941.4705 | 1256421.1471 | 2736942.6883 | 1256403.4143 | 2736943.058 | 1256398.1958
63 | 2736943.058 | 1256398.1958 | 2736876.83 | 1256392.8402
64 | 2736885.3642 | 1256324.8468 | 2736903.3725 | 1256335.971
65 | 2736953.2234 | 1256493.564 | 2736947.101 | 1256459.8355 | 2736944.7465 | 1256448.1257 | 2736943.565 | 1256440.8249
66 | 2736876.83 | 1256392.8402 | 2736853.7325 | 1256445.0841
67 | 2736885.3642 | 1256324.8468 | 2736865.8596 | 1256312.7982 | 2736858.7562 | 1256307.4802
68 | 2736953.2234 | 1256493.564 | 2736972.9429 | 1256490.0725
69 | 2736837.0001 | 1256291.9452 | 2736842.6384 | 1256295.4343 | 2736847.0665 | 1256298.7285 | 2736858.7562 | 1256307.4802
70 | 2736858.7562 | 1256307.4802 | 2736893.6609 | 1256265.9085
71 | 2736837.0001 | 1256291.9452 | 2736830.2611 | 1256290.3769 | 2736826.4719 | 1256290.4163
72 | 2736906.8362 | 1256238.7657 | 2736904.1652 | 1256249.2025 | 2736901.9855 | 1256256.014 | 2736897.8037 | 1256261.9673 | 2736893.6609 | 1256265.9085
73 | 2736818.136 | 1256291.0529 | 2736823.2956 | 1256290.4493 | 2736826.4719 | 1256290.4163
74 | 2736896.8177 | 1256237.7979 | 2736895.9355 | 1256237.7127 | 2736883.4884 | 1256233.3875 | 2736879.9559 | 1256231.9308
75 | 2736906.8362 | 1256238.7657 | 2736896.8177 | 1256237.7979
76 | 2736848.0721 | 1256216.9307 | 2736860.6524 | 1256223.1724 | 2736871.0598 | 1256228.2621 | 2736879.9559 | 1256231.9308
77 | 2736906.8362 | 1256238.7657 | 2736908.2808 | 1256232.1073
78 | 2736913.4578 | 1256208.246 | 2736908.2808 | 1256232.1073
79 | 2736913.4578 | 1256208.246 | 2736843.6103 | 1256185.2544
80 | 2736843.6103 | 1256185.2544 | 2736832.5905 | 1256181.6551
81 | 2736818.136 | 1256291.0529 | 2736808.4232 | 1256259.5517

## bus_geodata
| x | y | coords
0 | 2737161.7894 | 1256526.3651
1 | 2737155.2806 | 1256510.9128
2 | 2737171.0486 | 1256548.0126
3 | 2737156.7656 | 1256500.7254
4 | 2737153.1641 | 1256524.5233
5 | 2737183.5599 | 1256578.4864
6 | 2737156.9852 | 1256499.2192
7 | 2737203.4663 | 1256602.944
8 | 2737191.8535 | 1256559.0557
9 | 2737158.9221 | 1256487.4065
10 | 2737140.3892 | 1256491.3163
11 | 2737196.8109 | 1256536.3987
12 | 2737128.076 | 1256498.4934
13 | 2737159.6118 | 1256464.4057
14 | 2737153.5775 | 1256445.108
15 | 2737066.9612 | 1256489.7457
16 | 2737063.8695 | 1256478.232
17 | 2737070.0664 | 1256512.7857
18 | 2737062.849 | 1256474.4316
19 | 2737068.182 | 1256565.4824
20 | 2737053.2328 | 1256520.9247
21 | 2737061.0809 | 1256467.847
22 | 2737013.257 | 1256548.3032
23 | 2737081.0981 | 1256460.357
24 | 2737058.1424 | 1256457.2217
25 | 2737007.5247 | 1256552.5666
26 | 2737150.712 | 1256436.5712
27 | 2737174.7356 | 1256441.5027
28 | 2737148.0035 | 1256429.4129
29 | 2737113.4325 | 1256446.3898
30 | 2737132.0211 | 1256434.9163
31 | 2737110.8686 | 1256447.6279
32 | 2737138.174 | 1256396.4879
33 | 2737106.8461 | 1256402.7463
34 | 2737137.4985 | 1256391.4293
35 | 2737188.3391 | 1256469.9322
36 | 2737186.7696 | 1256478.6102
37 | 2737249.1999 | 1256441.7915
38 | 2737247.9757 | 1256436.5291
39 | 2737134.8007 | 1256371.2256
40 | 2737101.8541 | 1256385.4032
41 | 2737095.4319 | 1256387.4003
42 | 2737033.3809 | 1256291.221
43 | 2737033.9716 | 1256296.2904
44 | 2737035.6705 | 1256310.8685
45 | 2737064.6372 | 1256306.8686
46 | 2737036.1019 | 1256314.4168
47 | 2737068.6106 | 1256333.6433
48 | 2737036.1031 | 1256314.4264
49 | 2737070.119 | 1256343.8076
50 | 2737039.9934 | 1256346.3529
51 | 2737041.3863 | 1256357.5775
52 | 2737045.1894 | 1256387.6801
53 | 2737045.9704 | 1256393.8618
54 | 2736963.4358 | 1256371.8157
55 | 2736998.3488 | 1256391.2239
56 | 2736949.5339 | 1256363.8693
57 | 2736999.3731 | 1256421.2331
58 | 2736943.058 | 1256398.1958
59 | 2736903.3725 | 1256335.971
60 | 2737047.8172 | 1256407.9676
61 | 2736999.468 | 1256424.0136
62 | 2736943.565 | 1256440.8249
63 | 2736876.83 | 1256392.8402
64 | 2736885.3642 | 1256324.8468
65 | 2736953.2234 | 1256493.564
66 | 2736853.7325 | 1256445.0841
67 | 2736858.7562 | 1256307.4802
68 | 2736837.0001 | 1256291.9452
69 | 2736893.6609 | 1256265.9085
70 | 2736826.4719 | 1256290.4163
71 | 2736896.8177 | 1256237.7979
72 | 2736879.9559 | 1256231.9308
73 | 2736906.8362 | 1256238.7657
74 | 2736908.2808 | 1256232.1073
75 | 2736913.4578 | 1256208.246
76 | 2736843.6103 | 1256185.2544
77 | 2736818.136 | 1256291.0529
78 | 2736848.0721 | 1256216.9307
79 | 2736808.4232 | 1256259.5517
80 | 2736832.5905 | 1256181.6551
81 | 2736972.9429 | 1256490.0725
82 | 2737090.3712 | 1256388.974
83 | 2736999.468 | 1256424.0136

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1