## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-35_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-35_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-35_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3443-35_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3443-35_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3443-35_0_3_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_3443-35_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_3443-35_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3443-35_0_3_node_36 | 0.4 | n |  | TRUE
9 | bus_LV_3443-35_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_3443-35_0_3_node_71 | 0.4 | n |  | TRUE
11 | bus_LV_3443-35_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_3443-35_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_3443-35_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_3443-35_0_3_node_73 | 0.4 | n |  | TRUE
15 | bus_LV_3443-35_0_3_node_70 | 0.4 | n |  | TRUE
16 | bus_LV_3443-35_0_3_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_3443-35_0_3_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_3443-35_0_3_node_8 | 0.4 | n |  | TRUE
19 | bus_LV_3443-35_0_3_node_9 | 0.4 | n |  | TRUE
20 | bus_LV_3443-35_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_3443-35_0_3_node_83 | 0.4 | n |  | TRUE
22 | bus_LV_3443-35_0_3_node_78 | 0.4 | n |  | TRUE
23 | bus_LV_3443-35_0_3_node_90 | 0.4 | n |  | TRUE
24 | bus_LV_3443-35_0_3_node_84 | 0.4 | n |  | TRUE
25 | bus_LV_3443-35_0_3_node_86 | 0.4 | n |  | TRUE
26 | bus_LV_3443-35_0_3_node_87 | 0.4 | n |  | TRUE
27 | bus_LV_3443-35_0_3_node_85 | 0.4 | n |  | TRUE
28 | bus_LV_3443-35_0_3_node_91 | 0.4 | n |  | TRUE
29 | bus_LV_3443-35_0_3_node_89 | 0.4 | n |  | TRUE
30 | bus_LV_3443-35_0_3_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_3443-35_0_3_node_94 | 0.4 | n |  | TRUE
32 | bus_LV_3443-35_0_3_node_92 | 0.4 | n |  | TRUE
33 | bus_LV_3443-35_0_3_node_93 | 0.4 | n |  | TRUE
34 | bus_LV_3443-35_0_3_node_12 | 0.4 | n |  | TRUE
35 | bus_LV_3443-35_0_3_node_13 | 0.4 | n |  | TRUE
36 | bus_LV_3443-35_0_3_node_14 | 0.4 | n |  | TRUE
37 | bus_LV_3443-35_0_3_node_15 | 0.4 | n |  | TRUE
38 | bus_LV_3443-35_0_3_node_16 | 0.4 | n |  | TRUE
39 | bus_LV_3443-35_0_3_node_17 | 0.4 | n |  | TRUE
40 | bus_LV_3443-35_0_3_node_95 | 0.4 | n |  | TRUE
41 | bus_LV_3443-35_0_3_node_18 | 0.4 | n |  | TRUE
42 | bus_LV_3443-35_0_3_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_3443-35_0_3_node_59 | 0.4 | n |  | TRUE
44 | bus_LV_3443-35_0_3_node_19 | 0.4 | n |  | TRUE
45 | bus_LV_3443-35_0_3_node_57 | 0.4 | n |  | TRUE
46 | bus_LV_3443-35_0_3_node_47 | 0.4 | n |  | TRUE
47 | bus_LV_3443-35_0_3_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_3443-35_0_3_node_20 | 0.4 | n |  | TRUE
49 | bus_LV_3443-35_0_3_node_28 | 0.4 | n |  | TRUE
50 | bus_LV_3443-35_0_3_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_3443-35_0_3_node_30 | 0.4 | n |  | TRUE
52 | bus_LV_3443-35_0_3_node_33 | 0.4 | n |  | TRUE
53 | bus_LV_3443-35_0_3_node_37 | 0.4 | n |  | TRUE
54 | bus_LV_3443-35_0_3_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_3443-35_0_3_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_3443-35_0_3_node_38 | 0.4 | n |  | TRUE
57 | bus_LV_3443-35_0_3_node_53 | 0.4 | n |  | TRUE
58 | bus_LV_3443-35_0_3_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_3443-35_0_3_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_3443-35_0_3_node_43 | 0.4 | n |  | TRUE
61 | bus_LV_3443-35_0_3_node_39 | 0.4 | n |  | TRUE
62 | bus_LV_3443-35_0_3_node_40 | 0.4 | n |  | TRUE
63 | bus_LV_3443-35_0_3_node_41 | 0.4 | n |  | TRUE
64 | bus_LV_3443-35_0_3_node_42 | 0.4 | n |  | TRUE
65 | bus_LV_3443-35_0_3_node_49 | 0.4 | n |  | TRUE
66 | bus_LV_3443-35_0_3_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_3443-35_0_3_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_3443-35_0_3_node_45 | 0.4 | n |  | TRUE
69 | bus_LV_3443-35_0_3_node_46 | 0.4 | n |  | TRUE
70 | bus_LV_3443-35_0_3_node_48 | 0.4 | n |  | TRUE
71 | bus_LV_3443-35_0_3_node_79 | 0.4 | n |  | TRUE
72 | bus_LV_3443-35_0_3_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_3443-35_0_3_node_56 | 0.4 | n |  | TRUE
74 | bus_LV_3443-35_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_3443-35_0_3_node_58 | 0.4 | n |  | TRUE
76 | bus_LV_3443-35_0_3_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_3443-35_0_3_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_3443-35_0_3_node_64 | 0.4 | n |  | TRUE
79 | bus_LV_3443-35_0_3_node_65 | 0.4 | n |  | TRUE
80 | bus_LV_3443-35_0_3_node_66 | 0.4 | n |  | TRUE
81 | bus_LV_3443-35_0_3_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_3443-35_0_3_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_3443-35_0_3_node_69 | 0.4 | n |  | TRUE
84 | bus_LV_3443-35_0_3_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_3443-35_0_3_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_3443-35_0_3_node_77 | 0.4 | n |  | TRUE
87 | bus_LV_3443-35_0_3_node_74 | 0.4 | n |  | TRUE
88 | bus_LV_3443-35_0_3_node_81 | 0.4 | n |  | TRUE
89 | bus_LV_3443-35_0_3_node_76 | 0.4 | n |  | TRUE
90 | bus_MV_411_0_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-35_0_3_load_0 | 0 | 0.001047 | 0.0002624 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-35_0_3_load_1 | 1 | 0.00023715 | 5.9436e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-35_0_3_load_2 | 3 | 0.00189 | 0.00047368 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-35_0_3_load_4 | 4 | 0.0010714 | 0.00026852 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-35_0_3_load_23 | 5 | 0.0075691 | 0.001897 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-35_0_3_load_5 | 6 | 0.0004193 | 0.00010509 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-35_0_3_load_6 | 7 | 0.00070425 | 0.0001765 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-35_0_3_load_36 | 8 | 0.0011117 | 0.00027863 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-35_0_3_load_24 | 9 | 0.0021806 | 0.00054652 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-35_0_3_load_35 | 11 | 0.0021582 | 0.00054089 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-35_0_3_load_27 | 12 | 0.0067323 | 0.0016873 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-35_0_3_load_73 | 14 | 0.008147 | 0.0020418 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-35_0_3_load_26 | 16 | 0.0004974 | 0.00012466 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-35_0_3_load_7 | 17 | 0.0041829 | 0.0010483 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-35_0_3_load_8 | 18 | 0.0030087 | 0.00075406 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-35_0_3_load_11 | 20 | 0.033487 | 0.0083926 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-35_0_3_load_78 | 22 | 0.008868 | 0.0022225 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-35_0_3_load_84 | 24 | 0.0010268 | 0.00025734 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-35_0_3_load_85 | 27 | 0.0018931 | 0.00047444 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-35_0_3_load_91 | 28 | 0.0013611 | 0.00034112 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-35_0_3_load_89 | 29 | 0.00061324 | 0.00015369 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-35_0_3_load_88 | 30 | 0.00062286 | 0.0001561 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-35_0_3_load_94 | 31 | 0.0025781 | 0.00064613 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-35_0_3_load_92 | 32 | 0.0060137 | 0.0015072 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-35_0_3_load_93 | 33 | 0.0024486 | 0.00061368 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-35_0_3_load_12 | 34 | 0.0003561 | 8.9248e-05 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-35_0_3_load_15 | 37 | 0.00051461 | 0.00012897 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-35_0_3_load_95 | 40 | 0.0022433 | 0.00056222 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-35_0_3_load_18 | 41 | 0.0016624 | 0.00041664 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-35_0_3_load_59 | 43 | 0.0020074 | 0.0005031 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-35_0_3_load_19 | 44 | 0.00039818 | 9.9793e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-35_0_3_load_57 | 45 | 0.0017914 | 0.00044897 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-35_0_3_load_60 | 47 | 0.0019335 | 0.00048459 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-35_0_3_load_20 | 48 | 0.0016162 | 0.00040507 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-35_0_3_load_28 | 49 | 0.0019176 | 0.00048059 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-35_0_3_load_30 | 51 | 0.00090301 | 0.00022632 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-35_0_3_load_33 | 52 | 0.00089923 | 0.00022537 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-35_0_3_load_37 | 53 | 0.0016428 | 0.00041173 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-35_0_3_load_32 | 55 | 0.00059725 | 0.00014968 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-35_0_3_load_53 | 57 | 0.0027585 | 0.00069134 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-35_0_3_load_50 | 58 | 0.0035356 | 0.0008861 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-35_0_3_load_54 | 59 | 0.0029685 | 0.00074397 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-35_0_3_load_39 | 61 | 0.0031645 | 0.00079309 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-35_0_3_load_40 | 62 | 0.0019142 | 0.00047976 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-35_0_3_load_41 | 63 | 0.0017484 | 0.00043819 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-35_0_3_load_42 | 64 | 0.0019367 | 0.00048539 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-35_0_3_load_49 | 65 | 0.0021172 | 0.00053061 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-35_0_3_load_52 | 66 | 0.0021116 | 0.00052923 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-35_0_3_load_44 | 67 | 0.0022481 | 0.00056342 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-35_0_3_load_45 | 68 | 0.0019439 | 0.0004872 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-35_0_3_load_46 | 69 | 0.0022364 | 0.00056049 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-35_0_3_load_48 | 70 | 0.0028056 | 0.00070315 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-35_0_3_load_79 | 71 | 0.00037447 | 9.3851e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-35_0_3_load_56 | 73 | 0.0041056 | 0.001029 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-35_0_3_load_61 | 74 | 0.0027227 | 0.00068238 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-35_0_3_load_58 | 75 | 0.0045099 | 0.0011303 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-35_0_3_load_62 | 76 | 0.0045654 | 0.0011442 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-35_0_3_load_65 | 79 | 0.0082032 | 0.0020559 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-35_0_3_load_66 | 80 | 0.014769 | 0.0037014 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3443-35_0_3_load_67 | 81 | 0.0038797 | 0.00097234 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3443-35_0_3_load_68 | 82 | 0.0087006 | 0.0021806 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3443-35_0_3_load_69 | 83 | 0.015912 | 0.0039879 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3443-35_0_3_load_80 | 85 | 0.0049831 | 0.0012489 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3443-35_0_3_load_74 | 87 | 0.00049277 | 0.0001235 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3443-35_0_3_load_81 | 88 | 0.016014 | 0.0040134 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3443-35_0_3_load_76 | 89 | 0.0084524 | 0.0021184 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 86 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-35_0_3_line_0 |  | 0 | 1 | 0.019787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-35_0_3_line_1 |  | 1 | 2 | 0.04213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-35_0_3_line_2 |  | 2 | 6 | 0.010683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-35_0_3_line_3 |  | 2 | 7 | 0.011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-35_0_3_line_4 |  | 3 | 4 | 0.029518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-35_0_3_line_5 |  | 3 | 5 | 0.032409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-35_0_3_line_6 |  | 4 | 8 | 0.00056087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-35_0_3_line_7 |  | 5 | 9 | 0.084798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-35_0_3_line_8 |  | 6 | 10 | 0.058601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-35_0_3_line_9 |  | 8 | 11 | 0.024963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-35_0_3_line_10 |  | 9 | 16 | 0.041088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-35_0_3_line_11 |  | 10 | 14 | 0.0077779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_3443-35_0_3_line_12 |  | 10 | 15 | 0.033873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_3443-35_0_3_line_13 |  | 11 | 53 | 0.022154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-35_0_3_line_14 |  | 11 | 49 | 0.03503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-35_0_3_line_15 |  | 12 | 13 | 0.036076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-35_0_3_line_16 |  | 13 | 51 | 0.043194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-35_0_3_line_17 |  | 14 | 87 | 0.036717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3443-35_0_3_line_18 |  | 15 | 80 | 0.04434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_3443-35_0_3_line_19 |  | 17 | 18 | 0.0067208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-35_0_3_line_20 |  | 17 | 19 | 0.055126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3443-35_0_3_line_21 |  | 19 | 20 | 0.017078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-35_0_3_line_22 |  | 19 | 21 | 0.051365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3443-35_0_3_line_23 |  | 20 | 23 | 0.12705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3443-35_0_3_line_24 |  | 21 | 22 | 0.057221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-35_0_3_line_25 |  | 22 | 86 | 0.067358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-35_0_3_line_26 |  | 23 | 30 | 0.0039861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3443-35_0_3_line_27 |  | 24 | 25 | 0.0075204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-35_0_3_line_28 |  | 25 | 26 | 0.010214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-35_0_3_line_29 |  | 25 | 27 | 0.028741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-35_0_3_line_30 |  | 26 | 28 | 0.040028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3443-35_0_3_line_31 |  | 26 | 29 | 0.029866 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3443-35_0_3_line_32 |  | 28 | 31 | 0.02847 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3443-35_0_3_line_33 |  | 29 | 30 | 0.0083284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3443-35_0_3_line_34 |  | 31 | 33 | 0.01109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3443-35_0_3_line_35 |  | 32 | 33 | 0.020841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3443-35_0_3_line_36 |  | 34 | 35 | 0.029151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-35_0_3_line_37 |  | 34 | 36 | 0.016733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-35_0_3_line_38 |  | 35 | 37 | 0.021719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3443-35_0_3_line_39 |  | 36 | 38 | 0.036589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3443-35_0_3_line_40 |  | 36 | 39 | 0.003938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-35_0_3_line_41 |  | 37 | 40 | 0.020728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3443-35_0_3_line_42 |  | 38 | 41 | 0.049492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-35_0_3_line_43 |  | 39 | 42 | 0.025009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3443-35_0_3_line_44 |  | 39 | 43 | 0.015667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3443-35_0_3_line_45 |  | 41 | 44 | 0.0030329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3443-35_0_3_line_46 |  | 42 | 45 | 0.015006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-35_0_3_line_47 |  | 42 | 46 | 0.027969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3443-35_0_3_line_48 |  | 43 | 47 | 0.021913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3443-35_0_3_line_49 |  | 44 | 48 | 0.042224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3443-35_0_3_line_50 |  | 45 | 73 | 0.02452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3443-35_0_3_line_51 |  | 46 | 66 | 0.016432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-35_0_3_line_52 |  | 46 | 68 | 0.040794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
53 | LV_3443-35_0_3_line_53 |  | 47 | 74 | 0.027677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3443-35_0_3_line_54 |  | 49 | 50 | 0.02277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3443-35_0_3_line_55 |  | 50 | 52 | 0.01189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3443-35_0_3_line_56 |  | 51 | 54 | 0.020825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3443-35_0_3_line_57 |  | 52 | 55 | 0.0011821 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3443-35_0_3_line_58 |  | 53 | 56 | 0.016799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3443-35_0_3_line_59 |  | 54 | 55 | 0.031664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-35_0_3_line_60 |  | 56 | 57 | 0.025846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3443-35_0_3_line_61 |  | 56 | 58 | 0.048332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-35_0_3_line_62 |  | 57 | 59 | 0.027061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3443-35_0_3_line_63 |  | 58 | 60 | 0.019994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3443-35_0_3_line_64 |  | 60 | 65 | 0.013524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3443-35_0_3_line_65 |  | 60 | 64 | 0.04678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-35_0_3_line_66 |  | 61 | 62 | 0.0047877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-35_0_3_line_67 |  | 62 | 63 | 0.027757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-35_0_3_line_68 |  | 63 | 64 | 0.002848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-35_0_3_line_69 |  | 65 | 66 | 0.021982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3443-35_0_3_line_70 |  | 67 | 68 | 0.02842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_3443-35_0_3_line_71 |  | 67 | 69 | 0.03221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_3443-35_0_3_line_72 |  | 69 | 70 | 0.025166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_3443-35_0_3_line_73 |  | 70 | 71 | 0.024888 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
74 | LV_3443-35_0_3_line_74 |  | 71 | 72 | 0.0032194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
75 | LV_3443-35_0_3_line_75 |  | 72 | 89 | 0.019395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-35_0_3_line_76 |  | 72 | 87 | 0.023082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
77 | LV_3443-35_0_3_line_77 |  | 73 | 75 | 0.031355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-35_0_3_line_78 |  | 76 | 77 | 0.038649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-35_0_3_line_79 |  | 76 | 78 | 0.030574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3443-35_0_3_line_80 |  | 77 | 79 | 0.0061943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
81 | LV_3443-35_0_3_line_81 |  | 77 | 80 | 0.027228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
82 | LV_3443-35_0_3_line_82 |  | 78 | 81 | 0.035934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3443-35_0_3_line_83 |  | 79 | 82 | 0.024706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_3443-35_0_3_line_84 |  | 82 | 83 | 0.040924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
85 | LV_3443-35_0_3_line_85 |  | 83 | 84 | 0.0025076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
86 | LV_3443-35_0_3_line_86 |  | 84 | 85 | 0.021117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3443-35_0_3_line_87 |  | 84 | 86 | 0.035779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_3443-35_0_3_line_88 |  | 85 | 88 | 0.0072427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-35_0_3_trafo_77 | 0.63 MVA 20/0.4 kV | 90 | 86 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2736673.1501 | 1256061.9809 | 2736673.1501 | 1256061.9809 | 2736661.2103 | 1256046.2022
1 | 2736648.4697 | 1256006.4598 | 2736657.5697 | 1256041.3911 | 2736661.2103 | 1256046.2022
2 | 2736648.4697 | 1256006.4598 | 2736638.1485 | 1256009.2155
3 | 2736648.4697 | 1256006.4598 | 2736659.1078 | 1256003.5471
4 | 2736745.6327 | 1256143.1823 | 2736736.8684 | 1256114.9959
5 | 2736736.8684 | 1256114.9959 | 2736757.3725 | 1256089.8971
6 | 2736745.7992 | 1256143.7179 | 2736745.6327 | 1256143.1823
7 | 2736757.3725 | 1256089.8971 | 2736749.84 | 1256061.9292 | 2736760.7925 | 1256043.1314 | 2736751.6262 | 1256010.3092
8 | 2736581.5311 | 1256024.332 | 2736638.1485 | 1256009.2155
9 | 2736753.2112 | 1256167.5551 | 2736745.7992 | 1256143.7179
10 | 2736751.6262 | 1256010.3092 | 2736745.5247 | 1255988.4615 | 2736740.6084 | 1255970.7264
11 | 2736581.5311 | 1256024.332 | 2736584.5251 | 1256031.5106
12 | 2736564.8455 | 1255995.0534 | 2736567.4042 | 1255997.9595 | 2736576.3099 | 1256011.9112 | 2736581.5311 | 1256024.332
13 | 2736753.2112 | 1256167.5551 | 2736757.2464 | 1256180.5325 | 2736759.6985 | 1256188.7379
14 | 2736753.2112 | 1256167.5551 | 2736787.3952 | 1256159.903
15 | 2736864.1397 | 1256124.6171 | 2736848.6729 | 1256117.7421 | 2736838.8967 | 1256115.0359 | 2736830.2503 | 1256112.5154
16 | 2736864.1397 | 1256124.6171 | 2736863.2946 | 1256126.8997 | 2736850.2665 | 1256165.5219
17 | 2736584.5251 | 1256031.5106 | 2736596.3875 | 1256059.9522 | 2736598.3838 | 1256065.5051
18 | 2736564.8455 | 1255995.0534 | 2736562.4474 | 1255997.289 | 2736560.8328 | 1255998.92 | 2736560.1904 | 1256001.9079 | 2736561.4559 | 1256009.1883 | 2736561.5319 | 1256014.3949 | 2736560.9546 | 1256018.4853 | 2736558.039 | 1256020.2531 | 2736553.4912 | 1256020.1703 | 2736544.0676 | 1256022.444 | 2736542.8464 | 1256022.9724
19 | 2736500.8768 | 1256286.0807 | 2736504.6204 | 1256287.6692 | 2736506.8355 | 1256289.1314
20 | 2736470.9646 | 1256248.6795 | 2736471.3064 | 1256256.4279 | 2736483.4392 | 1256259.3436 | 2736491.4335 | 1256262.7532 | 2736494.5475 | 1256268.0744 | 2736495.6355 | 1256274.5499 | 2736496.7285 | 1256279.8244 | 2736498.6057 | 1256285.1171 | 2736500.8768 | 1256286.0807
21 | 2736470.9646 | 1256248.6795 | 2736455.0549 | 1256242.4708
22 | 2736490.007 | 1256200.9742 | 2736470.9646 | 1256248.6795
23 | 2736455.0549 | 1256242.4708 | 2736336.6963 | 1256196.2823
24 | 2736490.007 | 1256200.9742 | 2736497.1914 | 1256188.8063 | 2736502.1092 | 1256184.2933 | 2736508.7363 | 1256181.8883 | 2736520.1851 | 1256178.1599 | 2736533.6497 | 1256173.7218 | 2736536.6264 | 1256172.6967
25 | 2736556.8422 | 1256124.3998 | 2736556.6707 | 1256129.8675 | 2736558.3373 | 1256135.1331 | 2736564.0326 | 1256151.8577 | 2736564.2814 | 1256158.7254 | 2736560.9272 | 1256163.4858 | 2736554.6693 | 1256166.2329 | 2736544.0311 | 1256170.1467 | 2736536.6264 | 1256172.6967
26 | 2736336.6963 | 1256196.2823 | 2736333.001 | 1256194.7878
27 | 2736301.6122 | 1256171.0734 | 2736304.5694 | 1256164.1588
28 | 2736297.5931 | 1256180.4674 | 2736301.6122 | 1256171.0734
29 | 2736301.6122 | 1256171.0734 | 2736294.5922 | 1256163.0266 | 2736292.2595 | 1256158.8246 | 2736291.5509 | 1256152.2466 | 2736292.7351 | 1256145.7123
30 | 2736297.5931 | 1256180.4674 | 2736260.1628 | 1256166.2829
31 | 2736297.5931 | 1256180.4674 | 2736325.2802 | 1256191.6651
32 | 2736232.8363 | 1256158.4642 | 2736251.6605 | 1256163.0608 | 2736260.1628 | 1256166.2829
33 | 2736333.001 | 1256194.7878 | 2736325.2802 | 1256191.6651
34 | 2736232.8363 | 1256158.4642 | 2736222.0632 | 1256155.8336
35 | 2736201.6783 | 1256151.8614 | 2736206.7037 | 1256152.083 | 2736222.0632 | 1256155.8336
36 | 2736702.8998 | 1256301.6677 | 2736674.5236 | 1256294.9921
37 | 2736658.2357 | 1256291.1603 | 2736674.5236 | 1256294.9921
38 | 2736702.8998 | 1256301.6677 | 2736701.8871 | 1256307.6165 | 2736705.8905 | 1256322.7816
39 | 2736658.2357 | 1256291.1603 | 2736649.4832 | 1256289.2232 | 2736622.4324 | 1256283.1266
40 | 2736658.9288 | 1256287.2838 | 2736658.2357 | 1256291.1603
41 | 2736705.8905 | 1256322.7816 | 2736711.1813 | 1256342.8233
42 | 2736622.4324 | 1256283.1266 | 2736621.0625 | 1256289.8457 | 2736621.4715 | 1256292.3908 | 2736623.2236 | 1256295.2561 | 2736626.4121 | 1256297.3428 | 2736630.0076 | 1256299.4499 | 2736638.0011 | 1256303.8718 | 2736644.9982 | 1256307.659 | 2736652.3808 | 1256312.0668 | 2736655.0146 | 1256313.5655
43 | 2736658.9288 | 1256287.2838 | 2736660.2453 | 1256279.9407 | 2736659.4674 | 1256276.7087 | 2736655.9834 | 1256262.9155
44 | 2736658.9288 | 1256287.2838 | 2736674.235 | 1256290.6249
45 | 2736655.0146 | 1256313.5655 | 2736657.6506 | 1256315.0655
46 | 2736655.9834 | 1256262.9155 | 2736670.9379 | 1256261.6716
47 | 2736648.9204 | 1256235.8496 | 2736652.1565 | 1256248.6139 | 2736655.9834 | 1256262.9155
48 | 2736674.235 | 1256290.6249 | 2736695.6441 | 1256295.2982
49 | 2736666.4106 | 1256354.2333 | 2736665.8842 | 1256349.7023 | 2736664.8253 | 1256334.1412 | 2736664.6138 | 1256325.6618 | 2736664.3474 | 1256322.8196 | 2736663.7196 | 1256320.6031 | 2736661.9959 | 1256317.8163 | 2736659.7756 | 1256316.2747 | 2736657.6506 | 1256315.0655
50 | 2736695.3485 | 1256259.372 | 2736681.9348 | 1256260.7569 | 2736670.9379 | 1256261.6716
51 | 2736648.9204 | 1256235.8496 | 2736664.7692 | 1256231.5092
52 | 2736648.9204 | 1256235.8496 | 2736638.2999 | 1256196.4618
53 | 2736695.6441 | 1256295.2982 | 2736702.747 | 1256296.8486 | 2736723.023 | 1256299.1523
54 | 2736800.583 | 1256177.9979 | 2736799.6448 | 1256174.8511 | 2736797.7637 | 1256172.9948 | 2736794.8482 | 1256169.869 | 2736790.9371 | 1256166.0751 | 2736787.8147 | 1256160.7981 | 2736787.3952 | 1256159.903
55 | 2736800.583 | 1256177.9979 | 2736805.9866 | 1256176.3101 | 2736812.2118 | 1256176.1002
56 | 2736843.6103 | 1256185.2544 | 2736850.2665 | 1256165.5219
57 | 2736812.2118 | 1256176.1002 | 2736813.3932 | 1256176.0604
58 | 2736764.5087 | 1256204.8339 | 2736759.6985 | 1256188.7379
59 | 2736843.6103 | 1256185.2544 | 2736824.3351 | 1256178.9587 | 2736814.7909 | 1256176.0132 | 2736813.3932 | 1256176.0604
60 | 2736764.5087 | 1256204.8339 | 2736771.9042 | 1256229.5992
61 | 2736764.5087 | 1256204.8339 | 2736717.611 | 1256216.522
62 | 2736771.9042 | 1256229.5992 | 2736779.6473 | 1256255.5284
63 | 2736698.0705 | 1256220.392 | 2736702.9268 | 1256220.1816 | 2736717.611 | 1256216.522
64 | 2736698.0705 | 1256220.392 | 2736694.835 | 1256223.2755 | 2736685.971 | 1256225.703
65 | 2736698.0705 | 1256220.392 | 2736701.3445 | 1256217.4759 | 2736702.1965 | 1256210.6448 | 2736692.8349 | 1256176.3897
66 | 2736683.5046 | 1256142.2494 | 2736684.7667 | 1256146.8677
67 | 2736692.084 | 1256173.6424 | 2736684.7667 | 1256146.8677
68 | 2736692.084 | 1256173.6424 | 2736692.8349 | 1256176.3897
69 | 2736685.971 | 1256225.703 | 2736664.7692 | 1256231.5092
70 | 2736630.901 | 1256169.0218 | 2736638.2999 | 1256196.4618
71 | 2736630.901 | 1256169.0218 | 2736622.5153 | 1256137.9222
72 | 2736615.0939 | 1256113.8864 | 2736619.9819 | 1256128.5267 | 2736622.5153 | 1256137.9222
73 | 2736607.2122 | 1256090.2795 | 2736615.0939 | 1256113.8864
74 | 2736606.1926 | 1256087.2259 | 2736607.2122 | 1256090.2795
75 | 2736606.1926 | 1256087.2259 | 2736599.74 | 1256089.5792 | 2736587.7361 | 1256093.1611
76 | 2736606.1926 | 1256087.2259 | 2736598.3838 | 1256065.5051
77 | 2736726.131 | 1256253.6485 | 2736704.8202 | 1256258.3942 | 2736695.3485 | 1256259.372
78 | 2736517.3635 | 1256029.7128 | 2736514.8548 | 1256020.3908 | 2736512.0845 | 1256017.502 | 2736507.6996 | 1256017.2229 | 2736504.0589 | 1256017.3947 | 2736499.8464 | 1256018.4763 | 2736495.0366 | 1256019.611 | 2736489.423 | 1256021.5723 | 2736487.856 | 1256022.2735
79 | 2736462.8973 | 1256039.0994 | 2736471.0641 | 1256030.4685 | 2736481.1282 | 1256025.2845 | 2736487.856 | 1256022.2735
80 | 2736517.3635 | 1256029.7128 | 2736517.6603 | 1256035.9
81 | 2736517.3635 | 1256029.7128 | 2736522.5847 | 1256031.0233 | 2736526.2874 | 1256029.4739 | 2736529.7971 | 1256027.7866 | 2736535.6004 | 1256026.1077 | 2736542.8464 | 1256022.9724
82 | 2736462.8973 | 1256039.0994 | 2736466.2108 | 1256055.4019 | 2736469.9816 | 1256074.3279
83 | 2736517.6603 | 1256035.9 | 2736517.6947 | 1256036.6157 | 2736518.8064 | 1256041.0788 | 2736518.1936 | 1256048.6717 | 2736521.5188 | 1256059.9648
84 | 2736521.5188 | 1256059.9648 | 2736528.7377 | 1256084.4814 | 2736533.3486 | 1256099.1399
85 | 2736534.1011 | 1256101.5319 | 2736533.3486 | 1256099.1399
86 | 2736534.1011 | 1256101.5319 | 2736513.8971 | 1256107.675
87 | 2736556.8422 | 1256124.3998 | 2736549.7654 | 1256123.7248 | 2736546.2258 | 1256122.7868 | 2736543.4788 | 1256120.855 | 2736540.5245 | 1256117.4392 | 2736535.9007 | 1256107.2454 | 2736534.1011 | 1256101.5319
88 | 2736506.9676 | 1256109.782 | 2736513.8971 | 1256107.675

## bus_geodata
| x | y | coords
0 | 2736673.1501 | 1256061.9809
1 | 2736661.2103 | 1256046.2022
2 | 2736648.4697 | 1256006.4598
3 | 2736736.8684 | 1256114.9959
4 | 2736745.6327 | 1256143.1823
5 | 2736757.3725 | 1256089.8971
6 | 2736638.1485 | 1256009.2155
7 | 2736659.1078 | 1256003.5471
8 | 2736745.7992 | 1256143.7179
9 | 2736751.6262 | 1256010.3092
10 | 2736581.5311 | 1256024.332
11 | 2736753.2112 | 1256167.5551
12 | 2736830.2503 | 1256112.5154
13 | 2736864.1397 | 1256124.6171
14 | 2736584.5251 | 1256031.5106
15 | 2736564.8455 | 1255995.0534
16 | 2736740.6084 | 1255970.7264
17 | 2736500.8768 | 1256286.0807
18 | 2736506.8355 | 1256289.1314
19 | 2736470.9646 | 1256248.6795
20 | 2736455.0549 | 1256242.4708
21 | 2736490.007 | 1256200.9742
22 | 2736536.6264 | 1256172.6967
23 | 2736336.6963 | 1256196.2823
24 | 2736304.5694 | 1256164.1588
25 | 2736301.6122 | 1256171.0734
26 | 2736297.5931 | 1256180.4674
27 | 2736292.7351 | 1256145.7123
28 | 2736260.1628 | 1256166.2829
29 | 2736325.2802 | 1256191.6651
30 | 2736333.001 | 1256194.7878
31 | 2736232.8363 | 1256158.4642
32 | 2736201.6783 | 1256151.8614
33 | 2736222.0632 | 1256155.8336
34 | 2736674.5236 | 1256294.9921
35 | 2736702.8998 | 1256301.6677
36 | 2736658.2357 | 1256291.1603
37 | 2736705.8905 | 1256322.7816
38 | 2736622.4324 | 1256283.1266
39 | 2736658.9288 | 1256287.2838
40 | 2736711.1813 | 1256342.8233
41 | 2736655.0146 | 1256313.5655
42 | 2736655.9834 | 1256262.9155
43 | 2736674.235 | 1256290.6249
44 | 2736657.6506 | 1256315.0655
45 | 2736670.9379 | 1256261.6716
46 | 2736648.9204 | 1256235.8496
47 | 2736695.6441 | 1256295.2982
48 | 2736666.4106 | 1256354.2333
49 | 2736787.3952 | 1256159.903
50 | 2736800.583 | 1256177.9979
51 | 2736850.2665 | 1256165.5219
52 | 2736812.2118 | 1256176.1002
53 | 2736759.6985 | 1256188.7379
54 | 2736843.6103 | 1256185.2544
55 | 2736813.3932 | 1256176.0604
56 | 2736764.5087 | 1256204.8339
57 | 2736771.9042 | 1256229.5992
58 | 2736717.611 | 1256216.522
59 | 2736779.6473 | 1256255.5284
60 | 2736698.0705 | 1256220.392
61 | 2736683.5046 | 1256142.2494
62 | 2736684.7667 | 1256146.8677
63 | 2736692.084 | 1256173.6424
64 | 2736692.8349 | 1256176.3897
65 | 2736685.971 | 1256225.703
66 | 2736664.7692 | 1256231.5092
67 | 2736630.901 | 1256169.0218
68 | 2736638.2999 | 1256196.4618
69 | 2736622.5153 | 1256137.9222
70 | 2736615.0939 | 1256113.8864
71 | 2736607.2122 | 1256090.2795
72 | 2736606.1926 | 1256087.2259
73 | 2736695.3485 | 1256259.372
74 | 2736723.023 | 1256299.1523
75 | 2736726.131 | 1256253.6485
76 | 2736487.856 | 1256022.2735
77 | 2736517.3635 | 1256029.7128
78 | 2736462.8973 | 1256039.0994
79 | 2736517.6603 | 1256035.9
80 | 2736542.8464 | 1256022.9724
81 | 2736469.9816 | 1256074.3279
82 | 2736521.5188 | 1256059.9648
83 | 2736533.3486 | 1256099.1399
84 | 2736534.1011 | 1256101.5319
85 | 2736513.8971 | 1256107.675
86 | 2736556.8422 | 1256124.3998
87 | 2736598.3838 | 1256065.5051
88 | 2736506.9676 | 1256109.782
89 | 2736587.7361 | 1256093.1611
90 | 2736534.1011 | 1256101.5319

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1