## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-36_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-36_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-36_0_3_node_15 | 0.4 | n |  | TRUE
3 | bus_LV_3443-36_0_3_node_16 | 0.4 | n |  | TRUE
4 | bus_LV_3443-36_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_3443-36_0_3_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3443-36_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3443-36_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_3443-36_0_3_node_2 | 0.4 | n |  | TRUE
9 | bus_LV_3443-36_0_3_node_3 | 0.4 | n |  | TRUE
10 | bus_LV_3443-36_0_3_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_3443-36_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_3443-36_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_3443-36_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_3443-36_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_3443-36_0_3_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_3443-36_0_3_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_3443-36_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3443-36_0_3_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_3443-36_0_3_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_3443-36_0_3_node_99 | 0.4 | n |  | TRUE
21 | bus_LV_3443-36_0_3_node_96 | 0.4 | n |  | TRUE
22 | bus_LV_3443-36_0_3_node_11 | 0.4 | n |  | TRUE
23 | bus_LV_3443-36_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_3443-36_0_3_node_57 | 0.4 | n |  | TRUE
25 | bus_LV_3443-36_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_3443-36_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_3443-36_0_3_node_109 | 0.4 | n |  | TRUE
28 | bus_LV_3443-36_0_3_node_110 | 0.4 | n |  | TRUE
29 | bus_LV_3443-36_0_3_node_111 | 0.4 | n |  | TRUE
30 | bus_LV_3443-36_0_3_node_101 | 0.4 | n |  | TRUE
31 | bus_LV_3443-36_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3443-36_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3443-36_0_3_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3443-36_0_3_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3443-36_0_3_node_70 | 0.4 | n |  | TRUE
36 | bus_LV_3443-36_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_3443-36_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_3443-36_0_3_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_3443-36_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3443-36_0_3_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_3443-36_0_3_node_55 | 0.4 | n |  | TRUE
42 | bus_LV_3443-36_0_3_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_3443-36_0_3_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3443-36_0_3_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3443-36_0_3_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_3443-36_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_3443-36_0_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_3443-36_0_3_node_72 | 0.4 | n |  | TRUE
49 | bus_LV_3443-36_0_3_node_77 | 0.4 | n |  | TRUE
50 | bus_LV_3443-36_0_3_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_3443-36_0_3_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_3443-36_0_3_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_3443-36_0_3_node_78 | 0.4 | n |  | TRUE
54 | bus_LV_3443-36_0_3_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_3443-36_0_3_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_3443-36_0_3_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_3443-36_0_3_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_3443-36_0_3_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_3443-36_0_3_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_3443-36_0_3_node_45 | 0.4 | n |  | TRUE
61 | bus_LV_3443-36_0_3_node_46 | 0.4 | n |  | TRUE
62 | bus_LV_3443-36_0_3_node_47 | 0.4 | n |  | TRUE
63 | bus_LV_3443-36_0_3_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_3443-36_0_3_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_3443-36_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_3443-36_0_3_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_3443-36_0_3_node_112 | 0.4 | n |  | TRUE
68 | bus_LV_3443-36_0_3_node_60 | 0.4 | n |  | TRUE
69 | bus_LV_3443-36_0_3_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_3443-36_0_3_node_52 | 0.4 | n |  | TRUE
71 | bus_LV_3443-36_0_3_node_106 | 0.4 | n |  | TRUE
72 | bus_LV_3443-36_0_3_node_104 | 0.4 | n |  | TRUE
73 | bus_LV_3443-36_0_3_node_107 | 0.4 | n |  | TRUE
74 | bus_LV_3443-36_0_3_node_105 | 0.4 | n |  | TRUE
75 | bus_LV_3443-36_0_3_node_103 | 0.4 | n |  | TRUE
76 | bus_LV_3443-36_0_3_node_61 | 0.4 | n |  | TRUE
77 | bus_LV_3443-36_0_3_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_3443-36_0_3_node_63 | 0.4 | n |  | TRUE
79 | bus_LV_3443-36_0_3_node_64 | 0.4 | n |  | TRUE
80 | bus_LV_3443-36_0_3_node_65 | 0.4 | n |  | TRUE
81 | bus_LV_3443-36_0_3_node_66 | 0.4 | n |  | TRUE
82 | bus_LV_3443-36_0_3_node_69 | 0.4 | n |  | TRUE
83 | bus_LV_3443-36_0_3_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_3443-36_0_3_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_3443-36_0_3_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_3443-36_0_3_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_3443-36_0_3_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_3443-36_0_3_node_80 | 0.4 | n |  | TRUE
89 | bus_LV_3443-36_0_3_node_81 | 0.4 | n |  | TRUE
90 | bus_LV_3443-36_0_3_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_3443-36_0_3_node_83 | 0.4 | n |  | TRUE
92 | bus_LV_3443-36_0_3_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_3443-36_0_3_node_86 | 0.4 | n |  | TRUE
94 | bus_LV_3443-36_0_3_node_91 | 0.4 | n |  | TRUE
95 | bus_LV_3443-36_0_3_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_3443-36_0_3_node_85 | 0.4 | n |  | TRUE
97 | bus_LV_3443-36_0_3_node_84 | 0.4 | n |  | TRUE
98 | bus_LV_3443-36_0_3_node_88 | 0.4 | n |  | TRUE
99 | bus_LV_3443-36_0_3_node_89 | 0.4 | n |  | TRUE
100 | bus_LV_3443-36_0_3_node_90 | 0.4 | n |  | TRUE
101 | bus_LV_3443-36_0_3_node_93 | 0.4 | n |  | TRUE
102 | bus_LV_3443-36_0_3_node_94 | 0.4 | n |  | TRUE
103 | bus_LV_3443-36_0_3_node_95 | 0.4 | n |  | TRUE
104 | bus_LV_3443-36_0_3_node_97 | 0.4 | n |  | TRUE
105 | bus_LV_3443-36_0_3_node_98 | 0.4 | n |  | TRUE
106 | bus_LV_3443-36_0_3_node_100 | 0.4 | n |  | TRUE
107 | bus_LV_3443-36_0_3_node_102 | 0.4 | n |  | TRUE
108 | bus_LV_3443-36_0_3_node_108 | 0.4 | n |  | TRUE
109 | bus_MV_411_0_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-36_0_3_load_0 | 0 | 6.2325e-05 | 1.562e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-36_0_3_load_16 | 3 | 0.0016816 | 0.00042146 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-36_0_3_load_14 | 4 | 0.00061695 | 0.00015462 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-36_0_3_load_12 | 7 | 0.0016934 | 0.0004244 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-36_0_3_load_2 | 8 | 0.002413 | 0.00060477 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-36_0_3_load_3 | 9 | 0.00024599 | 6.1652e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-36_0_3_load_4 | 10 | 0.00072341 | 0.0001813 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-36_0_3_load_5 | 11 | 0.0010292 | 0.00025794 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-36_0_3_load_21 | 13 | 0.0041605 | 0.0010427 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-36_0_3_load_8 | 15 | 0.0002523 | 6.3233e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-36_0_3_load_18 | 16 | 0.0015369 | 0.00038518 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-36_0_3_load_19 | 17 | 0.00010512 | 2.6347e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-36_0_3_load_9 | 18 | 0.00018337 | 4.5957e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-36_0_3_load_10 | 19 | 0.00018729 | 4.694e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-36_0_3_load_11 | 22 | 0.00034202 | 8.5718e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-36_0_3_load_32 | 23 | 0.00034573 | 8.6649e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-36_0_3_load_17 | 26 | 0.0042387 | 0.0010623 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-36_0_3_load_110 | 28 | 0.0029826 | 0.00074751 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-36_0_3_load_111 | 29 | 0.0029757 | 0.00074579 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-36_0_3_load_101 | 30 | 0.0024729 | 0.00061977 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-36_0_3_load_22 | 31 | 0.00061911 | 0.00015516 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-36_0_3_load_23 | 32 | 0.00033685 | 8.4423e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-36_0_3_load_24 | 33 | 0.00058554 | 0.00014675 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-36_0_3_load_70 | 35 | 0.00058672 | 0.00014705 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-36_0_3_load_28 | 36 | 0.0007129 | 0.00017867 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-36_0_3_load_30 | 38 | 0.00047589 | 0.00011927 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-36_0_3_load_29 | 39 | 0.003571 | 0.00089497 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-36_0_3_load_54 | 40 | 0.0008058 | 0.00020195 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-36_0_3_load_59 | 42 | 0.00047366 | 0.00011871 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-36_0_3_load_33 | 43 | 0.00080387 | 0.00020147 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-36_0_3_load_34 | 44 | 0.00015651 | 3.9226e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-36_0_3_load_35 | 45 | 0.00058546 | 0.00014673 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-36_0_3_load_72 | 48 | 0.002379 | 0.00059624 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-36_0_3_load_77 | 49 | 0.00018052 | 4.5241e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-36_0_3_load_40 | 50 | 0.0004607 | 0.00011546 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-36_0_3_load_42 | 51 | 0.0030015 | 0.00075226 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-36_0_3_load_39 | 52 | 0.00018459 | 4.6263e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-36_0_3_load_78 | 53 | 0.00022184 | 5.5598e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-36_0_3_load_38 | 54 | 0.0028367 | 0.00071094 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-36_0_3_load_51 | 56 | 0.00075397 | 0.00018896 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-36_0_3_load_43 | 58 | 0.00015688 | 3.9317e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-36_0_3_load_44 | 59 | 0.00020405 | 5.114e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-36_0_3_load_46 | 61 | 0.00029964 | 7.5098e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-36_0_3_load_48 | 63 | 0.0020088 | 0.00050346 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-36_0_3_load_53 | 65 | 0.0065439 | 0.0016401 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-36_0_3_load_67 | 66 | 0.0040764 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-36_0_3_load_112 | 67 | 0.0010125 | 0.00025375 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-36_0_3_load_60 | 68 | 0.0016219 | 0.00040649 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-36_0_3_load_106 | 71 | 0.0020541 | 0.0005148 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-36_0_3_load_107 | 73 | 0.0019884 | 0.00049834 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-36_0_3_load_105 | 74 | 0.0022537 | 0.00056482 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-36_0_3_load_103 | 75 | 0.0021128 | 0.00052952 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-36_0_3_load_61 | 76 | 0.017287 | 0.0043324 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-36_0_3_load_63 | 78 | 0.045739 | 0.011463 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-36_0_3_load_66 | 81 | 0.0018252 | 0.00045744 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-36_0_3_load_69 | 82 | 0.01394 | 0.0034938 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-36_0_3_load_71 | 83 | 0.0051077 | 0.0012801 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-36_0_3_load_79 | 87 | 0.00041471 | 0.00010394 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-36_0_3_load_80 | 88 | 0.0018618 | 0.00046661 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3443-36_0_3_load_81 | 89 | 0.00062504 | 0.00015665 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3443-36_0_3_load_82 | 90 | 0.00037777 | 9.4678e-05 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3443-36_0_3_load_83 | 91 | 0.00032257 | 8.0843e-05 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3443-36_0_3_load_92 | 92 | 0.00066893 | 0.00016765 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3443-36_0_3_load_91 | 94 | 9.1393e-05 | 2.2905e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3443-36_0_3_load_87 | 95 | 0.00033131 | 8.3034e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3443-36_0_3_load_85 | 96 | 0.00083723 | 0.00020983 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3443-36_0_3_load_84 | 97 | 0.0035431 | 0.00088799 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3443-36_0_3_load_89 | 99 | 0.0011818 | 0.00029619 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3443-36_0_3_load_90 | 100 | 0.00039012 | 9.7773e-05 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3443-36_0_3_load_93 | 101 | 0.00033082 | 8.2911e-05 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3443-36_0_3_load_94 | 102 | 0.00051265 | 0.00012848 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3443-36_0_3_load_95 | 103 | 0.00020375 | 5.1065e-05 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3443-36_0_3_load_97 | 104 | 0.00012612 | 3.161e-05 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3443-36_0_3_load_100 | 106 | 0.00021485 | 5.3846e-05 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3443-36_0_3_load_102 | 107 | 0.00050674 | 0.000127 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3443-36_0_3_load_108 | 108 | 0.00030883 | 7.7399e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 69 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-36_0_3_line_0 |  | 0 | 1 | 0.063068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-36_0_3_line_1 |  | 1 | 2 | 0.33618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-36_0_3_line_2 |  | 2 | 3 | 0.038253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-36_0_3_line_3 |  | 2 | 4 | 0.085598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-36_0_3_line_4 |  | 3 | 26 | 0.017575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-36_0_3_line_5 |  | 4 | 5 | 0.30101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-36_0_3_line_6 |  | 5 | 6 | 0.35452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-36_0_3_line_7 |  | 5 | 7 | 0.016232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-36_0_3_line_8 |  | 6 | 15 | 0.07236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-36_0_3_line_9 |  | 6 | 10 | 0.17022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-36_0_3_line_10 |  | 7 | 22 | 0.078911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-36_0_3_line_11 |  | 8 | 9 | 0.023672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-36_0_3_line_12 |  | 8 | 10 | 0.035306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3443-36_0_3_line_13 |  | 9 | 11 | 0.068756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-36_0_3_line_14 |  | 11 | 14 | 0.037629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-36_0_3_line_15 |  | 12 | 13 | 0.11983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_3443-36_0_3_line_16 |  | 12 | 14 | 0.1498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_3443-36_0_3_line_17 |  | 13 | 27 | 0.063879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_3443-36_0_3_line_18 |  | 15 | 16 | 0.0084044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3443-36_0_3_line_19 |  | 16 | 17 | 0.0032663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-36_0_3_line_20 |  | 18 | 19 | 0.024123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3443-36_0_3_line_21 |  | 19 | 20 | 0.019549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-36_0_3_line_22 |  | 20 | 21 | 0.006729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3443-36_0_3_line_23 |  | 21 | 105 | 0.042652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3443-36_0_3_line_24 |  | 21 | 102 | 0.02506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-36_0_3_line_25 |  | 22 | 23 | 0.20468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-36_0_3_line_26 |  | 23 | 24 | 0.23436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3443-36_0_3_line_27 |  | 23 | 25 | 0.024831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-36_0_3_line_28 |  | 24 | 42 | 0.0094715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-36_0_3_line_29 |  | 24 | 41 | 0.048742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-36_0_3_line_30 |  | 25 | 38 | 0.12418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3443-36_0_3_line_31 |  | 27 | 28 | 0.056958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3443-36_0_3_line_32 |  | 27 | 29 | 0.025411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_3443-36_0_3_line_33 |  | 27 | 30 | 0.036319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3443-36_0_3_line_34 |  | 29 | 64 | 0.11577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_3443-36_0_3_line_35 |  | 30 | 105 | 0.032223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3443-36_0_3_line_36 |  | 31 | 32 | 0.036014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-36_0_3_line_37 |  | 31 | 33 | 0.0091195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-36_0_3_line_38 |  | 32 | 34 | 0.052873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3443-36_0_3_line_39 |  | 33 | 35 | 0.1094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3443-36_0_3_line_40 |  | 34 | 36 | 0.027495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-36_0_3_line_41 |  | 36 | 39 | 0.037978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3443-36_0_3_line_42 |  | 37 | 38 | 0.046945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-36_0_3_line_43 |  | 37 | 39 | 0.032317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3443-36_0_3_line_44 |  | 40 | 41 | 0.021079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3443-36_0_3_line_45 |  | 43 | 44 | 0.037558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3443-36_0_3_line_46 |  | 43 | 45 | 0.0065855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-36_0_3_line_47 |  | 44 | 46 | 0.029891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3443-36_0_3_line_48 |  | 45 | 47 | 0.18419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3443-36_0_3_line_49 |  | 46 | 49 | 0.16226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3443-36_0_3_line_50 |  | 46 | 50 | 0.17057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3443-36_0_3_line_51 |  | 47 | 48 | 0.10713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-36_0_3_line_52 |  | 48 | 84 | 0.0053817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3443-36_0_3_line_53 |  | 49 | 53 | 0.003984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3443-36_0_3_line_54 |  | 50 | 51 | 0.053804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3443-36_0_3_line_55 |  | 50 | 52 | 0.021674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3443-36_0_3_line_56 |  | 51 | 62 | 0.010579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3443-36_0_3_line_57 |  | 54 | 55 | 0.046247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3443-36_0_3_line_58 |  | 55 | 56 | 0.15153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3443-36_0_3_line_59 |  | 56 | 70 | 0.020432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-36_0_3_line_60 |  | 57 | 58 | 0.035332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3443-36_0_3_line_61 |  | 57 | 59 | 0.054521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-36_0_3_line_62 |  | 57 | 60 | 0.07062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3443-36_0_3_line_63 |  | 57 | 61 | 0.072878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3443-36_0_3_line_64 |  | 60 | 63 | 0.015194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3443-36_0_3_line_65 |  | 60 | 64 | 0.060675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
66 | LV_3443-36_0_3_line_66 |  | 61 | 62 | 0.028487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-36_0_3_line_67 |  | 62 | 65 | 0.024745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-36_0_3_line_68 |  | 63 | 66 | 0.0060975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
69 | LV_3443-36_0_3_line_69 |  | 64 | 67 | 0.077705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3443-36_0_3_line_70 |  | 65 | 68 | 0.01608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3443-36_0_3_line_71 |  | 66 | 69 | 0.075601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
72 | LV_3443-36_0_3_line_72 |  | 69 | 80 | 0.16678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3443-36_0_3_line_73 |  | 70 | 71 | 0.038928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3443-36_0_3_line_74 |  | 70 | 72 | 0.02014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3443-36_0_3_line_75 |  | 71 | 73 | 0.0052868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-36_0_3_line_76 |  | 72 | 74 | 0.00060329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3443-36_0_3_line_77 |  | 72 | 75 | 0.036174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-36_0_3_line_78 |  | 74 | 106 | 0.032079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-36_0_3_line_79 |  | 76 | 77 | 0.020404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3443-36_0_3_line_80 |  | 76 | 78 | 0.014674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3443-36_0_3_line_81 |  | 77 | 79 | 0.027772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3443-36_0_3_line_82 |  | 79 | 80 | 0.017335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3443-36_0_3_line_83 |  | 79 | 81 | 0.015337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3443-36_0_3_line_84 |  | 80 | 82 | 0.094392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3443-36_0_3_line_85 |  | 81 | 83 | 0.041539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3443-36_0_3_line_86 |  | 84 | 85 | 0.018621 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3443-36_0_3_line_87 |  | 84 | 86 | 0.034196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3443-36_0_3_line_88 |  | 85 | 87 | 0.0054455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3443-36_0_3_line_89 |  | 86 | 88 | 0.025777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3443-36_0_3_line_90 |  | 87 | 89 | 0.020012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3443-36_0_3_line_91 |  | 89 | 90 | 0.026948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3443-36_0_3_line_92 |  | 90 | 91 | 0.094759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3443-36_0_3_line_93 |  | 90 | 92 | 0.22451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3443-36_0_3_line_94 |  | 91 | 93 | 0.030306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3443-36_0_3_line_95 |  | 92 | 94 | 0.022284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3443-36_0_3_line_96 |  | 93 | 95 | 0.033743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3443-36_0_3_line_97 |  | 93 | 96 | 0.02586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3443-36_0_3_line_98 |  | 95 | 98 | 0.015178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3443-36_0_3_line_99 |  | 96 | 97 | 0.016903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3443-36_0_3_line_100 |  | 98 | 99 | 0.024485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3443-36_0_3_line_101 |  | 99 | 100 | 0.0027674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3443-36_0_3_line_102 |  | 100 | 101 | 0.019855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3443-36_0_3_line_103 |  | 102 | 103 | 0.004365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3443-36_0_3_line_104 |  | 103 | 104 | 0.017709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3443-36_0_3_line_105 |  | 104 | 106 | 0.0026174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3443-36_0_3_line_106 |  | 105 | 107 | 0.012569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3443-36_0_3_line_107 |  | 107 | 108 | 0.01755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-36_0_3_trafo_68 | 0.63 MVA 20/0.4 kV | 109 | 69 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2734281.1198 | 1253521.5412 | 2734297.2908 | 1253537.7225 | 2734313.8 | 1253552.9662 | 2734328.7754 | 1253562.4405
1 | 2734479.6432 | 1253250.242 | 2734281.1198 | 1253521.5412
2 | 2734479.6432 | 1253250.242 | 2734489.7424 | 1253252.2731 | 2734503.2369 | 1253256.6946 | 2734516.2032 | 1253261.2751
3 | 2734479.6432 | 1253250.242 | 2734495.9538 | 1253231.0615 | 2734539.3721 | 1253189.0446
4 | 2734533.0556 | 1253265.9134 | 2734527.5294 | 1253265.2762 | 2734516.2032 | 1253261.2751
5 | 2734645.6151 | 1252907.411 | 2734539.3721 | 1253189.0446
6 | 2734645.6151 | 1252907.411 | 2734981.724 | 1253020.162
7 | 2734645.6151 | 1252907.411 | 2734633.2339 | 1252896.9141
8 | 2734981.724 | 1253020.162 | 2734987.139 | 1253024.6896 | 2734989.2486 | 1253027.518 | 2734991.8107 | 1253033.0147 | 2734996.4571 | 1253044.0973 | 2734999.9217 | 1253054.0409 | 2735004.1954 | 1253067.8954 | 2735005.5781 | 1253070.8184 | 2735006.9467 | 1253072.7069 | 2735008.7758 | 1253074.2611 | 2735010.9101 | 1253075.3441 | 2735014.1832 | 1253076.1416 | 2735018.4842 | 1253076.5511 | 2735019.0983 | 1253076.5635
9 | 2734981.724 | 1253020.162 | 2735031.6589 | 1252946.7553 | 2735055.5976 | 1252915.617 | 2735085.4098 | 1252885.8029
10 | 2734633.2339 | 1252896.9141 | 2734622.5521 | 1252887.858 | 2734615.503 | 1252880.8136 | 2734610.8256 | 1252877.0261 | 2734606.0353 | 1252873.8922 | 2734601.3961 | 1252871.4179 | 2734596.3456 | 1252869.101 | 2734588.6133 | 1252866.2005 | 2734581.7582 | 1252864.2319 | 2734575.6546 | 1252862.7474 | 2734568.8672 | 1252862.1149 | 2734564.9729 | 1252862.1883
11 | 2735103.063 | 1252855.2265 | 2735114.8989 | 1252834.7261
12 | 2735103.063 | 1252855.2265 | 2735085.4098 | 1252885.8029
13 | 2735156.6348 | 1252781.0384 | 2735133.4023 | 1252802.6771 | 2735114.8989 | 1252834.7261
14 | 2735182.0572 | 1252753.4089 | 2735168.3896 | 1252770.09 | 2735156.6348 | 1252781.0384
15 | 2735087.8506 | 1252636.9429 | 2735096.3108 | 1252628.795 | 2735103.8388 | 1252615.1765 | 2735106.6634 | 1252610.1697 | 2735111.9788 | 1252601.8723 | 2735125.7677 | 1252592.4559 | 2735145.525 | 1252579.8729 | 2735161.9339 | 1252568.7927 | 2735173.106 | 1252561.2407 | 2735175.8989 | 1252559.102
16 | 2735087.8506 | 1252636.9429 | 2735182.0572 | 1252753.4089
17 | 2735216.6561 | 1252513.7801 | 2735216.8987 | 1252518.0339 | 2735216.3492 | 1252522.2586 | 2735212.1158 | 1252529.4463 | 2735209.8481 | 1252532.8754 | 2735207.5913 | 1252534.8368 | 2735204.0337 | 1252537.5581 | 2735175.8989 | 1252559.102
18 | 2735019.0983 | 1253076.5635 | 2735027.501 | 1253076.7327
19 | 2735030.7667 | 1253076.7984 | 2735027.501 | 1253076.7327
20 | 2735311.2181 | 1252582.5227 | 2735302.7074 | 1252594.9741 | 2735297.22 | 1252602.1587
21 | 2735322.2498 | 1252566.3833 | 2735311.2181 | 1252582.5227
22 | 2735315.916 | 1252564.0587 | 2735322.2498 | 1252566.3833
23 | 2735315.916 | 1252564.0587 | 2735305.7882 | 1252559.2786 | 2735295.1494 | 1252553.7306 | 2735277.9057 | 1252544.5062
24 | 2735315.916 | 1252564.0587 | 2735324.0246 | 1252540.347
25 | 2734492.2944 | 1252670.8467 | 2734564.9729 | 1252862.1883
26 | 2734492.2944 | 1252670.8467 | 2734258.8652 | 1252691.6713
27 | 2734492.2944 | 1252670.8467 | 2734510.6727 | 1252654.0932
28 | 2734258.8652 | 1252691.6713 | 2734255.3096 | 1252685.0069 | 2734253.8878 | 1252683.7197
29 | 2734258.8652 | 1252691.6713 | 2734250.3129 | 1252693.6237 | 2734241.7889 | 1252696.6555 | 2734231.3274 | 1252701.901 | 2734223.1802 | 1252706.9655 | 2734215.554 | 1252713.0204
30 | 2734510.6727 | 1252654.0932 | 2734514.2998 | 1252654.6093 | 2734520.1661 | 1252654.9206 | 2734527.5656 | 1252653.2092 | 2734537.0001 | 1252649.3199 | 2734546.9196 | 1252641.6938 | 2734591.6573 | 1252598.8599 | 2734597.7116 | 1252588.9106 | 2734601.1877 | 1252578.7382
31 | 2735216.6561 | 1252513.7801 | 2735220.4849 | 1252503.8139 | 2735225.3675 | 1252494.3167 | 2735229.8015 | 1252481.9845 | 2735232.9633 | 1252470.8131 | 2735233.0235 | 1252459.9157
32 | 2735216.6561 | 1252513.7801 | 2735193.0057 | 1252504.4863
33 | 2735216.6561 | 1252513.7801 | 2735239.8433 | 1252524.5747 | 2735249.3593 | 1252529.5578
34 | 2735109.8028 | 1252429.955 | 2735115.5751 | 1252441.3414 | 2735123.7001 | 1252456.485 | 2735133.2994 | 1252468.5593 | 2735144.3971 | 1252478.8218 | 2735159.6565 | 1252489.9912 | 2735188.0209 | 1252502.5275 | 2735193.0057 | 1252504.4863
35 | 2735277.9057 | 1252544.5062 | 2735249.3593 | 1252529.5578
36 | 2734732.9882 | 1252464.7015 | 2734725.953 | 1252477.5019 | 2734718.6839 | 1252497.6377
37 | 2734737.3807 | 1252456.7095 | 2734732.9882 | 1252464.7015
38 | 2734700.8976 | 1252547.4291 | 2734713.5847 | 1252511.7629 | 2734718.6839 | 1252497.6377
39 | 2734737.3807 | 1252456.7095 | 2734846.0457 | 1252444.058
40 | 2734700.8976 | 1252547.4291 | 2734691.1443 | 1252536.4529 | 2734682.1497 | 1252527.3295
41 | 2734682.1497 | 1252527.3295 | 2734680.7249 | 1252525.8843 | 2734675.3642 | 1252521.5918 | 2734668.7094 | 1252520.0948 | 2734660.8402 | 1252522.8629 | 2734655.3881 | 1252532.5478 | 2734653.8829 | 1252534.914
42 | 2734635.6582 | 1252561.5591 | 2734628.28 | 1252557.6768 | 2734619.9148 | 1252556.6969 | 2734612.2346 | 1252560.1255 | 2734602.7421 | 1252574.1893 | 2734601.1877 | 1252578.7382
43 | 2734635.6582 | 1252561.5591 | 2734642.3755 | 1252553.004 | 2734653.8829 | 1252534.914
44 | 2734215.554 | 1252713.0204 | 2734210.7863 | 1252708.8753 | 2734199.6828 | 1252699.1482
45 | 2735309.3514 | 1252092.0424 | 2735276.845 | 1252081.4826 | 2735273.5508 | 1252080.7266
46 | 2735309.3514 | 1252092.0424 | 2735315.6147 | 1252094.077
47 | 2735244.2678 | 1252075.1332 | 2735249.0455 | 1252076.5213 | 2735259.6229 | 1252077.5303 | 2735273.5508 | 1252080.7266
48 | 2735440.835 | 1251958.9952 | 2735315.6147 | 1252094.077
49 | 2735244.2678 | 1252075.1332 | 2735258.5658 | 1251913.5012
50 | 2735139.8138 | 1252209.9837 | 2735244.2678 | 1252075.1332
51 | 2735440.835 | 1251958.9952 | 2735454.0618 | 1251944.8624 | 2735473.977 | 1251892.1809 | 2735490.7489 | 1251865.5764
52 | 2735493.6189 | 1251861.0239 | 2735490.7489 | 1251865.5764
53 | 2735254.5978 | 1251913.1439 | 2735258.5658 | 1251913.5012
54 | 2735139.8138 | 1252209.9837 | 2735139.8138 | 1252209.9837 | 2735133.1596 | 1252201.502 | 2735122.25 | 1252201.8313 | 2735114.7899 | 1252206.1651 | 2735110.2509 | 1252211.522 | 2735109.0334 | 1252215.5757 | 2735110.8827 | 1252227.6623
55 | 2735145.6465 | 1252230.8321 | 2735145.1205 | 1252227.5541 | 2735139.8138 | 1252209.9837
56 | 2735112.4826 | 1252238.1193 | 2735110.8827 | 1252227.6623
57 | 2735403.219 | 1252305.6066 | 2735401.1507 | 1252290.0785 | 2735401.4808 | 1252273.3375 | 2735406.1127 | 1252260.2981
58 | 2735403.219 | 1252305.6066 | 2735398.0557 | 1252327.0303 | 2735393.9703 | 1252339.2815 | 2735387.522 | 1252352.1903 | 2735380.2269 | 1252367.7934 | 2735375.1098 | 1252377.2963 | 2735368.2775 | 1252387.8498 | 2735360.3668 | 1252401.3258 | 2735356.9892 | 1252410.0343 | 2735353.8315 | 1252421.0166 | 2735349.7143 | 1252441.9305 | 2735348.9692 | 1252445.7115
59 | 2735344.1236 | 1252465.5465 | 2735347.4169 | 1252453.5887 | 2735348.9692 | 1252445.7115
60 | 2735111.4558 | 1252311.5516 | 2735145.972 | 1252319.5572
61 | 2735111.4558 | 1252311.5516 | 2735117.2264 | 1252309.4591 | 2735136.5473 | 1252288.5807 | 2735150.3916 | 1252274.1278
62 | 2735082.4778 | 1252375.816 | 2735090.7416 | 1252355.7751 | 2735103.6056 | 1252324.3843 | 2735111.4558 | 1252311.5516
63 | 2735111.4558 | 1252311.5516 | 2735113.0078 | 1252307.3943 | 2735118.8052 | 1252298.1737 | 2735129.4232 | 1252277.2079 | 2735138.9183 | 1252258.4741 | 2735139.6526 | 1252250.4502 | 2735137.2959 | 1252246.0545
64 | 2735082.4778 | 1252375.816 | 2735073.2746 | 1252363.7262
65 | 2735082.4778 | 1252375.816 | 2735098.4285 | 1252405.3399 | 2735106.3643 | 1252422.8257 | 2735109.8028 | 1252429.955
66 | 2735112.4826 | 1252238.1193 | 2735126.9832 | 1252237.2492 | 2735135.3366 | 1252242.4 | 2735137.2959 | 1252246.0545
67 | 2735112.4826 | 1252238.1193 | 2735110.4819 | 1252248.3719 | 2735096.23 | 1252249.5333
68 | 2735069.4998 | 1252358.9491 | 2735069.9508 | 1252359.3599 | 2735073.2746 | 1252363.7262
69 | 2735109.8028 | 1252429.955 | 2735147.7574 | 1252407.0331 | 2735176.8278 | 1252390.3255
70 | 2735080.2034 | 1252250.8393 | 2735096.23 | 1252249.5333
71 | 2735003.1363 | 1252326.2181 | 2735013.8786 | 1252327.92 | 2735030.2595 | 1252332.3195 | 2735046.2148 | 1252340.1458 | 2735057.5033 | 1252348.0214 | 2735069.4998 | 1252358.9491
72 | 2735003.1363 | 1252326.2181 | 2735003.7031 | 1252315.9328 | 2735002.0006 | 1252305.5067 | 2735000.3665 | 1252302.0107 | 2734984.1462 | 1252272.025 | 2734981.0947 | 1252267.1177 | 2734978.3223 | 1252262.5504 | 2734968.7144 | 1252248.8413 | 2734955.5408 | 1252239.8553 | 2734938.3901 | 1252236.0946 | 2734914.1442 | 1252235.2417 | 2734891.5558 | 1252236.1949
73 | 2735344.1236 | 1252465.5465 | 2735320.1427 | 1252453.143 | 2735309.7059 | 1252447.3649
74 | 2735338.2629 | 1252484.7969 | 2735339.5872 | 1252479.0441 | 2735344.1236 | 1252465.5465
75 | 2735309.7059 | 1252447.3649 | 2735305.0807 | 1252444.8042
76 | 2735338.1203 | 1252485.3831 | 2735338.2629 | 1252484.7969
77 | 2735338.2629 | 1252484.7969 | 2735374.1664 | 1252489.2161
78 | 2735330.5383 | 1252516.5528 | 2735338.1203 | 1252485.3831
79 | 2734860.616 | 1252212.0131 | 2734840.305 | 1252210.0626
80 | 2734825.6985 | 1252208.6598 | 2734840.305 | 1252210.0626
81 | 2734886.9309 | 1252219.4856 | 2734875.5899 | 1252213.5665 | 2734860.616 | 1252212.0131
82 | 2734886.9309 | 1252219.4856 | 2734891.5558 | 1252236.1949
83 | 2734886.9309 | 1252219.4856 | 2734899.8567 | 1252211.2298
84 | 2734891.5558 | 1252236.1949 | 2734868.5587 | 1252240.175 | 2734842.4671 | 1252245.4415 | 2734820.776 | 1252251.0864 | 2734805.9539 | 1252260.4465 | 2734802.44 | 1252263.2446
85 | 2734921.9567 | 1252178.6682 | 2734919.0396 | 1252194.3604 | 2734901.978 | 1252209.8749 | 2734899.8567 | 1252211.2298
86 | 2735493.6189 | 1251861.0239 | 2735503.442 | 1251845.1896
87 | 2735493.6189 | 1251861.0239 | 2735500.5478 | 1251865.086 | 2735520.755 | 1251881.8078
88 | 2735503.442 | 1251845.1896 | 2735502.0067 | 1251839.9366
89 | 2735520.755 | 1251881.8078 | 2735537.2449 | 1251895.0081 | 2735541.0597 | 1251897.6741
90 | 2735502.0067 | 1251839.9366 | 2735499.5127 | 1251830.8089 | 2735498.8582 | 1251820.2793
91 | 2735498.8582 | 1251820.2793 | 2735498.547 | 1251815.2727 | 2735496.329 | 1251793.4538
92 | 2735496.329 | 1251793.4538 | 2735495.7798 | 1251788.0513 | 2735491.3185 | 1251769.5325 | 2735485.5255 | 1251753.4409 | 2735476.5347 | 1251736.5311 | 2735462.5371 | 1251707.4402 | 2735461.8324 | 1251705.8462
93 | 2735496.329 | 1251793.4538 | 2735714.3102 | 1251739.7205
94 | 2735449.5789 | 1251678.1284 | 2735461.8324 | 1251705.8462
95 | 2735732.7794 | 1251752.1897 | 2735714.3102 | 1251739.7205
96 | 2735449.5789 | 1251678.1284 | 2735448.902 | 1251667.7813 | 2735449.3578 | 1251655.4472 | 2735449.0253 | 1251644.4207
97 | 2735449.5789 | 1251678.1284 | 2735442.5375 | 1251677.3223 | 2735430.8992 | 1251673.8086 | 2735424.5412 | 1251671.9816
98 | 2735448.5679 | 1251629.2497 | 2735449.0253 | 1251644.4207
99 | 2735408.2961 | 1251667.3133 | 2735424.5412 | 1251671.9816
100 | 2735448.5679 | 1251629.2497 | 2735472.9182 | 1251631.811
101 | 2735472.9182 | 1251631.811 | 2735475.6704 | 1251632.1005
102 | 2735495.4161 | 1251634.1775 | 2735475.6704 | 1251632.1005
103 | 2735324.0246 | 1252540.347 | 2735325.437 | 1252536.2168
104 | 2735329.9197 | 1252519.096 | 2735326.5387 | 1252532.9952 | 2735325.437 | 1252536.2168
105 | 2735329.9197 | 1252519.096 | 2735330.5383 | 1252516.5528
106 | 2735277.9057 | 1252544.5062 | 2735276.0102 | 1252547.8326 | 2735269.8589 | 1252554.0423
107 | 2735269.8589 | 1252554.0423 | 2735254.7535 | 1252560.9259 | 2735253.8907 | 1252561.324

## bus_geodata
| x | y | coords
0 | 2734328.7754 | 1253562.4405
1 | 2734281.1198 | 1253521.5412
2 | 2734479.6432 | 1253250.242
3 | 2734516.2032 | 1253261.2751
4 | 2734539.3721 | 1253189.0446
5 | 2734645.6151 | 1252907.411
6 | 2734981.724 | 1253020.162
7 | 2734633.2339 | 1252896.9141
8 | 2735103.063 | 1252855.2265
9 | 2735114.8989 | 1252834.7261
10 | 2735085.4098 | 1252885.8029
11 | 2735156.6348 | 1252781.0384
12 | 2735087.8506 | 1252636.9429
13 | 2735175.8989 | 1252559.102
14 | 2735182.0572 | 1252753.4089
15 | 2735019.0983 | 1253076.5635
16 | 2735027.501 | 1253076.7327
17 | 2735030.7667 | 1253076.7984
18 | 2735297.22 | 1252602.1587
19 | 2735311.2181 | 1252582.5227
20 | 2735322.2498 | 1252566.3833
21 | 2735315.916 | 1252564.0587
22 | 2734564.9729 | 1252862.1883
23 | 2734492.2944 | 1252670.8467
24 | 2734258.8652 | 1252691.6713
25 | 2734510.6727 | 1252654.0932
26 | 2734533.0556 | 1253265.9134
27 | 2735216.6561 | 1252513.7801
28 | 2735233.0235 | 1252459.9157
29 | 2735193.0057 | 1252504.4863
30 | 2735249.3593 | 1252529.5578
31 | 2734732.9882 | 1252464.7015
32 | 2734718.6839 | 1252497.6377
33 | 2734737.3807 | 1252456.7095
34 | 2734700.8976 | 1252547.4291
35 | 2734846.0457 | 1252444.058
36 | 2734682.1497 | 1252527.3295
37 | 2734635.6582 | 1252561.5591
38 | 2734601.1877 | 1252578.7382
39 | 2734653.8829 | 1252534.914
40 | 2734199.6828 | 1252699.1482
41 | 2734215.554 | 1252713.0205
42 | 2734253.8878 | 1252683.7197
43 | 2735309.3514 | 1252092.0424
44 | 2735273.5508 | 1252080.7266
45 | 2735315.6147 | 1252094.077
46 | 2735244.2678 | 1252075.1332
47 | 2735440.835 | 1251958.9952
48 | 2735490.7489 | 1251865.5764
49 | 2735258.5658 | 1251913.5012
50 | 2735139.8138 | 1252209.9837
51 | 2735110.8827 | 1252227.6623
52 | 2735145.6465 | 1252230.8321
53 | 2735254.5978 | 1251913.1439
54 | 2735406.1127 | 1252260.2981
55 | 2735403.219 | 1252305.6066
56 | 2735348.9692 | 1252445.7115
57 | 2735111.4558 | 1252311.5516
58 | 2735145.9721 | 1252319.5572
59 | 2735150.3916 | 1252274.1278
60 | 2735082.4778 | 1252375.816
61 | 2735137.2959 | 1252246.0545
62 | 2735112.4826 | 1252238.1193
63 | 2735073.2746 | 1252363.7262
64 | 2735109.8028 | 1252429.955
65 | 2735096.23 | 1252249.5333
66 | 2735069.4998 | 1252358.9491
67 | 2735176.8278 | 1252390.3255
68 | 2735080.2034 | 1252250.8393
69 | 2735003.1363 | 1252326.2181
70 | 2735344.1236 | 1252465.5465
71 | 2735309.7059 | 1252447.3649
72 | 2735338.2629 | 1252484.7969
73 | 2735305.0807 | 1252444.8042
74 | 2735338.1203 | 1252485.3831
75 | 2735374.1664 | 1252489.2161
76 | 2734840.305 | 1252210.0626
77 | 2734860.616 | 1252212.0131
78 | 2734825.6985 | 1252208.6598
79 | 2734886.9309 | 1252219.4856
80 | 2734891.5558 | 1252236.1949
81 | 2734899.8567 | 1252211.2298
82 | 2734802.44 | 1252263.2446
83 | 2734921.9567 | 1252178.6682
84 | 2735493.6189 | 1251861.0239
85 | 2735503.442 | 1251845.1896
86 | 2735520.755 | 1251881.8078
87 | 2735502.0067 | 1251839.9366
88 | 2735541.0597 | 1251897.6741
89 | 2735498.8582 | 1251820.2793
90 | 2735496.329 | 1251793.4538
91 | 2735461.8324 | 1251705.8462
92 | 2735714.3102 | 1251739.7205
93 | 2735449.5789 | 1251678.1284
94 | 2735732.7794 | 1251752.1897
95 | 2735449.0253 | 1251644.4207
96 | 2735424.5412 | 1251671.9816
97 | 2735408.2961 | 1251667.3133
98 | 2735448.5679 | 1251629.2497
99 | 2735472.9182 | 1251631.811
100 | 2735475.6704 | 1251632.1005
101 | 2735495.4161 | 1251634.1775
102 | 2735324.0246 | 1252540.347
103 | 2735325.437 | 1252536.2168
104 | 2735329.9197 | 1252519.096
105 | 2735277.9057 | 1252544.5062
106 | 2735330.5383 | 1252516.5527
107 | 2735269.8589 | 1252554.0423
108 | 2735253.8907 | 1252561.324
109 | 2735082.4778 | 1252375.816

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1