## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-37_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-37_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-37_0_4_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3443-37_0_4_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3443-37_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3443-37_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_3443-37_0_4_node_27 | 0.4 | n |  | TRUE
7 | bus_LV_3443-37_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3443-37_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_3443-37_0_4_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_3443-37_0_4_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_3443-37_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3443-37_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_3443-37_0_4_node_30 | 0.4 | n |  | TRUE
14 | bus_LV_3443-37_0_4_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_3443-37_0_4_node_16 | 0.4 | n |  | TRUE
16 | bus_LV_3443-37_0_4_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_3443-37_0_4_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_3443-37_0_4_node_57 | 0.4 | n |  | TRUE
19 | bus_LV_3443-37_0_4_node_56 | 0.4 | n |  | TRUE
20 | bus_LV_3443-37_0_4_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_3443-37_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_3443-37_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_3443-37_0_4_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_3443-37_0_4_node_20 | 0.4 | n |  | TRUE
25 | bus_LV_3443-37_0_4_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_3443-37_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_3443-37_0_4_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_3443-37_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_3443-37_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_3443-37_0_4_node_55 | 0.4 | n |  | TRUE
31 | bus_LV_3443-37_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_3443-37_0_4_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_3443-37_0_4_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_3443-37_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_3443-37_0_4_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_3443-37_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_3443-37_0_4_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_3443-37_0_4_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_3443-37_0_4_node_52 | 0.4 | n |  | TRUE
40 | bus_LV_3443-37_0_4_node_51 | 0.4 | n |  | TRUE
41 | bus_LV_3443-37_0_4_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_3443-37_0_4_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_3443-37_0_4_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_3443-37_0_4_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_3443-37_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_3443-37_0_4_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_3443-37_0_4_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_3443-37_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_3443-37_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_3443-37_0_4_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3443-37_0_4_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_3443-37_0_4_node_46 | 0.4 | n |  | TRUE
53 | bus_LV_3443-37_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_MV_411_0_node_29 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-37_0_4_load_0 | 0 | 0.00026276 | 6.5855e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-37_0_4_load_1 | 1 | 0.00016648 | 4.1723e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-37_0_4_load_5 | 3 | 0.00031684 | 7.9408e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-37_0_4_load_13 | 5 | 8.4428e-05 | 2.116e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-37_0_4_load_27 | 6 | 4.0398e-05 | 1.0125e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-37_0_4_load_6 | 7 | 0.00028917 | 7.2472e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-37_0_4_load_11 | 12 | 0.00036531 | 9.1555e-05 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-37_0_4_load_28 | 14 | 0.00026923 | 6.7476e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-37_0_4_load_14 | 16 | 0.00029327 | 7.3501e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-37_0_4_load_19 | 17 | 4.8631e-05 | 1.2188e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-37_0_4_load_57 | 18 | 0.062801 | 0.015739 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-37_0_4_load_56 | 19 | 0.002528 | 0.00063357 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-37_0_4_load_29 | 20 | 0.00023873 | 5.9832e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-37_0_4_load_18 | 22 | 0.00011632 | 2.9152e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-37_0_4_load_15 | 23 | 7.7325e-05 | 1.938e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-37_0_4_load_20 | 24 | 5.3792e-05 | 1.3482e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-37_0_4_load_26 | 26 | 0.00027258 | 6.8316e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-37_0_4_load_22 | 27 | 0.00032197 | 8.0692e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-37_0_4_load_23 | 28 | 0.0004366 | 0.00010942 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-37_0_4_load_25 | 29 | 0.0003444 | 8.6315e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-37_0_4_load_55 | 30 | 0.0074866 | 0.0018763 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-37_0_4_load_31 | 31 | 0.039637 | 0.0099339 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-37_0_4_load_32 | 32 | 0.033394 | 0.0083693 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-37_0_4_load_33 | 33 | 0.0078362 | 0.0019639 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-37_0_4_load_34 | 34 | 0.0027791 | 0.00069651 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-37_0_4_load_35 | 35 | 0.020956 | 0.0052521 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-37_0_4_load_47 | 38 | 0.0054057 | 0.0013548 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-37_0_4_load_52 | 39 | 0.040365 | 0.010116 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-37_0_4_load_51 | 40 | 0.034414 | 0.0086249 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-37_0_4_load_50 | 41 | 0.014961 | 0.0037496 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-37_0_4_load_48 | 42 | 0.0032631 | 0.0008178 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-37_0_4_load_53 | 43 | 0.053291 | 0.013356 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-37_0_4_load_38 | 44 | 0.001427 | 0.00035765 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-37_0_4_load_41 | 47 | 0.044811 | 0.011231 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-37_0_4_load_42 | 48 | 0.0036555 | 0.00091615 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-37_0_4_load_43 | 49 | 0.003425 | 0.0008584 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-37_0_4_load_45 | 50 | 0.036141 | 0.0090579 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-37_0_4_load_46 | 52 | 0.070968 | 0.017786 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-37_0_4_load_54 | 53 | 0.028088 | 0.0070395 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 41 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-37_0_4_line_0 |  | 0 | 1 | 0.016873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-37_0_4_line_1 |  | 1 | 2 | 0.0073688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-37_0_4_line_2 |  | 2 | 3 | 0.012472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-37_0_4_line_3 |  | 2 | 4 | 0.023189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-37_0_4_line_4 |  | 4 | 5 | 0.067483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-37_0_4_line_5 |  | 5 | 6 | 0.011827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-37_0_4_line_6 |  | 6 | 21 | 0.068067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-37_0_4_line_7 |  | 7 | 8 | 0.047121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-37_0_4_line_8 |  | 8 | 9 | 0.010623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-37_0_4_line_9 |  | 8 | 10 | 0.124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-37_0_4_line_10 |  | 9 | 11 | 0.10415 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-37_0_4_line_11 |  | 9 | 12 | 0.02893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-37_0_4_line_12 |  | 10 | 13 | 0.14549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3443-37_0_4_line_13 |  | 10 | 14 | 0.017685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-37_0_4_line_14 |  | 11 | 15 | 0.06766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-37_0_4_line_15 |  | 11 | 16 | 0.091311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-37_0_4_line_16 |  | 12 | 17 | 0.018254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-37_0_4_line_17 |  | 13 | 18 | 0.16032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3443-37_0_4_line_18 |  | 13 | 19 | 0.12026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3443-37_0_4_line_19 |  | 14 | 20 | 0.016547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-37_0_4_line_20 |  | 15 | 21 | 0.025448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3443-37_0_4_line_21 |  | 15 | 22 | 0.018006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-37_0_4_line_22 |  | 16 | 23 | 0.014113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3443-37_0_4_line_23 |  | 17 | 24 | 0.0032954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3443-37_0_4_line_24 |  | 19 | 30 | 0.021221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-37_0_4_line_25 |  | 22 | 25 | 0.011758 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-37_0_4_line_26 |  | 25 | 26 | 0.013398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3443-37_0_4_line_27 |  | 25 | 27 | 0.018521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-37_0_4_line_28 |  | 27 | 28 | 0.0027737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-37_0_4_line_29 |  | 28 | 29 | 0.023885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-37_0_4_line_30 |  | 30 | 53 | 0.045302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_3443-37_0_4_line_31 |  | 31 | 32 | 0.0041237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_3443-37_0_4_line_32 |  | 31 | 33 | 0.03027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_3443-37_0_4_line_33 |  | 32 | 34 | 0.030128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_3443-37_0_4_line_34 |  | 33 | 35 | 0.0079131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_3443-37_0_4_line_35 |  | 34 | 36 | 0.026334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_3443-37_0_4_line_36 |  | 35 | 37 | 0.019511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_3443-37_0_4_line_37 |  | 36 | 38 | 0.0044736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_3443-37_0_4_line_38 |  | 37 | 39 | 0.047195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_3443-37_0_4_line_39 |  | 37 | 40 | 0.034455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_3443-37_0_4_line_40 |  | 38 | 42 | 0.027764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_3443-37_0_4_line_41 |  | 39 | 43 | 0.025303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_3443-37_0_4_line_42 |  | 40 | 41 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_3443-37_0_4_line_43 |  | 42 | 51 | 0.0052428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
44 | LV_3443-37_0_4_line_44 |  | 43 | 53 | 0.0065433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_3443-37_0_4_line_45 |  | 44 | 45 | 0.019287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3443-37_0_4_line_46 |  | 44 | 46 | 0.016547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-37_0_4_line_47 |  | 45 | 47 | 0.03562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3443-37_0_4_line_48 |  | 45 | 48 | 0.020195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3443-37_0_4_line_49 |  | 46 | 49 | 0.0090224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3443-37_0_4_line_50 |  | 48 | 50 | 0.014788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3443-37_0_4_line_51 |  | 50 | 51 | 0.0094323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-37_0_4_line_52 |  | 51 | 52 | 0.018871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-37_0_4_trafo_50 | 0.63 MVA 20/0.4 kV | 54 | 41 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2735323.9988 | 1255718.7187 | 2735324.1192 | 1255735.591
1 | 2735324.1718 | 1255742.9597 | 2735324.1192 | 1255735.591
2 | 2735324.1718 | 1255742.9597 | 2735324.4803 | 1255755.4283
3 | 2735347.3992 | 1255743.5132 | 2735334.0327 | 1255742.6736 | 2735324.1718 | 1255742.9597
4 | 2735347.3992 | 1255743.5132 | 2735345.0565 | 1255762.7997 | 2735344.1535 | 1255788.7474 | 2735345.9663 | 1255810.7647
5 | 2735345.9663 | 1255810.7647 | 2735348.3488 | 1255822.349
6 | 2735362.9455 | 1255888.8247 | 2735355.8457 | 1255858.8014 | 2735348.3488 | 1255822.349
7 | 2735383.9114 | 1256084.1174 | 2735383.2862 | 1256093.6341 | 2735382.3148 | 1256100.4737 | 2735380.3477 | 1256104.666 | 2735376.2596 | 1256106.5854 | 2735368.5077 | 1256109.0326 | 2735361.6257 | 1256109.0753 | 2735355.1265 | 1256108.5853
8 | 2735383.9114 | 1256084.1174 | 2735380.7678 | 1256082.0214 | 2735374.4702 | 1256079.2748
9 | 2735383.9114 | 1256084.1174 | 2735386.6511 | 1256086.7158 | 2735389.5359 | 1256090.2294 | 2735398.9304 | 1256109.3062 | 2735402.7538 | 1256114.6653 | 2735405.8929 | 1256117.6176 | 2735410.715 | 1256119.8855 | 2735413.5145 | 1256118.8819 | 2735416.4103 | 1256117.9584 | 2735433.7755 | 1256116.7878 | 2735443.3371 | 1256115.7055 | 2735469.4647 | 1256113.1008 | 2735488.1569 | 1256110.3259
10 | 2735383.3514 | 1255979.6749 | 2735379.9172 | 1255986.9809 | 2735383.253 | 1256016.2842 | 2735384.3641 | 1256060.05 | 2735383.1155 | 1256069.4412 | 2735379.4368 | 1256075.5627 | 2735374.4702 | 1256079.2748
11 | 2735374.4702 | 1256079.2748 | 2735345.5422 | 1256078.9798
12 | 2735625.5052 | 1256070.5447 | 2735614.1889 | 1256076.4131 | 2735602.8379 | 1256079.8452 | 2735590.0244 | 1256084.2114 | 2735561.7611 | 1256087.4895 | 2735534.8968 | 1256090.9555 | 2735524.6471 | 1256096.3815 | 2735510.5245 | 1256106.8457 | 2735488.1569 | 1256110.3259
13 | 2735488.1569 | 1256110.3259 | 2735481.0595 | 1256094.1278
14 | 2735383.3514 | 1255979.6749 | 2735368.7998 | 1255913.5925
15 | 2735383.3514 | 1255979.6749 | 2735399.4428 | 1255976.4844 | 2735403.7297 | 1255975.7706 | 2735438.9556 | 1255970.6048 | 2735446.086 | 1255969.2778 | 2735469.3495 | 1255963.2711 | 2735473.0089 | 1255962.8927
16 | 2735327.2894 | 1256078.7936 | 2735345.5422 | 1256078.9798
17 | 2735625.5052 | 1256070.5447 | 2735628.1091 | 1256069.192 | 2735638.6655 | 1256060.9261 | 2735645.0767 | 1256053.1213 | 2735648.434 | 1256048.5273 | 2735657.1809 | 1256038.563 | 2735667.5801 | 1256033.2074 | 2735689.9678 | 1256030.5179 | 2735718.4435 | 1256031.4825 | 2735747.6121 | 1256021.6532 | 2735764.9958 | 1256009.1609
18 | 2735625.5052 | 1256070.5447 | 2735630.0066 | 1256060.4718 | 2735635.8359 | 1256051.7195 | 2735639.8582 | 1256041.8136 | 2735638.8939 | 1256030.8925 | 2735636.1995 | 1256021.7112 | 2735632.6994 | 1256015.0916 | 2735628.5859 | 1256008.9028 | 2735623.8271 | 1256001.5648 | 2735622.2045 | 1255994.3432 | 2735624.8999 | 1255988.0102 | 2735628.8724 | 1255982.2514 | 2735639.401 | 1255971.9164 | 2735644.6401 | 1255966.1515
19 | 2735474.4187 | 1256078.9716 | 2735481.0595 | 1256094.1278
20 | 2735368.7998 | 1255913.5925 | 2735362.9455 | 1255888.8247
21 | 2735368.7998 | 1255913.5925 | 2735357.1782 | 1255916.3182 | 2735351.3403 | 1255917.9754
22 | 2735487.0472 | 1255961.441 | 2735473.0089 | 1255962.8927
23 | 2735327.2894 | 1256078.7936 | 2735323.9943 | 1256078.76
24 | 2735658.9122 | 1255950.4469 | 2735644.6401 | 1255966.1515
25 | 2735340.0296 | 1255921.1863 | 2735351.3403 | 1255917.9754
26 | 2735340.0296 | 1255921.1863 | 2735331.943 | 1255923.4146 | 2735327.0353 | 1255924.4232
27 | 2735340.0296 | 1255921.1863 | 2735345.2188 | 1255938.9651
28 | 2735345.2188 | 1255938.9651 | 2735345.9959 | 1255941.6277
29 | 2735352.688 | 1255964.5559 | 2735345.9959 | 1255941.6277
30 | 2735658.9122 | 1255950.4469 | 2735688.1122 | 1255918.3162 | 2735689.3596 | 1255916.9024
31 | 2735753.8958 | 1255805.5581 | 2735756.6452 | 1255802.4848
32 | 2735753.8958 | 1255805.5581 | 2735736.0489 | 1255825.507 | 2735734.2892 | 1255828.5361
33 | 2735756.6452 | 1255802.4848 | 2735769.2552 | 1255788.3896 | 2735772.0858 | 1255785.385 | 2735775.082 | 1255783.3852 | 2735778.1964 | 1255781.8219
34 | 2735732.9784 | 1255836.3355 | 2735733.5064 | 1255832.3995 | 2735734.2892 | 1255828.5361 | 2735734.2892 | 1255828.5361
35 | 2735803.0946 | 1255773.3517 | 2735800.705 | 1255774.5646 | 2735795.2802 | 1255776.5198 | 2735778.1964 | 1255781.8219
36 | 2735738.2458 | 1255855.0513 | 2735735.843 | 1255848.29 | 2735734.6123 | 1255844.3804 | 2735733.2231 | 1255839.1548 | 2735732.9784 | 1255836.3355 | 2735732.9784 | 1255836.3355
37 | 2735803.0946 | 1255773.3517 | 2735805.2477 | 1255771.9219 | 2735806.6157 | 1255770.6192
38 | 2735738.2458 | 1255855.0513 | 2735736.1014 | 1255858.4052 | 2735722.7167 | 1255879.0953 | 2735710.4293 | 1255893.0219
39 | 2735738.2458 | 1255855.0513 | 2735746.1903 | 1255846.203 | 2735752.5171 | 1255843.0785 | 2735758.605 | 1255844.1191 | 2735765.6554 | 1255850.2308 | 2735765.6554 | 1255850.2308
40 | 2735806.6157 | 1255770.6192 | 2735809.4673 | 1255767.9039 | 2735824.8699 | 1255749.7255
41 | 2735710.4293 | 1255893.0219 | 2735693.6886 | 1255911.9959
42 | 2735777.8119 | 1255841.9899 | 2735770.5613 | 1255849.8429 | 2735765.6554 | 1255850.2308
43 | 2735828.2591 | 1255745.7256 | 2735824.8699 | 1255749.7255
44 | 2735693.6886 | 1255911.9959 | 2735689.3596 | 1255916.9024
45 | 2735855.8598 | 1255710.9266 | 2735859.8106 | 1255712.3741 | 2735862.3724 | 1255713.8454 | 2735866.0294 | 1255716.5874 | 2735871.4667 | 1255721.8311
46 | 2735883.8423 | 1255732.7777 | 2735880.0142 | 1255729.9317 | 2735875.2791 | 1255725.5078 | 2735871.4667 | 1255721.8311
47 | 2735855.8598 | 1255710.9266 | 2735862.5572 | 1255703.1731 | 2735869.8605 | 1255696.6346 | 2735881.9963 | 1255686.877
48 | 2735855.8598 | 1255710.9266 | 2735843.3112 | 1255726.7501
49 | 2735883.8423 | 1255732.7777 | 2735880.5135 | 1255735.4593 | 2735876.4619 | 1255737.9344
50 | 2735834.1215 | 1255738.3363 | 2735837.4359 | 1255734.1587 | 2735843.3112 | 1255726.7501
51 | 2735828.2591 | 1255745.7256 | 2735834.1215 | 1255738.3363
52 | 2735828.2591 | 1255745.7256 | 2735831.908 | 1255748.4896 | 2735833.4018 | 1255749.1578 | 2735834.7747 | 1255749.5007 | 2735837.7913 | 1255749.57 | 2735841.5072 | 1255749.0881 | 2735845.8753 | 1255748.1045

## bus_geodata
| x | y | coords
0 | 2735323.9988 | 1255718.7187
1 | 2735324.1192 | 1255735.591
2 | 2735324.1718 | 1255742.9597
3 | 2735324.4803 | 1255755.4283
4 | 2735347.3992 | 1255743.5132
5 | 2735345.9663 | 1255810.7647
6 | 2735348.3488 | 1255822.349
7 | 2735355.1265 | 1256108.5853
8 | 2735383.9114 | 1256084.1174
9 | 2735374.4702 | 1256079.2748
10 | 2735488.1569 | 1256110.3259
11 | 2735383.3514 | 1255979.6749
12 | 2735345.5422 | 1256078.9798
13 | 2735625.5052 | 1256070.5447
14 | 2735481.0595 | 1256094.1278
15 | 2735368.7998 | 1255913.5925
16 | 2735473.0089 | 1255962.8927
17 | 2735327.2894 | 1256078.7936
18 | 2735764.9958 | 1256009.1609
19 | 2735644.6401 | 1255966.1515
20 | 2735474.4187 | 1256078.9716
21 | 2735362.9455 | 1255888.8247
22 | 2735351.3403 | 1255917.9754
23 | 2735487.0472 | 1255961.441
24 | 2735323.9943 | 1256078.76
25 | 2735340.0296 | 1255921.1863
26 | 2735327.0353 | 1255924.4232
27 | 2735345.2188 | 1255938.9651
28 | 2735345.9959 | 1255941.6277
29 | 2735352.688 | 1255964.5559
30 | 2735658.9122 | 1255950.4469
31 | 2735753.8958 | 1255805.5581
32 | 2735756.6452 | 1255802.4848
33 | 2735734.2892 | 1255828.5361
34 | 2735778.1964 | 1255781.8219
35 | 2735732.9784 | 1255836.3355
36 | 2735803.0946 | 1255773.3517
37 | 2735738.2458 | 1255855.0513
38 | 2735806.6157 | 1255770.6192
39 | 2735710.4293 | 1255893.0219
40 | 2735765.6554 | 1255850.2308
41 | 2735777.8119 | 1255841.9899
42 | 2735824.8699 | 1255749.7255
43 | 2735693.6886 | 1255911.9959
44 | 2735871.4667 | 1255721.8311
45 | 2735855.8598 | 1255710.9266
46 | 2735883.8423 | 1255732.7777
47 | 2735881.9963 | 1255686.877
48 | 2735843.3112 | 1255726.7501
49 | 2735876.4619 | 1255737.9344
50 | 2735834.1215 | 1255738.3363
51 | 2735828.2591 | 1255745.7256
52 | 2735845.8753 | 1255748.1045
53 | 2735689.3596 | 1255916.9024
54 | 2735738.2458 | 1255855.0513

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1