## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-42_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-42_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-42_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3443-42_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3443-42_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3443-42_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3443-42_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_3443-42_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_3443-42_0_6_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_3443-42_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_3443-42_0_6_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_3443-42_0_6_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_3443-42_0_6_node_89 | 0.4 | n |  | TRUE
13 | bus_LV_3443-42_0_6_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_3443-42_0_6_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_3443-42_0_6_node_88 | 0.4 | n |  | TRUE
16 | bus_LV_3443-42_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3443-42_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_3443-42_0_6_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_3443-42_0_6_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_3443-42_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_3443-42_0_6_node_18 | 0.4 | n |  | TRUE
22 | bus_LV_3443-42_0_6_node_36 | 0.4 | n |  | TRUE
23 | bus_LV_3443-42_0_6_node_70 | 0.4 | n |  | TRUE
24 | bus_LV_3443-42_0_6_node_71 | 0.4 | n |  | TRUE
25 | bus_LV_3443-42_0_6_node_41 | 0.4 | n |  | TRUE
26 | bus_LV_3443-42_0_6_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_3443-42_0_6_node_68 | 0.4 | n |  | TRUE
28 | bus_LV_3443-42_0_6_node_72 | 0.4 | n |  | TRUE
29 | bus_LV_3443-42_0_6_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_3443-42_0_6_node_87 | 0.4 | n |  | TRUE
31 | bus_LV_3443-42_0_6_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_3443-42_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_3443-42_0_6_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_3443-42_0_6_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_3443-42_0_6_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_3443-42_0_6_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_3443-42_0_6_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_3443-42_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_3443-42_0_6_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_3443-42_0_6_node_90 | 0.4 | n |  | TRUE
41 | bus_LV_3443-42_0_6_node_91 | 0.4 | n |  | TRUE
42 | bus_LV_3443-42_0_6_node_83 | 0.4 | n |  | TRUE
43 | bus_LV_3443-42_0_6_node_81 | 0.4 | n |  | TRUE
44 | bus_LV_3443-42_0_6_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_3443-42_0_6_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_3443-42_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_3443-42_0_6_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_3443-42_0_6_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_3443-42_0_6_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_3443-42_0_6_node_38 | 0.4 | n |  | TRUE
51 | bus_LV_3443-42_0_6_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_3443-42_0_6_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_3443-42_0_6_node_67 | 0.4 | n |  | TRUE
54 | bus_LV_3443-42_0_6_node_69 | 0.4 | n |  | TRUE
55 | bus_LV_3443-42_0_6_node_65 | 0.4 | n |  | TRUE
56 | bus_LV_3443-42_0_6_node_42 | 0.4 | n |  | TRUE
57 | bus_LV_3443-42_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_3443-42_0_6_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_3443-42_0_6_node_48 | 0.4 | n |  | TRUE
60 | bus_LV_3443-42_0_6_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_3443-42_0_6_node_50 | 0.4 | n |  | TRUE
62 | bus_LV_3443-42_0_6_node_51 | 0.4 | n |  | TRUE
63 | bus_LV_3443-42_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_3443-42_0_6_node_61 | 0.4 | n |  | TRUE
65 | bus_LV_3443-42_0_6_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_3443-42_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_3443-42_0_6_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_3443-42_0_6_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_3443-42_0_6_node_66 | 0.4 | n |  | TRUE
70 | bus_LV_3443-42_0_6_node_53 | 0.4 | n |  | TRUE
71 | bus_LV_3443-42_0_6_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_3443-42_0_6_node_57 | 0.4 | n |  | TRUE
73 | bus_LV_3443-42_0_6_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_3443-42_0_6_node_59 | 0.4 | n |  | TRUE
75 | bus_LV_3443-42_0_6_node_85 | 0.4 | n |  | TRUE
76 | bus_LV_3443-42_0_6_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_3443-42_0_6_node_74 | 0.4 | n |  | TRUE
78 | bus_LV_3443-42_0_6_node_75 | 0.4 | n |  | TRUE
79 | bus_LV_3443-42_0_6_node_76 | 0.4 | n |  | TRUE
80 | bus_LV_3443-42_0_6_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_3443-42_0_6_node_78 | 0.4 | n |  | TRUE
82 | bus_LV_3443-42_0_6_node_79 | 0.4 | n |  | TRUE
83 | bus_LV_3443-42_0_6_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_3443-42_0_6_node_82 | 0.4 | n |  | TRUE
85 | bus_LV_3443-42_0_6_node_84 | 0.4 | n |  | TRUE
86 | bus_MV_411_0_node_39 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-42_0_6_load_0 | 0 | 0.0072731 | 0.0018228 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-42_0_6_load_1 | 1 | 0.002902 | 0.00072731 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-42_0_6_load_5 | 5 | 0.011632 | 0.0029152 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-42_0_6_load_6 | 6 | 0.0058666 | 0.0014703 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-42_0_6_load_7 | 7 | 0.0025011 | 0.00062684 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-42_0_6_load_8 | 8 | 0.0067495 | 0.0016916 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-42_0_6_load_9 | 9 | 0.012529 | 0.00314 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-42_0_6_load_15 | 10 | 0.0018738 | 0.00046962 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-42_0_6_load_10 | 11 | 0.001832 | 0.00045914 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-42_0_6_load_89 | 12 | 0.013617 | 0.0034126 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-42_0_6_load_40 | 13 | 0.027859 | 0.0069822 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-42_0_6_load_88 | 15 | 0.016408 | 0.0041123 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-42_0_6_load_13 | 17 | 0.0042441 | 0.0010637 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-42_0_6_load_14 | 18 | 0.0030132 | 0.00075518 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-42_0_6_load_16 | 19 | 0.0046398 | 0.0011628 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-42_0_6_load_17 | 20 | 0.0039397 | 0.00098738 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-42_0_6_load_18 | 21 | 0.0028294 | 0.00070911 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-42_0_6_load_36 | 22 | 0.0013338 | 0.00033427 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-42_0_6_load_70 | 23 | 0.00164 | 0.00041103 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-42_0_6_load_71 | 24 | 0.0027226 | 0.00068234 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-42_0_6_load_41 | 25 | 0.0018588 | 0.00046585 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-42_0_6_load_68 | 27 | 0.0042131 | 0.0010559 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-42_0_6_load_72 | 28 | 0.003608 | 0.00090424 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-42_0_6_load_21 | 29 | 0.0087218 | 0.0021859 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-42_0_6_load_87 | 30 | 0.0042856 | 0.0010741 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-42_0_6_load_22 | 31 | 0.0016807 | 0.00042122 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-42_0_6_load_23 | 32 | 0.0021662 | 0.00054291 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-42_0_6_load_24 | 33 | 0.0015287 | 0.00038313 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-42_0_6_load_26 | 34 | 0.0013958 | 0.00034982 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-42_0_6_load_27 | 35 | 0.0014342 | 0.00035945 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-42_0_6_load_30 | 36 | 0.0024062 | 0.00060305 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-42_0_6_load_31 | 37 | 0.0018255 | 0.00045751 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-42_0_6_load_28 | 38 | 0.0029028 | 0.0007275 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-42_0_6_load_29 | 39 | 0.003066 | 0.00076841 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-42_0_6_load_90 | 40 | 0.0019933 | 0.00049957 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-42_0_6_load_91 | 41 | 0.0029821 | 0.00074739 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-42_0_6_load_81 | 43 | 0.0036069 | 0.00090398 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-42_0_6_load_32 | 44 | 0.018433 | 0.0046196 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-42_0_6_load_33 | 45 | 0.0015778 | 0.00039544 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-42_0_6_load_37 | 47 | 0.00038064 | 9.5399e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-42_0_6_load_44 | 48 | 0.078069 | 0.019566 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-42_0_6_load_45 | 49 | 0.0003523 | 8.8294e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-42_0_6_load_38 | 50 | 0.03302 | 0.0082755 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-42_0_6_load_39 | 51 | 0.02554 | 0.0064009 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-42_0_6_load_64 | 52 | 0.034596 | 0.0086707 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-42_0_6_load_67 | 53 | 0.014438 | 0.0036184 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-42_0_6_load_69 | 54 | 0.013571 | 0.0034013 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-42_0_6_load_65 | 55 | 0.010469 | 0.0026238 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-42_0_6_load_42 | 56 | 0.001852 | 0.00046416 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-42_0_6_load_46 | 57 | 0.020867 | 0.0052298 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-42_0_6_load_49 | 60 | 0.00064426 | 0.00016147 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-42_0_6_load_50 | 61 | 0.010617 | 0.0026608 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-42_0_6_load_61 | 64 | 0.0015827 | 0.00039667 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-42_0_6_load_56 | 65 | 0.0035752 | 0.00089604 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-42_0_6_load_52 | 66 | 0.013139 | 0.003293 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-42_0_6_load_63 | 67 | 0.0010577 | 0.00026509 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-42_0_6_load_53 | 70 | 0.011043 | 0.0027676 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-42_0_6_load_55 | 71 | 0.0012001 | 0.00030079 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-42_0_6_load_57 | 72 | 0.0013454 | 0.00033719 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3443-42_0_6_load_58 | 73 | 0.0018408 | 0.00046136 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3443-42_0_6_load_59 | 74 | 0.011012 | 0.0027598 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3443-42_0_6_load_85 | 75 | 0.0020929 | 0.00052454 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3443-42_0_6_load_73 | 76 | 0.0015658 | 0.00039243 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3443-42_0_6_load_74 | 77 | 0.0026357 | 0.00066057 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3443-42_0_6_load_75 | 78 | 0.0036069 | 0.00090398 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3443-42_0_6_load_76 | 79 | 0.0027562 | 0.00069077 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3443-42_0_6_load_77 | 80 | 0.0036095 | 0.00090462 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3443-42_0_6_load_78 | 81 | 0.0035976 | 0.00090163 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3443-42_0_6_load_80 | 83 | 0.0027069 | 0.00067842 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3443-42_0_6_load_82 | 84 | 0.0041784 | 0.0010472 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3443-42_0_6_load_84 | 85 | 0.0032556 | 0.00081593 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-42_0_6_line_0 |  | 0 | 1 | 0.013849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-42_0_6_line_1 |  | 0 | 2 | 0.072398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-42_0_6_line_2 |  | 1 | 3 | 0.013153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-42_0_6_line_3 |  | 2 | 4 | 0.00778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-42_0_6_line_4 |  | 2 | 5 | 0.02874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-42_0_6_line_5 |  | 3 | 6 | 0.013249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-42_0_6_line_6 |  | 3 | 7 | 0.029088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-42_0_6_line_7 |  | 4 | 8 | 0.035927 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-42_0_6_line_8 |  | 5 | 9 | 0.012602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-42_0_6_line_9 |  | 6 | 10 | 0.026255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-42_0_6_line_10 |  | 7 | 11 | 0.017103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-42_0_6_line_11 |  | 8 | 12 | 0.023007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-42_0_6_line_12 |  | 10 | 13 | 0.0049984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3443-42_0_6_line_13 |  | 11 | 14 | 0.011674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-42_0_6_line_14 |  | 12 | 15 | 0.040701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-42_0_6_line_15 |  | 13 | 25 | 0.010092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-42_0_6_line_16 |  | 14 | 16 | 0.018136 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_3443-42_0_6_line_17 |  | 14 | 17 | 0.045623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3443-42_0_6_line_18 |  | 14 | 18 | 0.026622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3443-42_0_6_line_19 |  | 15 | 30 | 0.014779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-42_0_6_line_20 |  | 16 | 19 | 0.018869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_3443-42_0_6_line_21 |  | 16 | 20 | 0.015294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-42_0_6_line_22 |  | 18 | 21 | 0.0081332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3443-42_0_6_line_23 |  | 19 | 22 | 0.011162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_3443-42_0_6_line_24 |  | 20 | 23 | 0.01665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-42_0_6_line_25 |  | 21 | 24 | 0.014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-42_0_6_line_26 |  | 22 | 26 | 0.009329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_3443-42_0_6_line_27 |  | 23 | 27 | 0.0052595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-42_0_6_line_28 |  | 24 | 28 | 0.0038114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-42_0_6_line_29 |  | 25 | 56 | 0.015212 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-42_0_6_line_30 |  | 26 | 44 | 0.036902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_3443-42_0_6_line_31 |  | 27 | 53 | 0.041275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3443-42_0_6_line_32 |  | 28 | 76 | 0.0040786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3443-42_0_6_line_33 |  | 29 | 30 | 0.0027433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3443-42_0_6_line_34 |  | 31 | 32 | 0.00092129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3443-42_0_6_line_35 |  | 31 | 33 | 0.025265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3443-42_0_6_line_36 |  | 33 | 34 | 0.029766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-42_0_6_line_37 |  | 34 | 35 | 0.0047636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-42_0_6_line_38 |  | 35 | 36 | 0.015206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3443-42_0_6_line_39 |  | 36 | 37 | 0.022937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3443-42_0_6_line_40 |  | 37 | 42 | 0.029918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-42_0_6_line_41 |  | 38 | 39 | 0.0020005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3443-42_0_6_line_42 |  | 39 | 40 | 0.024307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-42_0_6_line_43 |  | 40 | 41 | 0.004265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3443-42_0_6_line_44 |  | 41 | 42 | 0.016498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3443-42_0_6_line_45 |  | 42 | 43 | 0.020566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3443-42_0_6_line_46 |  | 43 | 82 | 0.012416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-42_0_6_line_47 |  | 44 | 45 | 0.024776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_3443-42_0_6_line_48 |  | 45 | 46 | 0.0041199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_3443-42_0_6_line_49 |  | 46 | 47 | 0.014518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_3443-42_0_6_line_50 |  | 47 | 48 | 0.013998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_3443-42_0_6_line_51 |  | 48 | 49 | 0.0024439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_3443-42_0_6_line_52 |  | 49 | 57 | 0.0010757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_3443-42_0_6_line_53 |  | 50 | 51 | 0.0079474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3443-42_0_6_line_54 |  | 51 | 52 | 0.031596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3443-42_0_6_line_55 |  | 52 | 55 | 0.045993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3443-42_0_6_line_56 |  | 53 | 54 | 0.034365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3443-42_0_6_line_57 |  | 55 | 69 | 0.048986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3443-42_0_6_line_58 |  | 57 | 58 | 0.017739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_3443-42_0_6_line_59 |  | 58 | 59 | 0.034519 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-42_0_6_line_60 |  | 58 | 60 | 0.016205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3443-42_0_6_line_61 |  | 59 | 61 | 0.017223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-42_0_6_line_62 |  | 60 | 62 | 0.0042337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_3443-42_0_6_line_63 |  | 61 | 63 | 0.025043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3443-42_0_6_line_64 |  | 62 | 64 | 0.033116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_3443-42_0_6_line_65 |  | 63 | 65 | 0.047201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-42_0_6_line_66 |  | 63 | 66 | 0.032151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-42_0_6_line_67 |  | 64 | 67 | 0.014342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-42_0_6_line_68 |  | 65 | 73 | 0.023095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-42_0_6_line_69 |  | 66 | 70 | 0.019092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3443-42_0_6_line_70 |  | 67 | 68 | 0.00093052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3443-42_0_6_line_71 |  | 68 | 69 | 0.048352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3443-42_0_6_line_72 |  | 70 | 71 | 0.013394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3443-42_0_6_line_73 |  | 71 | 72 | 0.0096398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3443-42_0_6_line_74 |  | 72 | 74 | 0.00059707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3443-42_0_6_line_75 |  | 73 | 75 | 0.0086358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-42_0_6_line_76 |  | 76 | 77 | 0.0078846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3443-42_0_6_line_77 |  | 77 | 78 | 0.0060507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-42_0_6_line_78 |  | 78 | 79 | 0.0088655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-42_0_6_line_79 |  | 79 | 80 | 0.010015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3443-42_0_6_line_80 |  | 80 | 81 | 0.0073818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3443-42_0_6_line_81 |  | 81 | 82 | 0.017806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3443-42_0_6_line_82 |  | 82 | 83 | 0.001837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3443-42_0_6_line_83 |  | 83 | 84 | 0.026088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3443-42_0_6_line_84 |  | 84 | 85 | 0.002775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-42_0_6_trafo_36 | 0.63 MVA 20/0.4 kV | 86 | 22 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2736199.9014 | 1253278.4794 | 2736195.6244 | 1253265.3077
1 | 2736196.1208 | 1253349.9357 | 2736197.0119 | 1253333.519 | 2736199.6177 | 1253325.9052 | 2736202.7892 | 1253302.5678 | 2736202.4521 | 1253290.6492 | 2736199.9014 | 1253278.4794
2 | 2736191.5623 | 1253252.7974 | 2736195.6244 | 1253265.3077
3 | 2736196.1208 | 1253349.9357 | 2736200.9701 | 1253356.0306
4 | 2736196.1208 | 1253349.9357 | 2736188.4835 | 1253340.3403 | 2736184.8913 | 1253332.4282 | 2736185.3009 | 1253324.6522
5 | 2736191.5623 | 1253252.7974 | 2736204.5772 | 1253250.3177
6 | 2736191.5623 | 1253252.7974 | 2736175.1319 | 1253255.9448 | 2736162.9935 | 1253258.2667
7 | 2736200.9701 | 1253356.0306 | 2736195.3428 | 1253360.1272 | 2736193.1281 | 1253360.2542 | 2736185.802 | 1253357.8057 | 2736178.3203 | 1253375.2965
8 | 2736185.9637 | 1253312.0675 | 2736185.3009 | 1253324.6522
9 | 2736204.5772 | 1253250.3177 | 2736207.8634 | 1253249.6916 | 2736221.1089 | 1253246.8491 | 2736230.2944 | 1253245.0362
10 | 2736162.9935 | 1253258.2667 | 2736158.0571 | 1253259.2109 | 2736146.2008 | 1253261.5113
11 | 2736178.3203 | 1253375.2965 | 2736175.3911 | 1253382.1443 | 2736166.0549 | 1253386.3558 | 2736160.9402 | 1253384.9035 | 2736160.9402 | 1253384.9035
12 | 2736235.1981 | 1253244.0684 | 2736230.2944 | 1253245.0362
13 | 2736134.7409 | 1253263.7348 | 2736146.2008 | 1253261.5113
14 | 2736160.9402 | 1253384.9035 | 2736158.7474 | 1253390.3137 | 2736156.9408 | 1253391.4065 | 2736153.0653 | 1253392.5295 | 2736145.9614 | 1253394.8573 | 2736139.8595 | 1253399.8995 | 2736130.4538 | 1253406.1446 | 2736129.2116 | 1253407.7571
15 | 2736235.1981 | 1253244.0684 | 2736245.0994 | 1253242.1142
16 | 2736142.5604 | 1253247.3661 | 2736141.1813 | 1253250.5485 | 2736134.7409 | 1253263.7348
17 | 2736134.7409 | 1253263.7348 | 2736117.4675 | 1253305.9611
18 | 2736134.7409 | 1253263.7348 | 2736108.5991 | 1253268.7676
19 | 2736122.1611 | 1253420.6254 | 2736125.8321 | 1253412.1439 | 2736129.2116 | 1253407.7571
20 | 2736142.5604 | 1253247.3661 | 2736149.3848 | 1253229.7747
21 | 2736142.5604 | 1253247.3661 | 2736134.5805 | 1253243.4681 | 2736128.1745 | 1253243.1759
22 | 2736100.6126 | 1253270.3051 | 2736108.5991 | 1253268.7676
23 | 2736149.3848 | 1253229.7747 | 2736153.4218 | 1253219.3683
24 | 2736128.1745 | 1253243.1759 | 2736116.3771 | 1253242.6379 | 2736111.5386 | 1253242.7589
25 | 2736100.6126 | 1253270.3051 | 2736086.6267 | 1253272.9977
26 | 2736156.7959 | 1253210.6708 | 2736153.4218 | 1253219.3683
27 | 2736106.2807 | 1253242.8903 | 2736111.5386 | 1253242.7589
28 | 2736086.6267 | 1253272.9977 | 2736082.884 | 1253273.7183
29 | 2736245.0994 | 1253242.1142 | 2736260.0239 | 1253239.1686
30 | 2736156.7959 | 1253210.6708 | 2736169.9724 | 1253176.2011
31 | 2736065.0871 | 1253245.0871 | 2736082.547 | 1253243.4837 | 2736106.2807 | 1253242.8903
32 | 2736078.879 | 1253274.4893 | 2736082.884 | 1253273.7183
33 | 2736122.1611 | 1253420.6254 | 2736121.0715 | 1253423.143
34 | 2736038.4436 | 1253406.864 | 2736038.7114 | 1253405.9824
35 | 2736038.7114 | 1253405.9824 | 2736040.8122 | 1253399.0677 | 2736049.1606 | 1253383.0774
36 | 2736064.232 | 1253357.4497 | 2736055.7755 | 1253370.4073 | 2736049.1606 | 1253383.0774
37 | 2736064.232 | 1253357.4497 | 2736066.8355 | 1253353.4605
38 | 2736066.8355 | 1253353.4605 | 2736069.5694 | 1253349.2715 | 2736072.6413 | 1253339.5413
39 | 2736063.4401 | 1253319.7147 | 2736063.4401 | 1253319.7147 | 2736069.5038 | 1253325.8596 | 2736073.1598 | 1253337.8991 | 2736072.6413 | 1253339.5413
40 | 2736034.2663 | 1253313.0831 | 2736063.4401 | 1253319.7147
41 | 2736022.5975 | 1253356.222 | 2736021.8443 | 1253358.0753
42 | 2736022.5975 | 1253356.222 | 2736023.4574 | 1253354.1058 | 2736026.5486 | 1253346.7144 | 2736030.0744 | 1253339.1329 | 2736031.0266 | 1253333.5637
43 | 2736031.0266 | 1253333.5637 | 2736031.7454 | 1253329.3597
44 | 2736034.2663 | 1253313.0831 | 2736033.7286 | 1253319.3987 | 2736032.5424 | 1253324.6986 | 2736031.7454 | 1253329.3597
45 | 2736034.2663 | 1253313.0831 | 2736029.0624 | 1253311.8958 | 2736025.1865 | 1253308.7595 | 2736023.7887 | 1253298.6124
46 | 2736022.0942 | 1253286.3124 | 2736023.7887 | 1253298.6124
47 | 2736169.9724 | 1253176.2011 | 2736178.819 | 1253153.0583
48 | 2736180.2901 | 1253149.21 | 2736178.819 | 1253153.0583
49 | 2736180.2901 | 1253149.21 | 2736186.5256 | 1253136.0993
50 | 2736192.5379 | 1253123.458 | 2736186.5256 | 1253136.0993
51 | 2736192.5379 | 1253123.458 | 2736193.5876 | 1253121.251
52 | 2736194.0496 | 1253120.2796 | 2736193.5876 | 1253121.251
53 | 2736067.1441 | 1253172.3982 | 2736067.0998 | 1253172.3415 | 2736064.5656 | 1253164.8849
54 | 2736062.5152 | 1253133.717 | 2736061.2872 | 1253139.1776 | 2736063.4161 | 1253161.5025 | 2736064.5656 | 1253164.8849
55 | 2736062.5152 | 1253133.717 | 2736066.0296 | 1253118.0894 | 2736073.8129 | 1253106.2462 | 2736082.1899 | 1253092.8453
56 | 2736030.8209 | 1253247.5328 | 2736046.2276 | 1253246.886 | 2736063.2723 | 1253245.2537 | 2736065.0871 | 1253245.0871
57 | 2736108.1554 | 1253051.3071 | 2736082.1899 | 1253092.8453
58 | 2736201.6685 | 1253104.2603 | 2736194.0496 | 1253120.2796
59 | 2736201.6685 | 1253104.2603 | 2736206.0993 | 1253093.4523 | 2736221.1257 | 1253076.2153
60 | 2736201.6685 | 1253104.2603 | 2736186.6607 | 1253098.1483
61 | 2736221.1257 | 1253076.2153 | 2736234.4845 | 1253087.0867
62 | 2736182.7397 | 1253096.5514 | 2736186.6607 | 1253098.1483
63 | 2736253.908 | 1253102.8936 | 2736234.4845 | 1253087.0867
64 | 2736182.7397 | 1253096.5514 | 2736173.2 | 1253092.1948 | 2736164.3492 | 1253098.2525 | 2736158.2739 | 1253098.5131 | 2736154.0649 | 1253096.4033 | 2736153.1385 | 1253095.7848
65 | 2736253.908 | 1253102.8936 | 2736262.7891 | 1253092.2437 | 2736271.5086 | 1253085.0043 | 2736291.2265 | 1253075.2446
66 | 2736253.908 | 1253102.8936 | 2736278.519 | 1253123.5814
67 | 2736141.2109 | 1253087.8207 | 2736153.1385 | 1253095.7848
68 | 2736291.2265 | 1253075.2446 | 2736300.4718 | 1253070.6685 | 2736312.0481 | 1253065.2568
69 | 2736278.519 | 1253123.5814 | 2736279.0054 | 1253123.9902 | 2736293.2823 | 1253135.688
70 | 2736140.4371 | 1253087.304 | 2736141.2109 | 1253087.8207
71 | 2736140.4371 | 1253087.304 | 2736108.1554 | 1253051.3071
72 | 2736293.2823 | 1253135.688 | 2736303.643 | 1253144.1771
73 | 2736311.1104 | 1253150.2729 | 2736310.6939 | 1253149.9542 | 2736303.643 | 1253144.1771
74 | 2736311.1104 | 1253150.2729 | 2736311.5846 | 1253150.6357
75 | 2736312.0481 | 1253065.2568 | 2736319.8712 | 1253061.5996
76 | 2736078.879 | 1253274.4893 | 2736071.1366 | 1253275.9799
77 | 2736071.1366 | 1253275.9799 | 2736067.5017 | 1253276.6797 | 2736065.2038 | 1253277.1671
78 | 2736056.5313 | 1253279.0069 | 2736065.2038 | 1253277.1671
79 | 2736056.5313 | 1253279.0069 | 2736046.734 | 1253281.0853
80 | 2736039.513 | 1253282.6172 | 2736046.734 | 1253281.0853
81 | 2736022.0942 | 1253286.3124 | 2736039.513 | 1253282.6172
82 | 2736022.0942 | 1253286.3124 | 2736020.3024 | 1253286.7176
83 | 2736020.3024 | 1253286.7176 | 2735994.8572 | 1253292.4719
84 | 2735994.8572 | 1253292.4719 | 2735992.1506 | 1253293.0839

## bus_geodata
| x | y | coords
0 | 2736199.9014 | 1253278.4794
1 | 2736195.6244 | 1253265.3076
2 | 2736196.1208 | 1253349.9358
3 | 2736191.5623 | 1253252.7974
4 | 2736200.9701 | 1253356.0306
5 | 2736185.3009 | 1253324.6522
6 | 2736204.5772 | 1253250.3177
7 | 2736162.9935 | 1253258.2667
8 | 2736178.3203 | 1253375.2965
9 | 2736185.9637 | 1253312.0675
10 | 2736230.2944 | 1253245.0362
11 | 2736146.2008 | 1253261.5113
12 | 2736160.9402 | 1253384.9035
13 | 2736235.1981 | 1253244.0684
14 | 2736134.7409 | 1253263.7348
15 | 2736129.2116 | 1253407.7571
16 | 2736142.5604 | 1253247.3661
17 | 2736117.4675 | 1253305.9611
18 | 2736108.5991 | 1253268.7676
19 | 2736149.3848 | 1253229.7747
20 | 2736128.1745 | 1253243.1759
21 | 2736100.6126 | 1253270.3051
22 | 2736153.4218 | 1253219.3683
23 | 2736111.5386 | 1253242.7589
24 | 2736086.6267 | 1253272.9977
25 | 2736245.0994 | 1253242.1142
26 | 2736156.7959 | 1253210.6708
27 | 2736106.2807 | 1253242.8903
28 | 2736082.884 | 1253273.7183
29 | 2736121.0715 | 1253423.143
30 | 2736122.1611 | 1253420.6255
31 | 2736038.7114 | 1253405.9824
32 | 2736038.4436 | 1253406.864
33 | 2736049.1606 | 1253383.0774
34 | 2736064.232 | 1253357.4497
35 | 2736066.8355 | 1253353.4605
36 | 2736072.6413 | 1253339.5413
37 | 2736063.4401 | 1253319.7147
38 | 2736021.8443 | 1253358.0753
39 | 2736022.5975 | 1253356.222
40 | 2736031.0266 | 1253333.5637
41 | 2736031.7454 | 1253329.3597
42 | 2736034.2663 | 1253313.0831
43 | 2736023.7887 | 1253298.6124
44 | 2736169.9724 | 1253176.2011
45 | 2736178.819 | 1253153.0583
46 | 2736180.2901 | 1253149.21
47 | 2736186.5256 | 1253136.0993
48 | 2736192.5379 | 1253123.458
49 | 2736193.5876 | 1253121.251
50 | 2736067.1441 | 1253172.3982
51 | 2736064.5656 | 1253164.8849
52 | 2736062.5152 | 1253133.717
53 | 2736065.0871 | 1253245.0871
54 | 2736030.8209 | 1253247.5328
55 | 2736082.1899 | 1253092.8453
56 | 2736260.0239 | 1253239.1686
57 | 2736194.0496 | 1253120.2796
58 | 2736201.6685 | 1253104.2603
59 | 2736221.1257 | 1253076.2153
60 | 2736186.6607 | 1253098.1483
61 | 2736234.4845 | 1253087.0867
62 | 2736182.7397 | 1253096.5514
63 | 2736253.908 | 1253102.8936
64 | 2736153.1385 | 1253095.7848
65 | 2736291.2265 | 1253075.2446
66 | 2736278.519 | 1253123.5814
67 | 2736141.2109 | 1253087.8207
68 | 2736140.4371 | 1253087.304
69 | 2736108.1554 | 1253051.3071
70 | 2736293.2823 | 1253135.688
71 | 2736303.643 | 1253144.1771
72 | 2736311.1104 | 1253150.2729
73 | 2736312.0481 | 1253065.2568
74 | 2736311.5846 | 1253150.6357
75 | 2736319.8712 | 1253061.5996
76 | 2736078.879 | 1253274.4893
77 | 2736071.1366 | 1253275.9799
78 | 2736065.2038 | 1253277.1671
79 | 2736056.5313 | 1253279.0069
80 | 2736046.734 | 1253281.0853
81 | 2736039.513 | 1253282.6172
82 | 2736022.0942 | 1253286.3124
83 | 2736020.3024 | 1253286.7176
84 | 2735994.8572 | 1253292.4719
85 | 2735992.1506 | 1253293.0839
86 | 2736156.7959 | 1253210.6708

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1