## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-55_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-55_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-55_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3443-55_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_3443-55_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3443-55_0_5_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_3443-55_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_3443-55_0_5_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_3443-55_0_5_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_3443-55_0_5_node_46 | 0.4 | n |  | TRUE
10 | bus_LV_3443-55_0_5_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_3443-55_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_3443-55_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_3443-55_0_5_node_77 | 0.4 | n |  | TRUE
14 | bus_LV_3443-55_0_5_node_75 | 0.4 | n |  | TRUE
15 | bus_LV_3443-55_0_5_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_3443-55_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_3443-55_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_3443-55_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3443-55_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_3443-55_0_5_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_3443-55_0_5_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_3443-55_0_5_node_17 | 0.4 | n |  | TRUE
23 | bus_LV_3443-55_0_5_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_3443-55_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_3443-55_0_5_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_3443-55_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_3443-55_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_3443-55_0_5_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_3443-55_0_5_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_3443-55_0_5_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_3443-55_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_3443-55_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_3443-55_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_3443-55_0_5_node_25 | 0.4 | n |  | TRUE
35 | bus_LV_3443-55_0_5_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_3443-55_0_5_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_3443-55_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_3443-55_0_5_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_3443-55_0_5_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3443-55_0_5_node_42 | 0.4 | n |  | TRUE
41 | bus_LV_3443-55_0_5_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_3443-55_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_3443-55_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_3443-55_0_5_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_3443-55_0_5_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_3443-55_0_5_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_3443-55_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_3443-55_0_5_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3443-55_0_5_node_50 | 0.4 | n |  | TRUE
50 | bus_LV_3443-55_0_5_node_86 | 0.4 | n |  | TRUE
51 | bus_LV_3443-55_0_5_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_3443-55_0_5_node_44 | 0.4 | n |  | TRUE
53 | bus_LV_3443-55_0_5_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_3443-55_0_5_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_3443-55_0_5_node_43 | 0.4 | n |  | TRUE
56 | bus_LV_3443-55_0_5_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_3443-55_0_5_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_3443-55_0_5_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_3443-55_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_3443-55_0_5_node_52 | 0.4 | n |  | TRUE
61 | bus_LV_3443-55_0_5_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_3443-55_0_5_node_53 | 0.4 | n |  | TRUE
63 | bus_LV_3443-55_0_5_node_62 | 0.4 | n |  | TRUE
64 | bus_LV_3443-55_0_5_node_59 | 0.4 | n |  | TRUE
65 | bus_LV_3443-55_0_5_node_55 | 0.4 | n |  | TRUE
66 | bus_LV_3443-55_0_5_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_3443-55_0_5_node_58 | 0.4 | n |  | TRUE
68 | bus_LV_3443-55_0_5_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_3443-55_0_5_node_57 | 0.4 | n |  | TRUE
70 | bus_LV_3443-55_0_5_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_3443-55_0_5_node_66 | 0.4 | n |  | TRUE
72 | bus_LV_3443-55_0_5_node_64 | 0.4 | n |  | TRUE
73 | bus_LV_3443-55_0_5_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_3443-55_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3443-55_0_5_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_3443-55_0_5_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_3443-55_0_5_node_72 | 0.4 | n |  | TRUE
78 | bus_LV_3443-55_0_5_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_3443-55_0_5_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_3443-55_0_5_node_81 | 0.4 | n |  | TRUE
81 | bus_LV_3443-55_0_5_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_3443-55_0_5_node_85 | 0.4 | n |  | TRUE
83 | bus_MV_411_0_node_46 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-55_0_5_load_0 | 0 | 0.001348 | 0.00033785 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-55_0_5_load_1 | 1 | 0.00139 | 0.00034837 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-55_0_5_load_47 | 5 | 0.0092826 | 0.0023264 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-55_0_5_load_9 | 6 | 0.0045046 | 0.001129 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-55_0_5_load_6 | 7 | 0.00036157 | 9.0618e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-55_0_5_load_7 | 11 | 0.0073189 | 0.0018343 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-55_0_5_load_77 | 13 | 0.0017614 | 0.00044145 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-55_0_5_load_74 | 15 | 0.0091206 | 0.0022859 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-55_0_5_load_12 | 16 | 0.0042528 | 0.0010658 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-55_0_5_load_10 | 17 | 0.00053737 | 0.00013468 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-55_0_5_load_13 | 18 | 0.0042152 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-55_0_5_load_15 | 20 | 0.0061038 | 0.0015298 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-55_0_5_load_16 | 21 | 0.0073292 | 0.0018369 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-55_0_5_load_17 | 22 | 0.001261 | 0.00031605 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-55_0_5_load_18 | 24 | 0.0002753 | 6.8998e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-55_0_5_load_22 | 25 | 0.0094429 | 0.0023666 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-55_0_5_load_20 | 27 | 0.0070918 | 0.0017774 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-55_0_5_load_21 | 28 | 0.0018674 | 0.00046801 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-55_0_5_load_76 | 30 | 0.0089563 | 0.0022447 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-55_0_5_load_25 | 34 | 0.013611 | 0.0034113 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-55_0_5_load_32 | 36 | 0.017972 | 0.0045041 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-55_0_5_load_30 | 37 | 0.036904 | 0.0092489 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-55_0_5_load_42 | 40 | 0.004049 | 0.0010148 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-55_0_5_load_37 | 41 | 0.001326 | 0.00033232 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-55_0_5_load_35 | 42 | 0.039108 | 0.0098013 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-55_0_5_load_33 | 43 | 0.022145 | 0.0055502 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-55_0_5_load_34 | 44 | 0.026777 | 0.0067108 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-55_0_5_load_36 | 45 | 0.014058 | 0.0035233 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-55_0_5_load_40 | 47 | 0.0092387 | 0.0023154 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-55_0_5_load_86 | 50 | 0.057806 | 0.014488 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-55_0_5_load_49 | 53 | 0.0081582 | 0.0020446 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-55_0_5_load_43 | 55 | 0.0087915 | 0.0022034 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-55_0_5_load_45 | 56 | 0.018622 | 0.004667 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-55_0_5_load_84 | 57 | 0.013391 | 0.003356 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-55_0_5_load_54 | 61 | 0.0082214 | 0.0020605 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-55_0_5_load_59 | 64 | 0.016043 | 0.0040209 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-55_0_5_load_63 | 66 | 0.013258 | 0.0033228 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-55_0_5_load_58 | 67 | 0.013239 | 0.0033179 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-55_0_5_load_56 | 68 | 0.0083712 | 0.002098 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-55_0_5_load_79 | 70 | 0.0024916 | 0.00062446 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-55_0_5_load_66 | 71 | 0.0048988 | 0.0012277 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-55_0_5_load_71 | 75 | 0.030095 | 0.0075424 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-55_0_5_load_67 | 76 | 0.0096912 | 0.0024288 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-55_0_5_load_73 | 78 | 0.007885 | 0.0019762 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-55_0_5_load_80 | 79 | 0.0070969 | 0.0017786 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-55_0_5_load_81 | 80 | 0.0061293 | 0.0015361 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-55_0_5_load_83 | 81 | 0.0015178 | 0.0003804 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-55_0_5_load_85 | 82 | 0.0086001 | 0.0021554 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-55_0_5_line_0 |  | 0 | 1 | 0.035584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-55_0_5_line_1 |  | 1 | 2 | 0.021099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-55_0_5_line_2 |  | 2 | 3 | 0.023264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_3443-55_0_5_line_3 |  | 2 | 4 | 0.047807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_3443-55_0_5_line_4 |  | 3 | 6 | 0.011793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
5 | LV_3443-55_0_5_line_5 |  | 3 | 7 | 0.013103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-55_0_5_line_6 |  | 4 | 5 | 0.035058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_3443-55_0_5_line_7 |  | 5 | 8 | 0.016365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_3443-55_0_5_line_8 |  | 6 | 10 | 0.0044438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
9 | LV_3443-55_0_5_line_9 |  | 8 | 9 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_3443-55_0_5_line_10 |  | 9 | 57 | 0.038899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-55_0_5_line_11 |  | 9 | 52 | 0.039588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
12 | LV_3443-55_0_5_line_12 |  | 10 | 16 | 0.0098997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_3443-55_0_5_line_13 |  | 10 | 17 | 0.012216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-55_0_5_line_14 |  | 11 | 12 | 0.029483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-55_0_5_line_15 |  | 12 | 13 | 0.0094081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-55_0_5_line_16 |  | 12 | 14 | 0.04691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-55_0_5_line_17 |  | 14 | 15 | 0.033197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3443-55_0_5_line_18 |  | 15 | 31 | 0.030823 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3443-55_0_5_line_19 |  | 16 | 18 | 0.014274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_3443-55_0_5_line_20 |  | 18 | 19 | 0.026906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
21 | LV_3443-55_0_5_line_21 |  | 19 | 20 | 0.013548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-55_0_5_line_22 |  | 19 | 21 | 0.0049061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_3443-55_0_5_line_23 |  | 20 | 22 | 0.0079007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3443-55_0_5_line_24 |  | 21 | 23 | 0.020262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_3443-55_0_5_line_25 |  | 22 | 24 | 0.022242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-55_0_5_line_26 |  | 23 | 25 | 0.015909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
27 | LV_3443-55_0_5_line_27 |  | 24 | 26 | 0.020814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-55_0_5_line_28 |  | 25 | 32 | 0.015685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
29 | LV_3443-55_0_5_line_29 |  | 26 | 27 | 0.030481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-55_0_5_line_30 |  | 26 | 28 | 0.046739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3443-55_0_5_line_31 |  | 27 | 29 | 0.027948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3443-55_0_5_line_32 |  | 28 | 30 | 0.013649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3443-55_0_5_line_33 |  | 29 | 31 | 0.094903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3443-55_0_5_line_34 |  | 32 | 33 | 0.007223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_3443-55_0_5_line_35 |  | 33 | 36 | 0.026279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_3443-55_0_5_line_36 |  | 33 | 37 | 0.0079631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-55_0_5_line_37 |  | 34 | 35 | 0.020787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-55_0_5_line_38 |  | 35 | 40 | 0.0094633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_3443-55_0_5_line_39 |  | 35 | 41 | 0.0064935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
40 | LV_3443-55_0_5_line_40 |  | 37 | 38 | 0.020141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-55_0_5_line_41 |  | 38 | 39 | 0.026704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3443-55_0_5_line_42 |  | 39 | 42 | 0.035131 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-55_0_5_line_43 |  | 39 | 43 | 0.0060714 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3443-55_0_5_line_44 |  | 40 | 52 | 0.015097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
45 | LV_3443-55_0_5_line_45 |  | 41 | 45 | 0.016326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
46 | LV_3443-55_0_5_line_46 |  | 43 | 44 | 0.0094933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-55_0_5_line_47 |  | 45 | 46 | 0.039864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
48 | LV_3443-55_0_5_line_48 |  | 46 | 47 | 0.034413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
49 | LV_3443-55_0_5_line_49 |  | 46 | 48 | 0.004484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_3443-55_0_5_line_50 |  | 47 | 49 | 0.016765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
51 | LV_3443-55_0_5_line_51 |  | 48 | 50 | 0.018978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-55_0_5_line_52 |  | 48 | 51 | 0.024095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
53 | LV_3443-55_0_5_line_53 |  | 49 | 53 | 0.019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
54 | LV_3443-55_0_5_line_54 |  | 51 | 54 | 0.005157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
55 | LV_3443-55_0_5_line_55 |  | 52 | 55 | 0.015889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3443-55_0_5_line_56 |  | 53 | 59 | 0.012088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
57 | LV_3443-55_0_5_line_57 |  | 54 | 70 | 0.00094178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
58 | LV_3443-55_0_5_line_58 |  | 55 | 56 | 0.022447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3443-55_0_5_line_59 |  | 57 | 58 | 0.018487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-55_0_5_line_60 |  | 58 | 81 | 0.017007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3443-55_0_5_line_61 |  | 58 | 79 | 0.019362 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-55_0_5_line_62 |  | 59 | 60 | 0.009305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
63 | LV_3443-55_0_5_line_63 |  | 60 | 61 | 0.0067312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
64 | LV_3443-55_0_5_line_64 |  | 61 | 65 | 0.021629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
65 | LV_3443-55_0_5_line_65 |  | 62 | 63 | 0.030776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-55_0_5_line_66 |  | 62 | 64 | 0.0074824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-55_0_5_line_67 |  | 63 | 66 | 0.018009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-55_0_5_line_68 |  | 63 | 67 | 0.017818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-55_0_5_line_69 |  | 65 | 68 | 0.017106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_3443-55_0_5_line_70 |  | 67 | 69 | 0.02193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
71 | LV_3443-55_0_5_line_71 |  | 68 | 69 | 0.029898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
72 | LV_3443-55_0_5_line_72 |  | 70 | 71 | 0.012841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
73 | LV_3443-55_0_5_line_73 |  | 71 | 72 | 0.017806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3443-55_0_5_line_74 |  | 72 | 73 | 0.003509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3443-55_0_5_line_75 |  | 73 | 74 | 0.030586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-55_0_5_line_76 |  | 73 | 75 | 0.032599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3443-55_0_5_line_77 |  | 74 | 76 | 0.035033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-55_0_5_line_78 |  | 75 | 77 | 0.0055221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-55_0_5_line_79 |  | 77 | 78 | 0.019642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3443-55_0_5_line_80 |  | 79 | 80 | 0.0047172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3443-55_0_5_line_81 |  | 81 | 82 | 0.00112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-55_0_5_trafo_32 | 0.63 MVA 20/0.4 kV | 83 | 36 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2736963.2829 | 1256043.5627 | 2736964.5039 | 1256056.8415 | 2736969.6816 | 1256060.3534 | 2736974.4992 | 1256062.1443 | 2736983.0105 | 1256061.4739 | 2736985.3162 | 1256061.2623
1 | 2737006.3043 | 1256059.1106 | 2736993.5584 | 1256060.5059 | 2736985.3162 | 1256061.2623
2 | 2737008.9985 | 1256082.2167 | 2737006.8433 | 1256064.1834 | 2737006.3043 | 1256059.1106
3 | 2737050.1763 | 1256055.9897 | 2737005.9259 | 1256055.5764 | 2737006.3043 | 1256059.1106
4 | 2737008.9985 | 1256082.2167 | 2737010.2559 | 1256093.9422
5 | 2737008.9985 | 1256082.2167 | 2736995.9789 | 1256083.6892
6 | 2737050.1763 | 1256055.9897 | 2737051.5386 | 1256060.3697 | 2737054.1481 | 1256068.5599 | 2737055.7292 | 1256073.5901 | 2737072.2552 | 1256075.1828
7 | 2737088.5452 | 1256076.7527 | 2737072.2552 | 1256075.1828
8 | 2737010.7297 | 1256098.3606 | 2737010.2559 | 1256093.9422
9 | 2737087.6989 | 1256086.8981 | 2737088.5452 | 1256076.7527
10 | 2737087.6989 | 1256086.8981 | 2737126.5884 | 1256086.0505
11 | 2737085.9534 | 1256126.4055 | 2737085.6384 | 1256116.2332 | 2737087.6989 | 1256086.8981
12 | 2737010.7297 | 1256098.3606 | 2737011.8707 | 1256108.1943
13 | 2737010.7297 | 1256098.3606 | 2736998.627 | 1256100.0232
14 | 2736880.444 | 1256080.6198 | 2736906.4789 | 1256094.4568
15 | 2736880.444 | 1256080.6198 | 2736878.7719 | 1256071.3615
16 | 2736880.444 | 1256080.6198 | 2736864.1397 | 1256124.6171
17 | 2736864.1397 | 1256124.6171 | 2736863.2946 | 1256126.8997 | 2736853.462 | 1256156.0486
18 | 2736843.6103 | 1256185.2544 | 2736853.462 | 1256156.0486
19 | 2737011.8707 | 1256108.1943 | 2737013.5158 | 1256122.3728
20 | 2737016.6168 | 1256149.0995 | 2737013.5158 | 1256122.3728
21 | 2737016.6168 | 1256149.0995 | 2737003.1316 | 1256150.4022
22 | 2737016.6168 | 1256149.0995 | 2737017.1966 | 1256153.9711
23 | 2736995.2675 | 1256151.1619 | 2737003.1316 | 1256150.4022
24 | 2737019.5916 | 1256174.0915 | 2737017.1966 | 1256153.9711
25 | 2736995.2675 | 1256151.1619 | 2736981.5142 | 1256152.4905 | 2736978.6344 | 1256156.294 | 2736975.7764 | 1256158.5708
26 | 2737019.5916 | 1256174.0915 | 2737021.4787 | 1256189.8883
27 | 2736956.3063 | 1256160.9597 | 2736963.5016 | 1256162.7055 | 2736969.4061 | 1256162.5197 | 2736974.9986 | 1256159.1904 | 2736975.7764 | 1256158.5708
28 | 2737023.3392 | 1256205.4629 | 2737021.4787 | 1256189.8883
29 | 2736956.3063 | 1256160.9597 | 2736946.5995 | 1256181.988 | 2736943.9391 | 1256188.8078
30 | 2736956.3063 | 1256160.9597 | 2736949.9037 | 1256155.2841 | 2736943.8575 | 1256151.1627 | 2736919.1749 | 1256142.8063 | 2736917.5785 | 1256147.34
31 | 2736933.7821 | 1256214.8443 | 2736943.9391 | 1256188.8078
32 | 2736913.0453 | 1256160.2141 | 2736917.5785 | 1256147.34
33 | 2736933.7821 | 1256214.8443 | 2736913.4578 | 1256208.246 | 2736843.6103 | 1256185.2544
34 | 2737024.1992 | 1256212.634 | 2737023.3392 | 1256205.4629
35 | 2737024.1992 | 1256212.634 | 2737050.299 | 1256209.5714
36 | 2737024.1992 | 1256212.634 | 2737025.1276 | 1256220.5427
37 | 2737088.6936 | 1256150.7693 | 2737084.2864 | 1256151.4568 | 2737082.059 | 1256152.5062 | 2737079.047 | 1256155.8285 | 2737072.7799 | 1256156.6842 | 2737069.7399 | 1256156.9807
38 | 2737088.6936 | 1256150.7693 | 2737087.2138 | 1256141.4224
39 | 2737088.6936 | 1256150.7693 | 2737089.7098 | 1256157.1828
40 | 2737027.476 | 1256240.5468 | 2737025.1276 | 1256220.5427
41 | 2737027.476 | 1256240.5468 | 2737029.0168 | 1256253.8282 | 2737042.2379 | 1256252.0992
42 | 2737042.2379 | 1256252.0992 | 2737046.1602 | 1256287.0103
43 | 2737042.2379 | 1256252.0992 | 2737048.2577 | 1256251.3099
44 | 2737085.9534 | 1256126.4055 | 2737086.2584 | 1256135.3875 | 2737087.2138 | 1256141.4224
45 | 2737092.8515 | 1256173.1717 | 2737091.603 | 1256169.1315 | 2737089.7098 | 1256157.1828
46 | 2737048.2577 | 1256251.3099 | 2737057.6705 | 1256250.0758
47 | 2737104.4783 | 1256211.3021 | 2737100.7974 | 1256198.8832 | 2737092.8515 | 1256173.1717
48 | 2737104.4783 | 1256211.3021 | 2737131.8277 | 1256190.4158
49 | 2737105.7518 | 1256215.6023 | 2737104.4783 | 1256211.3021
50 | 2737139.2241 | 1256176.0963 | 2737135.6859 | 1256187.4694 | 2737131.8277 | 1256190.4158
51 | 2737105.7518 | 1256215.6023 | 2737086.9624 | 1256218.6367
52 | 2737105.7518 | 1256215.6023 | 2737112.2913 | 1256238.7975
53 | 2737139.2241 | 1256176.0963 | 2737142.6064 | 1256171.4481 | 2737144.9205 | 1256166.9864 | 2737145.9278 | 1256161.2934 | 2737148.7196 | 1256159.334
54 | 2737113.5562 | 1256243.7981 | 2737112.2913 | 1256238.7975
55 | 2737085.9534 | 1256126.4055 | 2737070.1028 | 1256127.5048
56 | 2737160.6113 | 1256160.277 | 2737154.9957 | 1256159.068 | 2737151.358 | 1256158.7835 | 2737148.7196 | 1256159.334
57 | 2737113.817 | 1256244.703 | 2737113.5562 | 1256243.7981
58 | 2737052.2905 | 1256119.4309 | 2737054.8743 | 1256125.7966 | 2737059.45 | 1256127.6042 | 2737068.1638 | 1256127.6392 | 2737070.1028 | 1256127.5048
59 | 2737145.0709 | 1256085.6477 | 2737126.5884 | 1256086.0505
60 | 2737145.0709 | 1256085.6477 | 2737162.0533 | 1256086.5582
61 | 2737145.0709 | 1256085.6477 | 2737143.2097 | 1256104.9201
62 | 2737160.6113 | 1256160.277 | 2737169.7329 | 1256162.2457
63 | 2737169.7329 | 1256162.2457 | 2737174.9356 | 1256163.3672 | 2737176.3115 | 1256163.6705
64 | 2737197.433 | 1256168.3264 | 2737176.3115 | 1256163.6705
65 | 2737166.6006 | 1256238.1103 | 2737163.3875 | 1256233.5093 | 2737148.1979 | 1256213.4055
66 | 2737148.1979 | 1256213.4055 | 2737142.1323 | 1256217.7868
67 | 2737166.6006 | 1256238.1103 | 2737152.097 | 1256248.7852
68 | 2737166.6006 | 1256238.1103 | 2737181.1918 | 1256227.8845
69 | 2737197.433 | 1256168.3264 | 2737198.058 | 1256185.4205
70 | 2737199.1504 | 1256215.2987 | 2737181.1918 | 1256227.8845
71 | 2737199.1504 | 1256215.2987 | 2737198.058 | 1256185.4205
72 | 2737117.374 | 1256257.0416 | 2737113.817 | 1256244.703
73 | 2737122.3064 | 1256274.1512 | 2737117.374 | 1256257.0416
74 | 2737122.3064 | 1256274.1512 | 2737123.2845 | 1256277.5214
75 | 2737130.7609 | 1256307.1665 | 2737127.1769 | 1256290.9018 | 2737123.2845 | 1256277.5214
76 | 2737123.2845 | 1256277.5214 | 2737114.5666 | 1256283.5362 | 2737100.9149 | 1256293.1068 | 2737096.2858 | 1256295.7593
77 | 2737130.7609 | 1256307.1665 | 2737131.7317 | 1256320.2901 | 2737132.5191 | 1256342.1493
78 | 2737091.4945 | 1256298.5048 | 2737096.2858 | 1256295.7593
79 | 2737091.4945 | 1256298.5048 | 2737094.2341 | 1256304.0067 | 2737098.5863 | 1256316.7814
80 | 2737143.2097 | 1256104.9201 | 2737142.7563 | 1256109.6155
81 | 2737162.0533 | 1256086.5582 | 2737163.1717 | 1256086.6182

## bus_geodata
| x | y | coords
0 | 2736963.2829 | 1256043.5627
1 | 2736985.3162 | 1256061.2623
2 | 2737006.3043 | 1256059.1106
3 | 2737008.9985 | 1256082.2167
4 | 2737050.1763 | 1256055.9897
5 | 2737072.2552 | 1256075.1828
6 | 2737010.2559 | 1256093.9422
7 | 2736995.9789 | 1256083.6892
8 | 2737088.5452 | 1256076.7527
9 | 2737087.6989 | 1256086.8981
10 | 2737010.7297 | 1256098.3606
11 | 2736906.4789 | 1256094.4568
12 | 2736880.444 | 1256080.6198
13 | 2736878.7719 | 1256071.3615
14 | 2736864.1397 | 1256124.6171
15 | 2736853.462 | 1256156.0486
16 | 2737011.8707 | 1256108.1943
17 | 2736998.627 | 1256100.0232
18 | 2737013.5158 | 1256122.3728
19 | 2737016.6168 | 1256149.0995
20 | 2737003.1316 | 1256150.4022
21 | 2737017.1966 | 1256153.9711
22 | 2736995.2675 | 1256151.1619
23 | 2737019.5916 | 1256174.0915
24 | 2736975.7764 | 1256158.5708
25 | 2737021.4787 | 1256189.8883
26 | 2736956.3063 | 1256160.9597
27 | 2736943.9391 | 1256188.8078
28 | 2736917.5785 | 1256147.34
29 | 2736933.7821 | 1256214.8443
30 | 2736913.0453 | 1256160.2141
31 | 2736843.6103 | 1256185.2544
32 | 2737023.3392 | 1256205.4629
33 | 2737024.1992 | 1256212.634
34 | 2737069.7399 | 1256156.9807
35 | 2737088.6936 | 1256150.7693
36 | 2737050.299 | 1256209.5714
37 | 2737025.1276 | 1256220.5427
38 | 2737027.476 | 1256240.5468
39 | 2737042.2379 | 1256252.0992
40 | 2737087.2138 | 1256141.4224
41 | 2737089.7098 | 1256157.1828
42 | 2737046.1602 | 1256287.0103
43 | 2737048.2577 | 1256251.3099
44 | 2737057.6705 | 1256250.0758
45 | 2737092.8515 | 1256173.1717
46 | 2737104.4783 | 1256211.3021
47 | 2737131.8277 | 1256190.4158
48 | 2737105.7518 | 1256215.6023
49 | 2737139.2241 | 1256176.0963
50 | 2737086.9624 | 1256218.6367
51 | 2737112.2913 | 1256238.7975
52 | 2737085.9534 | 1256126.4055
53 | 2737148.7196 | 1256159.334
54 | 2737113.5562 | 1256243.7981
55 | 2737070.1028 | 1256127.5048
56 | 2737052.2905 | 1256119.4309
57 | 2737126.5884 | 1256086.0505
58 | 2737145.0709 | 1256085.6477
59 | 2737160.6113 | 1256160.277
60 | 2737169.7329 | 1256162.2457
61 | 2737176.3115 | 1256163.6705
62 | 2737148.1979 | 1256213.4055
63 | 2737166.6006 | 1256238.1103
64 | 2737142.1323 | 1256217.7868
65 | 2737197.433 | 1256168.3264
66 | 2737152.097 | 1256248.7852
67 | 2737181.1918 | 1256227.8845
68 | 2737198.058 | 1256185.4205
69 | 2737199.1504 | 1256215.2987
70 | 2737113.817 | 1256244.703
71 | 2737117.374 | 1256257.0416
72 | 2737122.3064 | 1256274.1512
73 | 2737123.2845 | 1256277.5214
74 | 2737130.7609 | 1256307.1665
75 | 2737096.2858 | 1256295.7593
76 | 2737132.5191 | 1256342.1493
77 | 2737091.4945 | 1256298.5048
78 | 2737098.5863 | 1256316.7814
79 | 2737143.2097 | 1256104.9201
80 | 2737142.7563 | 1256109.6155
81 | 2737162.0533 | 1256086.5582
82 | 2737163.1717 | 1256086.6182
83 | 2737055.702 | 1256208.9374

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1