## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-8_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-8_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-8_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_3443-8_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_3443-8_0_3_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_3443-8_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3443-8_0_3_node_93 | 0.4 | n |  | TRUE
7 | bus_LV_3443-8_0_3_node_91 | 0.4 | n |  | TRUE
8 | bus_LV_3443-8_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_3443-8_0_3_node_24 | 0.4 | n |  | TRUE
10 | bus_LV_3443-8_0_3_node_92 | 0.4 | n |  | TRUE
11 | bus_LV_3443-8_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_3443-8_0_3_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_3443-8_0_3_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_3443-8_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_3443-8_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_3443-8_0_3_node_22 | 0.4 | n |  | TRUE
17 | bus_LV_3443-8_0_3_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_3443-8_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_3443-8_0_3_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_3443-8_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3443-8_0_3_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_3443-8_0_3_node_10 | 0.4 | n |  | TRUE
23 | bus_LV_3443-8_0_3_node_11 | 0.4 | n |  | TRUE
24 | bus_LV_3443-8_0_3_node_12 | 0.4 | n |  | TRUE
25 | bus_LV_3443-8_0_3_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_3443-8_0_3_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_3443-8_0_3_node_32 | 0.4 | n |  | TRUE
28 | bus_LV_3443-8_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_3443-8_0_3_node_63 | 0.4 | n |  | TRUE
30 | bus_LV_3443-8_0_3_node_60 | 0.4 | n |  | TRUE
31 | bus_LV_3443-8_0_3_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_3443-8_0_3_node_35 | 0.4 | n |  | TRUE
33 | bus_LV_3443-8_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_3443-8_0_3_node_14 | 0.4 | n |  | TRUE
35 | bus_LV_3443-8_0_3_node_16 | 0.4 | n |  | TRUE
36 | bus_LV_3443-8_0_3_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_3443-8_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_3443-8_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_3443-8_0_3_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_3443-8_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_3443-8_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_3443-8_0_3_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_3443-8_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_3443-8_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_3443-8_0_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_3443-8_0_3_node_66 | 0.4 | n |  | TRUE
47 | bus_LV_3443-8_0_3_node_42 | 0.4 | n |  | TRUE
48 | bus_LV_3443-8_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_3443-8_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_3443-8_0_3_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_3443-8_0_3_node_57 | 0.4 | n |  | TRUE
52 | bus_LV_3443-8_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_3443-8_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_3443-8_0_3_node_59 | 0.4 | n |  | TRUE
55 | bus_LV_3443-8_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_3443-8_0_3_node_46 | 0.4 | n |  | TRUE
57 | bus_LV_3443-8_0_3_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_3443-8_0_3_node_81 | 0.4 | n |  | TRUE
59 | bus_LV_3443-8_0_3_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_3443-8_0_3_node_79 | 0.4 | n |  | TRUE
61 | bus_LV_3443-8_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_3443-8_0_3_node_50 | 0.4 | n |  | TRUE
63 | bus_LV_3443-8_0_3_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_3443-8_0_3_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_3443-8_0_3_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_3443-8_0_3_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_3443-8_0_3_node_61 | 0.4 | n |  | TRUE
68 | bus_LV_3443-8_0_3_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_3443-8_0_3_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_3443-8_0_3_node_97 | 0.4 | n |  | TRUE
71 | bus_LV_3443-8_0_3_node_96 | 0.4 | n |  | TRUE
72 | bus_LV_3443-8_0_3_node_67 | 0.4 | n |  | TRUE
73 | bus_LV_3443-8_0_3_node_68 | 0.4 | n |  | TRUE
74 | bus_LV_3443-8_0_3_node_83 | 0.4 | n |  | TRUE
75 | bus_LV_3443-8_0_3_node_69 | 0.4 | n |  | TRUE
76 | bus_LV_3443-8_0_3_node_74 | 0.4 | n |  | TRUE
77 | bus_LV_3443-8_0_3_node_80 | 0.4 | n |  | TRUE
78 | bus_LV_3443-8_0_3_node_73 | 0.4 | n |  | TRUE
79 | bus_LV_3443-8_0_3_node_78 | 0.4 | n |  | TRUE
80 | bus_LV_3443-8_0_3_node_87 | 0.4 | n |  | TRUE
81 | bus_LV_3443-8_0_3_node_88 | 0.4 | n |  | TRUE
82 | bus_LV_3443-8_0_3_node_85 | 0.4 | n |  | TRUE
83 | bus_LV_3443-8_0_3_node_70 | 0.4 | n |  | TRUE
84 | bus_LV_3443-8_0_3_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_3443-8_0_3_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_3443-8_0_3_node_72 | 0.4 | n |  | TRUE
87 | bus_LV_3443-8_0_3_node_90 | 0.4 | n |  | TRUE
88 | bus_LV_3443-8_0_3_node_75 | 0.4 | n |  | TRUE
89 | bus_LV_3443-8_0_3_node_76 | 0.4 | n |  | TRUE
90 | bus_LV_3443-8_0_3_node_98 | 0.4 | n |  | TRUE
91 | bus_LV_3443-8_0_3_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_3443-8_0_3_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_3443-8_0_3_node_94 | 0.4 | n |  | TRUE
94 | bus_LV_3443-8_0_3_node_95 | 0.4 | n |  | TRUE
95 | bus_MV_411_0_node_54 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-8_0_3_load_0 | 0 | 0.00071741 | 0.0001798 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-8_0_3_load_6 | 4 | 0.0015997 | 0.00040092 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-8_0_3_load_5 | 5 | 0.0019857 | 0.00049767 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-8_0_3_load_93 | 6 | 0.0002959 | 7.4161e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-8_0_3_load_91 | 7 | 0.0002117 | 5.3057e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-8_0_3_load_27 | 8 | 0.00033926 | 8.5026e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-8_0_3_load_24 | 9 | 0.0008469 | 0.00021225 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-8_0_3_load_92 | 10 | 0.0010526 | 0.0002638 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-8_0_3_load_38 | 12 | 0.0023065 | 0.00057806 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-8_0_3_load_15 | 13 | 0.00048772 | 0.00012224 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-8_0_3_load_20 | 14 | 0.00053253 | 0.00013346 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-8_0_3_load_22 | 16 | 0.00057506 | 0.00014412 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-8_0_3_load_13 | 18 | 0.00046868 | 0.00011746 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-8_0_3_load_7 | 19 | 0.0013278 | 0.00033278 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-8_0_3_load_10 | 22 | 0.0023024 | 0.00057703 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-8_0_3_load_11 | 23 | 0.0011954 | 0.00029959 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-8_0_3_load_28 | 25 | 0.00035184 | 8.818e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-8_0_3_load_33 | 26 | 0.001458 | 0.0003654 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-8_0_3_load_32 | 27 | 0.00018593 | 4.66e-05 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-8_0_3_load_29 | 28 | 0.0015656 | 0.00039239 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-8_0_3_load_63 | 29 | 0.0012574 | 0.00031514 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-8_0_3_load_60 | 30 | 0.00039248 | 9.8364e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-8_0_3_load_34 | 31 | 0.00023069 | 5.7816e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-8_0_3_load_35 | 32 | 0.0005838 | 0.00014631 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-8_0_3_load_30 | 33 | 0.0021166 | 0.00053047 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-8_0_3_load_14 | 34 | 0.00078955 | 0.00019788 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-8_0_3_load_26 | 38 | 0.00096864 | 0.00024276 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-8_0_3_load_43 | 39 | 0.00079519 | 0.00019929 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-8_0_3_load_39 | 40 | 0.00042441 | 0.00010637 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-8_0_3_load_23 | 41 | 0.00015911 | 3.9876e-05 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-8_0_3_load_36 | 43 | 0.0014723 | 0.000369 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-8_0_3_load_65 | 45 | 0.0010786 | 0.00027033 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-8_0_3_load_41 | 48 | 0.00017153 | 4.299e-05 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-8_0_3_load_44 | 49 | 0.00015917 | 3.9892e-05 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-8_0_3_load_57 | 51 | 0.00058658 | 0.00014701 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-8_0_3_load_48 | 52 | 0.00025952 | 6.5042e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-8_0_3_load_49 | 53 | 0.00062713 | 0.00015717 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-8_0_3_load_46 | 56 | 0.0003938 | 9.8695e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-8_0_3_load_47 | 57 | 0.00012154 | 3.046e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-8_0_3_load_82 | 59 | 0.00024297 | 6.0895e-05 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-8_0_3_load_79 | 60 | 0.00037738 | 9.4581e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-8_0_3_load_50 | 62 | 7.5263e-05 | 1.8863e-05 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-8_0_3_load_51 | 63 | 0.00027562 | 6.9077e-05 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-8_0_3_load_53 | 65 | 0.00013691 | 3.4313e-05 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-8_0_3_load_54 | 66 | 0.00031258 | 7.834e-05 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-8_0_3_load_77 | 69 | 0.00018338 | 4.596e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-8_0_3_load_97 | 70 | 0.00017497 | 4.3851e-05 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-8_0_3_load_96 | 71 | 0.0003717 | 9.3156e-05 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-8_0_3_load_67 | 72 | 0.00074089 | 0.00018568 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-8_0_3_load_83 | 74 | 0.000131 | 3.283e-05 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-8_0_3_load_74 | 76 | 0.00036513 | 9.1509e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-8_0_3_load_80 | 77 | 0.00033227 | 8.3273e-05 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-8_0_3_load_73 | 78 | 5.4059e-05 | 1.3548e-05 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-8_0_3_load_78 | 79 | 0.0013198 | 0.00033078 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-8_0_3_load_88 | 81 | 0.00024655 | 6.179e-05 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-8_0_3_load_85 | 82 | 0.00017341 | 4.346e-05 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-8_0_3_load_70 | 83 | 0.00010932 | 2.7398e-05 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-8_0_3_load_71 | 84 | 0.00026892 | 6.7397e-05 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-8_0_3_load_89 | 85 | 0.018087 | 0.004533 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3443-8_0_3_load_72 | 86 | 8.4083e-05 | 2.1073e-05 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3443-8_0_3_load_90 | 87 | 0.069736 | 0.017477 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3443-8_0_3_load_98 | 90 | 0.021093 | 0.0052865 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3443-8_0_3_load_84 | 91 | 0.00023284 | 5.8355e-05 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3443-8_0_3_load_86 | 92 | 5.0502e-05 | 1.2657e-05 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3443-8_0_3_load_94 | 93 | 5.4651e-05 | 1.3697e-05 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3443-8_0_3_load_95 | 94 | 0.00015902 | 3.9854e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 78 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-8_0_3_line_0 |  | 0 | 1 | 0.01249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-8_0_3_line_1 |  | 1 | 2 | 0.004502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-8_0_3_line_2 |  | 1 | 3 | 0.063216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-8_0_3_line_3 |  | 2 | 4 | 0.12253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-8_0_3_line_4 |  | 2 | 5 | 0.016703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-8_0_3_line_5 |  | 3 | 6 | 0.012431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-8_0_3_line_6 |  | 3 | 7 | 0.0048861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-8_0_3_line_7 |  | 4 | 8 | 0.029225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-8_0_3_line_8 |  | 6 | 9 | 0.26328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-8_0_3_line_9 |  | 7 | 10 | 0.0030536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-8_0_3_line_10 |  | 8 | 18 | 0.15525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-8_0_3_line_11 |  | 9 | 41 | 0.016741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-8_0_3_line_12 |  | 11 | 12 | 0.014142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3443-8_0_3_line_13 |  | 11 | 13 | 0.028462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-8_0_3_line_14 |  | 13 | 34 | 0.020536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-8_0_3_line_15 |  | 14 | 15 | 0.0084832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-8_0_3_line_16 |  | 15 | 16 | 0.0092997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-8_0_3_line_17 |  | 16 | 17 | 0.013364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3443-8_0_3_line_18 |  | 17 | 41 | 0.0063017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3443-8_0_3_line_19 |  | 17 | 38 | 0.013818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-8_0_3_line_20 |  | 18 | 20 | 0.028615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3443-8_0_3_line_21 |  | 19 | 20 | 0.016728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-8_0_3_line_22 |  | 20 | 24 | 0.014041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3443-8_0_3_line_23 |  | 21 | 22 | 0.088555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3443-8_0_3_line_24 |  | 21 | 23 | 0.01577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-8_0_3_line_25 |  | 22 | 25 | 0.036372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-8_0_3_line_26 |  | 23 | 26 | 0.037919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3443-8_0_3_line_27 |  | 24 | 27 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-8_0_3_line_28 |  | 24 | 28 | 0.014275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-8_0_3_line_29 |  | 26 | 31 | 0.0032005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-8_0_3_line_30 |  | 27 | 32 | 0.018672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3443-8_0_3_line_31 |  | 28 | 33 | 0.0091896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3443-8_0_3_line_32 |  | 29 | 30 | 0.043033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3443-8_0_3_line_33 |  | 30 | 54 | 0.049225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3443-8_0_3_line_34 |  | 31 | 32 | 0.031707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3443-8_0_3_line_35 |  | 33 | 42 | 0.032633 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3443-8_0_3_line_36 |  | 34 | 35 | 0.0014556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-8_0_3_line_37 |  | 35 | 36 | 0.016909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-8_0_3_line_38 |  | 36 | 37 | 0.040078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3443-8_0_3_line_39 |  | 36 | 38 | 0.0027288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3443-8_0_3_line_40 |  | 37 | 39 | 0.025035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-8_0_3_line_41 |  | 37 | 40 | 0.069808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3443-8_0_3_line_42 |  | 39 | 47 | 0.0078675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-8_0_3_line_43 |  | 42 | 43 | 0.032002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3443-8_0_3_line_44 |  | 42 | 44 | 0.057411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3443-8_0_3_line_45 |  | 44 | 45 | 0.014826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3443-8_0_3_line_46 |  | 45 | 46 | 0.044096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-8_0_3_line_47 |  | 46 | 72 | 0.025662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3443-8_0_3_line_48 |  | 46 | 73 | 0.041922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3443-8_0_3_line_49 |  | 47 | 48 | 0.017276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3443-8_0_3_line_50 |  | 49 | 50 | 0.016596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3443-8_0_3_line_51 |  | 49 | 51 | 0.40094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-8_0_3_line_52 |  | 50 | 52 | 0.0097978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3443-8_0_3_line_53 |  | 50 | 53 | 0.018179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_3443-8_0_3_line_54 |  | 51 | 54 | 0.25988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3443-8_0_3_line_55 |  | 53 | 55 | 0.03012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_3443-8_0_3_line_56 |  | 54 | 57 | 0.10167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3443-8_0_3_line_57 |  | 55 | 61 | 0.059822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3443-8_0_3_line_58 |  | 56 | 57 | 0.021631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3443-8_0_3_line_59 |  | 57 | 58 | 0.23121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-8_0_3_line_60 |  | 58 | 59 | 0.024298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_3443-8_0_3_line_61 |  | 58 | 60 | 0.042218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_3443-8_0_3_line_62 |  | 59 | 80 | 0.039339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_3443-8_0_3_line_63 |  | 60 | 69 | 0.020726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_3443-8_0_3_line_64 |  | 61 | 65 | 0.071108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3443-8_0_3_line_65 |  | 62 | 63 | 0.00082992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-8_0_3_line_66 |  | 62 | 64 | 0.019518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-8_0_3_line_67 |  | 64 | 65 | 0.019667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-8_0_3_line_68 |  | 64 | 66 | 0.034579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-8_0_3_line_69 |  | 66 | 67 | 0.19895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3443-8_0_3_line_70 |  | 67 | 68 | 0.005155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3443-8_0_3_line_71 |  | 68 | 70 | 0.10709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3443-8_0_3_line_72 |  | 69 | 79 | 0.018445 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_3443-8_0_3_line_73 |  | 70 | 71 | 0.0027092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3443-8_0_3_line_74 |  | 71 | 93 | 0.0092865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3443-8_0_3_line_75 |  | 72 | 74 | 0.0035414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-8_0_3_line_76 |  | 73 | 75 | 0.030839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_3443-8_0_3_line_77 |  | 73 | 76 | 0.091002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_3443-8_0_3_line_78 |  | 75 | 77 | 0.024874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_3443-8_0_3_line_79 |  | 76 | 78 | 0.00092705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_3443-8_0_3_line_80 |  | 77 | 79 | 0.032981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
81 | LV_3443-8_0_3_line_81 |  | 80 | 81 | 0.043119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_3443-8_0_3_line_82 |  | 80 | 82 | 0.0248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3443-8_0_3_line_83 |  | 81 | 86 | 0.016702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_3443-8_0_3_line_84 |  | 82 | 91 | 0.0073137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3443-8_0_3_line_85 |  | 83 | 84 | 0.0054262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
86 | LV_3443-8_0_3_line_86 |  | 83 | 85 | 0.19674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_3443-8_0_3_line_87 |  | 84 | 86 | 0.016728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_3443-8_0_3_line_88 |  | 85 | 87 | 0.028925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_3443-8_0_3_line_89 |  | 87 | 88 | 0.20694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
90 | LV_3443-8_0_3_line_90 |  | 88 | 89 | 0.082964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3443-8_0_3_line_91 |  | 89 | 90 | 0.029298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3443-8_0_3_line_92 |  | 91 | 92 | 0.0077684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3443-8_0_3_line_93 |  | 93 | 94 | 0.0069332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-8_0_3_trafo_73 | 0.63 MVA 20/0.4 kV | 95 | 78 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2738237.0063 | 1254480.4448 | 2738233.6999 | 1254468.4001
1 | 2738232.6329 | 1254481.566 | 2738237.0063 | 1254480.4448
2 | 2738237.0063 | 1254480.4448 | 2738245.5799 | 1254511.4626 | 2738246.7141 | 1254515.8932 | 2738250.887 | 1254514.6339 | 2738253.7356 | 1254513.1991 | 2738258.9288 | 1254510.262 | 2738264.578 | 1254502.9871 | 2738265.4779 | 1254499.3603
3 | 2738232.6329 | 1254481.566 | 2738230.8265 | 1254482.0021 | 2738200.5623 | 1254505.2619 | 2738154.0249 | 1254540.8759 | 2738134.9752 | 1254555.3097
4 | 2738232.6329 | 1254481.566 | 2738228.3826 | 1254465.4129
5 | 2738277.8777 | 1254500.6621 | 2738265.4779 | 1254499.3603
6 | 2738265.4779 | 1254499.3603 | 2738266.1946 | 1254496.4632 | 2738265.8647 | 1254494.5904
7 | 2738111.6817 | 1254572.9591 | 2738134.9752 | 1254555.3097
8 | 2738277.8777 | 1254500.6621 | 2738516.7232 | 1254611.4303
9 | 2738265.335 | 1254491.5831 | 2738265.8647 | 1254494.5904
10 | 2738111.6817 | 1254572.9591 | 2738072.2625 | 1254602.8268 | 2737994.5954 | 1254662.7056 | 2737988.5245 | 1254667.4775
11 | 2738516.7232 | 1254611.4303 | 2738531.3457 | 1254619.5812
12 | 2738591.9254 | 1254675.3092 | 2738601.209 | 1254680.7537 | 2738604.0101 | 1254682.644
13 | 2738591.9254 | 1254675.3092 | 2738590.5478 | 1254668.3928 | 2738592.7489 | 1254660.448 | 2738585.2563 | 1254655.5459 | 2738581.4009 | 1254653.8502
14 | 2738581.4009 | 1254653.8502 | 2738578.5257 | 1254652.5856 | 2738569.19 | 1254649.6867 | 2738563.472 | 1254644.6506
15 | 2738524.3251 | 1254641.5297 | 2738531.1168 | 1254646.6128
16 | 2738524.3251 | 1254641.5297 | 2738529.2988 | 1254633.6717
17 | 2738536.85 | 1254622.6495 | 2738531.2686 | 1254630.5596 | 2738529.2988 | 1254633.6717
18 | 2738536.85 | 1254622.6495 | 2738531.3457 | 1254619.5812
19 | 2738536.85 | 1254622.6495 | 2738548.7353 | 1254629.6983
20 | 2737966.0272 | 1254685.1609 | 2737988.5245 | 1254667.4775
21 | 2737966.0272 | 1254685.1609 | 2737963.739 | 1254678.101 | 2737962.6011 | 1254674.4712 | 2737961.3066 | 1254669.1235
22 | 2737958.7509 | 1254697.1803 | 2737960.8538 | 1254693.7372 | 2737962.9756 | 1254690.1278 | 2737966.0272 | 1254685.1609
23 | 2737937.6919 | 1254595.3287 | 2737933.178 | 1254570.7563 | 2737930.7787 | 1254552.5947 | 2737930.6005 | 1254534.6628 | 2737931.2701 | 1254525.0362 | 2737931.8976 | 1254507.378
24 | 2737937.6919 | 1254595.3287 | 2737922.7095 | 1254600.251
25 | 2737935.5932 | 1254471.3292 | 2737933.3695 | 1254479.9766 | 2737932.2135 | 1254498.4891 | 2737931.8976 | 1254507.378
26 | 2737930.1552 | 1254635.8169 | 2737927.1255 | 1254626.7562 | 2737921.9748 | 1254612.6676 | 2737920.6812 | 1254608.5893 | 2737920.1644 | 1254606.1528 | 2737920.6277 | 1254604.0839 | 2737921.1342 | 1254602.1049 | 2737922.7095 | 1254600.251
27 | 2737958.7509 | 1254697.1803 | 2737952.6419 | 1254692.4781 | 2737946.6408 | 1254688.6459 | 2737944.3338 | 1254686.2549
28 | 2737958.7509 | 1254697.1803 | 2737966.437 | 1254709.2096
29 | 2737930.1552 | 1254635.8169 | 2737931.1701 | 1254638.8522
30 | 2737944.3338 | 1254686.2549 | 2737943.9733 | 1254685.8812 | 2737941.8017 | 1254682.2384 | 2737936.7373 | 1254669.2812
31 | 2737966.437 | 1254709.2096 | 2737966.4982 | 1254709.3054 | 2737971.3402 | 1254716.9818
32 | 2737676.4987 | 1254523.869 | 2737674.132 | 1254528.2342 | 2737658.6576 | 1254550.7399 | 2737652.6569 | 1254559.6659
33 | 2737616.4284 | 1254592.0857 | 2737624.089 | 1254587.2036 | 2737636.993 | 1254578.5065 | 2737647.4315 | 1254567.4389 | 2737652.6569 | 1254559.6659
34 | 2737936.7373 | 1254669.2812 | 2737935.6908 | 1254666.6038 | 2737932.062 | 1254655.5423 | 2737933.5458 | 1254645.9569 | 2737931.1701 | 1254638.8522
35 | 2737970.9545 | 1254747.667 | 2737974.6091 | 1254738.844 | 2737975.6204 | 1254735.2864 | 2737975.7956 | 1254727.7724 | 2737974.6858 | 1254722.2859 | 2737971.3402 | 1254716.9818
36 | 2738562.3797 | 1254643.6885 | 2738563.472 | 1254644.6506
37 | 2738562.3797 | 1254643.6885 | 2738556.4542 | 1254636.6433 | 2738551.0824 | 1254631.0903
38 | 2738551.0824 | 1254631.0903 | 2738558.9575 | 1254625.7807 | 2738573.9891 | 1254611.3745 | 2738577.5286 | 1254607.5093 | 2738580.7667 | 1254604.2709
39 | 2738551.0824 | 1254631.0903 | 2738548.7353 | 1254629.6983
40 | 2738580.7667 | 1254604.2709 | 2738594.2582 | 1254592.142 | 2738600.5651 | 1254589.3605
41 | 2738580.7667 | 1254604.2709 | 2738588.7603 | 1254611.3089 | 2738595.645 | 1254616.3859 | 2738602.0872 | 1254620.3848 | 2738611.2972 | 1254626.7173 | 2738619.1875 | 1254633.0078 | 2738628.7101 | 1254641.4608 | 2738634.6722 | 1254648.2289
42 | 2738607.7637 | 1254586.1858 | 2738600.5651 | 1254589.3605
43 | 2737970.9545 | 1254747.667 | 2738002.0965 | 1254755.0379
44 | 2737970.9545 | 1254747.667 | 2737967.302 | 1254754.1324 | 2737959.9528 | 1254764.1038 | 2737945.0259 | 1254776.0449 | 2737928.8226 | 1254785.1204
45 | 2737928.8226 | 1254785.1204 | 2737915.8708 | 1254792.3357
46 | 2737877.3347 | 1254813.7704 | 2737889.5599 | 1254806.9932 | 2737915.8708 | 1254792.3357
47 | 2737877.3347 | 1254813.7704 | 2737868.8038 | 1254799.6476 | 2737862.8917 | 1254792.6479
48 | 2737857.3045 | 1254845.2333 | 2737855.9126 | 1254835.9812 | 2737857.9799 | 1254827.2546 | 2737865.3382 | 1254821.743 | 2737877.3347 | 1254813.7704
49 | 2738607.7637 | 1254586.1858 | 2738621.5128 | 1254584.0056 | 2738624.8273 | 1254583.4851
50 | 2737364.227 | 1254874.9819 | 2737377.8739 | 1254865.5375
51 | 2737377.8739 | 1254865.5375 | 2737389.8625 | 1254464.7811
52 | 2737364.227 | 1254874.9819 | 2737362.9855 | 1254865.2631
53 | 2737364.227 | 1254874.9819 | 2737361.0896 | 1254879.7692 | 2737359.5003 | 1254886.1382 | 2737359.6661 | 1254892.0272
54 | 2737616.4284 | 1254592.0857 | 2737389.8625 | 1254464.7811
55 | 2737353.3562 | 1254920.9724 | 2737356.3745 | 1254913.5133 | 2737359.9677 | 1254902.7422 | 2737359.6661 | 1254892.0272
56 | 2737616.4284 | 1254592.0857 | 2737608.787 | 1254596.7903 | 2737591.1647 | 1254620.4806 | 2737572.0426 | 1254647.9841 | 2737556.4831 | 1254673.2469
57 | 2737353.3562 | 1254920.9724 | 2737347.3599 | 1254926.6831 | 2737342.0016 | 1254930.5958 | 2737336.4657 | 1254933.7036 | 2737327.2783 | 1254935.7925 | 2737317.8647 | 1254938.5212 | 2737309.5743 | 1254941.6319 | 2737300.6711 | 1254947.4086
58 | 2737556.4831 | 1254673.2469 | 2737551.439 | 1254681.4366 | 2737545.1091 | 1254691.6461
59 | 2737747.8248 | 1254803.0469 | 2737556.4831 | 1254673.2469
60 | 2737747.8248 | 1254803.0469 | 2737750.8053 | 1254807.9318 | 2737760.2066 | 1254823.9531
61 | 2737747.8248 | 1254803.0469 | 2737753.5398 | 1254800.3662 | 2737758.7804 | 1254787.5874 | 2737763.3955 | 1254780.6105 | 2737768.5083 | 1254777.5376 | 2737774.6928 | 1254772.8438
62 | 2737780.1161 | 1254857.8822 | 2737760.2066 | 1254823.9531
63 | 2737788.6239 | 1254777.9167 | 2737782.899 | 1254768.186 | 2737774.6928 | 1254772.8438 | 2737774.6928 | 1254772.8438
64 | 2737300.6711 | 1254947.4086 | 2737291.674 | 1254974.4695 | 2737280.9706 | 1255015.6932
65 | 2737257.4934 | 1255038.0028 | 2737258.0975 | 1255037.4337
66 | 2737276.028 | 1255034.7293 | 2737268.7303 | 1255032.7917 | 2737264.2122 | 1255033.3431 | 2737260.0857 | 1255035.5606 | 2737258.0975 | 1255037.4337
67 | 2737276.028 | 1255034.7293 | 2737280.9706 | 1255015.6932
68 | 2737276.028 | 1255034.7293 | 2737281.8853 | 1255038.2573 | 2737302.4638 | 1255050.9683 | 2737305.5525 | 1255052.7253
69 | 2737484.0177 | 1255139.5846 | 2737443.7507 | 1255122.6787 | 2737394.3588 | 1255101.5909 | 2737381.2728 | 1255096.4158 | 2737369.048 | 1255090.549 | 2737354.9065 | 1255082.7249 | 2737337.7544 | 1255072.6066 | 2737319.952 | 1255060.9163 | 2737305.5525 | 1255052.7253
70 | 2737484.0177 | 1255139.5846 | 2737489.1315 | 1255140.3485
71 | 2737489.1315 | 1255140.3485 | 2737535.1616 | 1255206.6899 | 2737549.7446 | 1255228.6291
72 | 2737788.6239 | 1254777.9167 | 2737796.1403 | 1254790.6927 | 2737798.229 | 1254793.6523
73 | 2737549.7446 | 1255228.6291 | 2737551.2443 | 1255230.8853
74 | 2737556.385 | 1255238.6191 | 2737551.2443 | 1255230.8853
75 | 2737859.8033 | 1254790.9149 | 2737862.8917 | 1254792.6479
76 | 2737829.6468 | 1254841.6196 | 2737841.2779 | 1254837.0193 | 2737849.9134 | 1254839.5227 | 2737857.3045 | 1254845.2333
77 | 2737857.3045 | 1254845.2333 | 2737871.3319 | 1254878.6798 | 2737880.7194 | 1254892.956 | 2737899.3642 | 1254916.4008 | 2737903.8095 | 1254922.6785
78 | 2737829.6468 | 1254841.6196 | 2737823.1729 | 1254829.2575 | 2737818.6427 | 1254819.3226
79 | 2737903.8095 | 1254922.6785 | 2737904.3452 | 1254923.4351
80 | 2737798.229 | 1254793.6523 | 2737802.8032 | 1254800.1342 | 2737807.8914 | 1254807.515 | 2737817.7807 | 1254817.4321 | 2737818.6427 | 1254819.3226
81 | 2737780.1161 | 1254857.8822 | 2737785.3184 | 1254873.6512 | 2737791.5433 | 1254893.47 | 2737791.8844 | 1254899.2002
82 | 2737780.1161 | 1254857.8822 | 2737762.0233 | 1254865.802 | 2737757.6496 | 1254868.3256
83 | 2737792.6514 | 1254915.8832 | 2737792.2919 | 1254906.0435 | 2737791.8844 | 1254899.2002
84 | 2737751.3148 | 1254871.9808 | 2737757.6496 | 1254868.3256
85 | 2737802.7621 | 1254935.594 | 2737800.2157 | 1254930.8024
86 | 2737802.7621 | 1254935.594 | 2737792.8934 | 1255132.0839
87 | 2737800.2157 | 1254930.8024 | 2737799.5117 | 1254929.4777 | 2737792.6514 | 1254915.8832 | 2737792.6514 | 1254915.8832
88 | 2737810.1167 | 1255155.3195 | 2737801.694 | 1255144.25 | 2737792.8934 | 1255132.0839
89 | 2738014.1253 | 1255120.597 | 2737810.1167 | 1255155.3195
90 | 2738014.1253 | 1255120.597 | 2738044.0552 | 1255081.7474 | 2738067.4518 | 1255057.0587
91 | 2738067.4518 | 1255057.0587 | 2738046.9239 | 1255036.0941
92 | 2737751.3148 | 1254871.9808 | 2737744.5861 | 1254875.8632
93 | 2737556.385 | 1255238.6191 | 2737560.223 | 1255244.3931

## bus_geodata
| x | y | coords
0 | 2738233.6999 | 1254468.4001
1 | 2738237.0064 | 1254480.4448
2 | 2738232.6329 | 1254481.566
3 | 2738265.4779 | 1254499.3603
4 | 2738134.9752 | 1254555.3097
5 | 2738228.3826 | 1254465.4129
6 | 2738277.8777 | 1254500.6621
7 | 2738265.8647 | 1254494.5904
8 | 2738111.6817 | 1254572.9591
9 | 2738516.7232 | 1254611.4303
10 | 2738265.335 | 1254491.5831
11 | 2738591.9254 | 1254675.3092
12 | 2738604.0101 | 1254682.644
13 | 2738581.4009 | 1254653.8502
14 | 2738531.1168 | 1254646.6128
15 | 2738524.3251 | 1254641.5297
16 | 2738529.2988 | 1254633.6717
17 | 2738536.85 | 1254622.6495
18 | 2737988.5245 | 1254667.4775
19 | 2737961.3066 | 1254669.1235
20 | 2737966.0272 | 1254685.1609
21 | 2737937.6919 | 1254595.3287
22 | 2737931.8976 | 1254507.378
23 | 2737922.7095 | 1254600.251
24 | 2737958.7509 | 1254697.1803
25 | 2737935.5932 | 1254471.3292
26 | 2737930.1552 | 1254635.8169
27 | 2737944.3338 | 1254686.2549
28 | 2737966.437 | 1254709.2096
29 | 2737676.4987 | 1254523.869
30 | 2737652.6569 | 1254559.6659
31 | 2737931.1701 | 1254638.8522
32 | 2737936.7373 | 1254669.2812
33 | 2737971.3402 | 1254716.9818
34 | 2738563.472 | 1254644.6506
35 | 2738562.3797 | 1254643.6885
36 | 2738551.0824 | 1254631.0903
37 | 2738580.7667 | 1254604.2709
38 | 2738548.7353 | 1254629.6983
39 | 2738600.5651 | 1254589.3605
40 | 2738634.6722 | 1254648.2289
41 | 2738531.3457 | 1254619.5812
42 | 2737970.9545 | 1254747.667
43 | 2738002.0965 | 1254755.0379
44 | 2737928.8226 | 1254785.1204
45 | 2737915.8708 | 1254792.3357
46 | 2737877.3347 | 1254813.7704
47 | 2738607.7637 | 1254586.1858
48 | 2738624.8273 | 1254583.4851
49 | 2737377.8739 | 1254865.5375
50 | 2737364.227 | 1254874.9819
51 | 2737389.8625 | 1254464.7811
52 | 2737362.9855 | 1254865.2631
53 | 2737359.6661 | 1254892.0272
54 | 2737616.4284 | 1254592.0857
55 | 2737353.3562 | 1254920.9724
56 | 2737545.1091 | 1254691.6461
57 | 2737556.4831 | 1254673.2469
58 | 2737747.8248 | 1254803.0469
59 | 2737760.2066 | 1254823.9531
60 | 2737774.6928 | 1254772.8438
61 | 2737300.6711 | 1254947.4086
62 | 2737258.0975 | 1255037.4337
63 | 2737257.4934 | 1255038.0028
64 | 2737276.028 | 1255034.7293
65 | 2737280.9706 | 1255015.6932
66 | 2737305.5525 | 1255052.7253
67 | 2737484.0177 | 1255139.5846
68 | 2737489.1315 | 1255140.3485
69 | 2737788.6239 | 1254777.9167
70 | 2737549.7446 | 1255228.6291
71 | 2737551.2443 | 1255230.8853
72 | 2737862.8917 | 1254792.6479
73 | 2737857.3045 | 1254845.2333
74 | 2737859.8033 | 1254790.9149
75 | 2737829.6468 | 1254841.6196
76 | 2737903.8095 | 1254922.6785
77 | 2737818.6427 | 1254819.3226
78 | 2737904.3452 | 1254923.4351
79 | 2737798.229 | 1254793.6523
80 | 2737780.1161 | 1254857.8822
81 | 2737791.8844 | 1254899.2002
82 | 2737757.6496 | 1254868.3256
83 | 2737802.7621 | 1254935.594
84 | 2737800.2157 | 1254930.8024
85 | 2737792.8934 | 1255132.0839
86 | 2737792.6514 | 1254915.8832
87 | 2737810.1167 | 1255155.3195
88 | 2738014.1253 | 1255120.597
89 | 2738067.4518 | 1255057.0587
90 | 2738046.9239 | 1255036.0941
91 | 2737751.3148 | 1254871.9808
92 | 2737744.5861 | 1254875.8632
93 | 2737556.385 | 1255238.6191
94 | 2737560.223 | 1255244.3931
95 | 2737857.3045 | 1254845.2333

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1