## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_3443-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_3443-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_3443-9_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_3443-9_0_3_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_3443-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_3443-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_3443-9_0_3_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_3443-9_0_3_node_21 | 0.4 | n |  | TRUE
8 | bus_LV_3443-9_0_3_node_45 | 0.4 | n |  | TRUE
9 | bus_LV_3443-9_0_3_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_3443-9_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_3443-9_0_3_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_3443-9_0_3_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_3443-9_0_3_node_123 | 0.4 | n |  | TRUE
14 | bus_LV_3443-9_0_3_node_124 | 0.4 | n |  | TRUE
15 | bus_LV_3443-9_0_3_node_52 | 0.4 | n |  | TRUE
16 | bus_LV_3443-9_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_3443-9_0_3_node_6 | 0.4 | n |  | TRUE
18 | bus_LV_3443-9_0_3_node_7 | 0.4 | n |  | TRUE
19 | bus_LV_3443-9_0_3_node_8 | 0.4 | n |  | TRUE
20 | bus_LV_3443-9_0_3_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_3443-9_0_3_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_3443-9_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_3443-9_0_3_node_102 | 0.4 | n |  | TRUE
24 | bus_LV_3443-9_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_3443-9_0_3_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_3443-9_0_3_node_133 | 0.4 | n |  | TRUE
27 | bus_LV_3443-9_0_3_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_3443-9_0_3_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_3443-9_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_3443-9_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_3443-9_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_3443-9_0_3_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_3443-9_0_3_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_3443-9_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_3443-9_0_3_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_3443-9_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_3443-9_0_3_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_3443-9_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_3443-9_0_3_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_3443-9_0_3_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_3443-9_0_3_node_67 | 0.4 | n |  | TRUE
42 | bus_LV_3443-9_0_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_3443-9_0_3_node_106 | 0.4 | n |  | TRUE
44 | bus_LV_3443-9_0_3_node_94 | 0.4 | n |  | TRUE
45 | bus_LV_3443-9_0_3_node_65 | 0.4 | n |  | TRUE
46 | bus_LV_3443-9_0_3_node_70 | 0.4 | n |  | TRUE
47 | bus_LV_3443-9_0_3_node_107 | 0.4 | n |  | TRUE
48 | bus_LV_3443-9_0_3_node_95 | 0.4 | n |  | TRUE
49 | bus_LV_3443-9_0_3_node_105 | 0.4 | n |  | TRUE
50 | bus_LV_3443-9_0_3_node_103 | 0.4 | n |  | TRUE
51 | bus_LV_3443-9_0_3_node_96 | 0.4 | n |  | TRUE
52 | bus_LV_3443-9_0_3_node_97 | 0.4 | n |  | TRUE
53 | bus_LV_3443-9_0_3_node_126 | 0.4 | n |  | TRUE
54 | bus_LV_3443-9_0_3_node_81 | 0.4 | n |  | TRUE
55 | bus_LV_3443-9_0_3_node_79 | 0.4 | n |  | TRUE
56 | bus_LV_3443-9_0_3_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_3443-9_0_3_node_34 | 0.4 | n |  | TRUE
58 | bus_LV_3443-9_0_3_node_35 | 0.4 | n |  | TRUE
59 | bus_LV_3443-9_0_3_node_36 | 0.4 | n |  | TRUE
60 | bus_LV_3443-9_0_3_node_42 | 0.4 | n |  | TRUE
61 | bus_LV_3443-9_0_3_node_122 | 0.4 | n |  | TRUE
62 | bus_LV_3443-9_0_3_node_132 | 0.4 | n |  | TRUE
63 | bus_LV_3443-9_0_3_node_39 | 0.4 | n |  | TRUE
64 | bus_LV_3443-9_0_3_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_3443-9_0_3_node_37 | 0.4 | n |  | TRUE
66 | bus_LV_3443-9_0_3_node_38 | 0.4 | n |  | TRUE
67 | bus_LV_3443-9_0_3_node_40 | 0.4 | n |  | TRUE
68 | bus_LV_3443-9_0_3_node_44 | 0.4 | n |  | TRUE
69 | bus_LV_3443-9_0_3_node_48 | 0.4 | n |  | TRUE
70 | bus_LV_3443-9_0_3_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_3443-9_0_3_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_3443-9_0_3_node_49 | 0.4 | n |  | TRUE
73 | bus_LV_3443-9_0_3_node_125 | 0.4 | n |  | TRUE
74 | bus_LV_3443-9_0_3_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_3443-9_0_3_node_93 | 0.4 | n |  | TRUE
76 | bus_LV_3443-9_0_3_node_91 | 0.4 | n |  | TRUE
77 | bus_LV_3443-9_0_3_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_3443-9_0_3_node_51 | 0.4 | n |  | TRUE
79 | bus_LV_3443-9_0_3_node_54 | 0.4 | n |  | TRUE
80 | bus_LV_3443-9_0_3_node_59 | 0.4 | n |  | TRUE
81 | bus_LV_3443-9_0_3_node_108 | 0.4 | n |  | TRUE
82 | bus_LV_3443-9_0_3_node_50 | 0.4 | n |  | TRUE
83 | bus_LV_3443-9_0_3_node_115 | 0.4 | n |  | TRUE
84 | bus_LV_3443-9_0_3_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_3443-9_0_3_node_56 | 0.4 | n |  | TRUE
86 | bus_LV_3443-9_0_3_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_3443-9_0_3_node_60 | 0.4 | n |  | TRUE
88 | bus_LV_3443-9_0_3_node_63 | 0.4 | n |  | TRUE
89 | bus_LV_3443-9_0_3_node_77 | 0.4 | n |  | TRUE
90 | bus_LV_3443-9_0_3_node_66 | 0.4 | n |  | TRUE
91 | bus_LV_3443-9_0_3_node_98 | 0.4 | n |  | TRUE
92 | bus_LV_3443-9_0_3_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_3443-9_0_3_node_71 | 0.4 | n |  | TRUE
94 | bus_LV_3443-9_0_3_node_72 | 0.4 | n |  | TRUE
95 | bus_LV_3443-9_0_3_node_74 | 0.4 | n |  | TRUE
96 | bus_LV_3443-9_0_3_node_73 | 0.4 | n |  | TRUE
97 | bus_LV_3443-9_0_3_node_75 | 0.4 | n |  | TRUE
98 | bus_LV_3443-9_0_3_node_76 | 0.4 | n |  | TRUE
99 | bus_LV_3443-9_0_3_node_85 | 0.4 | n |  | TRUE
100 | bus_LV_3443-9_0_3_node_130 | 0.4 | n |  | TRUE
101 | bus_LV_3443-9_0_3_node_86 | 0.4 | n |  | TRUE
102 | bus_LV_3443-9_0_3_node_104 | 0.4 | n |  | TRUE
103 | bus_LV_3443-9_0_3_node_83 | 0.4 | n |  | TRUE
104 | bus_LV_3443-9_0_3_node_129 | 0.4 | n |  | TRUE
105 | bus_LV_3443-9_0_3_node_128 | 0.4 | n |  | TRUE
106 | bus_LV_3443-9_0_3_node_84 | 0.4 | n |  | TRUE
107 | bus_LV_3443-9_0_3_node_78 | 0.4 | n |  | TRUE
108 | bus_LV_3443-9_0_3_node_80 | 0.4 | n |  | TRUE
109 | bus_LV_3443-9_0_3_node_82 | 0.4 | n |  | TRUE
110 | bus_LV_3443-9_0_3_node_111 | 0.4 | n |  | TRUE
111 | bus_LV_3443-9_0_3_node_87 | 0.4 | n |  | TRUE
112 | bus_LV_3443-9_0_3_node_88 | 0.4 | n |  | TRUE
113 | bus_LV_3443-9_0_3_node_89 | 0.4 | n |  | TRUE
114 | bus_LV_3443-9_0_3_node_90 | 0.4 | n |  | TRUE
115 | bus_LV_3443-9_0_3_node_99 | 0.4 | n |  | TRUE
116 | bus_LV_3443-9_0_3_node_109 | 0.4 | n |  | TRUE
117 | bus_LV_3443-9_0_3_node_101 | 0.4 | n |  | TRUE
118 | bus_LV_3443-9_0_3_node_113 | 0.4 | n |  | TRUE
119 | bus_LV_3443-9_0_3_node_118 | 0.4 | n |  | TRUE
120 | bus_LV_3443-9_0_3_node_121 | 0.4 | n |  | TRUE
121 | bus_LV_3443-9_0_3_node_131 | 0.4 | n |  | TRUE
122 | bus_LV_3443-9_0_3_node_116 | 0.4 | n |  | TRUE
123 | bus_LV_3443-9_0_3_node_119 | 0.4 | n |  | TRUE
124 | bus_LV_3443-9_0_3_node_112 | 0.4 | n |  | TRUE
125 | bus_LV_3443-9_0_3_node_110 | 0.4 | n |  | TRUE
126 | bus_LV_3443-9_0_3_node_114 | 0.4 | n |  | TRUE
127 | bus_LV_3443-9_0_3_node_117 | 0.4 | n |  | TRUE
128 | bus_LV_3443-9_0_3_node_127 | 0.4 | n |  | TRUE
129 | bus_MV_590_0_node_124 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_3443-9_0_3_load_0 | 0 | 7.9398e-05 | 1.9899e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_3443-9_0_3_load_1 | 1 | 0.00033315 | 8.3496e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_3443-9_0_3_load_5 | 5 | 6.3378e-05 | 1.5884e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_3443-9_0_3_load_20 | 6 | 0.00023909 | 5.9922e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_3443-9_0_3_load_21 | 7 | 0.00015377 | 3.8537e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_3443-9_0_3_load_45 | 8 | 0.00010212 | 2.5594e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_3443-9_0_3_load_123 | 13 | 0.00069833 | 0.00017502 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_3443-9_0_3_load_124 | 14 | 0.00070498 | 0.00017668 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_3443-9_0_3_load_11 | 16 | 4.9001e-05 | 1.2281e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_3443-9_0_3_load_6 | 17 | 0.00014385 | 3.6052e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_3443-9_0_3_load_10 | 21 | 0.00039579 | 9.9193e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_3443-9_0_3_load_102 | 23 | 0.00049936 | 0.00012515 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_3443-9_0_3_load_22 | 24 | 0.00065802 | 0.00016491 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_3443-9_0_3_load_133 | 26 | 0.00037499 | 9.3981e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_3443-9_0_3_load_23 | 27 | 0.00030818 | 7.7237e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_3443-9_0_3_load_19 | 28 | 9.0296e-05 | 2.263e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_3443-9_0_3_load_24 | 30 | 0.00031762 | 7.9602e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_3443-9_0_3_load_15 | 32 | 0.00027846 | 6.979e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_3443-9_0_3_load_16 | 33 | 0.00098341 | 0.00024647 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_3443-9_0_3_load_18 | 34 | 0.00058061 | 0.00014551 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_3443-9_0_3_load_26 | 35 | 0.0086177 | 0.0021598 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_3443-9_0_3_load_67 | 41 | 0.0019352 | 0.000485 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_3443-9_0_3_load_69 | 42 | 0.00082711 | 0.00020729 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_3443-9_0_3_load_106 | 43 | 0.00099216 | 0.00024866 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_3443-9_0_3_load_94 | 44 | 0.016989 | 0.0042577 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_3443-9_0_3_load_65 | 45 | 0.00057493 | 0.00014409 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_3443-9_0_3_load_70 | 46 | 0.0017612 | 0.0004414 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_3443-9_0_3_load_107 | 47 | 0.00066128 | 0.00016573 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_3443-9_0_3_load_105 | 49 | 0.0006442 | 0.00016145 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_3443-9_0_3_load_103 | 50 | 0.0037703 | 0.00094493 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_3443-9_0_3_load_126 | 53 | 0.0010531 | 0.00026393 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_3443-9_0_3_load_79 | 55 | 0.00019931 | 4.9951e-05 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_3443-9_0_3_load_33 | 56 | 0.00064378 | 0.00016135 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_3443-9_0_3_load_34 | 57 | 0.0035363 | 0.00088627 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_3443-9_0_3_load_35 | 58 | 0.0094982 | 0.0023805 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_3443-9_0_3_load_122 | 61 | 0.008483 | 0.002126 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_3443-9_0_3_load_132 | 62 | 0.0040356 | 0.0010114 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_3443-9_0_3_load_37 | 65 | 0.0017933 | 0.00044944 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_3443-9_0_3_load_38 | 66 | 0.00062908 | 0.00015766 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_3443-9_0_3_load_48 | 69 | 0.0032043 | 0.00080306 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_3443-9_0_3_load_61 | 71 | 0.0048858 | 0.0012245 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_3443-9_0_3_load_125 | 73 | 0.0018974 | 0.00047555 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_3443-9_0_3_load_93 | 75 | 0.0016835 | 0.00042194 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_3443-9_0_3_load_91 | 76 | 0.0052547 | 0.001317 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_3443-9_0_3_load_62 | 77 | 0.0012033 | 0.00030158 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_3443-9_0_3_load_51 | 78 | 0.00032279 | 8.0898e-05 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_3443-9_0_3_load_108 | 81 | 0.00068722 | 0.00017223 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_3443-9_0_3_load_115 | 83 | 0.001217 | 0.00030502 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_3443-9_0_3_load_55 | 84 | 0.00051979 | 0.00013027 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_3443-9_0_3_load_56 | 85 | 0.0015196 | 0.00038084 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_3443-9_0_3_load_57 | 86 | 0.00093227 | 0.00023365 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_3443-9_0_3_load_60 | 87 | 0.0026035 | 0.00065249 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_3443-9_0_3_load_77 | 89 | 0.0050372 | 0.0012625 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_3443-9_0_3_load_66 | 90 | 0.0015199 | 0.00038092 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_3443-9_0_3_load_98 | 91 | 0.00047433 | 0.00011888 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_3443-9_0_3_load_71 | 93 | 0.0022131 | 0.00055465 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_3443-9_0_3_load_72 | 94 | 0.00049155 | 0.00012319 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_3443-9_0_3_load_74 | 95 | 0.00083784 | 0.00020998 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_3443-9_0_3_load_76 | 98 | 0.00043947 | 0.00011014 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_3443-9_0_3_load_130 | 100 | 0.0012307 | 0.00030845 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_3443-9_0_3_load_104 | 102 | 0.00091476 | 0.00022926 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_3443-9_0_3_load_83 | 103 | 0.00044323 | 0.00011108 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_3443-9_0_3_load_129 | 104 | 0.00063505 | 0.00015916 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_3443-9_0_3_load_128 | 105 | 0.0029582 | 0.00074139 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_3443-9_0_3_load_78 | 107 | 0.00059275 | 0.00014856 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_3443-9_0_3_load_80 | 108 | 9.2646e-05 | 2.3219e-05 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_3443-9_0_3_load_82 | 109 | 0.006033 | 0.001512 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_3443-9_0_3_load_111 | 110 | 0.00053039 | 0.00013293 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_3443-9_0_3_load_87 | 111 | 0.0007591 | 0.00019025 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_3443-9_0_3_load_88 | 112 | 0.0025211 | 0.00063184 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_3443-9_0_3_load_89 | 113 | 0.0004953 | 0.00012413 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_3443-9_0_3_load_109 | 116 | 0.0019095 | 0.00047857 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_3443-9_0_3_load_101 | 117 | 0.0034811 | 0.00087244 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_3443-9_0_3_load_113 | 118 | 0.0014951 | 0.00037471 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_3443-9_0_3_load_131 | 121 | 0.00070608 | 0.00017696 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_3443-9_0_3_load_119 | 123 | 0.0022869 | 0.00057315 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_3443-9_0_3_load_110 | 125 | 0.0051801 | 0.0012983 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_3443-9_0_3_load_114 | 126 | 0.0015709 | 0.0003937 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_3443-9_0_3_load_117 | 127 | 0.0045621 | 0.0011434 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_3443-9_0_3_load_127 | 128 | 0.0046024 | 0.0011535 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 48 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_3443-9_0_3_line_0 |  | 0 | 1 | 0.002384 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_3443-9_0_3_line_1 |  | 1 | 2 | 0.026894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_3443-9_0_3_line_2 |  | 2 | 6 | 0.013753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_3443-9_0_3_line_3 |  | 2 | 7 | 0.021778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_3443-9_0_3_line_4 |  | 3 | 4 | 0.31613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_3443-9_0_3_line_5 |  | 3 | 5 | 0.017977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_3443-9_0_3_line_6 |  | 4 | 8 | 0.17662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_3443-9_0_3_line_7 |  | 5 | 9 | 0.0092103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_3443-9_0_3_line_8 |  | 6 | 10 | 0.098096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_3443-9_0_3_line_9 |  | 7 | 9 | 0.010175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_3443-9_0_3_line_10 |  | 8 | 15 | 0.3801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_3443-9_0_3_line_11 |  | 9 | 16 | 0.02448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_3443-9_0_3_line_12 |  | 10 | 25 | 0.17865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_3443-9_0_3_line_13 |  | 11 | 12 | 0.053793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_3443-9_0_3_line_14 |  | 11 | 13 | 0.095835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_3443-9_0_3_line_15 |  | 12 | 14 | 0.076276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_3443-9_0_3_line_16 |  | 13 | 81 | 0.07747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_3443-9_0_3_line_17 |  | 14 | 52 | 0.10614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_3443-9_0_3_line_18 |  | 15 | 79 | 0.13072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_3443-9_0_3_line_19 |  | 15 | 78 | 0.0086391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_3443-9_0_3_line_20 |  | 16 | 18 | 0.062655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_3443-9_0_3_line_21 |  | 17 | 18 | 0.034658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_3443-9_0_3_line_22 |  | 17 | 19 | 0.13641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_3443-9_0_3_line_23 |  | 18 | 20 | 0.30955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_3443-9_0_3_line_24 |  | 18 | 21 | 0.024515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_3443-9_0_3_line_25 |  | 19 | 22 | 0.18057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_3443-9_0_3_line_26 |  | 20 | 23 | 0.19851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_3443-9_0_3_line_27 |  | 21 | 24 | 0.14053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_3443-9_0_3_line_28 |  | 22 | 27 | 0.021498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_3443-9_0_3_line_29 |  | 22 | 28 | 0.0099354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_3443-9_0_3_line_30 |  | 23 | 29 | 0.057722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_3443-9_0_3_line_31 |  | 25 | 26 | 0.046147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_3443-9_0_3_line_32 |  | 27 | 30 | 0.022152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_3443-9_0_3_line_33 |  | 28 | 31 | 0.17492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_3443-9_0_3_line_34 |  | 29 | 36 | 0.20044 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_3443-9_0_3_line_35 |  | 31 | 32 | 0.040172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_3443-9_0_3_line_36 |  | 32 | 33 | 0.014013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_3443-9_0_3_line_37 |  | 33 | 34 | 0.025787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_3443-9_0_3_line_38 |  | 35 | 36 | 0.28251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_3443-9_0_3_line_39 |  | 35 | 37 | 0.033174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_3443-9_0_3_line_40 |  | 36 | 38 | 0.022834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_3443-9_0_3_line_41 |  | 37 | 39 | 0.016517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_3443-9_0_3_line_42 |  | 37 | 40 | 0.053877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_3443-9_0_3_line_43 |  | 38 | 41 | 0.020555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_3443-9_0_3_line_44 |  | 38 | 42 | 0.014513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_3443-9_0_3_line_45 |  | 39 | 43 | 0.030262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_3443-9_0_3_line_46 |  | 40 | 44 | 0.041255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_3443-9_0_3_line_47 |  | 41 | 45 | 0.008481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_3443-9_0_3_line_48 |  | 42 | 46 | 0.0069704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_3443-9_0_3_line_49 |  | 43 | 47 | 0.05818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_3443-9_0_3_line_50 |  | 45 | 90 | 0.022655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_3443-9_0_3_line_51 |  | 47 | 81 | 0.044553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_3443-9_0_3_line_52 |  | 48 | 49 | 0.016928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_3443-9_0_3_line_53 |  | 48 | 50 | 0.037041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_3443-9_0_3_line_54 |  | 49 | 116 | 0.0019579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_3443-9_0_3_line_55 |  | 50 | 74 | 0.07165 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
56 | LV_3443-9_0_3_line_56 |  | 51 | 52 | 0.13397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_3443-9_0_3_line_57 |  | 51 | 53 | 0.051343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_3443-9_0_3_line_58 |  | 51 | 54 | 0.066305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_3443-9_0_3_line_59 |  | 53 | 73 | 0.012186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_3443-9_0_3_line_60 |  | 54 | 55 | 0.01474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_3443-9_0_3_line_61 |  | 55 | 107 | 0.039257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_3443-9_0_3_line_62 |  | 56 | 57 | 0.020549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_3443-9_0_3_line_63 |  | 56 | 58 | 0.008807 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_3443-9_0_3_line_64 |  | 57 | 59 | 0.028713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_3443-9_0_3_line_65 |  | 59 | 60 | 0.02385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_3443-9_0_3_line_66 |  | 59 | 61 | 0.081294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_3443-9_0_3_line_67 |  | 60 | 62 | 0.058725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_3443-9_0_3_line_68 |  | 60 | 63 | 0.17818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_3443-9_0_3_line_69 |  | 60 | 64 | 0.15298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_3443-9_0_3_line_70 |  | 63 | 65 | 0.077781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_3443-9_0_3_line_71 |  | 64 | 69 | 0.028435 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_3443-9_0_3_line_72 |  | 65 | 66 | 0.011499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_3443-9_0_3_line_73 |  | 66 | 67 | 0.011925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_3443-9_0_3_line_74 |  | 67 | 68 | 0.24801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_3443-9_0_3_line_75 |  | 68 | 70 | 0.011922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_3443-9_0_3_line_76 |  | 68 | 71 | 0.04388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_3443-9_0_3_line_77 |  | 69 | 72 | 0.25693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_3443-9_0_3_line_78 |  | 70 | 74 | 0.011095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_3443-9_0_3_line_79 |  | 70 | 75 | 0.0061933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_3443-9_0_3_line_80 |  | 70 | 76 | 0.10151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_3443-9_0_3_line_81 |  | 71 | 77 | 0.052922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_3443-9_0_3_line_82 |  | 72 | 82 | 0.3383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_3443-9_0_3_line_83 |  | 74 | 90 | 0.030498 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_3443-9_0_3_line_84 |  | 75 | 91 | 0.010849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_3443-9_0_3_line_85 |  | 76 | 92 | 0.082923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_3443-9_0_3_line_86 |  | 77 | 88 | 0.028564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_3443-9_0_3_line_87 |  | 79 | 80 | 0.63318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_3443-9_0_3_line_88 |  | 80 | 87 | 0.029391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_3443-9_0_3_line_89 |  | 80 | 86 | 0.019203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_3443-9_0_3_line_90 |  | 82 | 83 | 0.10872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_3443-9_0_3_line_91 |  | 84 | 85 | 0.0066588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_3443-9_0_3_line_92 |  | 84 | 86 | 0.019988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_3443-9_0_3_line_93 |  | 88 | 89 | 0.15098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_3443-9_0_3_line_94 |  | 91 | 115 | 0.0029174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_3443-9_0_3_line_95 |  | 92 | 114 | 0.032918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_3443-9_0_3_line_96 |  | 93 | 94 | 0.095022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_3443-9_0_3_line_97 |  | 94 | 95 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_3443-9_0_3_line_98 |  | 95 | 99 | 0.0041231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_3443-9_0_3_line_99 |  | 96 | 97 | 0.039575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_3443-9_0_3_line_100 |  | 96 | 98 | 0.035955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_3443-9_0_3_line_101 |  | 97 | 100 | 0.017229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_3443-9_0_3_line_102 |  | 98 | 101 | 0.018205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_3443-9_0_3_line_103 |  | 99 | 102 | 0.0049419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_3443-9_0_3_line_104 |  | 99 | 103 | 0.058769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_3443-9_0_3_line_105 |  | 100 | 104 | 0.0032717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_3443-9_0_3_line_106 |  | 101 | 105 | 0.030046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_3443-9_0_3_line_107 |  | 101 | 106 | 0.086311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_3443-9_0_3_line_108 |  | 102 | 110 | 0.0071288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_3443-9_0_3_line_109 |  | 103 | 109 | 0.0035125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_3443-9_0_3_line_110 |  | 104 | 128 | 0.028794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_3443-9_0_3_line_111 |  | 106 | 109 | 0.043775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_3443-9_0_3_line_112 |  | 107 | 108 | 0.012785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_3443-9_0_3_line_113 |  | 110 | 125 | 0.045198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_3443-9_0_3_line_114 |  | 111 | 112 | 0.001413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_3443-9_0_3_line_115 |  | 111 | 113 | 0.0069286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_3443-9_0_3_line_116 |  | 112 | 114 | 0.10392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_3443-9_0_3_line_117 |  | 115 | 117 | 0.023111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_3443-9_0_3_line_118 |  | 117 | 118 | 0.0085694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_3443-9_0_3_line_119 |  | 118 | 124 | 0.052174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_3443-9_0_3_line_120 |  | 119 | 120 | 0.049651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_3443-9_0_3_line_121 |  | 119 | 121 | 0.0085003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_3443-9_0_3_line_122 |  | 119 | 122 | 0.008855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_3443-9_0_3_line_123 |  | 120 | 123 | 0.029437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_3443-9_0_3_line_124 |  | 122 | 127 | 0.007503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_3443-9_0_3_line_125 |  | 122 | 126 | 0.014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_3443-9_0_3_line_126 |  | 124 | 126 | 0.044199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_3443-9_0_3_line_127 |  | 124 | 125 | 0.030297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_3443-9_0_3_trafo_95 | 0.63 MVA 20/0.4 kV | 129 | 48 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2739400.9319 | 1254403.8111 | 2739399.0324 | 1254403.775 | 2739398.5485 | 1254403.7599
1 | 2739371.7081 | 1254402.2861 | 2739381.5051 | 1254403.2286 | 2739398.5485 | 1254403.7599
2 | 2739371.7081 | 1254402.2861 | 2739359.3252 | 1254408.2697
3 | 2739371.7081 | 1254402.2861 | 2739377.0564 | 1254387.665 | 2739381.8045 | 1254383.6631
4 | 2739414.2495 | 1254380.6449 | 2739435.9957 | 1254399.7746 | 2739469.7448 | 1254429.041 | 2739474.5518 | 1254432.9133 | 2739480.6273 | 1254433.557 | 2739491.8477 | 1254432.3868 | 2739502.2085 | 1254436.6237 | 2739513.8323 | 1254447.1517 | 2739534.8284 | 1254455.4986 | 2739559.3287 | 1254451.2719 | 2739604.9229 | 1254463.4021 | 2739620.0686 | 1254477.8726 | 2739625.6226 | 1254506.6971 | 2739632.0765 | 1254517.8486 | 2739647.3439 | 1254521.0782 | 2739666.0155 | 1254525.8897
5 | 2739414.2495 | 1254380.6449 | 2739409.3006 | 1254377.3475 | 2739399.3357 | 1254373.2759 | 2739398.1576 | 1254373.7386
6 | 2739666.0155 | 1254525.8897 | 2739681.7995 | 1254549.1169 | 2739691.1013 | 1254560.7916 | 2739695.1518 | 1254577.8364 | 2739697.1404 | 1254613.8058 | 2739705.7172 | 1254627.7323 | 2739713.3654 | 1254629.5255 | 2739720.1779 | 1254632.5112 | 2739725.3878 | 1254634.6472 | 2739726.4211 | 1254642.3454 | 2739727.3371 | 1254652.4543 | 2739736.6643 | 1254675.507
7 | 2739389.5848 | 1254377.1055 | 2739398.1576 | 1254373.7386
8 | 2739276.5741 | 1254458.3561 | 2739283.855 | 1254447.8731 | 2739306.5498 | 1254433.7715 | 2739359.3252 | 1254408.2697
9 | 2739389.5848 | 1254377.1055 | 2739381.8045 | 1254383.6631
10 | 2739736.6643 | 1254675.507 | 2740106.963 | 1254589.7415
11 | 2739389.5848 | 1254377.1055 | 2739374.9479 | 1254357.4835
12 | 2739276.5741 | 1254458.3561 | 2739275.3414 | 1254470.6497 | 2739276.6744 | 1254480.7127 | 2739287.1123 | 1254490.0112 | 2739308.795 | 1254516.646 | 2739319.2603 | 1254546.2531 | 2739328.6337 | 1254589.5362 | 2739337.0279 | 1254620.5515
13 | 2739730.3837 | 1254204.7635 | 2739725.7285 | 1254210.1254 | 2739721.5452 | 1254212.7625 | 2739707.0308 | 1254222.6849 | 2739702.3082 | 1254225.7876 | 2739686.8183 | 1254236.1096
14 | 2739686.8183 | 1254236.1096 | 2739666.7529 | 1254232.433 | 2739642.6856 | 1254227.8613 | 2739633.6528 | 1254226.1913 | 2739628.5134 | 1254224.2461 | 2739623.7586 | 1254220.7196 | 2739619.882 | 1254215.4789 | 2739606.7492 | 1254195.6083
15 | 2739730.3837 | 1254204.7635 | 2739739.1266 | 1254166.9345 | 2739747.2518 | 1254130.377
16 | 2739606.7492 | 1254195.6083 | 2739605.3142 | 1254193.4372 | 2739598.615 | 1254184.026 | 2739595.1412 | 1254178.9839 | 2739593.8594 | 1254173.1705 | 2739594.2511 | 1254169.0426 | 2739603.8614 | 1254122.9407
17 | 2739804.629 | 1254044.755 | 2739802.9038 | 1254045.8931 | 2739800.8667 | 1254047.4576 | 2739792.1803 | 1254054.1144 | 2739785.4403 | 1254060.8171 | 2739783.4936 | 1254066.2206 | 2739782.4113 | 1254069.2201 | 2739778.1293 | 1254078.9059 | 2739773.6002 | 1254086.2726 | 2739768.0634 | 1254093.8045 | 2739763.1889 | 1254098.5383 | 2739757.3026 | 1254104.2492 | 2739753.8631 | 1254108.3052 | 2739751.4509 | 1254112.3298 | 2739750.1523 | 1254117.782 | 2739747.369 | 1254129.8499 | 2739747.2518 | 1254130.377
18 | 2740106.963 | 1254589.7415 | 2740107.0828 | 1254578.9453 | 2740113.0361 | 1254523.5454 | 2740112.3476 | 1254515.01 | 2740114.9147 | 1254513.0578 | 2740118.0736 | 1254510.6525 | 2740156.6702 | 1254516.0819 | 2740165.955 | 1254517.9256
19 | 2740106.963 | 1254589.7415 | 2740112.4183 | 1254587.246 | 2740115.0076 | 1254586.7307
20 | 2739331.4777 | 1254312.9674 | 2739344.5296 | 1254321.8494 | 2739371.1254 | 1254352.3592 | 2739374.9479 | 1254357.4835
21 | 2739331.4777 | 1254312.9674 | 2739319.0084 | 1254322.939 | 2739304.0142 | 1254334.1
22 | 2739183.2296 | 1254393.824 | 2739216.2265 | 1254384.8578 | 2739245.3774 | 1254374.4778 | 2739268.2452 | 1254360.7248 | 2739288.9561 | 1254345.3086 | 2739304.0142 | 1254334.1
23 | 2739331.4777 | 1254312.9674 | 2739344.7202 | 1254298.6879 | 2739355.1885 | 1254283.6312 | 2739362.4193 | 1254273.047 | 2739369.9164 | 1254261.0901 | 2739368.357 | 1254251.9893 | 2739361.2561 | 1254241.0343 | 2739353.6384 | 1254234.3933 | 2739343.5792 | 1254228.5512 | 2739335.1791 | 1254225.0059 | 2739319.9122 | 1254223.0004 | 2739306.8052 | 1254212.2822 | 2739292.4873 | 1254199.4557 | 2739285.867 | 1254182.1839 | 2739280.1964 | 1254171.6964 | 2739278.9505 | 1254153.7615 | 2739284.9918 | 1254136.9546 | 2739285.7971 | 1254102.7416 | 2739281.3394 | 1254092.3493 | 2739282.9547 | 1254075.0268 | 2739284.4724 | 1254068.2673 | 2739285.2276 | 1254064.0811
24 | 2739331.4777 | 1254312.9674 | 2739320.0172 | 1254300.9311 | 2739314.2137 | 1254295.5775
25 | 2739183.2296 | 1254393.824 | 2739155.4101 | 1254402.4784 | 2739133.9561 | 1254407.1565 | 2739085.5243 | 1254423.2229 | 2739011.1127 | 1254448.0547
26 | 2739285.2276 | 1254064.0811 | 2739299.2632 | 1254053.3234 | 2739315.9408 | 1254045.4416 | 2739316.5802 | 1254043.6105 | 2739310.7822 | 1254034.043 | 2739309.67 | 1254021.9723 | 2739311.9102 | 1254013.0611 | 2739315.2066 | 1254008.6567 | 2739322.9976 | 1254006.0264 | 2739329.6722 | 1254004.3263 | 2739339.4052 | 1254000.6407 | 2739349.0452 | 1253996.4191 | 2739361.7828 | 1253990.4688 | 2739376.8228 | 1253978.4225 | 2739378.5648 | 1253974.9603 | 2739381.1443 | 1253966.3908 | 2739385.9463 | 1253943.8939 | 2739391.5648 | 1253934.1615 | 2739394.1206 | 1253929.1615 | 2739394.5064 | 1253929.085
27 | 2739314.2137 | 1254295.5775 | 2739308.87 | 1254290.6482 | 2739304.279 | 1254286.8923 | 2739294.749 | 1254283.5762 | 2739251.5905 | 1254268.2471 | 2739208.872 | 1254256.988 | 2739192.6121 | 1254251.6342 | 2739183.5745 | 1254247.0265
28 | 2739011.1127 | 1254448.0547 | 2739019.422 | 1254467.8821
29 | 2739011.1127 | 1254448.0547 | 2739001.6062 | 1254450.9425
30 | 2739440.7032 | 1253896.0048 | 2739426.6193 | 1253907.1837 | 2739417.1522 | 1253915.9134 | 2739411.019 | 1253921.2184 | 2739402.6974 | 1253927.4617 | 2739394.5064 | 1253929.085
31 | 2739300.0453 | 1254625.4306 | 2739303.0621 | 1254634.1764 | 2739305.8935 | 1254634.4432 | 2739309.5653 | 1254633.3174 | 2739319.3727 | 1254629.3111 | 2739325.5207 | 1254626.2306 | 2739337.0279 | 1254620.5515
32 | 2739028.1784 | 1254488.229 | 2739022.4616 | 1254475.1351 | 2739019.422 | 1254467.8821
33 | 2738832.5759 | 1254492.6531 | 2738853.7017 | 1254482.9615 | 2738873.6092 | 1254477.2674 | 2738896.03 | 1254474.1457 | 2738936.2008 | 1254468.5049 | 2738963.8766 | 1254462.404 | 2739001.6062 | 1254450.9425
34 | 2739440.7032 | 1253896.0048 | 2739439.1943 | 1253893.0887 | 2739436.2573 | 1253888.6377 | 2739432.1322 | 1253883.3579 | 2739421.105 | 1253874.0452 | 2739412.2899 | 1253866.3083 | 2739409.2188 | 1253862.7438 | 2739402.9111 | 1253854.9437 | 2739393.4367 | 1253841.5527 | 2739385.9532 | 1253830.1549 | 2739378.8495 | 1253817.0533 | 2739377.2843 | 1253813.3241 | 2739376.8798 | 1253809.6667 | 2739377.6992 | 1253805.9604 | 2739378.9267 | 1253801.5963 | 2739380.5998 | 1253795.2965 | 2739381.5938 | 1253788.3467 | 2739383.023 | 1253782.7863 | 2739385.3281 | 1253777.8581 | 2739387.7492 | 1253774.0894 | 2739393.1876 | 1253771.3704 | 2739405.4042 | 1253768.3328 | 2739413.0425 | 1253766.1105 | 2739420.3845 | 1253762.3687 | 2739426.215 | 1253759.0251 | 2739432.5143 | 1253755.9705 | 2739437.5079 | 1253753.2299
35 | 2738832.5759 | 1254492.6531 | 2738832.2443 | 1254488.4525 | 2738829.4116 | 1254482.1246 | 2738821.3233 | 1254468.5113 | 2738814.04 | 1254457.5134
36 | 2738806.0078 | 1254446.0339 | 2738811.6798 | 1254453.9495 | 2738814.04 | 1254457.5134
37 | 2738806.7257 | 1254427.0528 | 2738797.7871 | 1254434.5614 | 2738806.0078 | 1254446.0339
38 | 2739437.5079 | 1253753.2299 | 2739444.218 | 1253762.8524 | 2739446.4104 | 1253766.5519 | 2739448.5764 | 1253769.1275 | 2739451.8877 | 1253772.4308 | 2739459.696 | 1253779.3321 | 2739468.5765 | 1253786.5368 | 2739479.8653 | 1253795.6444 | 2739493.4514 | 1253807.5198 | 2739513.2796 | 1253826.4489 | 2739550.8599 | 1253856.9403 | 2739563.607 | 1253867.2502 | 2739571.9001 | 1253874.7081 | 2739578.4824 | 1253881.7364 | 2739581.698 | 1253886.8503 | 2739584.6193 | 1253893.8812 | 2739590.7927 | 1253908.963 | 2739597.409 | 1253922.5427 | 2739603.4092 | 1253933.7612 | 2739615.8289 | 1253950.5807 | 2739624.3959 | 1253959.4868
39 | 2739647.962 | 1253982.8349 | 2739625.8558 | 1253961.0046 | 2739624.3959 | 1253959.4868
40 | 2739424.7363 | 1253734.6453 | 2739430.1335 | 1253739.4435 | 2739437.5079 | 1253753.2299
41 | 2739647.962 | 1253982.8349 | 2739641.1757 | 1253989.5812 | 2739636.6354 | 1253994.868
42 | 2739647.962 | 1253982.8349 | 2739650.4157 | 1253981.8474 | 2739652.9447 | 1253980.8728 | 2739656.8217 | 1253979.385 | 2739660.9019 | 1253979.2033 | 2739664.2077 | 1253979.8485 | 2739668.8361 | 1253980.7474 | 2739674.8662 | 1253949.1156
43 | 2739424.7363 | 1253734.6453 | 2739415.2186 | 1253716.4269
44 | 2739424.7363 | 1253734.6453 | 2739411.7003 | 1253741.0249
45 | 2739636.6354 | 1253994.868 | 2739635.4013 | 1253996.3069 | 2739629.8366 | 1254005.6623 | 2739625.6973 | 1254017.6314 | 2739624.7313 | 1254022.3498
46 | 2739674.8662 | 1253949.1156 | 2739675.7121 | 1253954.852 | 2739677.6396 | 1253958.8901 | 2739678.973 | 1253960.2784 | 2739681.7738 | 1253961.8571 | 2739691.4923 | 1253964.5554 | 2739695.7892 | 1253965.7468 | 2739700.8415 | 1253966.9114 | 2739706.793 | 1253968.3023
47 | 2739411.2915 | 1253708.9099 | 2739415.2186 | 1253716.4269
48 | 2739405.4394 | 1253744.0889 | 2739411.7003 | 1253741.0249
49 | 2739624.7313 | 1254022.3498 | 2739619.3075 | 1254048.8432 | 2739612.9533 | 1254079.3253
50 | 2739411.2915 | 1253708.9099 | 2739408.9477 | 1253704.4234 | 2739413.814 | 1253698.7549 | 2739411.1255 | 1253688.9966
51 | 2739603.8614 | 1254122.9407 | 2739612.9533 | 1254079.3253
52 | 2739489.6788 | 1253732.8392 | 2739483.7 | 1253740.8726 | 2739482.1236 | 1253747.6045
53 | 2739489.6788 | 1253732.8392 | 2739462.385 | 1253707.7969
54 | 2739481.6772 | 1253749.5108 | 2739482.1236 | 1253747.6045
55 | 2739409.5942 | 1253659.3522 | 2739441.7937 | 1253688.9043 | 2739462.385 | 1253707.7969
56 | 2739804.629 | 1254044.755 | 2739834.5105 | 1254024.9752 | 2739841.841 | 1254020.1215 | 2739815.6155 | 1253999.5276 | 2739800.532 | 1253988.1388 | 2739786.1906 | 1253981.761 | 2739790.9733 | 1253976.1242 | 2739792.785 | 1253974.1985 | 2739794.7264 | 1253971.5752 | 2739799.5525 | 1253965.0608
57 | 2739799.5525 | 1253965.0608 | 2739803.9263 | 1253959.1585 | 2739808.6718 | 1253952.5421 | 2739810.5218 | 1253944.8453 | 2739810.3766 | 1253936.9345 | 2739808.7574 | 1253931.6691 | 2739804.5612 | 1253924.2965 | 2739800.6795 | 1253919.676
58 | 2739760.1647 | 1254018.2143 | 2739761.6442 | 1254016.2918 | 2739778.6021 | 1253991.1463 | 2739783.5703 | 1253984.0458 | 2739786.1906 | 1253981.761 | 2739790.9733 | 1253976.1242 | 2739792.785 | 1253974.1985 | 2739794.7264 | 1253971.5752 | 2739799.5525 | 1253965.0608
59 | 2739792.6701 | 1253910.4919 | 2739799.1945 | 1253917.9084 | 2739800.6795 | 1253919.676
60 | 2739760.1647 | 1254018.2143 | 2739755.1894 | 1254024.6584 | 2739751.3467 | 1254030.0231
61 | 2739728.4865 | 1254061.9374 | 2739751.3467 | 1254030.0231
62 | 2739564.7556 | 1253185.714 | 2739562.5445 | 1253185.6686 | 2739550.7952 | 1253185.803 | 2739544.2713 | 1253186.7182
63 | 2739573.5607 | 1253185.895 | 2739564.7556 | 1253185.714
64 | 2739522.7272 | 1253203.1358 | 2739525.512 | 1253198.3636 | 2739527.8151 | 1253194.8146 | 2739531.3084 | 1253191.0489 | 2739537.3601 | 1253187.9552 | 2739542.0396 | 1253187.0313 | 2739544.2713 | 1253186.7182
65 | 2739504.0521 | 1253188.3601 | 2739507.572 | 1253190.8341 | 2739511.2212 | 1253194.5458 | 2739516.2768 | 1253198.8021 | 2739519.0662 | 1253200.8808 | 2739522.7272 | 1253203.1358
66 | 2739522.7272 | 1253203.1358 | 2739523.7829 | 1253209.2664 | 2739525.6256 | 1253215.9605 | 2739528.4914 | 1253221.522 | 2739531.6251 | 1253223.0862 | 2739539.1558 | 1253223.2192 | 2739546.014 | 1253224.6599 | 2739553.6258 | 1253228.0757 | 2739559.2159 | 1253231.4327 | 2739588.1825 | 1253231.7393
67 | 2739558.6115 | 1253171.2625 | 2739545.1346 | 1253171.6677 | 2739535.1454 | 1253172.3886 | 2739527.2022 | 1253174.3812 | 2739519.3076 | 1253177.8318 | 2739510.0921 | 1253183.52 | 2739504.0521 | 1253188.3601
68 | 2739504.0521 | 1253188.3601 | 2739499.9345 | 1253189.4641 | 2739497.683 | 1253189.8671 | 2739501.9676 | 1253203.1358 | 2739505.3626 | 1253214.7488 | 2739505.7839 | 1253224.1007 | 2739504.5101 | 1253233.624 | 2739500.0936 | 1253255.4181 | 2739493.8897 | 1253284.8327 | 2739490.2589 | 1253305.6443 | 2739490.7506 | 1253316.8107 | 2739494.8924 | 1253330.6878 | 2739507.1278 | 1253348.6704 | 2739510.129 | 1253353.6124
69 | 2739429.7986 | 1253189.4019 | 2739431.5479 | 1253181.4801 | 2739428.417 | 1253174.6668 | 2739425.8908 | 1253164.2977 | 2739423.9789 | 1253155.4111 | 2739424.4133 | 1253152.3518 | 2739427.3956 | 1253148.8076 | 2739429.393 | 1253146.6971 | 2739433.5497 | 1253144.5707 | 2739440.0989 | 1253143.1124 | 2739451.3312 | 1253144.4224 | 2739462.6211 | 1253146.4901 | 2739479.3803 | 1253151.278 | 2739488.2314 | 1253151.1196 | 2739489.7942 | 1253161.0434 | 2739493.1497 | 1253176.5813 | 2739497.683 | 1253189.8671 | 2739499.9345 | 1253189.4641 | 2739504.0521 | 1253188.3601
70 | 2739510.129 | 1253353.6124 | 2739513.7333 | 1253359.5472 | 2739516.5886 | 1253368.4338 | 2739516.942 | 1253377.1392 | 2739516.4655 | 1253390.3068 | 2739513.3515 | 1253403.6014 | 2739504.7452 | 1253424.774 | 2739503.7295 | 1253427.7088
71 | 2739429.7986 | 1253189.4019 | 2739424.392 | 1253184.9816 | 2739413.4654 | 1253175.5046 | 2739409.3986 | 1253173.1734 | 2739407.7 | 1253171.6227
72 | 2739503.7295 | 1253427.7088 | 2739499.9689 | 1253438.5757
73 | 2739496.4897 | 1253449.9586 | 2739497.0984 | 1253446.87 | 2739499.9689 | 1253438.5757
74 | 2739400.1992 | 1253639.6906 | 2739404.9065 | 1253638.2111 | 2739406.7303 | 1253638.6545 | 2739416.5575 | 1253646.0593 | 2739418.9266 | 1253648.028 | 2739421.1613 | 1253648.9704 | 2739424.7775 | 1253647.9879 | 2739429.1264 | 1253646.0218 | 2739433.2496 | 1253643.383 | 2739436.8397 | 1253641.2655 | 2739439.0612 | 1253638.6043 | 2739439.5302 | 1253632.4763 | 2739440.4977 | 1253628.8957 | 2739449.5001 | 1253588.9705 | 2739456.5387 | 1253580.4949 | 2739462 | 1253573.9285 | 2739470.9498 | 1253556.7455 | 2739478.9522 | 1253534.9247 | 2739484.7609 | 1253518.7464 | 2739494.9333 | 1253496.7766 | 2739494.8367 | 1253489.0227 | 2739493.3312 | 1253486.2847 | 2739491.5362 | 1253480.7706 | 2739491.3582 | 1253476.796 | 2739493.8836 | 1253463.1651 | 2739496.4897 | 1253449.9586
75 | 2739400.1992 | 1253639.6906 | 2739401.7172 | 1253651.5151
76 | 2739400.1992 | 1253639.6906 | 2739389.2019 | 1253597.2113
77 | 2739241.7248 | 1253041.4411 | 2739257.8114 | 1253035.6916 | 2739278.3171 | 1253029.5012 | 2739286.0605 | 1253023.8113 | 2739301.8026 | 1253080.1782 | 2739308.2291 | 1253085.5343 | 2739318.4409 | 1253090.4346 | 2739334.4001 | 1253099.396 | 2739349.0941 | 1253109.184 | 2739358.7973 | 1253115.1623 | 2739363.8397 | 1253120.3079 | 2739367.7529 | 1253126.2833 | 2739369.4983 | 1253130.0612 | 2739370.2086 | 1253133.8814 | 2739370.4522 | 1253137.0012 | 2739368.7775 | 1253140.1536 | 2739368.6362 | 1253146.1558 | 2739369.4215 | 1253149.3551 | 2739370.6253 | 1253150.4844 | 2739379.0403 | 1253153.1404 | 2739385.8607 | 1253155.8701 | 2739395.0358 | 1253161.1909 | 2739402.3706 | 1253166.7576 | 2739407.7 | 1253171.6227
78 | 2739401.7172 | 1253651.5151 | 2739409.5942 | 1253659.3522
79 | 2739401.7172 | 1253651.5151 | 2739396.6586 | 1253655.0883
80 | 2739401.7172 | 1253651.5151 | 2739387.6658 | 1253638.8616 | 2739363.7247 | 1253615.9992 | 2739328.5401 | 1253581.1868
81 | 2739389.2019 | 1253597.2113 | 2739382.369 | 1253570.8181 | 2739371.1623 | 1253547.9443 | 2739371.0648 | 1253547.7842
82 | 2739117.691 | 1253122.1242 | 2739141.1016 | 1253128.1796 | 2739186.1749 | 1253144.3089 | 2739231.2767 | 1253157.937 | 2739257.5432 | 1253176.7162 | 2739253.7077 | 1253139.2023 | 2739243.8053 | 1253129.1714 | 2739243.8481 | 1253119.975 | 2739231.1627 | 1253112.0806 | 2739231.3256 | 1253100.0177 | 2739233.5523 | 1253092.007 | 2739244.2484 | 1253093.9713 | 2739249.35 | 1253088.5863 | 2739254.4624 | 1253085.9484 | 2739259.3845 | 1253085.9419 | 2739260.8251 | 1253085.998 | 2739264.2566 | 1253085.1779 | 2739266.8718 | 1253082.7928 | 2739269.6577 | 1253080.5339 | 2739270.7039 | 1253078.4232 | 2739250.1263 | 1253049.813 | 2739241.7248 | 1253041.4411
83 | 2739409.5942 | 1253659.3522 | 2739407.3 | 1253666.3826 | 2739407.5347 | 1253675.9637 | 2739411.1255 | 1253688.9966
84 | 2739387.9927 | 1253649.7657 | 2739390.8398 | 1253649.6018 | 2739396.6586 | 1253655.0883 | 2739396.6586 | 1253655.0883
85 | 2739260.2878 | 1253535.8477 | 2739267.2702 | 1253538.0917 | 2739278.0925 | 1253541.7162 | 2739289.5228 | 1253549.014 | 2739322.342 | 1253575.0544 | 2739328.5401 | 1253581.1868
86 | 2739353.8848 | 1253525.1388 | 2739363.8803 | 1253535.984 | 2739371.0648 | 1253547.7842
87 | 2740165.955 | 1254517.9256 | 2740710.7699 | 1254195.2857
88 | 2740710.7699 | 1254195.2857 | 2740715.6036 | 1254192.9316 | 2740738.8894 | 1254187.0617
89 | 2740710.7699 | 1254195.2857 | 2740709.2275 | 1254188.7318 | 2740707.8935 | 1254176.5887 | 2740707.8895 | 1254176.3349
90 | 2739117.691 | 1253122.1242 | 2739091.9658 | 1253133.9311 | 2739059.6127 | 1253160.196 | 2739063.5086 | 1253172.699 | 2739049.6978 | 1253194.3131
91 | 2740720.7155 | 1254166.5126 | 2740721.5025 | 1254166.4136 | 2740727.2259 | 1254165.1301
92 | 2740720.7155 | 1254166.5126 | 2740709.9046 | 1254167.8728 | 2740707.8061 | 1254171.0592 | 2740707.8895 | 1254176.3349
93 | 2739353.8848 | 1253525.1388 | 2739326.0629 | 1253510.949 | 2739313.1669 | 1253499.5351 | 2739305.7356 | 1253488.4611 | 2739296.4246 | 1253471.2929 | 2739288.2872 | 1253464.2394 | 2739277.0551 | 1253459.7378 | 2739251.5646 | 1253458.7265 | 2739230.3987 | 1253460.8848
94 | 2739385.0801 | 1253649.9333 | 2739387.9927 | 1253649.7657
95 | 2739260.2878 | 1253535.8477 | 2739259.0549 | 1253540.4452 | 2739262.8078 | 1253552.5781 | 2739267.6102 | 1253567.2713
96 | 2739353.7833 | 1253863.0081 | 2739354.3085 | 1253846.9482 | 2739351.3351 | 1253841.4731 | 2739334.6461 | 1253809.7399 | 2739329.9588 | 1253799.4757 | 2739327.5778 | 1253787.7532 | 2739328.1098 | 1253777.9788 | 2739328.2418 | 1253774.147
97 | 2739328.2418 | 1253774.147 | 2739328.3961 | 1253769.6667 | 2739327.4556 | 1253761.8489
98 | 2739326.9631 | 1253757.7553 | 2739327.4556 | 1253761.8489
99 | 2739317.1245 | 1253964.3828 | 2739324.0191 | 1253967.4479 | 2739328.7809 | 1253970.0512 | 2739331.9188 | 1253970.7812 | 2739333.2197 | 1253968.7433 | 2739332.8245 | 1253965.6533 | 2739326.1281 | 1253955.453 | 2739327.9011 | 1253950.0341
100 | 2739327.9011 | 1253950.0341 | 2739325.5264 | 1253946.0634 | 2739324.3386 | 1253940.7305 | 2739325.0327 | 1253929.2028 | 2739325.9522 | 1253918.6813 | 2739326.2222 | 1253914.9367
101 | 2739317.1245 | 1253964.3828 | 2739314.013 | 1253960.9287 | 2739308.8524 | 1253949.4554
102 | 2739321.3127 | 1253897.7304 | 2739326.5125 | 1253910.9094 | 2739326.2222 | 1253914.9367
103 | 2739326.9631 | 1253757.7553 | 2739329.051 | 1253753.276
104 | 2739326.9631 | 1253757.7553 | 2739324.1328 | 1253760.9472 | 2739314.6661 | 1253759.0784 | 2739307.9831 | 1253751.1805 | 2739305.0432 | 1253743.6377 | 2739301.3007 | 1253748.71 | 2739297.8625 | 1253757.8487 | 2739297.3882 | 1253768.1823
105 | 2739308.8524 | 1253949.4554 | 2739307.5103 | 1253946.4716
106 | 2739321.3127 | 1253897.7304 | 2739318.5715 | 1253895.2192 | 2739314.3465 | 1253890.9714 | 2739308.5777 | 1253885.286 | 2739302.6258 | 1253880.3303 | 2739298.1411 | 1253880.0579
107 | 2739321.3127 | 1253897.7304 | 2739316.1205 | 1253884.5516 | 2739311.6155 | 1253874.8811 | 2739306.8462 | 1253862.9689 | 2739308.9335 | 1253851.5741 | 2739307.1338 | 1253843.0572 | 2739304.7239 | 1253829.0319 | 2739302.7589 | 1253815.0282
108 | 2739331.8909 | 1253746.7708 | 2739331.8601 | 1253747.2496 | 2739329.051 | 1253753.276
109 | 2739297.2272 | 1253771.6911 | 2739297.2272 | 1253771.6911 | 2739297.3882 | 1253768.1823
110 | 2739306.5297 | 1253918.6364 | 2739303.8709 | 1253938.3803 | 2739307.5103 | 1253946.4716
111 | 2739302.7589 | 1253815.0282 | 2739302.4623 | 1253803.8998 | 2739300.2399 | 1253792.815 | 2739297.2272 | 1253771.6911
112 | 2739721.0418 | 1254072.3307 | 2739728.4865 | 1254061.9374
113 | 2739331.6608 | 1253701.6304 | 2739331.6328 | 1253711.3775 | 2739332.765 | 1253733.18 | 2739331.8909 | 1253746.7708
114 | 2739295.2925 | 1253667.7759 | 2739295.4543 | 1253666.3722
115 | 2739294.499 | 1253674.6589 | 2739295.2925 | 1253667.7759
116 | 2739267.6102 | 1253567.2713 | 2739269.7298 | 1253574.0719 | 2739283.2084 | 1253619.7424 | 2739288.0157 | 1253639.0289 | 2739290.6878 | 1253645.4421 | 2739292.6628 | 1253648.1244 | 2739296.1095 | 1253655.6235 | 2739295.77 | 1253663.6341 | 2739295.4543 | 1253666.3722
117 | 2739385.0801 | 1253649.9333 | 2739375.158 | 1253656.4948 | 2739363.9458 | 1253656.7873
118 | 2739363.9458 | 1253656.7873 | 2739355.3793 | 1253657.0107
119 | 2739328.4495 | 1253671.5322 | 2739330.3118 | 1253672.2656 | 2739334.0877 | 1253680.2062 | 2739339.859 | 1253680.3421 | 2739339.9503 | 1253676.4629 | 2739340.6374 | 1253668.7608 | 2739351.0472 | 1253667.7714 | 2739353.1134 | 1253663.0489 | 2739352.9748 | 1253657.0735 | 2739355.3793 | 1253657.0107
120 | 2739289.1007 | 1253595.8142 | 2739295.2192 | 1253583.1241 | 2739295.4661 | 1253580.9723 | 2739298.1994 | 1253579.3351 | 2739301.6519 | 1253583.0642 | 2739303.3274 | 1253587.8858 | 2739305.9511 | 1253596.6779 | 2739309.1948 | 1253607.0305
121 | 2739309.1948 | 1253607.0305 | 2739317.3885 | 1253604.7683
122 | 2739309.1948 | 1253607.0305 | 2739311.4996 | 1253615.5815
123 | 2739289.1007 | 1253595.8142 | 2739281.1774 | 1253587.687 | 2739276.5343 | 1253581.6278 | 2739275.3512 | 1253575.1273 | 2739274.4735 | 1253571.3826
124 | 2739311.4996 | 1253615.5815 | 2739304.1749 | 1253617.2998
125 | 2739311.4996 | 1253615.5815 | 2739316.5605 | 1253628.9973
126 | 2739328.4495 | 1253671.5322 | 2739319.1233 | 1253635.7907 | 2739316.5605 | 1253628.9973
127 | 2739328.4495 | 1253671.5322 | 2739331.6727 | 1253697.4989 | 2739331.6608 | 1253701.6304

## bus_geodata
| x | y | coords
0 | 2739400.9319 | 1254403.8111
1 | 2739398.5485 | 1254403.7599
2 | 2739371.7081 | 1254402.2861
3 | 2739414.2495 | 1254380.6449
4 | 2739666.0155 | 1254525.8897
5 | 2739398.1576 | 1254373.7386
6 | 2739359.3252 | 1254408.2697
7 | 2739381.8045 | 1254383.6631
8 | 2739736.6643 | 1254675.507
9 | 2739389.5848 | 1254377.1055
10 | 2739276.5741 | 1254458.3561
11 | 2739686.8183 | 1254236.1096
12 | 2739730.3837 | 1254204.7635
13 | 2739606.7492 | 1254195.6083
14 | 2739747.2518 | 1254130.377
15 | 2740106.963 | 1254589.7415
16 | 2739374.9479 | 1254357.4835
17 | 2739304.0142 | 1254334.1
18 | 2739331.4777 | 1254312.9674
19 | 2739183.2296 | 1254393.824
20 | 2739285.2276 | 1254064.0811
21 | 2739314.2137 | 1254295.5775
22 | 2739011.1127 | 1254448.0547
23 | 2739394.5064 | 1253929.085
24 | 2739183.5745 | 1254247.0265
25 | 2739337.0279 | 1254620.5515
26 | 2739300.0453 | 1254625.4306
27 | 2739019.422 | 1254467.8821
28 | 2739001.6062 | 1254450.9425
29 | 2739440.7032 | 1253896.0048
30 | 2739028.1784 | 1254488.229
31 | 2738832.5759 | 1254492.6531
32 | 2738814.04 | 1254457.5134
33 | 2738806.0078 | 1254446.0339
34 | 2738806.7257 | 1254427.0528
35 | 2739624.3959 | 1253959.4868
36 | 2739437.5079 | 1253753.2299
37 | 2739647.962 | 1253982.8349
38 | 2739424.7363 | 1253734.6453
39 | 2739636.6354 | 1253994.868
40 | 2739674.8662 | 1253949.1156
41 | 2739415.2186 | 1253716.4269
42 | 2739411.7003 | 1253741.0249
43 | 2739624.7313 | 1254022.3498
44 | 2739706.793 | 1253968.3023
45 | 2739411.2915 | 1253708.9099
46 | 2739405.4394 | 1253744.0889
47 | 2739612.9533 | 1254079.3253
48 | 2739489.6788 | 1253732.8392
49 | 2739482.1236 | 1253747.6045
50 | 2739462.385 | 1253707.7969
51 | 2739799.5525 | 1253965.0608
52 | 2739804.629 | 1254044.755
53 | 2739800.6795 | 1253919.676
54 | 2739760.1647 | 1254018.2143
55 | 2739751.3467 | 1254030.0231
56 | 2739564.7556 | 1253185.714
57 | 2739544.2713 | 1253186.7182
58 | 2739573.5607 | 1253185.895
59 | 2739522.7272 | 1253203.1358
60 | 2739504.0521 | 1253188.3601
61 | 2739588.1825 | 1253231.7393
62 | 2739558.6115 | 1253171.2625
63 | 2739510.129 | 1253353.6124
64 | 2739429.7986 | 1253189.4019
65 | 2739503.7295 | 1253427.7088
66 | 2739499.9689 | 1253438.5757
67 | 2739496.4897 | 1253449.9586
68 | 2739400.1992 | 1253639.6906
69 | 2739407.7 | 1253171.6227
70 | 2739401.7172 | 1253651.5151
71 | 2739389.2019 | 1253597.2114
72 | 2739241.7248 | 1253041.4411
73 | 2739792.6701 | 1253910.4919
74 | 2739409.5942 | 1253659.3522
75 | 2739396.6586 | 1253655.0883
76 | 2739328.5401 | 1253581.1868
77 | 2739371.0648 | 1253547.7842
78 | 2740115.0076 | 1254586.7307
79 | 2740165.955 | 1254517.9256
80 | 2740710.7699 | 1254195.2857
81 | 2739603.8614 | 1254122.9407
82 | 2739117.691 | 1253122.1242
83 | 2739049.6978 | 1253194.3131
84 | 2740720.7155 | 1254166.5126
85 | 2740727.2259 | 1254165.1301
86 | 2740707.8895 | 1254176.3349
87 | 2740738.8894 | 1254187.0617
88 | 2739353.8848 | 1253525.1388
89 | 2739230.3987 | 1253460.8848
90 | 2739411.1255 | 1253688.9966
91 | 2739387.9927 | 1253649.7657
92 | 2739260.2878 | 1253535.8477
93 | 2739353.7833 | 1253863.0081
94 | 2739328.2418 | 1253774.147
95 | 2739327.4556 | 1253761.8489
96 | 2739327.9011 | 1253950.0341
97 | 2739317.1245 | 1253964.3828
98 | 2739326.2222 | 1253914.9367
99 | 2739326.9631 | 1253757.7553
100 | 2739308.8524 | 1253949.4554
101 | 2739321.3127 | 1253897.7304
102 | 2739329.051 | 1253753.276
103 | 2739297.3882 | 1253768.1823
104 | 2739307.5103 | 1253946.4716
105 | 2739298.1411 | 1253880.0579
106 | 2739302.7589 | 1253815.0282
107 | 2739728.4865 | 1254061.9374
108 | 2739721.0418 | 1254072.3307
109 | 2739297.2272 | 1253771.6911
110 | 2739331.8909 | 1253746.7708
111 | 2739295.2925 | 1253667.7759
112 | 2739295.4543 | 1253666.3722
113 | 2739294.499 | 1253674.6589
114 | 2739267.6102 | 1253567.2713
115 | 2739385.0801 | 1253649.9333
116 | 2739481.6772 | 1253749.5108
117 | 2739363.9458 | 1253656.7873
118 | 2739355.3793 | 1253657.0107
119 | 2739309.1948 | 1253607.0305
120 | 2739289.1007 | 1253595.8142
121 | 2739317.3885 | 1253604.7683
122 | 2739311.4996 | 1253615.5815
123 | 2739274.4735 | 1253571.3826
124 | 2739328.4495 | 1253671.5322
125 | 2739331.6608 | 1253701.6304
126 | 2739316.5605 | 1253628.9973
127 | 2739304.1749 | 1253617.2998
128 | 2739306.5297 | 1253918.6364
129 | 2739481.6772 | 1253749.5108

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1