## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-105_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-105_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-105_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-105_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-105_0_5_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_351-105_0_5_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_351-105_0_5_node_100 | 0.4 | n |  | TRUE
7 | bus_LV_351-105_0_5_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_351-105_0_5_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_351-105_0_5_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_351-105_0_5_node_36 | 0.4 | n |  | TRUE
11 | bus_LV_351-105_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_351-105_0_5_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_351-105_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_351-105_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_351-105_0_5_node_98 | 0.4 | n |  | TRUE
16 | bus_LV_351-105_0_5_node_83 | 0.4 | n |  | TRUE
17 | bus_LV_351-105_0_5_node_23 | 0.4 | n |  | TRUE
18 | bus_LV_351-105_0_5_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_351-105_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_351-105_0_5_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_351-105_0_5_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_351-105_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_351-105_0_5_node_82 | 0.4 | n |  | TRUE
24 | bus_LV_351-105_0_5_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_351-105_0_5_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_351-105_0_5_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_351-105_0_5_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_351-105_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_351-105_0_5_node_21 | 0.4 | n |  | TRUE
30 | bus_LV_351-105_0_5_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_351-105_0_5_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_351-105_0_5_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_351-105_0_5_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_351-105_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_351-105_0_5_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_351-105_0_5_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_351-105_0_5_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_351-105_0_5_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_351-105_0_5_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_351-105_0_5_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_351-105_0_5_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_351-105_0_5_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_351-105_0_5_node_66 | 0.4 | n |  | TRUE
44 | bus_LV_351-105_0_5_node_69 | 0.4 | n |  | TRUE
45 | bus_LV_351-105_0_5_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_351-105_0_5_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_351-105_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_351-105_0_5_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_351-105_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_351-105_0_5_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_351-105_0_5_node_60 | 0.4 | n |  | TRUE
52 | bus_LV_351-105_0_5_node_85 | 0.4 | n |  | TRUE
53 | bus_LV_351-105_0_5_node_61 | 0.4 | n |  | TRUE
54 | bus_LV_351-105_0_5_node_46 | 0.4 | n |  | TRUE
55 | bus_LV_351-105_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_351-105_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_LV_351-105_0_5_node_84 | 0.4 | n |  | TRUE
58 | bus_LV_351-105_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_351-105_0_5_node_44 | 0.4 | n |  | TRUE
60 | bus_LV_351-105_0_5_node_92 | 0.4 | n |  | TRUE
61 | bus_LV_351-105_0_5_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_351-105_0_5_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_351-105_0_5_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_351-105_0_5_node_51 | 0.4 | n |  | TRUE
65 | bus_LV_351-105_0_5_node_75 | 0.4 | n |  | TRUE
66 | bus_LV_351-105_0_5_node_94 | 0.4 | n |  | TRUE
67 | bus_LV_351-105_0_5_node_76 | 0.4 | n |  | TRUE
68 | bus_LV_351-105_0_5_node_93 | 0.4 | n |  | TRUE
69 | bus_LV_351-105_0_5_node_53 | 0.4 | n |  | TRUE
70 | bus_LV_351-105_0_5_node_54 | 0.4 | n |  | TRUE
71 | bus_LV_351-105_0_5_node_55 | 0.4 | n |  | TRUE
72 | bus_LV_351-105_0_5_node_56 | 0.4 | n |  | TRUE
73 | bus_LV_351-105_0_5_node_58 | 0.4 | n |  | TRUE
74 | bus_LV_351-105_0_5_node_88 | 0.4 | n |  | TRUE
75 | bus_LV_351-105_0_5_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_351-105_0_5_node_62 | 0.4 | n |  | TRUE
77 | bus_LV_351-105_0_5_node_89 | 0.4 | n |  | TRUE
78 | bus_LV_351-105_0_5_node_87 | 0.4 | n |  | TRUE
79 | bus_LV_351-105_0_5_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_351-105_0_5_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_351-105_0_5_node_90 | 0.4 | n |  | TRUE
82 | bus_LV_351-105_0_5_node_78 | 0.4 | n |  | TRUE
83 | bus_LV_351-105_0_5_node_80 | 0.4 | n |  | TRUE
84 | bus_LV_351-105_0_5_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_351-105_0_5_node_70 | 0.4 | n |  | TRUE
86 | bus_LV_351-105_0_5_node_71 | 0.4 | n |  | TRUE
87 | bus_LV_351-105_0_5_node_73 | 0.4 | n |  | TRUE
88 | bus_LV_351-105_0_5_node_95 | 0.4 | n |  | TRUE
89 | bus_LV_351-105_0_5_node_96 | 0.4 | n |  | TRUE
90 | bus_LV_351-105_0_5_node_97 | 0.4 | n |  | TRUE
91 | bus_LV_351-105_0_5_node_91 | 0.4 | n |  | TRUE
92 | bus_MV_591_0_node_9 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-105_0_5_load_0 | 0 | 0.0046639 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-105_0_5_load_8 | 4 | 0.0032052 | 0.00080329 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-105_0_5_load_100 | 6 | 0.0093238 | 0.0023368 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-105_0_5_load_36 | 10 | 0.0072735 | 0.0018229 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-105_0_5_load_10 | 13 | 0.0053653 | 0.0013447 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-105_0_5_load_9 | 14 | 0.010706 | 0.0026832 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-105_0_5_load_98 | 15 | 0.014225 | 0.0035651 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-105_0_5_load_83 | 16 | 0.0086619 | 0.0021709 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-105_0_5_load_23 | 17 | 0.0036924 | 0.0009254 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-105_0_5_load_13 | 18 | 0.0027144 | 0.00068028 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-105_0_5_load_35 | 20 | 0.0022813 | 0.00057175 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-105_0_5_load_47 | 21 | 0.0088344 | 0.0022141 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-105_0_5_load_82 | 23 | 0.00809 | 0.0020276 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-105_0_5_load_45 | 24 | 0.0032416 | 0.00081242 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-105_0_5_load_20 | 25 | 0.0073032 | 0.0018304 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-105_0_5_load_15 | 27 | 0.0026897 | 0.00067411 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-105_0_5_load_22 | 28 | 0.0046053 | 0.0011542 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-105_0_5_load_21 | 29 | 0.008003 | 0.0020058 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-105_0_5_load_19 | 30 | 0.0055117 | 0.0013814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-105_0_5_load_39 | 31 | 0.01006 | 0.0025213 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-105_0_5_load_24 | 32 | 0.0038616 | 0.00096781 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-105_0_5_load_25 | 33 | 0.0093787 | 0.0023505 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-105_0_5_load_26 | 34 | 0.0024812 | 0.00062184 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-105_0_5_load_27 | 35 | 0.025611 | 0.0064187 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-105_0_5_load_28 | 36 | 0.013306 | 0.0033347 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-105_0_5_load_37 | 39 | 0.0034924 | 0.00087527 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-105_0_5_load_38 | 40 | 0.0038651 | 0.00096869 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-105_0_5_load_66 | 43 | 0.01511 | 0.0037868 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-105_0_5_load_69 | 44 | 0.030801 | 0.0077195 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-105_0_5_load_63 | 45 | 0.0076126 | 0.0019079 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-105_0_5_load_65 | 46 | 0.009766 | 0.0024476 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-105_0_5_load_34 | 47 | 0.0050924 | 0.0012763 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-105_0_5_load_64 | 48 | 0.0067757 | 0.0016981 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-105_0_5_load_41 | 49 | 0.019998 | 0.0050118 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-105_0_5_load_85 | 52 | 0.008212 | 0.0020581 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-105_0_5_load_59 | 56 | 0.0065251 | 0.0016354 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-105_0_5_load_84 | 57 | 0.0067258 | 0.0016857 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-105_0_5_load_43 | 58 | 0.015457 | 0.0038739 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-105_0_5_load_44 | 59 | 0.011552 | 0.0028951 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-105_0_5_load_92 | 60 | 0.0084148 | 0.002109 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-105_0_5_load_48 | 61 | 0.0082049 | 0.0020563 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-105_0_5_load_49 | 62 | 0.0093732 | 0.0023491 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-105_0_5_load_51 | 64 | 0.0067278 | 0.0016861 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-105_0_5_load_94 | 66 | 0.0057703 | 0.0014462 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-105_0_5_load_76 | 67 | 0.0101 | 0.0025313 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-105_0_5_load_93 | 68 | 0.0045056 | 0.0011292 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-105_0_5_load_53 | 69 | 0.0027133 | 0.00068002 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-105_0_5_load_54 | 70 | 0.0041759 | 0.0010466 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-105_0_5_load_56 | 72 | 0.0068057 | 0.0017057 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-105_0_5_load_58 | 73 | 0.0036012 | 0.00090255 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-105_0_5_load_88 | 74 | 0.0046638 | 0.0011689 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-105_0_5_load_86 | 75 | 0.0064361 | 0.001613 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-105_0_5_load_89 | 77 | 0.0058705 | 0.0014713 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-105_0_5_load_87 | 78 | 0.0058622 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-105_0_5_load_79 | 79 | 0.0093517 | 0.0023437 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-105_0_5_load_77 | 80 | 0.0072059 | 0.001806 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-105_0_5_load_90 | 81 | 0.0072633 | 0.0018203 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-105_0_5_load_78 | 82 | 0.0068931 | 0.0017276 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-105_0_5_load_80 | 83 | 0.021548 | 0.0054004 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-105_0_5_load_70 | 85 | 0.011082 | 0.0027775 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-105_0_5_load_73 | 87 | 0.0058967 | 0.0014778 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-105_0_5_load_95 | 88 | 0.0046927 | 0.0011761 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-105_0_5_load_96 | 89 | 0.0047203 | 0.001183 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-105_0_5_load_97 | 90 | 0.0060801 | 0.0015238 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-105_0_5_load_91 | 91 | 0.013945 | 0.0034951 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 52 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-105_0_5_line_0 |  | 0 | 1 | 0.011882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-105_0_5_line_1 |  | 0 | 2 | 0.015449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-105_0_5_line_2 |  | 1 | 3 | 0.027527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-105_0_5_line_3 |  | 2 | 4 | 0.0056057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-105_0_5_line_4 |  | 2 | 5 | 0.00354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-105_0_5_line_5 |  | 3 | 6 | 0.018961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-105_0_5_line_6 |  | 4 | 14 | 0.0074874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-105_0_5_line_7 |  | 5 | 7 | 0.003638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-105_0_5_line_8 |  | 7 | 15 | 0.033318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-105_0_5_line_9 |  | 7 | 16 | 0.015376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-105_0_5_line_10 |  | 8 | 9 | 0.003342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-105_0_5_line_11 |  | 8 | 10 | 0.069393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-105_0_5_line_12 |  | 9 | 17 | 0.077817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-105_0_5_line_13 |  | 10 | 20 | 0.027832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-105_0_5_line_14 |  | 11 | 12 | 0.006968 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-105_0_5_line_15 |  | 11 | 13 | 0.013078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-105_0_5_line_16 |  | 12 | 21 | 0.027666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-105_0_5_line_17 |  | 12 | 22 | 0.021744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-105_0_5_line_18 |  | 12 | 19 | 0.028625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-105_0_5_line_19 |  | 12 | 23 | 0.014314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-105_0_5_line_20 |  | 16 | 23 | 0.018771 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-105_0_5_line_21 |  | 17 | 32 | 0.0085467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-105_0_5_line_22 |  | 18 | 19 | 0.017108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-105_0_5_line_23 |  | 19 | 27 | 0.022412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-105_0_5_line_24 |  | 20 | 47 | 0.027243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-105_0_5_line_25 |  | 21 | 24 | 0.013082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-105_0_5_line_26 |  | 22 | 25 | 0.016316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-105_0_5_line_27 |  | 22 | 26 | 0.035958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-105_0_5_line_28 |  | 24 | 58 | 0.026825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-105_0_5_line_29 |  | 25 | 30 | 9.4201e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-105_0_5_line_30 |  | 26 | 31 | 0.026325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-105_0_5_line_31 |  | 27 | 28 | 0.014988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-105_0_5_line_32 |  | 28 | 29 | 0.0036635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-105_0_5_line_33 |  | 31 | 49 | 0.015173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-105_0_5_line_34 |  | 32 | 33 | 0.019811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-105_0_5_line_35 |  | 33 | 34 | 0.012883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-105_0_5_line_36 |  | 34 | 35 | 0.02326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-105_0_5_line_37 |  | 35 | 36 | 0.028984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-105_0_5_line_38 |  | 36 | 37 | 0.085802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-105_0_5_line_39 |  | 37 | 38 | 0.003463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-105_0_5_line_40 |  | 38 | 39 | 0.011168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-105_0_5_line_41 |  | 38 | 40 | 0.020465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-105_0_5_line_42 |  | 39 | 45 | 0.019734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-105_0_5_line_43 |  | 40 | 46 | 0.036229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-105_0_5_line_44 |  | 41 | 42 | 0.0080216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-105_0_5_line_45 |  | 41 | 43 | 0.031834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-105_0_5_line_46 |  | 42 | 44 | 0.019497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-105_0_5_line_47 |  | 43 | 46 | 0.026068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-105_0_5_line_48 |  | 45 | 48 | 6.5681e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_351-105_0_5_line_49 |  | 48 | 78 | 0.011612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_351-105_0_5_line_50 |  | 50 | 51 | 0.006195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_351-105_0_5_line_51 |  | 50 | 52 | 0.0149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_351-105_0_5_line_52 |  | 51 | 53 | 0.022316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_351-105_0_5_line_53 |  | 51 | 54 | 0.00574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_351-105_0_5_line_54 |  | 51 | 55 | 0.022769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-105_0_5_line_55 |  | 51 | 56 | 0.0083494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-105_0_5_line_56 |  | 52 | 57 | 0.0077566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-105_0_5_line_57 |  | 53 | 79 | 0.016507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_351-105_0_5_line_58 |  | 53 | 80 | 0.0031508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-105_0_5_line_59 |  | 54 | 60 | 0.007829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-105_0_5_line_60 |  | 54 | 59 | 0.016776 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
61 | LV_351-105_0_5_line_61 |  | 55 | 66 | 0.022125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-105_0_5_line_62 |  | 55 | 63 | 0.019327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-105_0_5_line_63 |  | 57 | 75 | 0.0045885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-105_0_5_line_64 |  | 58 | 59 | 0.028419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
65 | LV_351-105_0_5_line_65 |  | 61 | 62 | 0.016682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-105_0_5_line_66 |  | 61 | 63 | 0.012638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-105_0_5_line_67 |  | 63 | 64 | 0.027184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-105_0_5_line_68 |  | 64 | 65 | 7.7034e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-105_0_5_line_69 |  | 65 | 67 | 0.016102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-105_0_5_line_70 |  | 66 | 68 | 0.0096977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-105_0_5_line_71 |  | 67 | 91 | 0.017286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-105_0_5_line_72 |  | 69 | 70 | 0.0091693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-105_0_5_line_73 |  | 69 | 71 | 0.0061622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-105_0_5_line_74 |  | 70 | 72 | 0.0016768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-105_0_5_line_75 |  | 71 | 73 | 0.0067346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-105_0_5_line_76 |  | 72 | 74 | 0.0014894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-105_0_5_line_77 |  | 73 | 75 | 0.0099669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-105_0_5_line_78 |  | 76 | 77 | 0.0097032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_351-105_0_5_line_79 |  | 76 | 78 | 0.0019219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_351-105_0_5_line_80 |  | 77 | 81 | 0.010597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_351-105_0_5_line_81 |  | 79 | 81 | 0.011882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
82 | LV_351-105_0_5_line_82 |  | 80 | 82 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-105_0_5_line_83 |  | 82 | 84 | 0.0182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-105_0_5_line_84 |  | 83 | 84 | 0.013189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-105_0_5_line_85 |  | 84 | 86 | 0.004109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-105_0_5_line_86 |  | 85 | 86 | 0.012606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-105_0_5_line_87 |  | 86 | 87 | 0.03395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-105_0_5_line_88 |  | 87 | 88 | 0.010397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_351-105_0_5_line_89 |  | 88 | 89 | 0.0078695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_351-105_0_5_line_90 |  | 89 | 90 | 0.010559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-105_0_5_trafo_85 | 0.63 MVA 20/0.4 kV | 92 | 52 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2601498.9716 | 1199240.4116 | 2601489.4604 | 1199233.2902
1 | 2601477.0941 | 1199224.031 | 2601489.4604 | 1199233.2902
2 | 2601516.016 | 1199218.8819 | 2601513.3431 | 1199221.0491 | 2601498.9716 | 1199240.4116
3 | 2601477.0941 | 1199224.031 | 2601472.5867 | 1199220.6981
4 | 2601475.0606 | 1199226.932 | 2601477.0941 | 1199224.031
5 | 2601500.3574 | 1199208.228 | 2601513.3972 | 1199217.7363 | 2601516.016 | 1199218.8819
6 | 2601466.5663 | 1199216.2466 | 2601472.5867 | 1199220.6981
7 | 2601475.0606 | 1199226.932 | 2601472.1146 | 1199224.7858
8 | 2601445.1899 | 1199205.0578 | 2601446.3622 | 1199205.9141 | 2601447.8314 | 1199206.9928 | 2601472.1146 | 1199224.7858
9 | 2601472.1146 | 1199224.7858 | 2601463.6787 | 1199237.6405
10 | 2601498.9299 | 1199382.9768 | 2601501.6703 | 1199384.9007
11 | 2601498.9299 | 1199382.9768 | 2601496.3258 | 1199384.4325 | 2601494.2548 | 1199385.2213 | 2601492.4047 | 1199385.421 | 2601491.4073 | 1199385.3541 | 2601489.9609 | 1199384.9646 | 2601488.4916 | 1199384.3751 | 2601485.3934 | 1199382.6845 | 2601481.8919 | 1199380.0823 | 2601478.3372 | 1199376.8464 | 2601476.2213 | 1199374.1222 | 2601468.5268 | 1199362.8477 | 2601465.726 | 1199358.7449 | 2601463.1762 | 1199355.8872 | 2601460.413 | 1199353.6298 | 2601457.6041 | 1199351.6503 | 2601453.737 | 1199349.5705 | 2601446.2012 | 1199346.1868
12 | 2601501.6703 | 1199384.9007 | 2601500.9849 | 1199385.4675 | 2601498.3273 | 1199387.757 | 2601495.5025 | 1199388.8347 | 2601492.9518 | 1199389.6234 | 2601490.2796 | 1199389.5116 | 2601488.8711 | 1199389.3667 | 2601486.7623 | 1199388.9882 | 2601483.8239 | 1199387.4867 | 2601480.3299 | 1199385.118 | 2601477.9398 | 1199383.1608 | 2601475.2453 | 1199380.1475 | 2601469.4992 | 1199371.8861 | 2601464.4228 | 1199364.5032 | 2601462.1167 | 1199361.1676 | 2601459.5135 | 1199358.3655 | 2601456.05 | 1199355.7077 | 2601451.9774 | 1199353.2499 | 2601451.8633 | 1199353.172 | 2601442.1354 | 1199348.7702
13 | 2601446.2012 | 1199346.1868 | 2601427.5038 | 1199337.7915 | 2601420.8122 | 1199334.7849
14 | 2601445.5263 | 1199265.3013 | 2601451.3954 | 1199269.0824
15 | 2601451.3954 | 1199269.0824 | 2601450.8856 | 1199267.7594 | 2601450.7032 | 1199266.3586 | 2601450.9167 | 1199264.9134 | 2601451.3891 | 1199263.6017 | 2601455.3635 | 1199257.3681
16 | 2601445.5263 | 1199265.3013 | 2601441.3927 | 1199262.6434 | 2601422.2169 | 1199250.3983
17 | 2601428.7016 | 1199259.9835 | 2601442.9672 | 1199269.2695 | 2601445.5263 | 1199265.3013
18 | 2601445.5263 | 1199265.3013 | 2601442.9672 | 1199269.2695 | 2601463.0182 | 1199282.2811
19 | 2601445.5263 | 1199265.3013 | 2601453.3799 | 1199253.3339
20 | 2601453.3799 | 1199253.3339 | 2601463.6787 | 1199237.6405
21 | 2601434.3487 | 1199345.2468 | 2601442.1354 | 1199348.7702
22 | 2601463.0182 | 1199282.2811 | 2601477.3126 | 1199291.6815
23 | 2601463.0182 | 1199282.2811 | 2601450.7815 | 1199301.0572
24 | 2601395.9619 | 1199323.6195 | 2601420.8122 | 1199334.7849
25 | 2601422.2169 | 1199250.3983 | 2601411.1912 | 1199243.3577
26 | 2601428.7016 | 1199259.9835 | 2601419.8734 | 1199273.7045
27 | 2601428.7016 | 1199259.9835 | 2601398.5106 | 1199240.3217
28 | 2601388.5825 | 1199228.9204 | 2601411.1912 | 1199243.3577
29 | 2601419.8224 | 1199273.7838 | 2601419.8734 | 1199273.7045
30 | 2601398.5106 | 1199240.3217 | 2601384.2047 | 1199262.4206
31 | 2601438.2645 | 1199300.3057 | 2601443.1116 | 1199303.4767 | 2601444.0556 | 1199303.8994 | 2601444.7788 | 1199304.1552 | 2601445.799 | 1199304.3778 | 2601446.8344 | 1199304.3336 | 2601447.8395 | 1199304.0337 | 2601448.677 | 1199303.5892 | 2601449.4081 | 1199302.9668 | 2601449.9716 | 1199302.2999 | 2601450.7815 | 1199301.0572
32 | 2601438.2645 | 1199300.3057 | 2601435.1988 | 1199298.3001
33 | 2601375.9592 | 1199275.1576 | 2601384.2047 | 1199262.4206
34 | 2601434.3487 | 1199345.2468 | 2601416.3 | 1199337.0798
35 | 2601404.5624 | 1199331.7686 | 2601416.3 | 1199337.0798
36 | 2601404.5624 | 1199331.7686 | 2601383.3709 | 1199322.1795
37 | 2601383.3709 | 1199322.1795 | 2601356.9644 | 1199310.2306
38 | 2601278.7879 | 1199274.8704 | 2601329.5272 | 1199297.8154 | 2601356.9644 | 1199310.2306
39 | 2601278.7879 | 1199274.8704 | 2601280.5396 | 1199271.8803
40 | 2601280.5396 | 1199271.8803 | 2601281.9791 | 1199269.4348 | 2601286.3532 | 1199262.3448
41 | 2601280.5396 | 1199271.8803 | 2601274.5331 | 1199269.0442 | 2601270.1711 | 1199266.542 | 2601267.2327 | 1199264.418 | 2601264.0051 | 1199261.527 | 2601263.4325 | 1199260.9188
42 | 2601286.3532 | 1199262.3448 | 2601288.3842 | 1199259.0528 | 2601293.5554 | 1199250.8828 | 2601295.0783 | 1199250.2828 | 2601297.5184 | 1199246.4311
43 | 2601263.4325 | 1199260.9188 | 2601260.6863 | 1199258.0022 | 2601257.9919 | 1199254.1218 | 2601255.876 | 1199250.5306 | 2601255.077 | 1199248.6183 | 2601254.4454 | 1199246.7282 | 2601253.9434 | 1199244.5158 | 2601253.5555 | 1199242.3591 | 2601253.2895 | 1199240.2134 | 2601253.1681 | 1199238.0233 | 2601253.3286 | 1199235.0106 | 2601253.6716 | 1199232.7873 | 2601254.4492 | 1199227.6625
44 | 2601217.851 | 1199186.4666 | 2601218.8104 | 1199186.1555 | 2601220.9652 | 1199185.1554 | 2601221.5668 | 1199184.7331 | 2601222.7851 | 1199183.8662 | 2601224.5214 | 1199182.199
45 | 2601224.5214 | 1199182.199 | 2601243.5753 | 1199197.711 | 2601245.8666 | 1199199.8014 | 2601248.2871 | 1199202.6368 | 2601248.527 | 1199202.9994
46 | 2601217.851 | 1199186.4666 | 2601217.3557 | 1199188.4009 | 2601216.4113 | 1199190.513 | 2601206.7919 | 1199202.2653
47 | 2601254.4492 | 1199227.6625 | 2601254.4492 | 1199227.6625 | 2601254.8918 | 1199222.6154 | 2601254.7175 | 1199218.6021 | 2601253.9723 | 1199214.0217 | 2601253.082 | 1199211.3979 | 2601252.3895 | 1199209.8081 | 2601251.8491 | 1199208.6407 | 2601250.0225 | 1199205.2607 | 2601248.527 | 1199202.9994
48 | 2601297.5184 | 1199246.4311 | 2601297.5536 | 1199246.3756
49 | 2601297.5536 | 1199246.3756 | 2601303.7682 | 1199236.5661 | 2601303.7682 | 1199236.5661
50 | 2601351.4196 | 1199210.0286 | 2601350.0646 | 1199208.9055 | 2601348.8086 | 1199207.5934 | 2601347.9714 | 1199206.3036 | 2601347.5453 | 1199205.303
51 | 2601351.4196 | 1199210.0286 | 2601343.581 | 1199222.6998
52 | 2601347.5453 | 1199205.303 | 2601328.7193 | 1199193.237
53 | 2601347.5453 | 1199205.303 | 2601352.5632 | 1199202.4915
54 | 2601347.5453 | 1199205.303 | 2601346.9824 | 1199202.9905 | 2601346.6936 | 1199200.3668 | 2601346.6108 | 1199195.9089 | 2601346.7795 | 1199190.4949 | 2601347.1694 | 1199182.6352
55 | 2601347.5453 | 1199205.303 | 2601345.4285 | 1199206.0252 | 2601343.7154 | 1199206.4361 | 2601342.2916 | 1199206.4247 | 2601340.7461 | 1199206.1131 | 2601339.4748 | 1199205.657
56 | 2601339.5003 | 1199229.2963 | 2601343.581 | 1199222.6998
57 | 2601328.7193 | 1199193.237 | 2601320.0528 | 1199207.2858
58 | 2601328.7193 | 1199193.237 | 2601326.0488 | 1199191.5649
59 | 2601351.1259 | 1199194.876 | 2601351.1483 | 1199196.9437 | 2601351.4295 | 1199199.3006 | 2601352.1143 | 1199201.3352 | 2601352.5632 | 1199202.4915
60 | 2601352.5632 | 1199202.4915 | 2601352.9285 | 1199203.5254 | 2601353.5297 | 1199204.5261 | 2601354.5497 | 1199205.8937 | 2601355.6685 | 1199207.3836 | 2601358.1121 | 1199209.463 | 2601364.6306 | 1199213.6256
61 | 2601347.1694 | 1199182.6352 | 2601348.39 | 1199160.5439
62 | 2601347.1694 | 1199182.6352 | 2601351.3501 | 1199178.9453 | 2601353.787 | 1199176.3222 | 2601355.1275 | 1199174.377 | 2601359.1337 | 1199167.652
63 | 2601339.5003 | 1199229.2963 | 2601337.0864 | 1199233.1985
64 | 2601388.5825 | 1199228.9204 | 2601364.6306 | 1199213.6256
65 | 2601369.6912 | 1199174.5993 | 2601376.026 | 1199178.7727 | 2601379.8855 | 1199181.3083 | 2601383.623 | 1199183.7744
66 | 2601359.1337 | 1199167.652 | 2601361.3718 | 1199169.1199 | 2601366.32 | 1199172.3783 | 2601369.6912 | 1199174.5993
67 | 2601359.1337 | 1199167.652 | 2601372.5693 | 1199144.0203
68 | 2601372.5693 | 1199144.0203 | 2601372.6074 | 1199143.9533
69 | 2601372.6074 | 1199143.9533 | 2601386.0442 | 1199152.8262
70 | 2601348.925 | 1199150.861 | 2601348.39 | 1199160.5439
71 | 2601386.0442 | 1199152.8262 | 2601400.4691 | 1199162.3515
72 | 2601327.3593 | 1199252.4017 | 2601324.3051 | 1199257.6928 | 2601324.2971 | 1199259.5716 | 2601323.6825 | 1199260.5803
73 | 2601327.292 | 1199246.354 | 2601327.7557 | 1199249.9672 | 2601327.8164 | 1199251.19 | 2601327.3593 | 1199252.4017
74 | 2601322.8101 | 1199262.0123 | 2601323.6825 | 1199260.5803
75 | 2601327.292 | 1199246.354 | 2601327.6042 | 1199246.2651 | 2601328.3428 | 1199245.9429 | 2601328.9596 | 1199245.5762 | 2601329.5155 | 1199245.1094 | 2601330.0181 | 1199244.5759 | 2601330.3989 | 1199244.009 | 2601331.8429 | 1199241.6746
76 | 2601322.0351 | 1199263.2842 | 2601322.8101 | 1199262.0123
77 | 2601337.0864 | 1199233.1985 | 2601331.8429 | 1199241.6746
78 | 2601305.3444 | 1199235.4992 | 2601306.3582 | 1199229.4851 | 2601308.2506 | 1199226.4175
79 | 2601305.3444 | 1199235.4992 | 2601304.4992 | 1199235.9103 | 2601303.7682 | 1199236.5661
80 | 2601308.2506 | 1199226.4175 | 2601313.8144 | 1199217.3983
81 | 2601320.0528 | 1199207.2858 | 2601313.8144 | 1199217.3983
82 | 2601326.0488 | 1199191.5649 | 2601314.6645 | 1199184.4367
83 | 2601301.0707 | 1199173.3984 | 2601301.9381 | 1199176.4558 | 2601304.7243 | 1199178.2128 | 2601314.6645 | 1199184.4367
84 | 2601301.0707 | 1199173.3984 | 2601299.5327 | 1199173.576 | 2601298.17 | 1199173.2977 | 2601296.8681 | 1199172.7416 | 2601289.3437 | 1199168.1136
85 | 2601299.8534 | 1199169.4738 | 2601301.0707 | 1199173.3984
86 | 2601299.8534 | 1199169.4738 | 2601299.1986 | 1199169.507 | 2601298.5134 | 1199169.3846 | 2601297.9348 | 1199169.1288 | 2601288.9224 | 1199163.5067
87 | 2601299.8534 | 1199169.4738 | 2601300.5234 | 1199169.3183 | 2601301.1249 | 1199169.0072 | 2601301.7341 | 1199168.5515 | 2601302.2291 | 1199168.0958 | 2601322.1963 | 1199144.1855
88 | 2601322.1963 | 1199144.1855 | 2601328.8605 | 1199136.2053
89 | 2601328.8605 | 1199136.2053 | 2601333.9047 | 1199130.1651
90 | 2601333.9047 | 1199130.1651 | 2601340.6729 | 1199122.0603

## bus_geodata
| x | y | coords
0 | 2601489.4604 | 1199233.2902
1 | 2601498.9716 | 1199240.4116
2 | 2601477.0941 | 1199224.031
3 | 2601516.016 | 1199218.8819
4 | 2601472.5867 | 1199220.6981
5 | 2601475.0606 | 1199226.932
6 | 2601500.3574 | 1199208.228
7 | 2601472.1146 | 1199224.7858
8 | 2601498.9299 | 1199382.9768
9 | 2601501.6703 | 1199384.9007
10 | 2601446.2012 | 1199346.1868
11 | 2601451.3954 | 1199269.0824
12 | 2601445.5263 | 1199265.3013
13 | 2601455.3635 | 1199257.3681
14 | 2601466.5663 | 1199216.2466
15 | 2601445.1899 | 1199205.0578
16 | 2601463.6787 | 1199237.6405
17 | 2601442.1354 | 1199348.7702
18 | 2601477.3126 | 1199291.6815
19 | 2601463.0182 | 1199282.2811
20 | 2601420.8122 | 1199334.7849
21 | 2601422.2169 | 1199250.3983
22 | 2601428.7016 | 1199259.9835
23 | 2601453.3799 | 1199253.3339
24 | 2601411.1912 | 1199243.3577
25 | 2601419.8734 | 1199273.7045
26 | 2601398.5106 | 1199240.3217
27 | 2601450.7815 | 1199301.0572
28 | 2601438.2645 | 1199300.3057
29 | 2601435.1988 | 1199298.3001
30 | 2601419.8224 | 1199273.7838
31 | 2601384.2047 | 1199262.4206
32 | 2601434.3487 | 1199345.2468
33 | 2601416.3 | 1199337.0798
34 | 2601404.5624 | 1199331.7686
35 | 2601383.3709 | 1199322.1795
36 | 2601356.9644 | 1199310.2306
37 | 2601278.7879 | 1199274.8704
38 | 2601280.5396 | 1199271.8803
39 | 2601286.3532 | 1199262.3448
40 | 2601263.4325 | 1199260.9188
41 | 2601224.5214 | 1199182.199
42 | 2601217.851 | 1199186.4666
43 | 2601248.527 | 1199202.9994
44 | 2601206.7919 | 1199202.2653
45 | 2601297.5184 | 1199246.4311
46 | 2601254.4492 | 1199227.6625
47 | 2601395.9619 | 1199323.6195
48 | 2601297.5536 | 1199246.3756
49 | 2601375.9592 | 1199275.1576
50 | 2601351.4196 | 1199210.0286
51 | 2601347.5453 | 1199205.303
52 | 2601343.581 | 1199222.6998
53 | 2601328.7193 | 1199193.237
54 | 2601352.5632 | 1199202.4915
55 | 2601347.1694 | 1199182.6352
56 | 2601339.4748 | 1199205.657
57 | 2601339.5003 | 1199229.2963
58 | 2601388.5825 | 1199228.9204
59 | 2601364.6306 | 1199213.6256
60 | 2601351.1259 | 1199194.876
61 | 2601369.6912 | 1199174.5993
62 | 2601383.623 | 1199183.7744
63 | 2601359.1337 | 1199167.652
64 | 2601372.5693 | 1199144.0203
65 | 2601372.6074 | 1199143.9533
66 | 2601348.39 | 1199160.5439
67 | 2601386.0442 | 1199152.8262
68 | 2601348.925 | 1199150.861
69 | 2601327.3593 | 1199252.4017
70 | 2601323.6825 | 1199260.5803
71 | 2601327.292 | 1199246.354
72 | 2601322.8101 | 1199262.0123
73 | 2601331.8429 | 1199241.6746
74 | 2601322.0351 | 1199263.2842
75 | 2601337.0864 | 1199233.1985
76 | 2601305.3444 | 1199235.4992
77 | 2601308.2506 | 1199226.4175
78 | 2601303.7682 | 1199236.5661
79 | 2601320.0528 | 1199207.2858
80 | 2601326.0488 | 1199191.5649
81 | 2601313.8144 | 1199217.3983
82 | 2601314.6645 | 1199184.4367
83 | 2601289.3437 | 1199168.1136
84 | 2601301.0707 | 1199173.3984
85 | 2601288.9224 | 1199163.5067
86 | 2601299.8534 | 1199169.4738
87 | 2601322.1963 | 1199144.1855
88 | 2601328.8605 | 1199136.2053
89 | 2601333.9047 | 1199130.1651
90 | 2601340.6729 | 1199122.0603
91 | 2601400.4691 | 1199162.3515
92 | 2601351.4196 | 1199210.0286

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1