## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-119_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-119_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-119_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-119_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-119_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_351-119_0_4_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_351-119_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_351-119_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_351-119_0_4_node_15 | 0.4 | n |  | TRUE
9 | bus_LV_351-119_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_351-119_0_4_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_351-119_0_4_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_351-119_0_4_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_351-119_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_351-119_0_4_node_36 | 0.4 | n |  | TRUE
15 | bus_LV_351-119_0_4_node_53 | 0.4 | n |  | TRUE
16 | bus_LV_351-119_0_4_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_351-119_0_4_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_351-119_0_4_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_351-119_0_4_node_10 | 0.4 | n |  | TRUE
20 | bus_LV_351-119_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_351-119_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_351-119_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_351-119_0_4_node_40 | 0.4 | n |  | TRUE
24 | bus_LV_351-119_0_4_node_46 | 0.4 | n |  | TRUE
25 | bus_LV_351-119_0_4_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_351-119_0_4_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_351-119_0_4_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_351-119_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_351-119_0_4_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_351-119_0_4_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_351-119_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_351-119_0_4_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_351-119_0_4_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_351-119_0_4_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_351-119_0_4_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_351-119_0_4_node_25 | 0.4 | n |  | TRUE
37 | bus_LV_351-119_0_4_node_29 | 0.4 | n |  | TRUE
38 | bus_LV_351-119_0_4_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_351-119_0_4_node_26 | 0.4 | n |  | TRUE
40 | bus_LV_351-119_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_351-119_0_4_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_351-119_0_4_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_351-119_0_4_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_351-119_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_351-119_0_4_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_351-119_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_351-119_0_4_node_54 | 0.4 | n |  | TRUE
48 | bus_LV_351-119_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_351-119_0_4_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_351-119_0_4_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_351-119_0_4_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_351-119_0_4_node_44 | 0.4 | n |  | TRUE
53 | bus_MV_591_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-119_0_4_load_0 | 0 | 0.0064788 | 0.0016237 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-119_0_4_load_50 | 5 | 0.0093996 | 0.0023558 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-119_0_4_load_15 | 8 | 0.031815 | 0.0079736 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-119_0_4_load_16 | 10 | 0.010495 | 0.0026302 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-119_0_4_load_11 | 12 | 0.024637 | 0.0061745 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-119_0_4_load_53 | 15 | 0.0053631 | 0.0013441 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-119_0_4_load_49 | 17 | 0.0070046 | 0.0017555 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-119_0_4_load_48 | 18 | 0.0040762 | 0.0010216 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-119_0_4_load_51 | 20 | 0.0079655 | 0.0019963 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-119_0_4_load_17 | 21 | 0.02279 | 0.0057117 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-119_0_4_load_12 | 22 | 0.031924 | 0.0080008 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-119_0_4_load_46 | 24 | 0.0043003 | 0.0010778 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-119_0_4_load_27 | 25 | 0.0036359 | 0.00091123 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-119_0_4_load_21 | 28 | 0.019974 | 0.0050058 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-119_0_4_load_22 | 29 | 0.015958 | 0.0039996 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-119_0_4_load_24 | 30 | 0.0048692 | 0.0012203 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-119_0_4_load_23 | 31 | 0.004901 | 0.0012283 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-119_0_4_load_28 | 32 | 0.017056 | 0.0042745 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-119_0_4_load_31 | 33 | 0.012403 | 0.0031086 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-119_0_4_load_18 | 34 | 0.013283 | 0.0033291 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-119_0_4_load_19 | 35 | 0.026581 | 0.0066619 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-119_0_4_load_25 | 36 | 0.0049452 | 0.0012394 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-119_0_4_load_29 | 37 | 0.020231 | 0.0050703 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-119_0_4_load_32 | 38 | 0.0029718 | 0.0007448 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-119_0_4_load_26 | 39 | 0.0045492 | 0.0011401 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-119_0_4_load_30 | 40 | 0.03457 | 0.008664 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-119_0_4_load_52 | 41 | 0.002709 | 0.00067895 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-119_0_4_load_33 | 42 | 0.010397 | 0.0026056 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-119_0_4_load_35 | 44 | 0.0093235 | 0.0023367 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-119_0_4_load_54 | 47 | 0.01703 | 0.0042681 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-119_0_4_load_43 | 48 | 0.0088818 | 0.002226 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-119_0_4_load_47 | 49 | 0.0036046 | 0.0009034 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-119_0_4_load_41 | 50 | 0.0088159 | 0.0022095 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-119_0_4_load_42 | 51 | 0.03173 | 0.0079524 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-119_0_4_load_44 | 52 | 0.015888 | 0.0039819 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-119_0_4_line_0 |  | 0 | 1 | 0.059039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-119_0_4_line_1 |  | 0 | 2 | 0.013832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-119_0_4_line_2 |  | 1 | 3 | 0.045584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-119_0_4_line_3 |  | 2 | 4 | 0.058673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-119_0_4_line_4 |  | 3 | 5 | 0.019933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-119_0_4_line_5 |  | 4 | 19 | 0.22622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-119_0_4_line_6 |  | 4 | 18 | 0.023253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-119_0_4_line_7 |  | 5 | 10 | 0.043525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-119_0_4_line_8 |  | 6 | 7 | 0.004568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-119_0_4_line_9 |  | 6 | 8 | 0.0040865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-119_0_4_line_10 |  | 7 | 21 | 0.054233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-119_0_4_line_11 |  | 7 | 11 | 0.003716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-119_0_4_line_12 |  | 8 | 9 | 0.051527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-119_0_4_line_13 |  | 9 | 10 | 0.057946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-119_0_4_line_14 |  | 11 | 12 | 0.011936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-119_0_4_line_15 |  | 12 | 22 | 0.031739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-119_0_4_line_16 |  | 13 | 14 | 0.006638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-119_0_4_line_17 |  | 13 | 15 | 0.028646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-119_0_4_line_18 |  | 14 | 23 | 0.008745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-119_0_4_line_19 |  | 14 | 24 | 0.0088717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-119_0_4_line_20 |  | 15 | 25 | 0.0080515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-119_0_4_line_21 |  | 16 | 17 | 0.012733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-119_0_4_line_22 |  | 16 | 18 | 0.0040992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-119_0_4_line_23 |  | 19 | 20 | 0.016827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-119_0_4_line_24 |  | 21 | 34 | 0.0060736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
25 | LV_351-119_0_4_line_25 |  | 23 | 43 | 0.028616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-119_0_4_line_26 |  | 24 | 49 | 0.030687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-119_0_4_line_27 |  | 25 | 39 | 0.0061402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-119_0_4_line_28 |  | 26 | 27 | 0.00322 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_351-119_0_4_line_29 |  | 26 | 28 | 0.016068 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_351-119_0_4_line_30 |  | 26 | 29 | 0.026126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-119_0_4_line_31 |  | 27 | 30 | 0.0096756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-119_0_4_line_32 |  | 27 | 31 | 0.01247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
33 | LV_351-119_0_4_line_33 |  | 28 | 32 | 0.0070141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_351-119_0_4_line_34 |  | 29 | 33 | 0.0069811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-119_0_4_line_35 |  | 30 | 36 | 0.029385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-119_0_4_line_36 |  | 31 | 35 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_351-119_0_4_line_37 |  | 32 | 37 | 0.021531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-119_0_4_line_38 |  | 33 | 38 | 0.0065993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-119_0_4_line_39 |  | 34 | 35 | 0.012132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_351-119_0_4_line_40 |  | 36 | 39 | 0.017874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-119_0_4_line_41 |  | 37 | 40 | 0.0079271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-119_0_4_line_42 |  | 38 | 41 | 0.0081693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-119_0_4_line_43 |  | 42 | 43 | 0.019943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-119_0_4_line_44 |  | 43 | 44 | 0.021611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-119_0_4_line_45 |  | 44 | 45 | 0.039974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-119_0_4_line_46 |  | 45 | 48 | 0.016629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-119_0_4_line_47 |  | 45 | 46 | 0.045202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-119_0_4_line_48 |  | 46 | 47 | 0.04145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-119_0_4_line_49 |  | 48 | 50 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-119_0_4_line_50 |  | 50 | 51 | 0.026857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-119_0_4_line_51 |  | 51 | 52 | 0.021182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-119_0_4_trafo_28 | 0.63 MVA 20/0.4 kV | 53 | 32 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2600762.7759 | 1198993.4045 | 2600759.6065 | 1199011.2359 | 2600752.4544 | 1199051.5338
1 | 2600750.0373 | 1199065.1525 | 2600752.4544 | 1199051.5338
2 | 2600729.4724 | 1198996.7247 | 2600728.308 | 1198992.3778 | 2600733.1277 | 1198991.0332 | 2600738.1835 | 1198989.6219 | 2600738.6858 | 1198991.434 | 2600738.8532 | 1198991.8009 | 2600739.0588 | 1198992.1456 | 2600739.3481 | 1198992.4124 | 2600739.7135 | 1198992.6014 | 2600740.1475 | 1198992.7238 | 2600742.7209 | 1198993.2577 | 2600745.6674 | 1198993.7916 | 2600746.4898 | 1198993.7473 | 2600747.1217 | 1198993.5361 | 2600747.6091 | 1198993.2027 | 2600747.9974 | 1198992.6468 | 2600748.3325 | 1198991.8687 | 2600748.9648 | 1198988.8227 | 2600758.7331 | 1198992.0589 | 2600762.7759 | 1198993.4045
3 | 2600750.0373 | 1199065.1525 | 2600781.3293 | 1199070.6813 | 2600784.2245 | 1199054.4508 | 2600794.4725 | 1199056.2752
4 | 2600729.4724 | 1198996.7247 | 2600734.6398 | 1199015.9758
5 | 2600794.4725 | 1199056.2752 | 2600804.1418 | 1199057.9995 | 2600836.0657 | 1199063.6843 | 2600871.1264 | 1199069.9367 | 2600884.6862 | 1199072.351 | 2600886.6139 | 1199062.4793 | 2600887.3149 | 1199058.0992 | 2600893.1668 | 1199025.4048 | 2600885.8806 | 1199024.0586 | 2600870.3563 | 1199021.1883 | 2600859.2708 | 1199019.0301 | 2600856.1797 | 1199018.4739 | 2600846.426 | 1199021.4964 | 2600823.7829 | 1199017.4692 | 2600823.0591 | 1199021.549 | 2600818.9549 | 1199023.9832 | 2600811.9427 | 1199022.7372
6 | 2600794.4725 | 1199056.2752 | 2600796.6363 | 1199044.1468 | 2600785.8715 | 1199042.2373
7 | 2600734.6398 | 1199015.9758 | 2600735.2109 | 1199018.1035 | 2600740.0893 | 1199036.8029 | 2600740.1501 | 1199037.5255 | 2600740.1729 | 1199038.2593 | 2600740.1347 | 1199038.8373 | 2600740.0204 | 1199039.9268 | 2600736.7163 | 1199058.4983
8 | 2600686.2703 | 1199079.6089 | 2600683.1643 | 1199076.2513
9 | 2600686.2703 | 1199079.6089 | 2600689.476 | 1199077.0746
10 | 2600683.1643 | 1199076.2513 | 2600679.472 | 1199072.1376 | 2600678.7031 | 1199071.0703 | 2600677.9038 | 1199069.6361 | 2600677.5232 | 1199068.6355 | 2600677.3177 | 1199067.8462 | 2600677.1503 | 1199066.9568 | 2600677.1352 | 1199066.0007 | 2600677.1353 | 1199064.9335 | 2600677.2116 | 1199063.9107 | 2600677.4173 | 1199062.0653 | 2600677.8972 | 1199060.0865 | 2600678.5826 | 1199058.1967 | 2600681.9866 | 1199052.4162 | 2600684.1417 | 1199048.2697 | 2600685.3298 | 1199045.2238 | 2600686.4494 | 1199041.1328 | 2600686.9065 | 1199038.5648 | 2600686.9754 | 1199035.4854 | 2600686.8082 | 1199032.4838 | 2600686.0471 | 1199029.2153 | 2600685.0119 | 1199026.347 | 2600685.0068 | 1199026.3361
11 | 2600683.1643 | 1199076.2513 | 2600680.3013 | 1199078.63
12 | 2600724.2974 | 1199114.1314 | 2600723.5588 | 1199114.1869 | 2600722.8736 | 1199114.1535 | 2600722.4092 | 1199114.0423 | 2600721.861 | 1199113.8532 | 2600721.3281 | 1199113.5308 | 2600720.7495 | 1199113.0416 | 2600720.0263 | 1199112.2188 | 2600697.6598 | 1199086.5249 | 2600689.476 | 1199077.0746
13 | 2600724.2974 | 1199114.1314 | 2600724.9065 | 1199113.9203 | 2600725.5004 | 1199113.6313 | 2600726.1172 | 1199113.1644 | 2600726.673 | 1199112.5419 | 2600727.0462 | 1199111.9306 | 2600727.3508 | 1199111.1635 | 2600733.3846 | 1199077.2238 | 2600734.9769 | 1199068.2747 | 2600736.7163 | 1199058.4983
14 | 2600680.3013 | 1199078.63 | 2600675.528 | 1199072.8042 | 2600674.5993 | 1199071.1588 | 2600674.1883 | 1199070.1026 | 2600673.9599 | 1199069.4356 | 2600673.7925 | 1199068.7796
15 | 2600673.7925 | 1199068.7796 | 2600673.6326 | 1199068.0793 | 2600673.5794 | 1199067.3789 | 2600673.5567 | 1199066.5896 | 2600673.5644 | 1199065.6224 | 2600673.6482 | 1199064.5885 | 2600673.7473 | 1199063.7325 | 2600673.953 | 1199062.0427 | 2600674.3872 | 1199060.2084 | 2600675.3164 | 1199057.5738 | 2600680.8375 | 1199046.8798 | 2600681.8199 | 1199044.1339 | 2600682.7492 | 1199040.5655 | 2600683.0327 | 1199038.9473
16 | 2600556.6467 | 1198975.5525 | 2600550.0226 | 1198976.2189
17 | 2600556.6467 | 1198975.5525 | 2600567.1917 | 1198978.9663 | 2600570.3286 | 1198979.5335 | 2600584.6233 | 1198978.0247
18 | 2600550.9584 | 1198984.9126 | 2600550.0226 | 1198976.2189
19 | 2600550.0226 | 1198976.2189 | 2600549.216 | 1198969.5153 | 2600551.3226 | 1198969.2792
20 | 2600584.6233 | 1198978.0247 | 2600588.6402 | 1198977.6007 | 2600592.5994 | 1198977.5677 | 2600592.6517 | 1198977.5758
21 | 2600769.2652 | 1199039.2742 | 2600781.8353 | 1199041.5214
22 | 2600781.8353 | 1199041.5214 | 2600785.8715 | 1199042.2373
23 | 2600811.9427 | 1199022.7372 | 2600804.6107 | 1199021.4245 | 2600803.826 | 1199025.7934 | 2600801.4429 | 1199025.3706 | 2600798.9608 | 1199024.9368
24 | 2600682.1312 | 1199020.9995 | 2600683.2383 | 1199022.6893 | 2600683.9995 | 1199024.1902 | 2600685.0068 | 1199026.3361
25 | 2600544.1651 | 1199005.99 | 2600541.6159 | 1198987.3909 | 2600544.3495 | 1198985.768 | 2600550.9584 | 1198984.9126
26 | 2600551.3226 | 1198969.2792 | 2600554.0737 | 1198968.9709 | 2600555.1473 | 1198968.7932 | 2600556.3123 | 1198968.5042 | 2600557.0965 | 1198968.0151 | 2600557.8123 | 1198967.237 | 2600569.8285 | 1198949.6508 | 2600570.9765 | 1198947.6015
27 | 2600592.6517 | 1198977.5758 | 2600595.9571 | 1198978.0905 | 2600598.66 | 1198978.8022 | 2600598.66 | 1198978.8022
28 | 2600644.1422 | 1199012.2131 | 2600644.7135 | 1199009.0448
29 | 2600644.1422 | 1199012.2131 | 2600640.8589 | 1199027.9425
30 | 2600644.1422 | 1199012.2131 | 2600641.6677 | 1199012.1128 | 2600638.5232 | 1199011.8013 | 2600635.8965 | 1199011.3452 | 2600632.5769 | 1199010.5111 | 2600629.3716 | 1199009.2546 | 2600627.7195 | 1199008.3762 | 2600624.7274 | 1199006.4971 | 2600622.0475 | 1199004.2401 | 2600620.6296 | 1199002.7591
31 | 2600644.7135 | 1199009.0448 | 2600641.5462 | 1199008.9 | 2600637.9982 | 1199008.4995 | 2600635.1409 | 1199007.831
32 | 2600644.7135 | 1199009.0448 | 2600657.1741 | 1199009.5419
33 | 2600640.8589 | 1199027.9425 | 2600639.4257 | 1199034.8086
34 | 2600620.6296 | 1199002.7591 | 2600615.802 | 1198997.7163
35 | 2600635.1409 | 1199007.831 | 2600634.2903 | 1199007.632 | 2600631.321 | 1199006.5422 | 2600628.5877 | 1199005.1412 | 2600625.7936 | 1199003.1177 | 2600623.0833 | 1199000.4715 | 2600612.5812 | 1198989.706
36 | 2600673.1433 | 1199013.0386 | 2600669.9152 | 1199011.582 | 2600665.7277 | 1199010.3365 | 2600661.7533 | 1199009.7246 | 2600657.1741 | 1199009.5419
37 | 2600638.8624 | 1199054.6618 | 2600639.3421 | 1199047.1314 | 2600637.0809 | 1199046.0417 | 2600639.4257 | 1199034.8086
38 | 2600615.802 | 1198997.7163 | 2600611.2383 | 1198992.9494
39 | 2600682.1312 | 1199020.9995 | 2600682.0583 | 1199020.8882 | 2600680.6271 | 1199018.9092 | 2600679.1197 | 1199017.4083 | 2600677.8027 | 1199016.1519 | 2600676.0288 | 1199014.8177 | 2600673.1433 | 1199013.0386 | 2600673.1433 | 1199013.0386
40 | 2600598.66 | 1198978.8022 | 2600601.378 | 1198979.992 | 2600604.4462 | 1198981.8599 | 2600606.9663 | 1198983.9501 | 2600612.5812 | 1198989.706
41 | 2600638.3585 | 1199062.5729 | 2600638.8624 | 1199054.6618
42 | 2600605.5619 | 1198987.075 | 2600606.5395 | 1198988.0412 | 2600611.2383 | 1198992.9494
43 | 2600544.1651 | 1199005.99 | 2600563.8933 | 1199003.0704
44 | 2600544.1651 | 1199005.99 | 2600547.5058 | 1199027.3409
45 | 2600553.6852 | 1199066.8344 | 2600547.5058 | 1199027.3409
46 | 2600553.6852 | 1199066.8344 | 2600570.0989 | 1199064.1654
47 | 2600553.6852 | 1199066.8344 | 2600560.4882 | 1199111.5144
48 | 2600560.4882 | 1199111.5144 | 2600569.2746 | 1199110.0032 | 2600572.191 | 1199106.3904 | 2600571.6811 | 1199102.8662 | 2600580.1639 | 1199090.6048 | 2600581.8542 | 1199090.3382 | 2600589.4655 | 1199089.1096
49 | 2600586.9005 | 1199061.4333 | 2600570.0989 | 1199064.1654
50 | 2600586.9005 | 1199061.4333 | 2600599.4675 | 1199059.3898 | 2600601.2492 | 1199058.5562 | 2600602.7797 | 1199057.2334 | 2600603.7164 | 1199055.5882 | 2600604.0515 | 1199053.7761 | 2600603.0166 | 1199047.4615
51 | 2600592.3741 | 1199029.2064 | 2600602.1565 | 1199045.0379 | 2600603.0166 | 1199047.4615

## bus_geodata
| x | y | coords
0 | 2600752.4544 | 1199051.5338
1 | 2600762.7759 | 1198993.4045
2 | 2600750.0373 | 1199065.1525
3 | 2600729.4724 | 1198996.7247
4 | 2600794.4725 | 1199056.2752
5 | 2600734.6398 | 1199015.9758
6 | 2600686.2703 | 1199079.6089
7 | 2600683.1643 | 1199076.2513
8 | 2600689.476 | 1199077.0746
9 | 2600724.2974 | 1199114.1314
10 | 2600736.7163 | 1199058.4983
11 | 2600680.3013 | 1199078.63
12 | 2600673.7925 | 1199068.7796
13 | 2600556.6467 | 1198975.5525
14 | 2600550.0226 | 1198976.2189
15 | 2600584.6233 | 1198978.0247
16 | 2600781.8353 | 1199041.5214
17 | 2600769.2652 | 1199039.2742
18 | 2600785.8715 | 1199042.2373
19 | 2600811.9427 | 1199022.7372
20 | 2600798.9608 | 1199024.9368
21 | 2600685.0068 | 1199026.3361
22 | 2600683.0327 | 1199038.9473
23 | 2600550.9584 | 1198984.9126
24 | 2600551.3226 | 1198969.2792
25 | 2600592.6517 | 1198977.5758
26 | 2600644.1422 | 1199012.2131
27 | 2600644.7135 | 1199009.0448
28 | 2600640.8589 | 1199027.9425
29 | 2600620.6296 | 1199002.7591
30 | 2600635.1409 | 1199007.831
31 | 2600657.1741 | 1199009.5419
32 | 2600639.4257 | 1199034.8086
33 | 2600615.802 | 1198997.7163
34 | 2600682.1312 | 1199020.9995
35 | 2600673.1433 | 1199013.0386
36 | 2600612.5812 | 1198989.706
37 | 2600638.8624 | 1199054.6618
38 | 2600611.2383 | 1198992.9494
39 | 2600598.66 | 1198978.8022
40 | 2600638.3585 | 1199062.5729
41 | 2600605.5619 | 1198987.075
42 | 2600563.8933 | 1199003.0704
43 | 2600544.1651 | 1199005.99
44 | 2600547.5058 | 1199027.3409
45 | 2600553.6852 | 1199066.8344
46 | 2600560.4882 | 1199111.5144
47 | 2600589.4655 | 1199089.1096
48 | 2600570.0989 | 1199064.1654
49 | 2600570.9765 | 1198947.6015
50 | 2600586.9005 | 1199061.4333
51 | 2600603.0166 | 1199047.4615
52 | 2600592.3741 | 1199029.2064
53 | 2600644.1422 | 1199012.2131

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1