## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-120_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-120_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-120_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-120_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-120_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-120_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-120_0_6_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_351-120_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_351-120_0_6_node_73 | 0.4 | n |  | TRUE
9 | bus_LV_351-120_0_6_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_351-120_0_6_node_14 | 0.4 | n |  | TRUE
11 | bus_LV_351-120_0_6_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_351-120_0_6_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_351-120_0_6_node_15 | 0.4 | n |  | TRUE
14 | bus_LV_351-120_0_6_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_351-120_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_351-120_0_6_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_351-120_0_6_node_32 | 0.4 | n |  | TRUE
18 | bus_LV_351-120_0_6_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_351-120_0_6_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_351-120_0_6_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_351-120_0_6_node_94 | 0.4 | n |  | TRUE
22 | bus_LV_351-120_0_6_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_351-120_0_6_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_351-120_0_6_node_43 | 0.4 | n |  | TRUE
25 | bus_LV_351-120_0_6_node_93 | 0.4 | n |  | TRUE
26 | bus_LV_351-120_0_6_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_351-120_0_6_node_79 | 0.4 | n |  | TRUE
28 | bus_LV_351-120_0_6_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_351-120_0_6_node_92 | 0.4 | n |  | TRUE
30 | bus_LV_351-120_0_6_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_351-120_0_6_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_351-120_0_6_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_351-120_0_6_node_50 | 0.4 | n |  | TRUE
34 | bus_LV_351-120_0_6_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_351-120_0_6_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_351-120_0_6_node_52 | 0.4 | n |  | TRUE
37 | bus_LV_351-120_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_351-120_0_6_node_81 | 0.4 | n |  | TRUE
39 | bus_LV_351-120_0_6_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_351-120_0_6_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_351-120_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_351-120_0_6_node_59 | 0.4 | n |  | TRUE
43 | bus_LV_351-120_0_6_node_57 | 0.4 | n |  | TRUE
44 | bus_LV_351-120_0_6_node_58 | 0.4 | n |  | TRUE
45 | bus_LV_351-120_0_6_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_351-120_0_6_node_76 | 0.4 | n |  | TRUE
47 | bus_LV_351-120_0_6_node_75 | 0.4 | n |  | TRUE
48 | bus_LV_351-120_0_6_node_55 | 0.4 | n |  | TRUE
49 | bus_LV_351-120_0_6_node_30 | 0.4 | n |  | TRUE
50 | bus_LV_351-120_0_6_node_87 | 0.4 | n |  | TRUE
51 | bus_LV_351-120_0_6_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_351-120_0_6_node_31 | 0.4 | n |  | TRUE
53 | bus_LV_351-120_0_6_node_63 | 0.4 | n |  | TRUE
54 | bus_LV_351-120_0_6_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_351-120_0_6_node_8 | 0.4 | n |  | TRUE
56 | bus_LV_351-120_0_6_node_9 | 0.4 | n |  | TRUE
57 | bus_LV_351-120_0_6_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_351-120_0_6_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_351-120_0_6_node_80 | 0.4 | n |  | TRUE
60 | bus_LV_351-120_0_6_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_351-120_0_6_node_53 | 0.4 | n |  | TRUE
62 | bus_LV_351-120_0_6_node_49 | 0.4 | n |  | TRUE
63 | bus_LV_351-120_0_6_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_351-120_0_6_node_39 | 0.4 | n |  | TRUE
65 | bus_LV_351-120_0_6_node_70 | 0.4 | n |  | TRUE
66 | bus_LV_351-120_0_6_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_351-120_0_6_node_82 | 0.4 | n |  | TRUE
68 | bus_LV_351-120_0_6_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_351-120_0_6_node_72 | 0.4 | n |  | TRUE
70 | bus_LV_351-120_0_6_node_71 | 0.4 | n |  | TRUE
71 | bus_LV_351-120_0_6_node_90 | 0.4 | n |  | TRUE
72 | bus_LV_351-120_0_6_node_85 | 0.4 | n |  | TRUE
73 | bus_LV_351-120_0_6_node_62 | 0.4 | n |  | TRUE
74 | bus_LV_351-120_0_6_node_64 | 0.4 | n |  | TRUE
75 | bus_LV_351-120_0_6_node_36 | 0.4 | n |  | TRUE
76 | bus_LV_351-120_0_6_node_40 | 0.4 | n |  | TRUE
77 | bus_LV_351-120_0_6_node_61 | 0.4 | n |  | TRUE
78 | bus_LV_351-120_0_6_node_45 | 0.4 | n |  | TRUE
79 | bus_LV_351-120_0_6_node_46 | 0.4 | n |  | TRUE
80 | bus_LV_351-120_0_6_node_78 | 0.4 | n |  | TRUE
81 | bus_LV_351-120_0_6_node_47 | 0.4 | n |  | TRUE
82 | bus_LV_351-120_0_6_node_66 | 0.4 | n |  | TRUE
83 | bus_LV_351-120_0_6_node_68 | 0.4 | n |  | TRUE
84 | bus_LV_351-120_0_6_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_351-120_0_6_node_89 | 0.4 | n |  | TRUE
86 | bus_LV_351-120_0_6_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_351-120_0_6_node_84 | 0.4 | n |  | TRUE
88 | bus_LV_351-120_0_6_node_86 | 0.4 | n |  | TRUE
89 | bus_LV_351-120_0_6_node_88 | 0.4 | n |  | TRUE
90 | bus_MV_591_0_node_101 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-120_0_6_load_0 | 0 | 0.0047281 | 0.001185 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-120_0_6_load_1 | 1 | 0.0035788 | 0.00089692 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-120_0_6_load_2 | 2 | 0.0094766 | 0.0023751 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-120_0_6_load_6 | 6 | 0.0048737 | 0.0012215 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-120_0_6_load_7 | 7 | 0.0049353 | 0.0012369 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-120_0_6_load_73 | 8 | 0.044421 | 0.011133 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-120_0_6_load_42 | 14 | 0.004204 | 0.0010536 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-120_0_6_load_33 | 16 | 0.0051366 | 0.0012873 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-120_0_6_load_32 | 17 | 0.018048 | 0.0045233 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-120_0_6_load_37 | 19 | 0.0057787 | 0.0014483 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-120_0_6_load_34 | 20 | 0.010363 | 0.0025973 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-120_0_6_load_94 | 21 | 0.056113 | 0.014063 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-120_0_6_load_43 | 24 | 0.0078665 | 0.0019715 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-120_0_6_load_93 | 25 | 0.046674 | 0.011698 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-120_0_6_load_79 | 27 | 0.018057 | 0.0045256 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-120_0_6_load_92 | 29 | 0.0050322 | 0.0012612 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-120_0_6_load_50 | 33 | 0.0063567 | 0.0015931 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-120_0_6_load_54 | 35 | 0.0048487 | 0.0012152 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-120_0_6_load_52 | 36 | 0.0086974 | 0.0021798 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-120_0_6_load_81 | 38 | 0.023132 | 0.0057975 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-120_0_6_load_38 | 40 | 0.022008 | 0.0055158 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-120_0_6_load_58 | 44 | 0.0057834 | 0.0014495 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-120_0_6_load_76 | 46 | 0.0064888 | 0.0016262 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-120_0_6_load_75 | 47 | 0.0097339 | 0.0024395 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-120_0_6_load_55 | 48 | 0.0088296 | 0.0022129 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-120_0_6_load_87 | 50 | 0.0026659 | 0.00066814 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-120_0_6_load_91 | 51 | 0.0033993 | 0.00085194 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-120_0_6_load_63 | 53 | 0.0099044 | 0.0024823 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-120_0_6_load_65 | 54 | 0.0044308 | 0.0011105 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-120_0_6_load_8 | 55 | 0.014504 | 0.003635 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-120_0_6_load_9 | 56 | 0.0065517 | 0.001642 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-120_0_6_load_35 | 57 | 0.0058269 | 0.0014603 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-120_0_6_load_44 | 58 | 0.0051429 | 0.0012889 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-120_0_6_load_80 | 59 | 0.0057723 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-120_0_6_load_48 | 60 | 0.0097204 | 0.0024362 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-120_0_6_load_53 | 61 | 0.0049958 | 0.0012521 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-120_0_6_load_49 | 62 | 0.0206 | 0.0051628 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-120_0_6_load_77 | 63 | 0.0072428 | 0.0018152 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-120_0_6_load_39 | 64 | 0.0056705 | 0.0014212 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-120_0_6_load_70 | 65 | 0.0032671 | 0.00081882 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-120_0_6_load_67 | 66 | 0.0053548 | 0.001342 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-120_0_6_load_82 | 67 | 0.0066458 | 0.0016656 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-120_0_6_load_56 | 68 | 0.010749 | 0.0026939 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-120_0_6_load_72 | 69 | 0.0027536 | 0.00069013 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-120_0_6_load_71 | 70 | 0.0032665 | 0.00081866 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-120_0_6_load_90 | 71 | 0.0036127 | 0.00090543 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-120_0_6_load_85 | 72 | 0.0042352 | 0.0010614 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-120_0_6_load_62 | 73 | 0.0061209 | 0.0015341 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-120_0_6_load_64 | 74 | 0.0067173 | 0.0016835 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-120_0_6_load_61 | 77 | 0.0085654 | 0.0021467 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-120_0_6_load_45 | 78 | 0.0057653 | 0.0014449 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-120_0_6_load_46 | 79 | 0.0045465 | 0.0011395 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-120_0_6_load_78 | 80 | 0.0057927 | 0.0014518 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-120_0_6_load_47 | 81 | 0.0049293 | 0.0012354 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-120_0_6_load_66 | 82 | 0.0052771 | 0.0013226 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-120_0_6_load_68 | 83 | 0.0038595 | 0.00096728 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-120_0_6_load_69 | 84 | 0.0031053 | 0.00077825 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-120_0_6_load_89 | 85 | 0.0035861 | 0.00089877 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-120_0_6_load_83 | 86 | 0.005637 | 0.0014128 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-120_0_6_load_84 | 87 | 0.003218 | 0.00080652 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-120_0_6_load_86 | 88 | 0.003585 | 0.00089849 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-120_0_6_load_88 | 89 | 0.0035285 | 0.00088433 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-120_0_6_line_0 |  | 0 | 1 | 0.0086546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-120_0_6_line_1 |  | 0 | 2 | 0.013943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-120_0_6_line_2 |  | 1 | 3 | 0.0016865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-120_0_6_line_3 |  | 2 | 4 | 0.014444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-120_0_6_line_4 |  | 3 | 5 | 0.01569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-120_0_6_line_5 |  | 3 | 6 | 0.0058863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-120_0_6_line_6 |  | 4 | 7 | 0.019475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-120_0_6_line_7 |  | 5 | 8 | 0.0068002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-120_0_6_line_8 |  | 7 | 55 | 0.028318 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-120_0_6_line_9 |  | 9 | 10 | 0.068729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-120_0_6_line_10 |  | 9 | 11 | 0.016615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-120_0_6_line_11 |  | 10 | 21 | 0.031551 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-120_0_6_line_12 |  | 10 | 22 | 0.01806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-120_0_6_line_13 |  | 11 | 26 | 0.015947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-120_0_6_line_14 |  | 11 | 27 | 0.0077882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-120_0_6_line_15 |  | 12 | 13 | 0.034436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-120_0_6_line_16 |  | 12 | 14 | 0.007419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-120_0_6_line_17 |  | 13 | 23 | 0.043615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-120_0_6_line_18 |  | 13 | 24 | 0.014396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-120_0_6_line_19 |  | 15 | 16 | 0.061113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_351-120_0_6_line_20 |  | 15 | 17 | 0.052693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
21 | LV_351-120_0_6_line_21 |  | 16 | 19 | 0.0054716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
22 | LV_351-120_0_6_line_22 |  | 17 | 56 | 0.017754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-120_0_6_line_23 |  | 18 | 19 | 0.011694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_351-120_0_6_line_24 |  | 18 | 20 | 0.041237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_351-120_0_6_line_25 |  | 20 | 57 | 0.037275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_351-120_0_6_line_26 |  | 22 | 25 | 0.005264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-120_0_6_line_27 |  | 23 | 33 | 0.063351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-120_0_6_line_28 |  | 24 | 58 | 0.018376 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-120_0_6_line_29 |  | 26 | 37 | 0.054051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
30 | LV_351-120_0_6_line_30 |  | 26 | 38 | 0.0037091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
31 | LV_351-120_0_6_line_31 |  | 27 | 59 | 0.0084592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-120_0_6_line_32 |  | 28 | 29 | 0.002458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-120_0_6_line_33 |  | 28 | 30 | 0.010394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-120_0_6_line_34 |  | 28 | 31 | 0.056341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-120_0_6_line_35 |  | 28 | 32 | 0.07795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_351-120_0_6_line_36 |  | 30 | 34 | 0.004972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-120_0_6_line_37 |  | 30 | 35 | 0.0090344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-120_0_6_line_38 |  | 31 | 36 | 0.034936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-120_0_6_line_39 |  | 32 | 39 | 0.004616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-120_0_6_line_40 |  | 32 | 38 | 0.029101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
41 | LV_351-120_0_6_line_41 |  | 33 | 60 | 0.013868 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-120_0_6_line_42 |  | 34 | 48 | 0.037934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-120_0_6_line_43 |  | 34 | 45 | 0.0088532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-120_0_6_line_44 |  | 36 | 61 | 0.013048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-120_0_6_line_45 |  | 37 | 40 | 0.045753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
46 | LV_351-120_0_6_line_46 |  | 39 | 62 | 0.011997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-120_0_6_line_47 |  | 40 | 64 | 0.033719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_351-120_0_6_line_48 |  | 41 | 42 | 0.025732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-120_0_6_line_49 |  | 41 | 43 | 0.022405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-120_0_6_line_50 |  | 41 | 44 | 0.030325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-120_0_6_line_51 |  | 42 | 65 | 0.0106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-120_0_6_line_52 |  | 42 | 66 | 0.019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-120_0_6_line_53 |  | 43 | 67 | 0.031048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-120_0_6_line_54 |  | 43 | 68 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-120_0_6_line_55 |  | 45 | 46 | 0.032855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-120_0_6_line_56 |  | 45 | 47 | 0.013168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-120_0_6_line_57 |  | 46 | 71 | 0.0076393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-120_0_6_line_58 |  | 48 | 68 | 0.016405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-120_0_6_line_59 |  | 49 | 50 | 0.016066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-120_0_6_line_60 |  | 49 | 51 | 0.010272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-120_0_6_line_61 |  | 50 | 72 | 0.0071791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-120_0_6_line_62 |  | 51 | 63 | 0.027527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-120_0_6_line_63 |  | 52 | 53 | 0.040828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-120_0_6_line_64 |  | 52 | 54 | 0.020457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-120_0_6_line_65 |  | 53 | 73 | 0.015998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-120_0_6_line_66 |  | 54 | 74 | 0.0010229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-120_0_6_line_67 |  | 55 | 56 | 0.020873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-120_0_6_line_68 |  | 57 | 75 | 0.056377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_351-120_0_6_line_69 |  | 58 | 78 | 0.020579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-120_0_6_line_70 |  | 60 | 81 | 0.015112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-120_0_6_line_71 |  | 62 | 81 | 0.011552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-120_0_6_line_72 |  | 64 | 76 | 0.012572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
73 | LV_351-120_0_6_line_73 |  | 65 | 70 | 0.0085773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-120_0_6_line_74 |  | 66 | 82 | 0.029115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-120_0_6_line_75 |  | 69 | 70 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-120_0_6_line_76 |  | 71 | 85 | 0.0064576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-120_0_6_line_77 |  | 72 | 86 | 0.023805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-120_0_6_line_78 |  | 73 | 77 | 0.012693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-120_0_6_line_79 |  | 75 | 76 | 0.061962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_351-120_0_6_line_80 |  | 75 | 77 | 0.019349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-120_0_6_line_81 |  | 78 | 79 | 0.0097375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-120_0_6_line_82 |  | 79 | 80 | 0.00057518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-120_0_6_line_83 |  | 82 | 83 | 0.025495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-120_0_6_line_84 |  | 83 | 84 | 0.041368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-120_0_6_line_85 |  | 85 | 89 | 0.0062313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-120_0_6_line_86 |  | 86 | 87 | 0.026399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-120_0_6_line_87 |  | 87 | 88 | 0.0064656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-120_0_6_line_88 |  | 88 | 89 | 0.0063678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-120_0_6_trafo_25 | 0.63 MVA 20/0.4 kV | 90 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2600543.5221 | 1198772.4423 | 2600534.8868 | 1198771.8652
1 | 2600543.5221 | 1198772.4423 | 2600557.4342 | 1198773.3719
2 | 2600533.204 | 1198771.7527 | 2600534.8868 | 1198771.8652
3 | 2600571.8457 | 1198774.335 | 2600557.4342 | 1198773.3719
4 | 2600546.5827 | 1198763.4938 | 2600533.204 | 1198771.7527
5 | 2600533.204 | 1198771.7527 | 2600527.3245 | 1198771.4683
6 | 2600571.8457 | 1198774.335 | 2600569.0584 | 1198779.7265 | 2600568.1674 | 1198781.9165 | 2600567.3753 | 1198784.44 | 2600567.101 | 1198786.7857 | 2600567.078 | 1198789.1203 | 2600567.3718 | 1198792.8082
7 | 2600546.5827 | 1198763.4938 | 2600539.7988 | 1198763.0243
8 | 2600567.3718 | 1198792.8082 | 2600568.5764 | 1198807.9305 | 2600569.9573 | 1198821.0057
9 | 2600640.5683 | 1198803.9792 | 2600670.8581 | 1198795.9001 | 2600666.4353 | 1198784.9382 | 2600667.7297 | 1198784.9606 | 2600675.5799 | 1198785.0725 | 2600676.5393 | 1198785.0837 | 2600677.7728 | 1198785.095 | 2600683.1408 | 1198785.1734 | 2600685.1433 | 1198785.2069 | 2600686.0495 | 1198783.9397 | 2600686.5749 | 1198783.1393 | 2600687.207 | 1198782.4612 | 2600687.6715 | 1198782.1166 | 2600688.2197 | 1198781.8721 | 2600688.9888 | 1198781.6499 | 2600689.5979 | 1198781.5387 | 2600690.3974 | 1198781.4165
10 | 2600690.3974 | 1198781.4165 | 2600690.4585 | 1198780.0603 | 2600690.7714 | 1198773.1677 | 2600690.7943 | 1198772.6897 | 2600690.8477 | 1198771.4224 | 2600691.0919 | 1198765.9861 | 2600691.1453 | 1198764.8189
11 | 2600640.5683 | 1198803.9792 | 2600648.9104 | 1198834.4074
12 | 2600623.1163 | 1198808.6245 | 2600628.0884 | 1198807.302 | 2600628.8575 | 1198807.0909 | 2600640.5683 | 1198803.9792
13 | 2600679.2832 | 1198757.6249 | 2600679.5419 | 1198759.0924 | 2600679.8159 | 1198760.4932 | 2600680.3868 | 1198761.7606 | 2600681.1177 | 1198762.7167 | 2600682.0694 | 1198763.5172 | 2600683.28 | 1198764.0399 | 2600691.1453 | 1198764.8189
14 | 2600691.1453 | 1198764.8189 | 2600698.9122 | 1198765.3952
15 | 2600784.1421 | 1198787.6192 | 2600787.9872 | 1198787.8086 | 2600795.8145 | 1198788.1764 | 2600795.8908 | 1198786.898 | 2600796.3256 | 1198780.4724 | 2600796.3334 | 1198779.4163 | 2600796.4478 | 1198777.5041 | 2600796.7301 | 1198772.7238 | 2600796.814 | 1198771.5121 | 2600790.7684 | 1198771.189
16 | 2600784.1421 | 1198787.6192 | 2600776.7989 | 1198786.5614
17 | 2600790.7684 | 1198771.189 | 2600792.6453 | 1198739.5501 | 2600793.1259 | 1198731.8905 | 2600793.4158 | 1198727.6549
18 | 2600790.7684 | 1198771.189 | 2600776.3932 | 1198770.4163
19 | 2600590.0782 | 1198901.7825 | 2600553.2212 | 1198871.3187 | 2600552.1782 | 1198870.4959 | 2600550.6859 | 1198869.7065 | 2600549.1022 | 1198869.2283 | 2600547.785 | 1198869.2171 | 2600546.4601 | 1198869.5727 | 2600540.9462 | 1198871.7714
20 | 2600590.0782 | 1198901.7825 | 2600597.8081 | 1198881.9614 | 2600598.2651 | 1198880.2161 | 2600598.5469 | 1198878.8154 | 2600598.7908 | 1198876.6587 | 2600598.7453 | 1198874.6465 | 2600598.4485 | 1198872.4342 | 2600597.8548 | 1198870.4664 | 2600596.9185 | 1198868.4541 | 2600595.4948 | 1198866.4418 | 2600586.8232 | 1198857.7031 | 2600584.9335 | 1198855.7481
21 | 2600540.9462 | 1198871.7714 | 2600535.8638 | 1198873.7981
22 | 2600575.0848 | 1198841.0844 | 2600576.1875 | 1198843.3723 | 2600578.5019 | 1198847.5858 | 2600580.6716 | 1198850.7321 | 2600584.2118 | 1198855.0014 | 2600584.9335 | 1198855.7481
23 | 2600525.0107 | 1198878.1534 | 2600527.5615 | 1198877.1086 | 2600535.8638 | 1198873.7981
24 | 2600525.0107 | 1198878.1534 | 2600518.5404 | 1198837.4275
25 | 2600512.6916 | 1198800.6144 | 2600518.5404 | 1198837.4275
26 | 2600623.1163 | 1198808.6245 | 2600618.0147 | 1198809.9803
27 | 2600793.4158 | 1198727.6549 | 2600730.1935 | 1198723.6184
28 | 2600776.3932 | 1198770.4163 | 2600758.0437 | 1198769.4299
29 | 2600626.9813 | 1198758.8316 | 2600657.0495 | 1198760.5909 | 2600658.3667 | 1198760.5355 | 2600659.4937 | 1198760.2688 | 2600660.4607 | 1198759.8464 | 2600661.1612 | 1198759.4574 | 2600661.8313 | 1198759.0017 | 2600662.3568 | 1198758.5348 | 2600662.9964 | 1198757.8567 | 2600663.4686 | 1198757.1786 | 2600663.9103 | 1198756.3894 | 2600665.7605 | 1198756.5341 | 2600671.6462 | 1198757.0127 | 2600678.2857 | 1198757.547 | 2600679.2832 | 1198757.6249
30 | 2600679.2832 | 1198757.6249 | 2600679.2336 | 1198753.9161
31 | 2600707.3482 | 1198766.0212 | 2600698.9122 | 1198765.3952
32 | 2600676.476 | 1198657.9602 | 2600676.5291 | 1198660.4171
33 | 2600666.0825 | 1198657.9703 | 2600668.9226 | 1198657.9706 | 2600671.5572 | 1198657.9709 | 2600674.8846 | 1198657.9601 | 2600676.476 | 1198657.9602
34 | 2600676.476 | 1198657.9602 | 2600676.5452 | 1198652.0237 | 2600726.4715 | 1198658.9438
35 | 2600676.476 | 1198657.9602 | 2600674.8846 | 1198657.9601 | 2600671.5572 | 1198657.9709 | 2600671.9123 | 1198685.3077 | 2600672.3195 | 1198724.9734 | 2600678.3424 | 1198724.8517
36 | 2600666.0825 | 1198657.9703 | 2600665.9688 | 1198653.001
37 | 2600666.0825 | 1198657.9703 | 2600666.3054 | 1198667.0019
38 | 2600726.4715 | 1198658.9438 | 2600725.0679 | 1198682.2116 | 2600713.465 | 1198681.477
39 | 2600677.7718 | 1198720.2714 | 2600678.3424 | 1198724.8517
40 | 2600678.3424 | 1198724.8517 | 2600678.9053 | 1198729.3875 | 2600679.2336 | 1198753.9161
41 | 2600716.3538 | 1198722.7348 | 2600730.1935 | 1198723.6184
42 | 2600665.9688 | 1198653.001 | 2600628.0407 | 1198652.3576
43 | 2600665.4519 | 1198644.1629 | 2600665.7027 | 1198648.3985 | 2600665.9688 | 1198653.001
44 | 2600700.4435 | 1198680.6526 | 2600713.465 | 1198681.477
45 | 2600626.9813 | 1198758.8316 | 2600581.3057 | 1198756.1641
46 | 2600677.7718 | 1198720.2714 | 2600689.7441 | 1198721.0358
47 | 2600547.6445 | 1198754.1983 | 2600581.3057 | 1198756.1641
48 | 2600574.074 | 1198624.0437 | 2600574.5215 | 1198644.6659 | 2600574.6737 | 1198646.0889 | 2600575.0467 | 1198647.2896 | 2600575.4654 | 1198648.179 | 2600575.9907 | 1198649.0017 | 2600576.3105 | 1198649.3241
49 | 2600598.0872 | 1198651.8496 | 2600581.9982 | 1198651.8593 | 2600580.4297 | 1198651.6479 | 2600579.3104 | 1198651.281 | 2600578.1759 | 1198650.7695 | 2600577.0643 | 1198650.069 | 2600576.3105 | 1198649.3241
50 | 2600576.3105 | 1198649.3241 | 2600575.1302 | 1198650.2801 | 2600559.4599 | 1198650.3899 | 2600558.8879 | 1198663.5125
51 | 2600574.074 | 1198624.0437 | 2600573.8434 | 1198613.4462
52 | 2600574.074 | 1198624.0437 | 2600554.1422 | 1198624.1717
53 | 2600584.9814 | 1198670.0581 | 2600597.5755 | 1198670.3261 | 2600598.0872 | 1198651.8496
54 | 2600598.0872 | 1198651.8496 | 2600611.6377 | 1198652.0794
55 | 2600665.4519 | 1198644.1629 | 2600632.5981 | 1198643.91
56 | 2600665.4519 | 1198644.1629 | 2600665.1585 | 1198630.9985
57 | 2600632.5981 | 1198643.91 | 2600624.959 | 1198643.8512
58 | 2600628.0407 | 1198652.3576 | 2600611.6377 | 1198652.0794
59 | 2600581.7603 | 1198584.6345 | 2600582.0723 | 1198600.6974
60 | 2600581.7603 | 1198584.6345 | 2600592.0302 | 1198584.4264
61 | 2600582.2117 | 1198607.8751 | 2600582.0723 | 1198600.6974
62 | 2600592.0302 | 1198584.4264 | 2600619.5512 | 1198583.8689
63 | 2600490.4204 | 1198657.0883 | 2600496.5883 | 1198697.4474
64 | 2600490.4204 | 1198657.0883 | 2600510.858 | 1198657.9752
65 | 2600499.0051 | 1198713.2615 | 2600496.5883 | 1198697.4474
66 | 2600511.88 | 1198658.0196 | 2600510.858 | 1198657.9752
67 | 2600569.9573 | 1198821.0057 | 2600570.4784 | 1198825.9402 | 2600571.4602 | 1198831.5878 | 2600572.4497 | 1198834.7451 | 2600574.1245 | 1198839.092 | 2600575.0848 | 1198841.0844
68 | 2600503.8457 | 1198744.9362 | 2600512.6916 | 1198800.6144
69 | 2600758.0437 | 1198769.4299 | 2600740.1954 | 1198768.4705 | 2600737.4975 | 1198768.2692
70 | 2600701.2721 | 1198721.7719 | 2600716.3538 | 1198722.7348
71 | 2600701.2721 | 1198721.7719 | 2600689.7441 | 1198721.0358
72 | 2600535.0937 | 1198753.4653 | 2600547.6445 | 1198754.1983
73 | 2600573.6568 | 1198604.8709 | 2600573.8434 | 1198613.4462
74 | 2600526.7252 | 1198626.1805 | 2600532.9868 | 1198626.0415 | 2600533.025 | 1198624.3072 | 2600554.1422 | 1198624.1717
75 | 2600573.6568 | 1198604.8709 | 2600573.247 | 1198586.0414
76 | 2600618.5016 | 1198643.8015 | 2600624.959 | 1198643.8512
77 | 2600582.674 | 1198631.6752 | 2600582.2117 | 1198607.8751
78 | 2600500.9226 | 1198725.8092 | 2600499.0051 | 1198713.2615
79 | 2600503.8457 | 1198744.9362 | 2600507.7061 | 1198745.1255 | 2600535.9014 | 1198746.5061 | 2600535.6726 | 1198750.6194 | 2600527.6702 | 1198750.163 | 2600527.876 | 1198746.4833 | 2600535.4673 | 1198746.8952 | 2600535.0937 | 1198753.4653
80 | 2600503.8457 | 1198744.9362 | 2600500.9226 | 1198725.8092
81 | 2600737.4975 | 1198768.2692 | 2600727.787 | 1198767.5447
82 | 2600727.2134 | 1198767.5019 | 2600727.787 | 1198767.5447
83 | 2600526.7252 | 1198626.1805 | 2600519.5094 | 1198626.3406 | 2600519.5247 | 1198625.0733 | 2600510.0449 | 1198624.9725 | 2600511.7358 | 1198617.6354
84 | 2600506.9979 | 1198584.1944 | 2600505.9202 | 1198592.755 | 2600504.2291 | 1198603.2716 | 2600502.4312 | 1198615.7337 | 2600511.7358 | 1198617.6354 | 2600511.7358 | 1198617.6354
85 | 2600612.2704 | 1198643.7535 | 2600618.5016 | 1198643.8015
86 | 2600582.674 | 1198631.6752 | 2600582.8065 | 1198638.4967 | 2600582.9206 | 1198639.4527 | 2600583.1109 | 1198640.2198 | 2600583.4078 | 1198640.9758 | 2600583.8646 | 1198641.6985 | 2600584.4356 | 1198642.3211 | 2600585.2807 | 1198642.9659 | 2600585.9888 | 1198643.2773 | 2600587.0396 | 1198643.4997 | 2600587.9685 | 1198643.5665 | 2600599.4374 | 1198643.6547
87 | 2600599.4374 | 1198643.6547 | 2600605.9028 | 1198643.7045
88 | 2600612.2704 | 1198643.7535 | 2600605.9028 | 1198643.7045

## bus_geodata
| x | y | coords
0 | 2600543.5221 | 1198772.4422
1 | 2600534.8868 | 1198771.8652
2 | 2600557.4342 | 1198773.3719
3 | 2600533.204 | 1198771.7527
4 | 2600571.8457 | 1198774.335
5 | 2600546.5827 | 1198763.4938
6 | 2600527.3245 | 1198771.4683
7 | 2600567.3718 | 1198792.8082
8 | 2600539.7988 | 1198763.0243
9 | 2600690.3974 | 1198781.4165
10 | 2600640.5683 | 1198803.9792
11 | 2600691.1453 | 1198764.8189
12 | 2600784.1421 | 1198787.6192
13 | 2600790.7684 | 1198771.189
14 | 2600776.7989 | 1198786.5614
15 | 2600590.0782 | 1198901.7825
16 | 2600540.9462 | 1198871.7714
17 | 2600584.9335 | 1198855.7481
18 | 2600525.0107 | 1198878.1534
19 | 2600535.8638 | 1198873.7981
20 | 2600518.5404 | 1198837.4275
21 | 2600648.9104 | 1198834.4074
22 | 2600623.1163 | 1198808.6245
23 | 2600793.4158 | 1198727.6549
24 | 2600776.3932 | 1198770.4163
25 | 2600618.0147 | 1198809.9803
26 | 2600679.2832 | 1198757.6249
27 | 2600698.9122 | 1198765.3952
28 | 2600676.476 | 1198657.9602
29 | 2600676.5291 | 1198660.4171
30 | 2600666.0825 | 1198657.9703
31 | 2600726.4715 | 1198658.9438
32 | 2600678.3424 | 1198724.8517
33 | 2600730.1935 | 1198723.6184
34 | 2600665.9688 | 1198653.001
35 | 2600666.3054 | 1198667.0019
36 | 2600713.465 | 1198681.477
37 | 2600626.9813 | 1198758.8316
38 | 2600679.2336 | 1198753.9161
39 | 2600677.7718 | 1198720.2714
40 | 2600581.3057 | 1198756.1641
41 | 2600576.3105 | 1198649.3241
42 | 2600574.074 | 1198624.0437
43 | 2600598.0872 | 1198651.8496
44 | 2600558.8879 | 1198663.5125
45 | 2600665.4519 | 1198644.1629
46 | 2600632.5981 | 1198643.91
47 | 2600665.1585 | 1198630.9985
48 | 2600628.0407 | 1198652.3576
49 | 2600581.7603 | 1198584.6345
50 | 2600582.0723 | 1198600.6974
51 | 2600592.0302 | 1198584.4264
52 | 2600490.4204 | 1198657.0883
53 | 2600496.5883 | 1198697.4474
54 | 2600510.858 | 1198657.9752
55 | 2600569.9573 | 1198821.0057
56 | 2600575.0848 | 1198841.0844
57 | 2600512.6916 | 1198800.6144
58 | 2600758.0437 | 1198769.4299
59 | 2600707.3482 | 1198766.0212
60 | 2600716.3538 | 1198722.7348
61 | 2600700.4435 | 1198680.6526
62 | 2600689.7441 | 1198721.0358
63 | 2600619.5512 | 1198583.8689
64 | 2600547.6445 | 1198754.1983
65 | 2600573.8434 | 1198613.4462
66 | 2600554.1422 | 1198624.1717
67 | 2600584.9814 | 1198670.0582
68 | 2600611.6377 | 1198652.0794
69 | 2600573.247 | 1198586.0414
70 | 2600573.6568 | 1198604.8709
71 | 2600624.959 | 1198643.8512
72 | 2600582.2117 | 1198607.8751
73 | 2600499.0051 | 1198713.2615
74 | 2600511.88 | 1198658.0196
75 | 2600503.8457 | 1198744.9362
76 | 2600535.0937 | 1198753.4653
77 | 2600500.9226 | 1198725.8092
78 | 2600737.4975 | 1198768.2692
79 | 2600727.787 | 1198767.5447
80 | 2600727.2134 | 1198767.5019
81 | 2600701.2721 | 1198721.7719
82 | 2600526.7252 | 1198626.1805
83 | 2600511.7358 | 1198617.6354
84 | 2600506.9979 | 1198584.1944
85 | 2600618.5016 | 1198643.8015
86 | 2600582.674 | 1198631.6752
87 | 2600599.4374 | 1198643.6547
88 | 2600605.9028 | 1198643.7045
89 | 2600612.2704 | 1198643.7535
90 | 2600657.0495 | 1198760.5909

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1