## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-122_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-122_0_6_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_351-122_0_6_node_8 | 0.4 | n |  | TRUE
3 | bus_LV_351-122_0_6_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_351-122_0_6_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_351-122_0_6_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_351-122_0_6_node_95 | 0.4 | n |  | TRUE
7 | bus_LV_351-122_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_351-122_0_6_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_351-122_0_6_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_351-122_0_6_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_351-122_0_6_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_351-122_0_6_node_94 | 0.4 | n |  | TRUE
13 | bus_LV_351-122_0_6_node_93 | 0.4 | n |  | TRUE
14 | bus_LV_351-122_0_6_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_351-122_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_351-122_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_351-122_0_6_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_351-122_0_6_node_90 | 0.4 | n |  | TRUE
19 | bus_LV_351-122_0_6_node_33 | 0.4 | n |  | TRUE
20 | bus_LV_351-122_0_6_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_351-122_0_6_node_92 | 0.4 | n |  | TRUE
22 | bus_LV_351-122_0_6_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_351-122_0_6_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_351-122_0_6_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_351-122_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_351-122_0_6_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_351-122_0_6_node_54 | 0.4 | n |  | TRUE
28 | bus_LV_351-122_0_6_node_74 | 0.4 | n |  | TRUE
29 | bus_LV_351-122_0_6_node_47 | 0.4 | n |  | TRUE
30 | bus_LV_351-122_0_6_node_76 | 0.4 | n |  | TRUE
31 | bus_LV_351-122_0_6_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_351-122_0_6_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_351-122_0_6_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_351-122_0_6_node_30 | 0.4 | n |  | TRUE
35 | bus_LV_351-122_0_6_node_26 | 0.4 | n |  | TRUE
36 | bus_LV_351-122_0_6_node_80 | 0.4 | n |  | TRUE
37 | bus_LV_351-122_0_6_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_351-122_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_351-122_0_6_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_351-122_0_6_node_20 | 0.4 | n |  | TRUE
41 | bus_LV_351-122_0_6_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_351-122_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_351-122_0_6_node_78 | 0.4 | n |  | TRUE
44 | bus_LV_351-122_0_6_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_351-122_0_6_node_77 | 0.4 | n |  | TRUE
46 | bus_LV_351-122_0_6_node_27 | 0.4 | n |  | TRUE
47 | bus_LV_351-122_0_6_node_81 | 0.4 | n |  | TRUE
48 | bus_LV_351-122_0_6_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_351-122_0_6_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_351-122_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_351-122_0_6_node_38 | 0.4 | n |  | TRUE
52 | bus_LV_351-122_0_6_node_39 | 0.4 | n |  | TRUE
53 | bus_LV_351-122_0_6_node_40 | 0.4 | n |  | TRUE
54 | bus_LV_351-122_0_6_node_72 | 0.4 | n |  | TRUE
55 | bus_LV_351-122_0_6_node_41 | 0.4 | n |  | TRUE
56 | bus_LV_351-122_0_6_node_70 | 0.4 | n |  | TRUE
57 | bus_LV_351-122_0_6_node_45 | 0.4 | n |  | TRUE
58 | bus_LV_351-122_0_6_node_42 | 0.4 | n |  | TRUE
59 | bus_LV_351-122_0_6_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_351-122_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_351-122_0_6_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_351-122_0_6_node_44 | 0.4 | n |  | TRUE
63 | bus_LV_351-122_0_6_node_46 | 0.4 | n |  | TRUE
64 | bus_LV_351-122_0_6_node_48 | 0.4 | n |  | TRUE
65 | bus_LV_351-122_0_6_node_51 | 0.4 | n |  | TRUE
66 | bus_LV_351-122_0_6_node_52 | 0.4 | n |  | TRUE
67 | bus_LV_351-122_0_6_node_55 | 0.4 | n |  | TRUE
68 | bus_LV_351-122_0_6_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_351-122_0_6_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_351-122_0_6_node_61 | 0.4 | n |  | TRUE
71 | bus_LV_351-122_0_6_node_59 | 0.4 | n |  | TRUE
72 | bus_LV_351-122_0_6_node_58 | 0.4 | n |  | TRUE
73 | bus_LV_351-122_0_6_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_351-122_0_6_node_62 | 0.4 | n |  | TRUE
75 | bus_LV_351-122_0_6_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_351-122_0_6_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_351-122_0_6_node_65 | 0.4 | n |  | TRUE
78 | bus_LV_351-122_0_6_node_66 | 0.4 | n |  | TRUE
79 | bus_LV_351-122_0_6_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_351-122_0_6_node_84 | 0.4 | n |  | TRUE
81 | bus_LV_351-122_0_6_node_68 | 0.4 | n |  | TRUE
82 | bus_LV_351-122_0_6_node_86 | 0.4 | n |  | TRUE
83 | bus_LV_351-122_0_6_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_351-122_0_6_node_69 | 0.4 | n |  | TRUE
85 | bus_LV_351-122_0_6_node_83 | 0.4 | n |  | TRUE
86 | bus_LV_351-122_0_6_node_85 | 0.4 | n |  | TRUE
87 | bus_LV_351-122_0_6_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_351-122_0_6_node_89 | 0.4 | n |  | TRUE
89 | bus_LV_351-122_0_6_node_88 | 0.4 | n |  | TRUE
90 | bus_MV_594_0_node_138 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-122_0_6_load_0 | 0 | 0.015128 | 0.0037915 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-122_0_6_load_10 | 5 | 0.0034367 | 0.00086133 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-122_0_6_load_95 | 6 | 0.0041656 | 0.001044 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-122_0_6_load_31 | 8 | 0.0017184 | 0.00043067 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-122_0_6_load_29 | 10 | 0.0027569 | 0.00069093 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-122_0_6_load_94 | 12 | 0.004806 | 0.0012045 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-122_0_6_load_93 | 13 | 0.00057403 | 0.00014387 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-122_0_6_load_9 | 14 | 0.021836 | 0.0054727 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-122_0_6_load_90 | 18 | 0.00053888 | 0.00013506 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-122_0_6_load_92 | 21 | 0.0027997 | 0.00070168 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-122_0_6_load_28 | 22 | 0.0012467 | 0.00031246 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-122_0_6_load_17 | 23 | 0.0037863 | 0.00094894 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-122_0_6_load_18 | 24 | 0.0037907 | 0.00095004 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-122_0_6_load_13 | 25 | 0.010356 | 0.0025955 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-122_0_6_load_75 | 26 | 0.014532 | 0.003642 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-122_0_6_load_74 | 28 | 0.0061208 | 0.001534 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-122_0_6_load_76 | 30 | 0.0048398 | 0.001213 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-122_0_6_load_14 | 31 | 0.0080291 | 0.0020123 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-122_0_6_load_16 | 32 | 0.015753 | 0.003948 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-122_0_6_load_35 | 33 | 0.0071006 | 0.0017796 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-122_0_6_load_30 | 34 | 0.011939 | 0.0029923 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-122_0_6_load_26 | 35 | 0.010233 | 0.0025646 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-122_0_6_load_25 | 37 | 0.011148 | 0.0027941 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-122_0_6_load_23 | 38 | 0.0050733 | 0.0012715 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-122_0_6_load_21 | 39 | 0.023248 | 0.0058265 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-122_0_6_load_20 | 40 | 0.005862 | 0.0014691 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-122_0_6_load_22 | 41 | 0.0081145 | 0.0020337 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-122_0_6_load_24 | 42 | 0.015855 | 0.0039737 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-122_0_6_load_77 | 45 | 0.0082361 | 0.0020642 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-122_0_6_load_81 | 47 | 0.01191 | 0.0029849 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-122_0_6_load_79 | 48 | 0.01461 | 0.0036617 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-122_0_6_load_36 | 49 | 0.0055466 | 0.0013901 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-122_0_6_load_37 | 50 | 0.0063033 | 0.0015798 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-122_0_6_load_38 | 51 | 0.0076881 | 0.0019268 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-122_0_6_load_40 | 53 | 0.0046604 | 0.001168 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-122_0_6_load_72 | 54 | 0.020236 | 0.0050717 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-122_0_6_load_41 | 55 | 0.0076347 | 0.0019134 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-122_0_6_load_70 | 56 | 0.022682 | 0.0056846 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-122_0_6_load_45 | 57 | 0.0045511 | 0.0011406 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-122_0_6_load_42 | 58 | 0.0057037 | 0.0014295 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-122_0_6_load_49 | 59 | 0.006215 | 0.0015576 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-122_0_6_load_50 | 60 | 0.0015719 | 0.00039396 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-122_0_6_load_43 | 61 | 0.0057265 | 0.0014352 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-122_0_6_load_44 | 62 | 0.0059206 | 0.0014838 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-122_0_6_load_46 | 63 | 0.016467 | 0.0041271 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-122_0_6_load_48 | 64 | 0.021709 | 0.0054407 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-122_0_6_load_52 | 66 | 0.0054731 | 0.0013717 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-122_0_6_load_73 | 69 | 0.013906 | 0.0034852 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-122_0_6_load_61 | 70 | 0.0026416 | 0.00066204 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-122_0_6_load_59 | 71 | 0.010604 | 0.0026577 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-122_0_6_load_58 | 72 | 0.0033075 | 0.00082894 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-122_0_6_load_60 | 73 | 0.0043773 | 0.0010971 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-122_0_6_load_62 | 74 | 0.0021124 | 0.00052941 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-122_0_6_load_63 | 75 | 0.008667 | 0.0021722 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-122_0_6_load_64 | 76 | 0.015069 | 0.0037766 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-122_0_6_load_65 | 77 | 0.0067006 | 0.0016793 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-122_0_6_load_67 | 79 | 0.010312 | 0.0025845 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-122_0_6_load_86 | 82 | 0.0067351 | 0.001688 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-122_0_6_load_82 | 83 | 0.0092826 | 0.0023264 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-122_0_6_load_69 | 84 | 0.010298 | 0.0025809 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-122_0_6_load_83 | 85 | 0.0057835 | 0.0014495 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-122_0_6_load_85 | 86 | 0.0082878 | 0.0020771 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-122_0_6_load_87 | 87 | 0.0076319 | 0.0019127 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-122_0_6_load_89 | 88 | 0.0012381 | 0.0003103 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-122_0_6_load_88 | 89 | 0.0093076 | 0.0023327 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 81 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-122_0_6_line_0 |  | 0 | 1 | 0.051009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-122_0_6_line_1 |  | 1 | 2 | 0.00568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-122_0_6_line_2 |  | 2 | 11 | 0.031063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-122_0_6_line_3 |  | 2 | 12 | 0.0015508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-122_0_6_line_4 |  | 3 | 4 | 0.031542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-122_0_6_line_5 |  | 3 | 5 | 0.010231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-122_0_6_line_6 |  | 4 | 6 | 0.007836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-122_0_6_line_7 |  | 5 | 14 | 0.00049426 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-122_0_6_line_8 |  | 6 | 17 | 0.033516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-122_0_6_line_9 |  | 7 | 8 | 0.017936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-122_0_6_line_10 |  | 7 | 9 | 0.30046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-122_0_6_line_11 |  | 7 | 10 | 0.024104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-122_0_6_line_12 |  | 8 | 18 | 0.01099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-122_0_6_line_13 |  | 9 | 13 | 0.01797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-122_0_6_line_14 |  | 10 | 22 | 0.0063881 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-122_0_6_line_15 |  | 11 | 23 | 0.039203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-122_0_6_line_16 |  | 11 | 24 | 0.041529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-122_0_6_line_17 |  | 11 | 25 | 0.01919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-122_0_6_line_18 |  | 13 | 20 | 0.013355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-122_0_6_line_19 |  | 14 | 15 | 0.053554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-122_0_6_line_20 |  | 15 | 16 | 0.015934 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-122_0_6_line_21 |  | 16 | 26 | 0.032282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-122_0_6_line_22 |  | 17 | 29 | 0.006123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-122_0_6_line_23 |  | 19 | 20 | 0.015005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-122_0_6_line_24 |  | 19 | 21 | 0.0775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-122_0_6_line_25 |  | 22 | 46 | 0.0017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-122_0_6_line_26 |  | 24 | 34 | 0.010882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-122_0_6_line_27 |  | 24 | 35 | 0.013082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-122_0_6_line_28 |  | 25 | 31 | 0.023251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-122_0_6_line_29 |  | 26 | 30 | 0.011753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-122_0_6_line_30 |  | 27 | 28 | 0.015985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-122_0_6_line_31 |  | 27 | 29 | 0.031133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-122_0_6_line_32 |  | 28 | 67 | 0.02447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-122_0_6_line_33 |  | 29 | 57 | 0.01712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-122_0_6_line_34 |  | 29 | 52 | 0.020067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-122_0_6_line_35 |  | 31 | 32 | 0.012547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-122_0_6_line_36 |  | 32 | 33 | 0.0072582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-122_0_6_line_37 |  | 33 | 36 | 0.010199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-122_0_6_line_38 |  | 35 | 37 | 0.0017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-122_0_6_line_39 |  | 36 | 47 | 0.013038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-122_0_6_line_40 |  | 36 | 48 | 0.013918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-122_0_6_line_41 |  | 37 | 46 | 0.034679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-122_0_6_line_42 |  | 38 | 39 | 0.013877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-122_0_6_line_43 |  | 39 | 40 | 0.0067533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-122_0_6_line_44 |  | 40 | 41 | 0.030327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-122_0_6_line_45 |  | 41 | 42 | 0.020397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-122_0_6_line_46 |  | 42 | 43 | 0.017317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-122_0_6_line_47 |  | 43 | 44 | 0.006902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_351-122_0_6_line_48 |  | 43 | 45 | 0.0031412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_351-122_0_6_line_49 |  | 44 | 56 | 0.034784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_351-122_0_6_line_50 |  | 45 | 54 | 0.011897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_351-122_0_6_line_51 |  | 48 | 84 | 0.01824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-122_0_6_line_52 |  | 49 | 50 | 0.007175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-122_0_6_line_53 |  | 49 | 51 | 0.0058382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-122_0_6_line_54 |  | 50 | 52 | 0.022479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-122_0_6_line_55 |  | 51 | 53 | 0.0070082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-122_0_6_line_56 |  | 52 | 54 | 0.0058835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
57 | LV_351-122_0_6_line_57 |  | 53 | 55 | 0.0069902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-122_0_6_line_58 |  | 55 | 58 | 0.0087117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-122_0_6_line_59 |  | 56 | 81 | 0.017257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_351-122_0_6_line_60 |  | 57 | 61 | 0.0071357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-122_0_6_line_61 |  | 58 | 59 | 0.005791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-122_0_6_line_62 |  | 59 | 60 | 0.012502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-122_0_6_line_63 |  | 60 | 70 | 0.0092299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-122_0_6_line_64 |  | 61 | 62 | 0.023775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-122_0_6_line_65 |  | 62 | 63 | 0.024385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-122_0_6_line_66 |  | 63 | 64 | 0.03877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-122_0_6_line_67 |  | 64 | 65 | 0.0035042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-122_0_6_line_68 |  | 65 | 66 | 0.020239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-122_0_6_line_69 |  | 67 | 68 | 0.016092 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-122_0_6_line_70 |  | 68 | 69 | 0.017952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-122_0_6_line_71 |  | 70 | 71 | 0.013427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-122_0_6_line_72 |  | 71 | 72 | 0.010835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-122_0_6_line_73 |  | 72 | 73 | 0.0081869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-122_0_6_line_74 |  | 73 | 74 | 0.028462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-122_0_6_line_75 |  | 75 | 76 | 0.020381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-122_0_6_line_76 |  | 75 | 77 | 0.01685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-122_0_6_line_77 |  | 76 | 78 | 0.008715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-122_0_6_line_78 |  | 77 | 79 | 0.0091814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-122_0_6_line_79 |  | 78 | 80 | 0.056231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-122_0_6_line_80 |  | 79 | 81 | 0.0046297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-122_0_6_line_81 |  | 80 | 82 | 0.0058082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-122_0_6_line_82 |  | 80 | 83 | 0.010071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-122_0_6_line_83 |  | 81 | 84 | 0.013876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
84 | LV_351-122_0_6_line_84 |  | 82 | 88 | 0.022175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-122_0_6_line_85 |  | 83 | 85 | 0.0056814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-122_0_6_line_86 |  | 85 | 86 | 0.0058214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-122_0_6_line_87 |  | 86 | 87 | 0.024543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-122_0_6_line_88 |  | 87 | 89 | 0.0024892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-122_0_6_trafo_68 | 0.63 MVA 20/0.4 kV | 90 | 81 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41
0 | 2600453.4623 | 1200895.5082 | 2600504.0264 | 1200902.2277
1 | 2600447.7918 | 1200894.9631 | 2600453.4623 | 1200895.5082
2 | 2600447.7918 | 1200894.9631 | 2600451.5817 | 1200904.3461 | 2600454.1236 | 1200909.5269 | 2600454.9379 | 1200911.0833 | 2600450.4083 | 1200923.712
3 | 2600447.7918 | 1200894.9631 | 2600447.468 | 1200893.4464
4 | 2600555.0327 | 1200951.0232 | 2600569.5168 | 1200955.4823 | 2600571.1912 | 1200955.8938 | 2600573.3453 | 1200956.0274 | 2600575.3395 | 1200955.8274 | 2600577.4783 | 1200955.0716 | 2600577.8741 | 1200954.8271 | 2600576.8079 | 1200962.52
5 | 2600555.0327 | 1200951.0232 | 2600555.9387 | 1200948.0772 | 2600558.0465 | 1200941.2457
6 | 2600584.5561 | 1200963.8325 | 2600576.8079 | 1200962.52
7 | 2600558.1922 | 1200940.7735 | 2600558.0465 | 1200941.2457
8 | 2600584.5561 | 1200963.8325 | 2600580.3375 | 1200986.8556 | 2600579.0431 | 1200992.5141 | 2600576.8279 | 1200996.2048
9 | 2600377.4088 | 1200892.3465 | 2600375.6573 | 1200909.867 | 2600375.6436 | 1200910.195
10 | 2600302.4816 | 1200891.9874 | 2600307.9471 | 1200881.0484 | 2600309.2564 | 1200876.7462 | 2600309.6676 | 1200871.2432 | 2600309.3556 | 1200869.6312 | 2600294.7355 | 1200827.2301 | 2600299.9571 | 1200825.4738 | 2600302.3015 | 1200824.6623 | 2600301.9286 | 1200823.3394 | 2600300.7109 | 1200819.3261 | 2600300.338 | 1200818.1032 | 2600303.4664 | 1200817.125 | 2600311.2217 | 1200838.8481 | 2600311.7088 | 1200839.6263 | 2600312.3786 | 1200840.1822 | 2600313.3224 | 1200840.3156 | 2600314.1597 | 1200839.8265 | 2600314.4871 | 1200838.259 | 2600313.3531 | 1200833.0339 | 2600313.186 | 1200825.7967 | 2600314.1377 | 1200818.5262 | 2600315.7517 | 1200810.9444 | 2600317.3882 | 1200809.4992 | 2600319.1617 | 1200809.7772 | 2600323.6059 | 1200832.245 | 2600327.3804 | 1200852.1226 | 2600331.7869 | 1200866.0414 | 2600333.6133 | 1200872.0447 | 2600334.5114 | 1200874.6683 | 2600336.4218 | 1200876.3249 | 2600338.2789 | 1200877.5701 | 2600340.6004 | 1200878.2817 | 2600343.6374 | 1200878.3263 | 2600346.6364 | 1200877.2147 | 2600348.4632 | 1200875.8918 | 2600350.5108 | 1200872.9237 | 2600355.7251 | 1200863.2743 | 2600357.9326 | 1200860.4506 | 2600381.8401 | 1200863.887 | 2600380.5001 | 1200872.5138 | 2600377.5992 | 1200890.3232 | 2600377.4088 | 1200892.3465
11 | 2600377.4088 | 1200892.3465 | 2600379.6161 | 1200893.4028 | 2600381.8841 | 1200896.1711 | 2600389.0623 | 1200912.7632
12 | 2600375.6436 | 1200910.195 | 2600375.1855 | 1200921.1757
13 | 2600302.4816 | 1200891.9874 | 2600302.8926 | 1200893.5327 | 2600303.0902 | 1200899.6027 | 2600303.836 | 1200902.6599 | 2600304.7265 | 1200905.1835 | 2600306.4617 | 1200909.308
14 | 2600391.1542 | 1200918.7566 | 2600390.8493 | 1200916.8938 | 2600389.0623 | 1200912.7632
15 | 2600430.5635 | 1200954.016 | 2600431.6216 | 1200953.3602 | 2600432.3371 | 1200952.393 | 2600432.1322 | 1200942.2097 | 2600432.4367 | 1200941.0425 | 2600433.1979 | 1200940.1865 | 2600434.9181 | 1200939.5974 | 2600446.077 | 1200930.4376 | 2600450.4083 | 1200923.712
16 | 2600414.6943 | 1200944.6767 | 2600422.7397 | 1200941.7867 | 2600444.4179 | 1200928.1807 | 2600450.4083 | 1200923.712
17 | 2600450.4083 | 1200923.712 | 2600449.8826 | 1200932.2499 | 2600448.8996 | 1200942.84
18 | 2600297.1377 | 1200910.3304 | 2600298.6371 | 1200911.4867 | 2600302.3133 | 1200914.544 | 2600306.4617 | 1200909.308
19 | 2600607.2702 | 1200944.0016 | 2600599.0422 | 1200945.9686 | 2600596.6598 | 1200945.5459 | 2600583.1879 | 1200943.1213 | 2600580.6382 | 1200940.9977 | 2600574.1462 | 1200935.5831 | 2600560.2853 | 1200941.3962 | 2600558.1922 | 1200940.7735
20 | 2600607.2702 | 1200944.0016 | 2600612.9622 | 1200958.8879
21 | 2600612.9622 | 1200958.8879 | 2600619.1034 | 1200972.4958 | 2600624.6055 | 1200981.8458 | 2600628.3106 | 1200987.1915
22 | 2600573.684 | 1201001.4629 | 2600576.8279 | 1200996.2048
23 | 2600297.1377 | 1200910.3304 | 2600292.5858 | 1200916.3557 | 2600291.4516 | 1200917.9343 | 2600290.5534 | 1200919.3017 | 2600291.7636 | 1200921.5474 | 2600292.0604 | 1200922.837
24 | 2600292.0604 | 1200922.837 | 2600297.6386 | 1200947.3726 | 2600309.6055 | 1200998.3249
25 | 2600391.4352 | 1200920.4735 | 2600391.1542 | 1200918.7566
26 | 2600415.3255 | 1200955.5382 | 2600414.6943 | 1200944.6767
27 | 2600414.6943 | 1200944.6767 | 2600414.2925 | 1200931.6013
28 | 2600448.8996 | 1200942.84 | 2600448.405 | 1200948.1695 | 2600445.3668 | 1200965.8086
29 | 2600628.3106 | 1200987.1915 | 2600630.7546 | 1200990.7178 | 2600633.403 | 1200994.32 | 2600635.2828 | 1200996.6473
30 | 2600599.2031 | 1201019.297 | 2600597.787 | 1201023.7103 | 2600595.1791 | 1201034.7569
31 | 2600573.684 | 1201001.4629 | 2600580.4424 | 1201006.1883 | 2600599.2031 | 1201019.297
32 | 2600596.8934 | 1201058.8736 | 2600596.0336 | 1201056.5056 | 2600595.5543 | 1201053.2038 | 2600594.2465 | 1201038.707 | 2600595.1791 | 1201034.7569
33 | 2600573.684 | 1201001.4629 | 2600576.3547 | 1201011.702 | 2600576.2629 | 1201016.7936 | 2600576.1547 | 1201018.2352
34 | 2600573.684 | 1201001.4629 | 2600565.5018 | 1201001.3733 | 2600560.9807 | 1201000.9172 | 2600553.8262 | 1200999.0378
35 | 2600443.9165 | 1200978.2484 | 2600444.0648 | 1200975.395 | 2600444.202 | 1200972.5713 | 2600445.3668 | 1200965.8086
36 | 2600443.9165 | 1200978.2484 | 2600443.8286 | 1200979.9419 | 2600443.5504 | 1200985.4974
37 | 2600443.036 | 1200995.6836 | 2600443.5313 | 1200985.8784 | 2600443.5504 | 1200985.4974
38 | 2600414.2373 | 1200929.8036 | 2600414.2925 | 1200931.6013
39 | 2600429.9902 | 1200994.7935 | 2600443.036 | 1200995.6836
40 | 2600443.036 | 1200995.6836 | 2600446.149 | 1200996.0396 | 2600449.985 | 1200997.1515 | 2600456.7745 | 1200997.3075
41 | 2600391.4352 | 1200920.4735 | 2600413.8662 | 1200917.7288 | 2600414.2373 | 1200929.8036
42 | 2600476.0279 | 1200959.7355 | 2600476.8711 | 1200955.5087 | 2600479.6087 | 1200946.3423
43 | 2600474.7067 | 1200966.3583 | 2600476.0279 | 1200959.7355
44 | 2600474.7067 | 1200966.3583 | 2600474.3585 | 1200968.1042 | 2600474.64 | 1200969.705 | 2600475.3326 | 1200970.4722 | 2600500.1011 | 1200978.0036
45 | 2600500.1011 | 1200978.0036 | 2600519.6159 | 1200983.9375
46 | 2600536.1839 | 1200988.9754 | 2600519.6159 | 1200983.9375
47 | 2600536.1839 | 1200988.9754 | 2600535.7881 | 1200990.0093 | 2600538.2465 | 1200990.7654 | 2600537.2035 | 1200993.8225
48 | 2600536.1839 | 1200988.9754 | 2600539.1893 | 1200989.8894
49 | 2600537.2035 | 1200993.8225 | 2600526.4109 | 1200990.5755 | 2600519.2639 | 1200988.9297 | 2600512.9314 | 1200987.9286 | 2600506.6444 | 1200988.2951 | 2600503.2976 | 1200989.2146
50 | 2600549.6512 | 1200994.8923 | 2600547.007 | 1200992.2669 | 2600539.1893 | 1200989.8894
51 | 2600456.7745 | 1200997.3075 | 2600465.0326 | 1200997.4971 | 2600471.7916 | 1200996.1079 | 2600474.7435 | 1200995.2305
52 | 2600533.7636 | 1201020.8742 | 2600538.618 | 1201015.5907
53 | 2600533.7636 | 1201020.8742 | 2600529.8137 | 1201025.1734
54 | 2600553.8262 | 1200999.0378 | 2600538.618 | 1201015.5907
55 | 2600525.0685 | 1201030.3307 | 2600525.4945 | 1201029.8744 | 2600529.8137 | 1201025.1734
56 | 2600553.8262 | 1200999.0378 | 2600549.6512 | 1200994.8923
57 | 2600525.0685 | 1201030.3307 | 2600520.298 | 1201035.4399
58 | 2600514.3526 | 1201041.8075 | 2600520.298 | 1201035.4399
59 | 2600487.0524 | 1200994.975 | 2600498.0282 | 1200990.6624 | 2600503.2976 | 1200989.2146
60 | 2600575.6208 | 1201025.351 | 2600576.1547 | 1201018.2352
61 | 2600514.3526 | 1201041.8075 | 2600511.991 | 1201044.3367 | 2600510.2019 | 1201045.8304
62 | 2600500.3081 | 1201053.4383 | 2600503.6562 | 1201051.2954 | 2600510.2019 | 1201045.8304
63 | 2600500.3081 | 1201053.4383 | 2600493.548 | 1201057.7648 | 2600492.4925 | 1201058.3438
64 | 2600575.6208 | 1201025.351 | 2600575.5847 | 1201025.8318 | 2600574.724 | 1201033.9361 | 2600573.6123 | 1201038.683 | 2600571.6863 | 1201043.3742 | 2600568.2552 | 1201047.2763
65 | 2600568.2552 | 1201047.2763 | 2600567.317 | 1201048.3432 | 2600562.3541 | 1201052.7674 | 2600550.3264 | 1201063.7916
66 | 2600550.3264 | 1201063.7916 | 2600543.5073 | 1201070.0418 | 2600536.847 | 1201076.1224 | 2600533.9469 | 1201078.768 | 2600530.3085 | 1201081.5915 | 2600520.7758 | 1201088.8316
67 | 2600517.9852 | 1201090.9511 | 2600520.7758 | 1201088.8316
68 | 2600517.9852 | 1201090.9511 | 2600505.0911 | 1201100.7332 | 2600502.4955 | 1201103.479 | 2600502.3735 | 1201103.726
69 | 2600602.4711 | 1201073.9711 | 2600600.1807 | 1201067.8899 | 2600596.8934 | 1201058.8736
70 | 2600602.4711 | 1201073.9711 | 2600603.1487 | 1201072.1369 | 2600616.3172 | 1201063.0541
71 | 2600480.7199 | 1201064.8011 | 2600492.4925 | 1201058.3438
72 | 2600471.2424 | 1201070.052 | 2600477.4572 | 1201066.5907 | 2600480.7199 | 1201064.8011
73 | 2600471.2424 | 1201070.052 | 2600464.0901 | 1201074.0355
74 | 2600440.1426 | 1201089.35 | 2600440.214 | 1201089.2449 | 2600445.3823 | 1201085.3876 | 2600461.0316 | 1201075.739 | 2600464.0901 | 1201074.0355
75 | 2600458.7162 | 1201006.688 | 2600442.4412 | 1201013.4154 | 2600440.0244 | 1201014.7687
76 | 2600458.7162 | 1201006.688 | 2600474.2887 | 1201000.251
77 | 2600433.1017 | 1201019.985 | 2600435.979 | 1201017.2615 | 2600438.9475 | 1201015.3717 | 2600440.0244 | 1201014.7687
78 | 2600482.7738 | 1200996.7436 | 2600474.2887 | 1201000.251
79 | 2600379.0468 | 1201009.9877 | 2600385.7904 | 1201010.5106 | 2600402.1164 | 1201015.503 | 2600413.0079 | 1201020.8176 | 2600418.3814 | 1201021.8296 | 2600422.56 | 1201022.0744 | 2600427.1268 | 1201021.541 | 2600433.1017 | 1201019.985
80 | 2600487.0524 | 1200994.975 | 2600482.7738 | 1200996.7436
81 | 2600379.0468 | 1201009.9877 | 2600378.7688 | 1201004.1861
82 | 2600379.0468 | 1201009.9877 | 2600379.7793 | 1201020.0315
83 | 2600487.0524 | 1200994.975 | 2600485.789 | 1200992.8516 | 2600483.5665 | 1200992.7069 | 2600479.9435 | 1200993.685 | 2600474.7435 | 1200995.2305
84 | 2600377.7074 | 1200982.0366 | 2600378.7688 | 1201004.1861
85 | 2600379.7793 | 1201020.0315 | 2600380.1925 | 1201025.6978
86 | 2600380.6159 | 1201031.5039 | 2600380.1925 | 1201025.6978
87 | 2600380.6159 | 1201031.5039 | 2600381.5568 | 1201044.4063 | 2600381.932 | 1201056.0064
88 | 2600381.932 | 1201056.0064 | 2600382.0125 | 1201058.4943

## bus_geodata
| x | y | coords
0 | 2600504.0264 | 1200902.2277
1 | 2600453.4623 | 1200895.5082
2 | 2600447.7918 | 1200894.9631
3 | 2600555.0327 | 1200951.0232
4 | 2600576.8079 | 1200962.52
5 | 2600558.0465 | 1200941.2457
6 | 2600584.5561 | 1200963.8325
7 | 2600377.4088 | 1200892.3465
8 | 2600375.6436 | 1200910.195
9 | 2600302.4816 | 1200891.9874
10 | 2600389.0623 | 1200912.7632
11 | 2600450.4083 | 1200923.712
12 | 2600447.468 | 1200893.4464
13 | 2600306.4617 | 1200909.308
14 | 2600558.1922 | 1200940.7735
15 | 2600607.2702 | 1200944.0016
16 | 2600612.9622 | 1200958.8879
17 | 2600576.8279 | 1200996.2048
18 | 2600375.1855 | 1200921.1757
19 | 2600292.0604 | 1200922.837
20 | 2600297.1377 | 1200910.3304
21 | 2600309.6055 | 1200998.3249
22 | 2600391.1542 | 1200918.7566
23 | 2600430.5635 | 1200954.016
24 | 2600414.6943 | 1200944.6767
25 | 2600448.8996 | 1200942.84
26 | 2600628.3106 | 1200987.1915
27 | 2600599.2031 | 1201019.297
28 | 2600595.1791 | 1201034.7569
29 | 2600573.684 | 1201001.4629
30 | 2600635.2828 | 1200996.6473
31 | 2600445.3668 | 1200965.8086
32 | 2600443.9165 | 1200978.2484
33 | 2600443.5504 | 1200985.4974
34 | 2600415.3255 | 1200955.5382
35 | 2600414.2925 | 1200931.6013
36 | 2600443.036 | 1200995.6836
37 | 2600414.2373 | 1200929.8036
38 | 2600479.6087 | 1200946.3423
39 | 2600476.0279 | 1200959.7355
40 | 2600474.7067 | 1200966.3583
41 | 2600500.1011 | 1200978.0036
42 | 2600519.6159 | 1200983.9375
43 | 2600536.1839 | 1200988.9754
44 | 2600537.2035 | 1200993.8225
45 | 2600539.1893 | 1200989.8894
46 | 2600391.4352 | 1200920.4735
47 | 2600429.9902 | 1200994.7935
48 | 2600456.7745 | 1200997.3075
49 | 2600533.7636 | 1201020.8742
50 | 2600538.618 | 1201015.5907
51 | 2600529.8137 | 1201025.1734
52 | 2600553.8262 | 1200999.0378
53 | 2600525.0685 | 1201030.3307
54 | 2600549.6512 | 1200994.8923
55 | 2600520.298 | 1201035.4399
56 | 2600503.2976 | 1200989.2146
57 | 2600576.1547 | 1201018.2352
58 | 2600514.3526 | 1201041.8075
59 | 2600510.2019 | 1201045.8304
60 | 2600500.3081 | 1201053.4383
61 | 2600575.6208 | 1201025.351
62 | 2600568.2552 | 1201047.2763
63 | 2600550.3264 | 1201063.7916
64 | 2600520.7758 | 1201088.8316
65 | 2600517.9852 | 1201090.9511
66 | 2600502.3735 | 1201103.726
67 | 2600596.8934 | 1201058.8736
68 | 2600602.4711 | 1201073.9711
69 | 2600616.3172 | 1201063.0541
70 | 2600492.4925 | 1201058.3438
71 | 2600480.7199 | 1201064.8011
72 | 2600471.2424 | 1201070.052
73 | 2600464.0901 | 1201074.0355
74 | 2600440.1426 | 1201089.35
75 | 2600458.7162 | 1201006.688
76 | 2600440.0244 | 1201014.7687
77 | 2600474.2887 | 1201000.251
78 | 2600433.1017 | 1201019.985
79 | 2600482.7738 | 1200996.7436
80 | 2600379.0468 | 1201009.9877
81 | 2600487.0524 | 1200994.975
82 | 2600378.7688 | 1201004.1861
83 | 2600379.7793 | 1201020.0315
84 | 2600474.7435 | 1200995.2305
85 | 2600380.1925 | 1201025.6978
86 | 2600380.6159 | 1201031.5039
87 | 2600381.932 | 1201056.0064
88 | 2600377.7074 | 1200982.0366
89 | 2600382.0125 | 1201058.4943
90 | 2600443.036 | 1200995.6836

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1