## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-132_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-132_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-132_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-132_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-132_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-132_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-132_0_5_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_351-132_0_5_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_351-132_0_5_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_351-132_0_5_node_63 | 0.4 | n |  | TRUE
10 | bus_LV_351-132_0_5_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_351-132_0_5_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_351-132_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_351-132_0_5_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_351-132_0_5_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_351-132_0_5_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_351-132_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_351-132_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_351-132_0_5_node_41 | 0.4 | n |  | TRUE
19 | bus_LV_351-132_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_351-132_0_5_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_351-132_0_5_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_351-132_0_5_node_61 | 0.4 | n |  | TRUE
23 | bus_LV_351-132_0_5_node_54 | 0.4 | n |  | TRUE
24 | bus_LV_351-132_0_5_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_351-132_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_351-132_0_5_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_351-132_0_5_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_351-132_0_5_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_351-132_0_5_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_351-132_0_5_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_351-132_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_351-132_0_5_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_351-132_0_5_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_351-132_0_5_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_351-132_0_5_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_351-132_0_5_node_62 | 0.4 | n |  | TRUE
37 | bus_LV_351-132_0_5_node_43 | 0.4 | n |  | TRUE
38 | bus_LV_351-132_0_5_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_351-132_0_5_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_351-132_0_5_node_60 | 0.4 | n |  | TRUE
41 | bus_LV_351-132_0_5_node_53 | 0.4 | n |  | TRUE
42 | bus_LV_351-132_0_5_node_47 | 0.4 | n |  | TRUE
43 | bus_LV_351-132_0_5_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_351-132_0_5_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_351-132_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_351-132_0_5_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_351-132_0_5_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_351-132_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_351-132_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_351-132_0_5_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_351-132_0_5_node_52 | 0.4 | n |  | TRUE
52 | bus_LV_351-132_0_5_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_351-132_0_5_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_351-132_0_5_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_351-132_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_351-132_0_5_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_351-132_0_5_node_59 | 0.4 | n |  | TRUE
58 | bus_MV_591_0_node_106 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-132_0_5_load_0 | 0 | 0.020037 | 0.0050217 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-132_0_5_load_1 | 1 | 0.021142 | 0.0052986 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-132_0_5_load_3 | 3 | 0.016655 | 0.0041741 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-132_0_5_load_45 | 6 | 0.02734 | 0.0068521 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-132_0_5_load_42 | 8 | 0.034005 | 0.0085225 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-132_0_5_load_63 | 9 | 0.053497 | 0.013408 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-132_0_5_load_29 | 13 | 0.0076128 | 0.001908 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-132_0_5_load_35 | 14 | 0.011109 | 0.0027841 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-132_0_5_load_36 | 15 | 0.0032223 | 0.00080759 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-132_0_5_load_41 | 18 | 0.0027283 | 0.00068377 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-132_0_5_load_51 | 20 | 0.008673 | 0.0021737 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-132_0_5_load_61 | 22 | 0.014881 | 0.0037296 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-132_0_5_load_54 | 23 | 0.0069341 | 0.0017378 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-132_0_5_load_27 | 25 | 0.0075965 | 0.0019039 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-132_0_5_load_28 | 27 | 0.0079614 | 0.0019953 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-132_0_5_load_26 | 29 | 0.0096656 | 0.0024224 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-132_0_5_load_32 | 30 | 0.0031322 | 0.00078501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-132_0_5_load_30 | 31 | 0.017237 | 0.00432 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-132_0_5_load_34 | 34 | 0.0045654 | 0.0011442 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-132_0_5_load_64 | 35 | 0.0045913 | 0.0011507 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-132_0_5_load_62 | 36 | 0.018527 | 0.0046432 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-132_0_5_load_43 | 37 | 0.014059 | 0.0035236 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-132_0_5_load_37 | 38 | 0.0032042 | 0.00080305 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-132_0_5_load_40 | 39 | 0.0027572 | 0.00069103 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-132_0_5_load_60 | 40 | 0.0055259 | 0.0013849 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-132_0_5_load_53 | 41 | 0.0086264 | 0.002162 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-132_0_5_load_47 | 42 | 0.018898 | 0.0047362 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-132_0_5_load_46 | 43 | 0.016508 | 0.0041372 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-132_0_5_load_31 | 44 | 0.013846 | 0.0034702 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-132_0_5_load_33 | 45 | 0.0070169 | 0.0017586 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-132_0_5_load_58 | 46 | 0.0055586 | 0.0013931 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-132_0_5_load_57 | 47 | 0.0050392 | 0.0012629 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-132_0_5_load_38 | 48 | 0.0031993 | 0.00080182 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-132_0_5_load_39 | 49 | 0.003229 | 0.00080927 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-132_0_5_load_44 | 50 | 0.014048 | 0.0035207 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-132_0_5_load_52 | 51 | 0.014156 | 0.0035479 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-132_0_5_load_50 | 52 | 0.019637 | 0.0049214 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-132_0_5_load_48 | 53 | 0.014012 | 0.0035117 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-132_0_5_load_49 | 54 | 0.0069133 | 0.0017326 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-132_0_5_load_56 | 55 | 0.014053 | 0.0035221 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-132_0_5_load_55 | 56 | 0.010098 | 0.0025309 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-132_0_5_load_59 | 57 | 0.0072123 | 0.0018076 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 2 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-132_0_5_line_0 |  | 0 | 1 | 0.012701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-132_0_5_line_1 |  | 0 | 2 | 0.015181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-132_0_5_line_2 |  | 1 | 3 | 0.011909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-132_0_5_line_3 |  | 2 | 4 | 0.008809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
4 | LV_351-132_0_5_line_4 |  | 2 | 5 | 0.049188 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-132_0_5_line_5 |  | 3 | 6 | 0.011346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-132_0_5_line_6 |  | 4 | 7 | 0.01657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
7 | LV_351-132_0_5_line_7 |  | 4 | 8 | 0.007691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-132_0_5_line_8 |  | 5 | 9 | 0.023907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-132_0_5_line_9 |  | 7 | 15 | 0.021112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
10 | LV_351-132_0_5_line_10 |  | 7 | 12 | 0.008825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-132_0_5_line_11 |  | 8 | 37 | 0.026801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-132_0_5_line_12 |  | 10 | 11 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-132_0_5_line_13 |  | 10 | 12 | 0.0088896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-132_0_5_line_14 |  | 10 | 13 | 0.033822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-132_0_5_line_15 |  | 11 | 24 | 0.092374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-132_0_5_line_16 |  | 11 | 25 | 0.0018922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-132_0_5_line_17 |  | 12 | 14 | 0.0073578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-132_0_5_line_18 |  | 15 | 38 | 0.0067213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_351-132_0_5_line_19 |  | 16 | 17 | 0.014439 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_351-132_0_5_line_20 |  | 16 | 18 | 0.021987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_351-132_0_5_line_21 |  | 17 | 19 | 0.005204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-132_0_5_line_22 |  | 17 | 20 | 0.011222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-132_0_5_line_23 |  | 18 | 39 | 0.0067187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_351-132_0_5_line_24 |  | 19 | 23 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-132_0_5_line_25 |  | 19 | 21 | 0.008869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-132_0_5_line_26 |  | 21 | 22 | 0.0056596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-132_0_5_line_27 |  | 22 | 40 | 0.013196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-132_0_5_line_28 |  | 23 | 41 | 0.010554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-132_0_5_line_29 |  | 24 | 36 | 0.019209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-132_0_5_line_30 |  | 25 | 29 | 0.024228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-132_0_5_line_31 |  | 26 | 27 | 0.040209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-132_0_5_line_32 |  | 26 | 28 | 0.018563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-132_0_5_line_33 |  | 26 | 29 | 0.027354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-132_0_5_line_34 |  | 28 | 30 | 0.020199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-132_0_5_line_35 |  | 28 | 31 | 0.028663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-132_0_5_line_36 |  | 30 | 45 | 0.016585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-132_0_5_line_37 |  | 31 | 44 | 0.026256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-132_0_5_line_38 |  | 32 | 33 | 0.023405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-132_0_5_line_39 |  | 32 | 34 | 0.034643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-132_0_5_line_40 |  | 33 | 35 | 0.008533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-132_0_5_line_41 |  | 34 | 45 | 0.010567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-132_0_5_line_42 |  | 37 | 50 | 0.0016177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-132_0_5_line_43 |  | 38 | 48 | 0.0071563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_351-132_0_5_line_44 |  | 39 | 49 | 0.0072245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_351-132_0_5_line_45 |  | 40 | 57 | 0.008485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-132_0_5_line_46 |  | 41 | 56 | 0.011835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-132_0_5_line_47 |  | 42 | 43 | 0.0011607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-132_0_5_line_48 |  | 43 | 53 | 0.0096568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-132_0_5_line_49 |  | 46 | 47 | 0.0073898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-132_0_5_line_50 |  | 47 | 57 | 0.0083214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-132_0_5_line_51 |  | 48 | 49 | 0.0067271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
52 | LV_351-132_0_5_line_52 |  | 50 | 51 | 0.00046742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-132_0_5_line_53 |  | 51 | 52 | 0.00052905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-132_0_5_line_54 |  | 53 | 54 | 0.0051646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-132_0_5_line_55 |  | 54 | 55 | 0.0039737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-132_0_5_line_56 |  | 55 | 56 | 0.0068321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-132_0_5_trafo_2 | 0.63 MVA 20/0.4 kV | 58 | 2 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2600946.034 | 1198818.4022 | 2600943.8954 | 1198830.9218
1 | 2600948.5901 | 1198803.4384 | 2600946.034 | 1198818.4022
2 | 2600943.8954 | 1198830.9218 | 2600941.8901 | 1198842.6605
3 | 2600948.5901 | 1198803.4384 | 2600949.0167 | 1198802.2156 | 2600949.4661 | 1198801.1373 | 2600950.0068 | 1198800.1924 | 2600950.578 | 1198799.381 | 2600951.5832 | 1198798.1582 | 2600952.2914 | 1198797.4802 | 2600953.7839 | 1198796.6466
4 | 2600927.3878 | 1198835.0411 | 2600932.4255 | 1198802.4355 | 2600934.3823 | 1198802.5581 | 2600941.4862 | 1198802.9927 | 2600946.3744 | 1198803.3047 | 2600948.5901 | 1198803.4384
5 | 2600939.9797 | 1198853.8444 | 2600941.8901 | 1198842.6605
6 | 2600953.7839 | 1198796.6466 | 2600953.8146 | 1198795.3348 | 2600954.1659 | 1198787.8309 | 2600954.4715 | 1198781.4053 | 2600954.5326 | 1198780.0934
7 | 2600953.7839 | 1198796.6466 | 2600955.1773 | 1198796.4578 | 2600961.454 | 1198796.7805
8 | 2600927.3878 | 1198835.0411 | 2600903.7772 | 1198830.88
9 | 2600954.5326 | 1198780.0934 | 2600975.6136 | 1198781.2272
10 | 2600951.0844 | 1198773.2893 | 2600950.9545 | 1198775.7462 | 2600950.9316 | 1198776.491 | 2600951.0457 | 1198777.1024 | 2600951.2284 | 1198777.6472 | 2600951.4415 | 1198778.2253 | 2600951.7308 | 1198778.7368 | 2600952.1723 | 1198779.1926 | 2600952.6824 | 1198779.5818 | 2600953.2001 | 1198779.8709 | 2600953.8854 | 1198780.0489 | 2600954.5326 | 1198780.0934
11 | 2600961.454 | 1198796.7805 | 2600981.6362 | 1198797.8181 | 2600984.5068 | 1198797.9742 | 2600986.5778 | 1198798.0301 | 2600988.2236 | 1198798.0303
12 | 2600942.2749 | 1198772.0985 | 2600942.0692 | 1198773.2769 | 2600941.8483 | 1198774.0773 | 2600941.4065 | 1198775.1111 | 2600940.8886 | 1198775.9448 | 2600939.9824 | 1198776.8896 | 2600939.1371 | 1198777.4787 | 2600938.2919 | 1198777.8899 | 2600937.3096 | 1198778.1677 | 2600936.1599 | 1198778.312 | 2600929.231 | 1198778.022
13 | 2600942.2749 | 1198772.0985 | 2600943.6988 | 1198772.2877 | 2600946.8586 | 1198772.6995 | 2600949.5463 | 1198773.0779 | 2600951.0844 | 1198773.2893
14 | 2600942.2749 | 1198772.0985 | 2600948.3024 | 1198738.8179
15 | 2600852.7907 | 1198791.541 | 2600881.2826 | 1198793.0122 | 2600927.9951 | 1198795.0643 | 2600928.0866 | 1198793.808 | 2600928.6054 | 1198786.6376 | 2600929.1242 | 1198779.5005 | 2600929.231 | 1198778.022
16 | 2600929.231 | 1198778.022 | 2600927.3407 | 1198777.936
17 | 2600951.0844 | 1198773.2893 | 2600952.3043 | 1198766.0334
18 | 2600975.6136 | 1198781.2272 | 2600982.3253 | 1198781.5881
19 | 2601030.8234 | 1198798.6485 | 2601031.4565 | 1198791.5892 | 2601032.0668 | 1198784.2632
20 | 2601032.0668 | 1198784.2632 | 2601010.1118 | 1198783.0825
21 | 2601030.8234 | 1198798.6485 | 2601031.2878 | 1198799.0487 | 2601031.5466 | 1198799.4823 | 2601031.6455 | 1198799.8826 | 2601031.6302 | 1198800.4384 | 2601031.5692 | 1198800.972 | 2601031.1424 | 1198803.5178
22 | 2601030.8234 | 1198798.6485 | 2601030.2524 | 1198798.4483 | 2601029.5214 | 1198798.3259 | 2601028.5697 | 1198798.2256 | 2601019.6673 | 1198797.6882
23 | 2601003.4027 | 1198782.7217 | 2601010.1118 | 1198783.0825
24 | 2601031.1424 | 1198803.5178 | 2601028.1566 | 1198819.6617
25 | 2601031.1424 | 1198803.5178 | 2601035.4367 | 1198804.1521 | 2601039.9137 | 1198804.831
26 | 2601039.9137 | 1198804.831 | 2601038.9306 | 1198810.4046
27 | 2601036.6383 | 1198823.4003 | 2601038.9306 | 1198810.4046
28 | 2601026.2372 | 1198830.0396 | 2601028.1566 | 1198819.6617
29 | 2600852.7907 | 1198791.541 | 2600833.5576 | 1198790.4379
30 | 2600903.1375 | 1198776.8357 | 2600927.3407 | 1198777.936
31 | 2600881.3395 | 1198767.0094 | 2600881.6291 | 1198764.9195 | 2600888.4372 | 1198727.4338
32 | 2600863.0735 | 1198763.7052 | 2600867.2536 | 1198764.4617 | 2600872.02 | 1198765.2739 | 2600875.4234 | 1198765.9192 | 2600881.3395 | 1198767.0094
33 | 2600881.3395 | 1198767.0094 | 2600881.3697 | 1198768.7326 | 2600881.6512 | 1198770.1556 | 2600882.1764 | 1198771.4675 | 2600882.7778 | 1198772.4347 | 2600883.5848 | 1198773.3909 | 2600884.6126 | 1198774.3916 | 2600885.785 | 1198775.1144 | 2600887.1707 | 1198775.7816 | 2600889.0057 | 1198776.1932 | 2600903.1375 | 1198776.8357
34 | 2600863.0735 | 1198763.7052 | 2600866.6259 | 1198743.8207
35 | 2600863.0735 | 1198763.7052 | 2600862.3267 | 1198768.3854 | 2600861.8239 | 1198770.0751 | 2600861.1081 | 1198771.0978 | 2600860.0572 | 1198772.2316 | 2600858.6256 | 1198773.2653 | 2600857.4148 | 1198773.921 | 2600856.0595 | 1198774.2544 | 2600854.7117 | 1198774.4098 | 2600841.2574 | 1198773.7292
36 | 2600869.5196 | 1198727.49 | 2600867.9731 | 1198736.2801 | 2600866.6259 | 1198743.8207
37 | 2600841.2574 | 1198773.7292 | 2600815.0354 | 1198772.4026
38 | 2600877.3534 | 1198682.964 | 2600854.2522 | 1198678.8142
39 | 2600877.3534 | 1198682.964 | 2600871.3506 | 1198717.0827
40 | 2600854.2522 | 1198678.8142 | 2600852.7206 | 1198687.2074
41 | 2600869.5196 | 1198727.49 | 2600871.3506 | 1198717.0827
42 | 2600988.2236 | 1198798.0303 | 2600989.8413 | 1198798.0306
43 | 2600982.3253 | 1198781.5881 | 2600989.4713 | 1198781.9724
44 | 2600996.1886 | 1198782.3337 | 2601003.4027 | 1198782.7217
45 | 2601035.1644 | 1198831.7563 | 2601036.6383 | 1198823.4003
46 | 2601026.2372 | 1198830.0396 | 2601024.0849 | 1198841.6769
47 | 2601019.4241 | 1198866.8767 | 2601019.213 | 1198868.0181
48 | 2601019.4241 | 1198866.8767 | 2601021.1804 | 1198857.3809
49 | 2601033.7189 | 1198839.9512 | 2601032.4352 | 1198847.2287
50 | 2601033.7189 | 1198839.9512 | 2601035.1644 | 1198831.7563
51 | 2600989.4713 | 1198781.9724 | 2600996.1886 | 1198782.3337
52 | 2600989.8413 | 1198798.0306 | 2600990.3087 | 1198798.0306 | 2600990.3087 | 1198798.0306
53 | 2600990.3087 | 1198798.0306 | 2600990.8363 | 1198797.9912
54 | 2601022.1196 | 1198852.3025 | 2601021.1804 | 1198857.3809
55 | 2601022.1196 | 1198852.3025 | 2601022.8423 | 1198848.395
56 | 2601024.0849 | 1198841.6769 | 2601022.8423 | 1198848.395

## bus_geodata
| x | y | coords
0 | 2600946.034 | 1198818.4022
1 | 2600943.8954 | 1198830.9218
2 | 2600948.5901 | 1198803.4384
3 | 2600941.8901 | 1198842.6605
4 | 2600953.7839 | 1198796.6466
5 | 2600927.3878 | 1198835.0411
6 | 2600939.9797 | 1198853.8444
7 | 2600954.5326 | 1198780.0934
8 | 2600961.454 | 1198796.7805
9 | 2600903.7772 | 1198830.88
10 | 2600942.2749 | 1198772.0985
11 | 2600929.231 | 1198778.022
12 | 2600951.0844 | 1198773.2893
13 | 2600948.3024 | 1198738.8179
14 | 2600952.3043 | 1198766.0334
15 | 2600975.6136 | 1198781.2272
16 | 2601032.0668 | 1198784.2632
17 | 2601030.8234 | 1198798.6485
18 | 2601010.1118 | 1198783.0825
19 | 2601031.1424 | 1198803.5178
20 | 2601019.6673 | 1198797.6882
21 | 2601039.9137 | 1198804.831
22 | 2601038.9306 | 1198810.4046
23 | 2601028.1566 | 1198819.6617
24 | 2600852.7907 | 1198791.541
25 | 2600927.3407 | 1198777.936
26 | 2600881.3395 | 1198767.0094
27 | 2600888.4372 | 1198727.4338
28 | 2600863.0735 | 1198763.7052
29 | 2600903.1375 | 1198776.8357
30 | 2600866.6259 | 1198743.8207
31 | 2600841.2574 | 1198773.7292
32 | 2600877.3534 | 1198682.964
33 | 2600854.2522 | 1198678.8142
34 | 2600871.3506 | 1198717.0827
35 | 2600852.7206 | 1198687.2074
36 | 2600833.5576 | 1198790.4379
37 | 2600988.2236 | 1198798.0303
38 | 2600982.3253 | 1198781.5881
39 | 2601003.4027 | 1198782.7217
40 | 2601036.6383 | 1198823.4003
41 | 2601026.2372 | 1198830.0396
42 | 2601019.213 | 1198868.0181
43 | 2601019.4241 | 1198866.8767
44 | 2600815.0354 | 1198772.4026
45 | 2600869.5196 | 1198727.49
46 | 2601032.4352 | 1198847.2287
47 | 2601033.7189 | 1198839.9512
48 | 2600989.4713 | 1198781.9724
49 | 2600996.1886 | 1198782.3337
50 | 2600989.8413 | 1198798.0306
51 | 2600990.3087 | 1198798.0306
52 | 2600990.8363 | 1198797.9912
53 | 2601021.1804 | 1198857.3809
54 | 2601022.1196 | 1198852.3025
55 | 2601022.8423 | 1198848.395
56 | 2601024.0849 | 1198841.6769
57 | 2601035.1644 | 1198831.7563
58 | 2600941.4862 | 1198802.9927

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1