## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-136_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-136_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-136_0_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_351-136_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-136_0_5_node_97 | 0.4 | n |  | TRUE
5 | bus_LV_351-136_0_5_node_95 | 0.4 | n |  | TRUE
6 | bus_LV_351-136_0_5_node_114 | 0.4 | n |  | TRUE
7 | bus_LV_351-136_0_5_node_96 | 0.4 | n |  | TRUE
8 | bus_LV_351-136_0_5_node_9 | 0.4 | n |  | TRUE
9 | bus_LV_351-136_0_5_node_54 | 0.4 | n |  | TRUE
10 | bus_LV_351-136_0_5_node_53 | 0.4 | n |  | TRUE
11 | bus_LV_351-136_0_5_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_351-136_0_5_node_104 | 0.4 | n |  | TRUE
13 | bus_LV_351-136_0_5_node_89 | 0.4 | n |  | TRUE
14 | bus_LV_351-136_0_5_node_93 | 0.4 | n |  | TRUE
15 | bus_LV_351-136_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_351-136_0_5_node_23 | 0.4 | n |  | TRUE
17 | bus_LV_351-136_0_5_node_60 | 0.4 | n |  | TRUE
18 | bus_LV_351-136_0_5_node_131 | 0.4 | n |  | TRUE
19 | bus_LV_351-136_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_351-136_0_5_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_351-136_0_5_node_94 | 0.4 | n |  | TRUE
22 | bus_LV_351-136_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_351-136_0_5_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_351-136_0_5_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_351-136_0_5_node_106 | 0.4 | n |  | TRUE
26 | bus_LV_351-136_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_351-136_0_5_node_122 | 0.4 | n |  | TRUE
28 | bus_LV_351-136_0_5_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_351-136_0_5_node_64 | 0.4 | n |  | TRUE
30 | bus_LV_351-136_0_5_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_351-136_0_5_node_52 | 0.4 | n |  | TRUE
32 | bus_LV_351-136_0_5_node_75 | 0.4 | n |  | TRUE
33 | bus_LV_351-136_0_5_node_84 | 0.4 | n |  | TRUE
34 | bus_LV_351-136_0_5_node_81 | 0.4 | n |  | TRUE
35 | bus_LV_351-136_0_5_node_105 | 0.4 | n |  | TRUE
36 | bus_LV_351-136_0_5_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_351-136_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_351-136_0_5_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_351-136_0_5_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_351-136_0_5_node_138 | 0.4 | n |  | TRUE
41 | bus_LV_351-136_0_5_node_49 | 0.4 | n |  | TRUE
42 | bus_LV_351-136_0_5_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_351-136_0_5_node_51 | 0.4 | n |  | TRUE
44 | bus_LV_351-136_0_5_node_118 | 0.4 | n |  | TRUE
45 | bus_LV_351-136_0_5_node_119 | 0.4 | n |  | TRUE
46 | bus_LV_351-136_0_5_node_24 | 0.4 | n |  | TRUE
47 | bus_LV_351-136_0_5_node_69 | 0.4 | n |  | TRUE
48 | bus_LV_351-136_0_5_node_73 | 0.4 | n |  | TRUE
49 | bus_LV_351-136_0_5_node_123 | 0.4 | n |  | TRUE
50 | bus_LV_351-136_0_5_node_109 | 0.4 | n |  | TRUE
51 | bus_LV_351-136_0_5_node_108 | 0.4 | n |  | TRUE
52 | bus_LV_351-136_0_5_node_115 | 0.4 | n |  | TRUE
53 | bus_LV_351-136_0_5_node_47 | 0.4 | n |  | TRUE
54 | bus_LV_351-136_0_5_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_351-136_0_5_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_351-136_0_5_node_85 | 0.4 | n |  | TRUE
57 | bus_LV_351-136_0_5_node_110 | 0.4 | n |  | TRUE
58 | bus_LV_351-136_0_5_node_112 | 0.4 | n |  | TRUE
59 | bus_LV_351-136_0_5_node_79 | 0.4 | n |  | TRUE
60 | bus_LV_351-136_0_5_node_78 | 0.4 | n |  | TRUE
61 | bus_LV_351-136_0_5_node_66 | 0.4 | n |  | TRUE
62 | bus_LV_351-136_0_5_node_65 | 0.4 | n |  | TRUE
63 | bus_LV_351-136_0_5_node_63 | 0.4 | n |  | TRUE
64 | bus_LV_351-136_0_5_node_90 | 0.4 | n |  | TRUE
65 | bus_LV_351-136_0_5_node_91 | 0.4 | n |  | TRUE
66 | bus_LV_351-136_0_5_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_351-136_0_5_node_92 | 0.4 | n |  | TRUE
68 | bus_LV_351-136_0_5_node_58 | 0.4 | n |  | TRUE
69 | bus_LV_351-136_0_5_node_130 | 0.4 | n |  | TRUE
70 | bus_LV_351-136_0_5_node_70 | 0.4 | n |  | TRUE
71 | bus_LV_351-136_0_5_node_62 | 0.4 | n |  | TRUE
72 | bus_LV_351-136_0_5_node_121 | 0.4 | n |  | TRUE
73 | bus_LV_351-136_0_5_node_67 | 0.4 | n |  | TRUE
74 | bus_LV_351-136_0_5_node_68 | 0.4 | n |  | TRUE
75 | bus_LV_351-136_0_5_node_76 | 0.4 | n |  | TRUE
76 | bus_LV_351-136_0_5_node_80 | 0.4 | n |  | TRUE
77 | bus_LV_351-136_0_5_node_41 | 0.4 | n |  | TRUE
78 | bus_LV_351-136_0_5_node_46 | 0.4 | n |  | TRUE
79 | bus_LV_351-136_0_5_node_98 | 0.4 | n |  | TRUE
80 | bus_LV_351-136_0_5_node_38 | 0.4 | n |  | TRUE
81 | bus_LV_351-136_0_5_node_117 | 0.4 | n |  | TRUE
82 | bus_LV_351-136_0_5_node_113 | 0.4 | n |  | TRUE
83 | bus_LV_351-136_0_5_node_71 | 0.4 | n |  | TRUE
84 | bus_LV_351-136_0_5_node_25 | 0.4 | n |  | TRUE
85 | bus_LV_351-136_0_5_node_26 | 0.4 | n |  | TRUE
86 | bus_LV_351-136_0_5_node_27 | 0.4 | n |  | TRUE
87 | bus_LV_351-136_0_5_node_28 | 0.4 | n |  | TRUE
88 | bus_LV_351-136_0_5_node_29 | 0.4 | n |  | TRUE
89 | bus_LV_351-136_0_5_node_30 | 0.4 | n |  | TRUE
90 | bus_LV_351-136_0_5_node_133 | 0.4 | n |  | TRUE
91 | bus_LV_351-136_0_5_node_87 | 0.4 | n |  | TRUE
92 | bus_LV_351-136_0_5_node_101 | 0.4 | n |  | TRUE
93 | bus_LV_351-136_0_5_node_35 | 0.4 | n |  | TRUE
94 | bus_LV_351-136_0_5_node_135 | 0.4 | n |  | TRUE
95 | bus_LV_351-136_0_5_node_32 | 0.4 | n |  | TRUE
96 | bus_LV_351-136_0_5_node_44 | 0.4 | n |  | TRUE
97 | bus_LV_351-136_0_5_node_136 | 0.4 | n |  | TRUE
98 | bus_LV_351-136_0_5_node_43 | 0.4 | n |  | TRUE
99 | bus_LV_351-136_0_5_node_56 | 0.4 | n |  | TRUE
100 | bus_LV_351-136_0_5_node_83 | 0.4 | n |  | TRUE
101 | bus_LV_351-136_0_5_node_132 | 0.4 | n |  | TRUE
102 | bus_LV_351-136_0_5_node_102 | 0.4 | n |  | TRUE
103 | bus_LV_351-136_0_5_node_103 | 0.4 | n |  | TRUE
104 | bus_LV_351-136_0_5_node_31 | 0.4 | n |  | TRUE
105 | bus_LV_351-136_0_5_node_34 | 0.4 | n |  | TRUE
106 | bus_LV_351-136_0_5_node_37 | 0.4 | n |  | TRUE
107 | bus_LV_351-136_0_5_node_36 | 0.4 | n |  | TRUE
108 | bus_LV_351-136_0_5_node_134 | 0.4 | n |  | TRUE
109 | bus_LV_351-136_0_5_node_137 | 0.4 | n |  | TRUE
110 | bus_LV_351-136_0_5_node_99 | 0.4 | n |  | TRUE
111 | bus_LV_351-136_0_5_node_55 | 0.4 | n |  | TRUE
112 | bus_LV_351-136_0_5_node_82 | 0.4 | n |  | TRUE
113 | bus_LV_351-136_0_5_node_125 | 0.4 | n |  | TRUE
114 | bus_LV_351-136_0_5_node_126 | 0.4 | n |  | TRUE
115 | bus_LV_351-136_0_5_node_57 | 0.4 | n |  | TRUE
116 | bus_LV_351-136_0_5_node_59 | 0.4 | n |  | TRUE
117 | bus_LV_351-136_0_5_node_61 | 0.4 | n |  | TRUE
118 | bus_LV_351-136_0_5_node_124 | 0.4 | n |  | TRUE
119 | bus_LV_351-136_0_5_node_128 | 0.4 | n |  | TRUE
120 | bus_LV_351-136_0_5_node_120 | 0.4 | n |  | TRUE
121 | bus_LV_351-136_0_5_node_72 | 0.4 | n |  | TRUE
122 | bus_LV_351-136_0_5_node_74 | 0.4 | n |  | TRUE
123 | bus_LV_351-136_0_5_node_77 | 0.4 | n |  | TRUE
124 | bus_LV_351-136_0_5_node_129 | 0.4 | n |  | TRUE
125 | bus_LV_351-136_0_5_node_111 | 0.4 | n |  | TRUE
126 | bus_LV_351-136_0_5_node_100 | 0.4 | n |  | TRUE
127 | bus_LV_351-136_0_5_node_107 | 0.4 | n |  | TRUE
128 | bus_LV_351-136_0_5_node_116 | 0.4 | n |  | TRUE
129 | bus_LV_351-136_0_5_node_127 | 0.4 | n |  | TRUE
130 | bus_MV_593_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-136_0_5_load_0 | 0 | 0.0085107 | 0.002133 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-136_0_5_load_95 | 5 | 0.011286 | 0.0028286 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-136_0_5_load_114 | 6 | 0.0095559 | 0.0023949 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-136_0_5_load_96 | 7 | 0.012167 | 0.0030492 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-136_0_5_load_53 | 10 | 0.011926 | 0.002989 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-136_0_5_load_104 | 12 | 0.0027027 | 0.00067737 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-136_0_5_load_93 | 14 | 0.018576 | 0.0046555 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-136_0_5_load_60 | 17 | 0.0066241 | 0.0016601 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-136_0_5_load_131 | 18 | 0.0066144 | 0.0016577 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-136_0_5_load_94 | 21 | 0.00074011 | 0.00018549 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-136_0_5_load_106 | 25 | 0.0025323 | 0.00063466 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-136_0_5_load_122 | 27 | 0.010691 | 0.0026794 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-136_0_5_load_64 | 29 | 0.0071283 | 0.0017865 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-136_0_5_load_52 | 31 | 0.0020506 | 0.00051394 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-136_0_5_load_75 | 32 | 0.0034316 | 0.00086004 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-136_0_5_load_84 | 33 | 0.000552 | 0.00013834 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-136_0_5_load_81 | 34 | 0.00060601 | 0.00015188 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-136_0_5_load_105 | 35 | 0.0042563 | 0.0010667 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-136_0_5_load_48 | 38 | 0.038629 | 0.0096814 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-136_0_5_load_138 | 40 | 0.0032181 | 0.00080654 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-136_0_5_load_51 | 43 | 0.0067318 | 0.0016872 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-136_0_5_load_118 | 44 | 0.0052481 | 0.0013153 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-136_0_5_load_119 | 45 | 0.0075652 | 0.001896 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-136_0_5_load_69 | 47 | 0.012789 | 0.0032052 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-136_0_5_load_123 | 49 | 0.015671 | 0.0039274 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-136_0_5_load_109 | 50 | 0.006985 | 0.0017506 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-136_0_5_load_108 | 51 | 0.0088637 | 0.0022215 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-136_0_5_load_115 | 52 | 0.0094488 | 0.0023681 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-136_0_5_load_86 | 54 | 0.0045901 | 0.0011504 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-136_0_5_load_85 | 56 | 0.0073099 | 0.001832 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-136_0_5_load_110 | 57 | 0.0095829 | 0.0024017 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-136_0_5_load_112 | 58 | 0.0091135 | 0.0022841 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-136_0_5_load_79 | 59 | 0.0038408 | 0.0009626 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-136_0_5_load_78 | 60 | 0.0038303 | 0.00095997 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-136_0_5_load_66 | 61 | 0.010127 | 0.0025382 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-136_0_5_load_65 | 62 | 0.0062109 | 0.0015566 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-136_0_5_load_63 | 63 | 0.0027534 | 0.00069007 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-136_0_5_load_91 | 65 | 0.0066408 | 0.0016644 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-136_0_5_load_88 | 66 | 0.017891 | 0.004484 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-136_0_5_load_92 | 67 | 0.00045252 | 0.00011341 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-136_0_5_load_58 | 68 | 0.0086276 | 0.0021623 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-136_0_5_load_130 | 69 | 0.0062897 | 0.0015764 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-136_0_5_load_62 | 71 | 0.0029364 | 0.00073594 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-136_0_5_load_121 | 72 | 0.013198 | 0.0033078 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-136_0_5_load_67 | 73 | 0.010508 | 0.0026336 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-136_0_5_load_68 | 74 | 0.0081675 | 0.002047 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-136_0_5_load_76 | 75 | 0.003858 | 0.0009669 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-136_0_5_load_80 | 76 | 0.0014195 | 0.00035575 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-136_0_5_load_98 | 79 | 0.0070392 | 0.0017642 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-136_0_5_load_38 | 80 | 0.0011244 | 0.0002818 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-136_0_5_load_117 | 81 | 0.0094899 | 0.0023784 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-136_0_5_load_113 | 82 | 0.0057367 | 0.0014378 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-136_0_5_load_71 | 83 | 0.015273 | 0.0038277 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-136_0_5_load_25 | 84 | 0.0027408 | 0.00068692 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-136_0_5_load_29 | 88 | 0.0006484 | 0.0001625 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-136_0_5_load_133 | 90 | 0.004516 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-136_0_5_load_87 | 91 | 0.00079583 | 0.00019945 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-136_0_5_load_101 | 92 | 0.0019692 | 0.00049352 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-136_0_5_load_135 | 94 | 0.00096069 | 0.00024077 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-136_0_5_load_136 | 97 | 0.0072396 | 0.0018144 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-136_0_5_load_83 | 100 | 0.0052456 | 0.0013147 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-136_0_5_load_132 | 101 | 0.0042954 | 0.0010765 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-136_0_5_load_31 | 104 | 0.003067 | 0.00076867 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-136_0_5_load_34 | 105 | 0.0011155 | 0.00027957 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-136_0_5_load_134 | 108 | 0.011307 | 0.0028337 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-136_0_5_load_137 | 109 | 0.0014479 | 0.00036288 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_351-136_0_5_load_99 | 110 | 0.0022893 | 0.00057375 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_351-136_0_5_load_55 | 111 | 0.011469 | 0.0028745 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_351-136_0_5_load_82 | 112 | 0.0012269 | 0.0003075 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_351-136_0_5_load_125 | 113 | 0.0086028 | 0.0021561 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_351-136_0_5_load_126 | 114 | 0.0081995 | 0.002055 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_351-136_0_5_load_57 | 115 | 0.0033331 | 0.00083535 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_351-136_0_5_load_59 | 116 | 0.0035509 | 0.00088994 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_351-136_0_5_load_61 | 117 | 0.0034249 | 0.00085836 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_351-136_0_5_load_124 | 118 | 0.0034258 | 0.00085858 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_351-136_0_5_load_128 | 119 | 0.0079761 | 0.001999 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_351-136_0_5_load_120 | 120 | 0.0060041 | 0.0015048 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_351-136_0_5_load_72 | 121 | 0.0060053 | 0.0015051 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_351-136_0_5_load_74 | 122 | 0.0063359 | 0.0015879 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_351-136_0_5_load_77 | 123 | 0.003857 | 0.00096667 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_351-136_0_5_load_129 | 124 | 0.0066273 | 0.001661 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_351-136_0_5_load_111 | 125 | 0.0070116 | 0.0017573 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_351-136_0_5_load_107 | 127 | 0.022249 | 0.0055762 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_351-136_0_5_load_116 | 128 | 0.0087401 | 0.0021905 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_351-136_0_5_load_127 | 129 | 0.0080044 | 0.0020061 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-136_0_5_line_0 |  | 0 | 1 | 0.018206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-136_0_5_line_1 |  | 1 | 2 | 0.0084824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-136_0_5_line_2 |  | 2 | 6 | 0.017783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-136_0_5_line_3 |  | 2 | 7 | 0.013402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-136_0_5_line_4 |  | 3 | 4 | 0.001048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-136_0_5_line_5 |  | 3 | 5 | 0.022954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-136_0_5_line_6 |  | 4 | 50 | 0.023912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-136_0_5_line_7 |  | 4 | 51 | 0.018059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-136_0_5_line_8 |  | 5 | 7 | 0.019008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-136_0_5_line_9 |  | 6 | 52 | 0.010115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-136_0_5_line_10 |  | 8 | 9 | 0.003126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-136_0_5_line_11 |  | 8 | 10 | 0.0049067 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-136_0_5_line_12 |  | 9 | 64 | 0.00536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-136_0_5_line_13 |  | 11 | 12 | 0.0365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_351-136_0_5_line_14 |  | 11 | 13 | 0.003545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_351-136_0_5_line_15 |  | 11 | 14 | 0.015953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-136_0_5_line_16 |  | 12 | 35 | 0.026303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_351-136_0_5_line_17 |  | 13 | 65 | 0.024335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_351-136_0_5_line_18 |  | 13 | 66 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-136_0_5_line_19 |  | 14 | 67 | 0.027862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-136_0_5_line_20 |  | 15 | 16 | 0.04772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-136_0_5_line_21 |  | 15 | 17 | 0.010725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_351-136_0_5_line_22 |  | 15 | 18 | 0.00041549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_351-136_0_5_line_23 |  | 16 | 44 | 0.026572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-136_0_5_line_24 |  | 16 | 45 | 0.010762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-136_0_5_line_25 |  | 17 | 68 | 0.011777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-136_0_5_line_26 |  | 18 | 69 | 0.010522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_351-136_0_5_line_27 |  | 19 | 20 | 0.05647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-136_0_5_line_28 |  | 19 | 21 | 0.050339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-136_0_5_line_29 |  | 20 | 33 | 0.030327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-136_0_5_line_30 |  | 20 | 34 | 0.041575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-136_0_5_line_31 |  | 21 | 64 | 0.029696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-136_0_5_line_32 |  | 22 | 23 | 0.11459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_351-136_0_5_line_33 |  | 22 | 24 | 0.00475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_351-136_0_5_line_34 |  | 22 | 25 | 0.039955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-136_0_5_line_35 |  | 23 | 30 | 0.54403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-136_0_5_line_36 |  | 23 | 31 | 0.11898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_351-136_0_5_line_37 |  | 24 | 35 | 0.014078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_351-136_0_5_line_38 |  | 24 | 28 | 0.03012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_351-136_0_5_line_39 |  | 26 | 27 | 0.036486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-136_0_5_line_40 |  | 26 | 28 | 0.022947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_351-136_0_5_line_41 |  | 26 | 29 | 0.023665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-136_0_5_line_42 |  | 27 | 70 | 0.023315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-136_0_5_line_43 |  | 28 | 32 | 0.0097743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-136_0_5_line_44 |  | 29 | 71 | 0.031221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-136_0_5_line_45 |  | 30 | 56 | 0.056892 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-136_0_5_line_46 |  | 31 | 43 | 0.034291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_351-136_0_5_line_47 |  | 32 | 75 | 0.02461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-136_0_5_line_48 |  | 34 | 76 | 0.029028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-136_0_5_line_49 |  | 36 | 37 | 0.024856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-136_0_5_line_50 |  | 36 | 38 | 0.004504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-136_0_5_line_51 |  | 37 | 42 | 0.19688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_351-136_0_5_line_52 |  | 37 | 43 | 0.043489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_351-136_0_5_line_53 |  | 38 | 41 | 0.020625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-136_0_5_line_54 |  | 39 | 40 | 0.008387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-136_0_5_line_55 |  | 39 | 41 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-136_0_5_line_56 |  | 41 | 77 | 0.019584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-136_0_5_line_57 |  | 42 | 78 | 0.041264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_351-136_0_5_line_58 |  | 42 | 79 | 0.029326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-136_0_5_line_59 |  | 44 | 81 | 0.0089172 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-136_0_5_line_60 |  | 45 | 82 | 0.0090529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-136_0_5_line_61 |  | 46 | 47 | 0.025697 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-136_0_5_line_62 |  | 46 | 48 | 0.003837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-136_0_5_line_63 |  | 46 | 49 | 0.012874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-136_0_5_line_64 |  | 47 | 74 | 0.013139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-136_0_5_line_65 |  | 48 | 83 | 0.013736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-136_0_5_line_66 |  | 48 | 61 | 0.020417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-136_0_5_line_67 |  | 50 | 125 | 0.0096171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-136_0_5_line_68 |  | 52 | 128 | 0.0091992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-136_0_5_line_69 |  | 53 | 54 | 0.19794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-136_0_5_line_70 |  | 53 | 55 | 0.047717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-136_0_5_line_71 |  | 54 | 77 | 0.087051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-136_0_5_line_72 |  | 55 | 80 | 0.10024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-136_0_5_line_73 |  | 57 | 58 | 0.019672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-136_0_5_line_74 |  | 58 | 82 | 0.0097454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-136_0_5_line_75 |  | 59 | 60 | 0.010364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-136_0_5_line_76 |  | 60 | 123 | 0.011511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-136_0_5_line_77 |  | 62 | 63 | 0.016517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-136_0_5_line_78 |  | 63 | 71 | 0.018271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-136_0_5_line_79 |  | 64 | 67 | 0.022755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-136_0_5_line_80 |  | 65 | 124 | 0.010696 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_351-136_0_5_line_81 |  | 68 | 115 | 0.016382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-136_0_5_line_82 |  | 69 | 124 | 0.010506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_351-136_0_5_line_83 |  | 70 | 72 | 0.0084048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-136_0_5_line_84 |  | 72 | 120 | 0.024496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-136_0_5_line_85 |  | 73 | 74 | 0.014596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-136_0_5_line_86 |  | 75 | 123 | 0.020691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-136_0_5_line_87 |  | 76 | 112 | 0.056928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-136_0_5_line_88 |  | 78 | 101 | 0.02316 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_351-136_0_5_line_89 |  | 78 | 87 | 0.077173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_351-136_0_5_line_90 |  | 78 | 96 | 0.19517 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_351-136_0_5_line_91 |  | 79 | 110 | 0.048209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_351-136_0_5_line_92 |  | 81 | 128 | 0.017539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_351-136_0_5_line_93 |  | 83 | 121 | 0.022034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_351-136_0_5_line_94 |  | 84 | 85 | 0.041905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_351-136_0_5_line_95 |  | 84 | 86 | 0.011568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
96 | LV_351-136_0_5_line_96 |  | 85 | 87 | 0.017521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
97 | LV_351-136_0_5_line_97 |  | 86 | 88 | 0.028077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_351-136_0_5_line_98 |  | 86 | 89 | 0.015355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
99 | LV_351-136_0_5_line_99 |  | 87 | 90 | 0.006413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_351-136_0_5_line_100 |  | 88 | 91 | 0.010599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_351-136_0_5_line_101 |  | 89 | 92 | 0.02848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
102 | LV_351-136_0_5_line_102 |  | 92 | 102 | 0.019022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
103 | LV_351-136_0_5_line_103 |  | 93 | 94 | 0.24999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_351-136_0_5_line_104 |  | 93 | 95 | 0.015167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_351-136_0_5_line_105 |  | 95 | 105 | 0.023601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_351-136_0_5_line_106 |  | 95 | 104 | 0.012691 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_351-136_0_5_line_107 |  | 96 | 97 | 0.008518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_351-136_0_5_line_108 |  | 98 | 99 | 0.12074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_351-136_0_5_line_109 |  | 98 | 100 | 0.026425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_351-136_0_5_line_110 |  | 99 | 111 | 0.025662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_351-136_0_5_line_111 |  | 100 | 112 | 0.068108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_351-136_0_5_line_112 |  | 102 | 103 | 0.060546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
113 | LV_351-136_0_5_line_113 |  | 103 | 109 | 0.005266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_351-136_0_5_line_114 |  | 103 | 107 | 0.015797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_351-136_0_5_line_115 |  | 105 | 106 | 0.043361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_351-136_0_5_line_116 |  | 106 | 107 | 0.032664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_351-136_0_5_line_117 |  | 107 | 108 | 0.006933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_351-136_0_5_line_118 |  | 110 | 126 | 0.015031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_351-136_0_5_line_119 |  | 113 | 114 | 0.012539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_351-136_0_5_line_120 |  | 114 | 129 | 0.011596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_351-136_0_5_line_121 |  | 115 | 116 | 0.0056899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_351-136_0_5_line_122 |  | 116 | 117 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_351-136_0_5_line_123 |  | 117 | 118 | 0.011272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_351-136_0_5_line_124 |  | 118 | 119 | 0.012098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_351-136_0_5_line_125 |  | 119 | 129 | 0.011274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_351-136_0_5_line_126 |  | 120 | 122 | 0.0087754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_351-136_0_5_line_127 |  | 121 | 122 | 0.0087686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_351-136_0_5_line_128 |  | 126 | 127 | 0.01521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-136_0_5_trafo_60 | 0.63 MVA 20/0.4 kV | 130 | 17 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40 | x41 | y41 | x42 | y42 | x43 | y43 | x44 | y44 | x45 | y45 | x46 | y46 | x47 | y47 | x48 | y48 | x49 | y49 | x50 | y50 | x51 | y51
0 | 2600673.0816 | 1198491.2597 | 2600691.2816 | 1198490.7815
1 | 2600673.0816 | 1198491.2597 | 2600673.1049 | 1198487.013 | 2600673.0901 | 1198482.7774
2 | 2600673.0901 | 1198482.7774 | 2600672.5626 | 1198465.0027
3 | 2600673.0901 | 1198482.7774 | 2600686.4873 | 1198482.4047
4 | 2600729.1104 | 1198480.4376 | 2600728.4326 | 1198481.238
5 | 2600728.4326 | 1198481.238 | 2600705.488 | 1198481.8762
6 | 2600729.1104 | 1198480.4376 | 2600713.4906 | 1198462.3325
7 | 2600729.1104 | 1198480.4376 | 2600740.9511 | 1198466.8015
8 | 2600705.488 | 1198481.8762 | 2600686.4873 | 1198482.4047
9 | 2600672.5626 | 1198465.0027 | 2600672.2626 | 1198454.8925
10 | 2600659.3668 | 1198268.9841 | 2600660.4709 | 1198269.9625 | 2600661.0267 | 1198270.5073 | 2600661.5064 | 1198271.2411
11 | 2600659.3668 | 1198268.9841 | 2600661.1184 | 1198266.9387 | 2600661.347 | 1198266.2384 | 2600661.2557 | 1198265.5269 | 2600660.9131 | 1198264.8487
12 | 2600656.2597 | 1198272.4079 | 2600661.5064 | 1198271.2411
13 | 2600617.3662 | 1198324.1207 | 2600589.8414 | 1198300.1486
14 | 2600617.3662 | 1198324.1207 | 2600620.0311 | 1198326.4666
15 | 2600617.3662 | 1198324.1207 | 2600627.8661 | 1198312.1103
16 | 2600570.0062 | 1198282.8736 | 2600589.8414 | 1198300.1486
17 | 2600620.0311 | 1198326.4666 | 2600638.2897 | 1198342.5546
18 | 2600620.0311 | 1198326.4666 | 2600629.5518 | 1198315.5234
19 | 2600646.182 | 1198291.1142 | 2600638.5907 | 1198299.843 | 2600627.8661 | 1198312.1103
20 | 2600662.4034 | 1198363.8017 | 2600661.2458 | 1198365.1579 | 2600658.9535 | 1198367.8257 | 2600656.6232 | 1198370.5269 | 2600655.6027 | 1198371.6941 | 2600656.897 | 1198373.3173 | 2600657.7421 | 1198374.8294 | 2600658.808 | 1198377.1084 | 2600659.5997 | 1198379.3653 | 2600660.0411 | 1198381.7555 | 2600661.4801 | 1198382.9229 | 2600669.551 | 1198389.5161 | 2600677.1422 | 1198395.5979 | 2600680.3705 | 1198398.2108
21 | 2600662.4034 | 1198363.8017 | 2600670.4763 | 1198370.8623
22 | 2600662.4034 | 1198363.8017 | 2600662.0917 | 1198363.527
23 | 2600680.3705 | 1198398.2108 | 2600679.472 | 1198398.3107 | 2600678.0023 | 1198398.6886 | 2600676.4032 | 1198399.2665 | 2600675.1848 | 1198399.8444 | 2600673.8445 | 1198400.7337 | 2600672.7555 | 1198401.8119 | 2600671.9254 | 1198402.8346 | 2600671.3543 | 1198403.7906 | 2600670.9658 | 1198405.069 | 2600670.8362 | 1198406.8255 | 2600671.2049 | 1198419.2525
24 | 2600680.3705 | 1198398.2108 | 2600681.132 | 1198398.1219 | 2600682.5407 | 1198398.122 | 2600684.0103 | 1198398.1889 | 2600685.7236 | 1198398.5671 | 2600687.0028 | 1198399.1342 | 2600689.986 | 1198401.7406
25 | 2600679.3408 | 1198378.6153 | 2600670.4763 | 1198370.8623
26 | 2600662.0917 | 1198363.527 | 2600654.1973 | 1198356.5711
27 | 2600596.3358 | 1198219.4185 | 2600594.0363 | 1198217.2282 | 2600594.7826 | 1198216.6835 | 2600595.5518 | 1198216.3501 | 2600596.2828 | 1198216.1389 | 2600597.1357 | 1198216.0167 | 2600595.7273 | 1198211.8032 | 2600589.6816 | 1198205.5883 | 2600622.4729 | 1198188.8934
28 | 2600596.3358 | 1198219.4185 | 2600634.273 | 1198252.5062
29 | 2600631.5904 | 1198162.9137 | 2600633.9732 | 1198169.6842 | 2600622.4504 | 1198184.7134 | 2600622.2524 | 1198185.1581 | 2600622.4729 | 1198188.8934
30 | 2600622.4729 | 1198188.8934 | 2600636.2413 | 1198181.5463 | 2600661.8272 | 1198183.7611 | 2600662.1064 | 1198183.6939
31 | 2600656.2597 | 1198272.4079 | 2600655.8866 | 1198271.8742 | 2600655.2927 | 1198271.1071 | 2600654.3638 | 1198270.1398 | 2600653.3054 | 1198269.1058 | 2600634.273 | 1198252.5062
32 | 2600557.0847 | 1198269.4307 | 2600555.9961 | 1198265.3952 | 2600554.6641 | 1198259.0139 | 2600550.5462 | 1198237.4353 | 2600550.0591 | 1198234.5893 | 2600549.9451 | 1198231.4099 | 2600550.09 | 1198228.0859 | 2600550.4788 | 1198223.4167 | 2600551.294 | 1198218.0806 | 2600553.3886 | 1198211.644 | 2600554.5844 | 1198208.5758 | 2600555.8182 | 1198205.7855 | 2600559.6718 | 1198200.0383 | 2600576.6318 | 1198181.4409 | 2600588.2456 | 1198168.7018
33 | 2600557.0847 | 1198269.4307 | 2600557.7471 | 1198270.8982 | 2600558.6455 | 1198272.3213 | 2600559.5364 | 1198273.4775
34 | 2600557.0847 | 1198269.4307 | 2600583.7914 | 1198239.7131
35 | 2600588.2456 | 1198168.7018 | 2600587.3243 | 1198167.8568 | 2600584.9258 | 1198165.6554 | 2600582.7633 | 1198163.6542 | 2600578.5982 | 1198160.0074 | 2600576.2835 | 1198157.706 | 2600536.0491 | 1198119.4601 | 2600534.7089 | 1198118.126 | 2600557.8756 | 1198095.9938 | 2600565.0951 | 1198089.8022 | 2600579.58 | 1198077.1967 | 2600595.2149 | 1198063.5908 | 2600607.2552 | 1198053.8644 | 2600613.7665 | 1198048.9957 | 2600635.9964 | 1198033.8897 | 2600645.0589 | 1198028.4321 | 2600663.5646 | 1198018.373 | 2600678.0416 | 1198011.4486 | 2600688.2388 | 1198006.3135 | 2600690.3103 | 1198005.102 | 2600693.0519 | 1198003.2012 | 2600697.0045 | 1197999.9777 | 2600700.8657 | 1197997.021 | 2600704.5288 | 1197995.465 | 2600709.0295 | 1197994.0314 | 2600725.8899 | 1197989.8421 | 2600727.5805 | 1197989.631 | 2600729.332 | 1197989.5979 | 2600730.9692 | 1197989.8204 | 2600735.2793 | 1197990.8436 | 2600736.3149 | 1197991.0216 | 2600737.6399 | 1197990.9995 | 2600739.2696 | 1197990.6996 | 2600758.3386 | 1197985.3767 | 2600768.0178 | 1197982.6763 | 2600811.8903 | 1197970.5863 | 2600813.1773 | 1197970.3085 | 2600832.7412 | 1197966.0531 | 2600852.4194 | 1197962.476 | 2600860.682 | 1197961.3987 | 2600864.7259 | 1197959.8762 | 2600871.3745 | 1197955.8527 | 2600879.013 | 1197952.7188 | 2600887.5194 | 1197950.7856 | 2600895.0888 | 1197951.4647 | 2600904.5238 | 1197953.5227 | 2600910.8976 | 1197954.1573 | 2600918.0104 | 1197953.1466 | 2600930.5757 | 1197951.3808 | 2600935.4799 | 1197951.4927 | 2600950.9616 | 1197951.8396 | 2600956.8938 | 1197951.9849
36 | 2600588.2456 | 1198168.7018 | 2600615.4553 | 1198151.6618 | 2600616.3235 | 1198150.9726 | 2600617.3211 | 1198150.1834 | 2600625.1879 | 1198144.1142 | 2600630.0847 | 1198140.6128 | 2600633.0927 | 1198139.1012 | 2600636.1845 | 1198138.2232 | 2600640.4794 | 1198137.4009 | 2600645.2084 | 1198136.7455 | 2600650.3638 | 1198136.3458 | 2600656.57 | 1198135.7905 | 2600660.5756 | 1198135.1684 | 2600664.4821 | 1198134.435 | 2600667.7566 | 1198133.4904 | 2600671.4043 | 1198132.2901 | 2600675.6461 | 1198130.3784 | 2600679.9869 | 1198127.8331 | 2600684.6781 | 1198124.2872 | 2600688.5088 | 1198120.9191 | 2600692.2862 | 1198116.9619
37 | 2600559.5364 | 1198273.4775 | 2600560.7622 | 1198274.8228 | 2600570.0062 | 1198282.8736
38 | 2600559.5364 | 1198273.4775 | 2600556.9394 | 1198277.0014 | 2600553.4515 | 1198282.026 | 2600557.0302 | 1198285.1502 | 2600565.6418 | 1198293.0885 | 2600566.3423 | 1198294.0224 | 2600566.6925 | 1198294.834 | 2600566.9133 | 1198295.9235
39 | 2600582.9181 | 1198312.3669 | 2600585.2254 | 1198312.2448 | 2600587.1595 | 1198312.7008 | 2600589.025 | 1198313.5681 | 2600611.7059 | 1198333.4039
40 | 2600566.9133 | 1198295.9235 | 2600576.7507 | 1198306.0297 | 2600582.9181 | 1198312.3669
41 | 2600582.9181 | 1198312.3669 | 2600581.1134 | 1198312.6336 | 2600579.5752 | 1198313.1671 | 2600578.075 | 1198313.934 | 2600577.0774 | 1198314.7899 | 2600576.2854 | 1198315.6014 | 2600575.7675 | 1198316.7798 | 2600575.5922 | 1198317.947 | 2600575.935 | 1198331.5545
42 | 2600628.8316 | 1198349.1129 | 2600628.3291 | 1198348.1567 | 2600627.4688 | 1198347.1895 | 2600611.7059 | 1198333.4039
43 | 2600566.9133 | 1198295.9235 | 2600567.1224 | 1198305.6956
44 | 2600576.7213 | 1198362.7657 | 2600575.935 | 1198331.5545
45 | 2600956.8938 | 1197951.9849 | 2600957.6936 | 1197950.5176 | 2600959.1331 | 1197948.9059 | 2600967.7617 | 1197945.5832 | 2600979.8855 | 1197942.8168 | 2600999.5639 | 1197938.7844 | 2601010.6139 | 1197936.4626
46 | 2600716.0506 | 1198093.5878 | 2600707.4954 | 1198097.5642 | 2600699.8491 | 1198105.2342 | 2600698.0592 | 1198109.1249 | 2600696.2161 | 1198111.9485 | 2600694.2207 | 1198114.6275 | 2600692.2862 | 1198116.9619
47 | 2600567.1224 | 1198305.6956 | 2600567.649 | 1198330.3002
48 | 2600689.3954 | 1198174.0852 | 2600673.0976 | 1198181.0497 | 2600662.1064 | 1198183.6939
49 | 2600778.2047 | 1198065.5106 | 2600764.1544 | 1198070.0002 | 2600763.1872 | 1198070.3225 | 2600755.4879 | 1198075.2576
50 | 2600778.2047 | 1198065.5106 | 2600782.492 | 1198064.1303
51 | 2600755.4879 | 1198075.2576 | 2600759.9944 | 1198088.5208 | 2600760.9614 | 1198089.9216 | 2600762.134 | 1198091.1224 | 2600763.3675 | 1198092.0675 | 2600764.8676 | 1198092.8236 | 2600768.1419 | 1198093.9246 | 2600781.5896 | 1198097.328 | 2600785.2676 | 1198098.2511 | 2600799.0275 | 1198101.977 | 2600802.5761 | 1198102.0997 | 2600805.9724 | 1198101.3553 | 2600816.3903 | 1198097.0543 | 2600849.0529 | 1198083.718 | 2600852.4798 | 1198082.818 | 2600856.5919 | 1198082.6629 | 2600860.8182 | 1198083.286 | 2600863.8792 | 1198084.8428 | 2600866.232 | 1198086.7219 | 2600870.8384 | 1198092.2143 | 2600883.8808 | 1198107.791 | 2600894.8218 | 1198120.6883 | 2600909.0743 | 1198140.6565
52 | 2600755.4879 | 1198075.2576 | 2600716.0506 | 1198093.5878
53 | 2600802.1246 | 1198057.8094 | 2600782.492 | 1198064.1303
54 | 2600813.7842 | 1198050.4736 | 2600818.0792 | 1198049.418 | 2600819.1677 | 1198053.2424
55 | 2600813.7842 | 1198050.4736 | 2600801.2492 | 1198055.1856 | 2600802.1246 | 1198057.8094
56 | 2600802.1246 | 1198057.8094 | 2600804.7203 | 1198065.8362 | 2600808.7178 | 1198069.761 | 2600809.1517 | 1198070.9506 | 2600809.616 | 1198072.2513 | 2600810.6056 | 1198074.9862
57 | 2600909.0743 | 1198140.6565 | 2600931.2669 | 1198175.4782
58 | 2600909.0743 | 1198140.6565 | 2600902.251 | 1198142.5899 | 2600895.6181 | 1198144.3566 | 2600888.5664 | 1198146.6457 | 2600880.7193 | 1198147.9581
59 | 2600671.2049 | 1198419.2525 | 2600671.4694 | 1198428.1658
60 | 2600689.986 | 1198401.7406 | 2600696.8034 | 1198407.697
61 | 2600634.1462 | 1198435.1371 | 2600633.5519 | 1198409.4473
62 | 2600634.1462 | 1198435.1371 | 2600630.3008 | 1198435.2812
63 | 2600634.1462 | 1198435.1371 | 2600638.1972 | 1198435.0152 | 2600647.0146 | 1198434.7404
64 | 2600633.5519 | 1198409.4473 | 2600633.248 | 1198396.3115
65 | 2600630.3008 | 1198435.2812 | 2600630.1212 | 1198421.5462
66 | 2600630.3008 | 1198435.2812 | 2600609.8923 | 1198435.8711
67 | 2600713.4906 | 1198462.3325 | 2600707.2085 | 1198455.0509
68 | 2600672.2626 | 1198454.8925 | 2600671.9897 | 1198445.6973
69 | 2601091.7524 | 1198036.496 | 2601086.1245 | 1198038.3071 | 2601078.2806 | 1198040.1845 | 2601066.4542 | 1198041.0274 | 2601033.5112 | 1198042.0004 | 2601022.0964 | 1198040.5978 | 2601015.0524 | 1198040.4744 | 2600936.5316 | 1198051.1349 | 2600895.692 | 1198057.6776
70 | 2601091.7524 | 1198036.496 | 2601093.9909 | 1198038.4196 | 2601096.4122 | 1198040.132 | 2601098.7574 | 1198041.3998 | 2601101.354 | 1198042.523 | 2601104.9861 | 1198043.9355 | 2601110.2402 | 1198045.6374 | 2601118.1593 | 1198049.3074 | 2601133.8523 | 1198058.6484
71 | 2600810.6056 | 1198074.9862 | 2600815.5861 | 1198072.9747 | 2600820.8788 | 1198071.1521 | 2600825.3719 | 1198069.7408 | 2600828.2124 | 1198068.9964 | 2600832.8958 | 1198067.8964 | 2600836.4141 | 1198067.1742 | 2600895.692 | 1198057.6776
72 | 2601133.8523 | 1198058.6484 | 2601177.8927 | 1198086.638 | 2601218.6589 | 1198112.0908
73 | 2600718.9566 | 1198427.0524 | 2600704.1423 | 1198414.109
74 | 2600704.1423 | 1198414.109 | 2600696.8034 | 1198407.697
75 | 2600568.338 | 1198362.494 | 2600568.5597 | 1198372.8552
76 | 2600568.338 | 1198362.494 | 2600568.0917 | 1198350.9861
77 | 2600577.1815 | 1198381.0311 | 2600577.5975 | 1198397.5427
78 | 2600576.7213 | 1198362.7657 | 2600577.1815 | 1198381.0311
79 | 2600656.2597 | 1198272.4079 | 2600656.6251 | 1198273.086 | 2600656.9296 | 1198273.8976 | 2600657.059 | 1198274.5313 | 2600657.1579 | 1198275.3317 | 2600657.1959 | 1198276.2989 | 2600657.0359 | 1198277.3773 | 2600656.7845 | 1198278.211 | 2600656.3123 | 1198279.1337 | 2600655.7716 | 1198279.9563 | 2600654.7739 | 1198281.2346 | 2600646.182 | 1198291.1142
80 | 2600638.2897 | 1198342.5546 | 2600646.3145 | 1198349.6255
81 | 2600691.6721 | 1198389.4004 | 2600679.3408 | 1198378.6153
82 | 2600654.1973 | 1198356.5711 | 2600646.3145 | 1198349.6255
83 | 2600628.8316 | 1198349.1129 | 2600629.1056 | 1198350.1579 | 2600629.1969 | 1198351.2029 | 2600629.2805 | 1198357.4778
84 | 2600629.6039 | 1198381.972 | 2600629.507 | 1198374.5598 | 2600629.4465 | 1198369.8684 | 2600629.4162 | 1198367.6673 | 2600629.2805 | 1198357.4778
85 | 2600632.9104 | 1198381.7193 | 2600633.248 | 1198396.3115
86 | 2600567.649 | 1198330.3002 | 2600568.0917 | 1198350.9861
87 | 2600689.3954 | 1198174.0852 | 2600694.0091 | 1198172.1137 | 2600706.6335 | 1198182.8318 | 2600728.349 | 1198203.0561 | 2600732.4449 | 1198206.9848
88 | 2600953.3132 | 1198168.1887 | 2600940.588 | 1198172.478 | 2600931.2669 | 1198175.4782
89 | 2600857.0277 | 1198185.818 | 2600862.427 | 1198183.3952 | 2600876.3086 | 1198186.0095 | 2600878.7149 | 1198186.2878 | 2600881.3116 | 1198186.2325 | 2600883.916 | 1198185.577 | 2600890.7165 | 1198182.6875 | 2600896.961 | 1198180.6095 | 2600899.9842 | 1198179.9429 | 2600903.2891 | 1198179.5209 | 2600907.089 | 1198179.6326 | 2600909.2059 | 1198179.8107 | 2600910.6451 | 1198180.0444 | 2600912.7619 | 1198181.0119 | 2600922.3342 | 1198178.1339 | 2600931.2669 | 1198175.4782
90 | 2600931.2669 | 1198175.4782 | 2600938.4312 | 1198184.9176 | 2600973.2557 | 1198225.6667 | 2600983.3816 | 1198237.8414 | 2600985.8254 | 1198241.4215 | 2600989.8451 | 1198247.2697 | 2600991.6569 | 1198250.8941 | 2600993.3162 | 1198255.5635 | 2600994.1529 | 1198261.5669 | 2600994.3804 | 1198268.037 | 2600994.0133 | 1198278.198 | 2600990.7441 | 1198294.1949 | 2600988.4205 | 1198301.2872 | 2601001.0231 | 1198299.8884 | 2601034.9097 | 1198294.8022
91 | 2600880.7193 | 1198147.9581 | 2600876.6106 | 1198148.6452 | 2600874.3946 | 1198148.7449 | 2600872.095 | 1198148.3555 | 2600869.9782 | 1198147.3769 | 2600868.2878 | 1198145.7536 | 2600867.4276 | 1198143.5746 | 2600865.3732 | 1198131.3122 | 2600845.6045 | 1198134.6066
92 | 2600671.9897 | 1198445.6973 | 2600671.4694 | 1198428.1658
93 | 2600630.1212 | 1198421.5462 | 2600629.8332 | 1198399.5145
94 | 2600839.9469 | 1198189.7178 | 2600834.9818 | 1198191.0179 | 2600826.5439 | 1198196.2752 | 2600823.2616 | 1198197.82 | 2600819.6596 | 1198199.0313 | 2600817.3447 | 1198199.3868 | 2600815.4257 | 1198199.5422 | 2600813.1336 | 1198199.5864 | 2600809.5242 | 1198199.3525 | 2600804.7345 | 1198198.3402 | 2600802.6938 | 1198197.5951 | 2600800.6988 | 1198196.7722
95 | 2600790.2823 | 1198191.7572 | 2600794.4017 | 1198193.5253 | 2600800.6988 | 1198196.7722
96 | 2600839.9469 | 1198189.7178 | 2600845.8638 | 1198188.8848 | 2600852.9002 | 1198187.2626 | 2600857.0277 | 1198185.818
97 | 2600790.2823 | 1198191.7572 | 2600789.0413 | 1198189.1112 | 2600787.5873 | 1198185.598 | 2600786.3084 | 1198182.6185 | 2600785.1132 | 1198179.3944 | 2600784.3598 | 1198175.6145 | 2600784.1012 | 1198172.6574 | 2600784.0788 | 1198169.4112 | 2600784.3914 | 1198166.254 | 2600784.6918 | 1198164.8558
98 | 2600776.0493 | 1198197.5919 | 2600780.885 | 1198195.9027 | 2600790.2823 | 1198191.7572
99 | 2600859.7378 | 1198191.6325 | 2600857.0277 | 1198185.818
100 | 2600784.6918 | 1198164.8558 | 2600786.9183 | 1198154.493
101 | 2600776.0493 | 1198197.5919 | 2600771.7999 | 1198199.8149 | 2600765.1593 | 1198203.9163 | 2600763.9864 | 1198205.1057 | 2600763.2781 | 1198206.2284 | 2600762.8287 | 1198207.3067 | 2600762.6078 | 1198208.3406 | 2600762.5391 | 1198209.3522 | 2600762.5542 | 1198210.6529 | 2600762.8434 | 1198212.0203 | 2600763.62 | 1198213.4656 | 2600764.4575 | 1198214.5997 | 2600767.2929 | 1198217.2668
102 | 2600782.2898 | 1198228.7426 | 2600775.3912 | 1198224.8842 | 2600767.2929 | 1198217.2668
103 | 2601105.2359 | 1198141.0318 | 2601091.1176 | 1198141.6408 | 2601081.3243 | 1198144.1405 | 2601076.5879 | 1198143.8618 | 2601061.6398 | 1198142.9699 | 2601051.5124 | 1198140.0334 | 2601039.9608 | 1198138.3862 | 2601024.1595 | 1198139.4064 | 2601011.6019 | 1198142.7506 | 2601001.0772 | 1198148.1407 | 2600992.1818 | 1198155.2209 | 2600973.7209 | 1198170.6597 | 2600961.9086 | 1198180.5298 | 2600944.3996 | 1198196.7359 | 2600930.8054 | 1198207.7287 | 2600924.0725 | 1198217.2773 | 2600922.4715 | 1198230.0061 | 2600924.8067 | 1198247.9382 | 2600925.0345 | 1198252.8186 | 2600922.0643 | 1198255.4418
104 | 2600922.0643 | 1198255.4418 | 2600908.8135 | 1198262.8884
105 | 2600908.8135 | 1198262.8884 | 2600897.6661 | 1198257.684 | 2600886.728 | 1198254.8528
106 | 2600908.8135 | 1198262.8884 | 2600907.2595 | 1198266.7346 | 2600902.707 | 1198273.963
107 | 2601034.9097 | 1198294.8022 | 2601034.8654 | 1198286.2865
108 | 2600787.1112 | 1198282.5942 | 2600783.349 | 1198286.8182 | 2600739.6042 | 1198335.995 | 2600764.2048 | 1198357.576 | 2600774.9811 | 1198345.0261
109 | 2600787.1112 | 1198282.5942 | 2600784.0815 | 1198274.2338 | 2600775.5356 | 1198258.9244
110 | 2600774.9811 | 1198345.0261 | 2600794.6631 | 1198361.4928
111 | 2600732.4449 | 1198206.9848 | 2600751.6709 | 1198225.4262 | 2600757.9676 | 1198231.6413 | 2600764.0359 | 1198238.3234 | 2600775.5356 | 1198258.9244
112 | 2600782.2898 | 1198228.7426 | 2600802.4978 | 1198244.1755 | 2600813.3789 | 1198248.1123 | 2600821.0461 | 1198255.4061 | 2600820.8164 | 1198265.5003 | 2600821.5242 | 1198268.2796
113 | 2600817.7468 | 1198271.9589 | 2600821.5242 | 1198268.2796
114 | 2600821.5242 | 1198268.2796 | 2600829.7091 | 1198276.6073 | 2600833.6153 | 1198277.9975
115 | 2600844.7818 | 1198253.4747 | 2600851.7413 | 1198256.3994 | 2600861.6255 | 1198255.7114 | 2600873.0481 | 1198252.4112 | 2600876.6957 | 1198252.256 | 2600886.728 | 1198254.8528
116 | 2600844.7818 | 1198253.4747 | 2600849.0978 | 1198265.4706 | 2600833.6153 | 1198277.9975
117 | 2600838.3206 | 1198283.1008 | 2600833.6153 | 1198277.9975
118 | 2600830.7776 | 1198137.0775 | 2600845.6045 | 1198134.6066
119 | 2600749.4781 | 1198439.9581 | 2600740.0399 | 1198431.7034
120 | 2600731.3116 | 1198424.0695 | 2600740.0399 | 1198431.7034
121 | 2600691.6721 | 1198389.4004 | 2600695.9549 | 1198393.1462
122 | 2600695.9549 | 1198393.1462 | 2600705.2346 | 1198401.2623
123 | 2600705.2346 | 1198401.2623 | 2600713.719 | 1198408.6828
124 | 2600713.719 | 1198408.6828 | 2600722.8251 | 1198416.6471
125 | 2600722.8251 | 1198416.6471 | 2600731.3116 | 1198424.0695
126 | 2600629.6039 | 1198381.972 | 2600629.7186 | 1198390.7467
127 | 2600629.8332 | 1198399.5145 | 2600629.7186 | 1198390.7467
128 | 2600827.3952 | 1198147.7716 | 2600825.6298 | 1198137.9217 | 2600830.7776 | 1198137.0775

## bus_geodata
| x | y | coords
0 | 2600691.2816 | 1198490.7815
1 | 2600673.0816 | 1198491.2597
2 | 2600673.0901 | 1198482.7774
3 | 2600728.4326 | 1198481.238
4 | 2600729.1104 | 1198480.4376
5 | 2600705.488 | 1198481.8762
6 | 2600672.5626 | 1198465.0027
7 | 2600686.4873 | 1198482.4047
8 | 2600659.3668 | 1198268.9841
9 | 2600661.5064 | 1198271.2411
10 | 2600660.9131 | 1198264.8487
11 | 2600617.3662 | 1198324.1207
12 | 2600589.8414 | 1198300.1486
13 | 2600620.0311 | 1198326.4666
14 | 2600627.8661 | 1198312.1103
15 | 2600662.4034 | 1198363.8017
16 | 2600680.3705 | 1198398.2108
17 | 2600670.4763 | 1198370.8623
18 | 2600662.0917 | 1198363.527
19 | 2600596.3358 | 1198219.4185
20 | 2600622.4729 | 1198188.8934
21 | 2600634.273 | 1198252.5062
22 | 2600557.0847 | 1198269.4307
23 | 2600588.2456 | 1198168.7018
24 | 2600559.5364 | 1198273.4775
25 | 2600583.7914 | 1198239.7131
26 | 2600582.9181 | 1198312.3669
27 | 2600611.7059 | 1198333.4039
28 | 2600566.9133 | 1198295.9235
29 | 2600575.935 | 1198331.5545
30 | 2600956.8938 | 1197951.9849
31 | 2600692.2862 | 1198116.9619
32 | 2600567.1224 | 1198305.6956
33 | 2600631.5904 | 1198162.9137
34 | 2600662.1064 | 1198183.6939
35 | 2600570.0062 | 1198282.8736
36 | 2600778.2047 | 1198065.5106
37 | 2600755.4879 | 1198075.2576
38 | 2600782.492 | 1198064.1303
39 | 2600813.7842 | 1198050.4736
40 | 2600819.1677 | 1198053.2424
41 | 2600802.1246 | 1198057.8094
42 | 2600909.0743 | 1198140.6565
43 | 2600716.0506 | 1198093.5878
44 | 2600671.2049 | 1198419.2525
45 | 2600689.986 | 1198401.7406
46 | 2600634.1462 | 1198435.1371
47 | 2600633.5519 | 1198409.4473
48 | 2600630.3008 | 1198435.2812
49 | 2600647.0146 | 1198434.7404
50 | 2600713.4906 | 1198462.3325
51 | 2600740.9511 | 1198466.8015
52 | 2600672.2626 | 1198454.8925
53 | 2601091.7524 | 1198036.496
54 | 2600895.692 | 1198057.6776
55 | 2601133.8523 | 1198058.6484
56 | 2601010.6139 | 1197936.4626
57 | 2600718.9566 | 1198427.0524
58 | 2600704.1423 | 1198414.109
59 | 2600568.5597 | 1198372.8552
60 | 2600568.338 | 1198362.494
61 | 2600609.8923 | 1198435.8711
62 | 2600577.5975 | 1198397.5427
63 | 2600577.1815 | 1198381.031
64 | 2600656.2597 | 1198272.4079
65 | 2600638.2897 | 1198342.5546
66 | 2600629.5518 | 1198315.5234
67 | 2600646.182 | 1198291.1142
68 | 2600679.3408 | 1198378.6153
69 | 2600654.1973 | 1198356.5711
70 | 2600628.8316 | 1198349.1129
71 | 2600576.7213 | 1198362.7657
72 | 2600629.2805 | 1198357.4778
73 | 2600632.9104 | 1198381.7193
74 | 2600633.248 | 1198396.3115
75 | 2600567.649 | 1198330.3002
76 | 2600689.3954 | 1198174.0852
77 | 2600810.6056 | 1198074.9862
78 | 2600931.2669 | 1198175.4782
79 | 2600880.7193 | 1198147.9581
80 | 2601218.6589 | 1198112.0908
81 | 2600671.4694 | 1198428.1658
82 | 2600696.8034 | 1198407.697
83 | 2600630.1212 | 1198421.5461
84 | 2600800.6988 | 1198196.7722
85 | 2600839.9469 | 1198189.7178
86 | 2600790.2823 | 1198191.7572
87 | 2600857.0277 | 1198185.818
88 | 2600784.6918 | 1198164.8558
89 | 2600776.0493 | 1198197.5919
90 | 2600859.7378 | 1198191.6325
91 | 2600786.9183 | 1198154.493
92 | 2600767.2929 | 1198217.2668
93 | 2600922.0643 | 1198255.4418
94 | 2601105.2359 | 1198141.0318
95 | 2600908.8135 | 1198262.8884
96 | 2601034.9097 | 1198294.8022
97 | 2601034.8654 | 1198286.2865
98 | 2600787.1112 | 1198282.5942
99 | 2600774.9811 | 1198345.0261
100 | 2600775.5356 | 1198258.9244
101 | 2600953.3132 | 1198168.1887
102 | 2600782.2898 | 1198228.7426
103 | 2600821.5242 | 1198268.2796
104 | 2600902.707 | 1198273.963
105 | 2600886.728 | 1198254.8528
106 | 2600844.7818 | 1198253.4747
107 | 2600833.6153 | 1198277.9975
108 | 2600838.3206 | 1198283.1008
109 | 2600817.7468 | 1198271.9589
110 | 2600845.6045 | 1198134.6066
111 | 2600794.6631 | 1198361.4928
112 | 2600732.4449 | 1198206.9848
113 | 2600749.4781 | 1198439.9581
114 | 2600740.0399 | 1198431.7033
115 | 2600691.6721 | 1198389.4004
116 | 2600695.9549 | 1198393.1462
117 | 2600705.2346 | 1198401.2623
118 | 2600713.719 | 1198408.6828
119 | 2600722.8251 | 1198416.6471
120 | 2600629.6039 | 1198381.972
121 | 2600629.8332 | 1198399.5145
122 | 2600629.7186 | 1198390.7467
123 | 2600568.0917 | 1198350.9861
124 | 2600646.3145 | 1198349.6255
125 | 2600707.2085 | 1198455.0509
126 | 2600830.7776 | 1198137.0775
127 | 2600827.3952 | 1198147.7716
128 | 2600671.9897 | 1198445.6973
129 | 2600731.3116 | 1198424.0695
130 | 2600662.4034 | 1198363.8017

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1