## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-150_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-150_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-150_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-150_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-150_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-150_0_5_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_351-150_0_5_node_101 | 0.4 | n |  | TRUE
7 | bus_LV_351-150_0_5_node_109 | 0.4 | n |  | TRUE
8 | bus_LV_351-150_0_5_node_108 | 0.4 | n |  | TRUE
9 | bus_LV_351-150_0_5_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_351-150_0_5_node_24 | 0.4 | n |  | TRUE
11 | bus_LV_351-150_0_5_node_110 | 0.4 | n |  | TRUE
12 | bus_LV_351-150_0_5_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_351-150_0_5_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_351-150_0_5_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_351-150_0_5_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_351-150_0_5_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_351-150_0_5_node_100 | 0.4 | n |  | TRUE
18 | bus_LV_351-150_0_5_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_351-150_0_5_node_95 | 0.4 | n |  | TRUE
20 | bus_LV_351-150_0_5_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_351-150_0_5_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_351-150_0_5_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_351-150_0_5_node_22 | 0.4 | n |  | TRUE
24 | bus_LV_351-150_0_5_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_351-150_0_5_node_57 | 0.4 | n |  | TRUE
26 | bus_LV_351-150_0_5_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_351-150_0_5_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_351-150_0_5_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_351-150_0_5_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_351-150_0_5_node_49 | 0.4 | n |  | TRUE
31 | bus_LV_351-150_0_5_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_351-150_0_5_node_102 | 0.4 | n |  | TRUE
33 | bus_LV_351-150_0_5_node_5 | 0.4 | n |  | TRUE
34 | bus_LV_351-150_0_5_node_6 | 0.4 | n |  | TRUE
35 | bus_LV_351-150_0_5_node_7 | 0.4 | n |  | TRUE
36 | bus_LV_351-150_0_5_node_8 | 0.4 | n |  | TRUE
37 | bus_LV_351-150_0_5_node_9 | 0.4 | n |  | TRUE
38 | bus_LV_351-150_0_5_node_99 | 0.4 | n |  | TRUE
39 | bus_LV_351-150_0_5_node_93 | 0.4 | n |  | TRUE
40 | bus_LV_351-150_0_5_node_91 | 0.4 | n |  | TRUE
41 | bus_LV_351-150_0_5_node_11 | 0.4 | n |  | TRUE
42 | bus_LV_351-150_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_351-150_0_5_node_92 | 0.4 | n |  | TRUE
44 | bus_LV_351-150_0_5_node_105 | 0.4 | n |  | TRUE
45 | bus_LV_351-150_0_5_node_106 | 0.4 | n |  | TRUE
46 | bus_LV_351-150_0_5_node_65 | 0.4 | n |  | TRUE
47 | bus_LV_351-150_0_5_node_85 | 0.4 | n |  | TRUE
48 | bus_LV_351-150_0_5_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_351-150_0_5_node_55 | 0.4 | n |  | TRUE
50 | bus_LV_351-150_0_5_node_71 | 0.4 | n |  | TRUE
51 | bus_LV_351-150_0_5_node_54 | 0.4 | n |  | TRUE
52 | bus_LV_351-150_0_5_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_351-150_0_5_node_59 | 0.4 | n |  | TRUE
54 | bus_LV_351-150_0_5_node_78 | 0.4 | n |  | TRUE
55 | bus_LV_351-150_0_5_node_77 | 0.4 | n |  | TRUE
56 | bus_LV_351-150_0_5_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_351-150_0_5_node_48 | 0.4 | n |  | TRUE
58 | bus_LV_351-150_0_5_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_351-150_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_351-150_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_351-150_0_5_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_351-150_0_5_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_351-150_0_5_node_43 | 0.4 | n |  | TRUE
64 | bus_LV_351-150_0_5_node_41 | 0.4 | n |  | TRUE
65 | bus_LV_351-150_0_5_node_72 | 0.4 | n |  | TRUE
66 | bus_LV_351-150_0_5_node_42 | 0.4 | n |  | TRUE
67 | bus_LV_351-150_0_5_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_351-150_0_5_node_56 | 0.4 | n |  | TRUE
69 | bus_LV_351-150_0_5_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_351-150_0_5_node_45 | 0.4 | n |  | TRUE
71 | bus_LV_351-150_0_5_node_70 | 0.4 | n |  | TRUE
72 | bus_LV_351-150_0_5_node_69 | 0.4 | n |  | TRUE
73 | bus_LV_351-150_0_5_node_86 | 0.4 | n |  | TRUE
74 | bus_LV_351-150_0_5_node_50 | 0.4 | n |  | TRUE
75 | bus_LV_351-150_0_5_node_52 | 0.4 | n |  | TRUE
76 | bus_LV_351-150_0_5_node_73 | 0.4 | n |  | TRUE
77 | bus_LV_351-150_0_5_node_60 | 0.4 | n |  | TRUE
78 | bus_LV_351-150_0_5_node_61 | 0.4 | n |  | TRUE
79 | bus_LV_351-150_0_5_node_62 | 0.4 | n |  | TRUE
80 | bus_LV_351-150_0_5_node_63 | 0.4 | n |  | TRUE
81 | bus_LV_351-150_0_5_node_67 | 0.4 | n |  | TRUE
82 | bus_LV_351-150_0_5_node_68 | 0.4 | n |  | TRUE
83 | bus_LV_351-150_0_5_node_66 | 0.4 | n |  | TRUE
84 | bus_LV_351-150_0_5_node_74 | 0.4 | n |  | TRUE
85 | bus_LV_351-150_0_5_node_75 | 0.4 | n |  | TRUE
86 | bus_LV_351-150_0_5_node_76 | 0.4 | n |  | TRUE
87 | bus_LV_351-150_0_5_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_351-150_0_5_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_351-150_0_5_node_89 | 0.4 | n |  | TRUE
90 | bus_LV_351-150_0_5_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_351-150_0_5_node_80 | 0.4 | n |  | TRUE
92 | bus_LV_351-150_0_5_node_81 | 0.4 | n |  | TRUE
93 | bus_LV_351-150_0_5_node_83 | 0.4 | n |  | TRUE
94 | bus_LV_351-150_0_5_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_351-150_0_5_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_351-150_0_5_node_90 | 0.4 | n |  | TRUE
97 | bus_LV_351-150_0_5_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_351-150_0_5_node_96 | 0.4 | n |  | TRUE
99 | bus_LV_351-150_0_5_node_97 | 0.4 | n |  | TRUE
100 | bus_LV_351-150_0_5_node_98 | 0.4 | n |  | TRUE
101 | bus_LV_351-150_0_5_node_103 | 0.4 | n |  | TRUE
102 | bus_LV_351-150_0_5_node_104 | 0.4 | n |  | TRUE
103 | bus_LV_351-150_0_5_node_107 | 0.4 | n |  | TRUE
104 | bus_MV_592_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-150_0_5_load_0 | 0 | 0.0025136 | 0.00062996 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-150_0_5_load_1 | 1 | 0.0025613 | 0.00064193 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-150_0_5_load_2 | 2 | 0.0025097 | 0.00062898 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-150_0_5_load_4 | 4 | 0.0025072 | 0.00062837 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-150_0_5_load_101 | 6 | 0.00251 | 0.00062906 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-150_0_5_load_109 | 7 | 0.0080053 | 0.0020063 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-150_0_5_load_108 | 8 | 0.0080124 | 0.0020081 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-150_0_5_load_110 | 11 | 0.021883 | 0.0054844 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-150_0_5_load_10 | 13 | 0.0079339 | 0.0019884 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-150_0_5_load_100 | 17 | 0.011077 | 0.0027761 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-150_0_5_load_95 | 19 | 0.0064406 | 0.0016142 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-150_0_5_load_13 | 20 | 0.0064451 | 0.0016153 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-150_0_5_load_64 | 22 | 0.014166 | 0.0035504 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-150_0_5_load_57 | 25 | 0.0027009 | 0.00067692 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-150_0_5_load_32 | 26 | 0.0070083 | 0.0017564 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-150_0_5_load_40 | 27 | 0.0054242 | 0.0013594 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-150_0_5_load_31 | 28 | 0.0093254 | 0.0023372 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-150_0_5_load_46 | 31 | 0.0065219 | 0.0016345 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-150_0_5_load_102 | 32 | 0.0025782 | 0.00064616 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-150_0_5_load_5 | 33 | 0.0025638 | 0.00064256 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-150_0_5_load_6 | 34 | 0.0034711 | 0.00086995 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-150_0_5_load_7 | 35 | 0.002506 | 0.00062806 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-150_0_5_load_8 | 36 | 0.0025026 | 0.0006272 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-150_0_5_load_9 | 37 | 0.0032852 | 0.00082334 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-150_0_5_load_99 | 38 | 0.0025708 | 0.0006443 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-150_0_5_load_93 | 39 | 0.0025097 | 0.00062898 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-150_0_5_load_91 | 40 | 0.0025606 | 0.00064175 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-150_0_5_load_11 | 41 | 0.0080205 | 0.0020101 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-150_0_5_load_51 | 42 | 0.003349 | 0.00083933 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-150_0_5_load_105 | 44 | 0.0056998 | 0.0014285 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-150_0_5_load_106 | 45 | 0.0032793 | 0.00082186 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-150_0_5_load_65 | 46 | 0.0071403 | 0.0017895 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-150_0_5_load_85 | 47 | 0.0054428 | 0.0013641 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-150_0_5_load_71 | 50 | 0.003369 | 0.00084436 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-150_0_5_load_54 | 51 | 0.0083691 | 0.0020975 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-150_0_5_load_58 | 52 | 0.014543 | 0.0036449 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-150_0_5_load_59 | 53 | 0.0083433 | 0.002091 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-150_0_5_load_78 | 54 | 0.003599 | 0.00090199 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-150_0_5_load_47 | 56 | 0.005072 | 0.0012712 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-150_0_5_load_48 | 57 | 0.0045199 | 0.0011328 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-150_0_5_load_33 | 58 | 0.0078976 | 0.0019793 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-150_0_5_load_34 | 59 | 0.0082053 | 0.0020564 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-150_0_5_load_35 | 60 | 0.011819 | 0.002962 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-150_0_5_load_37 | 62 | 0.0076416 | 0.0019152 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-150_0_5_load_43 | 63 | 0.0060989 | 0.0015285 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-150_0_5_load_41 | 64 | 0.010034 | 0.0025148 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-150_0_5_load_72 | 65 | 0.0063808 | 0.0015992 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-150_0_5_load_39 | 67 | 0.012991 | 0.0032558 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-150_0_5_load_56 | 68 | 0.0074076 | 0.0018565 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-150_0_5_load_44 | 69 | 0.017247 | 0.0043226 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-150_0_5_load_45 | 70 | 0.0083527 | 0.0020934 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-150_0_5_load_70 | 71 | 0.0083624 | 0.0020958 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-150_0_5_load_69 | 72 | 0.0083725 | 0.0020983 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-150_0_5_load_50 | 74 | 0.0033106 | 0.00082972 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-150_0_5_load_52 | 75 | 0.017008 | 0.0042627 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-150_0_5_load_60 | 77 | 0.0097563 | 0.0024452 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-150_0_5_load_61 | 78 | 0.0064178 | 0.0016084 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-150_0_5_load_62 | 79 | 0.0072492 | 0.0018168 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-150_0_5_load_63 | 80 | 0.006328 | 0.0015859 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-150_0_5_load_67 | 81 | 0.0072546 | 0.0018182 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-150_0_5_load_68 | 82 | 0.007129 | 0.0017867 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-150_0_5_load_66 | 83 | 0.0081555 | 0.002044 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-150_0_5_load_74 | 84 | 0.0022583 | 0.00056599 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-150_0_5_load_75 | 85 | 0.0022595 | 0.00056629 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-150_0_5_load_76 | 86 | 0.0026156 | 0.00065553 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-150_0_5_load_79 | 87 | 0.0022713 | 0.00056925 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_351-150_0_5_load_89 | 89 | 0.0070753 | 0.0017732 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_351-150_0_5_load_82 | 90 | 0.0022426 | 0.00056204 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_351-150_0_5_load_80 | 91 | 0.0026122 | 0.00065469 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_351-150_0_5_load_81 | 92 | 0.0022689 | 0.00056865 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_351-150_0_5_load_83 | 93 | 0.0022597 | 0.00056635 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_351-150_0_5_load_88 | 94 | 0.0038524 | 0.00096549 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_351-150_0_5_load_87 | 95 | 0.0081066 | 0.0020317 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_351-150_0_5_load_90 | 96 | 0.0025481 | 0.00063861 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_351-150_0_5_load_94 | 97 | 0.0025131 | 0.00062984 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_351-150_0_5_load_96 | 98 | 0.0025705 | 0.00064422 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_351-150_0_5_load_97 | 99 | 0.0062701 | 0.0015714 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_351-150_0_5_load_98 | 100 | 0.0059315 | 0.0014866 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_351-150_0_5_load_103 | 101 | 0.0032458 | 0.00081347 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_351-150_0_5_load_104 | 102 | 0.0032748 | 0.00082073 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_351-150_0_5_load_107 | 103 | 0.0032721 | 0.00082007 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 80 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-150_0_5_line_0 |  | 0 | 1 | 0.0073338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-150_0_5_line_1 |  | 0 | 2 | 0.0072545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-150_0_5_line_2 |  | 1 | 3 | 0.032509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-150_0_5_line_3 |  | 2 | 4 | 0.0072461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-150_0_5_line_4 |  | 3 | 5 | 0.038049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-150_0_5_line_5 |  | 4 | 6 | 0.0072436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-150_0_5_line_6 |  | 5 | 7 | 0.006502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-150_0_5_line_7 |  | 5 | 8 | 0.023355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-150_0_5_line_8 |  | 5 | 9 | 0.039075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-150_0_5_line_9 |  | 6 | 32 | 0.007343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-150_0_5_line_10 |  | 9 | 13 | 0.011862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-150_0_5_line_11 |  | 10 | 11 | 0.023249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-150_0_5_line_12 |  | 10 | 12 | 0.064238 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-150_0_5_line_13 |  | 12 | 23 | 0.028675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_351-150_0_5_line_14 |  | 12 | 24 | 0.017125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_351-150_0_5_line_15 |  | 12 | 25 | 0.035436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-150_0_5_line_16 |  | 13 | 41 | 0.017398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-150_0_5_line_17 |  | 14 | 15 | 0.027125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_351-150_0_5_line_18 |  | 14 | 16 | 0.008932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_351-150_0_5_line_19 |  | 14 | 17 | 0.0040593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-150_0_5_line_20 |  | 15 | 21 | 0.008536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_351-150_0_5_line_21 |  | 15 | 22 | 0.005077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_351-150_0_5_line_22 |  | 16 | 42 | 0.019462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-150_0_5_line_23 |  | 16 | 38 | 0.01975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_351-150_0_5_line_24 |  | 18 | 19 | 0.0094241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-150_0_5_line_25 |  | 18 | 20 | 0.0095797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-150_0_5_line_26 |  | 19 | 43 | 0.041224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-150_0_5_line_27 |  | 20 | 41 | 0.017058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-150_0_5_line_28 |  | 21 | 26 | 0.024637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_351-150_0_5_line_29 |  | 22 | 46 | 0.01763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_351-150_0_5_line_30 |  | 23 | 27 | 0.031504 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_351-150_0_5_line_31 |  | 24 | 28 | 0.0087505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_351-150_0_5_line_32 |  | 26 | 28 | 0.0089199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_351-150_0_5_line_33 |  | 27 | 48 | 0.0064589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_351-150_0_5_line_34 |  | 29 | 30 | 0.022561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-150_0_5_line_35 |  | 29 | 31 | 0.013177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-150_0_5_line_36 |  | 30 | 47 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-150_0_5_line_37 |  | 31 | 56 | 0.020955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-150_0_5_line_38 |  | 32 | 101 | 0.023142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-150_0_5_line_39 |  | 33 | 34 | 3.1537e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-150_0_5_line_40 |  | 33 | 35 | 7.7698e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-150_0_5_line_41 |  | 34 | 36 | 0.028145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_351-150_0_5_line_42 |  | 35 | 37 | 0.028559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-150_0_5_line_43 |  | 36 | 38 | 3.9322e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_351-150_0_5_line_44 |  | 37 | 39 | 0.00047616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-150_0_5_line_45 |  | 39 | 40 | 0.00019731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-150_0_5_line_46 |  | 40 | 96 | 0.030622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-150_0_5_line_47 |  | 42 | 74 | 0.0076012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-150_0_5_line_48 |  | 43 | 97 | 0.014827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-150_0_5_line_49 |  | 43 | 96 | 0.012893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-150_0_5_line_50 |  | 44 | 45 | 0.0096559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-150_0_5_line_51 |  | 45 | 103 | 0.0071393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-150_0_5_line_52 |  | 46 | 83 | 0.014369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_351-150_0_5_line_53 |  | 47 | 73 | 0.0081848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-150_0_5_line_54 |  | 48 | 67 | 0.017479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-150_0_5_line_55 |  | 48 | 62 | 0.0038654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_351-150_0_5_line_56 |  | 49 | 50 | 0.040039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-150_0_5_line_57 |  | 49 | 51 | 0.013267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-150_0_5_line_58 |  | 50 | 76 | 0.0063184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-150_0_5_line_59 |  | 51 | 69 | 0.015413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-150_0_5_line_60 |  | 52 | 53 | 0.01844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-150_0_5_line_61 |  | 53 | 77 | 0.014179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-150_0_5_line_62 |  | 54 | 55 | 0.017449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-150_0_5_line_63 |  | 55 | 87 | 0.024232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-150_0_5_line_64 |  | 55 | 86 | 0.0085895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-150_0_5_line_65 |  | 56 | 57 | 0.022395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-150_0_5_line_66 |  | 58 | 59 | 0.014206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-150_0_5_line_67 |  | 58 | 60 | 0.014243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-150_0_5_line_68 |  | 60 | 61 | 0.0276 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_351-150_0_5_line_69 |  | 60 | 62 | 0.027914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_351-150_0_5_line_70 |  | 61 | 63 | 0.01401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-150_0_5_line_71 |  | 61 | 64 | 0.0017836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-150_0_5_line_72 |  | 63 | 65 | 0.014028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-150_0_5_line_73 |  | 64 | 66 | 0.028746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-150_0_5_line_74 |  | 66 | 69 | 0.0022532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-150_0_5_line_75 |  | 66 | 70 | 0.014128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-150_0_5_line_76 |  | 67 | 68 | 0.013005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-150_0_5_line_77 |  | 70 | 71 | 0.014005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-150_0_5_line_78 |  | 71 | 72 | 0.00048974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-150_0_5_line_79 |  | 73 | 95 | 0.002569 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-150_0_5_line_80 |  | 73 | 94 | 0.0043491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-150_0_5_line_81 |  | 74 | 75 | 0.0041331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-150_0_5_line_82 |  | 76 | 84 | 0.0011533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-150_0_5_line_83 |  | 77 | 78 | 0.013986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-150_0_5_line_84 |  | 78 | 79 | 0.014367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-150_0_5_line_85 |  | 79 | 80 | 0.0141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-150_0_5_line_86 |  | 80 | 81 | 0.014484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_351-150_0_5_line_87 |  | 81 | 82 | 0.014155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_351-150_0_5_line_88 |  | 82 | 83 | 0.014082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_351-150_0_5_line_89 |  | 84 | 85 | 0.0056215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_351-150_0_5_line_90 |  | 85 | 86 | 0.0060638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_351-150_0_5_line_91 |  | 87 | 88 | 0.00052211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_351-150_0_5_line_92 |  | 88 | 89 | 0.002618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_351-150_0_5_line_93 |  | 88 | 90 | 0.0055685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_351-150_0_5_line_94 |  | 90 | 91 | 0.0035201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_351-150_0_5_line_95 |  | 91 | 92 | 0.0025678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_351-150_0_5_line_96 |  | 92 | 93 | 0.0061062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_351-150_0_5_line_97 |  | 93 | 94 | 0.0083698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_351-150_0_5_line_98 |  | 97 | 98 | 0.00063553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_351-150_0_5_line_99 |  | 98 | 99 | 0.0098512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_351-150_0_5_line_100 |  | 99 | 100 | 0.010327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_351-150_0_5_line_101 |  | 101 | 102 | 0.0071454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_351-150_0_5_line_102 |  | 102 | 103 | 0.0071595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-150_0_5_trafo_63 | 0.63 MVA 20/0.4 kV | 104 | 80 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2602427.6299 | 1199293.7179 | 2602432.3404 | 1199299.339
1 | 2602427.6299 | 1199293.7179 | 2602422.9705 | 1199288.1576
2 | 2602421.1934 | 1199322.8139 | 2602426.3267 | 1199318.3913 | 2602436.4714 | 1199309.3905 | 2602436.9741 | 1199308.8682 | 2602437.2788 | 1199308.4125 | 2602437.4922 | 1199307.8456 | 2602437.5533 | 1199307.3898 | 2602437.5687 | 1199306.9118 | 2602437.5232 | 1199306.3782 | 2602437.4396 | 1199305.9779 | 2602437.2799 | 1199305.5332 | 2602437.0897 | 1199305.1662 | 2602436.7017 | 1199304.5435 | 2602432.3404 | 1199299.339
3 | 2602422.9705 | 1199288.1576 | 2602418.3164 | 1199282.6038
4 | 2602421.1934 | 1199322.8139 | 2602438.5668 | 1199343.3651 | 2602446.8608 | 1199335.931
5 | 2602413.6639 | 1199277.0518 | 2602418.3164 | 1199282.6038
6 | 2602446.8608 | 1199335.931 | 2602442.5307 | 1199331.0712
7 | 2602455.143 | 1199319.8702 | 2602459.4808 | 1199324.7301 | 2602446.8608 | 1199335.931
8 | 2602446.8608 | 1199335.931 | 2602438.5668 | 1199343.3651 | 2602456.4498 | 1199364.8281
9 | 2602413.6639 | 1199277.0518 | 2602408.9476 | 1199271.4237
10 | 2602456.4498 | 1199364.8281 | 2602465.3188 | 1199356.9511
11 | 2602457.6166 | 1199055.085 | 2602439.1843 | 1199053.2322 | 2602439.1387 | 1199053.2322 | 2602436.4206 | 1199052.9532 | 2602434.4183 | 1199052.7523
12 | 2602434.4183 | 1199052.7523 | 2602431.98 | 1199076.8642 | 2602429.748 | 1199098.9752 | 2602429.6708 | 1199101.5765 | 2602430.0278 | 1199103.7334 | 2602430.7122 | 1199105.8348 | 2602431.4806 | 1199107.347 | 2602432.3253 | 1199108.5702 | 2602433.2994 | 1199109.6379 | 2602434.5933 | 1199110.7945 | 2602435.9482 | 1199111.7067 | 2602436.9682 | 1199112.2296 | 2602438.5593 | 1199112.6193
13 | 2602438.5593 | 1199112.6193 | 2602438.9607 | 1199118.1002 | 2602445.3259 | 1199117.7136 | 2602454.3939 | 1199117.5838 | 2602457.3557 | 1199117.3627 | 2602462.0841 | 1199116.7865
14 | 2602438.5593 | 1199112.6193 | 2602438.9607 | 1199118.1002 | 2602439.3699 | 1199122.9029 | 2602438.22 | 1199123.4917 | 2602437.032 | 1199124.1693 | 2602435.5469 | 1199125.2137 | 2602434.0541 | 1199126.4249 | 2602433.7723 | 1199126.725
15 | 2602438.5593 | 1199112.6193 | 2602440.4246 | 1199112.7535 | 2602447.4217 | 1199112.6784 | 2602451.7235 | 1199112.6023 | 2602456.9161 | 1199112.2931 | 2602458.1192 | 1199112.1935 | 2602473.8012 | 1199109.846
16 | 2602465.3188 | 1199356.9511 | 2602478.3266 | 1199345.3981
17 | 2602391.2577 | 1199184.4948 | 2602395.2338 | 1199179.9606 | 2602399.4612 | 1199175.3264 | 2602403.643 | 1199170.3698 | 2602409.348 | 1199164.291
18 | 2602391.2577 | 1199184.4948 | 2602397.9173 | 1199190.4672
19 | 2602391.2577 | 1199184.4948 | 2602388.1256 | 1199181.9127
20 | 2602409.348 | 1199164.291 | 2602404.9413 | 1199160.3872 | 2602404.988 | 1199157.7302
21 | 2602409.348 | 1199164.291 | 2602413.1863 | 1199167.6142
22 | 2602397.9173 | 1199190.4672 | 2602395.7084 | 1199192.9121 | 2602384.9762 | 1199205.0033
23 | 2602397.9173 | 1199190.4672 | 2602409.783 | 1199200.7774 | 2602412.8159 | 1199203.433
24 | 2602494.693 | 1199324.7776 | 2602495.0894 | 1199323.5104 | 2602495.1733 | 1199323.1992 | 2602495.6613 | 1199321.3539 | 2602496.2639 | 1199318.6305 | 2602496.5237 | 1199316.3072 | 2602496.559 | 1199315.5698
25 | 2602494.693 | 1199324.7776 | 2602493.847 | 1199327.0674 | 2602493.0164 | 1199328.8902 | 2602492.1021 | 1199330.4796 | 2602490.9213 | 1199332.2245 | 2602490.1757 | 1199333.1584
26 | 2602479.6978 | 1199278.7914 | 2602493.8497 | 1199301.4981 | 2602494.405 | 1199302.8658 | 2602495.1502 | 1199305.0005 | 2602496.0398 | 1199308.0692 | 2602496.3359 | 1199310.0259 | 2602496.5027 | 1199311.7603 | 2602496.6312 | 1199314.0615 | 2602496.559 | 1199315.5698
27 | 2602478.3266 | 1199345.3981 | 2602479.9837 | 1199343.9264 | 2602484.1879 | 1199339.8814 | 2602487.585 | 1199336.2809 | 2602489.3598 | 1199334.1805 | 2602490.1757 | 1199333.1584
28 | 2602404.988 | 1199157.7302 | 2602421.7441 | 1199139.6695
29 | 2602413.1863 | 1199167.6142 | 2602420.7038 | 1199174.123 | 2602426.4872 | 1199179.1858
30 | 2602462.0841 | 1199116.7865 | 2602466.5185 | 1199127.7941 | 2602468.1316 | 1199130.2072 | 2602469.6917 | 1199131.9976 | 2602480.1331 | 1199141.8552
31 | 2602433.7723 | 1199126.725 | 2602432.805 | 1199127.7473 | 2602427.8108 | 1199133.1304
32 | 2602421.7441 | 1199139.6695 | 2602427.8108 | 1199133.1304
33 | 2602484.8296 | 1199146.2892 | 2602480.1331 | 1199141.8552
34 | 2602527.4393 | 1199100.7377 | 2602528.2059 | 1199106.5411 | 2602544.7211 | 1199104.0133
35 | 2602527.4393 | 1199100.7377 | 2602531.5738 | 1199100.0057 | 2602540.4761 | 1199098.8416
36 | 2602544.7211 | 1199104.0133 | 2602547.7253 | 1199111.8965 | 2602549.2621 | 1199114.6986 | 2602551.9534 | 1199117.7958
37 | 2602540.4761 | 1199098.8416 | 2602547.1676 | 1199097.9666 | 2602560.9109 | 1199096.8384 | 2602561.328 | 1199096.8264
38 | 2602408.9476 | 1199271.4237 | 2602406.9925 | 1199269.0906 | 2602399.1463 | 1199260.5163 | 2602398.1798 | 1199259.4487 | 2602397.1143 | 1199258.3588 | 2602393.1691 | 1199254.5105
39 | 2602433.407 | 1199222.6649 | 2602433.429 | 1199222.6875
40 | 2602433.429 | 1199222.6875 | 2602433.4831 | 1199222.7433
41 | 2602412.8455 | 1199203.4589 | 2602417.3407 | 1199207.395 | 2602422.1812 | 1199211.7659 | 2602430.8194 | 1199219.9959 | 2602433.407 | 1199222.6649
42 | 2602452.8339 | 1199243.7403 | 2602450.1802 | 1199240.6591 | 2602446.4436 | 1199236.4554 | 2602437.6232 | 1199227.0135 | 2602433.4831 | 1199222.7433
43 | 2602412.8159 | 1199203.433 | 2602412.8455 | 1199203.4589
44 | 2602452.8339 | 1199243.7403 | 2602453.1447 | 1199244.1011
45 | 2602453.1447 | 1199244.1011 | 2602453.2734 | 1199244.2506
46 | 2602472.2054 | 1199268.3035 | 2602465.1336 | 1199258.7637 | 2602461.7397 | 1199254.4155 | 2602457.4021 | 1199249.0443 | 2602453.2734 | 1199244.2506
47 | 2602379.1221 | 1199201.6271 | 2602382.1896 | 1199204.8577 | 2602382.8214 | 1199205.3805 | 2602383.5598 | 1199205.5586 | 2602384.2679 | 1199205.4811 | 2602384.9762 | 1199205.0033 | 2602384.9762 | 1199205.0033
48 | 2602479.6978 | 1199278.7914 | 2602467.1019 | 1199286.6127 | 2602467.1019 | 1199286.6127
49 | 2602479.6978 | 1199278.7914 | 2602476.6314 | 1199274.2321 | 2602476.015 | 1199273.4426 | 2602472.2054 | 1199268.3035
50 | 2602370.9061 | 1199232.7948 | 2602377.8183 | 1199239.5371
51 | 2602382.9289 | 1199244.5221 | 2602377.8183 | 1199239.5371
52 | 2602426.4872 | 1199179.1858 | 2602435.0353 | 1199186.6687 | 2602437.2705 | 1199188.6818
53 | 2602557.3973 | 1199123.9069 | 2602554.4902 | 1199120.7151 | 2602551.9534 | 1199117.7958
54 | 2602484.8296 | 1199146.2892 | 2602475.2931 | 1199156.6687 | 2602471.9203 | 1199156.4005
55 | 2602484.8296 | 1199146.2892 | 2602487.5622 | 1199149.0231
56 | 2602567.2212 | 1199228.1224 | 2602569.6906 | 1199221.909 | 2602573.7529 | 1199211.6274 | 2602577.6094 | 1199202.1462 | 2602582.7802 | 1199191.2489
57 | 2602567.2212 | 1199228.1224 | 2602565.614 | 1199229.7114 | 2602562.9185 | 1199230.3773 | 2602559.8352 | 1199230.0537 | 2602557.5288 | 1199228.7854 | 2602555.682 | 1199227.1036
58 | 2602585.4888 | 1199185.5406 | 2602582.7802 | 1199191.2489
59 | 2602546.0823 | 1199215.0492 | 2602555.4891 | 1199226.928 | 2602555.682 | 1199227.1036
60 | 2602512.2835 | 1199278.9518 | 2602502.1938 | 1199263.5171
61 | 2602494.144 | 1199251.8476 | 2602499.2117 | 1199258.9553 | 2602502.1938 | 1199263.5171
62 | 2602593.0195 | 1199165.7109 | 2602598.2575 | 1199149.0667
63 | 2602593.0195 | 1199165.7109 | 2602592.2669 | 1199163.0647 | 2602590.6843 | 1199160.4738 | 2602578.266 | 1199146.8358
64 | 2602593.0195 | 1199165.7109 | 2602593.0339 | 1199167.6453 | 2602592.7972 | 1199169.3239 | 2602591.9968 | 1199171.6248 | 2602590.9276 | 1199173.9109
65 | 2602583.7131 | 1199096.9525 | 2602578.9708 | 1199096.7236 | 2602569.7049 | 1199096.5863 | 2602561.328 | 1199096.8264
66 | 2602486.6424 | 1199188.3295 | 2602496.9558 | 1199178.5604
67 | 2602507.296 | 1199168.7659 | 2602496.9558 | 1199178.5604
68 | 2602507.296 | 1199168.7659 | 2602507.6233 | 1199169.0995 | 2602525.7278 | 1199189.3511
69 | 2602507.296 | 1199168.7659 | 2602487.5622 | 1199149.0231
70 | 2602525.7278 | 1199189.3511 | 2602515.2445 | 1199198.6448
71 | 2602525.7278 | 1199189.3511 | 2602525.8344 | 1199189.4734 | 2602526.8408 | 1199190.7447
72 | 2602504.7476 | 1199207.9505 | 2602515.2445 | 1199198.6448
73 | 2602544.6835 | 1199213.2828 | 2602526.8408 | 1199190.7447
74 | 2602544.6835 | 1199213.2828 | 2602546.0823 | 1199215.0492
75 | 2602544.6835 | 1199213.2828 | 2602533.7457 | 1199222.2244
76 | 2602463.4268 | 1199166.2486 | 2602471.9203 | 1199156.4005
77 | 2602522.9028 | 1199231.0883 | 2602533.7457 | 1199222.2244
78 | 2602522.5236 | 1199231.3983 | 2602522.9028 | 1199231.0883
79 | 2602557.3973 | 1199123.9069 | 2602555.4856 | 1199125.6293
80 | 2602557.3973 | 1199123.9069 | 2602560.3247 | 1199127.1234
81 | 2602376.2763 | 1199198.6299 | 2602379.1221 | 1199201.6271
82 | 2602585.4888 | 1199185.5406 | 2602585.9774 | 1199184.4959
83 | 2602494.144 | 1199251.8476 | 2602487.1206 | 1199241.9969 | 2602485.9183 | 1199240.5411
84 | 2602485.9183 | 1199240.5411 | 2602478.6433 | 1199231.7324 | 2602476.739 | 1199229.4886
85 | 2602476.739 | 1199229.4886 | 2602470.1962 | 1199221.7792 | 2602467.4761 | 1199218.8621
86 | 2602467.4761 | 1199218.8621 | 2602457.5987 | 1199208.269
87 | 2602447.5531 | 1199198.2974 | 2602457.3271 | 1199207.9778 | 2602457.5987 | 1199208.269
88 | 2602437.2705 | 1199188.6818 | 2602443.6052 | 1199194.3873 | 2602447.5531 | 1199198.2974
89 | 2602585.9774 | 1199184.4959 | 2602588.3588 | 1199179.4037
90 | 2602588.3588 | 1199179.4037 | 2602590.9276 | 1199173.9109
91 | 2602578.266 | 1199146.8358 | 2602577.9145 | 1199146.4498
92 | 2602577.9145 | 1199146.4498 | 2602575.957 | 1199148.1944
93 | 2602577.9145 | 1199146.4498 | 2602574.1663 | 1199142.3316
94 | 2602571.7969 | 1199139.7282 | 2602574.1663 | 1199142.3316
95 | 2602571.7969 | 1199139.7282 | 2602570.0685 | 1199137.8292
96 | 2602565.9584 | 1199133.3133 | 2602570.0685 | 1199137.8292
97 | 2602560.3247 | 1199127.1234 | 2602565.9584 | 1199133.3133
98 | 2602466.5993 | 1199287.0016 | 2602467.1019 | 1199286.6127
99 | 2602466.5993 | 1199287.0016 | 2602466.5993 | 1199287.0016 | 2602466.2334 | 1199287.9353 | 2602466.4386 | 1199288.8581 | 2602466.7277 | 1199289.4474 | 2602470.4957 | 1199295.6375
100 | 2602475.8655 | 1199304.4591 | 2602470.4957 | 1199295.6375
101 | 2602393.1691 | 1199254.5105 | 2602388.054 | 1199249.5213
102 | 2602382.9289 | 1199244.5221 | 2602388.054 | 1199249.5213

## bus_geodata
| x | y | coords
0 | 2602427.6299 | 1199293.7179
1 | 2602432.3404 | 1199299.339
2 | 2602422.9705 | 1199288.1576
3 | 2602421.1934 | 1199322.8139
4 | 2602418.3164 | 1199282.6038
5 | 2602446.8608 | 1199335.931
6 | 2602413.6639 | 1199277.0518
7 | 2602442.5307 | 1199331.0712
8 | 2602455.143 | 1199319.8702
9 | 2602456.4498 | 1199364.8281
10 | 2602434.4183 | 1199052.7523
11 | 2602457.6166 | 1199055.085
12 | 2602438.5593 | 1199112.6193
13 | 2602465.3188 | 1199356.9511
14 | 2602391.2577 | 1199184.4948
15 | 2602409.348 | 1199164.291
16 | 2602397.9173 | 1199190.4672
17 | 2602388.1256 | 1199181.9127
18 | 2602494.693 | 1199324.7776
19 | 2602496.559 | 1199315.5698
20 | 2602490.1757 | 1199333.1584
21 | 2602404.988 | 1199157.7302
22 | 2602413.1863 | 1199167.6142
23 | 2602462.0841 | 1199116.7865
24 | 2602433.7723 | 1199126.725
25 | 2602473.8012 | 1199109.846
26 | 2602421.7441 | 1199139.6695
27 | 2602480.1331 | 1199141.8552
28 | 2602427.8108 | 1199133.1304
29 | 2602527.4393 | 1199100.7377
30 | 2602544.7211 | 1199104.0133
31 | 2602540.4761 | 1199098.8416
32 | 2602408.9476 | 1199271.4237
33 | 2602433.429 | 1199222.6875
34 | 2602433.407 | 1199222.6649
35 | 2602433.4831 | 1199222.7433
36 | 2602412.8455 | 1199203.4589
37 | 2602452.8339 | 1199243.7403
38 | 2602412.8159 | 1199203.433
39 | 2602453.1447 | 1199244.1011
40 | 2602453.2734 | 1199244.2506
41 | 2602478.3266 | 1199345.3981
42 | 2602384.9762 | 1199205.0033
43 | 2602479.6978 | 1199278.7914
44 | 2602370.9061 | 1199232.7948
45 | 2602377.8183 | 1199239.5371
46 | 2602426.4872 | 1199179.1858
47 | 2602551.9534 | 1199117.7958
48 | 2602484.8296 | 1199146.2892
49 | 2602567.2212 | 1199228.1224
50 | 2602582.7802 | 1199191.2489
51 | 2602555.682 | 1199227.1036
52 | 2602512.2835 | 1199278.9518
53 | 2602502.1938 | 1199263.5171
54 | 2602598.2575 | 1199149.0667
55 | 2602593.0195 | 1199165.7109
56 | 2602561.328 | 1199096.8264
57 | 2602583.7131 | 1199096.9525
58 | 2602496.9558 | 1199178.5604
59 | 2602486.6424 | 1199188.3295
60 | 2602507.296 | 1199168.7659
61 | 2602525.7278 | 1199189.3511
62 | 2602487.5622 | 1199149.0231
63 | 2602515.2445 | 1199198.6448
64 | 2602526.8408 | 1199190.7447
65 | 2602504.7476 | 1199207.9505
66 | 2602544.6835 | 1199213.2828
67 | 2602471.9203 | 1199156.4005
68 | 2602463.4268 | 1199166.2486
69 | 2602546.0823 | 1199215.0492
70 | 2602533.7457 | 1199222.2244
71 | 2602522.9028 | 1199231.0883
72 | 2602522.5236 | 1199231.3983
73 | 2602557.3973 | 1199123.9069
74 | 2602379.1221 | 1199201.6271
75 | 2602376.2763 | 1199198.6299
76 | 2602585.4888 | 1199185.5406
77 | 2602494.144 | 1199251.8476
78 | 2602485.9183 | 1199240.5411
79 | 2602476.739 | 1199229.4886
80 | 2602467.4761 | 1199218.8621
81 | 2602457.5987 | 1199208.269
82 | 2602447.5531 | 1199198.2974
83 | 2602437.2705 | 1199188.6818
84 | 2602585.9774 | 1199184.4959
85 | 2602588.3588 | 1199179.4037
86 | 2602590.9276 | 1199173.9109
87 | 2602578.266 | 1199146.8358
88 | 2602577.9145 | 1199146.4498
89 | 2602575.957 | 1199148.1944
90 | 2602574.1663 | 1199142.3316
91 | 2602571.7969 | 1199139.7282
92 | 2602570.0685 | 1199137.8292
93 | 2602565.9584 | 1199133.3133
94 | 2602560.3247 | 1199127.1234
95 | 2602555.4856 | 1199125.6293
96 | 2602472.2054 | 1199268.3035
97 | 2602467.1019 | 1199286.6127
98 | 2602466.5993 | 1199287.0016
99 | 2602470.4957 | 1199295.6375
100 | 2602475.8655 | 1199304.4591
101 | 2602393.1691 | 1199254.5105
102 | 2602388.054 | 1199249.5213
103 | 2602382.9289 | 1199244.5221
104 | 2602409.348 | 1199164.291

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1