## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-158_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-158_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-158_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-158_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-158_0_6_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_351-158_0_6_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_351-158_0_6_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_351-158_0_6_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_351-158_0_6_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_351-158_0_6_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_351-158_0_6_node_102 | 0.4 | n |  | TRUE
11 | bus_LV_351-158_0_6_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_351-158_0_6_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_351-158_0_6_node_18 | 0.4 | n |  | TRUE
14 | bus_LV_351-158_0_6_node_40 | 0.4 | n |  | TRUE
15 | bus_LV_351-158_0_6_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_351-158_0_6_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_351-158_0_6_node_26 | 0.4 | n |  | TRUE
18 | bus_LV_351-158_0_6_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_351-158_0_6_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_351-158_0_6_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_351-158_0_6_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_351-158_0_6_node_97 | 0.4 | n |  | TRUE
23 | bus_LV_351-158_0_6_node_103 | 0.4 | n |  | TRUE
24 | bus_LV_351-158_0_6_node_19 | 0.4 | n |  | TRUE
25 | bus_LV_351-158_0_6_node_111 | 0.4 | n |  | TRUE
26 | bus_LV_351-158_0_6_node_105 | 0.4 | n |  | TRUE
27 | bus_LV_351-158_0_6_node_41 | 0.4 | n |  | TRUE
28 | bus_LV_351-158_0_6_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_351-158_0_6_node_42 | 0.4 | n |  | TRUE
30 | bus_LV_351-158_0_6_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_351-158_0_6_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_351-158_0_6_node_62 | 0.4 | n |  | TRUE
33 | bus_LV_351-158_0_6_node_80 | 0.4 | n |  | TRUE
34 | bus_LV_351-158_0_6_node_84 | 0.4 | n |  | TRUE
35 | bus_LV_351-158_0_6_node_61 | 0.4 | n |  | TRUE
36 | bus_LV_351-158_0_6_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_351-158_0_6_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_351-158_0_6_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_351-158_0_6_node_23 | 0.4 | n |  | TRUE
40 | bus_LV_351-158_0_6_node_98 | 0.4 | n |  | TRUE
41 | bus_LV_351-158_0_6_node_36 | 0.4 | n |  | TRUE
42 | bus_LV_351-158_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_351-158_0_6_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_351-158_0_6_node_121 | 0.4 | n |  | TRUE
45 | bus_LV_351-158_0_6_node_43 | 0.4 | n |  | TRUE
46 | bus_LV_351-158_0_6_node_30 | 0.4 | n |  | TRUE
47 | bus_LV_351-158_0_6_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_351-158_0_6_node_64 | 0.4 | n |  | TRUE
49 | bus_LV_351-158_0_6_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_351-158_0_6_node_34 | 0.4 | n |  | TRUE
51 | bus_LV_351-158_0_6_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_351-158_0_6_node_50 | 0.4 | n |  | TRUE
53 | bus_LV_351-158_0_6_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_351-158_0_6_node_37 | 0.4 | n |  | TRUE
55 | bus_LV_351-158_0_6_node_38 | 0.4 | n |  | TRUE
56 | bus_LV_351-158_0_6_node_39 | 0.4 | n |  | TRUE
57 | bus_LV_351-158_0_6_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_351-158_0_6_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_351-158_0_6_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_351-158_0_6_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_351-158_0_6_node_52 | 0.4 | n |  | TRUE
62 | bus_LV_351-158_0_6_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_351-158_0_6_node_55 | 0.4 | n |  | TRUE
64 | bus_LV_351-158_0_6_node_56 | 0.4 | n |  | TRUE
65 | bus_LV_351-158_0_6_node_57 | 0.4 | n |  | TRUE
66 | bus_LV_351-158_0_6_node_58 | 0.4 | n |  | TRUE
67 | bus_LV_351-158_0_6_node_78 | 0.4 | n |  | TRUE
68 | bus_LV_351-158_0_6_node_82 | 0.4 | n |  | TRUE
69 | bus_LV_351-158_0_6_node_65 | 0.4 | n |  | TRUE
70 | bus_LV_351-158_0_6_node_66 | 0.4 | n |  | TRUE
71 | bus_LV_351-158_0_6_node_67 | 0.4 | n |  | TRUE
72 | bus_LV_351-158_0_6_node_68 | 0.4 | n |  | TRUE
73 | bus_LV_351-158_0_6_node_69 | 0.4 | n |  | TRUE
74 | bus_LV_351-158_0_6_node_70 | 0.4 | n |  | TRUE
75 | bus_LV_351-158_0_6_node_71 | 0.4 | n |  | TRUE
76 | bus_LV_351-158_0_6_node_72 | 0.4 | n |  | TRUE
77 | bus_LV_351-158_0_6_node_73 | 0.4 | n |  | TRUE
78 | bus_LV_351-158_0_6_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_351-158_0_6_node_81 | 0.4 | n |  | TRUE
80 | bus_LV_351-158_0_6_node_79 | 0.4 | n |  | TRUE
81 | bus_LV_351-158_0_6_node_85 | 0.4 | n |  | TRUE
82 | bus_LV_351-158_0_6_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_351-158_0_6_node_75 | 0.4 | n |  | TRUE
84 | bus_LV_351-158_0_6_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_351-158_0_6_node_86 | 0.4 | n |  | TRUE
86 | bus_LV_351-158_0_6_node_89 | 0.4 | n |  | TRUE
87 | bus_LV_351-158_0_6_node_87 | 0.4 | n |  | TRUE
88 | bus_LV_351-158_0_6_node_88 | 0.4 | n |  | TRUE
89 | bus_LV_351-158_0_6_node_90 | 0.4 | n |  | TRUE
90 | bus_LV_351-158_0_6_node_91 | 0.4 | n |  | TRUE
91 | bus_LV_351-158_0_6_node_114 | 0.4 | n |  | TRUE
92 | bus_LV_351-158_0_6_node_112 | 0.4 | n |  | TRUE
93 | bus_LV_351-158_0_6_node_106 | 0.4 | n |  | TRUE
94 | bus_LV_351-158_0_6_node_113 | 0.4 | n |  | TRUE
95 | bus_LV_351-158_0_6_node_92 | 0.4 | n |  | TRUE
96 | bus_LV_351-158_0_6_node_93 | 0.4 | n |  | TRUE
97 | bus_LV_351-158_0_6_node_94 | 0.4 | n |  | TRUE
98 | bus_LV_351-158_0_6_node_95 | 0.4 | n |  | TRUE
99 | bus_LV_351-158_0_6_node_96 | 0.4 | n |  | TRUE
100 | bus_LV_351-158_0_6_node_101 | 0.4 | n |  | TRUE
101 | bus_LV_351-158_0_6_node_107 | 0.4 | n |  | TRUE
102 | bus_LV_351-158_0_6_node_99 | 0.4 | n |  | TRUE
103 | bus_LV_351-158_0_6_node_120 | 0.4 | n |  | TRUE
104 | bus_LV_351-158_0_6_node_108 | 0.4 | n |  | TRUE
105 | bus_LV_351-158_0_6_node_100 | 0.4 | n |  | TRUE
106 | bus_LV_351-158_0_6_node_104 | 0.4 | n |  | TRUE
107 | bus_LV_351-158_0_6_node_109 | 0.4 | n |  | TRUE
108 | bus_LV_351-158_0_6_node_110 | 0.4 | n |  | TRUE
109 | bus_LV_351-158_0_6_node_115 | 0.4 | n |  | TRUE
110 | bus_LV_351-158_0_6_node_116 | 0.4 | n |  | TRUE
111 | bus_LV_351-158_0_6_node_117 | 0.4 | n |  | TRUE
112 | bus_LV_351-158_0_6_node_118 | 0.4 | n |  | TRUE
113 | bus_MV_592_0_node_40 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-158_0_6_load_0 | 0 | 0.024647 | 0.0061771 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-158_0_6_load_1 | 1 | 0.0039975 | 0.0010019 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-158_0_6_load_16 | 5 | 0.0046605 | 0.001168 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-158_0_6_load_17 | 6 | 0.00086372 | 0.00021647 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-158_0_6_load_102 | 10 | 0.010407 | 0.0026081 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-158_0_6_load_20 | 11 | 0.011863 | 0.0029732 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-158_0_6_load_18 | 13 | 0.028942 | 0.0072535 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-158_0_6_load_40 | 14 | 0.0013652 | 0.00034215 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-158_0_6_load_26 | 17 | 0.0034988 | 0.00087687 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-158_0_6_load_31 | 18 | 0.01606 | 0.004025 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-158_0_6_load_22 | 20 | 0.0085399 | 0.0021403 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-158_0_6_load_25 | 21 | 0.0077081 | 0.0019318 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-158_0_6_load_97 | 22 | 0.0021045 | 0.00052743 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-158_0_6_load_103 | 23 | 0.0051175 | 0.0012826 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-158_0_6_load_19 | 24 | 0.029287 | 0.0073401 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-158_0_6_load_111 | 25 | 0.0022094 | 0.00055373 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-158_0_6_load_105 | 26 | 0.0026761 | 0.00067068 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-158_0_6_load_41 | 27 | 0.0031638 | 0.00079293 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-158_0_6_load_44 | 28 | 0.0041214 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-158_0_6_load_42 | 29 | 0.002681 | 0.00067191 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-158_0_6_load_27 | 30 | 0.0056443 | 0.0014146 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-158_0_6_load_80 | 33 | 0.00094148 | 0.00023596 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-158_0_6_load_61 | 35 | 0.014284 | 0.0035799 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-158_0_6_load_29 | 36 | 0.011767 | 0.0029492 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-158_0_6_load_35 | 37 | 0.0051567 | 0.0012924 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-158_0_6_load_98 | 40 | 0.0031406 | 0.0007871 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-158_0_6_load_36 | 41 | 0.0013038 | 0.00032676 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-158_0_6_load_121 | 44 | 0.010142 | 0.0025419 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-158_0_6_load_43 | 45 | 0.005098 | 0.0012777 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-158_0_6_load_30 | 46 | 0.017541 | 0.0043961 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-158_0_6_load_63 | 47 | 0.011766 | 0.0029489 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-158_0_6_load_64 | 48 | 0.0020741 | 0.00051981 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-158_0_6_load_33 | 49 | 0.012462 | 0.0031232 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-158_0_6_load_53 | 51 | 0.0054999 | 0.0013784 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-158_0_6_load_50 | 52 | 0.0048662 | 0.0012196 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-158_0_6_load_37 | 54 | 0.0060275 | 0.0015106 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-158_0_6_load_38 | 55 | 0.0074369 | 0.0018639 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-158_0_6_load_39 | 56 | 0.0077231 | 0.0019356 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-158_0_6_load_46 | 57 | 0.004312 | 0.0010807 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-158_0_6_load_47 | 58 | 0.003126 | 0.00078345 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-158_0_6_load_60 | 59 | 0.0030682 | 0.00076895 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-158_0_6_load_59 | 60 | 0.0024825 | 0.00062216 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-158_0_6_load_54 | 62 | 0.0067989 | 0.001704 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-158_0_6_load_57 | 65 | 0.0045179 | 0.0011323 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-158_0_6_load_58 | 66 | 0.0026624 | 0.00066726 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-158_0_6_load_78 | 67 | 0.0032681 | 0.00081905 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-158_0_6_load_82 | 68 | 0.0032277 | 0.00080894 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-158_0_6_load_65 | 69 | 0.0030723 | 0.00076998 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-158_0_6_load_66 | 70 | 0.00064342 | 0.00016126 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-158_0_6_load_67 | 71 | 0.0031375 | 0.00078634 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-158_0_6_load_68 | 72 | 0.0014208 | 0.00035607 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-158_0_6_load_69 | 73 | 0.0018303 | 0.00045871 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-158_0_6_load_70 | 74 | 0.0019831 | 0.00049702 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-158_0_6_load_71 | 75 | 0.003035 | 0.00076065 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-158_0_6_load_72 | 76 | 0.0045447 | 0.001139 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-158_0_6_load_73 | 77 | 0.001934 | 0.0004847 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-158_0_6_load_81 | 79 | 0.003955 | 0.00099122 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-158_0_6_load_79 | 80 | 0.0030291 | 0.00075916 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-158_0_6_load_85 | 81 | 0.00079689 | 0.00019972 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-158_0_6_load_77 | 82 | 0.0023482 | 0.00058851 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-158_0_6_load_75 | 83 | 0.0031505 | 0.00078959 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-158_0_6_load_76 | 84 | 0.0045658 | 0.0011443 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-158_0_6_load_86 | 85 | 0.0013419 | 0.0003363 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-158_0_6_load_89 | 86 | 0.00097039 | 0.0002432 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-158_0_6_load_87 | 87 | 0.0029831 | 0.00074763 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-158_0_6_load_88 | 88 | 0.0043172 | 0.001082 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_351-158_0_6_load_91 | 90 | 0.0073742 | 0.0018481 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_351-158_0_6_load_112 | 92 | 0.0041769 | 0.0010468 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_351-158_0_6_load_92 | 95 | 0.0025897 | 0.00064903 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_351-158_0_6_load_93 | 96 | 0.0065436 | 0.00164 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_351-158_0_6_load_94 | 97 | 0.0027421 | 0.00068722 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_351-158_0_6_load_95 | 98 | 0.0035025 | 0.00087782 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_351-158_0_6_load_101 | 100 | 0.0026603 | 0.00066672 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_351-158_0_6_load_107 | 101 | 0.0052652 | 0.0013196 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_351-158_0_6_load_99 | 102 | 0.0073032 | 0.0018304 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_351-158_0_6_load_120 | 103 | 0.0063706 | 0.0015966 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_351-158_0_6_load_108 | 104 | 0.0080122 | 0.002008 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_351-158_0_6_load_100 | 105 | 0.0031764 | 0.00079608 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_351-158_0_6_load_104 | 106 | 0.0082631 | 0.0020709 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_351-158_0_6_load_109 | 107 | 0.001633 | 0.00040927 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_351-158_0_6_load_110 | 108 | 0.017699 | 0.0044357 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_351-158_0_6_load_115 | 109 | 0.073321 | 0.018376 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_351-158_0_6_load_118 | 112 | 0.018537 | 0.0046457 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-158_0_6_line_0 |  | 0 | 1 | 0.031488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-158_0_6_line_1 |  | 0 | 2 | 0.0065553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-158_0_6_line_2 |  | 1 | 3 | 0.019798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-158_0_6_line_3 |  | 2 | 4 | 0.0096534 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-158_0_6_line_4 |  | 3 | 5 | 0.015063 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-158_0_6_line_5 |  | 3 | 6 | 0.051578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_351-158_0_6_line_6 |  | 3 | 7 | 0.010514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-158_0_6_line_7 |  | 4 | 9 | 0.013237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-158_0_6_line_8 |  | 4 | 11 | 0.017326 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-158_0_6_line_9 |  | 5 | 21 | 0.029602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-158_0_6_line_10 |  | 6 | 22 | 0.0015441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
11 | LV_351-158_0_6_line_11 |  | 7 | 19 | 0.003669 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-158_0_6_line_12 |  | 7 | 20 | 0.013199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-158_0_6_line_13 |  | 8 | 9 | 0.075766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-158_0_6_line_14 |  | 8 | 10 | 0.032782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-158_0_6_line_15 |  | 9 | 14 | 0.067695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-158_0_6_line_16 |  | 9 | 12 | 0.005234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-158_0_6_line_17 |  | 10 | 23 | 0.035002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-158_0_6_line_18 |  | 12 | 13 | 0.030074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-158_0_6_line_19 |  | 13 | 24 | 0.02077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-158_0_6_line_20 |  | 14 | 27 | 0.017991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-158_0_6_line_21 |  | 15 | 16 | 0.030028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-158_0_6_line_22 |  | 15 | 17 | 0.01963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-158_0_6_line_23 |  | 16 | 18 | 0.030723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-158_0_6_line_24 |  | 17 | 21 | 0.031242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-158_0_6_line_25 |  | 18 | 38 | 0.008436 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-158_0_6_line_26 |  | 19 | 37 | 0.03151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-158_0_6_line_27 |  | 20 | 39 | 0.022583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-158_0_6_line_28 |  | 22 | 40 | 0.027012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_351-158_0_6_line_29 |  | 23 | 106 | 0.01117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-158_0_6_line_30 |  | 25 | 26 | 0.011896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-158_0_6_line_31 |  | 26 | 106 | 0.0030454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-158_0_6_line_32 |  | 28 | 29 | 0.027974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-158_0_6_line_33 |  | 29 | 45 | 0.024199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-158_0_6_line_34 |  | 30 | 31 | 0.010578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-158_0_6_line_35 |  | 31 | 36 | 0.016555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-158_0_6_line_36 |  | 31 | 46 | 0.015454 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-158_0_6_line_37 |  | 32 | 33 | 0.055662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-158_0_6_line_38 |  | 32 | 34 | 0.063193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-158_0_6_line_39 |  | 33 | 67 | 0.01558 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-158_0_6_line_40 |  | 34 | 68 | 0.039721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-158_0_6_line_41 |  | 35 | 36 | 0.033928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-158_0_6_line_42 |  | 37 | 41 | 0.01175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-158_0_6_line_43 |  | 38 | 49 | 0.024294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-158_0_6_line_44 |  | 38 | 50 | 0.030035 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-158_0_6_line_45 |  | 39 | 42 | 0.003455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-158_0_6_line_46 |  | 40 | 105 | 0.027011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
47 | LV_351-158_0_6_line_47 |  | 41 | 54 | 0.015513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-158_0_6_line_48 |  | 42 | 43 | 0.012668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-158_0_6_line_49 |  | 42 | 44 | 0.004799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-158_0_6_line_50 |  | 43 | 45 | 0.019382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-158_0_6_line_51 |  | 46 | 47 | 0.026593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-158_0_6_line_52 |  | 47 | 48 | 0.024827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-158_0_6_line_53 |  | 48 | 69 | 0.006455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-158_0_6_line_54 |  | 50 | 51 | 0.028473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-158_0_6_line_55 |  | 50 | 52 | 0.015846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-158_0_6_line_56 |  | 52 | 53 | 0.013171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-158_0_6_line_57 |  | 53 | 61 | 0.003565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-158_0_6_line_58 |  | 54 | 55 | 0.029724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-158_0_6_line_59 |  | 55 | 56 | 0.031809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-158_0_6_line_60 |  | 56 | 57 | 0.031395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-158_0_6_line_61 |  | 57 | 58 | 0.022335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-158_0_6_line_62 |  | 59 | 60 | 0.025509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-158_0_6_line_63 |  | 60 | 66 | 0.010539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-158_0_6_line_64 |  | 61 | 62 | 0.014582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-158_0_6_line_65 |  | 62 | 63 | 0.013796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-158_0_6_line_66 |  | 63 | 64 | 0.006597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-158_0_6_line_67 |  | 64 | 65 | 0.012447 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-158_0_6_line_68 |  | 65 | 66 | 0.019592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-158_0_6_line_69 |  | 67 | 84 | 0.0014262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-158_0_6_line_70 |  | 69 | 70 | 0.0042687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-158_0_6_line_71 |  | 70 | 71 | 0.020241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-158_0_6_line_72 |  | 71 | 72 | 0.0042549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-158_0_6_line_73 |  | 72 | 73 | 0.022025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-158_0_6_line_74 |  | 73 | 74 | 0.0066634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-158_0_6_line_75 |  | 74 | 75 | 0.0087794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
76 | LV_351-158_0_6_line_76 |  | 75 | 76 | 0.012257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_351-158_0_6_line_77 |  | 76 | 77 | 0.045857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_351-158_0_6_line_78 |  | 77 | 78 | 0.016844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
79 | LV_351-158_0_6_line_79 |  | 78 | 79 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_351-158_0_6_line_80 |  | 78 | 80 | 0.021025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-158_0_6_line_81 |  | 79 | 81 | 0.018638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
82 | LV_351-158_0_6_line_82 |  | 80 | 82 | 0.0023629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-158_0_6_line_83 |  | 81 | 85 | 0.0035725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_351-158_0_6_line_84 |  | 82 | 83 | 0.010341 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-158_0_6_line_85 |  | 83 | 84 | 0.018493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-158_0_6_line_86 |  | 85 | 86 | 0.00048793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
87 | LV_351-158_0_6_line_87 |  | 86 | 87 | 0.0003754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
88 | LV_351-158_0_6_line_88 |  | 87 | 88 | 0.025096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_351-158_0_6_line_89 |  | 88 | 89 | 0.017437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_351-158_0_6_line_90 |  | 89 | 90 | 0.02275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
91 | LV_351-158_0_6_line_91 |  | 90 | 91 | 0.018855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
92 | LV_351-158_0_6_line_92 |  | 90 | 92 | 0.049281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_351-158_0_6_line_93 |  | 91 | 93 | 0.00945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
94 | LV_351-158_0_6_line_94 |  | 92 | 94 | 0.02263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_351-158_0_6_line_95 |  | 93 | 103 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_351-158_0_6_line_96 |  | 93 | 99 | 0.015261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
97 | LV_351-158_0_6_line_97 |  | 94 | 109 | 0.044511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_351-158_0_6_line_98 |  | 95 | 96 | 0.025222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
99 | LV_351-158_0_6_line_99 |  | 95 | 97 | 0.0038846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_351-158_0_6_line_100 |  | 96 | 98 | 0.0058271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_351-158_0_6_line_101 |  | 97 | 99 | 0.022359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
102 | LV_351-158_0_6_line_102 |  | 98 | 100 | 0.029399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
103 | LV_351-158_0_6_line_103 |  | 99 | 101 | 0.029308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_351-158_0_6_line_104 |  | 100 | 102 | 0.0038266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
105 | LV_351-158_0_6_line_105 |  | 101 | 104 | 0.016752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_351-158_0_6_line_106 |  | 102 | 105 | 0.03213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
107 | LV_351-158_0_6_line_107 |  | 104 | 107 | 0.0070878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_351-158_0_6_line_108 |  | 107 | 108 | 0.032421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_351-158_0_6_line_109 |  | 109 | 110 | 0.020021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_351-158_0_6_line_110 |  | 110 | 111 | 0.048814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_351-158_0_6_line_111 |  | 111 | 112 | 0.098327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-158_0_6_trafo_98 | 0.63 MVA 20/0.4 kV | 113 | 40 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2602008.5301 | 1198370.5971 | 2601987.1856 | 1198393.7464
1 | 2602012.9737 | 1198365.7777 | 2602008.5301 | 1198370.5971
2 | 2601973.5314 | 1198408.0765 | 2601978.9015 | 1198402.7309 | 2601987.1856 | 1198393.7464
3 | 2602012.9737 | 1198365.7777 | 2602016.4374 | 1198369.0695 | 2602019.939 | 1198372.4613
4 | 2601973.5314 | 1198408.0765 | 2601970.1723 | 1198411.6329 | 2601963.2241 | 1198419.061
5 | 2601973.5314 | 1198408.0765 | 2601940.0611 | 1198368.8333
6 | 2601973.5314 | 1198408.0765 | 2601974.4297 | 1198408.9551 | 2601977.0864 | 1198411.5351 | 2601979.3396 | 1198413.7147 | 2601981.06 | 1198415.4162
7 | 2602019.939 | 1198372.4613 | 2602022.9402 | 1198369.294 | 2602024.905 | 1198368.7832 | 2602027.0979 | 1198369.1175 | 2602030.4266 | 1198365.8724
8 | 2602019.939 | 1198372.4613 | 2602007.9981 | 1198385.0152
9 | 2601963.2241 | 1198419.061 | 2601943.0026 | 1198440.6793
10 | 2601940.0611 | 1198368.8333 | 2601939.0591 | 1198367.6585
11 | 2601978.4321 | 1198417.9834 | 2601981.06 | 1198415.4162
12 | 2601981.06 | 1198415.4162 | 2601989.961 | 1198425.1628
13 | 2601982.4345 | 1198307.9148 | 2602015.7072 | 1198343.0554 | 2602019.1017 | 1198348.2593 | 2602021.7956 | 1198353.2962 | 2602022.7012 | 1198354.9084 | 2602023.1654 | 1198355.7979 | 2602024.8926 | 1198359.9118 | 2602027.161 | 1198362.3583 | 2602030.4266 | 1198365.8724
14 | 2601982.4345 | 1198307.9148 | 2601967.036 | 1198288.5996 | 2601961.9597 | 1198282.3137
15 | 2602030.4266 | 1198365.8724 | 2602076.1987 | 1198415.7478
16 | 2602031.7453 | 1198361.7595 | 2602032.6355 | 1198363.7275 | 2602030.4266 | 1198365.8724
17 | 2601961.9597 | 1198282.3137 | 2601946.3547 | 1198262.9905 | 2601940.6134 | 1198254.603
18 | 2602031.7453 | 1198361.7595 | 2602036.2012 | 1198357.5698 | 2602049.6641 | 1198357.4075 | 2602058.8853 | 1198357.8664 | 2602060.1436 | 1198357.7849
19 | 2602060.1436 | 1198357.7849 | 2602068.6247 | 1198357.236 | 2602073.7803 | 1198355.8703 | 2602078.9367 | 1198351.2291
20 | 2602076.1987 | 1198415.7478 | 2602082.332 | 1198422.4309 | 2602087.6527 | 1198428.1802 | 2602088.4046 | 1198428.965
21 | 2601908.5495 | 1198478.0936 | 2601911.7391 | 1198481.1518 | 2601924.8328 | 1198467.2373 | 2601929.7276 | 1198471.5189
22 | 2601908.5495 | 1198478.0936 | 2601912.3201 | 1198473.4812 | 2601921.6603 | 1198463.4958
23 | 2601929.7276 | 1198471.5189 | 2601952.8472 | 1198491.7527
24 | 2601943.0026 | 1198440.6793 | 2601921.6603 | 1198463.4958
25 | 2601959.1954 | 1198497.3085 | 2601952.8472 | 1198491.7527
26 | 2601978.4321 | 1198417.9834 | 2601999.6747 | 1198441.2569
27 | 2602005.1898 | 1198441.838 | 2601989.961 | 1198425.1628
28 | 2601939.0591 | 1198367.6585 | 2601921.5302 | 1198347.1062
29 | 2601940.6134 | 1198254.603 | 2601937.6549 | 1198250.281 | 2601935.6989 | 1198247.0786 | 2601934.9761 | 1198245.0218 | 2601934.9761 | 1198245.0218
30 | 2601934.9225 | 1198241.9983 | 2601935.3508 | 1198240.2193 | 2601936.9047 | 1198238.6634 | 2601939.0372 | 1198237.4079 | 2601943.6149 | 1198234.5576
31 | 2601934.9225 | 1198241.9983 | 2601934.7942 | 1198242.5315 | 2601934.9761 | 1198245.0218
32 | 2602045.459 | 1198485.9445 | 2602045.8217 | 1198486.3418 | 2602047.5268 | 1198488.1322 | 2602048.8513 | 1198489.3444 | 2602066.4599 | 1198504.4015
33 | 2602045.459 | 1198485.9445 | 2602029.1428 | 1198468.0729
34 | 2601866.1983 | 1198424.5188 | 2601872.7296 | 1198432.8403
35 | 2601866.1983 | 1198424.5188 | 2601853.1375 | 1198434.6908
36 | 2601866.1983 | 1198424.5188 | 2601856.6851 | 1198412.3396
37 | 2601638.6087 | 1198353.4057 | 2601647.5174 | 1198326.7049 | 2601651.3492 | 1198320.5248 | 2601653.8405 | 1198315.6784 | 2601664.9881 | 1198305.9527
38 | 2601638.6087 | 1198353.4057 | 2601626.3386 | 1198335.1816 | 2601612.6603 | 1198314.3003 | 2601602.4217 | 1198301.602
39 | 2601676.7283 | 1198295.71 | 2601664.9881 | 1198305.9527
40 | 2601602.4217 | 1198301.602 | 2601602.7278 | 1198295.8879 | 2601596.7403 | 1198274.9196 | 2601592.616 | 1198263.4458
41 | 2601826.3699 | 1198455.538 | 2601853.1375 | 1198434.6908
42 | 2601999.6747 | 1198441.2569 | 2602007.5959 | 1198449.9354
43 | 2601971.4071 | 1198479.3695 | 2601973.5005 | 1198481.2156 | 2601959.1954 | 1198497.3085
44 | 2601959.1954 | 1198497.3085 | 2601961.4867 | 1198499.3214 | 2601965.331 | 1198502.6578 | 2601971.0554 | 1198507.7512 | 2601980.099 | 1198515.6472 | 2601981.7737 | 1198517.1152
45 | 2602005.1898 | 1198441.838 | 2602007.519 | 1198444.3957
46 | 2601921.5302 | 1198347.1062 | 2601904.0019 | 1198326.5548
47 | 2602007.5959 | 1198449.9354 | 2602018.0541 | 1198461.3935
48 | 2602007.519 | 1198444.3957 | 2602016.0747 | 1198453.7591
49 | 2602011.1446 | 1198441.2397 | 2602007.519 | 1198444.3957
50 | 2602016.0747 | 1198453.7591 | 2602029.1428 | 1198468.0729
51 | 2601840.0751 | 1198391.5759 | 2601845.8826 | 1198398.5099 | 2601856.6851 | 1198412.3396
52 | 2601840.0751 | 1198391.5759 | 2601838.6741 | 1198389.9032 | 2601830.1178 | 1198381.1516 | 2601826.6769 | 1198378.0044 | 2601822.4443 | 1198374.1233
53 | 2601817.4453 | 1198370.0396 | 2601822.4443 | 1198374.1233 | 2601822.4443 | 1198374.1233
54 | 2601995.1438 | 1198496.3306 | 2601998.2039 | 1198499.1108 | 2601981.7737 | 1198517.1152
55 | 2601981.7737 | 1198517.1152 | 2601993.7092 | 1198527.5383
56 | 2602003.423 | 1198536.4325 | 2601995.3617 | 1198528.9814 | 2601993.7092 | 1198527.5383
57 | 2602003.423 | 1198536.4325 | 2602006.034 | 1198538.8679
58 | 2602018.0541 | 1198461.3935 | 2602038.0928 | 1198483.348
59 | 2602038.0928 | 1198483.348 | 2602043.3917 | 1198489.1536 | 2602044.9978 | 1198490.8884 | 2602046.2539 | 1198491.9783 | 2602061.3885 | 1198504.9332
60 | 2602061.3885 | 1198504.9332 | 2602085.2388 | 1198525.3486
61 | 2602102.2061 | 1198539.8723 | 2602085.2388 | 1198525.3486
62 | 2602063.1802 | 1198591.3095 | 2602081.9753 | 1198608.5564
63 | 2602063.1802 | 1198591.3095 | 2602055.415 | 1198584.1839
64 | 2602006.034 | 1198538.8679 | 2602016.779 | 1198548.7256
65 | 2602026.9447 | 1198558.0517 | 2602016.779 | 1198548.7256
66 | 2602026.9447 | 1198558.0517 | 2602031.8088 | 1198562.5223
67 | 2602031.8088 | 1198562.5223 | 2602040.9795 | 1198570.9375
68 | 2602040.9795 | 1198570.9375 | 2602055.415 | 1198584.1839
69 | 2601677.803 | 1198294.7723 | 2601676.7283 | 1198295.71
70 | 2601817.4453 | 1198370.0396 | 2601814.1395 | 1198367.339
71 | 2601798.4711 | 1198354.5248 | 2601799.1109 | 1198355.0619 | 2601814.1395 | 1198367.339
72 | 2601795.2122 | 1198351.7891 | 2601798.4711 | 1198354.5248
73 | 2601795.2122 | 1198351.7891 | 2601790.0363 | 1198347.4441 | 2601778.3496 | 1198337.6197
74 | 2601773.2483 | 1198333.3327 | 2601773.897 | 1198333.8767 | 2601778.3496 | 1198337.6197
75 | 2601773.2483 | 1198333.3327 | 2601772.2526 | 1198332.4977 | 2601766.8475 | 1198327.3273
76 | 2601758.221 | 1198318.6249 | 2601760.2628 | 1198320.7769 | 2601762.8129 | 1198323.468 | 2601766.8475 | 1198327.3273
77 | 2601758.221 | 1198318.6249 | 2601755.779 | 1198316.0509 | 2601748.0297 | 1198306.9661 | 2601728.938 | 1198283.3498
78 | 2601719.8122 | 1198269.5272 | 2601719.9411 | 1198271.2504 | 2601720.9001 | 1198273.1183 | 2601722.3387 | 1198275.1865 | 2601728.938 | 1198283.3498
79 | 2601719.8122 | 1198269.5272 | 2601720.2543 | 1198267.9709 | 2601720.9932 | 1198266.8705 | 2601724.4589 | 1198263.3474 | 2601729.8232 | 1198258.5562
80 | 2601719.8122 | 1198269.5272 | 2601713.1192 | 1198267.9801 | 2601710.4389 | 1198267.6347 | 2601708.0933 | 1198268.3456 | 2601701.3101 | 1198274.2636
81 | 2601729.8232 | 1198258.5562 | 2601743.7234 | 1198246.1407
82 | 2601701.3101 | 1198274.2636 | 2601699.5296 | 1198275.817
83 | 2601743.7234 | 1198246.1407 | 2601746.3878 | 1198243.7609
84 | 2601691.7377 | 1198282.615 | 2601699.5296 | 1198275.817
85 | 2601691.7377 | 1198282.615 | 2601677.803 | 1198294.7723
86 | 2601746.7517 | 1198243.4359 | 2601746.3878 | 1198243.7609
87 | 2601747.0317 | 1198243.1858 | 2601746.7517 | 1198243.4359
88 | 2601747.0317 | 1198243.1858 | 2601761.7124 | 1198230.0734 | 2601765.7899 | 1198226.5143
89 | 2601778.9262 | 1198215.048 | 2601765.7899 | 1198226.5143
90 | 2601796.0945 | 1198200.0672 | 2601778.9262 | 1198215.048
91 | 2601796.0945 | 1198200.0672 | 2601808.3503 | 1198214.4228
92 | 2601796.0945 | 1198200.0672 | 2601818.5032 | 1198180.7412 | 2601831.4288 | 1198170.1282 | 2601833.837 | 1198168.3978
93 | 2601814.4934 | 1198221.6174 | 2601808.3503 | 1198214.4228
94 | 2601852.2144 | 1198155.193 | 2601833.837 | 1198168.3978
95 | 2601801.9332 | 1198233.0754 | 2601809.6643 | 1198226.0294 | 2601814.4934 | 1198221.6174
96 | 2601824.4122 | 1198233.2376 | 2601814.4934 | 1198221.6174
97 | 2601852.2144 | 1198155.193 | 2601856.7996 | 1198151.8926 | 2601887.7311 | 1198128.3672
98 | 2601841.4425 | 1198253.2052 | 2601857.8099 | 1198272.3957
99 | 2601841.4425 | 1198253.2052 | 2601838.9217 | 1198250.2496
100 | 2601857.8099 | 1198272.3957 | 2601861.5913 | 1198276.8292
101 | 2601824.4122 | 1198233.2376 | 2601838.9217 | 1198250.2496
102 | 2601880.6688 | 1198299.1972 | 2601861.5913 | 1198276.8292
103 | 2601824.4122 | 1198233.2376 | 2601846.5228 | 1198214.0007
104 | 2601883.152 | 1198302.1087 | 2601880.6688 | 1198299.1972
105 | 2601859.1611 | 1198203.0051 | 2601846.5228 | 1198214.0007
106 | 2601883.152 | 1198302.1087 | 2601904.0019 | 1198326.5548
107 | 2601859.1611 | 1198203.0051 | 2601860.2418 | 1198202.0649 | 2601861.8801 | 1198196.652
108 | 2601886.0708 | 1198175.132 | 2601883.9317 | 1198176.992 | 2601861.9644 | 1198196.3735 | 2601861.8801 | 1198196.652
109 | 2601907.1326 | 1198133.2868 | 2601899.5335 | 1198131.1167 | 2601887.7311 | 1198128.3672
110 | 2601924.1128 | 1198087.8123 | 2601921.0499 | 1198093.1808 | 2601915.6858 | 1198103.5292 | 2601913.5211 | 1198109.9653 | 2601908.8559 | 1198125.5054 | 2601907.1326 | 1198133.2868
111 | 2601924.1128 | 1198087.8123 | 2601915.8512 | 1198085.5418 | 2601911.5728 | 1198081.7162 | 2601907.843 | 1198076.3567 | 2601905.7661 | 1198069.797 | 2601901.1528 | 1198065.4155 | 2601895.7781 | 1198060.3778 | 2601891.1723 | 1198055.7851 | 2601890.5182 | 1198053.3836 | 2601892.0505 | 1198047.9145 | 2601893.5904 | 1198042.5454 | 2601896.006 | 1198037.1877 | 2601895.7874 | 1198029.7503 | 2601893.1543 | 1198023.9576 | 2601888.1139 | 1198021.4325 | 2601877.4081 | 1198017.8051

## bus_geodata
| x | y | coords
0 | 2602008.5301 | 1198370.5971
1 | 2601987.1856 | 1198393.7464
2 | 2602012.9737 | 1198365.7777
3 | 2601973.5314 | 1198408.0765
4 | 2602019.939 | 1198372.4613
5 | 2601963.2241 | 1198419.061
6 | 2601940.0611 | 1198368.8333
7 | 2601981.06 | 1198415.4162
8 | 2601982.4345 | 1198307.9148
9 | 2602030.4266 | 1198365.8724
10 | 2601961.9597 | 1198282.3137
11 | 2602007.9981 | 1198385.0152
12 | 2602031.7453 | 1198361.7595
13 | 2602060.1436 | 1198357.7849
14 | 2602076.1987 | 1198415.7478
15 | 2601908.5495 | 1198478.0936
16 | 2601929.7276 | 1198471.5189
17 | 2601921.6603 | 1198463.4958
18 | 2601952.8472 | 1198491.7527
19 | 2601978.4321 | 1198417.9834
20 | 2601989.961 | 1198425.1628
21 | 2601943.0026 | 1198440.6793
22 | 2601939.0591 | 1198367.6585
23 | 2601940.6134 | 1198254.603
24 | 2602078.9367 | 1198351.2291
25 | 2601943.6149 | 1198234.5576
26 | 2601934.9225 | 1198241.9983
27 | 2602088.4046 | 1198428.965
28 | 2602066.4599 | 1198504.4015
29 | 2602045.459 | 1198485.9445
30 | 2601872.7296 | 1198432.8403
31 | 2601866.1983 | 1198424.5188
32 | 2601638.6087 | 1198353.4057
33 | 2601664.9881 | 1198305.9527
34 | 2601602.4217 | 1198301.602
35 | 2601826.3699 | 1198455.538
36 | 2601853.1375 | 1198434.6908
37 | 2601999.6747 | 1198441.2569
38 | 2601959.1954 | 1198497.3085
39 | 2602005.1898 | 1198441.838
40 | 2601921.5302 | 1198347.1062
41 | 2602007.5959 | 1198449.9354
42 | 2602007.519 | 1198444.3957
43 | 2602016.0747 | 1198453.7591
44 | 2602011.1446 | 1198441.2397
45 | 2602029.1428 | 1198468.0729
46 | 2601856.6851 | 1198412.3396
47 | 2601840.0751 | 1198391.5759
48 | 2601822.4443 | 1198374.1233
49 | 2601971.4071 | 1198479.3695
50 | 2601981.7737 | 1198517.1152
51 | 2601995.1438 | 1198496.3306
52 | 2601993.7092 | 1198527.5383
53 | 2602003.423 | 1198536.4325
54 | 2602018.0541 | 1198461.3935
55 | 2602038.0928 | 1198483.348
56 | 2602061.3885 | 1198504.9332
57 | 2602085.2388 | 1198525.3486
58 | 2602102.2061 | 1198539.8723
59 | 2602081.9753 | 1198608.5564
60 | 2602063.1802 | 1198591.3095
61 | 2602006.034 | 1198538.8679
62 | 2602016.779 | 1198548.7256
63 | 2602026.9447 | 1198558.0517
64 | 2602031.8088 | 1198562.5223
65 | 2602040.9795 | 1198570.9375
66 | 2602055.415 | 1198584.1839
67 | 2601676.7283 | 1198295.71
68 | 2601592.616 | 1198263.4458
69 | 2601817.4453 | 1198370.0396
70 | 2601814.1395 | 1198367.339
71 | 2601798.4711 | 1198354.5248
72 | 2601795.2122 | 1198351.7891
73 | 2601778.3496 | 1198337.6197
74 | 2601773.2483 | 1198333.3327
75 | 2601766.8475 | 1198327.3273
76 | 2601758.221 | 1198318.6249
77 | 2601728.938 | 1198283.3498
78 | 2601719.8122 | 1198269.5272
79 | 2601729.8232 | 1198258.5562
80 | 2601701.3101 | 1198274.2636
81 | 2601743.7234 | 1198246.1407
82 | 2601699.5296 | 1198275.817
83 | 2601691.7377 | 1198282.615
84 | 2601677.803 | 1198294.7723
85 | 2601746.3878 | 1198243.7609
86 | 2601746.7517 | 1198243.4359
87 | 2601747.0317 | 1198243.1858
88 | 2601765.7899 | 1198226.5143
89 | 2601778.9262 | 1198215.048
90 | 2601796.0945 | 1198200.0672
91 | 2601808.3503 | 1198214.4228
92 | 2601833.837 | 1198168.3978
93 | 2601814.4934 | 1198221.6174
94 | 2601852.2144 | 1198155.193
95 | 2601841.4425 | 1198253.2052
96 | 2601857.8099 | 1198272.3957
97 | 2601838.9217 | 1198250.2496
98 | 2601861.5913 | 1198276.8292
99 | 2601824.4122 | 1198233.2376
100 | 2601880.6688 | 1198299.1972
101 | 2601846.5228 | 1198214.0007
102 | 2601883.152 | 1198302.1087
103 | 2601801.9332 | 1198233.0754
104 | 2601859.1611 | 1198203.0051
105 | 2601904.0019 | 1198326.5548
106 | 2601934.9761 | 1198245.0218
107 | 2601861.8801 | 1198196.652
108 | 2601886.0708 | 1198175.132
109 | 2601887.7311 | 1198128.3672
110 | 2601907.1326 | 1198133.2868
111 | 2601924.1128 | 1198087.8123
112 | 2601877.4081 | 1198017.8051
113 | 2601973.5314 | 1198408.0765

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1