## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-161_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-161_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-161_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-161_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-161_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-161_0_5_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_351-161_0_5_node_22 | 0.4 | n |  | TRUE
7 | bus_LV_351-161_0_5_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_351-161_0_5_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_351-161_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_351-161_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_351-161_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_351-161_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_351-161_0_5_node_27 | 0.4 | n |  | TRUE
14 | bus_LV_351-161_0_5_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_351-161_0_5_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_351-161_0_5_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_351-161_0_5_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_351-161_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_351-161_0_5_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_351-161_0_5_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_351-161_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_351-161_0_5_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_351-161_0_5_node_37 | 0.4 | n |  | TRUE
24 | bus_LV_351-161_0_5_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_351-161_0_5_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_351-161_0_5_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_351-161_0_5_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_351-161_0_5_node_32 | 0.4 | n |  | TRUE
29 | bus_LV_351-161_0_5_node_40 | 0.4 | n |  | TRUE
30 | bus_LV_351-161_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_351-161_0_5_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_351-161_0_5_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_351-161_0_5_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_351-161_0_5_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_351-161_0_5_node_38 | 0.4 | n |  | TRUE
36 | bus_MV_598_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-161_0_5_load_0 | 0 | 0.028213 | 0.0070708 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-161_0_5_load_1 | 1 | 0.014352 | 0.0035969 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-161_0_5_load_4 | 4 | 0.016828 | 0.0042174 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-161_0_5_load_23 | 5 | 0.0049448 | 0.0012393 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-161_0_5_load_22 | 6 | 0.070757 | 0.017733 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-161_0_5_load_10 | 7 | 0.0618 | 0.015489 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-161_0_5_load_11 | 8 | 0.0066197 | 0.0016591 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-161_0_5_load_6 | 9 | 0.01312 | 0.0032883 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-161_0_5_load_7 | 10 | 0.0043158 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-161_0_5_load_8 | 11 | 0.0068193 | 0.0017091 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-161_0_5_load_25 | 15 | 0.035404 | 0.0088731 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-161_0_5_load_14 | 16 | 0.051927 | 0.013014 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-161_0_5_load_15 | 18 | 0.023189 | 0.0058117 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-161_0_5_load_37 | 23 | 0.016023 | 0.0040159 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-161_0_5_load_31 | 25 | 0.019419 | 0.004867 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-161_0_5_load_28 | 27 | 0.022827 | 0.005721 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-161_0_5_load_40 | 29 | 0.019762 | 0.0049527 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-161_0_5_load_36 | 30 | 0.011587 | 0.0029039 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-161_0_5_load_29 | 31 | 0.011132 | 0.00279 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-161_0_5_load_41 | 32 | 0.017362 | 0.0043512 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-161_0_5_load_42 | 33 | 0.019381 | 0.0048574 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-161_0_5_load_39 | 34 | 0.01945 | 0.0048746 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-161_0_5_load_38 | 35 | 0.020281 | 0.005083 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-161_0_5_line_0 |  | 0 | 1 | 0.017045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-161_0_5_line_1 |  | 0 | 2 | 0.013745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-161_0_5_line_2 |  | 1 | 3 | 0.011554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-161_0_5_line_3 |  | 2 | 4 | 0.0079255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-161_0_5_line_4 |  | 3 | 5 | 0.030128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-161_0_5_line_5 |  | 5 | 6 | 0.015464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-161_0_5_line_6 |  | 6 | 20 | 0.018242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-161_0_5_line_7 |  | 7 | 8 | 0.023292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-161_0_5_line_8 |  | 8 | 17 | 0.04178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_351-161_0_5_line_9 |  | 9 | 10 | 0.014162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-161_0_5_line_10 |  | 9 | 11 | 0.0062983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-161_0_5_line_11 |  | 10 | 12 | 0.010986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-161_0_5_line_12 |  | 12 | 13 | 0.014116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-161_0_5_line_13 |  | 13 | 16 | 0.049839 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-161_0_5_line_14 |  | 13 | 14 | 0.015084 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-161_0_5_line_15 |  | 14 | 15 | 0.047643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-161_0_5_line_16 |  | 16 | 17 | 0.030249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-161_0_5_line_17 |  | 17 | 18 | 0.01208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_351-161_0_5_line_18 |  | 17 | 19 | 0.36419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_351-161_0_5_line_19 |  | 18 | 20 | 0.013735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-161_0_5_line_20 |  | 19 | 23 | 0.012643 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_351-161_0_5_line_21 |  | 19 | 30 | 0.02916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-161_0_5_line_22 |  | 21 | 22 | 0.006263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_351-161_0_5_line_23 |  | 21 | 23 | 0.014841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_351-161_0_5_line_24 |  | 22 | 31 | 0.0089178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_351-161_0_5_line_25 |  | 24 | 25 | 0.029885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-161_0_5_line_26 |  | 24 | 26 | 0.011348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-161_0_5_line_27 |  | 24 | 27 | 0.006925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_351-161_0_5_line_28 |  | 25 | 33 | 0.016501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-161_0_5_line_29 |  | 26 | 28 | 0.023158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-161_0_5_line_30 |  | 26 | 29 | 0.016738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-161_0_5_line_31 |  | 27 | 31 | 0.015825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_351-161_0_5_line_32 |  | 28 | 32 | 0.02151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-161_0_5_line_33 |  | 29 | 34 | 0.016654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-161_0_5_line_34 |  | 34 | 35 | 0.019912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-161_0_5_trafo_11 | 0.63 MVA 20/0.4 kV | 36 | 8 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38
0 | 2600126.3185 | 1200443.3622 | 2600126.0215 | 1200447.1775 | 2600126.3869 | 1200450.0902 | 2600126.7446 | 1200452.447 | 2600126.2117 | 1200453.8811 | 2600124.4534 | 1200454.259 | 2600119.8834 | 1200454.2699
1 | 2600130.5965 | 1200430.4685 | 2600126.6229 | 1200439.4511 | 2600126.3185 | 1200443.3622
2 | 2600108.3311 | 1200454.1255 | 2600115.0982 | 1200454.2812 | 2600119.8834 | 1200454.2699
3 | 2600130.5965 | 1200430.4685 | 2600131.7993 | 1200425.6104 | 2600132.4992 | 1200422.7748
4 | 2600108.3311 | 1200454.1255 | 2600108.3892 | 1200484.2535
5 | 2600108.3892 | 1200484.2535 | 2600108.419 | 1200499.7176
6 | 2600108.0263 | 1200517.8486 | 2600108.4525 | 1200517.0816 | 2600108.419 | 1200499.7176
7 | 2600077.1698 | 1200456.3703 | 2600077.7003 | 1200463.9751 | 2600079.1328 | 1200479.5782
8 | 2600082.9525 | 1200521.1837 | 2600079.1328 | 1200479.5782
9 | 2600109.4228 | 1200584.7819 | 2600109.8146 | 1200592.2219 | 2600109.1459 | 1200598.9003
10 | 2600109.0916 | 1200578.4923 | 2600109.4228 | 1200584.7819
11 | 2600105.628 | 1200608.9531 | 2600106.6099 | 1200608.0415 | 2600108.6347 | 1200604.0061 | 2600109.1459 | 1200598.9003
12 | 2600105.628 | 1200608.9531 | 2600103.7327 | 1200607.708 | 2600101.3882 | 1200605.9182 | 2600098.0999 | 1200602.9054 | 2600095.1618 | 1200599.548
13 | 2600095.1618 | 1200599.548 | 2600092.6955 | 1200595.8572 | 2600091.4015 | 1200593.0779 | 2600090.1075 | 1200589.8206 | 2600088.8897 | 1200585.2626 | 2600088.2579 | 1200580.9825 | 2600085.6257 | 1200551.314
14 | 2600086.8421 | 1200593.7115 | 2600089.3539 | 1200599.0033 | 2600092.1246 | 1200602.8498 | 2600094.4539 | 1200600.3151 | 2600095.1618 | 1200599.548
15 | 2600086.8421 | 1200593.7115 | 2600080.6079 | 1200597.0467 | 2600077.1902 | 1200603.25 | 2600075.8658 | 1200607.1187 | 2600075.2492 | 1200609.6312 | 2600075.0894 | 1200625.0728 | 2600074.9752 | 1200628.3412 | 2600075.4722 | 1200636.4269
16 | 2600082.9525 | 1200521.1837 | 2600085.6257 | 1200551.314
17 | 2600082.9525 | 1200521.1837 | 2600094.9967 | 1200520.2566
18 | 2599952.8574 | 1200542.8632 | 2599954.1363 | 1200547.121 | 2599956.9909 | 1200555.8812 | 2599965.3869 | 1200560.5169 | 2599979.0346 | 1200532.7239 | 2599979.8871 | 1200530.9896 | 2599988.9605 | 1200527.81 | 2600015.5865 | 1200476.9157 | 2600021.0518 | 1200466.7324 | 2600024.9795 | 1200457.5274 | 2600029.2193 | 1200445.8211 | 2600031.5714 | 1200436.9385 | 2600034.2737 | 1200437.839 | 2600033.4516 | 1200440.8406 | 2600032.3022 | 1200448.0445 | 2600032.1196 | 1200457.9387 | 2600032.8885 | 1200467.5327 | 2600033.9086 | 1200476.5376 | 2600034.0456 | 1200481.1067 | 2600033.49 | 1200496.9819 | 2600033.3226 | 1200501.6733 | 2600041.1249 | 1200501.7622 | 2600041.3988 | 1200493.8802 | 2600047.633 | 1200493.9246 | 2600048.7748 | 1200494.7695 | 2600058.9673 | 1200519.6162 | 2600059.5306 | 1200519.9052 | 2600060.1548 | 1200519.7607 | 2600060.8703 | 1200518.8713 | 2600061.6543 | 1200515.3917 | 2600066.1606 | 1200506.5202 | 2600069.5175 | 1200500.5948 | 2600070.1264 | 1200499.1941 | 2600070.8267 | 1200496.2703 | 2600071.1769 | 1200491.7901 | 2600071.5727 | 1200486.5984 | 2600075.5233 | 1200486.2871 | 2600078.7355 | 1200521.5616 | 2600082.9525 | 1200521.1837
19 | 2600108.0263 | 1200517.8486 | 2600107.463 | 1200518.8603 | 2600105.1946 | 1200519.4717 | 2600094.9967 | 1200520.2566
20 | 2599952.8574 | 1200542.8632 | 2599953.4968 | 1200542.6742 | 2599954.5701 | 1200542.0405 | 2599955.3998 | 1200541.1177 | 2599959.4041 | 1200532.5155
21 | 2599952.8574 | 1200542.8632 | 2599952.2865 | 1200542.941 | 2599951.0458 | 1200542.8299 | 2599949.904 | 1200542.3518 | 2599929.3547 | 1200526.26
22 | 2599965.6678 | 1200519.0612 | 2599968.3091 | 1200513.3804
23 | 2599965.6678 | 1200519.0612 | 2599963.8867 | 1200522.8856 | 2599959.4041 | 1200532.5155
24 | 2599968.3091 | 1200513.3804 | 2599971.9937 | 1200505.2594
25 | 2599981.3936 | 1200484.5424 | 2599981.4164 | 1200483.0305 | 2599981.0129 | 1200481.5631 | 2599980.2212 | 1200480.2735 | 2599979.0947 | 1200479.2507 | 2599958.1293 | 1200467.9508
26 | 2599981.3936 | 1200484.5424 | 2599982.4897 | 1200482.4191 | 2599984.758 | 1200478.0278 | 2599985.9226 | 1200475.7821 | 2599986.6 | 1200474.4592
27 | 2599981.3936 | 1200484.5424 | 2599978.5322 | 1200490.8487
28 | 2599958.1293 | 1200467.9508 | 2599943.6038 | 1200460.1219
29 | 2599966.0398 | 1200464.0428 | 2599968.3767 | 1200465.299 | 2599970.2189 | 1200466.2884 | 2599985.0624 | 1200474.2368 | 2599985.816 | 1200474.4814 | 2599986.6 | 1200474.4592
30 | 2599986.6 | 1200474.4592 | 2599987.3384 | 1200474.1923 | 2599987.9473 | 1200473.7032 | 2599988.64 | 1200471.6688 | 2599989.6904 | 1200467.4109 | 2599990.989 | 1200458.8715
31 | 2599978.5322 | 1200490.8487 | 2599971.9937 | 1200505.2594
32 | 2599966.0398 | 1200464.0428 | 2599968.9601 | 1200442.7319
33 | 2599993.4323 | 1200442.3977 | 2599991.5552 | 1200455.1487 | 2599990.989 | 1200458.8715
34 | 2599994.1786 | 1200422.7109 | 2599994.5615 | 1200423.943 | 2599995.0715 | 1200427.1003 | 2599995.1705 | 1200429.9463 | 2599994.965 | 1200432.1919 | 2599994.5845 | 1200434.571 | 2599993.4323 | 1200442.3977

## bus_geodata
| x | y | coords
0 | 2600126.3185 | 1200443.3622
1 | 2600119.8834 | 1200454.2699
2 | 2600130.5965 | 1200430.4685
3 | 2600108.3311 | 1200454.1255
4 | 2600132.4992 | 1200422.7748
5 | 2600108.3892 | 1200484.2535
6 | 2600108.419 | 1200499.7176
7 | 2600077.1698 | 1200456.3703
8 | 2600079.1328 | 1200479.5782
9 | 2600109.4228 | 1200584.7819
10 | 2600109.1459 | 1200598.9003
11 | 2600109.0916 | 1200578.4923
12 | 2600105.628 | 1200608.9531
13 | 2600095.1618 | 1200599.548
14 | 2600086.8421 | 1200593.7115
15 | 2600075.4722 | 1200636.4269
16 | 2600085.6257 | 1200551.314
17 | 2600082.9525 | 1200521.1837
18 | 2600094.9967 | 1200520.2566
19 | 2599952.8574 | 1200542.8632
20 | 2600108.0263 | 1200517.8486
21 | 2599965.6678 | 1200519.0612
22 | 2599968.3091 | 1200513.3804
23 | 2599959.4041 | 1200532.5155
24 | 2599981.3936 | 1200484.5424
25 | 2599958.1293 | 1200467.9508
26 | 2599986.6 | 1200474.4592
27 | 2599978.5322 | 1200490.8487
28 | 2599966.0398 | 1200464.0428
29 | 2599990.989 | 1200458.8715
30 | 2599929.3547 | 1200526.26
31 | 2599971.9937 | 1200505.2594
32 | 2599968.9601 | 1200442.7319
33 | 2599943.6038 | 1200460.1219
34 | 2599993.4323 | 1200442.3977
35 | 2599994.1786 | 1200422.7109
36 | 2600082.9525 | 1200521.1837

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1