## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-170_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-170_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-170_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-170_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_351-170_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_351-170_0_4_node_94 | 0.4 | n |  | TRUE
6 | bus_LV_351-170_0_4_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_351-170_0_4_node_24 | 0.4 | n |  | TRUE
8 | bus_LV_351-170_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_351-170_0_4_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_351-170_0_4_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_351-170_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_351-170_0_4_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_351-170_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_351-170_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_351-170_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_351-170_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_351-170_0_4_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_351-170_0_4_node_32 | 0.4 | n |  | TRUE
19 | bus_LV_351-170_0_4_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_351-170_0_4_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_351-170_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_351-170_0_4_node_43 | 0.4 | n |  | TRUE
23 | bus_LV_351-170_0_4_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_351-170_0_4_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_351-170_0_4_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_351-170_0_4_node_97 | 0.4 | n |  | TRUE
27 | bus_LV_351-170_0_4_node_96 | 0.4 | n |  | TRUE
28 | bus_LV_351-170_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_351-170_0_4_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_351-170_0_4_node_35 | 0.4 | n |  | TRUE
31 | bus_LV_351-170_0_4_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_351-170_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_351-170_0_4_node_47 | 0.4 | n |  | TRUE
34 | bus_LV_351-170_0_4_node_92 | 0.4 | n |  | TRUE
35 | bus_LV_351-170_0_4_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_351-170_0_4_node_50 | 0.4 | n |  | TRUE
37 | bus_LV_351-170_0_4_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_351-170_0_4_node_31 | 0.4 | n |  | TRUE
39 | bus_LV_351-170_0_4_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_351-170_0_4_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_351-170_0_4_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_351-170_0_4_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_351-170_0_4_node_46 | 0.4 | n |  | TRUE
44 | bus_LV_351-170_0_4_node_98 | 0.4 | n |  | TRUE
45 | bus_LV_351-170_0_4_node_68 | 0.4 | n |  | TRUE
46 | bus_LV_351-170_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_351-170_0_4_node_91 | 0.4 | n |  | TRUE
48 | bus_LV_351-170_0_4_node_22 | 0.4 | n |  | TRUE
49 | bus_LV_351-170_0_4_node_74 | 0.4 | n |  | TRUE
50 | bus_LV_351-170_0_4_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_351-170_0_4_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_351-170_0_4_node_28 | 0.4 | n |  | TRUE
53 | bus_LV_351-170_0_4_node_38 | 0.4 | n |  | TRUE
54 | bus_LV_351-170_0_4_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_351-170_0_4_node_59 | 0.4 | n |  | TRUE
56 | bus_LV_351-170_0_4_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_351-170_0_4_node_64 | 0.4 | n |  | TRUE
58 | bus_LV_351-170_0_4_node_60 | 0.4 | n |  | TRUE
59 | bus_LV_351-170_0_4_node_58 | 0.4 | n |  | TRUE
60 | bus_LV_351-170_0_4_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_351-170_0_4_node_48 | 0.4 | n |  | TRUE
62 | bus_LV_351-170_0_4_node_93 | 0.4 | n |  | TRUE
63 | bus_LV_351-170_0_4_node_51 | 0.4 | n |  | TRUE
64 | bus_LV_351-170_0_4_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_351-170_0_4_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_351-170_0_4_node_55 | 0.4 | n |  | TRUE
67 | bus_LV_351-170_0_4_node_56 | 0.4 | n |  | TRUE
68 | bus_LV_351-170_0_4_node_61 | 0.4 | n |  | TRUE
69 | bus_LV_351-170_0_4_node_62 | 0.4 | n |  | TRUE
70 | bus_LV_351-170_0_4_node_99 | 0.4 | n |  | TRUE
71 | bus_LV_351-170_0_4_node_63 | 0.4 | n |  | TRUE
72 | bus_LV_351-170_0_4_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_351-170_0_4_node_100 | 0.4 | n |  | TRUE
74 | bus_LV_351-170_0_4_node_101 | 0.4 | n |  | TRUE
75 | bus_LV_351-170_0_4_node_65 | 0.4 | n |  | TRUE
76 | bus_LV_351-170_0_4_node_67 | 0.4 | n |  | TRUE
77 | bus_LV_351-170_0_4_node_69 | 0.4 | n |  | TRUE
78 | bus_LV_351-170_0_4_node_70 | 0.4 | n |  | TRUE
79 | bus_LV_351-170_0_4_node_95 | 0.4 | n |  | TRUE
80 | bus_LV_351-170_0_4_node_71 | 0.4 | n |  | TRUE
81 | bus_LV_351-170_0_4_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_351-170_0_4_node_72 | 0.4 | n |  | TRUE
83 | bus_LV_351-170_0_4_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_351-170_0_4_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_351-170_0_4_node_80 | 0.4 | n |  | TRUE
86 | bus_LV_351-170_0_4_node_79 | 0.4 | n |  | TRUE
87 | bus_LV_351-170_0_4_node_81 | 0.4 | n |  | TRUE
88 | bus_LV_351-170_0_4_node_82 | 0.4 | n |  | TRUE
89 | bus_LV_351-170_0_4_node_83 | 0.4 | n |  | TRUE
90 | bus_LV_351-170_0_4_node_84 | 0.4 | n |  | TRUE
91 | bus_LV_351-170_0_4_node_85 | 0.4 | n |  | TRUE
92 | bus_LV_351-170_0_4_node_86 | 0.4 | n |  | TRUE
93 | bus_LV_351-170_0_4_node_87 | 0.4 | n |  | TRUE
94 | bus_LV_351-170_0_4_node_88 | 0.4 | n |  | TRUE
95 | bus_LV_351-170_0_4_node_89 | 0.4 | n |  | TRUE
96 | bus_LV_351-170_0_4_node_90 | 0.4 | n |  | TRUE
97 | bus_MV_592_0_node_172 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-170_0_4_load_0 | 0 | 0.0057886 | 0.0014508 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-170_0_4_load_1 | 1 | 0.0060905 | 0.0015264 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-170_0_4_load_94 | 5 | 0.0025321 | 0.0006346 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-170_0_4_load_25 | 6 | 0.0079406 | 0.0019901 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-170_0_4_load_24 | 7 | 0.0071276 | 0.0017863 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-170_0_4_load_44 | 10 | 0.0065301 | 0.0016366 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-170_0_4_load_49 | 12 | 0.010121 | 0.0025366 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-170_0_4_load_20 | 15 | 0.0037103 | 0.00092989 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-170_0_4_load_32 | 18 | 0.0014119 | 0.00035385 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-170_0_4_load_37 | 20 | 0.01395 | 0.0034962 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-170_0_4_load_43 | 22 | 0.0072078 | 0.0018064 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-170_0_4_load_42 | 23 | 0.0067673 | 0.001696 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-170_0_4_load_45 | 24 | 0.0038184 | 0.00095699 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-170_0_4_load_97 | 26 | 0.012373 | 0.0031008 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-170_0_4_load_35 | 30 | 0.0055651 | 0.0013947 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-170_0_4_load_30 | 31 | 0.0053724 | 0.0013465 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-170_0_4_load_27 | 32 | 0.004569 | 0.0011451 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-170_0_4_load_47 | 33 | 0.0029346 | 0.00073549 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-170_0_4_load_92 | 34 | 0.0066234 | 0.00166 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-170_0_4_load_23 | 35 | 0.0078816 | 0.0019753 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-170_0_4_load_50 | 36 | 0.0096758 | 0.002425 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-170_0_4_load_21 | 37 | 0.0096415 | 0.0024164 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-170_0_4_load_31 | 38 | 0.0050908 | 0.0012759 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-170_0_4_load_33 | 39 | 0.005422 | 0.0013589 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-170_0_4_load_40 | 40 | 0.011805 | 0.0029586 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-170_0_4_load_41 | 41 | 0.0098591 | 0.0024709 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-170_0_4_load_36 | 42 | 0.0043671 | 0.0010945 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-170_0_4_load_98 | 44 | 0.0054183 | 0.0013579 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-170_0_4_load_91 | 47 | 0.0020109 | 0.00050397 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-170_0_4_load_22 | 48 | 0.0060688 | 0.001521 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-170_0_4_load_74 | 49 | 0.012335 | 0.0030915 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-170_0_4_load_76 | 50 | 0.023271 | 0.0058323 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-170_0_4_load_73 | 51 | 0.0051793 | 0.0012981 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-170_0_4_load_28 | 52 | 0.0035087 | 0.00087937 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-170_0_4_load_38 | 53 | 0.0072645 | 0.0018206 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-170_0_4_load_64 | 57 | 0.010408 | 0.0026084 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-170_0_4_load_60 | 58 | 0.01551 | 0.0038872 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-170_0_4_load_58 | 59 | 0.019294 | 0.0048356 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-170_0_4_load_54 | 60 | 0.0027107 | 0.00067937 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-170_0_4_load_48 | 61 | 0.0050474 | 0.001265 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-170_0_4_load_93 | 62 | 0.0040613 | 0.0010179 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-170_0_4_load_51 | 63 | 0.0088999 | 0.0022305 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-170_0_4_load_52 | 64 | 0.0084899 | 0.0021278 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-170_0_4_load_53 | 65 | 0.0085942 | 0.0021539 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-170_0_4_load_55 | 66 | 0.0052421 | 0.0013138 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-170_0_4_load_56 | 67 | 0.0057986 | 0.0014533 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-170_0_4_load_99 | 70 | 0.015781 | 0.0039551 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-170_0_4_load_100 | 73 | 0.012433 | 0.0031161 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-170_0_4_load_101 | 74 | 0.010785 | 0.0027031 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-170_0_4_load_65 | 75 | 0.0083507 | 0.0020929 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-170_0_4_load_69 | 77 | 0.0083476 | 0.0020921 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-170_0_4_load_70 | 78 | 0.0051904 | 0.0013008 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-170_0_4_load_95 | 79 | 0.0053729 | 0.0013466 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-170_0_4_load_71 | 80 | 0.001846 | 0.00046266 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-170_0_4_load_75 | 81 | 0.0051776 | 0.0012976 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-170_0_4_load_72 | 82 | 0.0085418 | 0.0021408 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-170_0_4_load_77 | 83 | 0.0053603 | 0.0013434 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-170_0_4_load_78 | 84 | 0.0030246 | 0.00075804 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-170_0_4_load_80 | 85 | 0.0026203 | 0.0006567 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-170_0_4_load_79 | 86 | 0.014946 | 0.0037458 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-170_0_4_load_81 | 87 | 0.017194 | 0.0043092 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-170_0_4_load_82 | 88 | 0.0048684 | 0.0012201 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-170_0_4_load_83 | 89 | 0.0074624 | 0.0018702 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-170_0_4_load_84 | 90 | 0.015197 | 0.0038087 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-170_0_4_load_85 | 91 | 0.0053876 | 0.0013503 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-170_0_4_load_86 | 92 | 0.014068 | 0.0035257 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_351-170_0_4_load_87 | 93 | 0.0037561 | 0.00094138 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_351-170_0_4_load_88 | 94 | 0.006592 | 0.0016521 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_351-170_0_4_load_89 | 95 | 0.0089334 | 0.0022389 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_351-170_0_4_load_90 | 96 | 0.0022164 | 0.00055548 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-170_0_4_line_0 |  | 0 | 1 | 0.024038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-170_0_4_line_1 |  | 0 | 2 | 0.012654 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-170_0_4_line_2 |  | 2 | 3 | 0.007129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-170_0_4_line_3 |  | 3 | 4 | 0.01003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-170_0_4_line_4 |  | 3 | 5 | 0.0090917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-170_0_4_line_5 |  | 4 | 6 | 0.019297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-170_0_4_line_6 |  | 4 | 7 | 0.003399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-170_0_4_line_7 |  | 7 | 35 | 0.024215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-170_0_4_line_8 |  | 8 | 9 | 0.010122 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-170_0_4_line_9 |  | 8 | 10 | 0.020222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-170_0_4_line_10 |  | 9 | 11 | 0.017001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-170_0_4_line_11 |  | 9 | 12 | 0.026724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-170_0_4_line_12 |  | 10 | 22 | 0.033317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-170_0_4_line_13 |  | 11 | 24 | 0.00097372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-170_0_4_line_14 |  | 12 | 36 | 0.02901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-170_0_4_line_15 |  | 13 | 14 | 0.018052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
16 | LV_351-170_0_4_line_16 |  | 13 | 15 | 0.060112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-170_0_4_line_17 |  | 14 | 33 | 0.0038991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-170_0_4_line_18 |  | 14 | 34 | 0.019123 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_351-170_0_4_line_19 |  | 15 | 37 | 0.031589 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-170_0_4_line_20 |  | 16 | 17 | 0.021048 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-170_0_4_line_21 |  | 16 | 18 | 0.017056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-170_0_4_line_22 |  | 17 | 38 | 0.02301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-170_0_4_line_23 |  | 17 | 19 | 0.024712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-170_0_4_line_24 |  | 18 | 39 | 0.019301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-170_0_4_line_25 |  | 19 | 20 | 0.016446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-170_0_4_line_26 |  | 20 | 42 | 0.0010759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-170_0_4_line_27 |  | 21 | 22 | 0.016733 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-170_0_4_line_28 |  | 21 | 23 | 0.042886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-170_0_4_line_29 |  | 23 | 41 | 0.029766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-170_0_4_line_30 |  | 24 | 43 | 0.029271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-170_0_4_line_31 |  | 25 | 26 | 0.015793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-170_0_4_line_32 |  | 25 | 27 | 0.00939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-170_0_4_line_33 |  | 25 | 28 | 0.13046 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-170_0_4_line_34 |  | 27 | 44 | 0.008074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-170_0_4_line_35 |  | 27 | 45 | 0.018099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-170_0_4_line_36 |  | 28 | 32 | 0.11804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-170_0_4_line_37 |  | 29 | 30 | 0.025388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-170_0_4_line_38 |  | 29 | 31 | 0.017757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-170_0_4_line_39 |  | 31 | 46 | 0.012751 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-170_0_4_line_40 |  | 34 | 47 | 0.005924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_351-170_0_4_line_41 |  | 35 | 48 | 0.021802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-170_0_4_line_42 |  | 36 | 63 | 0.029665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-170_0_4_line_43 |  | 36 | 64 | 0.029946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-170_0_4_line_44 |  | 37 | 48 | 0.036923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-170_0_4_line_45 |  | 38 | 46 | 0.019826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-170_0_4_line_46 |  | 40 | 41 | 0.024323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-170_0_4_line_47 |  | 42 | 53 | 0.031441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-170_0_4_line_48 |  | 43 | 61 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-170_0_4_line_49 |  | 45 | 79 | 0.024539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-170_0_4_line_50 |  | 45 | 72 | 0.018785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-170_0_4_line_51 |  | 46 | 52 | 0.032666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-170_0_4_line_52 |  | 47 | 96 | 0.019095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_351-170_0_4_line_53 |  | 49 | 50 | 0.026692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_351-170_0_4_line_54 |  | 49 | 51 | 0.023214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
55 | LV_351-170_0_4_line_55 |  | 50 | 83 | 0.011686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
56 | LV_351-170_0_4_line_56 |  | 51 | 82 | 0.0034245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_351-170_0_4_line_57 |  | 53 | 54 | 0.029198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-170_0_4_line_58 |  | 54 | 55 | 0.023706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_351-170_0_4_line_59 |  | 54 | 56 | 0.012786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_351-170_0_4_line_60 |  | 55 | 57 | 0.023506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-170_0_4_line_61 |  | 55 | 58 | 0.0038077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_351-170_0_4_line_62 |  | 56 | 59 | 0.009719 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
63 | LV_351-170_0_4_line_63 |  | 56 | 60 | 0.024914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-170_0_4_line_64 |  | 58 | 68 | 0.027325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_351-170_0_4_line_65 |  | 60 | 65 | 0.0039824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-170_0_4_line_66 |  | 61 | 62 | 0.0046639 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-170_0_4_line_67 |  | 63 | 65 | 0.013471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-170_0_4_line_68 |  | 64 | 66 | 0.00083185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-170_0_4_line_69 |  | 66 | 67 | 0.0021017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-170_0_4_line_70 |  | 68 | 69 | 0.011406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
71 | LV_351-170_0_4_line_71 |  | 69 | 70 | 0.007763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-170_0_4_line_72 |  | 69 | 71 | 0.034501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-170_0_4_line_73 |  | 69 | 72 | 0.029104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_351-170_0_4_line_74 |  | 71 | 73 | 0.012229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-170_0_4_line_75 |  | 71 | 74 | 0.01091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-170_0_4_line_76 |  | 72 | 75 | 0.014849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
77 | LV_351-170_0_4_line_77 |  | 75 | 76 | 0.021002 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
78 | LV_351-170_0_4_line_78 |  | 76 | 77 | 0.0079859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_351-170_0_4_line_79 |  | 76 | 78 | 0.013615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-170_0_4_line_80 |  | 77 | 80 | 0.014106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_351-170_0_4_line_81 |  | 78 | 81 | 0.01988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-170_0_4_line_82 |  | 80 | 82 | 0.012523 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_351-170_0_4_line_83 |  | 83 | 84 | 0.011516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_351-170_0_4_line_84 |  | 84 | 85 | 0.0094775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
85 | LV_351-170_0_4_line_85 |  | 85 | 86 | 0.014382 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_351-170_0_4_line_86 |  | 86 | 87 | 0.0009994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_351-170_0_4_line_87 |  | 87 | 88 | 0.021421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
88 | LV_351-170_0_4_line_88 |  | 88 | 89 | 0.01275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_351-170_0_4_line_89 |  | 89 | 90 | 0.01153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_351-170_0_4_line_90 |  | 90 | 91 | 0.017072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_351-170_0_4_line_91 |  | 91 | 92 | 0.0017473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_351-170_0_4_line_92 |  | 92 | 93 | 0.012377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
93 | LV_351-170_0_4_line_93 |  | 93 | 94 | 0.021262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
94 | LV_351-170_0_4_line_94 |  | 94 | 95 | 0.0031766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
95 | LV_351-170_0_4_line_95 |  | 95 | 96 | 0.0089295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-170_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 97 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2602212.1985 | 1198142.0029 | 2602228.0616 | 1198123.9417
1 | 2602203.9199 | 1198151.5729 | 2602208.7421 | 1198145.9383 | 2602212.1985 | 1198142.0029
2 | 2602203.9199 | 1198151.5729 | 2602199.2804 | 1198156.9964
3 | 2602199.2804 | 1198156.9964 | 2602203.1096 | 1198160.2884 | 2602206.8854 | 1198163.5359
4 | 2602199.2804 | 1198156.9964 | 2602193.2722 | 1198163.8198
5 | 2602206.8854 | 1198163.5359 | 2602193.8748 | 1198177.7872
6 | 2602206.8854 | 1198163.5359 | 2602209.163 | 1198161.0128
7 | 2602225.3891 | 1198143.0379 | 2602209.163 | 1198161.0128
8 | 2602419.5154 | 1198149.1969 | 2602423.4206 | 1198152.4335 | 2602427.3182 | 1198155.6701
9 | 2602427.3182 | 1198155.6701 | 2602442.8849 | 1198168.5785
10 | 2602419.5154 | 1198149.1969 | 2602416.8207 | 1198146.8835 | 2602417.9712 | 1198145.1608 | 2602418.2077 | 1198143.9603 | 2602418.3532 | 1198142.0593 | 2602418.1712 | 1198139.9248 | 2602417.5397 | 1198138.735 | 2602413.9923 | 1198135.543
11 | 2602419.5154 | 1198149.1969 | 2602406.1449 | 1198165.3781 | 2602402.4953 | 1198169.7996
12 | 2602468.5314 | 1198189.8457 | 2602442.8849 | 1198168.5785
13 | 2602413.2688 | 1198134.8914 | 2602413.9923 | 1198135.543
14 | 2602384.0283 | 1198192.1727 | 2602402.4953 | 1198169.7996
15 | 2602338.0368 | 1198085.198 | 2602346.4115 | 1198090.1482 | 2602347.142 | 1198091.5826 | 2602347.2708 | 1198093.139 | 2602351.4122 | 1198096.2534
16 | 2602338.0368 | 1198085.198 | 2602304.2481 | 1198066.9311 | 2602300.9891 | 1198066.2406 | 2602298.24 | 1198066.5064 | 2602296.176 | 1198067.2171 | 2602286.8965 | 1198076.9189
17 | 2602351.4122 | 1198096.2534 | 2602354.5259 | 1198098.6003
18 | 2602351.4122 | 1198096.2534 | 2602338.5506 | 1198110.4048
19 | 2602286.8965 | 1198076.9189 | 2602265.0623 | 1198099.7466
20 | 2602375.3181 | 1198327.0969 | 2602385.1947 | 1198326.4337 | 2602390.6773 | 1198326.4692 | 2602396.4035 | 1198326.5937
21 | 2602396.4035 | 1198326.5937 | 2602396.2333 | 1198333.5084 | 2602396.5504 | 1198340.4122 | 2602395.9659 | 1198343.587
22 | 2602375.3181 | 1198327.0969 | 2602369.6979 | 1198328.4177 | 2602364.0015 | 1198330.0608 | 2602354.1368 | 1198335.5882
23 | 2602375.3181 | 1198327.0969 | 2602376.3931 | 1198323.6399 | 2602379.7304 | 1198318.3828 | 2602385.2307 | 1198312.1816 | 2602389.9841 | 1198307.6033
24 | 2602391.638 | 1198362.3887 | 2602394.948 | 1198349.1163 | 2602395.9659 | 1198343.587
25 | 2602389.9841 | 1198307.6033 | 2602385.8735 | 1198304.0331 | 2602377.4142 | 1198296.9994
26 | 2602376.5869 | 1198296.3115 | 2602377.4142 | 1198296.9994
27 | 2602481.412 | 1198200.5267 | 2602468.5314 | 1198189.8457
28 | 2602481.412 | 1198200.5267 | 2602454.1319 | 1198233.618
29 | 2602435.1979 | 1198256.5852 | 2602454.1319 | 1198233.618
30 | 2602390.9037 | 1198116.0347 | 2602392.9364 | 1198117.4029 | 2602409.2499 | 1198131.2722 | 2602413.2688 | 1198134.8914
31 | 2602252.048 | 1198376.5326 | 2602246.7196 | 1198371.4613 | 2602245.3036 | 1198370.4491 | 2602239.6853 | 1198366.7562
32 | 2602245.6046 | 1198359.4545 | 2602239.6853 | 1198366.7562
33 | 2602239.6853 | 1198366.7562 | 2602228.8449 | 1198379.8815 | 2602216.8768 | 1198395.152 | 2602223.6517 | 1198401.1688 | 2602230.5253 | 1198407.7414 | 2602235.587 | 1198413.4019 | 2602243.3047 | 1198422.8986 | 2602250.8244 | 1198432.8178 | 2602256.6617 | 1198441.191 | 2602257.0726 | 1198441.8471 | 2602262.1562 | 1198449.931 | 2602266.1664 | 1198457.2809 | 2602269.4687 | 1198463.8189 | 2602272.2457 | 1198470.2011
34 | 2602239.1567 | 1198354.5717 | 2602245.6046 | 1198359.4545
35 | 2602257.2221 | 1198345.5513 | 2602251.8971 | 1198351.886 | 2602245.6046 | 1198359.4545
36 | 2602272.2457 | 1198470.2011 | 2602304.9127 | 1198448.3238 | 2602350.6727 | 1198417.6691 | 2602355.1587 | 1198415.1806 | 2602360.1167 | 1198413.0258 | 2602365.4397 | 1198411.8161 | 2602370.2143 | 1198411.2843 | 2602373.0565 | 1198411.2236
37 | 2602311.2119 | 1198361.8689 | 2602314.1876 | 1198366.2946 | 2602313.866 | 1198370.8636 | 2602314.8242 | 1198374.1546 | 2602315.6764 | 1198375.9558 | 2602316.1015 | 1198379.4579 | 2602319.4042 | 1198385.0955
38 | 2602311.2119 | 1198361.8689 | 2602326.3041 | 1198352.5119
39 | 2602337.1612 | 1198345.8256 | 2602331.7307 | 1198349.1476 | 2602326.3041 | 1198352.5119
40 | 2602334.5662 | 1198114.7886 | 2602337.09 | 1198112.0119 | 2602338.5506 | 1198110.4048
41 | 2602239.998 | 1198126.8545 | 2602225.3891 | 1198143.0379
42 | 2602384.0283 | 1198192.1727 | 2602365.1409 | 1198215.0477
43 | 2602384.0283 | 1198192.1727 | 2602395.1424 | 1198201.5598 | 2602401.582 | 1198208.4215 | 2602406.2741 | 1198212.1423
44 | 2602265.0623 | 1198099.7466 | 2602254.4981 | 1198110.7916 | 2602239.998 | 1198126.8545
45 | 2602337.1612 | 1198345.8256 | 2602347.2074 | 1198339.5817 | 2602354.1078 | 1198335.6044 | 2602354.1368 | 1198335.5882
46 | 2602419.726 | 1198275.3529 | 2602435.1979 | 1198256.5852
47 | 2602376.5869 | 1198296.3115 | 2602352.4113 | 1198276.2099
48 | 2602390.9037 | 1198116.0347 | 2602381.3813 | 1198126.7316
49 | 2602257.2221 | 1198345.5513 | 2602266.0218 | 1198353.5032 | 2602266.7753 | 1198354.3595 | 2602267.2851 | 1198355.3713 | 2602267.9777 | 1198356.3721 | 2602272.3625 | 1198359.7755 | 2602273.1999 | 1198360.4206 | 2602274.0982 | 1198361.1213 | 2602275.0047 | 1198359.9544
50 | 2602269.2054 | 1198331.059 | 2602257.2221 | 1198345.5513
51 | 2602337.1612 | 1198345.8256 | 2602339.6573 | 1198349.8398 | 2602340.2963 | 1198351.541 | 2602337.3098 | 1198355.5753 | 2602336.4556 | 1198359.1881 | 2602337.5205 | 1198362.2679 | 2602340.3969 | 1198367.2605 | 2602343.591 | 1198374.9965
52 | 2602321.7229 | 1198128.9186 | 2602334.5662 | 1198114.7886
53 | 2602197.277 | 1198265.8315 | 2602209.8845 | 1198251.962 | 2602215.2309 | 1198246.0799
54 | 2602197.277 | 1198265.8315 | 2602214.5865 | 1198281.2999
55 | 2602215.2309 | 1198246.0799 | 2602223.0908 | 1198237.4325
56 | 2602217.14 | 1198283.5818 | 2602214.5865 | 1198281.2999
57 | 2602329.9606 | 1198257.5424 | 2602352.4113 | 1198276.2099
58 | 2602329.9606 | 1198257.5424 | 2602314.9525 | 1198275.9244
59 | 2602329.9606 | 1198257.5424 | 2602338.1655 | 1198247.7181
60 | 2602314.9525 | 1198275.9244 | 2602323.1055 | 1198282.3976 | 2602326.386 | 1198286.2675 | 2602329.5451 | 1198289.2259 | 2602333.055 | 1198290.4945
61 | 2602314.9525 | 1198275.9244 | 2602312.5132 | 1198278.8481
62 | 2602330.6292 | 1198241.5564 | 2602338.1655 | 1198247.7181
63 | 2602338.1655 | 1198247.7181 | 2602354.0284 | 1198228.5062
64 | 2602295.0081 | 1198299.8297 | 2602312.5132 | 1198278.8481
65 | 2602354.0284 | 1198228.5062 | 2602356.564 | 1198225.4353
66 | 2602378.2802 | 1198130.2152 | 2602381.3813 | 1198126.7316
67 | 2602365.1409 | 1198215.0477 | 2602356.564 | 1198225.4353
68 | 2602406.9259 | 1198212.6592 | 2602406.2741 | 1198212.1423
69 | 2602408.2059 | 1198210.9921 | 2602406.9259 | 1198212.6592
70 | 2602287.7403 | 1198308.6206 | 2602288.5174 | 1198307.6759 | 2602291.2828 | 1198304.3418 | 2602295.0081 | 1198299.8297
71 | 2602281.6351 | 1198303.8046 | 2602284.2538 | 1198305.8734 | 2602287.7403 | 1198308.6206
72 | 2602287.7403 | 1198308.6206 | 2602288.5174 | 1198307.6759 | 2602291.2828 | 1198304.3418 | 2602314.4099 | 1198321.7486
73 | 2602269.2054 | 1198331.059 | 2602280.3202 | 1198317.6115 | 2602283.916 | 1198313.255 | 2602287.7403 | 1198308.6206
74 | 2602314.4099 | 1198321.7486 | 2602306.1597 | 1198330.7948
75 | 2602314.4099 | 1198321.7486 | 2602319.1399 | 1198318.4153 | 2602322.2939 | 1198314.3588
76 | 2602269.2054 | 1198331.059 | 2602261.6998 | 1198324.1637 | 2602258.2973 | 1198320.9849
77 | 2602242.9511 | 1198306.6475 | 2602258.2973 | 1198320.9849
78 | 2602242.9511 | 1198306.6475 | 2602236.9964 | 1198301.3262
79 | 2602242.9511 | 1198306.6475 | 2602252.3672 | 1198296.8135
80 | 2602236.9964 | 1198301.3262 | 2602226.4779 | 1198291.9265
81 | 2602266.1164 | 1198282.4542 | 2602252.3672 | 1198296.8135
82 | 2602226.4779 | 1198291.9265 | 2602217.14 | 1198283.5818
83 | 2602223.0908 | 1198237.4325 | 2602230.8364 | 1198228.9109
84 | 2602237.211 | 1198221.8976 | 2602230.8364 | 1198228.9109
85 | 2602246.8848 | 1198211.2546 | 2602237.211 | 1198221.8976
86 | 2602246.8848 | 1198211.2546 | 2602247.557 | 1198210.5151
87 | 2602247.557 | 1198210.5151 | 2602261.9647 | 1198194.6639
88 | 2602261.9647 | 1198194.6639 | 2602270.5408 | 1198185.2286
89 | 2602270.5408 | 1198185.2286 | 2602278.2963 | 1198176.6961
90 | 2602278.2963 | 1198176.6961 | 2602289.7789 | 1198164.0631
91 | 2602289.7789 | 1198164.0631 | 2602290.9542 | 1198162.77
92 | 2602290.9542 | 1198162.77 | 2602299.2791 | 1198153.611
93 | 2602313.5803 | 1198137.877 | 2602299.2791 | 1198153.611
94 | 2602313.5803 | 1198137.877 | 2602315.7169 | 1198135.5264
95 | 2602321.7229 | 1198128.9186 | 2602315.7169 | 1198135.5264

## bus_geodata
| x | y | coords
0 | 2602212.1985 | 1198142.0029
1 | 2602228.0616 | 1198123.9417
2 | 2602203.9199 | 1198151.5729
3 | 2602199.2804 | 1198156.9964
4 | 2602206.8854 | 1198163.5359
5 | 2602193.2722 | 1198163.8198
6 | 2602193.8748 | 1198177.7872
7 | 2602209.163 | 1198161.0128
8 | 2602427.3182 | 1198155.6701
9 | 2602419.5154 | 1198149.1969
10 | 2602442.8848 | 1198168.5785
11 | 2602413.9923 | 1198135.543
12 | 2602402.4953 | 1198169.7996
13 | 2602338.0368 | 1198085.198
14 | 2602351.4122 | 1198096.2534
15 | 2602286.8965 | 1198076.9189
16 | 2602396.4035 | 1198326.5937
17 | 2602375.3181 | 1198327.0969
18 | 2602395.9659 | 1198343.587
19 | 2602389.9841 | 1198307.6033
20 | 2602377.4142 | 1198296.9994
21 | 2602481.412 | 1198200.5267
22 | 2602468.5314 | 1198189.8457
23 | 2602454.1319 | 1198233.618
24 | 2602413.2688 | 1198134.8914
25 | 2602239.6853 | 1198366.7562
26 | 2602252.048 | 1198376.5326
27 | 2602245.6046 | 1198359.4545
28 | 2602272.2457 | 1198470.2011
29 | 2602311.2119 | 1198361.8689
30 | 2602319.4042 | 1198385.0955
31 | 2602326.3041 | 1198352.5119
32 | 2602373.0565 | 1198411.2236
33 | 2602354.5259 | 1198098.6003
34 | 2602338.5506 | 1198110.4048
35 | 2602225.3891 | 1198143.0379
36 | 2602384.0283 | 1198192.1727
37 | 2602265.0623 | 1198099.7466
38 | 2602354.1368 | 1198335.5882
39 | 2602391.638 | 1198362.3887
40 | 2602419.726 | 1198275.3529
41 | 2602435.1979 | 1198256.5852
42 | 2602376.5869 | 1198296.3115
43 | 2602390.9037 | 1198116.0347
44 | 2602239.1567 | 1198354.5717
45 | 2602257.2221 | 1198345.5513
46 | 2602337.1612 | 1198345.8256
47 | 2602334.5662 | 1198114.7886
48 | 2602239.998 | 1198126.8545
49 | 2602197.277 | 1198265.8315
50 | 2602215.2309 | 1198246.0799
51 | 2602214.5865 | 1198281.2999
52 | 2602343.591 | 1198374.9965
53 | 2602352.4113 | 1198276.2099
54 | 2602329.9606 | 1198257.5424
55 | 2602314.9525 | 1198275.9244
56 | 2602338.1655 | 1198247.7181
57 | 2602333.055 | 1198290.4945
58 | 2602312.5132 | 1198278.8481
59 | 2602330.6292 | 1198241.5564
60 | 2602354.0284 | 1198228.5062
61 | 2602381.3813 | 1198126.7316
62 | 2602378.2802 | 1198130.2152
63 | 2602365.1409 | 1198215.0477
64 | 2602406.2742 | 1198212.1423
65 | 2602356.564 | 1198225.4353
66 | 2602406.9259 | 1198212.6592
67 | 2602408.2059 | 1198210.9921
68 | 2602295.0081 | 1198299.8297
69 | 2602287.7403 | 1198308.6206
70 | 2602281.6351 | 1198303.8046
71 | 2602314.4099 | 1198321.7486
72 | 2602269.2054 | 1198331.059
73 | 2602306.1597 | 1198330.7948
74 | 2602322.2939 | 1198314.3588
75 | 2602258.2973 | 1198320.9849
76 | 2602242.9511 | 1198306.6475
77 | 2602236.9964 | 1198301.3262
78 | 2602252.3672 | 1198296.8135
79 | 2602275.0047 | 1198359.9544
80 | 2602226.4779 | 1198291.9265
81 | 2602266.1164 | 1198282.4542
82 | 2602217.14 | 1198283.5818
83 | 2602223.0908 | 1198237.4325
84 | 2602230.8364 | 1198228.9109
85 | 2602237.211 | 1198221.8976
86 | 2602246.8848 | 1198211.2546
87 | 2602247.557 | 1198210.5151
88 | 2602261.9647 | 1198194.6639
89 | 2602270.5408 | 1198185.2286
90 | 2602278.2963 | 1198176.6961
91 | 2602289.7789 | 1198164.0631
92 | 2602290.9542 | 1198162.77
93 | 2602299.2791 | 1198153.611
94 | 2602313.5803 | 1198137.877
95 | 2602315.7169 | 1198135.5264
96 | 2602321.7229 | 1198128.9186
97 | 2602338.1655 | 1198247.7181

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1