## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-171_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-171_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-171_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-171_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-171_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-171_0_5_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_351-171_0_5_node_11 | 0.4 | n |  | TRUE
7 | bus_LV_351-171_0_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_351-171_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_351-171_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_351-171_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_351-171_0_5_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_351-171_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_351-171_0_5_node_32 | 0.4 | n |  | TRUE
14 | bus_LV_351-171_0_5_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_351-171_0_5_node_18 | 0.4 | n |  | TRUE
16 | bus_LV_351-171_0_5_node_33 | 0.4 | n |  | TRUE
17 | bus_LV_351-171_0_5_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_351-171_0_5_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_351-171_0_5_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_351-171_0_5_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_351-171_0_5_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_351-171_0_5_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_351-171_0_5_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_351-171_0_5_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_351-171_0_5_node_56 | 0.4 | n |  | TRUE
26 | bus_LV_351-171_0_5_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_351-171_0_5_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_351-171_0_5_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_351-171_0_5_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_351-171_0_5_node_73 | 0.4 | n |  | TRUE
31 | bus_LV_351-171_0_5_node_71 | 0.4 | n |  | TRUE
32 | bus_LV_351-171_0_5_node_81 | 0.4 | n |  | TRUE
33 | bus_LV_351-171_0_5_node_83 | 0.4 | n |  | TRUE
34 | bus_LV_351-171_0_5_node_80 | 0.4 | n |  | TRUE
35 | bus_LV_351-171_0_5_node_63 | 0.4 | n |  | TRUE
36 | bus_LV_351-171_0_5_node_58 | 0.4 | n |  | TRUE
37 | bus_LV_351-171_0_5_node_59 | 0.4 | n |  | TRUE
38 | bus_LV_351-171_0_5_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_351-171_0_5_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_351-171_0_5_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_351-171_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_351-171_0_5_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_351-171_0_5_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_351-171_0_5_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_351-171_0_5_node_46 | 0.4 | n |  | TRUE
46 | bus_LV_351-171_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_351-171_0_5_node_36 | 0.4 | n |  | TRUE
48 | bus_LV_351-171_0_5_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_351-171_0_5_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_351-171_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_351-171_0_5_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_351-171_0_5_node_42 | 0.4 | n |  | TRUE
53 | bus_LV_351-171_0_5_node_95 | 0.4 | n |  | TRUE
54 | bus_LV_351-171_0_5_node_92 | 0.4 | n |  | TRUE
55 | bus_LV_351-171_0_5_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_351-171_0_5_node_104 | 0.4 | n |  | TRUE
57 | bus_LV_351-171_0_5_node_93 | 0.4 | n |  | TRUE
58 | bus_LV_351-171_0_5_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_351-171_0_5_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_351-171_0_5_node_49 | 0.4 | n |  | TRUE
61 | bus_LV_351-171_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_351-171_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_351-171_0_5_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_351-171_0_5_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_351-171_0_5_node_53 | 0.4 | n |  | TRUE
66 | bus_LV_351-171_0_5_node_88 | 0.4 | n |  | TRUE
67 | bus_LV_351-171_0_5_node_103 | 0.4 | n |  | TRUE
68 | bus_LV_351-171_0_5_node_54 | 0.4 | n |  | TRUE
69 | bus_LV_351-171_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_351-171_0_5_node_86 | 0.4 | n |  | TRUE
71 | bus_LV_351-171_0_5_node_102 | 0.4 | n |  | TRUE
72 | bus_LV_351-171_0_5_node_60 | 0.4 | n |  | TRUE
73 | bus_LV_351-171_0_5_node_64 | 0.4 | n |  | TRUE
74 | bus_LV_351-171_0_5_node_66 | 0.4 | n |  | TRUE
75 | bus_LV_351-171_0_5_node_68 | 0.4 | n |  | TRUE
76 | bus_LV_351-171_0_5_node_65 | 0.4 | n |  | TRUE
77 | bus_LV_351-171_0_5_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_351-171_0_5_node_69 | 0.4 | n |  | TRUE
79 | bus_LV_351-171_0_5_node_70 | 0.4 | n |  | TRUE
80 | bus_LV_351-171_0_5_node_77 | 0.4 | n |  | TRUE
81 | bus_LV_351-171_0_5_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_351-171_0_5_node_98 | 0.4 | n |  | TRUE
83 | bus_LV_351-171_0_5_node_99 | 0.4 | n |  | TRUE
84 | bus_LV_351-171_0_5_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_351-171_0_5_node_72 | 0.4 | n |  | TRUE
86 | bus_LV_351-171_0_5_node_78 | 0.4 | n |  | TRUE
87 | bus_LV_351-171_0_5_node_79 | 0.4 | n |  | TRUE
88 | bus_LV_351-171_0_5_node_100 | 0.4 | n |  | TRUE
89 | bus_LV_351-171_0_5_node_101 | 0.4 | n |  | TRUE
90 | bus_LV_351-171_0_5_node_82 | 0.4 | n |  | TRUE
91 | bus_LV_351-171_0_5_node_84 | 0.4 | n |  | TRUE
92 | bus_LV_351-171_0_5_node_87 | 0.4 | n |  | TRUE
93 | bus_LV_351-171_0_5_node_89 | 0.4 | n |  | TRUE
94 | bus_LV_351-171_0_5_node_90 | 0.4 | n |  | TRUE
95 | bus_LV_351-171_0_5_node_91 | 0.4 | n |  | TRUE
96 | bus_LV_351-171_0_5_node_94 | 0.4 | n |  | TRUE
97 | bus_LV_351-171_0_5_node_96 | 0.4 | n |  | TRUE
98 | bus_LV_351-171_0_5_node_97 | 0.4 | n |  | TRUE
99 | bus_MV_592_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-171_0_5_load_0 | 0 | 0.001286 | 0.00032231 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-171_0_5_load_1 | 1 | 0.00096828 | 0.00024267 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-171_0_5_load_3 | 3 | 0.0011381 | 0.00028524 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-171_0_5_load_4 | 4 | 0.0067749 | 0.0016979 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-171_0_5_load_5 | 8 | 0.0038553 | 0.00096624 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-171_0_5_load_7 | 10 | 0.010198 | 0.0025558 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-171_0_5_load_32 | 13 | 0.0063745 | 0.0015976 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-171_0_5_load_26 | 14 | 0.0077147 | 0.0019335 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-171_0_5_load_18 | 15 | 0.0059939 | 0.0015022 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-171_0_5_load_34 | 17 | 0.0025269 | 0.0006333 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-171_0_5_load_27 | 18 | 0.0022369 | 0.00056062 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-171_0_5_load_20 | 19 | 0.0026829 | 0.00067239 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-171_0_5_load_14 | 20 | 0.0003519 | 8.8195e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-171_0_5_load_19 | 21 | 0.019709 | 0.0049395 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-171_0_5_load_13 | 22 | 0.009775 | 0.0024498 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-171_0_5_load_56 | 25 | 0.01515 | 0.0037969 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-171_0_5_load_57 | 26 | 0.0021619 | 0.00054182 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-171_0_5_load_23 | 28 | 0.016208 | 0.0040621 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-171_0_5_load_61 | 29 | 0.0098395 | 0.002466 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-171_0_5_load_73 | 30 | 0.016225 | 0.0040664 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-171_0_5_load_83 | 33 | 0.010615 | 0.0026603 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-171_0_5_load_80 | 34 | 0.0083695 | 0.0020976 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-171_0_5_load_63 | 35 | 0.0044579 | 0.0011173 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-171_0_5_load_58 | 36 | 0.015243 | 0.0038202 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-171_0_5_load_59 | 37 | 0.0021619 | 0.00054182 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-171_0_5_load_28 | 38 | 0.0081487 | 0.0020423 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-171_0_5_load_30 | 40 | 0.0095405 | 0.0023911 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-171_0_5_load_31 | 41 | 0.010911 | 0.0027345 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-171_0_5_load_43 | 42 | 0.0094949 | 0.0023796 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-171_0_5_load_45 | 43 | 0.0074386 | 0.0018643 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-171_0_5_load_46 | 45 | 0.011515 | 0.002886 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-171_0_5_load_35 | 46 | 0.00502 | 0.0012581 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-171_0_5_load_36 | 47 | 0.0076586 | 0.0019194 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-171_0_5_load_37 | 48 | 0.0049444 | 0.0012392 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-171_0_5_load_39 | 49 | 0.0079489 | 0.0019922 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-171_0_5_load_95 | 53 | 0.0025271 | 0.00063336 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-171_0_5_load_92 | 54 | 0.0029598 | 0.0007418 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-171_0_5_load_48 | 55 | 0.0095007 | 0.0023811 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-171_0_5_load_104 | 56 | 0.0025383 | 0.00063617 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-171_0_5_load_50 | 58 | 0.011254 | 0.0028205 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-171_0_5_load_49 | 60 | 0.0093317 | 0.0023388 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-171_0_5_load_62 | 62 | 0.0057898 | 0.0014511 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-171_0_5_load_74 | 63 | 0.011272 | 0.0028251 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-171_0_5_load_52 | 64 | 0.016858 | 0.0042251 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-171_0_5_load_103 | 67 | 0.0060912 | 0.0015266 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-171_0_5_load_54 | 68 | 0.014629 | 0.0036663 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-171_0_5_load_86 | 70 | 0.0046981 | 0.0011775 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-171_0_5_load_64 | 73 | 0.0068054 | 0.0017056 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-171_0_5_load_65 | 76 | 0.013105 | 0.0032845 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-171_0_5_load_69 | 78 | 0.013152 | 0.0032961 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-171_0_5_load_70 | 79 | 0.0039329 | 0.00098568 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-171_0_5_load_77 | 80 | 0.0039584 | 0.00099208 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-171_0_5_load_75 | 81 | 0.0089539 | 0.0022441 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-171_0_5_load_98 | 82 | 0.0061885 | 0.001551 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-171_0_5_load_99 | 83 | 0.0061773 | 0.0015482 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-171_0_5_load_72 | 85 | 0.0093009 | 0.002331 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-171_0_5_load_78 | 86 | 0.0050315 | 0.001261 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-171_0_5_load_79 | 87 | 0.0073751 | 0.0018484 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-171_0_5_load_100 | 88 | 0.0077258 | 0.0019363 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-171_0_5_load_101 | 89 | 0.0048281 | 0.00121 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-171_0_5_load_84 | 91 | 0.0067757 | 0.0016982 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-171_0_5_load_87 | 92 | 0.0024423 | 0.0006121 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-171_0_5_load_89 | 93 | 0.0024579 | 0.000616 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-171_0_5_load_90 | 94 | 0.0023318 | 0.0005844 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-171_0_5_load_91 | 95 | 0.0025165 | 0.00063069 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-171_0_5_load_96 | 97 | 0.0042286 | 0.0010598 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_351-171_0_5_load_97 | 98 | 0.0047343 | 0.0011865 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-171_0_5_line_0 |  | 0 | 1 | 0.01798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-171_0_5_line_1 |  | 0 | 2 | 0.016632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-171_0_5_line_2 |  | 1 | 3 | 0.0078863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-171_0_5_line_3 |  | 2 | 4 | 0.038822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-171_0_5_line_4 |  | 3 | 5 | 0.017926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-171_0_5_line_5 |  | 5 | 6 | 0.033984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-171_0_5_line_6 |  | 5 | 7 | 0.002405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-171_0_5_line_7 |  | 6 | 19 | 0.012704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-171_0_5_line_8 |  | 7 | 20 | 0.012872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-171_0_5_line_9 |  | 8 | 9 | 0.041608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-171_0_5_line_10 |  | 8 | 10 | 0.018755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-171_0_5_line_11 |  | 9 | 11 | 0.0339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-171_0_5_line_12 |  | 9 | 12 | 0.014058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-171_0_5_line_13 |  | 11 | 13 | 0.0062254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-171_0_5_line_14 |  | 12 | 14 | 0.018271 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-171_0_5_line_15 |  | 12 | 15 | 0.016108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-171_0_5_line_16 |  | 13 | 16 | 0.020542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-171_0_5_line_17 |  | 14 | 18 | 0.017856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-171_0_5_line_18 |  | 16 | 17 | 0.031705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-171_0_5_line_19 |  | 17 | 46 | 0.011818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-171_0_5_line_20 |  | 18 | 38 | 0.01661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-171_0_5_line_21 |  | 19 | 21 | 0.012305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-171_0_5_line_22 |  | 20 | 22 | 0.015303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-171_0_5_line_23 |  | 21 | 23 | 0.017641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-171_0_5_line_24 |  | 23 | 24 | 0.022287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-171_0_5_line_25 |  | 24 | 27 | 0.008619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-171_0_5_line_26 |  | 24 | 28 | 0.030652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-171_0_5_line_27 |  | 25 | 26 | 0.011029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-171_0_5_line_28 |  | 26 | 61 | 0.011582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-171_0_5_line_29 |  | 27 | 29 | 0.026782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-171_0_5_line_30 |  | 29 | 35 | 0.013003 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-171_0_5_line_31 |  | 30 | 31 | 0.031774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-171_0_5_line_32 |  | 31 | 85 | 0.017746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-171_0_5_line_33 |  | 31 | 78 | 0.0039699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-171_0_5_line_34 |  | 32 | 33 | 0.023607 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-171_0_5_line_35 |  | 32 | 34 | 0.025251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-171_0_5_line_36 |  | 33 | 85 | 0.014112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-171_0_5_line_37 |  | 34 | 90 | 0.015503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-171_0_5_line_38 |  | 35 | 69 | 0.015923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-171_0_5_line_39 |  | 36 | 37 | 0.0048481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-171_0_5_line_40 |  | 37 | 72 | 0.011472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
41 | LV_351-171_0_5_line_41 |  | 38 | 39 | 0.011034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-171_0_5_line_42 |  | 39 | 40 | 0.022796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-171_0_5_line_43 |  | 39 | 41 | 0.018489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-171_0_5_line_44 |  | 40 | 42 | 0.033211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-171_0_5_line_45 |  | 41 | 43 | 0.0025214 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
46 | LV_351-171_0_5_line_46 |  | 42 | 44 | 0.021309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-171_0_5_line_47 |  | 43 | 45 | 0.028929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_351-171_0_5_line_48 |  | 44 | 51 | 0.031692 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-171_0_5_line_49 |  | 44 | 52 | 0.030494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-171_0_5_line_50 |  | 44 | 50 | 0.008016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-171_0_5_line_51 |  | 45 | 61 | 0.0099518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_351-171_0_5_line_52 |  | 46 | 47 | 0.024655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-171_0_5_line_53 |  | 47 | 48 | 0.026267 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-171_0_5_line_54 |  | 49 | 50 | 0.040461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-171_0_5_line_55 |  | 51 | 55 | 0.02142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-171_0_5_line_56 |  | 52 | 53 | 0.013264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-171_0_5_line_57 |  | 52 | 54 | 0.017239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-171_0_5_line_58 |  | 53 | 56 | 0.0084994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-171_0_5_line_59 |  | 54 | 57 | 0.06411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-171_0_5_line_60 |  | 55 | 60 | 0.019672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-171_0_5_line_61 |  | 56 | 95 | 0.019247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-171_0_5_line_62 |  | 57 | 96 | 0.085906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-171_0_5_line_63 |  | 58 | 59 | 0.041372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-171_0_5_line_64 |  | 59 | 64 | 0.023158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-171_0_5_line_65 |  | 59 | 65 | 0.034578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-171_0_5_line_66 |  | 61 | 62 | 0.016441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_351-171_0_5_line_67 |  | 62 | 63 | 0.0055241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_351-171_0_5_line_68 |  | 63 | 72 | 0.010861 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_351-171_0_5_line_69 |  | 65 | 66 | 0.027364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-171_0_5_line_70 |  | 65 | 67 | 0.018329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-171_0_5_line_71 |  | 66 | 70 | 0.01066 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-171_0_5_line_72 |  | 67 | 71 | 0.0069253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-171_0_5_line_73 |  | 68 | 69 | 0.019527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-171_0_5_line_74 |  | 69 | 72 | 0.031748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_351-171_0_5_line_75 |  | 69 | 73 | 0.024816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_351-171_0_5_line_76 |  | 71 | 89 | 0.016055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-171_0_5_line_77 |  | 71 | 87 | 0.0078897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-171_0_5_line_78 |  | 73 | 74 | 0.014195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
79 | LV_351-171_0_5_line_79 |  | 74 | 75 | 0.001575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-171_0_5_line_80 |  | 74 | 76 | 0.025278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-171_0_5_line_81 |  | 75 | 80 | 0.016549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-171_0_5_line_82 |  | 75 | 81 | 0.027554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-171_0_5_line_83 |  | 76 | 77 | 0.0039938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-171_0_5_line_84 |  | 77 | 78 | 0.027573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-171_0_5_line_85 |  | 77 | 79 | 0.01606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-171_0_5_line_86 |  | 79 | 82 | 0.013005 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-171_0_5_line_87 |  | 80 | 83 | 0.013052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-171_0_5_line_88 |  | 81 | 84 | 0.002531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_351-171_0_5_line_89 |  | 84 | 86 | 0.016033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_351-171_0_5_line_90 |  | 84 | 87 | 0.022729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_351-171_0_5_line_91 |  | 86 | 88 | 0.013215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_351-171_0_5_line_92 |  | 90 | 91 | 0.012392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_351-171_0_5_line_93 |  | 92 | 93 | 0.008098 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_351-171_0_5_line_94 |  | 93 | 94 | 0.018856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_351-171_0_5_line_95 |  | 94 | 95 | 0.0084787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_351-171_0_5_line_96 |  | 96 | 97 | 0.041286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_351-171_0_5_line_97 |  | 97 | 98 | 0.00012073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-171_0_5_trafo_59 | 0.63 MVA 20/0.4 kV | 99 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2602431.4983 | 1198436.0657 | 2602442.0435 | 1198429.4332 | 2602446.8664 | 1198426.7431
1 | 2602417.4194 | 1198444.9206 | 2602431.4983 | 1198436.0657
2 | 2602453.7538 | 1198422.9014 | 2602446.8664 | 1198426.7431
3 | 2602417.4194 | 1198444.9206 | 2602413.7131 | 1198439.7386 | 2602403.5074 | 1198425.6938 | 2602400.128 | 1198421.9349 | 2602397.578 | 1198419.7772 | 2602396.5579 | 1198418.9097 | 2602392.9572 | 1198416.5404 | 2602392.0259 | 1198416.0651
4 | 2602469.4089 | 1198414.1693 | 2602453.7538 | 1198422.9014
5 | 2602469.4089 | 1198414.1693 | 2602471.3112 | 1198417.3607 | 2602473.7236 | 1198421.1414 | 2602476.3643 | 1198425.0446 | 2602480.6868 | 1198431.4053 | 2602486.9959 | 1198439.7456 | 2602488.8682 | 1198442.0254
6 | 2602469.4089 | 1198414.1693 | 2602468.3437 | 1198412.0122
7 | 2602488.8682 | 1198442.0254 | 2602495.3808 | 1198436.6362 | 2602498.485 | 1198433.7315
8 | 2602468.3437 | 1198412.0122 | 2602476.5844 | 1198407.8243 | 2602479.2715 | 1198405.3863
9 | 2602435.5908 | 1198341.1946 | 2602429.9373 | 1198349.5746 | 2602421.5556 | 1198344.3352 | 2602420.0554 | 1198344.746 | 2602414.7293 | 1198353.2373 | 2602415.2082 | 1198355.4164 | 2602421.5495 | 1198359.9658
10 | 2602415.6796 | 1198376.5501 | 2602422.2243 | 1198367.1699 | 2602422.2264 | 1198361.9338 | 2602421.5495 | 1198359.9658
11 | 2602435.5908 | 1198341.1946 | 2602433.467 | 1198339.3928 | 2602425.1615 | 1198333.7977 | 2602419.9236 | 1198331.2276 | 2602414.8833 | 1198329.5247 | 2602409.9647 | 1198328.2221 | 2602405.0916 | 1198327.4308
12 | 2602445.1508 | 1198351.4261 | 2602440.219 | 1198345.1097 | 2602435.5908 | 1198341.1946
13 | 2602405.0916 | 1198327.4308 | 2602405.4203 | 1198324.1848 | 2602405.2387 | 1198321.2276
14 | 2602445.1508 | 1198351.4261 | 2602450.5056 | 1198347.1482 | 2602458.9276 | 1198339.4396
15 | 2602445.1508 | 1198351.4261 | 2602448.1636 | 1198358.0864 | 2602450.8471 | 1198366.465
16 | 2602389.9841 | 1198307.6033 | 2602393.3792 | 1198310.2282 | 2602402.925 | 1198318.1806 | 2602405.2387 | 1198321.2276
17 | 2602458.9276 | 1198339.4396 | 2602459.8904 | 1198338.5584 | 2602469.1611 | 1198329.6352 | 2602471.6084 | 1198326.8818
18 | 2602389.9841 | 1198307.6033 | 2602395.1107 | 1198302.6137 | 2602401.8524 | 1198295.9016 | 2602410.7655 | 1198286.2222 | 2602411.9614 | 1198284.7715
19 | 2602419.4786 | 1198275.653 | 2602411.9614 | 1198284.7715
20 | 2602482.6435 | 1198314.467 | 2602471.6084 | 1198326.8818
21 | 2602507.4698 | 1198425.324 | 2602498.485 | 1198433.7315
22 | 2602490.605 | 1198395.1037 | 2602479.2715 | 1198405.3863
23 | 2602522.8307 | 1198419.9607 | 2602520.2565 | 1198420.938 | 2602516.1967 | 1198423.8935 | 2602511.048 | 1198426.893 | 2602507.4698 | 1198425.324
24 | 2602544.0358 | 1198423.8604 | 2602537.4047 | 1198420.8561 | 2602531.6945 | 1198418.9416 | 2602527.6741 | 1198418.6843 | 2602523.577 | 1198419.6831 | 2602522.8307 | 1198419.9607
25 | 2602544.0358 | 1198423.8604 | 2602549.9321 | 1198417.5595
26 | 2602544.0358 | 1198423.8604 | 2602543.2022 | 1198432.5647 | 2602542.1576 | 1198435.9105 | 2602540.9608 | 1198439.0117 | 2602539.9703 | 1198440.412 | 2602533.1448 | 1198447.2685 | 2602530.5096 | 1198448.8349 | 2602530.066 | 1198449.2725
27 | 2602522.1156 | 1198362.6076 | 2602528.9964 | 1198353.9888
28 | 2602535.8675 | 1198344.6703 | 2602531.2808 | 1198351.1274 | 2602528.9964 | 1198353.9888
29 | 2602549.9321 | 1198417.5595 | 2602555.1242 | 1198420.0408 | 2602558.741 | 1198420.3869 | 2602561.4067 | 1198419.1318 | 2602569.9413 | 1198407.4747
30 | 2602577.623 | 1198396.9827 | 2602569.9413 | 1198407.4747
31 | 2602558.0016 | 1198477.0947 | 2602559.8147 | 1198475.2166 | 2602565.5128 | 1198469.327 | 2602579.9564 | 1198454.0693
32 | 2602579.9564 | 1198454.0693 | 2602593.4141 | 1198465.6364
33 | 2602579.9564 | 1198454.0693 | 2602582.6922 | 1198451.1927
34 | 2602617.198 | 1198492.728 | 2602604.5855 | 1198481.6167 | 2602604.1163 | 1198474.8351
35 | 2602617.198 | 1198492.728 | 2602638.873 | 1198479.7747
36 | 2602604.1163 | 1198474.8351 | 2602593.4141 | 1198465.6364
37 | 2602651.8458 | 1198471.2869 | 2602639.4305 | 1198479.4415 | 2602638.873 | 1198479.7747
38 | 2602587.0294 | 1198384.135 | 2602577.623 | 1198396.9827
39 | 2602551.7682 | 1198378.4616 | 2602554.6314 | 1198374.5493
40 | 2602561.4063 | 1198365.2919 | 2602554.6314 | 1198374.5493
41 | 2602489.974 | 1198306.2199 | 2602482.6435 | 1198314.467
42 | 2602489.974 | 1198306.2199 | 2602503.6009 | 1198287.9452
43 | 2602489.974 | 1198306.2199 | 2602503.8133 | 1198316.9313 | 2602504.2091 | 1198317.2316 | 2602504.5811 | 1198317.5537
44 | 2602523.7951 | 1198261.5816 | 2602511.8022 | 1198276.9465 | 2602503.6009 | 1198287.9452
45 | 2602506.4874 | 1198319.204 | 2602504.5811 | 1198317.5537
46 | 2602536.9063 | 1198244.7841 | 2602523.7951 | 1198261.5816
47 | 2602506.4874 | 1198319.204 | 2602527.5781 | 1198337.4631 | 2602528.3574 | 1198338.1407
48 | 2602536.9063 | 1198244.7841 | 2602562.149 | 1198264.0382
49 | 2602536.9063 | 1198244.7841 | 2602542.4074 | 1198237.0044 | 2602555.0972 | 1198246.9928 | 2602557.7793 | 1198242.9918
50 | 2602536.9063 | 1198244.7841 | 2602530.6185 | 1198239.79
51 | 2602535.8675 | 1198344.6703 | 2602528.3574 | 1198338.1407
52 | 2602419.4786 | 1198275.653 | 2602435.1615 | 1198256.6293
53 | 2602435.1615 | 1198256.6293 | 2602451.87 | 1198236.3617
54 | 2602530.6185 | 1198239.79 | 2602498.9211 | 1198214.6431
55 | 2602562.149 | 1198264.0382 | 2602549.6155 | 1198281.4089
56 | 2602557.7793 | 1198242.9918 | 2602568.2835 | 1198251.0916
57 | 2602557.7793 | 1198242.9918 | 2602567.3144 | 1198228.6295
58 | 2602568.2835 | 1198251.0916 | 2602575.0143 | 1198256.2817
59 | 2602602.7736 | 1198175.2189 | 2602567.3144 | 1198228.6295
60 | 2602560.3617 | 1198295.4653 | 2602550.5416 | 1198288.4353 | 2602549.2401 | 1198286.7672 | 2602548.8756 | 1198284.2768 | 2602549.6155 | 1198281.4089
61 | 2602590.4341 | 1198267.7927 | 2602585.3741 | 1198264.2702 | 2602575.0143 | 1198256.2817
62 | 2602602.7736 | 1198175.2189 | 2602649.9193 | 1198206.5781 | 2602661.0338 | 1198214.0758 | 2602674.1961 | 1198222.9529
63 | 2602637.6966 | 1198314.8751 | 2602620.1189 | 1198303.7283 | 2602602.9356 | 1198292.443
64 | 2602637.6966 | 1198314.8751 | 2602636.5765 | 1198316.62 | 2602634.9234 | 1198318.2646 | 2602632.1964 | 1198320.3979 | 2602630.6043 | 1198321.7535 | 2602629.2787 | 1198323.376 | 2602628.2044 | 1198324.7652 | 2602624.204 | 1198330.8778 | 2602623.8077 | 1198331.8448 | 2602623.5636 | 1198332.8119
65 | 2602666.5482 | 1198334.0533 | 2602660.7627 | 1198330.0376 | 2602637.6966 | 1198314.8751
66 | 2602535.8675 | 1198344.6703 | 2602539.3995 | 1198347.6067 | 2602548.6346 | 1198355.0282
67 | 2602552.9405 | 1198358.4886 | 2602548.6346 | 1198355.0282
68 | 2602561.4063 | 1198365.2919 | 2602552.9405 | 1198358.4886
69 | 2602666.5482 | 1198334.0533 | 2602671.715 | 1198324.6617 | 2602675.0606 | 1198318.571 | 2602666.2978 | 1198314.4205
70 | 2602666.5482 | 1198334.0533 | 2602658.8821 | 1198347.0458 | 2602657.2343 | 1198349.8391
71 | 2602666.2978 | 1198314.4205 | 2602664.2499 | 1198313.4413 | 2602657.0508 | 1198309.1334
72 | 2602653.7156 | 1198355.8038 | 2602657.2343 | 1198349.8391
73 | 2602587.0294 | 1198384.135 | 2602589.1096 | 1198380.8341 | 2602591.9587 | 1198377.8448 | 2602593.7644 | 1198375.4554 | 2602596.8114 | 1198372.7441 | 2602599.2798 | 1198369.8881 | 2602599.683 | 1198369.3821
74 | 2602587.0294 | 1198384.135 | 2602580.5056 | 1198379.2741 | 2602561.4063 | 1198365.2919
75 | 2602587.0294 | 1198384.135 | 2602607.0723 | 1198398.7683
76 | 2602653.7156 | 1198355.8038 | 2602667.3667 | 1198364.2536
77 | 2602653.7156 | 1198355.8038 | 2602649.5348 | 1198362.4948
78 | 2602618.5366 | 1198407.1384 | 2602607.0723 | 1198398.7683
79 | 2602618.5366 | 1198407.1384 | 2602619.489 | 1198405.8825
80 | 2602618.5366 | 1198407.1384 | 2602610.9479 | 1198417.763 | 2602603.2994 | 1198427.295
81 | 2602619.489 | 1198405.8825 | 2602632.6922 | 1198415.8594
82 | 2602619.489 | 1198405.8825 | 2602624.2659 | 1198399.9481 | 2602625.8659 | 1198397.881 | 2602632.4184 | 1198388.6344 | 2602635.8194 | 1198383.7049
83 | 2602600.7999 | 1198430.4099 | 2602603.2994 | 1198427.295
84 | 2602600.7999 | 1198430.4099 | 2602587.1325 | 1198446.5239 | 2602582.6922 | 1198451.1927
85 | 2602600.7999 | 1198430.4099 | 2602613.0856 | 1198440.753
86 | 2602613.0856 | 1198440.753 | 2602623.0343 | 1198449.1286
87 | 2602632.6922 | 1198415.8594 | 2602643.1055 | 1198423.7281
88 | 2602637.2567 | 1198381.6216 | 2602635.8194 | 1198383.7049
89 | 2602637.2567 | 1198381.6216 | 2602650.6395 | 1198390.4517
90 | 2602637.2567 | 1198381.6216 | 2602645.8823 | 1198368.3405 | 2602649.5348 | 1198362.4948
91 | 2602650.6395 | 1198390.4517 | 2602661.6695 | 1198397.7295
92 | 2602651.8458 | 1198471.2869 | 2602657.345 | 1198467.7652 | 2602662.09 | 1198464.3241
93 | 2602613.2655 | 1198282.8105 | 2602620.1618 | 1198287.0554
94 | 2602613.2655 | 1198282.8105 | 2602607.8314 | 1198279.4656 | 2602598.6048 | 1198273.4807 | 2602597.3926 | 1198272.6369
95 | 2602590.4341 | 1198267.7927 | 2602597.3926 | 1198272.6369
96 | 2602674.1961 | 1198222.9529 | 2602650.4848 | 1198256.7507
97 | 2602650.4155 | 1198256.8496 | 2602650.4848 | 1198256.7507

## bus_geodata
| x | y | coords
0 | 2602431.4983 | 1198436.0657
1 | 2602446.8664 | 1198426.7431
2 | 2602417.4194 | 1198444.9206
3 | 2602453.7538 | 1198422.9014
4 | 2602392.0259 | 1198416.0651
5 | 2602469.4089 | 1198414.1693
6 | 2602488.8682 | 1198442.0254
7 | 2602468.3437 | 1198412.0122
8 | 2602421.5495 | 1198359.9658
9 | 2602435.5908 | 1198341.1946
10 | 2602415.6796 | 1198376.5501
11 | 2602405.0916 | 1198327.4308
12 | 2602445.1508 | 1198351.4261
13 | 2602405.2387 | 1198321.2276
14 | 2602458.9276 | 1198339.4396
15 | 2602450.8471 | 1198366.465
16 | 2602389.9841 | 1198307.6033
17 | 2602411.9614 | 1198284.7715
18 | 2602471.6084 | 1198326.8818
19 | 2602498.485 | 1198433.7315
20 | 2602479.2715 | 1198405.3863
21 | 2602507.4698 | 1198425.324
22 | 2602490.605 | 1198395.1037
23 | 2602522.8307 | 1198419.9607
24 | 2602544.0358 | 1198423.8604
25 | 2602522.1156 | 1198362.6076
26 | 2602528.9964 | 1198353.9888
27 | 2602549.9321 | 1198417.5595
28 | 2602530.066 | 1198449.2725
29 | 2602569.9413 | 1198407.4747
30 | 2602558.0016 | 1198477.0947
31 | 2602579.9564 | 1198454.0693
32 | 2602617.198 | 1198492.728
33 | 2602604.1163 | 1198474.8351
34 | 2602638.873 | 1198479.7747
35 | 2602577.623 | 1198396.9827
36 | 2602551.7682 | 1198378.4616
37 | 2602554.6314 | 1198374.5493
38 | 2602482.6435 | 1198314.467
39 | 2602489.974 | 1198306.2199
40 | 2602503.6009 | 1198287.9452
41 | 2602504.5811 | 1198317.5537
42 | 2602523.7951 | 1198261.5816
43 | 2602506.4874 | 1198319.204
44 | 2602536.9063 | 1198244.7841
45 | 2602528.3574 | 1198338.1407
46 | 2602419.4786 | 1198275.653
47 | 2602435.1615 | 1198256.6293
48 | 2602451.87 | 1198236.3617
49 | 2602498.9211 | 1198214.6431
50 | 2602530.6185 | 1198239.79
51 | 2602562.149 | 1198264.0382
52 | 2602557.7793 | 1198242.9918
53 | 2602568.2835 | 1198251.0916
54 | 2602567.3144 | 1198228.6295
55 | 2602549.6155 | 1198281.4089
56 | 2602575.0143 | 1198256.2817
57 | 2602602.7736 | 1198175.2189
58 | 2602602.9356 | 1198292.443
59 | 2602637.6966 | 1198314.8751
60 | 2602560.3617 | 1198295.4653
61 | 2602535.8675 | 1198344.6703
62 | 2602548.6346 | 1198355.0282
63 | 2602552.9405 | 1198358.4886
64 | 2602623.5636 | 1198332.8119
65 | 2602666.5482 | 1198334.0533
66 | 2602666.2978 | 1198314.4205
67 | 2602657.2343 | 1198349.8391
68 | 2602599.683 | 1198369.3821
69 | 2602587.0294 | 1198384.135
70 | 2602657.0508 | 1198309.1334
71 | 2602653.7156 | 1198355.8038
72 | 2602561.4063 | 1198365.2919
73 | 2602607.0723 | 1198398.7683
74 | 2602618.5366 | 1198407.1384
75 | 2602619.489 | 1198405.8825
76 | 2602603.2994 | 1198427.295
77 | 2602600.7999 | 1198430.4099
78 | 2602582.6922 | 1198451.1927
79 | 2602613.0856 | 1198440.753
80 | 2602632.6922 | 1198415.8594
81 | 2602635.8194 | 1198383.7049
82 | 2602623.0343 | 1198449.1286
83 | 2602643.1055 | 1198423.7281
84 | 2602637.2567 | 1198381.6216
85 | 2602593.4141 | 1198465.6364
86 | 2602650.6395 | 1198390.4517
87 | 2602649.5348 | 1198362.4948
88 | 2602661.6695 | 1198397.7295
89 | 2602667.3667 | 1198364.2536
90 | 2602651.8458 | 1198471.2869
91 | 2602662.09 | 1198464.3241
92 | 2602620.1618 | 1198287.0554
93 | 2602613.2655 | 1198282.8105
94 | 2602597.3927 | 1198272.6369
95 | 2602590.4341 | 1198267.7927
96 | 2602674.1961 | 1198222.9529
97 | 2602650.4848 | 1198256.7507
98 | 2602650.4154 | 1198256.8496
99 | 2602561.4063 | 1198365.2919

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1