## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-179_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-179_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-179_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-179_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-179_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-179_0_5_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_351-179_0_5_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_351-179_0_5_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_351-179_0_5_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_351-179_0_5_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_351-179_0_5_node_29 | 0.4 | n |  | TRUE
11 | bus_LV_351-179_0_5_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_351-179_0_5_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_351-179_0_5_node_63 | 0.4 | n |  | TRUE
14 | bus_LV_351-179_0_5_node_6 | 0.4 | n |  | TRUE
15 | bus_LV_351-179_0_5_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_351-179_0_5_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_351-179_0_5_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_351-179_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_351-179_0_5_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_351-179_0_5_node_49 | 0.4 | n |  | TRUE
21 | bus_LV_351-179_0_5_node_61 | 0.4 | n |  | TRUE
22 | bus_LV_351-179_0_5_node_46 | 0.4 | n |  | TRUE
23 | bus_LV_351-179_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_351-179_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_351-179_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_351-179_0_5_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_351-179_0_5_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_351-179_0_5_node_45 | 0.4 | n |  | TRUE
29 | bus_LV_351-179_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_351-179_0_5_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_351-179_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_351-179_0_5_node_41 | 0.4 | n |  | TRUE
33 | bus_LV_351-179_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_351-179_0_5_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_351-179_0_5_node_20 | 0.4 | n |  | TRUE
36 | bus_LV_351-179_0_5_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_351-179_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_351-179_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_351-179_0_5_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_351-179_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_351-179_0_5_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_351-179_0_5_node_51 | 0.4 | n |  | TRUE
43 | bus_LV_351-179_0_5_node_52 | 0.4 | n |  | TRUE
44 | bus_LV_351-179_0_5_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_351-179_0_5_node_38 | 0.4 | n |  | TRUE
46 | bus_LV_351-179_0_5_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_351-179_0_5_node_34 | 0.4 | n |  | TRUE
48 | bus_LV_351-179_0_5_node_35 | 0.4 | n |  | TRUE
49 | bus_LV_351-179_0_5_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_351-179_0_5_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_351-179_0_5_node_42 | 0.4 | n |  | TRUE
52 | bus_LV_351-179_0_5_node_43 | 0.4 | n |  | TRUE
53 | bus_LV_351-179_0_5_node_44 | 0.4 | n |  | TRUE
54 | bus_LV_351-179_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_351-179_0_5_node_64 | 0.4 | n |  | TRUE
56 | bus_LV_351-179_0_5_node_55 | 0.4 | n |  | TRUE
57 | bus_LV_351-179_0_5_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_351-179_0_5_node_48 | 0.4 | n |  | TRUE
59 | bus_LV_351-179_0_5_node_65 | 0.4 | n |  | TRUE
60 | bus_LV_351-179_0_5_node_59 | 0.4 | n |  | TRUE
61 | bus_LV_351-179_0_5_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_351-179_0_5_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_351-179_0_5_node_57 | 0.4 | n |  | TRUE
64 | bus_MV_592_0_node_57 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-179_0_5_load_0 | 0 | 0.0023266 | 0.00058311 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-179_0_5_load_1 | 1 | 0.0055311 | 0.0013862 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-179_0_5_load_2 | 2 | 0.0018388 | 0.00046084 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-179_0_5_load_3 | 3 | 0.0021899 | 0.00054884 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-179_0_5_load_4 | 4 | 0.0018998 | 0.00047612 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-179_0_5_load_28 | 5 | 0.002324 | 0.00058244 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-179_0_5_load_5 | 6 | 0.0041019 | 0.001028 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-179_0_5_load_26 | 7 | 0.073628 | 0.018453 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-179_0_5_load_32 | 9 | 0.07556 | 0.018937 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-179_0_5_load_29 | 10 | 0.013793 | 0.0034568 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-179_0_5_load_14 | 11 | 0.0030349 | 0.00076062 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-179_0_5_load_63 | 13 | 0.019732 | 0.0049454 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-179_0_5_load_9 | 16 | 0.0013285 | 0.00033294 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-179_0_5_load_27 | 17 | 0.0017239 | 0.00043206 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-179_0_5_load_49 | 20 | 0.0020046 | 0.0005024 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-179_0_5_load_61 | 21 | 0.0020044 | 0.00050234 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-179_0_5_load_12 | 23 | 0.0030739 | 0.0007704 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-179_0_5_load_13 | 24 | 0.0055137 | 0.0013819 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-179_0_5_load_15 | 25 | 0.008457 | 0.0021195 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-179_0_5_load_17 | 26 | 0.0077289 | 0.001937 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-179_0_5_load_47 | 27 | 0.0028743 | 0.00072037 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-179_0_5_load_45 | 28 | 0.0037644 | 0.00094345 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-179_0_5_load_18 | 29 | 0.0034691 | 0.00086943 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-179_0_5_load_19 | 31 | 0.0062289 | 0.0015611 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-179_0_5_load_41 | 32 | 0.0025634 | 0.00064245 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-179_0_5_load_39 | 33 | 0.0035652 | 0.00089352 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-179_0_5_load_33 | 34 | 0.009716 | 0.0024351 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-179_0_5_load_20 | 35 | 0.0025538 | 0.00064005 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-179_0_5_load_24 | 39 | 0.0026303 | 0.00065921 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-179_0_5_load_25 | 40 | 0.0057444 | 0.0014397 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-179_0_5_load_50 | 41 | 0.002707 | 0.00067844 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-179_0_5_load_51 | 42 | 0.0031936 | 0.00080039 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-179_0_5_load_52 | 43 | 0.003385 | 0.00084837 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-179_0_5_load_53 | 44 | 0.007282 | 0.0018251 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-179_0_5_load_38 | 45 | 0.012923 | 0.0032387 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-179_0_5_load_37 | 46 | 0.0075043 | 0.0018807 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-179_0_5_load_34 | 47 | 0.0099071 | 0.002483 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-179_0_5_load_35 | 48 | 0.0072197 | 0.0018094 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-179_0_5_load_36 | 49 | 0.018313 | 0.0045898 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-179_0_5_load_40 | 50 | 0.003062 | 0.00076742 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-179_0_5_load_44 | 53 | 0.0027247 | 0.00068289 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-179_0_5_load_54 | 54 | 0.0073038 | 0.0018305 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-179_0_5_load_64 | 55 | 0.0026926 | 0.00067484 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-179_0_5_load_55 | 56 | 0.0027352 | 0.0006855 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-179_0_5_load_65 | 59 | 0.0059554 | 0.0014926 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-179_0_5_load_60 | 61 | 0.006521 | 0.0016343 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-179_0_5_load_58 | 62 | 0.0020442 | 0.00051232 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-179_0_5_load_57 | 63 | 0.0069645 | 0.0017455 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 23 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-179_0_5_line_0 |  | 0 | 1 | 0.014513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-179_0_5_line_1 |  | 0 | 2 | 0.010987 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-179_0_5_line_2 |  | 1 | 3 | 0.02424 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-179_0_5_line_3 |  | 2 | 4 | 0.028405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_351-179_0_5_line_4 |  | 3 | 5 | 0.029568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-179_0_5_line_5 |  | 4 | 6 | 0.026348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
6 | LV_351-179_0_5_line_6 |  | 5 | 7 | 0.0012211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-179_0_5_line_7 |  | 6 | 14 | 0.024451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
8 | LV_351-179_0_5_line_8 |  | 7 | 17 | 0.021735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-179_0_5_line_9 |  | 8 | 9 | 0.0078762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-179_0_5_line_10 |  | 8 | 10 | 0.035071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-179_0_5_line_11 |  | 8 | 11 | 0.027963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-179_0_5_line_12 |  | 10 | 12 | 0.010082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-179_0_5_line_13 |  | 11 | 26 | 0.037345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-179_0_5_line_14 |  | 11 | 23 | 0.026948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_351-179_0_5_line_15 |  | 12 | 13 | 0.075305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-179_0_5_line_16 |  | 14 | 15 | 0.043285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_351-179_0_5_line_17 |  | 15 | 16 | 0.03602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_351-179_0_5_line_18 |  | 16 | 18 | 0.036795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
19 | LV_351-179_0_5_line_19 |  | 18 | 19 | 0.036841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_351-179_0_5_line_20 |  | 19 | 20 | 0.026355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
21 | LV_351-179_0_5_line_21 |  | 19 | 21 | 0.033102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-179_0_5_line_22 |  | 20 | 22 | 0.0066094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_351-179_0_5_line_23 |  | 22 | 58 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
24 | LV_351-179_0_5_line_24 |  | 22 | 28 | 0.03177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-179_0_5_line_25 |  | 23 | 24 | 0.021125 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
26 | LV_351-179_0_5_line_26 |  | 24 | 25 | 0.035549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_351-179_0_5_line_27 |  | 25 | 29 | 0.033577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_351-179_0_5_line_28 |  | 26 | 30 | 0.0162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-179_0_5_line_29 |  | 27 | 28 | 0.014527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-179_0_5_line_30 |  | 29 | 31 | 0.034371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-179_0_5_line_31 |  | 29 | 32 | 0.064308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_351-179_0_5_line_32 |  | 30 | 34 | 0.04577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-179_0_5_line_33 |  | 32 | 33 | 0.011233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
34 | LV_351-179_0_5_line_34 |  | 33 | 50 | 0.00098206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
35 | LV_351-179_0_5_line_35 |  | 34 | 45 | 0.016106 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-179_0_5_line_36 |  | 35 | 36 | 0.0191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-179_0_5_line_37 |  | 35 | 37 | 0.0061324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-179_0_5_line_38 |  | 36 | 38 | 0.022841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-179_0_5_line_39 |  | 37 | 39 | 0.011303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-179_0_5_line_40 |  | 37 | 40 | 0.01234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-179_0_5_line_41 |  | 38 | 41 | 0.023448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-179_0_5_line_42 |  | 39 | 42 | 0.013967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-179_0_5_line_43 |  | 42 | 43 | 0.020613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-179_0_5_line_44 |  | 42 | 44 | 0.013398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-179_0_5_line_45 |  | 43 | 52 | 0.0048076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-179_0_5_line_46 |  | 45 | 46 | 0.01224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-179_0_5_line_47 |  | 46 | 49 | 0.0044173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-179_0_5_line_48 |  | 47 | 48 | 0.027236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-179_0_5_line_49 |  | 47 | 49 | 0.024019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-179_0_5_line_50 |  | 50 | 51 | 0.013962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_351-179_0_5_line_51 |  | 51 | 52 | 0.025124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-179_0_5_line_52 |  | 51 | 53 | 0.0043327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_351-179_0_5_line_53 |  | 52 | 54 | 0.011525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-179_0_5_line_54 |  | 52 | 55 | 0.037465 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-179_0_5_line_55 |  | 53 | 56 | 0.014535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_351-179_0_5_line_56 |  | 56 | 57 | 0.0063972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_351-179_0_5_line_57 |  | 57 | 63 | 0.013241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-179_0_5_line_58 |  | 57 | 62 | 0.013552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
59 | LV_351-179_0_5_line_59 |  | 58 | 59 | 0.012379 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-179_0_5_line_60 |  | 58 | 60 | 0.025197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_351-179_0_5_line_61 |  | 60 | 61 | 0.012385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-179_0_5_line_62 |  | 60 | 62 | 0.011682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-179_0_5_trafo_12 | 0.63 MVA 20/0.4 kV | 64 | 23 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2602803.2546 | 1198984.8399 | 2602803.7487 | 1198986.4298 | 2602803.7251 | 1198988.1196 | 2602803.3587 | 1198990.2206 | 2602800.6935 | 1198998.843
1 | 2602803.2546 | 1198984.8399 | 2602803.2546 | 1198984.8399 | 2602802.2577 | 1198983.6388 | 2602801.2607 | 1198982.7267 | 2602799.9286 | 1198982.048 | 2602793.6371 | 1198980.1224
2 | 2602783.7071 | 1199007.2983 | 2602790.3911 | 1199009.3805 | 2602792.1193 | 1199009.7592 | 2602794.3121 | 1199009.6935 | 2602795.858 | 1199009.1162 | 2602797.1985 | 1199008.094 | 2602798.1586 | 1199006.5936 | 2602798.7684 | 1199005.0709 | 2602800.6935 | 1198998.843
3 | 2602766.4754 | 1198971.8092 | 2602793.6371 | 1198980.1224
4 | 2602755.4771 | 1198998.5041 | 2602783.7071 | 1199007.2983
5 | 2602741.2807 | 1198964.0981 | 2602766.4754 | 1198971.8092
6 | 2602754.3112 | 1198998.1409 | 2602755.4771 | 1198998.5041
7 | 2602717.9 | 1198956.9421 | 2602741.2807 | 1198964.0981
8 | 2602754.3112 | 1198998.1409 | 2602733.5601 | 1198991.6765
9 | 2602773.288 | 1199082.0672 | 2602772.7325 | 1199081.3332 | 2602773.3131 | 1199076.9533 | 2602772.598 | 1199075.6634 | 2602771.5538 | 1199075.4663
10 | 2602773.288 | 1199082.0672 | 2602771.871 | 1199083.7674 | 2602766.169 | 1199116.1266
11 | 2602800.5122 | 1199087.7715 | 2602779.2945 | 1199083.7374 | 2602773.813 | 1199082.7678 | 2602773.288 | 1199082.0672
12 | 2602760.2652 | 1199123.0499 | 2602761.0361 | 1199118.848 | 2602766.169 | 1199116.1266
13 | 2602800.5122 | 1199087.7715 | 2602794.4524 | 1199124.6212
14 | 2602800.5122 | 1199087.7715 | 2602827.0825 | 1199092.2667
15 | 2602760.2652 | 1199123.0499 | 2602691.9231 | 1199091.4248
16 | 2602717.9 | 1198956.9421 | 2602732.3558 | 1198929.4227 | 2602733.3692 | 1198927.7778 | 2602734.4206 | 1198926.422 | 2602735.5784 | 1198925.2108 | 2602736.7514 | 1198924.2886 | 2602739.5997 | 1198922.8669 | 2602741.6786 | 1198922.1452
17 | 2602741.6786 | 1198922.1452 | 2602743.6812 | 1198921.8237 | 2602745.6685 | 1198921.7023 | 2602747.6481 | 1198921.7476 | 2602749.5819 | 1198922.1487 | 2602751.5232 | 1198922.7277 | 2602769.0006 | 1198932.1962 | 2602774.5539 | 1198934.8223
18 | 2602809.5233 | 1198946.1443 | 2602783.2207 | 1198938.3503 | 2602780.2594 | 1198937.2373 | 2602776.4835 | 1198935.7348 | 2602774.5539 | 1198934.8223
19 | 2602809.5233 | 1198946.1443 | 2602838.2085 | 1198955.1401 | 2602839.8528 | 1198955.7189 | 2602842.5475 | 1198957.0876 | 2602844.1459 | 1198958.3112
20 | 2602844.1459 | 1198958.3112 | 2602845.7365 | 1198959.7683 | 2602847.1214 | 1198961.5699 | 2602848.0038 | 1198963.3157 | 2602848.5285 | 1198964.8056 | 2602848.9006 | 1198966.7846 | 2602850.0919 | 1198983.1169
21 | 2602844.1459 | 1198958.3112 | 2602851.9493 | 1198960.2158 | 2602876.2729 | 1198966.286
22 | 2602850.5727 | 1198989.7088 | 2602850.0919 | 1198983.1169
23 | 2602850.5727 | 1198989.7088 | 2602851.1174 | 1198997.1352 | 2602851.4745 | 1198998.6806 | 2602852.1288 | 1198999.8149 | 2602852.8593 | 1199000.7602 | 2602854.1532 | 1199001.7057 | 2602855.6986 | 1199002.1734 | 2602857.0994 | 1199002.4408 | 2602859.4671 | 1199002.8755
24 | 2602850.5727 | 1198989.7088 | 2602833.2537 | 1199000.462 | 2602832.3089 | 1199001.9735 | 2602830.529 | 1199011.4089
25 | 2602827.0825 | 1199092.2667 | 2602847.9116 | 1199095.7906
26 | 2602883.1499 | 1199100.4215 | 2602876.9868 | 1199099.8245 | 2602854.3449 | 1199096.879 | 2602847.9116 | 1199095.7906
27 | 2602916.5702 | 1199103.6587 | 2602883.1499 | 1199100.4215
28 | 2602791.8237 | 1199140.6069 | 2602794.4524 | 1199124.6212
29 | 2602827.8362 | 1199025.6841 | 2602830.529 | 1199011.4089
30 | 2602950.7813 | 1199106.9725 | 2602916.5702 | 1199103.6587
31 | 2602929.4891 | 1199040.6621 | 2602916.5702 | 1199103.6587
32 | 2602791.8237 | 1199140.6069 | 2602798.8886 | 1199141.7997 | 2602811.1611 | 1199143.4728 | 2602837.2385 | 1199146.1971
33 | 2602929.4891 | 1199040.6621 | 2602931.4652 | 1199029.6046
34 | 2602931.4652 | 1199029.6046 | 2602931.638 | 1199028.6379
35 | 2602853.3046 | 1199146.5271 | 2602843.5482 | 1199146.8563 | 2602837.2385 | 1199146.1971
36 | 2603033.7576 | 1199030.9855 | 2603014.9707 | 1199027.5429
37 | 2603008.9387 | 1199026.4375 | 2603014.9707 | 1199027.5429
38 | 2603056.1563 | 1199033.209 | 2603052.463 | 1199034.4189 | 2603033.7576 | 1199030.9855
39 | 2603008.9387 | 1199026.4375 | 2602997.8204 | 1199024.4026
40 | 2603006.6638 | 1199038.5651 | 2603007.1829 | 1199035.7416 | 2603008.0379 | 1199031.1396 | 2603008.9387 | 1199026.4375
41 | 2603056.1563 | 1199033.209 | 2603051.4574 | 1199020.3664 | 2603050.8796 | 1199018.7208 | 2603050.3401 | 1199016.4082 | 2603050.181 | 1199014.8628 | 2603050.0846 | 1199010.7634
42 | 2602984.0587 | 1199022.2231 | 2602985.5511 | 1199022.1571 | 2602997.8204 | 1199024.4026
43 | 2602984.0587 | 1199022.2231 | 2602975.3331 | 1199022.5857 | 2602963.6478 | 1199020.4432
44 | 2602981.6235 | 1199035.3956 | 2602982.2876 | 1199031.8162 | 2602983.1274 | 1199027.2475 | 2602984.0587 | 1199022.2231
45 | 2602958.9191 | 1199019.5761 | 2602963.6478 | 1199020.4432
46 | 2602865.5378 | 1199146.1144 | 2602853.3046 | 1199146.5271
47 | 2602869.9527 | 1199145.9655 | 2602865.5378 | 1199146.1144
48 | 2602893.9692 | 1199145.6983 | 2602916.5946 | 1199145.4899 | 2602921.1839 | 1199145.9184
49 | 2602893.9692 | 1199145.6983 | 2602871.8259 | 1199145.9023 | 2602869.9527 | 1199145.9655
50 | 2602934.1611 | 1199014.9061 | 2602933.3901 | 1199018.9969 | 2602932.5504 | 1199023.5322 | 2602931.638 | 1199028.6379
51 | 2602958.9191 | 1199019.5761 | 2602934.1611 | 1199014.9061
52 | 2602934.1611 | 1199014.9061 | 2602929.9031 | 1199014.1049
53 | 2602958.9191 | 1199019.5761 | 2602958.3389 | 1199022.633 | 2602957.5068 | 1199027.1795 | 2602956.8046 | 1199030.9034
54 | 2602958.9191 | 1199019.5761 | 2602958.8534 | 1198982.1116
55 | 2602929.9031 | 1199014.1049 | 2602916.9248 | 1199011.6628 | 2602915.5971 | 1199011.6125
56 | 2602909.2045 | 1199011.3701 | 2602915.5971 | 1199011.6125
57 | 2602909.2045 | 1199011.3701 | 2602908.4565 | 1199015.4053 | 2602907.6092 | 1199019.9184 | 2602906.7848 | 1199024.3871
58 | 2602909.2045 | 1199011.3701 | 2602904.6439 | 1199011.2012 | 2602895.8048 | 1199009.5728
59 | 2602859.4671 | 1199002.8755 | 2602858.8869 | 1199006.1992 | 2602858.0396 | 1199010.8569 | 2602857.2839 | 1199015.0588
60 | 2602884.3167 | 1199007.4563 | 2602859.4671 | 1199002.8755
61 | 2602884.3167 | 1199007.4563 | 2602883.6831 | 1199010.78 | 2602882.8511 | 1199015.3265 | 2602882.042 | 1199019.6284
62 | 2602884.3167 | 1199007.4563 | 2602895.8048 | 1199009.5728

## bus_geodata
| x | y | coords
0 | 2602803.2546 | 1198984.8399
1 | 2602800.6935 | 1198998.843
2 | 2602793.6371 | 1198980.1224
3 | 2602783.7071 | 1199007.2983
4 | 2602766.4754 | 1198971.8092
5 | 2602755.4771 | 1198998.5041
6 | 2602741.2807 | 1198964.0981
7 | 2602754.3112 | 1198998.1409
8 | 2602773.288 | 1199082.0672
9 | 2602771.5538 | 1199075.4663
10 | 2602766.169 | 1199116.1266
11 | 2602800.5122 | 1199087.7715
12 | 2602760.2652 | 1199123.0499
13 | 2602691.9231 | 1199091.4248
14 | 2602717.9 | 1198956.9421
15 | 2602741.6786 | 1198922.1452
16 | 2602774.5539 | 1198934.8223
17 | 2602733.5601 | 1198991.6765
18 | 2602809.5233 | 1198946.1443
19 | 2602844.1459 | 1198958.3112
20 | 2602850.0919 | 1198983.1169
21 | 2602876.2729 | 1198966.286
22 | 2602850.5727 | 1198989.7088
23 | 2602827.0825 | 1199092.2667
24 | 2602847.9116 | 1199095.7906
25 | 2602883.1499 | 1199100.4215
26 | 2602794.4524 | 1199124.6212
27 | 2602827.8362 | 1199025.6841
28 | 2602830.529 | 1199011.4089
29 | 2602916.5702 | 1199103.6587
30 | 2602791.8237 | 1199140.6069
31 | 2602950.7813 | 1199106.9725
32 | 2602929.4891 | 1199040.6621
33 | 2602931.4652 | 1199029.6046
34 | 2602837.2385 | 1199146.1971
35 | 2603014.9707 | 1199027.5429
36 | 2603033.7576 | 1199030.9855
37 | 2603008.9387 | 1199026.4375
38 | 2603056.1563 | 1199033.209
39 | 2602997.8204 | 1199024.4026
40 | 2603006.6638 | 1199038.5651
41 | 2603050.0846 | 1199010.7634
42 | 2602984.0587 | 1199022.2231
43 | 2602963.6478 | 1199020.4432
44 | 2602981.6235 | 1199035.3956
45 | 2602853.3046 | 1199146.5271
46 | 2602865.5378 | 1199146.1144
47 | 2602893.9692 | 1199145.6983
48 | 2602921.1839 | 1199145.9184
49 | 2602869.9527 | 1199145.9655
50 | 2602931.638 | 1199028.6379
51 | 2602934.1611 | 1199014.9061
52 | 2602958.9191 | 1199019.5761
53 | 2602929.9031 | 1199014.1049
54 | 2602956.8046 | 1199030.9034
55 | 2602958.8534 | 1198982.1116
56 | 2602915.5971 | 1199011.6125
57 | 2602909.2045 | 1199011.3701
58 | 2602859.4671 | 1199002.8755
59 | 2602857.2839 | 1199015.0588
60 | 2602884.3167 | 1199007.4563
61 | 2602882.042 | 1199019.6284
62 | 2602895.8048 | 1199009.5728
63 | 2602906.7848 | 1199024.3871
64 | 2602800.5122 | 1199087.7715

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1