## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-195_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-195_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-195_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_351-195_0_3_node_22 | 0.4 | n |  | TRUE
4 | bus_LV_351-195_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-195_0_3_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_351-195_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_351-195_0_3_node_23 | 0.4 | n |  | TRUE
8 | bus_LV_351-195_0_3_node_30 | 0.4 | n |  | TRUE
9 | bus_LV_351-195_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_351-195_0_3_node_28 | 0.4 | n |  | TRUE
11 | bus_LV_351-195_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_351-195_0_3_node_29 | 0.4 | n |  | TRUE
13 | bus_LV_351-195_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_351-195_0_3_node_31 | 0.4 | n |  | TRUE
15 | bus_LV_351-195_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_351-195_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_351-195_0_3_node_40 | 0.4 | n |  | TRUE
18 | bus_LV_351-195_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_351-195_0_3_node_18 | 0.4 | n |  | TRUE
20 | bus_LV_351-195_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_351-195_0_3_node_47 | 0.4 | n |  | TRUE
22 | bus_LV_351-195_0_3_node_33 | 0.4 | n |  | TRUE
23 | bus_LV_351-195_0_3_node_32 | 0.4 | n |  | TRUE
24 | bus_LV_351-195_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_351-195_0_3_node_46 | 0.4 | n |  | TRUE
26 | bus_LV_351-195_0_3_node_48 | 0.4 | n |  | TRUE
27 | bus_LV_351-195_0_3_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_351-195_0_3_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_351-195_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_351-195_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_351-195_0_3_node_51 | 0.4 | n |  | TRUE
32 | bus_LV_351-195_0_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_351-195_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_351-195_0_3_node_37 | 0.4 | n |  | TRUE
35 | bus_LV_351-195_0_3_node_50 | 0.4 | n |  | TRUE
36 | bus_LV_351-195_0_3_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_351-195_0_3_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_351-195_0_3_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_351-195_0_3_node_38 | 0.4 | n |  | TRUE
40 | bus_LV_351-195_0_3_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_351-195_0_3_node_43 | 0.4 | n |  | TRUE
42 | bus_LV_351-195_0_3_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_351-195_0_3_node_49 | 0.4 | n |  | TRUE
44 | bus_LV_351-195_0_3_node_42 | 0.4 | n |  | TRUE
45 | bus_LV_351-195_0_3_node_41 | 0.4 | n |  | TRUE
46 | bus_MV_602_0_node_173 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-195_0_3_load_0 | 0 | 0.028544 | 0.0071537 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-195_0_3_load_22 | 3 | 0.075222 | 0.018852 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-195_0_3_load_23 | 7 | 0.018911 | 0.0047394 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-195_0_3_load_30 | 8 | 0.0098957 | 0.0024801 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-195_0_3_load_28 | 10 | 0.011307 | 0.0028339 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-195_0_3_load_29 | 12 | 0.001125 | 0.00028196 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-195_0_3_load_40 | 17 | 0.00089046 | 0.00022317 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-195_0_3_load_47 | 21 | 0.012181 | 0.0030528 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-195_0_3_load_32 | 23 | 0.00015168 | 3.8016e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-195_0_3_load_46 | 25 | 0.012164 | 0.0030487 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-195_0_3_load_48 | 26 | 0.014935 | 0.0037432 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-195_0_3_load_25 | 29 | 0.0036179 | 0.00090673 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-195_0_3_load_26 | 30 | 0.0012255 | 0.00030714 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-195_0_3_load_51 | 31 | 0.0039646 | 0.00099363 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-195_0_3_load_37 | 34 | 0.00025625 | 6.4223e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-195_0_3_load_50 | 35 | 0.019227 | 0.0048188 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-195_0_3_load_34 | 37 | 0.00094892 | 0.00023782 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-195_0_3_load_38 | 39 | 0.001274 | 0.00031929 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-195_0_3_load_44 | 40 | 0.002525 | 0.00063282 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-195_0_3_load_36 | 42 | 0.0014095 | 0.00035325 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-195_0_3_load_49 | 43 | 0.0085551 | 0.0021441 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-195_0_3_load_41 | 45 | 0.017546 | 0.0043975 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-195_0_3_line_0 |  | 0 | 1 | 0.074804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-195_0_3_line_1 |  | 1 | 2 | 0.11231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-195_0_3_line_2 |  | 2 | 3 | 0.05526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_351-195_0_3_line_3 |  | 3 | 4 | 0.032959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_351-195_0_3_line_4 |  | 4 | 5 | 0.18897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
5 | LV_351-195_0_3_line_5 |  | 5 | 8 | 0.0073053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_351-195_0_3_line_6 |  | 5 | 6 | 0.17103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_351-195_0_3_line_7 |  | 6 | 7 | 0.028065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-195_0_3_line_8 |  | 7 | 27 | 0.03725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-195_0_3_line_9 |  | 8 | 9 | 0.068456 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_351-195_0_3_line_10 |  | 9 | 10 | 0.01474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_351-195_0_3_line_11 |  | 10 | 11 | 0.058266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_351-195_0_3_line_12 |  | 11 | 12 | 0.014103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_351-195_0_3_line_13 |  | 12 | 13 | 0.043695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_351-195_0_3_line_14 |  | 13 | 14 | 0.00985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-195_0_3_line_15 |  | 14 | 31 | 0.048873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-195_0_3_line_16 |  | 14 | 32 | 0.063576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-195_0_3_line_17 |  | 15 | 16 | 0.023898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-195_0_3_line_18 |  | 15 | 17 | 0.038056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-195_0_3_line_19 |  | 16 | 22 | 0.014452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-195_0_3_line_20 |  | 16 | 23 | 0.064118 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-195_0_3_line_21 |  | 18 | 19 | 0.22457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-195_0_3_line_22 |  | 18 | 20 | 0.054294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-195_0_3_line_23 |  | 18 | 21 | 0.043371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-195_0_3_line_24 |  | 19 | 26 | 0.0023287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-195_0_3_line_25 |  | 20 | 24 | 0.071429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-195_0_3_line_26 |  | 20 | 25 | 0.0090486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-195_0_3_line_27 |  | 21 | 28 | 0.011175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-195_0_3_line_28 |  | 22 | 33 | 0.041278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-195_0_3_line_29 |  | 22 | 34 | 0.048052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-195_0_3_line_30 |  | 24 | 35 | 0.012647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-195_0_3_line_31 |  | 27 | 28 | 0.034575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-195_0_3_line_32 |  | 29 | 30 | 0.023884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-195_0_3_line_33 |  | 30 | 36 | 0.011969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-195_0_3_line_34 |  | 32 | 40 | 0.015413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-195_0_3_line_35 |  | 32 | 38 | 0.024497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-195_0_3_line_36 |  | 33 | 41 | 0.001434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-195_0_3_line_37 |  | 34 | 42 | 0.017152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-195_0_3_line_38 |  | 36 | 37 | 0.031946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-195_0_3_line_39 |  | 36 | 38 | 0.012412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-195_0_3_line_40 |  | 38 | 39 | 0.01773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-195_0_3_line_41 |  | 39 | 42 | 0.030281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-195_0_3_line_42 |  | 41 | 43 | 0.077582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-195_0_3_line_43 |  | 41 | 44 | 0.048198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-195_0_3_line_44 |  | 44 | 45 | 0.22019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-195_0_3_trafo_6 | 0.63 MVA 20/0.4 kV | 46 | 6 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2602987.738 | 1201558.676 | 2602949.1241 | 1201506.4958 | 2602940.7929 | 1201501.1667
1 | 2603076.9257 | 1201500.1887 | 2603063.7772 | 1201509.8762 | 2603050.4842 | 1201519.5859 | 2602991.1985 | 1201563.358 | 2602987.738 | 1201558.676
2 | 2603076.9257 | 1201500.1887 | 2603116.7979 | 1201470.8042 | 2603121.431 | 1201467.433
3 | 2603148.0821 | 1201448.0413 | 2603121.431 | 1201467.433
4 | 2603148.0821 | 1201448.0413 | 2603154.0284 | 1201443.5086 | 2603163.1725 | 1201436.6429 | 2603165.9186 | 1201439.3791 | 2603177.0213 | 1201441.9974 | 2603182.2414 | 1201443.7344 | 2603184.8591 | 1201444.6029 | 2603191.6154 | 1201448.5085 | 2603197.2141 | 1201453.8699 | 2603201.9747 | 1201460.8428 | 2603205.351 | 1201466.4365 | 2603206.6659 | 1201469.8057 | 2603207.6539 | 1201472.3298 | 2603210.1509 | 1201485.5382 | 2603215.3642 | 1201514.6011 | 2603222.2253 | 1201550.3017 | 2603228.969 | 1201549.0935 | 2603231.4503 | 1201562.9801 | 2603239.7466 | 1201561.5726 | 2603240.6904 | 1201561.4064
5 | 2603240.6904 | 1201561.4064 | 2603243.9785 | 1201560.8189 | 2603247.881 | 1201560.1167
6 | 2603134.2309 | 1201610.4328 | 2603150.2602 | 1201607.5506 | 2603153.183 | 1201606.9962 | 2603176.7704 | 1201602.5616 | 2603175.8294 | 1201597.3139 | 2603171.5796 | 1201573.8879 | 2603185.0288 | 1201571.4714 | 2603182.479 | 1201557.4514 | 2603222.2253 | 1201550.3017 | 2603228.969 | 1201549.0935 | 2603231.4503 | 1201562.9801 | 2603239.7466 | 1201561.5726 | 2603240.6904 | 1201561.4064
7 | 2603134.2309 | 1201610.4328 | 2603146.0151 | 1201634.0627 | 2603146.2823 | 1201635.7003
8 | 2603152.2816 | 1201672.4644 | 2603146.2823 | 1201635.7003
9 | 2603315.2352 | 1201549.4844 | 2603313.7514 | 1201548.9611 | 2603311.9554 | 1201548.7822 | 2603309.8319 | 1201548.9701 | 2603247.881 | 1201560.1167
10 | 2603315.2352 | 1201549.4844 | 2603316.7188 | 1201550.3857 | 2603318.8185 | 1201551.9432 | 2603320.4998 | 1201553.1781 | 2603322.5387 | 1201554.4466 | 2603324.9507 | 1201555.5819 | 2603328.0044 | 1201556.654
11 | 2603373.0378 | 1201535.9421 | 2603371.2075 | 1201542.6336 | 2603370.7576 | 1201544.3009 | 2603369.3022 | 1201547.5241 | 2603368.3575 | 1201549.2689 | 2603367.1998 | 1201550.8247 | 2603365.7224 | 1201552.5359 | 2603363.8264 | 1201554.3358 | 2603361.2074 | 1201556.0464 | 2603357.9797 | 1201557.4343 | 2603354.6532 | 1201558.5775 | 2603350.9997 | 1201559.3982 | 2603346.7604 | 1201559.6626 | 2603341.7299 | 1201559.6154 | 2603336.1669 | 1201558.9231 | 2603330.2466 | 1201557.4413 | 2603328.0044 | 1201556.654
12 | 2603373.0378 | 1201535.9421 | 2603386.577 | 1201539.8898
13 | 2603428.2319 | 1201546.3896 | 2603426.77 | 1201547.5227 | 2603424.8287 | 1201548.5889 | 2603423.1998 | 1201549.066 | 2603421.6547 | 1201549.2319 | 2603419.9575 | 1201549.2421 | 2603418.3214 | 1201548.9632 | 2603416.3581 | 1201548.573 | 2603386.577 | 1201539.8898
14 | 2603428.2319 | 1201546.3896 | 2603437.1263 | 1201550.6747
15 | 2603399.9632 | 1201565.1172 | 2603416.5589 | 1201570.5405 | 2603418.2179 | 1201570.7638 | 2603419.8541 | 1201570.7314 | 2603421.4221 | 1201570.4654 | 2603423.188 | 1201569.9773 | 2603424.6343 | 1201569.4556 | 2603425.9132 | 1201568.8782 | 2603427.2532 | 1201568.023 | 2603428.6466 | 1201566.8342 | 2603429.8954 | 1201565.5564 | 2603430.7561 | 1201564.4341 | 2603431.6396 | 1201563.1672 | 2603432.7519 | 1201561.1668 | 2603433.4376 | 1201559.7553 | 2603437.1263 | 1201550.6747
16 | 2603493.9079 | 1201579.3224 | 2603491.2684 | 1201577.0197 | 2603487.8447 | 1201575.1056 | 2603437.1263 | 1201550.6747
17 | 2603529.2231 | 1201667.7571 | 2603534.009 | 1201669.6498 | 2603549.0918 | 1201658.5081
18 | 2603549.0918 | 1201658.5081 | 2603557.0065 | 1201695.7315
19 | 2603529.2231 | 1201667.7571 | 2603515.748 | 1201662.4354
20 | 2603529.2231 | 1201667.7571 | 2603466.1142 | 1201679.0893
21 | 2603105.4981 | 1201706.2142 | 2603106.5027 | 1201706.2036 | 2603107.218 | 1201706.3596 | 2603107.8799 | 1201706.7046 | 2603108.3439 | 1201707.2607 | 2603108.6023 | 1201707.7944 | 2603108.8074 | 1201708.5283 | 2603110.1883 | 1201716.8001 | 2603110.6444 | 1201717.9454 | 2603113.2072 | 1201721.6932 | 2603114.0287 | 1201722.5496 | 2603116.0369 | 1201724.3627 | 2603122.8831 | 1201730.514 | 2603128.2003 | 1201735.2859 | 2603137.5655 | 1201741.5497 | 2603144.2767 | 1201743.6876 | 2603151.4996 | 1201742.5018 | 2603163.7418 | 1201806.8428 | 2603176.402 | 1201871.6955 | 2603176.7134 | 1201872.8963 | 2603177.1923 | 1201873.986 | 2603177.8236 | 1201874.6645 | 2603178.6604 | 1201875.1986 | 2603179.9235 | 1201875.5661 | 2603181.3619 | 1201875.4668 | 2603202.3604 | 1201871.898
22 | 2603051.8936 | 1201714.8363 | 2603059.8775 | 1201713.6286 | 2603063.31 | 1201713.1189 | 2603079.5977 | 1201710.5034 | 2603105.4981 | 1201706.2142
23 | 2603105.4981 | 1201706.2142 | 2603148.2299 | 1201698.7933
24 | 2603202.3604 | 1201871.898 | 2603202.0113 | 1201869.8857 | 2603202.204 | 1201869.674
25 | 2603050.8596 | 1201651.7129 | 2603055.7156 | 1201681.2646 | 2603046.8639 | 1201682.7165 | 2603047.8502 | 1201688.7869 | 2603051.8936 | 1201714.8363
26 | 2603051.8936 | 1201714.8363 | 2603042.9658 | 1201716.3104
27 | 2603159.2401 | 1201696.8812 | 2603148.2299 | 1201698.7933
28 | 2603477.2629 | 1201647.2273 | 2603515.748 | 1201662.4354
29 | 2603515.748 | 1201662.4354 | 2603532.8573 | 1201621.4898 | 2603533.2386 | 1201620.0671 | 2603532.6154 | 1201618.6437 | 2603532.1011 | 1201618.249
30 | 2603038.3469 | 1201653.7855 | 2603050.8596 | 1201651.7129
31 | 2603152.2816 | 1201672.4644 | 2603165.3068 | 1201679.9307 | 2603158.1483 | 1201689.0097 | 2603157.9882 | 1201689.6099 | 2603159.2401 | 1201696.8812
32 | 2603489.6475 | 1201528.9649 | 2603501.9532 | 1201538.0937 | 2603508.8228 | 1201543.2033
33 | 2603514.9587 | 1201553.1649 | 2603514.5486 | 1201551.6972 | 2603513.9788 | 1201549.8403 | 2603512.9601 | 1201547.9609 | 2603512.0325 | 1201546.3595 | 2603510.732 | 1201544.8468 | 2603509.0433 | 1201543.3673 | 2603508.8228 | 1201543.2033
34 | 2603493.9079 | 1201579.3224 | 2603495.8009 | 1201582.881 | 2603496.4527 | 1201587.5728 | 2603496.1074 | 1201592.553 | 2603495.8022 | 1201594.1775
35 | 2603513.8481 | 1201565.4709 | 2603510.3009 | 1201566.6139 | 2603507.0654 | 1201568.2907 | 2603502.7253 | 1201571.8123 | 2603493.9079 | 1201579.3224
36 | 2603475.9237 | 1201646.704 | 2603477.2629 | 1201647.2273
37 | 2603517.3603 | 1201609.7154 | 2603522.6799 | 1201611.9121 | 2603525.0385 | 1201613.0585 | 2603526.3091 | 1201613.8041 | 2603532.1011 | 1201618.249
38 | 2603514.9587 | 1201553.1649 | 2603518.9162 | 1201553.1449 | 2603542.2565 | 1201568.7113
39 | 2603513.8481 | 1201565.4709 | 2603514.3287 | 1201563.3811 | 2603514.8482 | 1201559.9796 | 2603515.0942 | 1201555.7886 | 2603514.9587 | 1201553.1649
40 | 2603513.8481 | 1201565.4709 | 2603515.7415 | 1201568.1401 | 2603517.0861 | 1201572.4654 | 2603517.6843 | 1201577.7352 | 2603517.1337 | 1201582.3263
41 | 2603517.1337 | 1201582.3263 | 2603517.1337 | 1201582.3263 | 2603512.6928 | 1201602.4012 | 2603512.5394 | 1201604.4356 | 2603513.162 | 1201606.8928 | 2603515.1853 | 1201608.8172 | 2603517.3603 | 1201609.7154
42 | 2603399.2634 | 1201659.9791 | 2603475.9237 | 1201646.704
43 | 2603430.9861 | 1201628.9468 | 2603475.9237 | 1201646.704
44 | 2603430.9861 | 1201628.9468 | 2603421.7531 | 1201618.0246 | 2603413.7966 | 1201610.5606 | 2603406.8582 | 1201606.2766 | 2603399.3102 | 1201603.2263 | 2603392.5755 | 1201602.1998 | 2603381.7536 | 1201601.5823 | 2603357.2631 | 1201601.1686 | 2603345.2158 | 1201600.7506 | 2603336.2359 | 1201599.7229 | 2603319.9046 | 1201597.8908 | 2603317.8874 | 1201598.6012 | 2603310.8664 | 1201606.0681 | 2603310.074 | 1201607.8242 | 2603315.802 | 1201640.9118 | 2603315.8777 | 1201641.5788 | 2603315.8469 | 1201642.2459 | 2603315.5878 | 1201642.8683 | 2603315.169 | 1201643.2571 | 2603314.7427 | 1201643.4237 | 2603267.5223 | 1201652.4586

## bus_geodata
| x | y | coords
0 | 2602940.7929 | 1201501.1667
1 | 2602987.738 | 1201558.676
2 | 2603076.9257 | 1201500.1887
3 | 2603121.431 | 1201467.433
4 | 2603148.0821 | 1201448.0413
5 | 2603240.6904 | 1201561.4064
6 | 2603134.2309 | 1201610.4328
7 | 2603146.2823 | 1201635.7003
8 | 2603247.881 | 1201560.1167
9 | 2603315.2352 | 1201549.4844
10 | 2603328.0044 | 1201556.654
11 | 2603373.0378 | 1201535.9421
12 | 2603386.577 | 1201539.8898
13 | 2603428.2319 | 1201546.3896
14 | 2603437.1263 | 1201550.6747
15 | 2603549.0918 | 1201658.5081
16 | 2603529.2231 | 1201667.7571
17 | 2603557.0065 | 1201695.7315
18 | 2603105.4981 | 1201706.2142
19 | 2603202.3604 | 1201871.898
20 | 2603051.8936 | 1201714.8363
21 | 2603148.2299 | 1201698.7933
22 | 2603515.748 | 1201662.4354
23 | 2603466.1142 | 1201679.0893
24 | 2603050.8596 | 1201651.7129
25 | 2603042.9658 | 1201716.3104
26 | 2603202.204 | 1201869.674
27 | 2603152.2816 | 1201672.4644
28 | 2603159.2401 | 1201696.8812
29 | 2603489.6475 | 1201528.9649
30 | 2603508.8228 | 1201543.2033
31 | 2603399.9632 | 1201565.1172
32 | 2603493.9079 | 1201579.3224
33 | 2603477.2629 | 1201647.2273
34 | 2603532.1011 | 1201618.249
35 | 2603038.3469 | 1201653.7855
36 | 2603514.9587 | 1201553.1649
37 | 2603542.2565 | 1201568.7113
38 | 2603513.848 | 1201565.4709
39 | 2603517.1337 | 1201582.3263
40 | 2603495.8022 | 1201594.1775
41 | 2603475.9237 | 1201646.704
42 | 2603517.3603 | 1201609.7154
43 | 2603399.2634 | 1201659.9791
44 | 2603430.9861 | 1201628.9468
45 | 2603267.5223 | 1201652.4586
46 | 2603131.9008 | 1201598.1583

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1