## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-197_0_10_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-197_0_10_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-197_0_10_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-197_0_10_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_351-197_0_10_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_351-197_0_10_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_351-197_0_10_node_84 | 0.4 | n |  | TRUE
7 | bus_LV_351-197_0_10_node_82 | 0.4 | n |  | TRUE
8 | bus_LV_351-197_0_10_node_89 | 0.4 | n |  | TRUE
9 | bus_LV_351-197_0_10_node_90 | 0.4 | n |  | TRUE
10 | bus_LV_351-197_0_10_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_351-197_0_10_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_351-197_0_10_node_35 | 0.4 | n |  | TRUE
13 | bus_LV_351-197_0_10_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_351-197_0_10_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_351-197_0_10_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_351-197_0_10_node_30 | 0.4 | n |  | TRUE
17 | bus_LV_351-197_0_10_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_351-197_0_10_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_351-197_0_10_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_351-197_0_10_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_351-197_0_10_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_351-197_0_10_node_92 | 0.4 | n |  | TRUE
23 | bus_LV_351-197_0_10_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_351-197_0_10_node_91 | 0.4 | n |  | TRUE
25 | bus_LV_351-197_0_10_node_80 | 0.4 | n |  | TRUE
26 | bus_LV_351-197_0_10_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_351-197_0_10_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_351-197_0_10_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_351-197_0_10_node_79 | 0.4 | n |  | TRUE
30 | bus_LV_351-197_0_10_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_351-197_0_10_node_48 | 0.4 | n |  | TRUE
32 | bus_LV_351-197_0_10_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_351-197_0_10_node_19 | 0.4 | n |  | TRUE
34 | bus_LV_351-197_0_10_node_53 | 0.4 | n |  | TRUE
35 | bus_LV_351-197_0_10_node_54 | 0.4 | n |  | TRUE
36 | bus_LV_351-197_0_10_node_51 | 0.4 | n |  | TRUE
37 | bus_LV_351-197_0_10_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_351-197_0_10_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_351-197_0_10_node_70 | 0.4 | n |  | TRUE
40 | bus_LV_351-197_0_10_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_351-197_0_10_node_69 | 0.4 | n |  | TRUE
42 | bus_LV_351-197_0_10_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_351-197_0_10_node_65 | 0.4 | n |  | TRUE
44 | bus_LV_351-197_0_10_node_64 | 0.4 | n |  | TRUE
45 | bus_LV_351-197_0_10_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_351-197_0_10_node_81 | 0.4 | n |  | TRUE
47 | bus_LV_351-197_0_10_node_68 | 0.4 | n |  | TRUE
48 | bus_LV_351-197_0_10_node_85 | 0.4 | n |  | TRUE
49 | bus_LV_351-197_0_10_node_83 | 0.4 | n |  | TRUE
50 | bus_LV_351-197_0_10_node_36 | 0.4 | n |  | TRUE
51 | bus_LV_351-197_0_10_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_351-197_0_10_node_59 | 0.4 | n |  | TRUE
53 | bus_LV_351-197_0_10_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_351-197_0_10_node_34 | 0.4 | n |  | TRUE
55 | bus_LV_351-197_0_10_node_88 | 0.4 | n |  | TRUE
56 | bus_LV_351-197_0_10_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_351-197_0_10_node_56 | 0.4 | n |  | TRUE
58 | bus_LV_351-197_0_10_node_71 | 0.4 | n |  | TRUE
59 | bus_LV_351-197_0_10_node_49 | 0.4 | n |  | TRUE
60 | bus_LV_351-197_0_10_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_351-197_0_10_node_43 | 0.4 | n |  | TRUE
62 | bus_LV_351-197_0_10_node_78 | 0.4 | n |  | TRUE
63 | bus_LV_351-197_0_10_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_351-197_0_10_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_351-197_0_10_node_77 | 0.4 | n |  | TRUE
66 | bus_LV_351-197_0_10_node_63 | 0.4 | n |  | TRUE
67 | bus_LV_351-197_0_10_node_67 | 0.4 | n |  | TRUE
68 | bus_LV_351-197_0_10_node_66 | 0.4 | n |  | TRUE
69 | bus_LV_351-197_0_10_node_45 | 0.4 | n |  | TRUE
70 | bus_LV_351-197_0_10_node_55 | 0.4 | n |  | TRUE
71 | bus_LV_351-197_0_10_node_61 | 0.4 | n |  | TRUE
72 | bus_LV_351-197_0_10_node_75 | 0.4 | n |  | TRUE
73 | bus_LV_351-197_0_10_node_74 | 0.4 | n |  | TRUE
74 | bus_LV_351-197_0_10_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_351-197_0_10_node_37 | 0.4 | n |  | TRUE
76 | bus_LV_351-197_0_10_node_38 | 0.4 | n |  | TRUE
77 | bus_LV_351-197_0_10_node_39 | 0.4 | n |  | TRUE
78 | bus_LV_351-197_0_10_node_40 | 0.4 | n |  | TRUE
79 | bus_LV_351-197_0_10_node_41 | 0.4 | n |  | TRUE
80 | bus_LV_351-197_0_10_node_47 | 0.4 | n |  | TRUE
81 | bus_LV_351-197_0_10_node_62 | 0.4 | n |  | TRUE
82 | bus_LV_351-197_0_10_node_60 | 0.4 | n |  | TRUE
83 | bus_LV_351-197_0_10_node_72 | 0.4 | n |  | TRUE
84 | bus_LV_351-197_0_10_node_73 | 0.4 | n |  | TRUE
85 | bus_LV_351-197_0_10_node_86 | 0.4 | n |  | TRUE
86 | bus_MV_601_0_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-197_0_10_load_0 | 0 | 0.021361 | 0.0053535 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-197_0_10_load_1 | 1 | 0.0076611 | 0.00192 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-197_0_10_load_82 | 7 | 0.0070671 | 0.0017712 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-197_0_10_load_89 | 8 | 0.0073623 | 0.0018452 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-197_0_10_load_90 | 9 | 0.010816 | 0.0027107 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-197_0_10_load_35 | 12 | 0.0051742 | 0.0012968 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-197_0_10_load_29 | 14 | 0.029621 | 0.0074238 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-197_0_10_load_30 | 16 | 0.012783 | 0.0032036 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-197_0_10_load_31 | 19 | 0.022797 | 0.0057135 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-197_0_10_load_92 | 22 | 0.026886 | 0.0067384 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-197_0_10_load_91 | 24 | 0.0031199 | 0.00078192 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-197_0_10_load_42 | 26 | 0.0093764 | 0.00235 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-197_0_10_load_79 | 29 | 0.0084343 | 0.0021138 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-197_0_10_load_76 | 32 | 0.010884 | 0.0027278 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-197_0_10_load_54 | 35 | 0.0016471 | 0.0004128 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-197_0_10_load_51 | 36 | 0.0017899 | 0.00044858 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-197_0_10_load_44 | 37 | 0.018409 | 0.0046137 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-197_0_10_load_70 | 39 | 0.0030031 | 0.00075266 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-197_0_10_load_69 | 41 | 0.0039155 | 0.00098132 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-197_0_10_load_65 | 43 | 0.043972 | 0.01102 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-197_0_10_load_64 | 44 | 0.01852 | 0.0046417 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-197_0_10_load_81 | 46 | 0.0020083 | 0.00050332 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-197_0_10_load_68 | 47 | 0.0025322 | 0.00063463 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-197_0_10_load_85 | 48 | 0.011031 | 0.0027647 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-197_0_10_load_83 | 49 | 0.0069875 | 0.0017512 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-197_0_10_load_36 | 50 | 0.0037667 | 0.00094401 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-197_0_10_load_58 | 51 | 0.018831 | 0.0047195 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-197_0_10_load_59 | 52 | 0.017504 | 0.0043868 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-197_0_10_load_52 | 53 | 0.02451 | 0.0061427 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-197_0_10_load_88 | 55 | 0.010899 | 0.0027317 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-197_0_10_load_71 | 58 | 0.0028536 | 0.00071519 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-197_0_10_load_57 | 60 | 0.0030017 | 0.00075231 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-197_0_10_load_43 | 61 | 0.0085456 | 0.0021417 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-197_0_10_load_78 | 62 | 0.0085352 | 0.0021391 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-197_0_10_load_50 | 63 | 0.017105 | 0.0042868 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-197_0_10_load_46 | 64 | 0.017786 | 0.0044576 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-197_0_10_load_77 | 65 | 0.0070987 | 0.0017791 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-197_0_10_load_63 | 66 | 0.017946 | 0.0044978 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-197_0_10_load_67 | 67 | 0.0032838 | 0.00082299 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-197_0_10_load_66 | 68 | 0.0031328 | 0.00078516 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-197_0_10_load_45 | 69 | 0.0097312 | 0.0024389 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-197_0_10_load_61 | 71 | 0.016748 | 0.0041975 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-197_0_10_load_75 | 72 | 0.0074817 | 0.0018751 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-197_0_10_load_74 | 73 | 0.0024503 | 0.00061411 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-197_0_10_load_87 | 74 | 0.010889 | 0.002729 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-197_0_10_load_37 | 75 | 0.0093117 | 0.0023337 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-197_0_10_load_38 | 76 | 0.01698 | 0.0042556 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-197_0_10_load_40 | 78 | 0.01213 | 0.00304 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-197_0_10_load_41 | 79 | 0.0088488 | 0.0022177 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-197_0_10_load_47 | 80 | 0.016094 | 0.0040336 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-197_0_10_load_62 | 81 | 0.0014506 | 0.00036356 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-197_0_10_load_60 | 82 | 0.017101 | 0.0042859 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-197_0_10_load_72 | 83 | 0.0029149 | 0.00073054 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-197_0_10_load_73 | 84 | 0.0024807 | 0.00062172 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-197_0_10_load_86 | 85 | 0.010922 | 0.0027374 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-197_0_10_line_0 |  | 0 | 1 | 0.021588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-197_0_10_line_1 |  | 0 | 2 | 0.012422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-197_0_10_line_2 |  | 2 | 3 | 0.055312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
3 | LV_351-197_0_10_line_3 |  | 2 | 4 | 0.042665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
4 | LV_351-197_0_10_line_4 |  | 3 | 8 | 0.019367 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-197_0_10_line_5 |  | 3 | 9 | 0.002665 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-197_0_10_line_6 |  | 3 | 5 | 0.05328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
7 | LV_351-197_0_10_line_7 |  | 4 | 13 | 0.082873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
8 | LV_351-197_0_10_line_8 |  | 4 | 14 | 0.0094752 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-197_0_10_line_9 |  | 5 | 6 | 0.037898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
10 | LV_351-197_0_10_line_10 |  | 5 | 7 | 0.015742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-197_0_10_line_11 |  | 6 | 48 | 0.015825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-197_0_10_line_12 |  | 6 | 18 | 0.039699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
13 | LV_351-197_0_10_line_13 |  | 7 | 49 | 0.018073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-197_0_10_line_14 |  | 10 | 11 | 0.07818 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-197_0_10_line_15 |  | 10 | 12 | 0.034632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-197_0_10_line_16 |  | 11 | 18 | 0.056219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
17 | LV_351-197_0_10_line_17 |  | 11 | 19 | 0.021682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
18 | LV_351-197_0_10_line_18 |  | 12 | 50 | 0.032575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-197_0_10_line_19 |  | 13 | 17 | 0.10293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
20 | LV_351-197_0_10_line_20 |  | 14 | 15 | 0.028601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-197_0_10_line_21 |  | 15 | 16 | 0.015545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-197_0_10_line_22 |  | 17 | 26 | 0.022016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
23 | LV_351-197_0_10_line_23 |  | 18 | 55 | 0.015174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-197_0_10_line_24 |  | 19 | 56 | 0.02418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
25 | LV_351-197_0_10_line_25 |  | 20 | 21 | 0.04372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-197_0_10_line_26 |  | 20 | 22 | 0.010951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-197_0_10_line_27 |  | 21 | 44 | 0.072546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-197_0_10_line_28 |  | 21 | 28 | 0.050594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-197_0_10_line_29 |  | 21 | 42 | 0.00501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-197_0_10_line_30 |  | 23 | 24 | 0.016473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-197_0_10_line_31 |  | 23 | 25 | 0.005655 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-197_0_10_line_32 |  | 25 | 39 | 0.017198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-197_0_10_line_33 |  | 25 | 60 | 0.015749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-197_0_10_line_34 |  | 26 | 61 | 0.043039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
35 | LV_351-197_0_10_line_35 |  | 27 | 28 | 0.0088133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
36 | LV_351-197_0_10_line_36 |  | 27 | 29 | 0.013581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
37 | LV_351-197_0_10_line_37 |  | 28 | 37 | 0.022804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
38 | LV_351-197_0_10_line_38 |  | 29 | 62 | 0.030835 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
39 | LV_351-197_0_10_line_39 |  | 30 | 31 | 0.005875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_351-197_0_10_line_40 |  | 30 | 32 | 0.01908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
41 | LV_351-197_0_10_line_41 |  | 31 | 63 | 0.045311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-197_0_10_line_42 |  | 31 | 64 | 0.014252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-197_0_10_line_43 |  | 32 | 65 | 0.029154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
44 | LV_351-197_0_10_line_44 |  | 33 | 34 | 0.029039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-197_0_10_line_45 |  | 33 | 35 | 0.016246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-197_0_10_line_46 |  | 33 | 36 | 0.017294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-197_0_10_line_47 |  | 34 | 66 | 0.015329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-197_0_10_line_48 |  | 35 | 45 | 0.01566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-197_0_10_line_49 |  | 37 | 69 | 0.040364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
50 | LV_351-197_0_10_line_50 |  | 38 | 39 | 0.017557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-197_0_10_line_51 |  | 38 | 40 | 0.030772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-197_0_10_line_52 |  | 38 | 41 | 0.019373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-197_0_10_line_53 |  | 40 | 47 | 0.012862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-197_0_10_line_54 |  | 42 | 43 | 0.021325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-197_0_10_line_55 |  | 45 | 46 | 0.015652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-197_0_10_line_56 |  | 47 | 68 | 0.00064623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-197_0_10_line_57 |  | 48 | 85 | 0.019089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-197_0_10_line_58 |  | 51 | 52 | 0.027539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-197_0_10_line_59 |  | 52 | 63 | 0.032652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-197_0_10_line_60 |  | 53 | 54 | 0.12231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
61 | LV_351-197_0_10_line_61 |  | 54 | 56 | 0.032101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
62 | LV_351-197_0_10_line_62 |  | 55 | 74 | 0.018791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-197_0_10_line_63 |  | 57 | 58 | 0.019033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-197_0_10_line_64 |  | 57 | 59 | 0.00573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-197_0_10_line_65 |  | 58 | 83 | 0.00016047 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-197_0_10_line_66 |  | 59 | 60 | 0.015287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-197_0_10_line_67 |  | 59 | 70 | 0.027265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-197_0_10_line_68 |  | 59 | 80 | 0.016099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-197_0_10_line_69 |  | 61 | 78 | 0.040843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
70 | LV_351-197_0_10_line_70 |  | 62 | 65 | 0.029679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
71 | LV_351-197_0_10_line_71 |  | 64 | 80 | 0.030656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-197_0_10_line_72 |  | 66 | 81 | 0.0002113 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-197_0_10_line_73 |  | 67 | 68 | 0.030344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-197_0_10_line_74 |  | 69 | 79 | 0.039842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
75 | LV_351-197_0_10_line_75 |  | 70 | 71 | 0.017008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-197_0_10_line_76 |  | 71 | 82 | 0.0011317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-197_0_10_line_77 |  | 72 | 73 | 0.028869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-197_0_10_line_78 |  | 73 | 84 | 0.00115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-197_0_10_line_79 |  | 75 | 76 | 0.093557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
80 | LV_351-197_0_10_line_80 |  | 75 | 77 | 0.020717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
81 | LV_351-197_0_10_line_81 |  | 76 | 78 | 0.05863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
82 | LV_351-197_0_10_line_82 |  | 77 | 79 | 0.019282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 5 | cs | TRUE
83 | LV_351-197_0_10_line_83 |  | 81 | 82 | 0.03014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-197_0_10_line_84 |  | 83 | 84 | 0.029288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-197_0_10_trafo_39 | 0.63 MVA 20/0.4 kV | 86 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24
0 | 2602201.7187 | 1200148.4233 | 2602205.3254 | 1200142.1055 | 2602209.3154 | 1200139.3054 | 2602213.7499 | 1200130.9732
1 | 2602195.5602 | 1200159.2112 | 2602201.7187 | 1200148.4233
2 | 2602195.5602 | 1200159.2112 | 2602232.8028 | 1200172.7651 | 2602240.07 | 1200158.8714
3 | 2602154.4877 | 1200148.0129 | 2602163.4163 | 1200149.9504 | 2602165.7151 | 1200150.3625 | 2602177.6201 | 1200152.8792 | 2602195.5602 | 1200159.2112
4 | 2602240.07 | 1200158.8714 | 2602248.4875 | 1200143.0104 | 2602247.2317 | 1200142.3429
5 | 2602240.07 | 1200158.8714 | 2602237.7259 | 1200157.5921
6 | 2602240.07 | 1200158.8714 | 2602232.8028 | 1200172.7651 | 2602268.2262 | 1200185.3737
7 | 2602154.4877 | 1200148.0129 | 2602163.4163 | 1200149.9504 | 2602165.7151 | 1200150.3625 | 2602174.291 | 1200116.5696 | 2602175.5488 | 1200111.6119 | 2602166.9172 | 1200108.9185 | 2602169.7603 | 1200098.4806 | 2602173.1506 | 1200090.7554 | 2602173.4401 | 1200090.1663 | 2602174.4914 | 1200087.9321
8 | 2602154.4877 | 1200148.0129 | 2602145.2935 | 1200145.7222
9 | 2602268.2262 | 1200185.3737 | 2602286.3334 | 1200192.1729 | 2602304.0223 | 1200198.0938
10 | 2602268.2262 | 1200185.3737 | 2602275.4237 | 1200171.3739
11 | 2602304.0223 | 1200198.0938 | 2602308.6159 | 1200189.2686 | 2602310.048 | 1200186.5343 | 2602311.3464 | 1200184.0652
12 | 2602304.0223 | 1200198.0938 | 2602341.7519 | 1200210.7704
13 | 2602284.3596 | 1200157.0533 | 2602280.0633 | 1200165.0449 | 2602278.9749 | 1200164.4664 | 2602275.4237 | 1200171.3739
14 | 2602329.1293 | 1200234.6673 | 2602340.3102 | 1200238.7182 | 2602343.2636 | 1200239.0083 | 2602353.8508 | 1200243.1479 | 2602365.6024 | 1200247.7438 | 2602366.8812 | 1200247.9555 | 2602368.3351 | 1200247.8449 | 2602369.5 | 1200247.5118 | 2602370.9847 | 1200246.6119 | 2602373.3833 | 1200244.7785 | 2602374.2665 | 1200244.3675 | 2602374.8907 | 1200244.2455 | 2602375.6747 | 1200244.357 | 2602379.8838 | 1200245.7149 | 2602383.4185 | 1200239.0905 | 2602386.7629 | 1200232.2325 | 2602390.9907 | 1200224.6857
15 | 2602329.1293 | 1200234.6673 | 2602296.6313 | 1200222.697
16 | 2602390.9907 | 1200224.6857 | 2602372.6716 | 1200214.94 | 2602369.716 | 1200220.2417 | 2602341.7519 | 1200210.7704
17 | 2602390.9907 | 1200224.6857 | 2602401.0578 | 1200205.4821
18 | 2602296.6313 | 1200222.697 | 2602266.0643 | 1200211.438
19 | 2602174.4914 | 1200087.9321 | 2602131.1836 | 1200066.8502 | 2602132.9654 | 1200065.7057 | 2602134.7091 | 1200064.2055 | 2602136.255 | 1200062.6608 | 2602137.6181 | 1200061.216 | 2602138.5245 | 1200059.86 | 2602178.43 | 1200079.6513
20 | 2602118.3528 | 1200144.4207 | 2602120.2862 | 1200144.8438 | 2602126.6058 | 1200141.0662 | 2602145.2935 | 1200145.7222
21 | 2602118.3528 | 1200144.4207 | 2602111.6467 | 1200142.9843 | 2602113.606 | 1200134.5026
22 | 2602178.43 | 1200079.6513 | 2602195.5323 | 1200087.884 | 2602198.3213 | 1200089.0827
23 | 2602341.7519 | 1200210.7704 | 2602344.9973 | 1200204.2459 | 2602347.1608 | 1200199.9889 | 2602348.5988 | 1200197.2293
24 | 2602411.5067 | 1200183.7939 | 2602411.4532 | 1200184.2942 | 2602411.3234 | 1200185.1613 | 2602411.148 | 1200185.9727 | 2602410.8585 | 1200186.7397 | 2602410.1957 | 1200188.0513 | 2602401.0578 | 1200205.4821
25 | 2602158.3103 | 1200013.8422 | 2602162.0548 | 1200016.2893 | 2602164.9622 | 1200018.1246 | 2602169.4559 | 1200011.745 | 2602175.6659 | 1200016.8722 | 2602172.6322 | 1200027.8881 | 2602166.6086 | 1200033.9226
26 | 2602166.6962 | 1200044.4616 | 2602165.3211 | 1200036.6125 | 2602166.6086 | 1200033.9226
27 | 2602158.3103 | 1200013.8422 | 2602131.9186 | 1200054.755 | 2602130.5629 | 1200056.7223 | 2602129.6795 | 1200057.7336 | 2602128.5982 | 1200058.567 | 2602127.5627 | 1200059.2004 | 2602126.177 | 1200059.7891 | 2602124.7229 | 1200060.0554 | 2602123.3831 | 1200060.0661 | 2602121.8531 | 1200059.7542 | 2602120.209 | 1200059.1756 | 2602111.0264 | 1200055.4204
28 | 2602158.3103 | 1200013.8422 | 2602162.0548 | 1200016.2893 | 2602164.9622 | 1200018.1246 | 2602169.4559 | 1200011.745 | 2602188.0867 | 1199982.258
29 | 2602158.3103 | 1200013.8422 | 2602161.0295 | 1200009.6298
30 | 2602332.3937 | 1199956.3525 | 2602345.834 | 1199965.9294
31 | 2602345.834 | 1199965.9294 | 2602350.4765 | 1199969.1774
32 | 2602350.4765 | 1199969.1774 | 2602359.9635 | 1199954.8333
33 | 2602350.4765 | 1199969.1774 | 2602341.7876 | 1199982.3125
34 | 2602198.3213 | 1200089.0827 | 2602218.313 | 1200097.6751 | 2602223.7931 | 1200100.0673 | 2602237.9612 | 1200105.8426
35 | 2602188.0867 | 1199982.258 | 2602190.6916 | 1199978.2234 | 2602192.9538 | 1199974.9113
36 | 2602192.9538 | 1199974.9113 | 2602204.2601 | 1199982.4356
37 | 2602188.0867 | 1199982.258 | 2602207.0726 | 1199994.8896
38 | 2602229.9304 | 1199999.519 | 2602204.2601 | 1199982.4356
39 | 2602294.7932 | 1200042.6847 | 2602296.3229 | 1200043.7081 | 2602299.6944 | 1200045.9439
40 | 2602294.7932 | 1200042.6847 | 2602278.9091 | 1200032.114
41 | 2602299.6944 | 1200045.9439 | 2602308.2716 | 1200051.6501 | 2602315.357 | 1200056.611 | 2602321.6508 | 1200061.3604 | 2602329.375 | 1200067.9001 | 2602335.3868 | 1200073.7007
42 | 2602299.6944 | 1200045.9439 | 2602307.5578 | 1200034.057
43 | 2602278.9091 | 1200032.114 | 2602254.638 | 1200015.9618
44 | 2602433.2729 | 1200061.9371 | 2602409.0943 | 1200045.7522
45 | 2602433.2729 | 1200061.9371 | 2602441.4261 | 1200047.8852
46 | 2602433.2729 | 1200061.9371 | 2602424.5994 | 1200076.8988
47 | 2602409.0943 | 1200045.7522 | 2602396.355 | 1200037.2266
48 | 2602449.2854 | 1200034.3397 | 2602441.4261 | 1200047.8852
49 | 2602207.0726 | 1199994.8896 | 2602240.6782 | 1200017.2479
50 | 2602369.6182 | 1199940.1691 | 2602362.4658 | 1199951.05 | 2602359.9635 | 1199954.8333
51 | 2602369.6182 | 1199940.1691 | 2602392.3818 | 1199955.475 | 2602395.1521 | 1199957.3438
52 | 2602369.6182 | 1199940.1691 | 2602380.4286 | 1199924.0932
53 | 2602395.1521 | 1199957.3438 | 2602405.839 | 1199964.501
54 | 2602161.0295 | 1200009.6298 | 2602142.9522 | 1199998.3185
55 | 2602449.2854 | 1200034.3397 | 2602457.1382 | 1200020.8003
56 | 2602406.376 | 1199964.8606 | 2602405.839 | 1199964.501
57 | 2602321.9984 | 1200169.1183 | 2602319.4311 | 1200174.2423 | 2602318.4484 | 1200176.2097 | 2602314.5425 | 1200177.9869 | 2602311.3464 | 1200184.0652
58 | 2602356.24 | 1200126.464 | 2602357.8552 | 1200122.9294 | 2602358.6332 | 1200118.9942 | 2602358.6195 | 1200114.9809 | 2602358.0577 | 1200110.9786 | 2602357.1837 | 1200107.1651 | 2602356.0051 | 1200103.6405 | 2602354.5677 | 1200100.227 | 2602354.4589 | 1200099.9979
59 | 2602354.4589 | 1200099.9979 | 2602352.6509 | 1200096.1908 | 2602350.536 | 1200092.4769 | 2602347.9492 | 1200088.7294 | 2602344.4569 | 1200083.9922 | 2602340.7818 | 1200079.5218 | 2602335.6454 | 1200073.9502 | 2602335.3868 | 1200073.7007
60 | 2602386.1798 | 1200165.5409 | 2602447.5284 | 1200059.7314
61 | 2602411.5067 | 1200183.7939 | 2602411.4461 | 1200183.0602 | 2602411.3702 | 1200182.3931 | 2602411.2183 | 1200181.5259 | 2602410.8152 | 1200180.7031 | 2602410.1988 | 1200180.1137 | 2602408.9812 | 1200179.1793 | 2602386.1798 | 1200165.5409
62 | 2602358.71 | 1200181.9362 | 2602355.5161 | 1200188.0301 | 2602354.0611 | 1200190.7754 | 2602351.0993 | 1200192.4308 | 2602348.5988 | 1200197.2293
63 | 2602328.5816 | 1199991.8701 | 2602312.7639 | 1199981.2838
64 | 2602328.5816 | 1199991.8701 | 2602333.3535 | 1199995.0625
65 | 2602312.6305 | 1199981.1946 | 2602312.7639 | 1199981.2838
66 | 2602333.3535 | 1199995.0625 | 2602341.7876 | 1199982.3125
67 | 2602333.3535 | 1199995.0625 | 2602356.0561 | 1200010.2571
68 | 2602333.3535 | 1199995.0625 | 2602324.4715 | 1200008.4892
69 | 2602237.9612 | 1200105.8426 | 2602257.7777 | 1200113.9204 | 2602275.889 | 1200120.9932
70 | 2602254.638 | 1200015.9618 | 2602229.9304 | 1199999.519
71 | 2602307.5578 | 1200034.057 | 2602324.4715 | 1200008.4892
72 | 2602396.355 | 1200037.2266 | 2602396.1794 | 1200037.1091
73 | 2602406.376 | 1199964.8606 | 2602431.5885 | 1199981.7459
74 | 2602240.6782 | 1200017.2479 | 2602273.8492 | 1200039.317
75 | 2602356.0561 | 1200010.2571 | 2602370.1908 | 1200019.7166
76 | 2602371.1314 | 1200020.346 | 2602370.1908 | 1200019.7166
77 | 2602287.3349 | 1199964.265 | 2602263.3435 | 1199948.2084
78 | 2602287.3349 | 1199964.265 | 2602288.2905 | 1199964.9046
79 | 2602307.0871 | 1200061.5686 | 2602310.1626 | 1200063.724 | 2602316.1215 | 1200068.2286 | 2602323.45 | 1200074.4236 | 2602329.3247 | 1200080.0844 | 2602334.1186 | 1200085.289 | 2602337.4894 | 1200089.3925 | 2602340.7611 | 1200093.8183 | 2602342.9902 | 1200097.2544 | 2602344.854 | 1200100.5902 | 2602346.2459 | 1200103.8147 | 2602347.3028 | 1200106.9612 | 2602348.0855 | 1200110.5523 | 2602348.5107 | 1200113.454 | 2602348.6773 | 1200115.8665 | 2602348.5698 | 1200118.1121 | 2602348.2722 | 1200120.0575 | 2602347.5637 | 1200121.5914 | 2602346.6421 | 1200122.8028 | 2602345.02 | 1200124.4809 | 2602342.8728 | 1200125.9141 | 2602340.5657 | 1200127.1139 | 2602337.8857 | 1200128.2468 | 2602334.9165 | 1200129.2907 | 2602333.0602 | 1200129.745
80 | 2602289.9032 | 1200049.9979 | 2602303.2903 | 1200058.9077 | 2602307.0871 | 1200061.5686
81 | 2602275.889 | 1200120.9932 | 2602279.12 | 1200122.2549 | 2602289.6314 | 1200125.9164 | 2602295.4771 | 1200127.5861 | 2602301.0109 | 1200128.8555 | 2602308.09 | 1200129.9587 | 2602314.0123 | 1200130.6058 | 2602318.1609 | 1200130.8852 | 2602322.9491 | 1200130.9204 | 2602327.3872 | 1200130.7331 | 2602331.6505 | 1200130.0899 | 2602333.0602 | 1200129.745
82 | 2602289.9032 | 1200049.9979 | 2602273.8492 | 1200039.317
83 | 2602371.1314 | 1200020.346 | 2602396.1794 | 1200037.1091
84 | 2602288.2905 | 1199964.9046 | 2602312.6305 | 1199981.1946

## bus_geodata
| x | y | coords
0 | 2602201.7187 | 1200148.4233
1 | 2602213.7499 | 1200130.9732
2 | 2602195.5602 | 1200159.2112
3 | 2602240.07 | 1200158.8714
4 | 2602154.4877 | 1200148.0129
5 | 2602268.2262 | 1200185.3737
6 | 2602304.0223 | 1200198.0938
7 | 2602275.4237 | 1200171.3739
8 | 2602247.2317 | 1200142.3429
9 | 2602237.7259 | 1200157.5921
10 | 2602329.1293 | 1200234.6673
11 | 2602390.9907 | 1200224.6857
12 | 2602296.6313 | 1200222.697
13 | 2602174.4914 | 1200087.9321
14 | 2602145.2935 | 1200145.7222
15 | 2602118.3528 | 1200144.4207
16 | 2602113.606 | 1200134.5026
17 | 2602178.43 | 1200079.6513
18 | 2602341.7519 | 1200210.7704
19 | 2602401.0578 | 1200205.4821
20 | 2602166.6086 | 1200033.9226
21 | 2602158.3103 | 1200013.8422
22 | 2602166.6962 | 1200044.4616
23 | 2602345.834 | 1199965.9294
24 | 2602332.3937 | 1199956.3525
25 | 2602350.4765 | 1199969.1774
26 | 2602198.3213 | 1200089.0827
27 | 2602192.9538 | 1199974.9113
28 | 2602188.0867 | 1199982.258
29 | 2602204.2601 | 1199982.4356
30 | 2602294.7932 | 1200042.6847
31 | 2602299.6944 | 1200045.9439
32 | 2602278.9091 | 1200032.114
33 | 2602433.2729 | 1200061.9371
34 | 2602409.0943 | 1200045.7522
35 | 2602441.4261 | 1200047.8852
36 | 2602424.5994 | 1200076.8988
37 | 2602207.0726 | 1199994.8896
38 | 2602369.6182 | 1199940.1691
39 | 2602359.9635 | 1199954.8333
40 | 2602395.1521 | 1199957.3438
41 | 2602380.4286 | 1199924.0932
42 | 2602161.0295 | 1200009.6298
43 | 2602142.9522 | 1199998.3185
44 | 2602111.0264 | 1200055.4204
45 | 2602449.2855 | 1200034.3397
46 | 2602457.1382 | 1200020.8003
47 | 2602405.839 | 1199964.501
48 | 2602311.3464 | 1200184.0652
49 | 2602284.3596 | 1200157.0533
50 | 2602266.0643 | 1200211.438
51 | 2602356.24 | 1200126.464
52 | 2602354.4589 | 1200099.9979
53 | 2602447.5284 | 1200059.7314
54 | 2602386.1798 | 1200165.5409
55 | 2602348.5988 | 1200197.2293
56 | 2602411.5067 | 1200183.7939
57 | 2602328.5816 | 1199991.8701
58 | 2602312.7639 | 1199981.2838
59 | 2602333.3535 | 1199995.0625
60 | 2602341.7876 | 1199982.3125
61 | 2602237.9612 | 1200105.8426
62 | 2602229.9304 | 1199999.519
63 | 2602335.3868 | 1200073.7007
64 | 2602307.5578 | 1200034.057
65 | 2602254.638 | 1200015.9618
66 | 2602396.355 | 1200037.2266
67 | 2602431.5885 | 1199981.7459
68 | 2602406.376 | 1199964.8606
69 | 2602240.6782 | 1200017.2479
70 | 2602356.0561 | 1200010.2571
71 | 2602370.1908 | 1200019.7166
72 | 2602263.3435 | 1199948.2084
73 | 2602287.3349 | 1199964.265
74 | 2602358.71 | 1200181.9362
75 | 2602307.0871 | 1200061.5686
76 | 2602333.0602 | 1200129.745
77 | 2602289.9032 | 1200049.9979
78 | 2602275.889 | 1200120.9932
79 | 2602273.8492 | 1200039.317
80 | 2602324.4715 | 1200008.4892
81 | 2602396.1794 | 1200037.1091
82 | 2602371.1314 | 1200020.346
83 | 2602312.6305 | 1199981.1946
84 | 2602288.2905 | 1199964.9046
85 | 2602321.9984 | 1200169.1183
86 | 2602271.052 | 1200077.4613

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1