## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-200_0_9_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-200_0_9_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-200_0_9_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_351-200_0_9_node_2 | 0.4 | n |  | TRUE
4 | bus_LV_351-200_0_9_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_351-200_0_9_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_351-200_0_9_node_3 | 0.4 | n |  | TRUE
7 | bus_LV_351-200_0_9_node_57 | 0.4 | n |  | TRUE
8 | bus_LV_351-200_0_9_node_55 | 0.4 | n |  | TRUE
9 | bus_LV_351-200_0_9_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_351-200_0_9_node_5 | 0.4 | n |  | TRUE
11 | bus_LV_351-200_0_9_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_351-200_0_9_node_13 | 0.4 | n |  | TRUE
13 | bus_LV_351-200_0_9_node_6 | 0.4 | n |  | TRUE
14 | bus_LV_351-200_0_9_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_351-200_0_9_node_62 | 0.4 | n |  | TRUE
16 | bus_LV_351-200_0_9_node_61 | 0.4 | n |  | TRUE
17 | bus_LV_351-200_0_9_node_70 | 0.4 | n |  | TRUE
18 | bus_LV_351-200_0_9_node_68 | 0.4 | n |  | TRUE
19 | bus_LV_351-200_0_9_node_63 | 0.4 | n |  | TRUE
20 | bus_LV_351-200_0_9_node_56 | 0.4 | n |  | TRUE
21 | bus_LV_351-200_0_9_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_351-200_0_9_node_66 | 0.4 | n |  | TRUE
23 | bus_LV_351-200_0_9_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_351-200_0_9_node_10 | 0.4 | n |  | TRUE
25 | bus_LV_351-200_0_9_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_351-200_0_9_node_69 | 0.4 | n |  | TRUE
27 | bus_LV_351-200_0_9_node_67 | 0.4 | n |  | TRUE
28 | bus_LV_351-200_0_9_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_351-200_0_9_node_50 | 0.4 | n |  | TRUE
30 | bus_LV_351-200_0_9_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_351-200_0_9_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_351-200_0_9_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_351-200_0_9_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_351-200_0_9_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_351-200_0_9_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_351-200_0_9_node_18 | 0.4 | n |  | TRUE
37 | bus_LV_351-200_0_9_node_24 | 0.4 | n |  | TRUE
38 | bus_LV_351-200_0_9_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_351-200_0_9_node_37 | 0.4 | n |  | TRUE
40 | bus_LV_351-200_0_9_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_351-200_0_9_node_21 | 0.4 | n |  | TRUE
42 | bus_LV_351-200_0_9_node_52 | 0.4 | n |  | TRUE
43 | bus_LV_351-200_0_9_node_20 | 0.4 | n |  | TRUE
44 | bus_LV_351-200_0_9_node_23 | 0.4 | n |  | TRUE
45 | bus_LV_351-200_0_9_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_351-200_0_9_node_53 | 0.4 | n |  | TRUE
47 | bus_LV_351-200_0_9_node_46 | 0.4 | n |  | TRUE
48 | bus_LV_351-200_0_9_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_351-200_0_9_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_351-200_0_9_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_351-200_0_9_node_58 | 0.4 | n |  | TRUE
52 | bus_LV_351-200_0_9_node_54 | 0.4 | n |  | TRUE
53 | bus_LV_351-200_0_9_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_351-200_0_9_node_45 | 0.4 | n |  | TRUE
55 | bus_LV_351-200_0_9_node_49 | 0.4 | n |  | TRUE
56 | bus_LV_351-200_0_9_node_51 | 0.4 | n |  | TRUE
57 | bus_LV_351-200_0_9_node_33 | 0.4 | n |  | TRUE
58 | bus_LV_351-200_0_9_node_44 | 0.4 | n |  | TRUE
59 | bus_LV_351-200_0_9_node_42 | 0.4 | n |  | TRUE
60 | bus_LV_351-200_0_9_node_48 | 0.4 | n |  | TRUE
61 | bus_LV_351-200_0_9_node_40 | 0.4 | n |  | TRUE
62 | bus_LV_351-200_0_9_node_41 | 0.4 | n |  | TRUE
63 | bus_LV_351-200_0_9_node_43 | 0.4 | n |  | TRUE
64 | bus_MV_601_0_node_112 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-200_0_9_load_0 | 0 | 0.005358 | 0.0013428 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-200_0_9_load_57 | 7 | 0.026361 | 0.0066067 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-200_0_9_load_55 | 8 | 0.02347 | 0.0058821 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-200_0_9_load_65 | 9 | 0.017135 | 0.0042945 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-200_0_9_load_13 | 12 | 0.096799 | 0.02426 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-200_0_9_load_9 | 14 | 0.019281 | 0.0048322 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-200_0_9_load_62 | 15 | 0.029407 | 0.00737 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-200_0_9_load_61 | 16 | 0.023269 | 0.0058318 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-200_0_9_load_70 | 17 | 0.011717 | 0.0029366 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-200_0_9_load_63 | 19 | 0.0291 | 0.007293 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-200_0_9_load_64 | 21 | 0.01839 | 0.004609 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-200_0_9_load_66 | 22 | 0.023924 | 0.005996 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-200_0_9_load_10 | 24 | 0.0043101 | 0.0010802 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-200_0_9_load_69 | 26 | 0.011878 | 0.0029769 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-200_0_9_load_67 | 27 | 0.01205 | 0.00302 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-200_0_9_load_50 | 29 | 0.034748 | 0.0087087 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-200_0_9_load_38 | 32 | 0.0055597 | 0.0013934 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-200_0_9_load_32 | 35 | 0.0013092 | 0.00032811 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-200_0_9_load_37 | 39 | 0.022355 | 0.0056027 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-200_0_9_load_52 | 42 | 0.0037103 | 0.0009299 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-200_0_9_load_35 | 45 | 0.0026731 | 0.00066994 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-200_0_9_load_53 | 46 | 0.019838 | 0.0049718 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-200_0_9_load_46 | 47 | 0.00066532 | 0.00016674 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-200_0_9_load_31 | 48 | 0.029058 | 0.0072826 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-200_0_9_load_60 | 49 | 0.016089 | 0.0040322 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-200_0_9_load_59 | 50 | 0.016089 | 0.0040323 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-200_0_9_load_58 | 51 | 0.016079 | 0.0040297 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-200_0_9_load_54 | 52 | 0.0090367 | 0.0022648 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-200_0_9_load_39 | 53 | 0.0055644 | 0.0013946 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-200_0_9_load_45 | 54 | 0.00066532 | 0.00016674 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-200_0_9_load_49 | 55 | 0.012809 | 0.0032103 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-200_0_9_load_51 | 56 | 0.0019956 | 0.00050015 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-200_0_9_load_33 | 57 | 0.0068924 | 0.0017274 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-200_0_9_load_44 | 58 | 0.0055636 | 0.0013944 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-200_0_9_load_42 | 59 | 0.0055688 | 0.0013957 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-200_0_9_load_48 | 60 | 0.022059 | 0.0055284 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-200_0_9_load_40 | 61 | 0.0055636 | 0.0013944 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-200_0_9_load_43 | 63 | 0.0055664 | 0.0013951 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 33 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-200_0_9_line_0 |  | 0 | 1 | 0.021542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-200_0_9_line_1 |  | 1 | 2 | 0.004813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-200_0_9_line_2 |  | 2 | 9 | 0.030857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-200_0_9_line_3 |  | 3 | 4 | 0.034949 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-200_0_9_line_4 |  | 3 | 5 | 0.014496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-200_0_9_line_5 |  | 4 | 15 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_351-200_0_9_line_6 |  | 4 | 16 | 0.019766 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_351-200_0_9_line_7 |  | 5 | 17 | 0.003089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-200_0_9_line_8 |  | 5 | 18 | 0.011997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-200_0_9_line_9 |  | 6 | 7 | 0.018494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-200_0_9_line_10 |  | 6 | 8 | 0.018286 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-200_0_9_line_11 |  | 7 | 19 | 0.024342 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-200_0_9_line_12 |  | 8 | 20 | 0.0093554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-200_0_9_line_13 |  | 9 | 21 | 0.034128 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-200_0_9_line_14 |  | 10 | 11 | 0.06802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-200_0_9_line_15 |  | 10 | 12 | 0.032535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-200_0_9_line_16 |  | 11 | 22 | 0.018592 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-200_0_9_line_17 |  | 11 | 13 | 0.019813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-200_0_9_line_18 |  | 12 | 23 | 0.069087 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
19 | LV_351-200_0_9_line_19 |  | 13 | 14 | 0.068957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-200_0_9_line_20 |  | 14 | 24 | 0.015078 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-200_0_9_line_21 |  | 15 | 19 | 0.025912 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-200_0_9_line_22 |  | 16 | 25 | 0.02158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_351-200_0_9_line_23 |  | 18 | 26 | 0.003135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-200_0_9_line_24 |  | 18 | 27 | 0.019071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-200_0_9_line_25 |  | 20 | 31 | 0.004795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-200_0_9_line_26 |  | 21 | 31 | 0.019383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-200_0_9_line_27 |  | 23 | 25 | 0.003344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
28 | LV_351-200_0_9_line_28 |  | 23 | 36 | 0.034884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_351-200_0_9_line_29 |  | 25 | 49 | 0.030192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-200_0_9_line_30 |  | 28 | 29 | 0.077999 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-200_0_9_line_31 |  | 28 | 30 | 0.10996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_351-200_0_9_line_32 |  | 29 | 55 | 0.034565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-200_0_9_line_33 |  | 30 | 32 | 0.018334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_351-200_0_9_line_34 |  | 32 | 53 | 6.2066e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_351-200_0_9_line_35 |  | 33 | 34 | 0.016443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_351-200_0_9_line_36 |  | 33 | 35 | 0.015307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-200_0_9_line_37 |  | 33 | 36 | 0.014282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_351-200_0_9_line_38 |  | 34 | 56 | 0.014448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_351-200_0_9_line_39 |  | 35 | 57 | 0.031783 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-200_0_9_line_40 |  | 36 | 46 | 0.022363 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-200_0_9_line_41 |  | 37 | 38 | 0.20756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_351-200_0_9_line_42 |  | 37 | 39 | 0.0035397 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_351-200_0_9_line_43 |  | 38 | 42 | 0.021233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_351-200_0_9_line_44 |  | 38 | 43 | 0.091656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-200_0_9_line_45 |  | 39 | 40 | 0.0022737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_351-200_0_9_line_46 |  | 40 | 41 | 0.12427 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_351-200_0_9_line_47 |  | 41 | 44 | 0.1244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_351-200_0_9_line_48 |  | 41 | 45 | 0.015058 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-200_0_9_line_49 |  | 42 | 56 | 0.043548 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
50 | LV_351-200_0_9_line_50 |  | 43 | 48 | 0.014292 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-200_0_9_line_51 |  | 44 | 47 | 0.023386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
52 | LV_351-200_0_9_line_52 |  | 46 | 52 | 0.0023825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-200_0_9_line_53 |  | 47 | 54 | 5.7852e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_351-200_0_9_line_54 |  | 49 | 50 | 0.0146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-200_0_9_line_55 |  | 50 | 51 | 0.014605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-200_0_9_line_56 |  | 53 | 61 | 0.028797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_351-200_0_9_line_57 |  | 54 | 63 | 0.027925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_351-200_0_9_line_58 |  | 55 | 60 | 0.017717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-200_0_9_line_59 |  | 58 | 59 | 0.00018244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-200_0_9_line_60 |  | 59 | 62 | 0.018958 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-200_0_9_line_61 |  | 61 | 62 | 0.017724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_351-200_0_9_line_62 |  | 62 | 63 | 0.017644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-200_0_9_trafo_28 | 0.63 MVA 20/0.4 kV | 64 | 33 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2601703.0377 | 1200272.7284 | 2601712.9718 | 1200291.8429
1 | 2601700.1233 | 1200268.8922 | 2601703.0377 | 1200272.7284
2 | 2601700.1233 | 1200268.8922 | 2601692.1975 | 1200274.1929 | 2601680.1605 | 1200281.7604 | 2601677.1531 | 1200283.605 | 2601674.0532 | 1200285.3875
3 | 2601724.1523 | 1200361.6486 | 2601694.1175 | 1200379.6612
4 | 2601717.4343 | 1200348.7954 | 2601724.1523 | 1200361.6486
5 | 2601694.1175 | 1200379.6612 | 2601685.4021 | 1200362.9707
6 | 2601694.1175 | 1200379.6612 | 2601677.1389 | 1200389.7809
7 | 2601717.4343 | 1200348.7954 | 2601720.1903 | 1200347.3843
8 | 2601717.4343 | 1200348.7954 | 2601711.8804 | 1200338.1549
9 | 2601653.5808 | 1200302.0308 | 2601662.141 | 1200318.4242
10 | 2601653.5808 | 1200302.0308 | 2601637.3732 | 1200310.4989
11 | 2601662.141 | 1200318.4242 | 2601673.4084 | 1200340.0019
12 | 2601629.0813 | 1200314.8313 | 2601637.3732 | 1200310.4989
13 | 2601644.0351 | 1200301.616 | 2601649.7603 | 1200298.628 | 2601657.0082 | 1200294.7945 | 2601667.2785 | 1200289.2832 | 2601674.0532 | 1200285.3875
14 | 2601744.7543 | 1200349.0587 | 2601746.1017 | 1200348.6922 | 2601747.0914 | 1200348.3368 | 2601747.8603 | 1200347.9479 | 2601803.7582 | 1200315.3463
15 | 2601744.7543 | 1200349.0587 | 2601744.3428 | 1200350.4593 | 2601743.5736 | 1200351.7821 | 2601742.7207 | 1200353.0714 | 2601741.3882 | 1200354.4051 | 2601740.2385 | 1200355.3386 | 2601739.2335 | 1200356.0165 | 2601737.5205 | 1200357.1166 | 2601725.2477 | 1200364.4282 | 2601719.1692 | 1200368.0964
16 | 2601803.7582 | 1200315.3463 | 2601799.8009 | 1200311.8433 | 2601797.4341 | 1200309.7415 | 2601789.8163 | 1200303.0023
17 | 2601820.9495 | 1200305.4127 | 2601816.7088 | 1200307.8016 | 2601803.7582 | 1200315.3463
18 | 2601660.0773 | 1200403.8317 | 2601693.8879 | 1200384.397 | 2601709.191 | 1200374.1179 | 2601719.1692 | 1200368.0964
19 | 2601820.9495 | 1200305.4127 | 2601821.4286 | 1200306.9914 | 2601825.1868 | 1200314.5299 | 2601844.7458 | 1200370.0706
20 | 2601844.7458 | 1200370.0706 | 2601848.8864 | 1200381.8286 | 2601849.8238 | 1200384.2674
21 | 2601685.4021 | 1200362.9707 | 2601673.4084 | 1200340.0019
22 | 2601658.6014 | 1200400.8297 | 2601677.1389 | 1200389.7809
23 | 2601714.6821 | 1200336.7326 | 2601711.8804 | 1200338.1549
24 | 2601707.4772 | 1200322.5453 | 2601704.6527 | 1200323.9675 | 2601711.8804 | 1200338.1549
25 | 2601629.0813 | 1200314.8313 | 2601626.852 | 1200310.584
26 | 2601626.852 | 1200310.584 | 2601644.0351 | 1200301.616
27 | 2601660.0773 | 1200403.8317 | 2601658.6014 | 1200400.8297
28 | 2601638.4482 | 1200416.1215 | 2601640.9437 | 1200420.8135 | 2601649.128 | 1200415.9353 | 2601656.2845 | 1200411.4903 | 2601654.1085 | 1200407.3209 | 2601660.0773 | 1200403.8317
29 | 2601658.6014 | 1200400.8297 | 2601644.7933 | 1200373.9798
30 | 2601476.1575 | 1200551.5316 | 2601451.8594 | 1200588.4013 | 2601433.2526 | 1200616.6703
31 | 2601476.1575 | 1200551.5316 | 2601481.3332 | 1200553.3005 | 2601456.3117 | 1200591.3039 | 2601441.4863 | 1200613.8126 | 2601446.2505 | 1200616.8931 | 2601462.1721 | 1200626.9356 | 2601463.4888 | 1200627.7585 | 2601467.7199 | 1200631.9951
32 | 2601433.2526 | 1200616.6703 | 2601428.6962 | 1200623.5927 | 2601414.2416 | 1200645.5371
33 | 2601467.7199 | 1200631.9951 | 2601475.724 | 1200647.0718 | 2601476.3172 | 1200648.1885
34 | 2601476.3172 | 1200648.1885 | 2601476.3463 | 1200648.2433
35 | 2601643.8724 | 1200428.3739 | 2601651.5186 | 1200442.9393
36 | 2601643.8724 | 1200428.3739 | 2601638.3225 | 1200430.796 | 2601630.659 | 1200435.9783
37 | 2601638.4482 | 1200416.1215 | 2601640.9437 | 1200420.8135 | 2601640.0986 | 1200421.3692 | 2601643.8724 | 1200428.3739
38 | 2601651.5186 | 1200442.9393 | 2601658.2418 | 1200455.7274
39 | 2601603.8055 | 1200452.9532 | 2601617.8958 | 1200444.6092 | 2601630.659 | 1200435.9783
40 | 2601638.4482 | 1200416.1215 | 2601632.6506 | 1200405.2141 | 2601628.1313 | 1200396.7195 | 2601627.949 | 1200396.3766
41 | 2601555.8206 | 1200655.5179 | 2601621.2457 | 1200559.7942 | 2601616.3308 | 1200550.6435 | 2601682.8224 | 1200515.9758 | 2601688.3495 | 1200513.0869
42 | 2601555.8206 | 1200655.5179 | 2601557.4651 | 1200658.6524
43 | 2601688.3495 | 1200513.0869 | 2601678.4859 | 1200494.2835
44 | 2601688.3495 | 1200513.0869 | 2601701.1231 | 1200510.1221 | 2601707.5785 | 1200508.623 | 2601730.5162 | 1200552.842 | 2601735.7463 | 1200550.1865 | 2601749.9371 | 1200542.2973
45 | 2601558.5215 | 1200660.6658 | 2601557.4651 | 1200658.6524
46 | 2601558.5215 | 1200660.6658 | 2601589.4407 | 1200719.583 | 2601597.8603 | 1200715.1939 | 2601615.2749 | 1200748.3718 | 2601605.7286 | 1200753.3498
47 | 2601530.3208 | 1200750.396 | 2601589.4407 | 1200719.583 | 2601597.8603 | 1200715.1939 | 2601615.2749 | 1200748.3718 | 2601605.7286 | 1200753.3498
48 | 2601605.7286 | 1200753.3498 | 2601601.1087 | 1200752.0368 | 2601597.7899 | 1200752.514 | 2601594.7602 | 1200753.6471 | 2601591.4924 | 1200755.3118
49 | 2601658.2418 | 1200455.7274 | 2601666.7578 | 1200471.9256 | 2601678.4859 | 1200494.2835
50 | 2601749.9371 | 1200542.2973 | 2601759.7122 | 1200537.2418 | 2601762.6308 | 1200535.7309
51 | 2601530.3208 | 1200750.396 | 2601519.3774 | 1200729.7279
52 | 2601627.949 | 1200396.3766 | 2601626.8305 | 1200394.273
53 | 2601519.3774 | 1200729.7279 | 2601519.3503 | 1200729.6768
54 | 2601638.1163 | 1200360.9962 | 2601644.7933 | 1200373.9798
55 | 2601631.4368 | 1200348.0079 | 2601638.1163 | 1200360.9962
56 | 2601476.3463 | 1200648.2433 | 2601482.3509 | 1200659.5467 | 2601489.8115 | 1200673.6985
57 | 2601506.3057 | 1200704.9859 | 2601512.9362 | 1200717.563 | 2601519.3503 | 1200729.6768
58 | 2601404.4959 | 1200660.3326 | 2601414.2416 | 1200645.5371
59 | 2601481.1052 | 1200698.2263 | 2601481.2669 | 1200698.142
60 | 2601498.0773 | 1200689.3776 | 2601481.2669 | 1200698.142
61 | 2601498.0773 | 1200689.3776 | 2601489.8115 | 1200673.6985
62 | 2601498.0773 | 1200689.3776 | 2601506.3057 | 1200704.9859

## bus_geodata
| x | y | coords
0 | 2601712.9718 | 1200291.8429
1 | 2601703.0377 | 1200272.7284
2 | 2601700.1233 | 1200268.8922
3 | 2601724.1523 | 1200361.6486
4 | 2601694.1175 | 1200379.6612
5 | 2601717.4343 | 1200348.7954
6 | 2601653.5808 | 1200302.0308
7 | 2601662.141 | 1200318.4242
8 | 2601637.3732 | 1200310.4989
9 | 2601674.0532 | 1200285.3875
10 | 2601744.7543 | 1200349.0587
11 | 2601803.7582 | 1200315.3463
12 | 2601719.1692 | 1200368.0964
13 | 2601820.9495 | 1200305.4127
14 | 2601844.7458 | 1200370.0706
15 | 2601685.4021 | 1200362.9707
16 | 2601677.1389 | 1200389.7809
17 | 2601720.1903 | 1200347.3843
18 | 2601711.8804 | 1200338.1549
19 | 2601673.4084 | 1200340.0019
20 | 2601629.0813 | 1200314.8313
21 | 2601644.0351 | 1200301.616
22 | 2601789.8163 | 1200303.0023
23 | 2601660.0773 | 1200403.8317
24 | 2601849.8238 | 1200384.2674
25 | 2601658.6014 | 1200400.8297
26 | 2601714.6821 | 1200336.7326
27 | 2601707.4772 | 1200322.5453
28 | 2601476.1575 | 1200551.5316
29 | 2601433.2526 | 1200616.6703
30 | 2601467.7199 | 1200631.9951
31 | 2601626.852 | 1200310.584
32 | 2601476.3172 | 1200648.1885
33 | 2601643.8724 | 1200428.3739
34 | 2601651.5186 | 1200442.9393
35 | 2601630.659 | 1200435.9783
36 | 2601638.4482 | 1200416.1215
37 | 2601555.8206 | 1200655.5179
38 | 2601688.3495 | 1200513.0869
39 | 2601557.4651 | 1200658.6524
40 | 2601558.5215 | 1200660.6658
41 | 2601605.7286 | 1200753.3498
42 | 2601678.4859 | 1200494.2835
43 | 2601749.9371 | 1200542.2973
44 | 2601530.3208 | 1200750.396
45 | 2601591.4924 | 1200755.3118
46 | 2601627.949 | 1200396.3766
47 | 2601519.3774 | 1200729.7279
48 | 2601762.6308 | 1200535.7309
49 | 2601644.7933 | 1200373.9798
50 | 2601638.1163 | 1200360.9962
51 | 2601631.4368 | 1200348.0079
52 | 2601626.8305 | 1200394.273
53 | 2601476.3463 | 1200648.2433
54 | 2601519.3503 | 1200729.6768
55 | 2601414.2416 | 1200645.5371
56 | 2601658.2418 | 1200455.7274
57 | 2601603.8055 | 1200452.9532
58 | 2601481.1052 | 1200698.2263
59 | 2601481.2669 | 1200698.142
60 | 2601404.4959 | 1200660.3326
61 | 2601489.8115 | 1200673.6985
62 | 2601498.0773 | 1200689.3776
63 | 2601506.3057 | 1200704.9859
64 | 2601640.0986 | 1200421.3692

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1