## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-206_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-206_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-206_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_351-206_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_351-206_0_5_node_57 | 0.4 | n |  | TRUE
5 | bus_LV_351-206_0_5_node_55 | 0.4 | n |  | TRUE
6 | bus_LV_351-206_0_5_node_58 | 0.4 | n |  | TRUE
7 | bus_LV_351-206_0_5_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_351-206_0_5_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_351-206_0_5_node_93 | 0.4 | n |  | TRUE
10 | bus_LV_351-206_0_5_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_351-206_0_5_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_351-206_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_351-206_0_5_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_351-206_0_5_node_16 | 0.4 | n |  | TRUE
15 | bus_LV_351-206_0_5_node_72 | 0.4 | n |  | TRUE
16 | bus_LV_351-206_0_5_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_351-206_0_5_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_351-206_0_5_node_36 | 0.4 | n |  | TRUE
19 | bus_LV_351-206_0_5_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_351-206_0_5_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_351-206_0_5_node_56 | 0.4 | n |  | TRUE
22 | bus_LV_351-206_0_5_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_351-206_0_5_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_351-206_0_5_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_351-206_0_5_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_351-206_0_5_node_37 | 0.4 | n |  | TRUE
27 | bus_LV_351-206_0_5_node_76 | 0.4 | n |  | TRUE
28 | bus_LV_351-206_0_5_node_87 | 0.4 | n |  | TRUE
29 | bus_LV_351-206_0_5_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_351-206_0_5_node_96 | 0.4 | n |  | TRUE
31 | bus_LV_351-206_0_5_node_21 | 0.4 | n |  | TRUE
32 | bus_LV_351-206_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_351-206_0_5_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_351-206_0_5_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_351-206_0_5_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_351-206_0_5_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_351-206_0_5_node_23 | 0.4 | n |  | TRUE
38 | bus_LV_351-206_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_351-206_0_5_node_85 | 0.4 | n |  | TRUE
40 | bus_LV_351-206_0_5_node_26 | 0.4 | n |  | TRUE
41 | bus_LV_351-206_0_5_node_31 | 0.4 | n |  | TRUE
42 | bus_LV_351-206_0_5_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_351-206_0_5_node_68 | 0.4 | n |  | TRUE
44 | bus_LV_351-206_0_5_node_59 | 0.4 | n |  | TRUE
45 | bus_LV_351-206_0_5_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_351-206_0_5_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_351-206_0_5_node_88 | 0.4 | n |  | TRUE
48 | bus_LV_351-206_0_5_node_94 | 0.4 | n |  | TRUE
49 | bus_LV_351-206_0_5_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_351-206_0_5_node_92 | 0.4 | n |  | TRUE
51 | bus_LV_351-206_0_5_node_73 | 0.4 | n |  | TRUE
52 | bus_LV_351-206_0_5_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_351-206_0_5_node_34 | 0.4 | n |  | TRUE
54 | bus_LV_351-206_0_5_node_39 | 0.4 | n |  | TRUE
55 | bus_LV_351-206_0_5_node_81 | 0.4 | n |  | TRUE
56 | bus_LV_351-206_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_351-206_0_5_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_351-206_0_5_node_43 | 0.4 | n |  | TRUE
59 | bus_LV_351-206_0_5_node_32 | 0.4 | n |  | TRUE
60 | bus_LV_351-206_0_5_node_28 | 0.4 | n |  | TRUE
61 | bus_LV_351-206_0_5_node_86 | 0.4 | n |  | TRUE
62 | bus_LV_351-206_0_5_node_29 | 0.4 | n |  | TRUE
63 | bus_LV_351-206_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_351-206_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_351-206_0_5_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_351-206_0_5_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_351-206_0_5_node_60 | 0.4 | n |  | TRUE
68 | bus_LV_351-206_0_5_node_52 | 0.4 | n |  | TRUE
69 | bus_LV_351-206_0_5_node_51 | 0.4 | n |  | TRUE
70 | bus_LV_351-206_0_5_node_50 | 0.4 | n |  | TRUE
71 | bus_LV_351-206_0_5_node_65 | 0.4 | n |  | TRUE
72 | bus_LV_351-206_0_5_node_66 | 0.4 | n |  | TRUE
73 | bus_LV_351-206_0_5_node_91 | 0.4 | n |  | TRUE
74 | bus_LV_351-206_0_5_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_351-206_0_5_node_63 | 0.4 | n |  | TRUE
76 | bus_LV_351-206_0_5_node_64 | 0.4 | n |  | TRUE
77 | bus_LV_351-206_0_5_node_67 | 0.4 | n |  | TRUE
78 | bus_LV_351-206_0_5_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_351-206_0_5_node_80 | 0.4 | n |  | TRUE
80 | bus_LV_351-206_0_5_node_69 | 0.4 | n |  | TRUE
81 | bus_LV_351-206_0_5_node_70 | 0.4 | n |  | TRUE
82 | bus_LV_351-206_0_5_node_71 | 0.4 | n |  | TRUE
83 | bus_LV_351-206_0_5_node_77 | 0.4 | n |  | TRUE
84 | bus_LV_351-206_0_5_node_78 | 0.4 | n |  | TRUE
85 | bus_LV_351-206_0_5_node_74 | 0.4 | n |  | TRUE
86 | bus_LV_351-206_0_5_node_75 | 0.4 | n |  | TRUE
87 | bus_LV_351-206_0_5_node_82 | 0.4 | n |  | TRUE
88 | bus_LV_351-206_0_5_node_84 | 0.4 | n |  | TRUE
89 | bus_LV_351-206_0_5_node_83 | 0.4 | n |  | TRUE
90 | bus_MV_603_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-206_0_5_load_0 | 0 | 0.015252 | 0.0038226 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-206_0_5_load_57 | 4 | 0.0084588 | 0.00212 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-206_0_5_load_55 | 5 | 0.015917 | 0.0039892 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-206_0_5_load_58 | 6 | 0.0066546 | 0.0016678 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-206_0_5_load_93 | 9 | 0.0086184 | 0.00216 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-206_0_5_load_44 | 12 | 0.0058603 | 0.0014687 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-206_0_5_load_72 | 15 | 0.0057963 | 0.0014527 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-206_0_5_load_36 | 18 | 0.0057111 | 0.0014313 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-206_0_5_load_56 | 21 | 0.0041871 | 0.0010494 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-206_0_5_load_95 | 22 | 0.057899 | 0.014511 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-206_0_5_load_33 | 23 | 0.011962 | 0.002998 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-206_0_5_load_42 | 25 | 0.0069532 | 0.0017426 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-206_0_5_load_76 | 27 | 0.0066451 | 0.0016654 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-206_0_5_load_87 | 28 | 0.014583 | 0.0036549 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-206_0_5_load_96 | 30 | 0.02037 | 0.0051053 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-206_0_5_load_45 | 33 | 0.0078307 | 0.0019625 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-206_0_5_load_46 | 34 | 0.0064496 | 0.0016164 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-206_0_5_load_30 | 35 | 0.0082573 | 0.0020695 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-206_0_5_load_27 | 36 | 0.010071 | 0.0025242 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-206_0_5_load_85 | 39 | 0.01269 | 0.0031804 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-206_0_5_load_31 | 41 | 0.012266 | 0.0030741 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-206_0_5_load_68 | 43 | 0.0062896 | 0.0015763 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-206_0_5_load_59 | 44 | 0.008455 | 0.002119 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-206_0_5_load_90 | 45 | 0.0044336 | 0.0011112 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-206_0_5_load_89 | 46 | 0.0017905 | 0.00044875 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-206_0_5_load_88 | 47 | 0.0043057 | 0.0010791 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-206_0_5_load_94 | 48 | 0.018668 | 0.0046786 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-206_0_5_load_41 | 49 | 0.012127 | 0.0030394 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-206_0_5_load_92 | 50 | 0.0066424 | 0.0016647 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-206_0_5_load_73 | 51 | 0.0051592 | 0.001293 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-206_0_5_load_40 | 52 | 0.018573 | 0.0046548 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-206_0_5_load_34 | 53 | 0.0096331 | 0.0024143 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-206_0_5_load_39 | 54 | 0.005856 | 0.0014676 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-206_0_5_load_81 | 55 | 0.0051414 | 0.0012886 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-206_0_5_load_54 | 56 | 0.011242 | 0.0028174 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-206_0_5_load_47 | 57 | 0.0078357 | 0.0019638 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-206_0_5_load_43 | 58 | 0.0043955 | 0.0011016 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-206_0_5_load_32 | 59 | 0.0080801 | 0.0020251 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-206_0_5_load_28 | 60 | 0.007972 | 0.001998 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-206_0_5_load_86 | 61 | 0.009305 | 0.0023321 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-206_0_5_load_29 | 62 | 0.0050416 | 0.0012636 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-206_0_5_load_48 | 63 | 0.0053399 | 0.0013383 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-206_0_5_load_49 | 64 | 0.0098724 | 0.0024743 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-206_0_5_load_35 | 65 | 0.011507 | 0.002884 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-206_0_5_load_62 | 66 | 0.0092486 | 0.0023179 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-206_0_5_load_60 | 67 | 0.0099194 | 0.002486 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-206_0_5_load_52 | 68 | 0.010114 | 0.0025349 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-206_0_5_load_51 | 69 | 0.011861 | 0.0029727 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-206_0_5_load_50 | 70 | 0.022483 | 0.0056347 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-206_0_5_load_65 | 71 | 0.0054864 | 0.001375 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-206_0_5_load_66 | 72 | 0.004457 | 0.001117 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-206_0_5_load_91 | 73 | 0.010024 | 0.0025122 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-206_0_5_load_61 | 74 | 0.0076741 | 0.0019233 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-206_0_5_load_63 | 75 | 0.0061867 | 0.0015505 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-206_0_5_load_64 | 76 | 0.0045253 | 0.0011342 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-206_0_5_load_67 | 77 | 0.0051917 | 0.0013012 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-206_0_5_load_79 | 78 | 0.0045532 | 0.0011412 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-206_0_5_load_80 | 79 | 0.0044135 | 0.0011061 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-206_0_5_load_69 | 80 | 0.0044693 | 0.0011201 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-206_0_5_load_70 | 81 | 0.0051869 | 0.0013 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-206_0_5_load_71 | 82 | 0.0045243 | 0.0011339 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-206_0_5_load_77 | 83 | 0.0044356 | 0.0011117 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-206_0_5_load_78 | 84 | 0.004401 | 0.001103 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-206_0_5_load_74 | 85 | 0.0051945 | 0.0013019 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-206_0_5_load_75 | 86 | 0.0045431 | 0.0011386 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-206_0_5_load_82 | 87 | 0.0051628 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_351-206_0_5_load_84 | 88 | 0.0044097 | 0.0011052 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_351-206_0_5_load_83 | 89 | 0.0045376 | 0.0011372 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 88 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-206_0_5_line_0 |  | 0 | 1 | 0.004779 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-206_0_5_line_1 |  | 1 | 2 | 0.015378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-206_0_5_line_2 |  | 2 | 3 | 0.007032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-206_0_5_line_3 |  | 2 | 4 | 0.023076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-206_0_5_line_4 |  | 2 | 5 | 0.018152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-206_0_5_line_5 |  | 3 | 6 | 0.004249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-206_0_5_line_6 |  | 4 | 44 | 0.0081043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-206_0_5_line_7 |  | 5 | 21 | 0.0052242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-206_0_5_line_8 |  | 6 | 47 | 0.010392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-206_0_5_line_9 |  | 7 | 8 | 0.030721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-206_0_5_line_10 |  | 7 | 9 | 0.020545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-206_0_5_line_11 |  | 8 | 23 | 0.011536 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-206_0_5_line_12 |  | 9 | 50 | 0.0099801 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-206_0_5_line_13 |  | 10 | 11 | 0.038157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-206_0_5_line_14 |  | 10 | 12 | 0.027659 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-206_0_5_line_15 |  | 11 | 22 | 0.085708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-206_0_5_line_16 |  | 12 | 32 | 0.0099463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_351-206_0_5_line_17 |  | 13 | 14 | 0.00383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-206_0_5_line_18 |  | 13 | 15 | 0.0041671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-206_0_5_line_19 |  | 14 | 27 | 0.0080919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-206_0_5_line_20 |  | 15 | 51 | 0.008372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-206_0_5_line_21 |  | 16 | 17 | 0.006313 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-206_0_5_line_22 |  | 16 | 18 | 0.018656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-206_0_5_line_23 |  | 17 | 52 | 0.017777 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-206_0_5_line_24 |  | 17 | 49 | 0.036522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-206_0_5_line_25 |  | 18 | 26 | 0.0069114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-206_0_5_line_26 |  | 19 | 20 | 0.003236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-206_0_5_line_27 |  | 19 | 21 | 0.020716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-206_0_5_line_28 |  | 20 | 28 | 0.010253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-206_0_5_line_29 |  | 23 | 53 | 0.016156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-206_0_5_line_30 |  | 24 | 25 | 0.012332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-206_0_5_line_31 |  | 24 | 26 | 0.003077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-206_0_5_line_32 |  | 26 | 54 | 0.013015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-206_0_5_line_33 |  | 27 | 55 | 0.0091234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-206_0_5_line_34 |  | 28 | 37 | 0.011786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_351-206_0_5_line_35 |  | 29 | 30 | 0.077353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-206_0_5_line_36 |  | 29 | 31 | 0.076617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-206_0_5_line_37 |  | 31 | 35 | 0.033528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_351-206_0_5_line_38 |  | 31 | 36 | 0.013553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
39 | LV_351-206_0_5_line_39 |  | 32 | 33 | 0.012019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_351-206_0_5_line_40 |  | 32 | 34 | 0.022973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
41 | LV_351-206_0_5_line_41 |  | 33 | 57 | 0.024025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_351-206_0_5_line_42 |  | 34 | 58 | 0.012023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_351-206_0_5_line_43 |  | 35 | 59 | 0.016229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_351-206_0_5_line_44 |  | 36 | 60 | 0.01236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
45 | LV_351-206_0_5_line_45 |  | 37 | 38 | 0.016702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_351-206_0_5_line_46 |  | 37 | 39 | 0.0098082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-206_0_5_line_47 |  | 38 | 40 | 0.011652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_351-206_0_5_line_48 |  | 38 | 41 | 0.010468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_351-206_0_5_line_49 |  | 39 | 61 | 0.01532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-206_0_5_line_50 |  | 40 | 42 | 0.004618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
51 | LV_351-206_0_5_line_51 |  | 40 | 43 | 0.0022699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-206_0_5_line_52 |  | 41 | 62 | 0.015444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
53 | LV_351-206_0_5_line_53 |  | 42 | 56 | 0.0044371 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
54 | LV_351-206_0_5_line_54 |  | 44 | 73 | 0.0099222 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-206_0_5_line_55 |  | 45 | 46 | 5.9983e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-206_0_5_line_56 |  | 46 | 47 | 0.0085148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-206_0_5_line_57 |  | 48 | 49 | 0.010141 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-206_0_5_line_58 |  | 50 | 73 | 0.010089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-206_0_5_line_59 |  | 51 | 85 | 0.0080311 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-206_0_5_line_60 |  | 52 | 66 | 0.0093802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-206_0_5_line_61 |  | 53 | 65 | 0.016778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-206_0_5_line_62 |  | 54 | 58 | 0.0013374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-206_0_5_line_63 |  | 55 | 87 | 0.0080338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-206_0_5_line_64 |  | 56 | 71 | 0.0029988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
65 | LV_351-206_0_5_line_65 |  | 57 | 68 | 0.015774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
66 | LV_351-206_0_5_line_66 |  | 59 | 63 | 0.015185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
67 | LV_351-206_0_5_line_67 |  | 60 | 62 | 0.00050808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
68 | LV_351-206_0_5_line_68 |  | 63 | 64 | 0.016463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
69 | LV_351-206_0_5_line_69 |  | 64 | 70 | 0.028265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
70 | LV_351-206_0_5_line_70 |  | 66 | 67 | 0.0031742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-206_0_5_line_71 |  | 67 | 74 | 0.011879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-206_0_5_line_72 |  | 68 | 69 | 0.018019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_351-206_0_5_line_73 |  | 69 | 70 | 0.019473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
74 | LV_351-206_0_5_line_74 |  | 71 | 72 | 0.0087965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_351-206_0_5_line_75 |  | 72 | 77 | 0.0080377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_351-206_0_5_line_76 |  | 74 | 75 | 0.00063856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-206_0_5_line_77 |  | 75 | 76 | 0.00076337 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-206_0_5_line_78 |  | 77 | 78 | 0.0071585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_351-206_0_5_line_79 |  | 78 | 79 | 0.0063014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
80 | LV_351-206_0_5_line_80 |  | 79 | 88 | 0.0063094 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
81 | LV_351-206_0_5_line_81 |  | 80 | 81 | 0.0080398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-206_0_5_line_82 |  | 81 | 82 | 0.0071368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-206_0_5_line_83 |  | 82 | 83 | 0.0062992 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-206_0_5_line_84 |  | 83 | 84 | 0.0063154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-206_0_5_line_85 |  | 84 | 86 | 0.0062914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-206_0_5_line_86 |  | 85 | 86 | 0.0071484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-206_0_5_line_87 |  | 87 | 89 | 0.0071472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-206_0_5_line_88 |  | 88 | 89 | 0.0063013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-206_0_5_trafo_84 | 0.63 MVA 20/0.4 kV | 90 | 88 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2600438.7854 | 1199192.7047 | 2600440.8577 | 1199197.011
1 | 2600424.7226 | 1199198.8849 | 2600428.8874 | 1199197.4177 | 2600438.7854 | 1199192.7047
2 | 2600427.7296 | 1199205.2441 | 2600426.367 | 1199202.4314 | 2600424.7226 | 1199198.8849
3 | 2600424.7226 | 1199198.8849 | 2600422.1724 | 1199193.3818 | 2600414.7778 | 1199178.0625
4 | 2600424.7226 | 1199198.8849 | 2600407.2884 | 1199203.9384
5 | 2600427.7296 | 1199205.2441 | 2600429.5527 | 1199209.0822
6 | 2600414.7778 | 1199178.0625 | 2600411.2548 | 1199170.764
7 | 2600407.2884 | 1199203.9384 | 2600402.2708 | 1199205.3928
8 | 2600429.5527 | 1199209.0822 | 2600434.0111 | 1199218.4688
9 | 2600368.5153 | 1199118.6389 | 2600369.0252 | 1199122.1297 | 2600370.0451 | 1199129.9562 | 2600375.2377 | 1199128.5112 | 2600388.8207 | 1199125.5103
10 | 2600388.8207 | 1199125.5103 | 2600391.3482 | 1199129.5237 | 2600398.2175 | 1199143.7548
11 | 2600368.5153 | 1199118.6389 | 2600357.537 | 1199122.1817
12 | 2600402.5559 | 1199152.7426 | 2600398.2175 | 1199143.7548
13 | 2600154.9811 | 1199101.5119 | 2600158.9631 | 1199097.7099 | 2600158.986 | 1199096.2647 | 2600159.1992 | 1199094.8195 | 2600161.8107 | 1199095.8201 | 2600163.204 | 1199096.3648 | 2600163.3867 | 1199097.3876 | 2600163.9425 | 1199098.5549 | 2600177.9591 | 1199116.9427
14 | 2600177.9591 | 1199116.9427 | 2600182.5424 | 1199123.0683 | 2600183.3114 | 1199125.4251 | 2600194.6068 | 1199138.8308
15 | 2600154.9811 | 1199101.5119 | 2600155.651 | 1199103.2017 | 2600156.9758 | 1199105.0916 | 2600170.0484 | 1199119.733 | 2600189.7521 | 1199146.9368 | 2600194.64 | 1199153.5849 | 2600207.9989 | 1199168.6206
16 | 2600201.1422 | 1199146.3256 | 2600198.5612 | 1199143.524 | 2600194.6068 | 1199138.8308
17 | 2600344.3405 | 1199144.1626 | 2600347.5383 | 1199143.6847 | 2600348.1398 | 1199143.5958
18 | 2600348.1398 | 1199143.5958 | 2600348.6748 | 1199147.7284
19 | 2600344.3405 | 1199144.1626 | 2600340.4804 | 1199144.7738 | 2600339.4754 | 1199144.9294 | 2600339.8689 | 1199148.0715
20 | 2600348.6748 | 1199147.7284 | 2600349.7497 | 1199156.0311
21 | 2600266.2484 | 1199097.7903 | 2600263.9719 | 1199099.0353 | 2600260.8654 | 1199101.103
22 | 2600260.8654 | 1199101.103 | 2600259.2665 | 1199102.159 | 2600245.9665 | 1199112.3247
23 | 2600266.2484 | 1199097.7903 | 2600271.3723 | 1199104.6719 | 2600276.719 | 1199112.1554
24 | 2600266.2484 | 1199097.7903 | 2600291.9682 | 1199083.528 | 2600298.1354 | 1199079.9846
25 | 2600240.4754 | 1199116.5217 | 2600245.9665 | 1199112.3247
26 | 2600381.0732 | 1199209.3103 | 2600382.1012 | 1199206.2421
27 | 2600382.1012 | 1199206.2421 | 2600388.6412 | 1199207.8433 | 2600390.6817 | 1199208.0546 | 2600392.3338 | 1199207.9769 | 2600395.2346 | 1199207.4323 | 2600402.2708 | 1199205.3928
28 | 2600381.0732 | 1199209.3103 | 2600382.6794 | 1199214.6244 | 2600381.0585 | 1199219.0375
29 | 2600357.537 | 1199122.1817 | 2600342.162 | 1199127.1434
30 | 2600238.6177 | 1199114.0648 | 2600238.1228 | 1199113.42 | 2600231.1833 | 1199104.2257
31 | 2600240.4754 | 1199116.5217 | 2600238.6177 | 1199114.0648
32 | 2600240.4754 | 1199116.5217 | 2600237.5136 | 1199118.7339 | 2600230.0895 | 1199124.3659
33 | 2600339.8689 | 1199148.0715 | 2600341.0026 | 1199157.1243
34 | 2600377.41 | 1199230.2102 | 2600378.9177 | 1199225.9858 | 2600379.1843 | 1199224.1404 | 2600381.0585 | 1199219.0375
35 | 2600256.5341 | 1199316.885 | 2600281.0565 | 1199334.0617 | 2600288.6546 | 1199338.8534 | 2600296.9226 | 1199342.4556 | 2600305.9673 | 1199344.6572 | 2600326.1428 | 1199346.748
36 | 2600326.1428 | 1199346.748 | 2600325.5796 | 1199342.2122 | 2600328.2826 | 1199338.2213 | 2600329.5998 | 1199336.1424 | 2600331.4957 | 1199332.6184 | 2600332.5007 | 1199330.5062 | 2600336.2394 | 1199319.645 | 2600336.8181 | 1199317.8885 | 2600343.892 | 1199295.7548 | 2600347.9049 | 1199283.3483 | 2600348.2323 | 1199282.5257 | 2600349.6562 | 1199278.9905 | 2600350.8517 | 1199275.8556 | 2600351.1487 | 1199275.1552
37 | 2600351.1487 | 1199275.1552 | 2600350.3492 | 1199275.2108 | 2600349.5422 | 1199275.144 | 2600348.4839 | 1199274.8994 | 2600347.6922 | 1199274.6437 | 2600346.5578 | 1199274.0211 | 2600323.401 | 1199257.0591
38 | 2600351.1487 | 1199275.1552 | 2600351.8035 | 1199274.755 | 2600352.2298 | 1199274.2881 | 2600356.1251 | 1199262.7763
39 | 2600201.1422 | 1199146.3256 | 2600204.7206 | 1199150.1944 | 2600209.2375 | 1199155.209
40 | 2600201.1422 | 1199146.3256 | 2600219.4451 | 1199132.4409
41 | 2600225.3543 | 1199173.0264 | 2600218.4096 | 1199165.3917 | 2600209.2375 | 1199155.209
42 | 2600229.024 | 1199125.1742 | 2600219.4451 | 1199132.4409
43 | 2600310.4063 | 1199247.3394 | 2600315.5793 | 1199251.3298 | 2600323.401 | 1199257.0591
44 | 2600356.1251 | 1199262.7763 | 2600360.0868 | 1199251.0683
45 | 2600361.5359 | 1199225.0178 | 2600373.8088 | 1199228.976 | 2600377.41 | 1199230.2102
46 | 2600377.41 | 1199230.2102 | 2600374.1293 | 1199239.4535
47 | 2600357.5925 | 1199216.6131 | 2600357.9198 | 1199219.17 | 2600358.1025 | 1199219.8593 | 2600358.4679 | 1199220.1817 | 2600359.0085 | 1199220.2929 | 2600361.2925 | 1199220.0039 | 2600361.361 | 1199221.0378 | 2600361.5359 | 1199225.0178
48 | 2600361.5359 | 1199225.0178 | 2600361.7108 | 1199229.6647 | 2600362.0129 | 1199235.4743
49 | 2600374.1293 | 1199239.4535 | 2600369.005 | 1199253.8915
50 | 2600352.9939 | 1199217.1687 | 2600356.7778 | 1199216.7131 | 2600357.5925 | 1199216.6131
51 | 2600357.5925 | 1199216.6131 | 2600357.3011 | 1199214.362
52 | 2600362.0129 | 1199235.4743 | 2600362.3802 | 1199242.5383 | 2600362.3345 | 1199243.7834 | 2600361.9613 | 1199245.5288 | 2600360.2497 | 1199250.5871
53 | 2600352.9939 | 1199217.1687 | 2600349.857 | 1199217.5799 | 2600348.5932 | 1199217.7355 | 2600348.5932 | 1199217.7355
54 | 2600411.2548 | 1199170.764 | 2600406.9416 | 1199161.8283
55 | 2600437.6643 | 1199226.1601 | 2600437.6901 | 1199226.2143
56 | 2600434.0111 | 1199218.4688 | 2600437.6643 | 1199226.1601
57 | 2600298.1354 | 1199079.9846 | 2600306.9283 | 1199074.9326
58 | 2600402.5559 | 1199152.7426 | 2600406.9416 | 1199161.8283
59 | 2600349.7497 | 1199156.0311 | 2600350.7807 | 1199163.9958
60 | 2600276.719 | 1199112.1554 | 2600282.172 | 1199119.7877
61 | 2600342.162 | 1199127.1434 | 2600341.0979 | 1199127.4868 | 2600340.5877 | 1199127.6313 | 2600340.0776 | 1199127.7314 | 2600325.6055 | 1199129.7316
62 | 2600229.024 | 1199125.1742 | 2600230.0895 | 1199124.3659
63 | 2600341.0026 | 1199157.1243 | 2600342.0009 | 1199165.0958
64 | 2600348.5932 | 1199217.7355 | 2600348.2205 | 1199214.7599
65 | 2600225.3543 | 1199173.0264 | 2600235.6616 | 1199184.3579 | 2600235.9858 | 1199184.6791
66 | 2600310.4063 | 1199247.3394 | 2600298.3832 | 1199238.0648
67 | 2600360.0868 | 1199251.0683 | 2600360.2497 | 1199250.5871
68 | 2600298.3832 | 1199238.0648 | 2600285.3481 | 1199228.0096
69 | 2600263.282 | 1199210.3546 | 2600268.0034 | 1199214.3749 | 2600274.6194 | 1199219.7336 | 2600285.3481 | 1199228.0096
70 | 2600284.0173 | 1199122.3705 | 2600282.172 | 1199119.7877
71 | 2600284.0173 | 1199122.3705 | 2600290.923 | 1199132.036
72 | 2600235.9858 | 1199184.6791 | 2600246.9067 | 1199195.4975 | 2600248.82 | 1199197.3268
73 | 2600248.82 | 1199197.3268 | 2600255.6392 | 1199203.8467 | 2600263.282 | 1199210.3546
74 | 2600348.2205 | 1199214.7599 | 2600347.1275 | 1199206.0316
75 | 2600347.1275 | 1199206.0316 | 2600346.1287 | 1199198.0561
76 | 2600291.2942 | 1199132.5556 | 2600290.923 | 1199132.036
77 | 2600291.738 | 1199133.1767 | 2600291.2942 | 1199132.5556
78 | 2600346.1287 | 1199198.0561 | 2600345.2391 | 1199190.9531
79 | 2600345.2391 | 1199190.9531 | 2600344.4561 | 1199184.7005
80 | 2600344.4561 | 1199184.7005 | 2600343.672 | 1199178.44
81 | 2600355.0421 | 1199196.9123 | 2600356.0743 | 1199204.8856
82 | 2600355.0421 | 1199196.9123 | 2600354.1258 | 1199189.8345
83 | 2600354.1258 | 1199189.8345 | 2600353.3171 | 1199183.5874
84 | 2600353.3171 | 1199183.5874 | 2600352.5062 | 1199177.3243
85 | 2600351.6985 | 1199171.085 | 2600352.5062 | 1199177.3243
86 | 2600351.6985 | 1199171.085 | 2600350.7807 | 1199163.9958
87 | 2600342.889 | 1199172.1876 | 2600342.0009 | 1199165.0958
88 | 2600343.672 | 1199178.44 | 2600342.889 | 1199172.1876

## bus_geodata
| x | y | coords
0 | 2600440.8577 | 1199197.011
1 | 2600438.7854 | 1199192.7047
2 | 2600424.7226 | 1199198.8849
3 | 2600427.7296 | 1199205.2441
4 | 2600414.7778 | 1199178.0625
5 | 2600407.2884 | 1199203.9384
6 | 2600429.5527 | 1199209.0822
7 | 2600388.8207 | 1199125.5103
8 | 2600368.5153 | 1199118.6389
9 | 2600398.2175 | 1199143.7548
10 | 2600177.9591 | 1199116.9427
11 | 2600154.9811 | 1199101.5119
12 | 2600194.6068 | 1199138.8308
13 | 2600348.1398 | 1199143.5958
14 | 2600344.3405 | 1199144.1626
15 | 2600348.6748 | 1199147.7284
16 | 2600260.8654 | 1199101.103
17 | 2600266.2484 | 1199097.7903
18 | 2600245.9665 | 1199112.3247
19 | 2600382.1012 | 1199206.2421
20 | 2600381.0732 | 1199209.3103
21 | 2600402.2708 | 1199205.3928
22 | 2600207.9989 | 1199168.6206
23 | 2600357.537 | 1199122.1817
24 | 2600238.6177 | 1199114.0648
25 | 2600231.1833 | 1199104.2257
26 | 2600240.4754 | 1199116.5217
27 | 2600339.8689 | 1199148.0715
28 | 2600381.0585 | 1199219.0375
29 | 2600326.1428 | 1199346.748
30 | 2600256.5341 | 1199316.885
31 | 2600351.1487 | 1199275.1552
32 | 2600201.1422 | 1199146.3256
33 | 2600209.2375 | 1199155.209
34 | 2600219.4451 | 1199132.4409
35 | 2600323.401 | 1199257.0591
36 | 2600356.1251 | 1199262.7763
37 | 2600377.41 | 1199230.2102
38 | 2600361.5359 | 1199225.0178
39 | 2600374.1293 | 1199239.4535
40 | 2600357.5925 | 1199216.6131
41 | 2600362.0129 | 1199235.4743
42 | 2600352.9939 | 1199217.1687
43 | 2600357.3011 | 1199214.362
44 | 2600411.2548 | 1199170.764
45 | 2600437.6901 | 1199226.2143
46 | 2600437.6643 | 1199226.1601
47 | 2600434.0111 | 1199218.4688
48 | 2600306.9283 | 1199074.9326
49 | 2600298.1354 | 1199079.9846
50 | 2600402.5559 | 1199152.7426
51 | 2600349.7497 | 1199156.0311
52 | 2600276.719 | 1199112.1554
53 | 2600342.162 | 1199127.1434
54 | 2600230.0895 | 1199124.3659
55 | 2600341.0026 | 1199157.1243
56 | 2600348.5932 | 1199217.7355
57 | 2600225.3543 | 1199173.0264
58 | 2600229.024 | 1199125.1742
59 | 2600310.4063 | 1199247.3394
60 | 2600360.0868 | 1199251.0683
61 | 2600369.005 | 1199253.8915
62 | 2600360.2497 | 1199250.5871
63 | 2600298.3832 | 1199238.0648
64 | 2600285.3481 | 1199228.0096
65 | 2600325.6055 | 1199129.7316
66 | 2600282.172 | 1199119.7877
67 | 2600284.0173 | 1199122.3705
68 | 2600235.9858 | 1199184.6791
69 | 2600248.82 | 1199197.3268
70 | 2600263.282 | 1199210.3546
71 | 2600348.2205 | 1199214.7599
72 | 2600347.1275 | 1199206.0316
73 | 2600406.9416 | 1199161.8283
74 | 2600290.923 | 1199132.036
75 | 2600291.2942 | 1199132.5556
76 | 2600291.738 | 1199133.1767
77 | 2600346.1287 | 1199198.0561
78 | 2600345.2391 | 1199190.9531
79 | 2600344.4561 | 1199184.7005
80 | 2600356.0743 | 1199204.8856
81 | 2600355.0421 | 1199196.9123
82 | 2600354.1258 | 1199189.8345
83 | 2600353.3171 | 1199183.5874
84 | 2600352.5062 | 1199177.3243
85 | 2600350.7807 | 1199163.9958
86 | 2600351.6985 | 1199171.085
87 | 2600342.0009 | 1199165.0958
88 | 2600343.672 | 1199178.44
89 | 2600342.889 | 1199172.1876
90 | 2600344.3405 | 1199144.1626

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1