## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-220_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-220_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-220_0_5_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_351-220_0_5_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_351-220_0_5_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_351-220_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-220_0_5_node_73 | 0.4 | n |  | TRUE
7 | bus_LV_351-220_0_5_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_351-220_0_5_node_22 | 0.4 | n |  | TRUE
9 | bus_LV_351-220_0_5_node_26 | 0.4 | n |  | TRUE
10 | bus_LV_351-220_0_5_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_351-220_0_5_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_351-220_0_5_node_25 | 0.4 | n |  | TRUE
13 | bus_LV_351-220_0_5_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_351-220_0_5_node_97 | 0.4 | n |  | TRUE
15 | bus_LV_351-220_0_5_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_351-220_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_351-220_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_351-220_0_5_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_351-220_0_5_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_351-220_0_5_node_87 | 0.4 | n |  | TRUE
21 | bus_LV_351-220_0_5_node_86 | 0.4 | n |  | TRUE
22 | bus_LV_351-220_0_5_node_16 | 0.4 | n |  | TRUE
23 | bus_LV_351-220_0_5_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_351-220_0_5_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_351-220_0_5_node_23 | 0.4 | n |  | TRUE
26 | bus_LV_351-220_0_5_node_92 | 0.4 | n |  | TRUE
27 | bus_LV_351-220_0_5_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_351-220_0_5_node_65 | 0.4 | n |  | TRUE
29 | bus_LV_351-220_0_5_node_71 | 0.4 | n |  | TRUE
30 | bus_LV_351-220_0_5_node_81 | 0.4 | n |  | TRUE
31 | bus_LV_351-220_0_5_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_351-220_0_5_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_351-220_0_5_node_95 | 0.4 | n |  | TRUE
34 | bus_LV_351-220_0_5_node_96 | 0.4 | n |  | TRUE
35 | bus_LV_351-220_0_5_node_91 | 0.4 | n |  | TRUE
36 | bus_LV_351-220_0_5_node_88 | 0.4 | n |  | TRUE
37 | bus_LV_351-220_0_5_node_89 | 0.4 | n |  | TRUE
38 | bus_LV_351-220_0_5_node_67 | 0.4 | n |  | TRUE
39 | bus_LV_351-220_0_5_node_77 | 0.4 | n |  | TRUE
40 | bus_LV_351-220_0_5_node_68 | 0.4 | n |  | TRUE
41 | bus_LV_351-220_0_5_node_78 | 0.4 | n |  | TRUE
42 | bus_LV_351-220_0_5_node_79 | 0.4 | n |  | TRUE
43 | bus_LV_351-220_0_5_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_351-220_0_5_node_49 | 0.4 | n |  | TRUE
45 | bus_LV_351-220_0_5_node_66 | 0.4 | n |  | TRUE
46 | bus_LV_351-220_0_5_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_351-220_0_5_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_351-220_0_5_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_351-220_0_5_node_72 | 0.4 | n |  | TRUE
50 | bus_LV_351-220_0_5_node_70 | 0.4 | n |  | TRUE
51 | bus_LV_351-220_0_5_node_94 | 0.4 | n |  | TRUE
52 | bus_LV_351-220_0_5_node_29 | 0.4 | n |  | TRUE
53 | bus_LV_351-220_0_5_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_351-220_0_5_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_351-220_0_5_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_351-220_0_5_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_351-220_0_5_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_351-220_0_5_node_56 | 0.4 | n |  | TRUE
59 | bus_LV_351-220_0_5_node_54 | 0.4 | n |  | TRUE
60 | bus_LV_351-220_0_5_node_34 | 0.4 | n |  | TRUE
61 | bus_LV_351-220_0_5_node_35 | 0.4 | n |  | TRUE
62 | bus_LV_351-220_0_5_node_36 | 0.4 | n |  | TRUE
63 | bus_LV_351-220_0_5_node_37 | 0.4 | n |  | TRUE
64 | bus_LV_351-220_0_5_node_38 | 0.4 | n |  | TRUE
65 | bus_LV_351-220_0_5_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_351-220_0_5_node_60 | 0.4 | n |  | TRUE
67 | bus_LV_351-220_0_5_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_351-220_0_5_node_62 | 0.4 | n |  | TRUE
69 | bus_LV_351-220_0_5_node_39 | 0.4 | n |  | TRUE
70 | bus_LV_351-220_0_5_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_351-220_0_5_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_351-220_0_5_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_351-220_0_5_node_42 | 0.4 | n |  | TRUE
74 | bus_LV_351-220_0_5_node_80 | 0.4 | n |  | TRUE
75 | bus_LV_351-220_0_5_node_84 | 0.4 | n |  | TRUE
76 | bus_LV_351-220_0_5_node_45 | 0.4 | n |  | TRUE
77 | bus_LV_351-220_0_5_node_48 | 0.4 | n |  | TRUE
78 | bus_LV_351-220_0_5_node_74 | 0.4 | n |  | TRUE
79 | bus_LV_351-220_0_5_node_75 | 0.4 | n |  | TRUE
80 | bus_LV_351-220_0_5_node_51 | 0.4 | n |  | TRUE
81 | bus_LV_351-220_0_5_node_52 | 0.4 | n |  | TRUE
82 | bus_LV_351-220_0_5_node_53 | 0.4 | n |  | TRUE
83 | bus_LV_351-220_0_5_node_57 | 0.4 | n |  | TRUE
84 | bus_LV_351-220_0_5_node_76 | 0.4 | n |  | TRUE
85 | bus_LV_351-220_0_5_node_69 | 0.4 | n |  | TRUE
86 | bus_LV_351-220_0_5_node_83 | 0.4 | n |  | TRUE
87 | bus_LV_351-220_0_5_node_85 | 0.4 | n |  | TRUE
88 | bus_LV_351-220_0_5_node_90 | 0.4 | n |  | TRUE
89 | bus_MV_600_0_node_11 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-220_0_5_load_0 | 0 | 0.0083846 | 0.0021014 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-220_0_5_load_8 | 3 | 0.0087399 | 0.0021904 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-220_0_5_load_7 | 4 | 0.011295 | 0.0028308 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-220_0_5_load_28 | 7 | 0.019538 | 0.0048966 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-220_0_5_load_26 | 9 | 0.010037 | 0.0025154 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-220_0_5_load_27 | 10 | 0.019421 | 0.0048673 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-220_0_5_load_82 | 11 | 0.018399 | 0.0046111 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-220_0_5_load_97 | 14 | 0.0085891 | 0.0021526 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-220_0_5_load_10 | 18 | 0.020501 | 0.0051381 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-220_0_5_load_15 | 19 | 0.0087837 | 0.0022014 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-220_0_5_load_87 | 20 | 0.0080662 | 0.0020216 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-220_0_5_load_86 | 21 | 0.015903 | 0.0039857 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-220_0_5_load_92 | 26 | 0.0037022 | 0.00092787 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-220_0_5_load_65 | 28 | 0.0066431 | 0.0016649 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-220_0_5_load_81 | 30 | 0.0042071 | 0.0010544 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-220_0_5_load_93 | 32 | 0.014884 | 0.0037302 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-220_0_5_load_95 | 33 | 0.008728 | 0.0021874 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-220_0_5_load_96 | 34 | 0.0085885 | 0.0021525 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-220_0_5_load_91 | 35 | 0.0039556 | 0.00099136 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-220_0_5_load_88 | 36 | 0.0046273 | 0.0011597 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-220_0_5_load_89 | 37 | 0.0036854 | 0.00092365 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-220_0_5_load_67 | 38 | 0.0049936 | 0.0012515 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-220_0_5_load_77 | 39 | 0.015324 | 0.0038407 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-220_0_5_load_68 | 40 | 0.0049275 | 0.0012349 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-220_0_5_load_78 | 41 | 0.022288 | 0.005586 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-220_0_5_load_79 | 42 | 0.022286 | 0.0055854 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-220_0_5_load_33 | 43 | 0.0088232 | 0.0022113 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-220_0_5_load_66 | 45 | 0.0066084 | 0.0016562 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-220_0_5_load_63 | 47 | 0.018672 | 0.0046796 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-220_0_5_load_70 | 50 | 0.0042606 | 0.0010678 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-220_0_5_load_94 | 51 | 0.025617 | 0.0064201 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-220_0_5_load_29 | 52 | 0.0043044 | 0.0010788 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-220_0_5_load_30 | 53 | 0.0051846 | 0.0012994 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-220_0_5_load_31 | 54 | 0.0086337 | 0.0021638 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-220_0_5_load_58 | 56 | 0.0050384 | 0.0012628 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-220_0_5_load_59 | 57 | 0.0078839 | 0.0019759 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-220_0_5_load_56 | 58 | 0.0040213 | 0.0010078 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-220_0_5_load_34 | 60 | 0.0060052 | 0.001505 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-220_0_5_load_35 | 61 | 0.0066441 | 0.0016652 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-220_0_5_load_36 | 62 | 0.0035581 | 0.00089175 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-220_0_5_load_37 | 63 | 0.0048684 | 0.0012201 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-220_0_5_load_38 | 64 | 0.0044852 | 0.0011241 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-220_0_5_load_61 | 65 | 0.0068206 | 0.0017094 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-220_0_5_load_44 | 67 | 0.0039837 | 0.0009984 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-220_0_5_load_62 | 68 | 0.006862 | 0.0017198 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-220_0_5_load_39 | 69 | 0.0052473 | 0.0013151 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-220_0_5_load_40 | 70 | 0.01495 | 0.0037469 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-220_0_5_load_43 | 72 | 0.0038447 | 0.00096357 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-220_0_5_load_42 | 73 | 0.0041583 | 0.0010422 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-220_0_5_load_80 | 74 | 0.011926 | 0.0029889 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-220_0_5_load_84 | 75 | 0.003596 | 0.00090125 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-220_0_5_load_45 | 76 | 0.008358 | 0.0020947 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-220_0_5_load_48 | 77 | 0.0038593 | 0.00096723 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-220_0_5_load_74 | 78 | 0.0033721 | 0.00084512 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-220_0_5_load_75 | 79 | 0.010048 | 0.0025183 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-220_0_5_load_51 | 80 | 0.0054702 | 0.001371 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-220_0_5_load_52 | 81 | 0.005056 | 0.0012672 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-220_0_5_load_53 | 82 | 0.003526 | 0.0008837 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-220_0_5_load_57 | 83 | 0.0041593 | 0.0010424 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-220_0_5_load_76 | 84 | 0.0085069 | 0.002132 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-220_0_5_load_69 | 85 | 0.0040324 | 0.0010106 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-220_0_5_load_83 | 86 | 0.025684 | 0.006437 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-220_0_5_load_85 | 87 | 0.013798 | 0.0034582 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-220_0_5_load_90 | 88 | 0.003986 | 0.000999 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 74 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-220_0_5_line_0 |  | 0 | 1 | 0.022419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-220_0_5_line_1 |  | 1 | 2 | 0.015266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-220_0_5_line_2 |  | 2 | 3 | 0.042902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-220_0_5_line_3 |  | 2 | 4 | 0.01919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-220_0_5_line_4 |  | 3 | 8 | 0.0040239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-220_0_5_line_5 |  | 5 | 6 | 0.047235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-220_0_5_line_6 |  | 5 | 7 | 0.012963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-220_0_5_line_7 |  | 6 | 11 | 0.01358 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-220_0_5_line_8 |  | 6 | 12 | 0.050148 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-220_0_5_line_9 |  | 7 | 10 | 0.040869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-220_0_5_line_10 |  | 8 | 13 | 0.023974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-220_0_5_line_11 |  | 8 | 14 | 0.01006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-220_0_5_line_12 |  | 9 | 10 | 0.0076151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-220_0_5_line_13 |  | 11 | 86 | 0.022373 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-220_0_5_line_14 |  | 12 | 32 | 0.016254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-220_0_5_line_15 |  | 12 | 13 | 0.026728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-220_0_5_line_16 |  | 13 | 26 | 0.017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_351-220_0_5_line_17 |  | 14 | 34 | 0.013511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-220_0_5_line_18 |  | 15 | 16 | 0.027887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-220_0_5_line_19 |  | 15 | 17 | 0.008101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-220_0_5_line_20 |  | 15 | 18 | 0.014566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-220_0_5_line_21 |  | 16 | 19 | 0.018302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-220_0_5_line_22 |  | 17 | 20 | 0.018603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-220_0_5_line_23 |  | 17 | 21 | 0.014557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-220_0_5_line_24 |  | 19 | 22 | 0.043232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-220_0_5_line_25 |  | 20 | 35 | 0.0098206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-220_0_5_line_26 |  | 22 | 23 | 0.011559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-220_0_5_line_27 |  | 23 | 39 | 0.015195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_351-220_0_5_line_28 |  | 23 | 31 | 0.031977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
29 | LV_351-220_0_5_line_29 |  | 24 | 25 | 0.037089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
30 | LV_351-220_0_5_line_30 |  | 24 | 26 | 0.021398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_351-220_0_5_line_31 |  | 25 | 30 | 0.0018538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_351-220_0_5_line_32 |  | 25 | 31 | 0.027794 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
33 | LV_351-220_0_5_line_33 |  | 27 | 28 | 0.0070855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-220_0_5_line_34 |  | 27 | 29 | 0.004076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-220_0_5_line_35 |  | 29 | 49 | 0.026479 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-220_0_5_line_36 |  | 29 | 50 | 0.013039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-220_0_5_line_37 |  | 30 | 49 | 0.015735 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_351-220_0_5_line_38 |  | 31 | 38 | 0.011657 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-220_0_5_line_39 |  | 32 | 51 | 0.021039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-220_0_5_line_40 |  | 33 | 34 | 0.013459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-220_0_5_line_41 |  | 35 | 88 | 0.0093095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-220_0_5_line_42 |  | 36 | 37 | 0.010419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-220_0_5_line_43 |  | 37 | 88 | 0.0097961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-220_0_5_line_44 |  | 38 | 40 | 0.007314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-220_0_5_line_45 |  | 39 | 43 | 0.025926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-220_0_5_line_46 |  | 40 | 85 | 0.016383 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-220_0_5_line_47 |  | 41 | 42 | 0.019796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-220_0_5_line_48 |  | 42 | 43 | 0.032711 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-220_0_5_line_49 |  | 43 | 54 | 0.015694 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-220_0_5_line_50 |  | 44 | 45 | 0.029609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-220_0_5_line_51 |  | 44 | 46 | 0.01057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-220_0_5_line_52 |  | 44 | 47 | 0.029294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-220_0_5_line_53 |  | 44 | 48 | 0.075253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-220_0_5_line_54 |  | 45 | 79 | 0.00053418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-220_0_5_line_55 |  | 46 | 68 | 0.024537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-220_0_5_line_56 |  | 46 | 50 | 0.02531 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-220_0_5_line_57 |  | 48 | 77 | 0.055073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-220_0_5_line_58 |  | 48 | 76 | 0.1077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-220_0_5_line_59 |  | 49 | 74 | 0.016395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
60 | LV_351-220_0_5_line_60 |  | 52 | 53 | 0.0076808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-220_0_5_line_61 |  | 52 | 54 | 0.011037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-220_0_5_line_62 |  | 53 | 55 | 0.0039485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-220_0_5_line_63 |  | 55 | 56 | 0.019967 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-220_0_5_line_64 |  | 55 | 57 | 0.024189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-220_0_5_line_65 |  | 56 | 58 | 0.020747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-220_0_5_line_66 |  | 57 | 59 | 0.0083493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-220_0_5_line_67 |  | 58 | 83 | 0.020083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-220_0_5_line_68 |  | 59 | 66 | 0.00615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-220_0_5_line_69 |  | 59 | 81 | 0.020432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-220_0_5_line_70 |  | 60 | 61 | 0.0016986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-220_0_5_line_71 |  | 60 | 62 | 0.012407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-220_0_5_line_72 |  | 61 | 63 | 0.020126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-220_0_5_line_73 |  | 62 | 64 | 0.012324 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-220_0_5_line_74 |  | 64 | 65 | 0.0070763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-220_0_5_line_75 |  | 65 | 68 | 0.021321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-220_0_5_line_76 |  | 66 | 67 | 0.0132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-220_0_5_line_77 |  | 67 | 71 | 0.0105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-220_0_5_line_78 |  | 69 | 70 | 0.007069 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-220_0_5_line_79 |  | 69 | 71 | 0.01171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-220_0_5_line_80 |  | 71 | 72 | 0.010477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-220_0_5_line_81 |  | 72 | 75 | 0.010157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-220_0_5_line_82 |  | 73 | 74 | 0.0049684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-220_0_5_line_83 |  | 77 | 78 | 0.0080133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-220_0_5_line_84 |  | 79 | 84 | 0.019248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-220_0_5_line_85 |  | 80 | 81 | 0.021353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-220_0_5_line_86 |  | 80 | 82 | 0.012209 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-220_0_5_line_87 |  | 84 | 87 | 0.017897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-220_0_5_trafo_80 | 0.63 MVA 20/0.4 kV | 89 | 74 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2598397.6226 | 1198695.1288 | 2598417.6063 | 1198684.9671
1 | 2598397.6226 | 1198695.1288 | 2598404.1747 | 1198708.9232
2 | 2598404.1747 | 1198708.9232 | 2598414.9474 | 1198731.1321 | 2598419.0691 | 1198739.6911 | 2598422.8014 | 1198747.5703
3 | 2598404.1747 | 1198708.9232 | 2598421.1537 | 1198699.9797
4 | 2598424.524 | 1198751.2068 | 2598422.8014 | 1198747.5703
5 | 2598382.737 | 1198696.1113 | 2598372.6875 | 1198674.0801 | 2598364.1077 | 1198652.7045
6 | 2598364.1077 | 1198652.7045 | 2598361.245 | 1198653.9171 | 2598359.5625 | 1198654.7958 | 2598353.4419 | 1198659.3111 | 2598353.1872 | 1198659.5512
7 | 2598382.737 | 1198696.1113 | 2598379.349 | 1198697.4908 | 2598371.2866 | 1198703.2739
8 | 2598382.737 | 1198696.1113 | 2598387.1484 | 1198705.793 | 2598403.9173 | 1198741.5852
9 | 2598353.1872 | 1198659.5512 | 2598348.5701 | 1198663.9038 | 2598340.5921 | 1198670.2762 | 2598329.8353 | 1198677.6277 | 2598323.4873 | 1198668.2985
10 | 2598410.7002 | 1198763.873 | 2598407.9957 | 1198758.7266 | 2598411.2466 | 1198757.3471 | 2598424.524 | 1198751.2068
11 | 2598424.524 | 1198751.2068 | 2598429.0958 | 1198760.1682
12 | 2598319.2034 | 1198662.0027 | 2598323.4873 | 1198668.2985
13 | 2598354.8827 | 1198718.1755 | 2598361.7037 | 1198713.4932 | 2598364.8092 | 1198709.6014 | 2598367.3819 | 1198706.3322 | 2598370.4802 | 1198703.8522 | 2598371.2866 | 1198703.2739
14 | 2598403.9173 | 1198741.5852 | 2598389.6501 | 1198748.026 | 2598389.1614 | 1198748.3746
15 | 2598403.9173 | 1198741.5852 | 2598408.1991 | 1198750.8 | 2598411.2466 | 1198757.3471 | 2598407.9957 | 1198758.7266 | 2598410.7002 | 1198763.873
16 | 2598410.7002 | 1198763.873 | 2598394.2141 | 1198768.9591
17 | 2598435.2356 | 1198772.2032 | 2598429.0958 | 1198760.1682
18 | 2598370.2082 | 1198898.2563 | 2598384.4603 | 1198893.3385 | 2598385.7012 | 1198892.7044 | 2598386.5917 | 1198891.6592 | 2598388.2965 | 1198888.9573 | 2598394.8591 | 1198886.7876
19 | 2598362.5188 | 1198900.871 | 2598370.2082 | 1198898.2563
20 | 2598370.2082 | 1198898.2563 | 2598364.9797 | 1198884.6609
21 | 2598394.8591 | 1198886.7876 | 2598391.7128 | 1198880.3739 | 2598386.7976 | 1198870.3572
22 | 2598362.5188 | 1198900.871 | 2598344.861 | 1198906.725
23 | 2598362.5188 | 1198900.871 | 2598358.0542 | 1198887.0154
24 | 2598369.2525 | 1198830.8538 | 2598379.3249 | 1198854.1412 | 2598383.1877 | 1198863.0004 | 2598386.7976 | 1198870.3572
25 | 2598335.5393 | 1198909.8153 | 2598344.861 | 1198906.725
26 | 2598360.2991 | 1198833.7023 | 2598362.3848 | 1198831.6784 | 2598363.1684 | 1198829.4103 | 2598369.2525 | 1198830.8538
27 | 2598360.2991 | 1198833.7023 | 2598358.807 | 1198834.392 | 2598357.2158 | 1198834.9261 | 2598345.8999 | 1198838.519
28 | 2598353.834 | 1198804.6776 | 2598359.4036 | 1198817.505 | 2598362.7789 | 1198825.1193 | 2598363.3049 | 1198827.2981 | 2598363.1684 | 1198829.4103 | 2598362.3848 | 1198831.6784 | 2598360.2991 | 1198833.7023
29 | 2598341.2407 | 1198779.8902 | 2598344.9866 | 1198778.8663 | 2598353.6965 | 1198776.507 | 2598372.5171 | 1198770.8986 | 2598373.767 | 1198775.2673
30 | 2598373.767 | 1198775.2673 | 2598394.2141 | 1198768.9591
31 | 2598341.2407 | 1198779.8902 | 2598340.2491 | 1198778.3239
32 | 2598341.2407 | 1198779.8902 | 2598346.6421 | 1198790.0941 | 2598353.194 | 1198803.2992 | 2598353.834 | 1198804.6776
33 | 2598316.9328 | 1198742.1882 | 2598318.4018 | 1198740.2201 | 2598319.1779 | 1198738.2632 | 2598319.2457 | 1198735.7397
34 | 2598314.2688 | 1198745.2795 | 2598316.9328 | 1198742.1882
35 | 2598331.8329 | 1198765.0294 | 2598327.2778 | 1198758.7718 | 2598323.1799 | 1198753.926 | 2598318.709 | 1198749.2693 | 2598314.2688 | 1198745.2795
36 | 2598314.2688 | 1198745.2795 | 2598311.5041 | 1198742.8457 | 2598307.5134 | 1198740.0676 | 2598303.7347 | 1198737.6369
37 | 2598331.8329 | 1198765.0294 | 2598340.2491 | 1198778.3239
38 | 2598353.834 | 1198804.6776 | 2598343.2191 | 1198809.4961
39 | 2598389.1614 | 1198748.3746 | 2598372.0344 | 1198760.5932
40 | 2598441.2263 | 1198784.2551 | 2598435.3267 | 1198772.3819 | 2598435.2356 | 1198772.2032
41 | 2598326.7028 | 1198912.7449 | 2598335.5393 | 1198909.8153
42 | 2598307.5147 | 1198919.1062 | 2598317.4044 | 1198915.8275
43 | 2598317.4044 | 1198915.8275 | 2598326.7028 | 1198912.7449
44 | 2598343.2191 | 1198809.4961 | 2598336.5592 | 1198812.5194
45 | 2598321.1893 | 1198846.3649 | 2598345.8999 | 1198838.519
46 | 2598321.641 | 1198819.2914 | 2598336.5592 | 1198812.5194
47 | 2598357.6747 | 1198857.7868 | 2598338.7971 | 1198863.746
48 | 2598321.1893 | 1198846.3649 | 2598327.9641 | 1198866.6515 | 2598329.0301 | 1198866.8291 | 2598338.7971 | 1198863.746
49 | 2598321.1893 | 1198846.3649 | 2598306.2318 | 1198851.1178
50 | 2598273.4877 | 1198721.8014 | 2598272.4352 | 1198716.2876 | 2598266.2676 | 1198693.0981
51 | 2598280.7533 | 1198727.2577 | 2598274.6082 | 1198725.9366 | 2598273.4877 | 1198721.8014
52 | 2598273.4877 | 1198721.8014 | 2598277.7355 | 1198718.6651 | 2598300.4827 | 1198710.9679
53 | 2598211.6353 | 1198715.4947 | 2598212.8071 | 1198712.8263 | 2598217.3807 | 1198704.8094 | 2598219.542 | 1198701.0957 | 2598223.2054 | 1198703.9294 | 2598227.9807 | 1198707.6299 | 2598234.1189 | 1198711.3522 | 2598239.6477 | 1198714.1965 | 2598246.0215 | 1198716.3846 | 2598252.3722 | 1198717.9501 | 2598273.4877 | 1198721.8014
54 | 2598266.1304 | 1198692.5818 | 2598266.2676 | 1198693.0981
55 | 2598280.7533 | 1198727.2577 | 2598264.173 | 1198745.3449
56 | 2598280.7533 | 1198727.2577 | 2598285.109 | 1198728.557 | 2598289.3201 | 1198730.1233 | 2598294.0873 | 1198732.2452 | 2598298.2986 | 1198734.5563 | 2598303.2639 | 1198737.3341 | 2598303.7347 | 1198737.6369
57 | 2598211.6353 | 1198715.4947 | 2598212.7475 | 1198717.1953 | 2598213.5323 | 1198718.9626 | 2598213.5712 | 1198721.5863 | 2598212.3641 | 1198733.015 | 2598208.5031 | 1198755.2947 | 2598204.4394 | 1198769.0883
58 | 2598211.6353 | 1198715.4947 | 2598210.4712 | 1198718.1521 | 2598206.042 | 1198725.5574 | 2598198.1641 | 1198734.4757 | 2598188.5042 | 1198742.6387 | 2598177.056 | 1198753.7705 | 2598159.3667 | 1198772.753 | 2598141.1219 | 1198792.4471 | 2598139.1449 | 1198794.5228
59 | 2598331.8329 | 1198765.0294 | 2598319.5648 | 1198775.9057
60 | 2598288.3931 | 1198856.7862 | 2598295.7132 | 1198854.4601
61 | 2598306.2318 | 1198851.1178 | 2598295.7132 | 1198854.4601
62 | 2598284.63 | 1198857.9819 | 2598288.3931 | 1198856.7862
63 | 2598284.63 | 1198857.9819 | 2598265.5979 | 1198864.0189
64 | 2598284.63 | 1198857.9819 | 2598267.0497 | 1198841.3675
65 | 2598245.8222 | 1198870.2917 | 2598265.5979 | 1198864.0189
66 | 2598260.9816 | 1198835.6327 | 2598267.0497 | 1198841.3675
67 | 2598245.8222 | 1198870.2917 | 2598226.6796 | 1198876.3637
68 | 2598256.4575 | 1198831.454 | 2598260.9816 | 1198835.6327
69 | 2598260.9816 | 1198835.6327 | 2598241.5726 | 1198842.0161
70 | 2598234.7744 | 1198790.3764 | 2598235.9315 | 1198789.1329
71 | 2598244.3835 | 1198780.0496 | 2598235.9315 | 1198789.1329
72 | 2598234.7744 | 1198790.3764 | 2598231.1673 | 1198794.253 | 2598229.805 | 1198796.4212 | 2598228.9225 | 1198798.6894 | 2598228.5728 | 1198800.446 | 2598228.5962 | 1198802.3915 | 2598228.8862 | 1198804.348 | 2598229.8234 | 1198806.7267 | 2598230.7988 | 1198807.9503
73 | 2598251.8504 | 1198770.3439 | 2598250.7671 | 1198772.6021 | 2598248.0956 | 1198776.0603 | 2598244.3835 | 1198780.0496
74 | 2598254.069 | 1198763.6384 | 2598252.4259 | 1198769.1442 | 2598251.8504 | 1198770.3439
75 | 2598254.069 | 1198763.6384 | 2598256.1455 | 1198756.6808 | 2598256.9214 | 1198754.535 | 2598258.1162 | 1198752.1778 | 2598259.3568 | 1198750.5988 | 2598264.173 | 1198745.3449
76 | 2598256.4575 | 1198831.454 | 2598265.1002 | 1198821.4765
77 | 2598272.32 | 1198813.8732 | 2598269.0468 | 1198816.9202 | 2598265.1002 | 1198821.4765
78 | 2598286.9293 | 1198802.0843 | 2598281.3371 | 1198806.4084
79 | 2598272.32 | 1198813.8732 | 2598277.8388 | 1198809.1134 | 2598281.3371 | 1198806.4084
80 | 2598272.32 | 1198813.8732 | 2598280.2735 | 1198820.6926
81 | 2598288.6099 | 1198824.9075 | 2598285.8385 | 1198825.4642 | 2598280.2735 | 1198820.6926
82 | 2598315.847 | 1198779.2017 | 2598319.5648 | 1198775.9057
83 | 2598202.1748 | 1198776.7749 | 2598204.4394 | 1198769.0883
84 | 2598263.034 | 1198673.8456 | 2598262.4335 | 1198677.0252 | 2598262.8532 | 1198680.2601 | 2598266.1304 | 1198692.5818
85 | 2598221.2881 | 1198848.6875 | 2598241.5726 | 1198842.0161
86 | 2598221.2881 | 1198848.6875 | 2598209.69 | 1198852.502
87 | 2598275.5862 | 1198661.235 | 2598273.5842 | 1198663.0477 | 2598264.754 | 1198671.0658 | 2598263.034 | 1198673.8456

## bus_geodata
| x | y | coords
0 | 2598417.6063 | 1198684.9671
1 | 2598397.6226 | 1198695.1288
2 | 2598404.1747 | 1198708.9232
3 | 2598422.8014 | 1198747.5703
4 | 2598421.1537 | 1198699.9797
5 | 2598364.1077 | 1198652.7045
6 | 2598382.737 | 1198696.1113
7 | 2598353.1872 | 1198659.5512
8 | 2598424.524 | 1198751.2068
9 | 2598319.2034 | 1198662.0027
10 | 2598323.4873 | 1198668.2985
11 | 2598371.2866 | 1198703.2739
12 | 2598403.9173 | 1198741.5852
13 | 2598410.7002 | 1198763.873
14 | 2598429.0958 | 1198760.1682
15 | 2598370.2082 | 1198898.2563
16 | 2598394.8591 | 1198886.7876
17 | 2598362.5188 | 1198900.871
18 | 2598364.9797 | 1198884.6609
19 | 2598386.7976 | 1198870.3572
20 | 2598344.861 | 1198906.725
21 | 2598358.0542 | 1198887.0154
22 | 2598369.2525 | 1198830.8538
23 | 2598360.2991 | 1198833.7023
24 | 2598373.767 | 1198775.2673
25 | 2598341.2407 | 1198779.8902
26 | 2598394.2141 | 1198768.9591
27 | 2598316.9328 | 1198742.1882
28 | 2598319.2457 | 1198735.7397
29 | 2598314.2688 | 1198745.2795
30 | 2598340.2491 | 1198778.3239
31 | 2598353.834 | 1198804.6776
32 | 2598389.1614 | 1198748.3746
33 | 2598441.2263 | 1198784.2551
34 | 2598435.2356 | 1198772.2032
35 | 2598335.5393 | 1198909.8153
36 | 2598307.5147 | 1198919.1062
37 | 2598317.4044 | 1198915.8275
38 | 2598343.2191 | 1198809.4961
39 | 2598345.8999 | 1198838.519
40 | 2598336.5592 | 1198812.5194
41 | 2598357.6747 | 1198857.7868
42 | 2598338.7971 | 1198863.746
43 | 2598321.1893 | 1198846.3649
44 | 2598273.4877 | 1198721.8014
45 | 2598266.2676 | 1198693.0981
46 | 2598280.7533 | 1198727.2577
47 | 2598300.4827 | 1198710.9679
48 | 2598211.6353 | 1198715.4947
49 | 2598331.8329 | 1198765.0294
50 | 2598303.7347 | 1198737.6369
51 | 2598372.0344 | 1198760.5932
52 | 2598295.7132 | 1198854.4601
53 | 2598288.3931 | 1198856.7862
54 | 2598306.2318 | 1198851.1178
55 | 2598284.63 | 1198857.9819
56 | 2598265.5979 | 1198864.0189
57 | 2598267.0497 | 1198841.3675
58 | 2598245.8222 | 1198870.2917
59 | 2598260.9816 | 1198835.6327
60 | 2598235.9315 | 1198789.1329
61 | 2598234.7744 | 1198790.3764
62 | 2598244.3835 | 1198780.0496
63 | 2598230.7988 | 1198807.9503
64 | 2598251.8504 | 1198770.3439
65 | 2598254.069 | 1198763.6384
66 | 2598256.4575 | 1198831.454
67 | 2598265.1002 | 1198821.4765
68 | 2598264.173 | 1198745.3449
69 | 2598281.3371 | 1198806.4084
70 | 2598286.9293 | 1198802.0843
71 | 2598272.32 | 1198813.8732
72 | 2598280.2735 | 1198820.6926
73 | 2598315.847 | 1198779.2017
74 | 2598319.5648 | 1198775.9057
75 | 2598288.6099 | 1198824.9075
76 | 2598139.1449 | 1198794.5228
77 | 2598204.4394 | 1198769.0883
78 | 2598202.1748 | 1198776.7749
79 | 2598266.1303 | 1198692.5818
80 | 2598221.2881 | 1198848.6875
81 | 2598241.5726 | 1198842.0161
82 | 2598209.69 | 1198852.502
83 | 2598226.6796 | 1198876.3637
84 | 2598263.034 | 1198673.8456
85 | 2598321.641 | 1198819.2914
86 | 2598354.8827 | 1198718.1755
87 | 2598275.5862 | 1198661.235
88 | 2598326.7028 | 1198912.7449
89 | 2598331.8329 | 1198765.0294

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1