## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-227_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-227_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-227_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-227_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-227_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-227_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-227_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_351-227_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_351-227_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_351-227_0_2_node_18 | 0.4 | n |  | TRUE
10 | bus_LV_351-227_0_2_node_17 | 0.4 | n |  | TRUE
11 | bus_LV_351-227_0_2_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_351-227_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_351-227_0_2_node_57 | 0.4 | n |  | TRUE
14 | bus_LV_351-227_0_2_node_55 | 0.4 | n |  | TRUE
15 | bus_LV_351-227_0_2_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_351-227_0_2_node_58 | 0.4 | n |  | TRUE
17 | bus_LV_351-227_0_2_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_351-227_0_2_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_351-227_0_2_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_351-227_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_351-227_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_351-227_0_2_node_51 | 0.4 | n |  | TRUE
23 | bus_LV_351-227_0_2_node_49 | 0.4 | n |  | TRUE
24 | bus_LV_351-227_0_2_node_30 | 0.4 | n |  | TRUE
25 | bus_LV_351-227_0_2_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_351-227_0_2_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_351-227_0_2_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_351-227_0_2_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_351-227_0_2_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_351-227_0_2_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_351-227_0_2_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_351-227_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_351-227_0_2_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_351-227_0_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_351-227_0_2_node_41 | 0.4 | n |  | TRUE
36 | bus_LV_351-227_0_2_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_351-227_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_351-227_0_2_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_351-227_0_2_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_351-227_0_2_node_56 | 0.4 | n |  | TRUE
41 | bus_LV_351-227_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_351-227_0_2_node_36 | 0.4 | n |  | TRUE
43 | bus_LV_351-227_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_351-227_0_2_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_351-227_0_2_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_351-227_0_2_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_351-227_0_2_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_351-227_0_2_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_351-227_0_2_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_351-227_0_2_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_351-227_0_2_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_351-227_0_2_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_351-227_0_2_node_52 | 0.4 | n |  | TRUE
54 | bus_LV_351-227_0_2_node_50 | 0.4 | n |  | TRUE
55 | bus_MV_0_node_5 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-227_0_2_load_0 | 0 | 0.0014344 | 0.00035949 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-227_0_2_load_3 | 3 | 0.00095494 | 0.00023933 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-227_0_2_load_4 | 4 | 0.00042551 | 0.00010664 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-227_0_2_load_5 | 5 | 0.0012942 | 0.00032436 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-227_0_2_load_6 | 6 | 0.0065977 | 0.0016535 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-227_0_2_load_11 | 7 | 0.0017729 | 0.00044434 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-227_0_2_load_7 | 8 | 0.0066092 | 0.0016564 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-227_0_2_load_18 | 9 | 0.00050848 | 0.00012744 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-227_0_2_load_17 | 10 | 0.00058268 | 0.00014603 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-227_0_2_load_57 | 13 | 0.0012461 | 0.0003123 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-227_0_2_load_55 | 14 | 0.00029963 | 7.5095e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-227_0_2_load_59 | 15 | 0.00025045 | 6.2769e-05 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-227_0_2_load_58 | 16 | 0.0020255 | 0.00050763 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-227_0_2_load_54 | 17 | 0.00029208 | 7.3201e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-227_0_2_load_19 | 18 | 0.00030139 | 7.5534e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-227_0_2_load_12 | 19 | 0.0043791 | 0.0010975 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-227_0_2_load_16 | 21 | 0.00052871 | 0.00013251 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-227_0_2_load_51 | 22 | 0.00087357 | 0.00021894 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-227_0_2_load_30 | 24 | 0.00087535 | 0.00021938 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-227_0_2_load_20 | 26 | 0.0032719 | 0.00082002 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-227_0_2_load_27 | 31 | 0.00033693 | 8.4444e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-227_0_2_load_29 | 34 | 0.00076548 | 0.00019185 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-227_0_2_load_41 | 35 | 0.0007302 | 0.00018301 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-227_0_2_load_40 | 36 | 0.00062639 | 0.00015699 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-227_0_2_load_34 | 39 | 0.00034452 | 8.6346e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-227_0_2_load_56 | 40 | 0.0016709 | 0.00041876 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-227_0_2_load_38 | 43 | 0.0028478 | 0.00071374 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-227_0_2_load_42 | 46 | 0.0016816 | 0.00042144 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-227_0_2_load_45 | 49 | 0.0025062 | 0.00062811 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-227_0_2_load_47 | 51 | 0.0012442 | 0.00031181 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-227_0_2_load_48 | 52 | 0.0026558 | 0.00066561 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-227_0_2_load_52 | 53 | 0.0014998 | 0.00037588 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-227_0_2_load_50 | 54 | 0.0015249 | 0.00038217 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-227_0_2_line_0 |  | 0 | 1 | 0.027269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-227_0_2_line_1 |  | 1 | 2 | 0.008919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-227_0_2_line_2 |  | 1 | 3 | 0.011252 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-227_0_2_line_3 |  | 2 | 4 | 0.08855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-227_0_2_line_4 |  | 2 | 5 | 0.030798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-227_0_2_line_5 |  | 3 | 6 | 0.007833 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-227_0_2_line_6 |  | 4 | 7 | 0.067755 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-227_0_2_line_7 |  | 6 | 8 | 0.039312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-227_0_2_line_8 |  | 7 | 9 | 0.020686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-227_0_2_line_9 |  | 8 | 10 | 0.21185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-227_0_2_line_10 |  | 9 | 18 | 0.019722 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-227_0_2_line_11 |  | 10 | 11 | 0.22615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-227_0_2_line_12 |  | 11 | 19 | 0.043036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-227_0_2_line_13 |  | 12 | 13 | 0.014765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-227_0_2_line_14 |  | 12 | 14 | 0.028356 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-227_0_2_line_15 |  | 13 | 15 | 0.0067518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-227_0_2_line_16 |  | 13 | 16 | 0.027591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-227_0_2_line_17 |  | 14 | 17 | 0.015185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-227_0_2_line_18 |  | 17 | 40 | 3.8421e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-227_0_2_line_19 |  | 18 | 24 | 0.0044792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-227_0_2_line_20 |  | 19 | 20 | 0.055708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-227_0_2_line_21 |  | 20 | 21 | 0.06019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-227_0_2_line_22 |  | 20 | 22 | 0.14385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-227_0_2_line_23 |  | 22 | 23 | 0.099581 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-227_0_2_line_24 |  | 23 | 54 | 0.040437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-227_0_2_line_25 |  | 23 | 51 | 0.012918 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-227_0_2_line_26 |  | 24 | 25 | 0.0024547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-227_0_2_line_27 |  | 25 | 37 | 0.10257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-227_0_2_line_28 |  | 26 | 27 | 0.01488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-227_0_2_line_29 |  | 26 | 28 | 0.016994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-227_0_2_line_30 |  | 27 | 29 | 0.017006 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-227_0_2_line_31 |  | 28 | 30 | 0.01928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-227_0_2_line_32 |  | 29 | 31 | 0.035488 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-227_0_2_line_33 |  | 30 | 34 | 0.0015737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-227_0_2_line_34 |  | 31 | 32 | 0.013257 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-227_0_2_line_35 |  | 32 | 33 | 0.002562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-227_0_2_line_36 |  | 33 | 35 | 0.0067093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-227_0_2_line_37 |  | 35 | 36 | 0.023813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-227_0_2_line_38 |  | 36 | 44 | 0.006409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-227_0_2_line_39 |  | 37 | 40 | 0.062882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-227_0_2_line_40 |  | 37 | 38 | 0.017022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-227_0_2_line_41 |  | 38 | 39 | 0.03072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-227_0_2_line_42 |  | 39 | 41 | 0.013064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-227_0_2_line_43 |  | 41 | 42 | 0.012381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-227_0_2_line_44 |  | 42 | 43 | 0.020375 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-227_0_2_line_45 |  | 43 | 45 | 0.020101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-227_0_2_line_46 |  | 44 | 45 | 0.014028 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-227_0_2_line_47 |  | 46 | 47 | 0.019164 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-227_0_2_line_48 |  | 46 | 48 | 0.093973 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-227_0_2_line_49 |  | 47 | 49 | 0.048765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-227_0_2_line_50 |  | 48 | 50 | 0.15798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-227_0_2_line_51 |  | 49 | 51 | 0.062317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-227_0_2_line_52 |  | 50 | 52 | 0.1768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-227_0_2_line_53 |  | 52 | 53 | 0.029218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-227_0_2_trafo_5 | 0.63 MVA 20/0.4 kV | 55 | 5 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2594418.5349 | 1199890.6438 | 2594423.0208 | 1199884.6808 | 2594427.6618 | 1199881.7304 | 2594440.5409 | 1199879.9395 | 2594441.747 | 1199879.441
1 | 2594418.5349 | 1199890.6438 | 2594418.079 | 1199899.549
2 | 2594418.5349 | 1199890.6438 | 2594413.8575 | 1199880.4106
3 | 2594418.079 | 1199899.549 | 2594462.4788 | 1199902.0418 | 2594473.1223 | 1199902.9657 | 2594480.7667 | 1199904.2925 | 2594487.8556 | 1199905.8534 | 2594492.6606 | 1199907.3386 | 2594498.7453 | 1199909.6008 | 2594504.65 | 1199913.0888
4 | 2594418.079 | 1199899.549 | 2594387.3296 | 1199897.8177
5 | 2594413.8575 | 1199880.4106 | 2594410.6012 | 1199873.2865
6 | 2594504.65 | 1199913.0888 | 2594552.4291 | 1199941.3124 | 2594562.933 | 1199947.6404
7 | 2594404.6619 | 1199839.8186 | 2594401.2579 | 1199854.6965 | 2594400.9579 | 1199867.4925 | 2594410.6012 | 1199873.2865 | 2594410.6012 | 1199873.2865
8 | 2594580.6523 | 1199958.3154 | 2594562.933 | 1199947.6404
9 | 2594404.6619 | 1199839.8186 | 2594433.8907 | 1199629.9976
10 | 2594580.6523 | 1199958.3154 | 2594597.5457 | 1199968.4927
11 | 2594433.8907 | 1199629.9976 | 2594208.5359 | 1199648.9611
12 | 2594208.5359 | 1199648.9611 | 2594208.8932 | 1199656.0979 | 2594206.6069 | 1199661.4363 | 2594197.3189 | 1199669.0607 | 2594192.232 | 1199675.4135 | 2594193.438 | 1199685.2674
13 | 2594477.9862 | 1200016.0218 | 2594465.3413 | 1200023.7044
14 | 2594477.9862 | 1200016.0218 | 2594485.0348 | 1200023.4303 | 2594493.3092 | 1200031.1378 | 2594497.9184 | 1200034.98 | 2594498.573 | 1200035.4755
15 | 2594465.3413 | 1200023.7044 | 2594459.3642 | 1200020.5643
16 | 2594465.3413 | 1200023.7044 | 2594463.2684 | 1200021.2495 | 2594457.7281 | 1200014.9958 | 2594448.4083 | 1200004.7769 | 2594446.9131 | 1200003.1732
17 | 2594510.8029 | 1200044.4708 | 2594506.5876 | 1200041.5421 | 2594498.573 | 1200035.4755
18 | 2594510.8345 | 1200044.4927 | 2594510.8029 | 1200044.4708
19 | 2594601.3824 | 1199970.8041 | 2594597.5457 | 1199968.4927
20 | 2594193.7345 | 1199739.98 | 2594192.3962 | 1199710.7101 | 2594190.8602 | 1199704.8751 | 2594193.1482 | 1199701.3154 | 2594194.1584 | 1199691.1534 | 2594193.438 | 1199685.2674
21 | 2594193.7345 | 1199739.98 | 2594148.2058 | 1199713.6442 | 2594141.8111 | 1199709.5502
22 | 2594148.9339 | 1199876.6711 | 2594193.7345 | 1199739.98
23 | 2594051.5349 | 1199885.8444 | 2594059.1215 | 1199882.5128 | 2594066.3811 | 1199879.615 | 2594075.9552 | 1199876.8595 | 2594088.1788 | 1199874.4126 | 2594100.3885 | 1199873.233 | 2594112.7587 | 1199872.6982 | 2594132.3634 | 1199874.4796 | 2594145.8779 | 1199876.3227 | 2594148.9339 | 1199876.6711
24 | 2594051.5349 | 1199885.8444 | 2594058.2753 | 1199888.8948 | 2594064.6117 | 1199891.5343 | 2594069.92 | 1199893.7635 | 2594074.0118 | 1199897.428 | 2594076.4682 | 1199902.506 | 2594079.1264 | 1199911.4637
25 | 2594051.5349 | 1199885.8444 | 2594039.9113 | 1199891.4799
26 | 2594603.485 | 1199972.0708 | 2594601.3824 | 1199970.8041
27 | 2594603.485 | 1199972.0708 | 2594608.6403 | 1199998.6915 | 2594606.8801 | 1200005.1299 | 2594603.0826 | 1200014.7052 | 2594598.3416 | 1200024.7816 | 2594585.8275 | 1200050.7737 | 2594583.8219 | 1200055.1446 | 2594577.7326 | 1200056.0173 | 2594573.3403 | 1200056.1214 | 2594570.2037 | 1200055.8909
28 | 2594698.7588 | 1200176.7609 | 2594703.7935 | 1200179.947 | 2594710.7433 | 1200185.542
29 | 2594724.0112 | 1200196.1598 | 2594721.8631 | 1200194.4942 | 2594710.7433 | 1200185.542
30 | 2594690.9762 | 1200190.6421 | 2594695.6391 | 1200186.6802 | 2594696.8026 | 1200185.4118 | 2594697.6845 | 1200184.177 | 2594698.3303 | 1200182.7868 | 2594698.7781 | 1200181.2522 | 2594698.9442 | 1200179.7179 | 2594699.0419 | 1200178.306 | 2594698.7588 | 1200176.7609
31 | 2594712.0735 | 1200211.3231 | 2594724.0112 | 1200196.1598
32 | 2594690.9762 | 1200190.6421 | 2594673.5948 | 1200171.1584 | 2594667.4161 | 1200164.1029
33 | 2594712.0735 | 1200211.3231 | 2594713.0752 | 1200212.5368
34 | 2594658.6819 | 1200154.1294 | 2594667.4161 | 1200164.1029
35 | 2594656.8533 | 1200152.3301 | 2594658.6819 | 1200154.1294
36 | 2594656.8533 | 1200152.3301 | 2594652.4394 | 1200147.2773
37 | 2594652.4394 | 1200147.2773 | 2594651.6715 | 1200146.3983 | 2594648.3875 | 1200143.0884 | 2594635.4231 | 1200130.6257
38 | 2594630.8027 | 1200126.1842 | 2594635.4231 | 1200130.6257
39 | 2594570.2037 | 1200055.8909 | 2594565.8324 | 1200054.0272 | 2594561.2711 | 1200052.5195 | 2594555.3699 | 1200050.913 | 2594551.2278 | 1200049.9941 | 2594547.8094 | 1200049.5303 | 2594544.7263 | 1200049.5332 | 2594541.0878 | 1200049.859 | 2594528.8567 | 1200052.2494 | 2594526.5122 | 1200052.5072 | 2594524.3121 | 1200052.3759 | 2594522.2563 | 1200051.8886 | 2594520.1543 | 1200050.9679 | 2594510.8345 | 1200044.4927
40 | 2594570.2037 | 1200055.8909 | 2594574.1968 | 1200060.3562 | 2594576.407 | 1200063.1557 | 2594578.6486 | 1200066.9446 | 2594580.8582 | 1200069.0659
41 | 2594580.8582 | 1200069.0659 | 2594580.4147 | 1200075.2696 | 2594580.6778 | 1200079.8496 | 2594581.2982 | 1200084.0402 | 2594582.3674 | 1200087.7857 | 2594584.64 | 1200092.1637 | 2594587.7645 | 1200095.8295 | 2594589.3897 | 1200097.0499
42 | 2594599.9222 | 1200104.7787 | 2594592.5256 | 1200099.4048 | 2594589.3897 | 1200097.0499
43 | 2594599.9222 | 1200104.7787 | 2594609.9621 | 1200112.0623
44 | 2594609.9621 | 1200112.0623 | 2594616.4499 | 1200105.9531 | 2594617.3326 | 1200105.5076 | 2594618.0936 | 1200105.2401 | 2594621.0633 | 1200106.1935 | 2594627.0851 | 1200108.7675
45 | 2594643.1668 | 1200119.4916 | 2594641.6033 | 1200116.2913 | 2594640.5897 | 1200115.0471 | 2594639.2033 | 1200114.0145 | 2594635.5707 | 1200112.3947 | 2594627.0851 | 1200108.7675
46 | 2594643.1668 | 1200119.4916 | 2594630.8027 | 1200126.1842
47 | 2593953.6813 | 1199960.773 | 2593963.4572 | 1199977.2563
48 | 2594010.1906 | 1200058.7791 | 2593992.2159 | 1200027.3805 | 2593976.612 | 1199999.437 | 2593963.4572 | 1199977.2563
49 | 2593953.6813 | 1199960.773 | 2593989.5024 | 1199927.6849
50 | 2594010.1906 | 1200058.7791 | 2594034.9393 | 1200104.2674 | 2594057.8805 | 1200146.8449 | 2594072.646 | 1200174.5004 | 2594086.8199 | 1200196.9649
51 | 2593989.5024 | 1199927.6849 | 2593996.3938 | 1199921.3193 | 2594009.9481 | 1199909.9216 | 2594021.8459 | 1199901.6273 | 2594038.7594 | 1199892.0384 | 2594039.9113 | 1199891.4799
52 | 2594086.8199 | 1200196.9649 | 2594105.5276 | 1200216.3677 | 2594147.5603 | 1200244.4076 | 2594225.8954 | 1200295.6802 | 2594230.5596 | 1200298.9509
53 | 2594230.5596 | 1200298.9509 | 2594254.4818 | 1200315.7261

## bus_geodata
| x | y | coords
0 | 2594441.747 | 1199879.441
1 | 2594418.5349 | 1199890.6438
2 | 2594418.079 | 1199899.549
3 | 2594413.8575 | 1199880.4106
4 | 2594504.65 | 1199913.0888
5 | 2594387.3296 | 1199897.8177
6 | 2594410.6012 | 1199873.2865
7 | 2594562.933 | 1199947.6404
8 | 2594404.6619 | 1199839.8186
9 | 2594580.6523 | 1199958.3154
10 | 2594433.8907 | 1199629.9976
11 | 2594208.5359 | 1199648.9611
12 | 2594477.9862 | 1200016.0218
13 | 2594465.3413 | 1200023.7044
14 | 2594498.573 | 1200035.4755
15 | 2594459.3642 | 1200020.5643
16 | 2594446.9131 | 1200003.1732
17 | 2594510.8029 | 1200044.4708
18 | 2594597.5457 | 1199968.4927
19 | 2594193.438 | 1199685.2674
20 | 2594193.7345 | 1199739.98
21 | 2594141.8111 | 1199709.5502
22 | 2594148.9339 | 1199876.6711
23 | 2594051.5349 | 1199885.8444
24 | 2594601.3824 | 1199970.8041
25 | 2594603.485 | 1199972.0708
26 | 2594710.7433 | 1200185.542
27 | 2594698.7588 | 1200176.7609
28 | 2594724.0112 | 1200196.1598
29 | 2594690.9763 | 1200190.6421
30 | 2594712.0735 | 1200211.3231
31 | 2594667.4161 | 1200164.1029
32 | 2594658.6819 | 1200154.1294
33 | 2594656.8533 | 1200152.3301
34 | 2594713.0752 | 1200212.5368
35 | 2594652.4394 | 1200147.2773
36 | 2594635.4231 | 1200130.6257
37 | 2594570.2037 | 1200055.8909
38 | 2594580.8582 | 1200069.0659
39 | 2594589.3897 | 1200097.0499
40 | 2594510.8345 | 1200044.4927
41 | 2594599.9222 | 1200104.7787
42 | 2594609.9621 | 1200112.0623
43 | 2594627.0851 | 1200108.7675
44 | 2594630.8027 | 1200126.1842
45 | 2594643.1668 | 1200119.4916
46 | 2593963.4572 | 1199977.2563
47 | 2593953.6813 | 1199960.773
48 | 2594010.1906 | 1200058.7791
49 | 2593989.5024 | 1199927.6849
50 | 2594086.8199 | 1200196.9649
51 | 2594039.9113 | 1199891.4799
52 | 2594230.5596 | 1200298.9509
53 | 2594254.4818 | 1200315.7261
54 | 2594079.1264 | 1199911.4637
55 | 2594387.3296 | 1199897.8177

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1