## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-231_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-231_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-231_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-231_0_5_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_351-231_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_351-231_0_5_node_41 | 0.4 | n |  | TRUE
6 | bus_LV_351-231_0_5_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_351-231_0_5_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_351-231_0_5_node_56 | 0.4 | n |  | TRUE
9 | bus_LV_351-231_0_5_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_351-231_0_5_node_72 | 0.4 | n |  | TRUE
11 | bus_LV_351-231_0_5_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_351-231_0_5_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_351-231_0_5_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_351-231_0_5_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_351-231_0_5_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_351-231_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_351-231_0_5_node_31 | 0.4 | n |  | TRUE
18 | bus_LV_351-231_0_5_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_351-231_0_5_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_351-231_0_5_node_60 | 0.4 | n |  | TRUE
21 | bus_LV_351-231_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_351-231_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_351-231_0_5_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_351-231_0_5_node_36 | 0.4 | n |  | TRUE
25 | bus_LV_351-231_0_5_node_71 | 0.4 | n |  | TRUE
26 | bus_LV_351-231_0_5_node_14 | 0.4 | n |  | TRUE
27 | bus_LV_351-231_0_5_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_351-231_0_5_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_351-231_0_5_node_70 | 0.4 | n |  | TRUE
30 | bus_LV_351-231_0_5_node_33 | 0.4 | n |  | TRUE
31 | bus_LV_351-231_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_351-231_0_5_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_351-231_0_5_node_45 | 0.4 | n |  | TRUE
34 | bus_LV_351-231_0_5_node_57 | 0.4 | n |  | TRUE
35 | bus_LV_351-231_0_5_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_351-231_0_5_node_67 | 0.4 | n |  | TRUE
37 | bus_LV_351-231_0_5_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_351-231_0_5_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_351-231_0_5_node_69 | 0.4 | n |  | TRUE
40 | bus_LV_351-231_0_5_node_61 | 0.4 | n |  | TRUE
41 | bus_LV_351-231_0_5_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_351-231_0_5_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_351-231_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_351-231_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_351-231_0_5_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_351-231_0_5_node_58 | 0.4 | n |  | TRUE
47 | bus_LV_351-231_0_5_node_40 | 0.4 | n |  | TRUE
48 | bus_LV_351-231_0_5_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_351-231_0_5_node_6 | 0.4 | n |  | TRUE
50 | bus_LV_351-231_0_5_node_8 | 0.4 | n |  | TRUE
51 | bus_LV_351-231_0_5_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_351-231_0_5_node_62 | 0.4 | n |  | TRUE
53 | bus_LV_351-231_0_5_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_351-231_0_5_node_43 | 0.4 | n |  | TRUE
55 | bus_LV_351-231_0_5_node_34 | 0.4 | n |  | TRUE
56 | bus_LV_351-231_0_5_node_37 | 0.4 | n |  | TRUE
57 | bus_LV_351-231_0_5_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_351-231_0_5_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_351-231_0_5_node_66 | 0.4 | n |  | TRUE
60 | bus_LV_351-231_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_351-231_0_5_node_47 | 0.4 | n |  | TRUE
62 | bus_LV_351-231_0_5_node_54 | 0.4 | n |  | TRUE
63 | bus_LV_351-231_0_5_node_48 | 0.4 | n |  | TRUE
64 | bus_LV_351-231_0_5_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_351-231_0_5_node_73 | 0.4 | n |  | TRUE
66 | bus_MV_598_0_node_131 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-231_0_5_load_0 | 0 | 0.0085012 | 0.0021306 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-231_0_5_load_1 | 1 | 0.009021 | 0.0022609 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-231_0_5_load_4 | 3 | 0.0087885 | 0.0022026 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-231_0_5_load_41 | 5 | 0.008872 | 0.0022235 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-231_0_5_load_44 | 7 | 0.0094754 | 0.0023748 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-231_0_5_load_56 | 8 | 0.0093864 | 0.0023525 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-231_0_5_load_72 | 10 | 0.018491 | 0.0046344 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-231_0_5_load_52 | 14 | 0.0072832 | 0.0018254 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-231_0_5_load_31 | 17 | 0.0056701 | 0.0014211 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-231_0_5_load_60 | 20 | 0.00062836 | 0.00015748 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-231_0_5_load_39 | 23 | 0.0028256 | 0.00070817 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-231_0_5_load_36 | 24 | 0.0081912 | 0.0020529 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-231_0_5_load_71 | 25 | 0.036098 | 0.0090469 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-231_0_5_load_63 | 27 | 0.0024389 | 0.00061124 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-231_0_5_load_70 | 29 | 0.028991 | 0.007266 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-231_0_5_load_33 | 30 | 0.010011 | 0.0025091 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-231_0_5_load_38 | 32 | 0.0060599 | 0.0015188 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-231_0_5_load_45 | 33 | 0.0074159 | 0.0018586 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-231_0_5_load_57 | 34 | 0.0074051 | 0.0018559 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-231_0_5_load_67 | 36 | 0.015647 | 0.0039216 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-231_0_5_load_65 | 37 | 0.0036743 | 0.00092086 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-231_0_5_load_69 | 39 | 0.044017 | 0.011032 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-231_0_5_load_32 | 43 | 0.0051748 | 0.0012969 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-231_0_5_load_64 | 45 | 0.010108 | 0.0025334 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-231_0_5_load_58 | 46 | 0.088922 | 0.022286 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-231_0_5_load_40 | 47 | 0.015685 | 0.003931 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-231_0_5_load_42 | 48 | 0.0038751 | 0.0009712 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-231_0_5_load_6 | 49 | 0.0090324 | 0.0022637 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-231_0_5_load_50 | 51 | 0.011573 | 0.0029005 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-231_0_5_load_62 | 52 | 0.002441 | 0.00061178 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-231_0_5_load_51 | 53 | 0.0048101 | 0.0012055 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-231_0_5_load_43 | 54 | 0.007798 | 0.0019544 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-231_0_5_load_34 | 55 | 0.0075406 | 0.0018899 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-231_0_5_load_37 | 56 | 0.0071407 | 0.0017896 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-231_0_5_load_46 | 57 | 0.0071778 | 0.0017989 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-231_0_5_load_55 | 58 | 0.0071599 | 0.0017944 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-231_0_5_load_35 | 60 | 0.014899 | 0.0037341 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-231_0_5_load_47 | 61 | 0.0071592 | 0.0017943 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-231_0_5_load_54 | 62 | 0.0071716 | 0.0017974 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-231_0_5_load_48 | 63 | 0.012208 | 0.0030597 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-231_0_5_load_49 | 64 | 0.007636 | 0.0019138 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-231_0_5_load_73 | 65 | 0.067288 | 0.016864 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 59 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-231_0_5_line_0 |  | 0 | 1 | 0.026567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-231_0_5_line_1 |  | 0 | 2 | 0.015417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-231_0_5_line_2 |  | 2 | 3 | 0.025177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_351-231_0_5_line_3 |  | 2 | 4 | 0.003325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_351-231_0_5_line_4 |  | 3 | 5 | 0.017586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_351-231_0_5_line_5 |  | 4 | 6 | 0.0096882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_351-231_0_5_line_6 |  | 4 | 7 | 0.012597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-231_0_5_line_7 |  | 4 | 8 | 0.034306 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-231_0_5_line_8 |  | 5 | 47 | 0.01858 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_351-231_0_5_line_9 |  | 6 | 28 | 0.005554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_351-231_0_5_line_10 |  | 6 | 29 | 0.018891 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-231_0_5_line_11 |  | 7 | 48 | 0.013838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-231_0_5_line_12 |  | 9 | 10 | 0.012791 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-231_0_5_line_13 |  | 9 | 11 | 0.13515 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-231_0_5_line_14 |  | 11 | 40 | 0.042674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_351-231_0_5_line_15 |  | 11 | 20 | 0.030685 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_351-231_0_5_line_16 |  | 11 | 38 | 0.12567 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_351-231_0_5_line_17 |  | 12 | 13 | 0.003727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_351-231_0_5_line_18 |  | 12 | 14 | 0.015014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_351-231_0_5_line_19 |  | 13 | 25 | 0.022629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_351-231_0_5_line_20 |  | 14 | 51 | 0.013096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
21 | LV_351-231_0_5_line_21 |  | 15 | 16 | 0.026135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-231_0_5_line_22 |  | 15 | 17 | 0.060249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-231_0_5_line_23 |  | 16 | 30 | 0.01646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-231_0_5_line_24 |  | 16 | 26 | 0.029873 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-231_0_5_line_25 |  | 17 | 50 | 0.0068921 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-231_0_5_line_26 |  | 18 | 19 | 0.12031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-231_0_5_line_27 |  | 18 | 20 | 0.068279 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_351-231_0_5_line_28 |  | 19 | 46 | 0.034646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-231_0_5_line_29 |  | 21 | 22 | 0.007153 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-231_0_5_line_30 |  | 21 | 23 | 0.009578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-231_0_5_line_31 |  | 21 | 24 | 0.02018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-231_0_5_line_32 |  | 22 | 34 | 0.012244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-231_0_5_line_33 |  | 23 | 28 | 0.016053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-231_0_5_line_34 |  | 25 | 38 | 0.010796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
35 | LV_351-231_0_5_line_35 |  | 26 | 27 | 0.020099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-231_0_5_line_36 |  | 27 | 52 | 4.2519e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-231_0_5_line_37 |  | 28 | 53 | 0.0095451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
38 | LV_351-231_0_5_line_38 |  | 30 | 55 | 0.016374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-231_0_5_line_39 |  | 31 | 32 | 0.0035848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-231_0_5_line_40 |  | 31 | 33 | 0.0057671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-231_0_5_line_41 |  | 32 | 56 | 0.014765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-231_0_5_line_42 |  | 33 | 57 | 0.0090512 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-231_0_5_line_43 |  | 34 | 58 | 0.0090476 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-231_0_5_line_44 |  | 35 | 36 | 0.005129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-231_0_5_line_45 |  | 35 | 37 | 0.0045446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-231_0_5_line_46 |  | 37 | 40 | 0.013609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-231_0_5_line_47 |  | 38 | 39 | 0.038663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-231_0_5_line_48 |  | 40 | 59 | 0.026898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_351-231_0_5_line_49 |  | 41 | 42 | 0.10871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-231_0_5_line_50 |  | 41 | 43 | 0.013417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-231_0_5_line_51 |  | 42 | 44 | 0.11638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-231_0_5_line_52 |  | 42 | 45 | 0.050372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-231_0_5_line_53 |  | 44 | 46 | 0.015234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-231_0_5_line_54 |  | 47 | 60 | 0.017194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
55 | LV_351-231_0_5_line_55 |  | 48 | 54 | 0.01265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-231_0_5_line_56 |  | 49 | 50 | 0.0019932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-231_0_5_line_57 |  | 51 | 63 | 0.012773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_351-231_0_5_line_58 |  | 53 | 64 | 0.013108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_351-231_0_5_line_59 |  | 55 | 60 | 0.01605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-231_0_5_line_60 |  | 57 | 61 | 0.008889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-231_0_5_line_61 |  | 58 | 62 | 0.0088966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-231_0_5_line_62 |  | 59 | 65 | 0.001765 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-231_0_5_line_63 |  | 61 | 62 | 0.0088954 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-231_0_5_line_64 |  | 63 | 64 | 0.012877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-231_0_5_trafo_66 | 0.63 MVA 20/0.4 kV | 66 | 59 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2599249.439 | 1200562.46 | 2599264.2705 | 1200552.533 | 2599271.5165 | 1200547.6817
1 | 2599236.6267 | 1200571.0356 | 2599249.439 | 1200562.46
2 | 2599236.6267 | 1200571.0356 | 2599241.4233 | 1200578.8169 | 2599250.2928 | 1200591.3335 | 2599250.7598 | 1200591.8492
3 | 2599234.9213 | 1200568.1788 | 2599236.6267 | 1200571.0356
4 | 2599250.7598 | 1200591.8492 | 2599256.8248 | 1200598.5476 | 2599262.9266 | 1200604.5365
5 | 2599227.8812 | 1200574.8166 | 2599231.5724 | 1200571.003 | 2599234.9213 | 1200568.1788
6 | 2599234.9213 | 1200568.1788 | 2599245.3477 | 1200561.1092
7 | 2599234.9213 | 1200568.1788 | 2599232.4012 | 1200563.988 | 2599220.4476 | 1200543.7677 | 2599217.4307 | 1200538.6659
8 | 2599277.4585 | 1200616.0763 | 2599273.7555 | 1200613.4644 | 2599268.6322 | 1200609.6297 | 2599263.2348 | 1200604.839 | 2599262.9266 | 1200604.5365
9 | 2599227.8812 | 1200574.8166 | 2599225.1631 | 1200569.97
10 | 2599227.8812 | 1200574.8166 | 2599230.7438 | 1200578.7517 | 2599234.1623 | 1200583.5871 | 2599238.7151 | 1200590.2901
11 | 2599245.3477 | 1200561.1092 | 2599256.8009 | 1200553.3435
12 | 2599198.5222 | 1200834.0825 | 2599204.6258 | 1200828.4563 | 2599205.9877 | 1200824.1649
13 | 2599205.9877 | 1200824.1649 | 2599195.6419 | 1200812.6936 | 2599221.32 | 1200789.7109 | 2599234.5549 | 1200778.0694 | 2599235.6584 | 1200776.813 | 2599238.9231 | 1200771.9544 | 2599242.553 | 1200765.4726 | 2599246.122 | 1200759.3355 | 2599259.1104 | 1200725.5155 | 2599265.5508 | 1200732.2627
14 | 2599265.5508 | 1200732.2627 | 2599269.3256 | 1200727.5597 | 2599289.9727 | 1200702.4879 | 2599291.7079 | 1200700.3754 | 2599292.6212 | 1200699.2747
15 | 2599265.5508 | 1200732.2627 | 2599268.8547 | 1200735.7753 | 2599270.0347 | 1200736.7757 | 2599271.4506 | 1200737.7204 | 2599290.9455 | 1200749.1796
16 | 2599181.4204 | 1200639.2691 | 2599195.7793 | 1200659.8892 | 2599200.9257 | 1200665.9473 | 2599259.1104 | 1200725.5155 | 2599265.5508 | 1200732.2627
17 | 2599162.3259 | 1200611.8351 | 2599160.1408 | 1200608.8115
18 | 2599160.1408 | 1200608.8115 | 2599173.2122 | 1200601.4248
19 | 2599162.3259 | 1200611.8351 | 2599175.2531 | 1200630.4082
20 | 2599173.2122 | 1200601.4248 | 2599184.6137 | 1200594.9817
21 | 2599333.3832 | 1200648.7424 | 2599333.9921 | 1200648.431 | 2599334.9587 | 1200647.5193 | 2599336.747 | 1200643.906 | 2599349.2969 | 1200628.1849
22 | 2599349.2969 | 1200628.1849 | 2599313.2807 | 1200579.8861
23 | 2599333.3832 | 1200648.7424 | 2599332.2034 | 1200649.165 | 2599331.0084 | 1200649.4431 | 2599329.7829 | 1200649.4988 | 2599328.6792 | 1200649.3433 | 2599327.7734 | 1200648.9098 | 2599319.8125 | 1200641.8597
24 | 2599333.3832 | 1200648.7424 | 2599336.9839 | 1200651.0988 | 2599333.719 | 1200655.3459 | 2599337.5099 | 1200657.6022 | 2599335.3182 | 1200661.2822 | 2599325.4145 | 1200655.4025
25 | 2599309.1607 | 1200574.361 | 2599313.2807 | 1200579.8861
26 | 2599307.5244 | 1200873.3331 | 2599305.1416 | 1200870.6986 | 2599344.9683 | 1200835.4191 | 2599322.5643 | 1200809.797 | 2599344.6278 | 1200790.1837
27 | 2599344.6278 | 1200790.1837 | 2599323.4281 | 1200778.8136 | 2599318.8684 | 1200776.0904 | 2599316.3335 | 1200774.3898 | 2599314.2934 | 1200772.6558 | 2599311.5453 | 1200770.1104 | 2599296.594 | 1200753.8925 | 2599293.7621 | 1200751.1692 | 2599290.9455 | 1200749.1796
28 | 2599307.5244 | 1200873.3331 | 2599309.5645 | 1200875.6007 | 2599311.2998 | 1200874.1108 | 2599315.5541 | 1200870.4194 | 2599318.4774 | 1200873.743 | 2599314.0784 | 1200877.7791 | 2599304.2251 | 1200886.682
29 | 2599212.1436 | 1200547.8933 | 2599208.6717 | 1200541.6349
30 | 2599212.1436 | 1200547.8933 | 2599214.2602 | 1200551.3059 | 2599217.0659 | 1200556.1088
31 | 2599212.1436 | 1200547.8933 | 2599193.702 | 1200556.0872
32 | 2599208.6717 | 1200541.6349 | 2599208.786 | 1200542.2908 | 2599208.71 | 1200543.258 | 2599208.5502 | 1200543.9028 | 2599208.1317 | 1200544.6922 | 2599207.3935 | 1200545.8818 | 2599206.6248 | 1200546.5489 | 2599205.7267 | 1200547.0493 | 2599200.5997 | 1200549.3125
33 | 2599225.1631 | 1200569.97 | 2599217.0659 | 1200556.1088
34 | 2599181.4204 | 1200639.2691 | 2599175.2531 | 1200630.4082
35 | 2599325.4145 | 1200655.4025 | 2599320.6963 | 1200663.4519 | 2599315.2479 | 1200672.741
36 | 2599315.2479 | 1200672.741 | 2599315.2264 | 1200672.7776
37 | 2599225.1631 | 1200569.97 | 2599225.11 | 1200571.015 | 2599224.5164 | 1200572.049 | 2599223.5422 | 1200572.9829 | 2599218.3561 | 1200575.9137
38 | 2599305.7788 | 1200633.4564 | 2599319.1254 | 1200641.2513 | 2599319.8125 | 1200641.8597
39 | 2599154.3574 | 1200569.7248 | 2599155.7281 | 1200572.9596 | 2599155.7934 | 1200572.9306
40 | 2599154.3574 | 1200569.7248 | 2599159.6334 | 1200567.3958
41 | 2599169.2869 | 1200566.9352 | 2599155.7934 | 1200572.9306
42 | 2599159.6334 | 1200567.3958 | 2599167.9138 | 1200563.7407
43 | 2599200.5997 | 1200549.3125 | 2599192.3226 | 1200552.9662
44 | 2599308.1427 | 1200708.6889 | 2599305.4867 | 1200713.0805
45 | 2599308.1427 | 1200708.6889 | 2599304.257 | 1200706.3321
46 | 2599292.6212 | 1200699.2747 | 2599304.257 | 1200706.3321
47 | 2599181.4204 | 1200639.2691 | 2599184.5638 | 1200637.5122 | 2599189.9002 | 1200641.0022 | 2599214.7966 | 1200626.7522
48 | 2599269.5711 | 1200685.3036 | 2599292.6212 | 1200699.2747
49 | 2599206.6452 | 1200896.9818 | 2599210.3602 | 1200901.2613 | 2599228.6383 | 1200922.2256 | 2599235.3288 | 1200923.2585 | 2599238.0694 | 1200926.1152 | 2599250.4821 | 1200915.2299 | 2599253.4662 | 1200918.6313 | 2599254.6462 | 1200920.0096 | 2599249.4863 | 1200924.6017 | 2599262.42 | 1200939.2078 | 2599272.5523 | 1200950.5903
50 | 2599206.6452 | 1200896.9818 | 2599196.5759 | 1200905.8489
51 | 2599292.9286 | 1200896.9032 | 2599297.6028 | 1200902.2388 | 2599299.0568 | 1200903.895 | 2599272.9527 | 1200927.5001 | 2599270.5395 | 1200924.7656 | 2599259.9275 | 1200912.7495 | 2599257.3628 | 1200915.0844 | 2599256.0994 | 1200916.2407 | 2599253.4662 | 1200918.6313 | 2599254.6462 | 1200920.0096 | 2599249.4863 | 1200924.6017 | 2599262.42 | 1200939.2078 | 2599272.5523 | 1200950.5903
52 | 2599272.5523 | 1200950.5903 | 2599289.9501 | 1200936.1024 | 2599308.4645 | 1200956.7487
53 | 2599292.9286 | 1200896.9032 | 2599295.8663 | 1200894.2347 | 2599304.2251 | 1200886.682
54 | 2599277.4585 | 1200616.0763 | 2599280.2794 | 1200618.066 | 2599287.2677 | 1200622.6454 | 2599291.9195 | 1200625.3621
55 | 2599267.2704 | 1200546.2429 | 2599262.1769 | 1200549.6984 | 2599256.8009 | 1200553.3435
56 | 2599309.1607 | 1200574.361 | 2599307.973 | 1200572.7603
57 | 2599195.7339 | 1200588.6976 | 2599184.6137 | 1200594.9817
58 | 2599218.3561 | 1200575.9137 | 2599206.9444 | 1200582.3625
59 | 2599305.7788 | 1200633.4564 | 2599291.9195 | 1200625.3621
60 | 2599176.0458 | 1200560.1511 | 2599167.9138 | 1200563.7407
61 | 2599184.1836 | 1200556.5589 | 2599192.3226 | 1200552.9662
62 | 2599269.5711 | 1200685.3036 | 2599268.6579 | 1200686.8157
63 | 2599176.0458 | 1200560.1511 | 2599184.1836 | 1200556.5589
64 | 2599195.7339 | 1200588.6976 | 2599206.9444 | 1200582.3625

## bus_geodata
| x | y | coords
0 | 2599249.439 | 1200562.46
1 | 2599271.5165 | 1200547.6817
2 | 2599236.6267 | 1200571.0356
3 | 2599250.7598 | 1200591.8492
4 | 2599234.9213 | 1200568.1788
5 | 2599262.9266 | 1200604.5365
6 | 2599227.8812 | 1200574.8166
7 | 2599245.3477 | 1200561.1092
8 | 2599217.4307 | 1200538.6659
9 | 2599205.9877 | 1200824.1649
10 | 2599198.5222 | 1200834.0825
11 | 2599265.5508 | 1200732.2627
12 | 2599160.1408 | 1200608.8115
13 | 2599162.3259 | 1200611.8351
14 | 2599173.2122 | 1200601.4248
15 | 2599349.2969 | 1200628.1849
16 | 2599333.3832 | 1200648.7424
17 | 2599313.2807 | 1200579.8861
18 | 2599344.6278 | 1200790.1837
19 | 2599307.5244 | 1200873.3331
20 | 2599290.9455 | 1200749.1796
21 | 2599212.1436 | 1200547.8933
22 | 2599208.6717 | 1200541.6349
23 | 2599217.0659 | 1200556.1088
24 | 2599193.702 | 1200556.0872
25 | 2599175.2531 | 1200630.4082
26 | 2599325.4145 | 1200655.4025
27 | 2599315.2479 | 1200672.741
28 | 2599225.1631 | 1200569.97
29 | 2599238.7151 | 1200590.2901
30 | 2599319.8125 | 1200641.8597
31 | 2599154.3574 | 1200569.7248
32 | 2599155.7934 | 1200572.9306
33 | 2599159.6334 | 1200567.3958
34 | 2599200.5997 | 1200549.3125
35 | 2599308.1427 | 1200708.6889
36 | 2599305.4867 | 1200713.0805
37 | 2599304.257 | 1200706.3321
38 | 2599181.4204 | 1200639.2691
39 | 2599214.7966 | 1200626.7522
40 | 2599292.6212 | 1200699.2747
41 | 2599206.6452 | 1200896.9818
42 | 2599272.5523 | 1200950.5903
43 | 2599196.5759 | 1200905.8489
44 | 2599292.9286 | 1200896.9032
45 | 2599308.4645 | 1200956.7487
46 | 2599304.2251 | 1200886.682
47 | 2599277.4585 | 1200616.0763
48 | 2599256.8009 | 1200553.3435
49 | 2599307.973 | 1200572.7603
50 | 2599309.1607 | 1200574.361
51 | 2599184.6137 | 1200594.9817
52 | 2599315.2264 | 1200672.7776
53 | 2599218.3561 | 1200575.9137
54 | 2599267.2704 | 1200546.2429
55 | 2599305.7788 | 1200633.4564
56 | 2599169.2869 | 1200566.9352
57 | 2599167.9138 | 1200563.7407
58 | 2599192.3226 | 1200552.9662
59 | 2599269.5711 | 1200685.3036
60 | 2599291.9195 | 1200625.3621
61 | 2599176.0458 | 1200560.1511
62 | 2599184.1836 | 1200556.5589
63 | 2599195.7339 | 1200588.6976
64 | 2599206.9444 | 1200582.3625
65 | 2599268.6579 | 1200686.8157
66 | 2599268.6579 | 1200686.8157

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1