## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-237_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-237_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-237_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-237_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-237_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-237_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-237_0_6_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_351-237_0_6_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_351-237_0_6_node_63 | 0.4 | n |  | TRUE
9 | bus_LV_351-237_0_6_node_81 | 0.4 | n |  | TRUE
10 | bus_LV_351-237_0_6_node_64 | 0.4 | n |  | TRUE
11 | bus_LV_351-237_0_6_node_82 | 0.4 | n |  | TRUE
12 | bus_LV_351-237_0_6_node_83 | 0.4 | n |  | TRUE
13 | bus_LV_351-237_0_6_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_351-237_0_6_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_351-237_0_6_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_351-237_0_6_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_351-237_0_6_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_351-237_0_6_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_351-237_0_6_node_149 | 0.4 | n |  | TRUE
20 | bus_LV_351-237_0_6_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_351-237_0_6_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_351-237_0_6_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_351-237_0_6_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_351-237_0_6_node_147 | 0.4 | n |  | TRUE
25 | bus_LV_351-237_0_6_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_351-237_0_6_node_152 | 0.4 | n |  | TRUE
27 | bus_LV_351-237_0_6_node_153 | 0.4 | n |  | TRUE
28 | bus_LV_351-237_0_6_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_351-237_0_6_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_351-237_0_6_node_139 | 0.4 | n |  | TRUE
31 | bus_LV_351-237_0_6_node_142 | 0.4 | n |  | TRUE
32 | bus_LV_351-237_0_6_node_151 | 0.4 | n |  | TRUE
33 | bus_LV_351-237_0_6_node_161 | 0.4 | n |  | TRUE
34 | bus_LV_351-237_0_6_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_351-237_0_6_node_136 | 0.4 | n |  | TRUE
36 | bus_LV_351-237_0_6_node_143 | 0.4 | n |  | TRUE
37 | bus_LV_351-237_0_6_node_72 | 0.4 | n |  | TRUE
38 | bus_LV_351-237_0_6_node_23 | 0.4 | n |  | TRUE
39 | bus_LV_351-237_0_6_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_351-237_0_6_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_351-237_0_6_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_351-237_0_6_node_27 | 0.4 | n |  | TRUE
43 | bus_LV_351-237_0_6_node_28 | 0.4 | n |  | TRUE
44 | bus_LV_351-237_0_6_node_33 | 0.4 | n |  | TRUE
45 | bus_LV_351-237_0_6_node_34 | 0.4 | n |  | TRUE
46 | bus_LV_351-237_0_6_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_351-237_0_6_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_351-237_0_6_node_36 | 0.4 | n |  | TRUE
49 | bus_LV_351-237_0_6_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_351-237_0_6_node_45 | 0.4 | n |  | TRUE
51 | bus_LV_351-237_0_6_node_91 | 0.4 | n |  | TRUE
52 | bus_LV_351-237_0_6_node_104 | 0.4 | n |  | TRUE
53 | bus_LV_351-237_0_6_node_30 | 0.4 | n |  | TRUE
54 | bus_LV_351-237_0_6_node_31 | 0.4 | n |  | TRUE
55 | bus_LV_351-237_0_6_node_32 | 0.4 | n |  | TRUE
56 | bus_LV_351-237_0_6_node_52 | 0.4 | n |  | TRUE
57 | bus_LV_351-237_0_6_node_132 | 0.4 | n |  | TRUE
58 | bus_LV_351-237_0_6_node_162 | 0.4 | n |  | TRUE
59 | bus_LV_351-237_0_6_node_53 | 0.4 | n |  | TRUE
60 | bus_LV_351-237_0_6_node_50 | 0.4 | n |  | TRUE
61 | bus_LV_351-237_0_6_node_133 | 0.4 | n |  | TRUE
62 | bus_LV_351-237_0_6_node_58 | 0.4 | n |  | TRUE
63 | bus_LV_351-237_0_6_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_351-237_0_6_node_46 | 0.4 | n |  | TRUE
65 | bus_LV_351-237_0_6_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_351-237_0_6_node_90 | 0.4 | n |  | TRUE
67 | bus_LV_351-237_0_6_node_102 | 0.4 | n |  | TRUE
68 | bus_LV_351-237_0_6_node_37 | 0.4 | n |  | TRUE
69 | bus_LV_351-237_0_6_node_38 | 0.4 | n |  | TRUE
70 | bus_LV_351-237_0_6_node_40 | 0.4 | n |  | TRUE
71 | bus_LV_351-237_0_6_node_41 | 0.4 | n |  | TRUE
72 | bus_LV_351-237_0_6_node_43 | 0.4 | n |  | TRUE
73 | bus_LV_351-237_0_6_node_44 | 0.4 | n |  | TRUE
74 | bus_LV_351-237_0_6_node_144 | 0.4 | n |  | TRUE
75 | bus_LV_351-237_0_6_node_158 | 0.4 | n |  | TRUE
76 | bus_LV_351-237_0_6_node_145 | 0.4 | n |  | TRUE
77 | bus_LV_351-237_0_6_node_62 | 0.4 | n |  | TRUE
78 | bus_LV_351-237_0_6_node_159 | 0.4 | n |  | TRUE
79 | bus_LV_351-237_0_6_node_49 | 0.4 | n |  | TRUE
80 | bus_LV_351-237_0_6_node_60 | 0.4 | n |  | TRUE
81 | bus_LV_351-237_0_6_node_56 | 0.4 | n |  | TRUE
82 | bus_LV_351-237_0_6_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_351-237_0_6_node_51 | 0.4 | n |  | TRUE
84 | bus_LV_351-237_0_6_node_55 | 0.4 | n |  | TRUE
85 | bus_LV_351-237_0_6_node_59 | 0.4 | n |  | TRUE
86 | bus_LV_351-237_0_6_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_351-237_0_6_node_70 | 0.4 | n |  | TRUE
88 | bus_LV_351-237_0_6_node_67 | 0.4 | n |  | TRUE
89 | bus_LV_351-237_0_6_node_73 | 0.4 | n |  | TRUE
90 | bus_LV_351-237_0_6_node_68 | 0.4 | n |  | TRUE
91 | bus_LV_351-237_0_6_node_65 | 0.4 | n |  | TRUE
92 | bus_LV_351-237_0_6_node_66 | 0.4 | n |  | TRUE
93 | bus_LV_351-237_0_6_node_69 | 0.4 | n |  | TRUE
94 | bus_LV_351-237_0_6_node_71 | 0.4 | n |  | TRUE
95 | bus_LV_351-237_0_6_node_87 | 0.4 | n |  | TRUE
96 | bus_LV_351-237_0_6_node_141 | 0.4 | n |  | TRUE
97 | bus_LV_351-237_0_6_node_76 | 0.4 | n |  | TRUE
98 | bus_LV_351-237_0_6_node_88 | 0.4 | n |  | TRUE
99 | bus_LV_351-237_0_6_node_74 | 0.4 | n |  | TRUE
100 | bus_LV_351-237_0_6_node_75 | 0.4 | n |  | TRUE
101 | bus_LV_351-237_0_6_node_77 | 0.4 | n |  | TRUE
102 | bus_LV_351-237_0_6_node_78 | 0.4 | n |  | TRUE
103 | bus_LV_351-237_0_6_node_84 | 0.4 | n |  | TRUE
104 | bus_LV_351-237_0_6_node_80 | 0.4 | n |  | TRUE
105 | bus_LV_351-237_0_6_node_155 | 0.4 | n |  | TRUE
106 | bus_LV_351-237_0_6_node_79 | 0.4 | n |  | TRUE
107 | bus_LV_351-237_0_6_node_85 | 0.4 | n |  | TRUE
108 | bus_LV_351-237_0_6_node_86 | 0.4 | n |  | TRUE
109 | bus_LV_351-237_0_6_node_154 | 0.4 | n |  | TRUE
110 | bus_LV_351-237_0_6_node_157 | 0.4 | n |  | TRUE
111 | bus_LV_351-237_0_6_node_156 | 0.4 | n |  | TRUE
112 | bus_LV_351-237_0_6_node_89 | 0.4 | n |  | TRUE
113 | bus_LV_351-237_0_6_node_92 | 0.4 | n |  | TRUE
114 | bus_LV_351-237_0_6_node_94 | 0.4 | n |  | TRUE
115 | bus_LV_351-237_0_6_node_95 | 0.4 | n |  | TRUE
116 | bus_LV_351-237_0_6_node_93 | 0.4 | n |  | TRUE
117 | bus_LV_351-237_0_6_node_96 | 0.4 | n |  | TRUE
118 | bus_LV_351-237_0_6_node_97 | 0.4 | n |  | TRUE
119 | bus_LV_351-237_0_6_node_98 | 0.4 | n |  | TRUE
120 | bus_LV_351-237_0_6_node_99 | 0.4 | n |  | TRUE
121 | bus_LV_351-237_0_6_node_128 | 0.4 | n |  | TRUE
122 | bus_LV_351-237_0_6_node_115 | 0.4 | n |  | TRUE
123 | bus_LV_351-237_0_6_node_111 | 0.4 | n |  | TRUE
124 | bus_LV_351-237_0_6_node_120 | 0.4 | n |  | TRUE
125 | bus_LV_351-237_0_6_node_125 | 0.4 | n |  | TRUE
126 | bus_LV_351-237_0_6_node_113 | 0.4 | n |  | TRUE
127 | bus_LV_351-237_0_6_node_110 | 0.4 | n |  | TRUE
128 | bus_LV_351-237_0_6_node_118 | 0.4 | n |  | TRUE
129 | bus_LV_351-237_0_6_node_100 | 0.4 | n |  | TRUE
130 | bus_LV_351-237_0_6_node_101 | 0.4 | n |  | TRUE
131 | bus_LV_351-237_0_6_node_103 | 0.4 | n |  | TRUE
132 | bus_LV_351-237_0_6_node_105 | 0.4 | n |  | TRUE
133 | bus_LV_351-237_0_6_node_106 | 0.4 | n |  | TRUE
134 | bus_LV_351-237_0_6_node_107 | 0.4 | n |  | TRUE
135 | bus_LV_351-237_0_6_node_108 | 0.4 | n |  | TRUE
136 | bus_LV_351-237_0_6_node_116 | 0.4 | n |  | TRUE
137 | bus_LV_351-237_0_6_node_109 | 0.4 | n |  | TRUE
138 | bus_LV_351-237_0_6_node_112 | 0.4 | n |  | TRUE
139 | bus_LV_351-237_0_6_node_114 | 0.4 | n |  | TRUE
140 | bus_LV_351-237_0_6_node_117 | 0.4 | n |  | TRUE
141 | bus_LV_351-237_0_6_node_119 | 0.4 | n |  | TRUE
142 | bus_LV_351-237_0_6_node_122 | 0.4 | n |  | TRUE
143 | bus_LV_351-237_0_6_node_121 | 0.4 | n |  | TRUE
144 | bus_LV_351-237_0_6_node_123 | 0.4 | n |  | TRUE
145 | bus_LV_351-237_0_6_node_124 | 0.4 | n |  | TRUE
146 | bus_LV_351-237_0_6_node_126 | 0.4 | n |  | TRUE
147 | bus_LV_351-237_0_6_node_127 | 0.4 | n |  | TRUE
148 | bus_LV_351-237_0_6_node_131 | 0.4 | n |  | TRUE
149 | bus_LV_351-237_0_6_node_129 | 0.4 | n |  | TRUE
150 | bus_LV_351-237_0_6_node_130 | 0.4 | n |  | TRUE
151 | bus_LV_351-237_0_6_node_134 | 0.4 | n |  | TRUE
152 | bus_LV_351-237_0_6_node_135 | 0.4 | n |  | TRUE
153 | bus_LV_351-237_0_6_node_137 | 0.4 | n |  | TRUE
154 | bus_LV_351-237_0_6_node_138 | 0.4 | n |  | TRUE
155 | bus_LV_351-237_0_6_node_140 | 0.4 | n |  | TRUE
156 | bus_LV_351-237_0_6_node_146 | 0.4 | n |  | TRUE
157 | bus_LV_351-237_0_6_node_148 | 0.4 | n |  | TRUE
158 | bus_LV_351-237_0_6_node_150 | 0.4 | n |  | TRUE
159 | bus_LV_351-237_0_6_node_160 | 0.4 | n |  | TRUE
160 | bus_MV_55_0_node_2 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-237_0_6_load_0 | 0 | 0.017817 | 0.0044654 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-237_0_6_load_3 | 3 | 0.0094608 | 0.0023711 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-237_0_6_load_4 | 4 | 0.0040156 | 0.0010064 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-237_0_6_load_5 | 5 | 0.0017271 | 0.00043286 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-237_0_6_load_7 | 6 | 0.0030431 | 0.00076268 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-237_0_6_load_8 | 7 | 0.0017328 | 0.00043428 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-237_0_6_load_63 | 8 | 0.0043898 | 0.0011002 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-237_0_6_load_64 | 10 | 0.0023399 | 0.00058644 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-237_0_6_load_82 | 11 | 0.0016888 | 0.00042325 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-237_0_6_load_83 | 12 | 0.0016884 | 0.00042315 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-237_0_6_load_9 | 13 | 0.0035492 | 0.0008895 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-237_0_6_load_10 | 14 | 0.0017436 | 0.000437 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-237_0_6_load_13 | 17 | 0.00088169 | 0.00022097 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-237_0_6_load_19 | 18 | 0.0019225 | 0.00048182 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-237_0_6_load_149 | 19 | 0.0012612 | 0.00031608 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-237_0_6_load_17 | 20 | 0.0057544 | 0.0014422 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-237_0_6_load_15 | 22 | 0.0053715 | 0.0013462 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-237_0_6_load_16 | 23 | 0.0039551 | 0.00099125 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-237_0_6_load_147 | 24 | 0.0012425 | 0.00031141 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-237_0_6_load_152 | 26 | 0.001237 | 0.00031002 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-237_0_6_load_153 | 27 | 0.001237 | 0.00031003 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-237_0_6_load_42 | 28 | 0.0012228 | 0.00030647 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-237_0_6_load_139 | 30 | 0.003576 | 0.00089622 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-237_0_6_load_151 | 32 | 0.0012256 | 0.00030715 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-237_0_6_load_161 | 33 | 0.0012161 | 0.00030478 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-237_0_6_load_143 | 36 | 0.0027836 | 0.00069763 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-237_0_6_load_23 | 38 | 0.011286 | 0.0028285 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-237_0_6_load_28 | 43 | 0.027248 | 0.006829 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-237_0_6_load_33 | 44 | 0.01527 | 0.0038271 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-237_0_6_load_34 | 45 | 0.01384 | 0.0034686 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-237_0_6_load_35 | 46 | 0.0090525 | 0.0022688 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-237_0_6_load_29 | 47 | 0.0019992 | 0.00050105 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-237_0_6_load_36 | 48 | 0.0025418 | 0.00063705 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-237_0_6_load_104 | 52 | 0.0019802 | 0.00049629 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-237_0_6_load_32 | 55 | 0.00086883 | 0.00021775 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-237_0_6_load_132 | 57 | 0.0011074 | 0.00027753 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-237_0_6_load_162 | 58 | 0.0020003 | 0.00050131 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-237_0_6_load_50 | 60 | 0.018809 | 0.0047139 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-237_0_6_load_133 | 61 | 0.0023755 | 0.00059535 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-237_0_6_load_58 | 62 | 0.015652 | 0.0039228 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-237_0_6_load_46 | 64 | 0.0056844 | 0.0014246 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-237_0_6_load_47 | 65 | 0.0036708 | 0.00091999 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-237_0_6_load_90 | 66 | 0.010517 | 0.0026358 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-237_0_6_load_37 | 68 | 0.0072914 | 0.0018274 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-237_0_6_load_38 | 69 | 0.0012453 | 0.0003121 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-237_0_6_load_40 | 70 | 0.001244 | 0.00031177 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-237_0_6_load_41 | 71 | 0.0012121 | 0.00030378 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-237_0_6_load_43 | 72 | 0.0028033 | 0.00070258 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-237_0_6_load_44 | 73 | 0.001229 | 0.00030801 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-237_0_6_load_158 | 75 | 0.0012344 | 0.00030938 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-237_0_6_load_145 | 76 | 0.0027909 | 0.00069947 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-237_0_6_load_62 | 77 | 0.0068437 | 0.0017152 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-237_0_6_load_159 | 78 | 0.0012432 | 0.00031159 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-237_0_6_load_49 | 79 | 0.0027126 | 0.00067984 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-237_0_6_load_56 | 81 | 0.012048 | 0.0030194 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-237_0_6_load_51 | 83 | 0.0089618 | 0.002246 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-237_0_6_load_55 | 84 | 0.015625 | 0.0039159 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-237_0_6_load_59 | 85 | 0.0089795 | 0.0022505 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-237_0_6_load_57 | 86 | 0.0089316 | 0.0022385 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-237_0_6_load_70 | 87 | 0.00184 | 0.00046116 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-237_0_6_load_67 | 88 | 0.0018797 | 0.00047111 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-237_0_6_load_73 | 89 | 0.0018427 | 0.00046184 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-237_0_6_load_68 | 90 | 0.0024961 | 0.00062559 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-237_0_6_load_66 | 92 | 0.0033077 | 0.00082898 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-237_0_6_load_71 | 94 | 0.0018722 | 0.00046923 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-237_0_6_load_87 | 95 | 0.0018402 | 0.0004612 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_351-237_0_6_load_141 | 96 | 0.0039672 | 0.00099426 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_351-237_0_6_load_76 | 97 | 0.0018866 | 0.00047284 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_351-237_0_6_load_88 | 98 | 0.0018396 | 0.00046104 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_351-237_0_6_load_74 | 99 | 0.0018776 | 0.00047056 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_351-237_0_6_load_75 | 100 | 0.0016879 | 0.00042303 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_351-237_0_6_load_77 | 101 | 0.0016904 | 0.00042366 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_351-237_0_6_load_84 | 103 | 0.0016924 | 0.00042415 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_351-237_0_6_load_80 | 104 | 0.0017274 | 0.00043292 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_351-237_0_6_load_155 | 105 | 0.0016899 | 0.00042354 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_351-237_0_6_load_79 | 106 | 0.0017282 | 0.00043313 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_351-237_0_6_load_85 | 107 | 0.0016916 | 0.00042396 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_351-237_0_6_load_86 | 108 | 0.0016894 | 0.0004234 | 0 | 0 |  | 1 | TRUE | wye
78 | LV_351-237_0_6_load_154 | 109 | 0.0017298 | 0.00043354 | 0 | 0 |  | 1 | TRUE | wye
79 | LV_351-237_0_6_load_157 | 110 | 0.0018758 | 0.00047011 | 0 | 0 |  | 1 | TRUE | wye
80 | LV_351-237_0_6_load_156 | 111 | 0.0017333 | 0.00043442 | 0 | 0 |  | 1 | TRUE | wye
81 | LV_351-237_0_6_load_89 | 112 | 0.0018853 | 0.0004725 | 0 | 0 |  | 1 | TRUE | wye
82 | LV_351-237_0_6_load_95 | 115 | 0.0069658 | 0.0017458 | 0 | 0 |  | 1 | TRUE | wye
83 | LV_351-237_0_6_load_93 | 116 | 0.00078255 | 0.00019613 | 0 | 0 |  | 1 | TRUE | wye
84 | LV_351-237_0_6_load_96 | 117 | 0.00078625 | 0.00019705 | 0 | 0 |  | 1 | TRUE | wye
85 | LV_351-237_0_6_load_97 | 118 | 0.0020393 | 0.0005111 | 0 | 0 |  | 1 | TRUE | wye
86 | LV_351-237_0_6_load_98 | 119 | 0.014149 | 0.0035462 | 0 | 0 |  | 1 | TRUE | wye
87 | LV_351-237_0_6_load_128 | 121 | 0.00076329 | 0.0001913 | 0 | 0 |  | 1 | TRUE | wye
88 | LV_351-237_0_6_load_115 | 122 | 0.0019211 | 0.00048148 | 0 | 0 |  | 1 | TRUE | wye
89 | LV_351-237_0_6_load_111 | 123 | 0.0028001 | 0.00070178 | 0 | 0 |  | 1 | TRUE | wye
90 | LV_351-237_0_6_load_120 | 124 | 0.010219 | 0.0025612 | 0 | 0 |  | 1 | TRUE | wye
91 | LV_351-237_0_6_load_125 | 125 | 0.00078662 | 0.00019714 | 0 | 0 |  | 1 | TRUE | wye
92 | LV_351-237_0_6_load_113 | 126 | 0.002563 | 0.00064234 | 0 | 0 |  | 1 | TRUE | wye
93 | LV_351-237_0_6_load_110 | 127 | 0.0017343 | 0.00043465 | 0 | 0 |  | 1 | TRUE | wye
94 | LV_351-237_0_6_load_118 | 128 | 0.0077803 | 0.0019499 | 0 | 0 |  | 1 | TRUE | wye
95 | LV_351-237_0_6_load_100 | 129 | 0.00083663 | 0.00020968 | 0 | 0 |  | 1 | TRUE | wye
96 | LV_351-237_0_6_load_101 | 130 | 0.00083848 | 0.00021014 | 0 | 0 |  | 1 | TRUE | wye
97 | LV_351-237_0_6_load_103 | 131 | 0.0016196 | 0.0004059 | 0 | 0 |  | 1 | TRUE | wye
98 | LV_351-237_0_6_load_105 | 132 | 0.0028635 | 0.00071766 | 0 | 0 |  | 1 | TRUE | wye
99 | LV_351-237_0_6_load_106 | 133 | 0.0078469 | 0.0019666 | 0 | 0 |  | 1 | TRUE | wye
100 | LV_351-237_0_6_load_107 | 134 | 0.003132 | 0.00078494 | 0 | 0 |  | 1 | TRUE | wye
101 | LV_351-237_0_6_load_108 | 135 | 0.0016644 | 0.00041715 | 0 | 0 |  | 1 | TRUE | wye
102 | LV_351-237_0_6_load_116 | 136 | 0.0024331 | 0.00060979 | 0 | 0 |  | 1 | TRUE | wye
103 | LV_351-237_0_6_load_109 | 137 | 0.0016184 | 0.00040561 | 0 | 0 |  | 1 | TRUE | wye
104 | LV_351-237_0_6_load_112 | 138 | 0.0054667 | 0.0013701 | 0 | 0 |  | 1 | TRUE | wye
105 | LV_351-237_0_6_load_114 | 139 | 0.0031492 | 0.00078926 | 0 | 0 |  | 1 | TRUE | wye
106 | LV_351-237_0_6_load_117 | 140 | 0.0083786 | 0.0020999 | 0 | 0 |  | 1 | TRUE | wye
107 | LV_351-237_0_6_load_124 | 145 | 0.0018612 | 0.00046645 | 0 | 0 |  | 1 | TRUE | wye
108 | LV_351-237_0_6_load_126 | 146 | 0.00091467 | 0.00022924 | 0 | 0 |  | 1 | TRUE | wye
109 | LV_351-237_0_6_load_127 | 147 | 0.011 | 0.0027568 | 0 | 0 |  | 1 | TRUE | wye
110 | LV_351-237_0_6_load_131 | 148 | 0.0023578 | 0.00059091 | 0 | 0 |  | 1 | TRUE | wye
111 | LV_351-237_0_6_load_129 | 149 | 0.0035719 | 0.00089521 | 0 | 0 |  | 1 | TRUE | wye
112 | LV_351-237_0_6_load_130 | 150 | 0.0019239 | 0.00048219 | 0 | 0 |  | 1 | TRUE | wye
113 | LV_351-237_0_6_load_134 | 151 | 0.00088675 | 0.00022224 | 0 | 0 |  | 1 | TRUE | wye
114 | LV_351-237_0_6_load_137 | 153 | 0.0038326 | 0.00096055 | 0 | 0 |  | 1 | TRUE | wye
115 | LV_351-237_0_6_load_138 | 154 | 0.0010959 | 0.00027467 | 0 | 0 |  | 1 | TRUE | wye
116 | LV_351-237_0_6_load_140 | 155 | 0.0011153 | 0.00027953 | 0 | 0 |  | 1 | TRUE | wye
117 | LV_351-237_0_6_load_146 | 156 | 0.0027389 | 0.00068642 | 0 | 0 |  | 1 | TRUE | wye
118 | LV_351-237_0_6_load_148 | 157 | 0.0012351 | 0.00030954 | 0 | 0 |  | 1 | TRUE | wye
119 | LV_351-237_0_6_load_150 | 158 | 0.0012288 | 0.00030796 | 0 | 0 |  | 1 | TRUE | wye
120 | LV_351-237_0_6_load_160 | 159 | 0.0012518 | 0.00031374 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-237_0_6_line_0 |  | 0 | 1 | 0.020169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-237_0_6_line_1 |  | 0 | 2 | 0.0085997 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-237_0_6_line_2 |  | 1 | 3 | 0.02803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-237_0_6_line_3 |  | 1 | 4 | 0.014483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-237_0_6_line_4 |  | 2 | 5 | 0.022914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-237_0_6_line_5 |  | 4 | 6 | 0.0066056 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-237_0_6_line_6 |  | 5 | 7 | 5.3751e-06 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-237_0_6_line_7 |  | 6 | 8 | 0.012601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-237_0_6_line_8 |  | 7 | 9 | 0.010637 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-237_0_6_line_9 |  | 8 | 10 | 0.0034526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-237_0_6_line_10 |  | 9 | 11 | 0.012418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-237_0_6_line_11 |  | 9 | 12 | 0.011575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-237_0_6_line_12 |  | 10 | 91 | 0.010797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-237_0_6_line_13 |  | 11 | 107 | 0.0062203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-237_0_6_line_14 |  | 12 | 108 | 0.0062246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-237_0_6_line_15 |  | 13 | 14 | 0.0074615 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-237_0_6_line_16 |  | 13 | 15 | 0.039837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-237_0_6_line_17 |  | 14 | 16 | 0.047344 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-237_0_6_line_18 |  | 15 | 17 | 0.017773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-237_0_6_line_19 |  | 16 | 21 | 0.057734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-237_0_6_line_20 |  | 18 | 19 | 0.081915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-237_0_6_line_21 |  | 18 | 20 | 0.12582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-237_0_6_line_22 |  | 19 | 24 | 0.0041295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-237_0_6_line_23 |  | 20 | 23 | 0.030332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-237_0_6_line_24 |  | 21 | 22 | 0.036578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-237_0_6_line_25 |  | 22 | 23 | 0.0017737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-237_0_6_line_26 |  | 24 | 157 | 0.010561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-237_0_6_line_27 |  | 25 | 26 | 0.011112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-237_0_6_line_28 |  | 25 | 27 | 0.017816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-237_0_6_line_29 |  | 25 | 28 | 0.016929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-237_0_6_line_30 |  | 26 | 32 | 0.010553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-237_0_6_line_31 |  | 27 | 33 | 0.010194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-237_0_6_line_32 |  | 28 | 34 | 0.012808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-237_0_6_line_33 |  | 29 | 30 | 0.014745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-237_0_6_line_34 |  | 29 | 31 | 0.021782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-237_0_6_line_35 |  | 30 | 35 | 0.012216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-237_0_6_line_36 |  | 31 | 36 | 0.02168 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-237_0_6_line_37 |  | 31 | 37 | 0.021852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-237_0_6_line_38 |  | 32 | 158 | 0.010544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-237_0_6_line_39 |  | 33 | 156 | 0.010562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-237_0_6_line_40 |  | 34 | 71 | 0.026121 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-237_0_6_line_41 |  | 34 | 68 | 0.010563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-237_0_6_line_42 |  | 35 | 154 | 0.033914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-237_0_6_line_43 |  | 35 | 151 | 0.025221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-237_0_6_line_44 |  | 37 | 96 | 0.051506 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-237_0_6_line_45 |  | 37 | 93 | 0.033196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-237_0_6_line_46 |  | 38 | 39 | 0.028289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-237_0_6_line_47 |  | 38 | 40 | 0.028227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-237_0_6_line_48 |  | 39 | 41 | 0.010009 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
49 | LV_351-237_0_6_line_49 |  | 39 | 42 | 0.035213 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
50 | LV_351-237_0_6_line_50 |  | 40 | 43 | 0.026522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-237_0_6_line_51 |  | 41 | 44 | 0.021202 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-237_0_6_line_52 |  | 41 | 45 | 0.044924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_351-237_0_6_line_53 |  | 42 | 46 | 0.017985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_351-237_0_6_line_54 |  | 44 | 49 | 0.014537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-237_0_6_line_55 |  | 45 | 50 | 0.0013031 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
56 | LV_351-237_0_6_line_56 |  | 46 | 51 | 0.012034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-237_0_6_line_57 |  | 47 | 48 | 0.023302 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-237_0_6_line_58 |  | 48 | 52 | 0.027611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-237_0_6_line_59 |  | 49 | 62 | 0.033995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-237_0_6_line_60 |  | 49 | 63 | 0.037856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-237_0_6_line_61 |  | 50 | 64 | 0.022036 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_351-237_0_6_line_62 |  | 50 | 65 | 0.020805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-237_0_6_line_63 |  | 51 | 66 | 0.013632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-237_0_6_line_64 |  | 52 | 67 | 0.044959 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-237_0_6_line_65 |  | 53 | 54 | 0.026961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-237_0_6_line_66 |  | 53 | 55 | 0.026469 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-237_0_6_line_67 |  | 54 | 56 | 0.047604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-237_0_6_line_68 |  | 54 | 57 | 0.024737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-237_0_6_line_69 |  | 55 | 58 | 0.021557 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-237_0_6_line_70 |  | 56 | 59 | 0.030495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-237_0_6_line_71 |  | 56 | 60 | 0.023939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-237_0_6_line_72 |  | 57 | 61 | 0.0030679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-237_0_6_line_73 |  | 59 | 84 | 0.026622 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-237_0_6_line_74 |  | 59 | 63 | 0.037542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-237_0_6_line_75 |  | 60 | 83 | 0.034792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-237_0_6_line_76 |  | 63 | 81 | 0.014925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-237_0_6_line_77 |  | 64 | 79 | 0.0012605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
78 | LV_351-237_0_6_line_78 |  | 66 | 113 | 0.0287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-237_0_6_line_79 |  | 67 | 129 | 0.027372 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-237_0_6_line_80 |  | 68 | 69 | 0.010158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-237_0_6_line_81 |  | 69 | 70 | 0.0089578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-237_0_6_line_82 |  | 70 | 72 | 0.012085 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-237_0_6_line_83 |  | 71 | 73 | 0.01242 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-237_0_6_line_84 |  | 72 | 74 | 0.023057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-237_0_6_line_85 |  | 73 | 75 | 0.01245 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-237_0_6_line_86 |  | 74 | 76 | 0.013117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-237_0_6_line_87 |  | 74 | 77 | 0.02073 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-237_0_6_line_88 |  | 75 | 78 | 0.011703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
89 | LV_351-237_0_6_line_89 |  | 77 | 80 | 0.024458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_351-237_0_6_line_90 |  | 78 | 159 | 0.0029419 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_351-237_0_6_line_91 |  | 79 | 80 | 0.013963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
92 | LV_351-237_0_6_line_92 |  | 80 | 82 | 0.01027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_351-237_0_6_line_93 |  | 81 | 86 | 0.025161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_351-237_0_6_line_94 |  | 82 | 87 | 0.015769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_351-237_0_6_line_95 |  | 82 | 88 | 0.0095288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_351-237_0_6_line_96 |  | 84 | 85 | 0.024554 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_351-237_0_6_line_97 |  | 87 | 89 | 0.0062198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_351-237_0_6_line_98 |  | 88 | 90 | 0.021547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_351-237_0_6_line_99 |  | 89 | 97 | 0.0062832 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_351-237_0_6_line_100 |  | 90 | 93 | 0.002616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_351-237_0_6_line_101 |  | 91 | 92 | 0.037804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_351-237_0_6_line_102 |  | 93 | 94 | 0.011001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_351-237_0_6_line_103 |  | 94 | 95 | 0.006277 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_351-237_0_6_line_104 |  | 95 | 98 | 0.0062204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_351-237_0_6_line_105 |  | 97 | 99 | 0.011366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_351-237_0_6_line_106 |  | 98 | 112 | 0.018043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_351-237_0_6_line_107 |  | 99 | 100 | 0.0062813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_351-237_0_6_line_108 |  | 100 | 101 | 0.0062203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_351-237_0_6_line_109 |  | 101 | 102 | 0.017844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_351-237_0_6_line_110 |  | 102 | 103 | 0.012142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
111 | LV_351-237_0_6_line_111 |  | 102 | 104 | 0.0032635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
112 | LV_351-237_0_6_line_112 |  | 103 | 105 | 0.0062184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
113 | LV_351-237_0_6_line_113 |  | 104 | 106 | 0.0061982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
114 | LV_351-237_0_6_line_114 |  | 105 | 111 | 0.0062941 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
115 | LV_351-237_0_6_line_115 |  | 107 | 109 | 0.0062961 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
116 | LV_351-237_0_6_line_116 |  | 108 | 110 | 0.0062884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
117 | LV_351-237_0_6_line_117 |  | 110 | 112 | 0.0054018 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
118 | LV_351-237_0_6_line_118 |  | 113 | 114 | 0.005819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
119 | LV_351-237_0_6_line_119 |  | 113 | 115 | 0.020283 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
120 | LV_351-237_0_6_line_120 |  | 114 | 118 | 0.0038224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
121 | LV_351-237_0_6_line_121 |  | 114 | 119 | 0.027237 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
122 | LV_351-237_0_6_line_122 |  | 115 | 120 | 0.02075 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
123 | LV_351-237_0_6_line_123 |  | 116 | 117 | 0.0058499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
124 | LV_351-237_0_6_line_124 |  | 117 | 121 | 0.012489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
125 | LV_351-237_0_6_line_125 |  | 118 | 122 | 0.008236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
126 | LV_351-237_0_6_line_126 |  | 119 | 123 | 0.031355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
127 | LV_351-237_0_6_line_127 |  | 120 | 124 | 0.030965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
128 | LV_351-237_0_6_line_128 |  | 121 | 125 | 0.0068737 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
129 | LV_351-237_0_6_line_129 |  | 122 | 126 | 0.007196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
130 | LV_351-237_0_6_line_130 |  | 123 | 127 | 0.002425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
131 | LV_351-237_0_6_line_131 |  | 124 | 128 | 0.013282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
132 | LV_351-237_0_6_line_132 |  | 125 | 142 | 0.0037104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
133 | LV_351-237_0_6_line_133 |  | 126 | 138 | 0.014074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
134 | LV_351-237_0_6_line_134 |  | 127 | 137 | 0.0060799 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
135 | LV_351-237_0_6_line_135 |  | 128 | 140 | 0.011485 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
136 | LV_351-237_0_6_line_136 |  | 129 | 130 | 0.00076077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
137 | LV_351-237_0_6_line_137 |  | 130 | 131 | 0.049896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
138 | LV_351-237_0_6_line_138 |  | 131 | 132 | 0.011838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
139 | LV_351-237_0_6_line_139 |  | 132 | 133 | 0.029263 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
140 | LV_351-237_0_6_line_140 |  | 133 | 134 | 0.036216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
141 | LV_351-237_0_6_line_141 |  | 134 | 135 | 0.012831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
142 | LV_351-237_0_6_line_142 |  | 134 | 136 | 0.049304 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
143 | LV_351-237_0_6_line_143 |  | 135 | 137 | 0.0030351 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
144 | LV_351-237_0_6_line_144 |  | 138 | 139 | 0.013601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
145 | LV_351-237_0_6_line_145 |  | 140 | 141 | 0.02924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
146 | LV_351-237_0_6_line_146 |  | 141 | 142 | 0.020678 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
147 | LV_351-237_0_6_line_147 |  | 142 | 145 | 0.025137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
148 | LV_351-237_0_6_line_148 |  | 143 | 144 | 0.007862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
149 | LV_351-237_0_6_line_149 |  | 143 | 145 | 0.0018162 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
150 | LV_351-237_0_6_line_150 |  | 144 | 146 | 0.016556 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
151 | LV_351-237_0_6_line_151 |  | 144 | 147 | 0.027625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
152 | LV_351-237_0_6_line_152 |  | 146 | 148 | 0.016466 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
153 | LV_351-237_0_6_line_153 |  | 147 | 149 | 0.0099138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
154 | LV_351-237_0_6_line_154 |  | 148 | 150 | 5.7722e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
155 | LV_351-237_0_6_line_155 |  | 151 | 152 | 0.016112 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
156 | LV_351-237_0_6_line_156 |  | 152 | 153 | 0.017049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
157 | LV_351-237_0_6_line_157 |  | 153 | 155 | 0.018901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
158 | LV_351-237_0_6_line_158 |  | 157 | 158 | 0.010563 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-237_0_6_trafo_34 | 0.63 MVA 20/0.4 kV | 160 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2593351.1361 | 1198098.112 | 2593340.9984 | 1198096.2668 | 2593331.1363 | 1198096.0345
1 | 2593322.5391 | 1198095.8319 | 2593331.1363 | 1198096.0345
2 | 2593351.1361 | 1198098.112 | 2593352.7782 | 1198082.2016 | 2593354.6169 | 1198070.3079
3 | 2593351.1361 | 1198098.112 | 2593365.0302 | 1198102.2005
4 | 2593322.5391 | 1198095.8319 | 2593322.9653 | 1198118.7418
5 | 2593365.0302 | 1198102.2005 | 2593371.3671 | 1198104.0652
6 | 2593322.9654 | 1198118.7472 | 2593322.9653 | 1198118.7418
7 | 2593383.4829 | 1198107.5264 | 2593375.2228 | 1198105.1998 | 2593371.3671 | 1198104.0652
8 | 2593323.1633 | 1198129.3824 | 2593322.9654 | 1198118.7472
9 | 2593383.4829 | 1198107.5264 | 2593386.8062 | 1198108.4624
10 | 2593323.1633 | 1198129.3824 | 2593335.5782 | 1198129.0833
11 | 2593323.1633 | 1198129.3824 | 2593311.5906 | 1198129.5875
12 | 2593397.199 | 1198111.3896 | 2593386.8062 | 1198108.4624
13 | 2593341.7967 | 1198128.9335 | 2593335.5782 | 1198129.0833
14 | 2593311.5906 | 1198129.5875 | 2593305.367 | 1198129.6978
15 | 2592868.7199 | 1198005.0731 | 2592861.9813 | 1198001.8691
16 | 2592905.6528 | 1198018.7874 | 2592888.3091 | 1198015.4732 | 2592869.4343 | 1198005.4128 | 2592868.7199 | 1198005.0731
17 | 2592846.9319 | 1197968.0311 | 2592842.8448 | 1197976.1181 | 2592841.0147 | 1197980.4004 | 2592840.816 | 1197986.1037 | 2592841.2309 | 1197989.1493 | 2592842.2535 | 1197990.9823 | 2592844.7088 | 1197993.6252 | 2592850.6369 | 1197996.4751 | 2592861.9813 | 1198001.8691
18 | 2592905.6528 | 1198018.7874 | 2592906.3848 | 1198019.5759 | 2592916.5216 | 1198026.8565 | 2592920.0614 | 1198029.1485
19 | 2592846.9319 | 1197968.0311 | 2592858.1163 | 1197972.3977 | 2592865.5297 | 1197975.5571 | 2592869.2404 | 1197977.2646 | 2592873.1803 | 1197979.6723 | 2592880.9863 | 1197986.3442 | 2592889.8915 | 1197969.9025
20 | 2593107.0825 | 1198124.7391 | 2593046.1078 | 1198070.0391
21 | 2593046.1078 | 1198070.0391 | 2592954.586 | 1197983.6988
22 | 2593107.0825 | 1198124.7391 | 2593111.1798 | 1198125.2537
23 | 2592954.586 | 1197983.6988 | 2592954.3184 | 1197984.5999 | 2592951.526 | 1197986.5709 | 2592937.4293 | 1197985.7762 | 2592925.8738 | 1197983.1307
24 | 2592889.8915 | 1197969.9025 | 2592924.1448 | 1197982.7349
25 | 2592924.1448 | 1197982.7349 | 2592925.8738 | 1197983.1307
26 | 2593121.6582 | 1198126.5695 | 2593111.1798 | 1198125.2537
27 | 2593164.0966 | 1198131.899 | 2593153.0714 | 1198130.5144
28 | 2593164.0966 | 1198131.899 | 2593181.7667 | 1198134.1747
29 | 2593164.0966 | 1198131.899 | 2593162.9934 | 1198148.7918
30 | 2593153.0714 | 1198130.5144 | 2593142.6007 | 1198129.1995
31 | 2593181.7667 | 1198134.1747 | 2593191.8776 | 1198135.4769
32 | 2593162.1587 | 1198161.5726 | 2593162.9934 | 1198148.7918
33 | 2593204.7504 | 1198103.0922 | 2593202.4514 | 1198088.5271
34 | 2593204.7504 | 1198103.0922 | 2593214.9631 | 1198103.9476 | 2593226.3728 | 1198106.0134
35 | 2593200.5467 | 1198076.4606 | 2593202.4514 | 1198088.5271
36 | 2593226.3728 | 1198106.0134 | 2593224.8932 | 1198127.6431
37 | 2593248.0411 | 1198109.0792 | 2593244.439 | 1198108.9165 | 2593240.3721 | 1198108.5321 | 2593226.3728 | 1198106.0134
38 | 2593142.6007 | 1198129.1995 | 2593132.1389 | 1198127.8857
39 | 2593191.8776 | 1198135.4769 | 2593202.3528 | 1198136.826
40 | 2593162.1587 | 1198161.5726 | 2593149.4259 | 1198161.0315 | 2593149.4852 | 1198159.6863 | 2593138.8999 | 1198159.2316 | 2593138.9592 | 1198157.7975 | 2593138.9592 | 1198157.7975
41 | 2593162.1587 | 1198161.5726 | 2593162.0697 | 1198163.596 | 2593170.5992 | 1198163.9619
42 | 2593200.5467 | 1198076.4606 | 2593192.0392 | 1198075.2031 | 2593185.5029 | 1198072.965 | 2593178.2786 | 1198068.4153 | 2593168.8337 | 1198065.5592
43 | 2593200.5467 | 1198076.4606 | 2593196.7226 | 1198051.5314
44 | 2593248.0411 | 1198109.0792 | 2593247.6273 | 1198100.1749 | 2593248.5918 | 1198057.5935
45 | 2593248.0411 | 1198109.0792 | 2593253.5314 | 1198109.0062 | 2593258.0631 | 1198136.3378
46 | 2593267.0065 | 1198272.9896 | 2593249.6518 | 1198272.5091 | 2593238.7269 | 1198272.2541
47 | 2593210.5033 | 1198271.798 | 2593212.6126 | 1198271.8289 | 2593232.3962 | 1198272.1064 | 2593238.7269 | 1198272.2541
48 | 2593267.0065 | 1198272.9896 | 2593265.7312 | 1198263.0635
49 | 2593273.9068 | 1198307.5113 | 2593269.9181 | 1198288.7058 | 2593268.6391 | 1198282.2593 | 2593267.0065 | 1198272.9896
50 | 2593210.5033 | 1198271.798 | 2593210.7926 | 1198245.2835
51 | 2593265.7312 | 1198263.0635 | 2593276.6504 | 1198262.6508 | 2593286.847 | 1198261.3824
52 | 2593265.7312 | 1198263.0635 | 2593264.3371 | 1198249.2577 | 2593263.0954 | 1198242.1108 | 2593260.2229 | 1198227.2951 | 2593259.2254 | 1198220.6371 | 2593259.0307 | 1198218.6769
53 | 2593273.9068 | 1198307.5113 | 2593277.3897 | 1198323.4492 | 2593277.5531 | 1198325.1119
54 | 2593301.2732 | 1198259.5879 | 2593286.847 | 1198261.3824
55 | 2593258.9018 | 1198217.3802 | 2593259.0307 | 1198218.6769
56 | 2593278.7301 | 1198337.0883 | 2593277.5531 | 1198325.1119
57 | 2593132.9452 | 1198270.6762 | 2593156.2451 | 1198271.0132
58 | 2593105.3367 | 1198270.2769 | 2593132.9452 | 1198270.6762
59 | 2593301.2732 | 1198259.5879 | 2593300.1753 | 1198251.6405 | 2593302.3612 | 1198238.6199 | 2593296.3583 | 1198229.8109 | 2593296.5438 | 1198227.71
60 | 2593339.0052 | 1198260.0344 | 2593318.2416 | 1198261.8699 | 2593301.2732 | 1198259.5879
61 | 2593258.9018 | 1198217.3802 | 2593258.6545 | 1198214.1343 | 2593258.5051 | 1198210.01 | 2593258.621 | 1198198.1925 | 2593258.7733 | 1198195.3608
62 | 2593279.0982 | 1198212.1544 | 2593258.9018 | 1198217.3802
63 | 2593278.7301 | 1198337.0883 | 2593272.5799 | 1198339.2186 | 2593265.9218 | 1198341.7503
64 | 2593060.3823 | 1198269.6267 | 2593105.3367 | 1198270.2769
65 | 2593411.2612 | 1198279.5304 | 2593384.2501 | 1198278.2933
66 | 2593384.2501 | 1198278.2933 | 2593383.3304 | 1198304.746
67 | 2593406.7198 | 1198263.1935 | 2593422.9892 | 1198266.9329 | 2593427.4192 | 1198272.1418 | 2593427.361 | 1198274.621 | 2593427.2226 | 1198280.2353 | 2593411.2612 | 1198279.5304
68 | 2593411.2612 | 1198279.5304 | 2593410.0558 | 1198304.2381
69 | 2593372.0925 | 1198315.1266 | 2593382.9591 | 1198315.4257 | 2593383.3304 | 1198304.746
70 | 2593406.7198 | 1198263.1935 | 2593392.7094 | 1198263.9873 | 2593376.2518 | 1198262.2381
71 | 2593406.7198 | 1198263.1935 | 2593401.4988 | 1198245.2341 | 2593403.06 | 1198240.2362
72 | 2593409.9063 | 1198307.3024 | 2593410.0558 | 1198304.2381
73 | 2593376.2518 | 1198262.2381 | 2593368.0146 | 1198236.9227
74 | 2593339.0052 | 1198260.0344 | 2593349.8442 | 1198262.7903 | 2593370.8903 | 1198261.6772 | 2593376.2518 | 1198262.2381
75 | 2593403.06 | 1198240.2362 | 2593407.3868 | 1198226.3841 | 2593398.8605 | 1198207.9838
76 | 2593339.0052 | 1198260.0344 | 2593336.2078 | 1198250.8104 | 2593336.5618 | 1198245.5363
77 | 2593258.7733 | 1198195.3608 | 2593258.8409 | 1198194.1021
78 | 2593240.6238 | 1198355.1191 | 2593251.4364 | 1198348.2142 | 2593262.0228 | 1198343.2328 | 2593265.9218 | 1198341.7503
79 | 2593060.3823 | 1198269.6267 | 2593057.9677 | 1198296.8922
80 | 2593180.7475 | 1198164.3973 | 2593170.5992 | 1198163.9619
81 | 2593180.7475 | 1198164.3973 | 2593182.2579 | 1198164.462 | 2593182.1986 | 1198165.8851 | 2593188.2147 | 1198166.145
82 | 2593188.2147 | 1198166.145 | 2593188.2147 | 1198166.145 | 2593188.148 | 1198167.6792 | 2593198.6876 | 1198168.1229
83 | 2593129.0336 | 1198154.9853 | 2593129.0336 | 1198154.9853 | 2593128.9298 | 1198157.3644 | 2593138.9592 | 1198157.7975
84 | 2593218.9473 | 1198171.5903 | 2593209.3521 | 1198171.2456 | 2593209.4114 | 1198169.867 | 2593198.6357 | 1198169.4125 | 2593198.6876 | 1198168.1229
85 | 2593129.0336 | 1198154.9853 | 2593118.5854 | 1198154.5305 | 2593118.6668 | 1198152.5405
86 | 2593218.9473 | 1198171.5903 | 2593219.8756 | 1198158.5062
87 | 2593218.9473 | 1198171.5903 | 2593218.7082 | 1198175.5594 | 2593225.9439 | 1198176.9185 | 2593235.2057 | 1198178.471
88 | 2593118.6668 | 1198152.5405 | 2593108.1196 | 1198152.0859 | 2593108.1715 | 1198150.9407
89 | 2593259.5904 | 1198180.1595 | 2593237.9321 | 1198178.928 | 2593235.2057 | 1198178.471
90 | 2593105.232 | 1198150.8219 | 2593108.1715 | 1198150.9407
91 | 2593259.5904 | 1198180.1595 | 2593258.8409 | 1198194.1021
92 | 2593260.1879 | 1198169.9089 | 2593259.732 | 1198177.4468 | 2593259.5904 | 1198180.1595
93 | 2593336.5618 | 1198245.5363 | 2593337.3311 | 1198234.0779 | 2593332.428 | 1198221.31
94 | 2593260.1879 | 1198169.9089 | 2593275.9529 | 1198169.5695
95 | 2593260.1879 | 1198169.9089 | 2593260.3445 | 1198160.3814
96 | 2593368.0146 | 1198236.9227 | 2593368.0146 | 1198236.9227 | 2593371.2056 | 1198223.7454 | 2593366.2304 | 1198214.5016 | 2593366.2764 | 1198214.0058
97 | 2593275.9529 | 1198169.5695 | 2593282.1713 | 1198169.4356
98 | 2593260.3445 | 1198160.3814 | 2593259.87 | 1198151.5439 | 2593258.3828 | 1198138.9342
99 | 2593282.1713 | 1198169.4356 | 2593287.9894 | 1198169.3103 | 2593288.453 | 1198169.3009
100 | 2593258.0631 | 1198136.3378 | 2593258.3244 | 1198138.4387 | 2593258.3828 | 1198138.9342
101 | 2593397.199 | 1198111.3896 | 2593396.6741 | 1198118.683 | 2593397.5778 | 1198130.0214 | 2593397.5226 | 1198135.1909 | 2593396.6835 | 1198140.6836 | 2593394.8008 | 1198145.8885 | 2593394.7261 | 1198148.7439
102 | 2593258.0631 | 1198136.3378 | 2593269.062 | 1198136.1305
103 | 2593269.062 | 1198136.1305 | 2593275.3379 | 1198136.0122
104 | 2593281.5573 | 1198135.8949 | 2593275.3379 | 1198136.0122
105 | 2593299.816 | 1198169.0581 | 2593290.3119 | 1198169.2632 | 2593288.453 | 1198169.3009
106 | 2593281.5573 | 1198135.8949 | 2593293.8375 | 1198135.6634 | 2593293.6787 | 1198129.905 | 2593293.6787 | 1198129.905
107 | 2593299.816 | 1198169.0581 | 2593306.0958 | 1198168.9226
108 | 2593306.0958 | 1198168.9226 | 2593312.3147 | 1198168.7885
109 | 2593323.9241 | 1198162.4103 | 2593324.03 | 1198168.5357 | 2593312.3147 | 1198168.7885
110 | 2593323.9241 | 1198162.4103 | 2593336.0647 | 1198162.2381
111 | 2593323.9241 | 1198162.4103 | 2593323.8489 | 1198159.1477
112 | 2593342.2825 | 1198162.1499 | 2593336.0647 | 1198162.2381
113 | 2593323.7062 | 1198152.9511 | 2593323.8489 | 1198159.1477
114 | 2593342.2825 | 1198162.1499 | 2593348.576 | 1198162.0607
115 | 2593348.0909 | 1198128.7819 | 2593341.7967 | 1198128.9335
116 | 2593305.367 | 1198129.6978 | 2593299.0796 | 1198129.8093
117 | 2593293.6787 | 1198129.905 | 2593299.0796 | 1198129.8093
118 | 2593240.6238 | 1198355.1191 | 2593235.7846 | 1198358.3708
119 | 2593240.6238 | 1198355.1191 | 2593248.8682 | 1198353.0753 | 2593254.8672 | 1198351.8789 | 2593260.5069 | 1198351.2738
120 | 2593235.7846 | 1198358.3708 | 2593233.0993 | 1198361.0912
121 | 2593235.7846 | 1198358.3708 | 2593231.3071 | 1198358.2982 | 2593228.4666 | 1198358.1791 | 2593225.7859 | 1198357.8265 | 2593222.64 | 1198356.9963 | 2593219.9128 | 1198355.9989 | 2593209.5788 | 1198352.0736
122 | 2593281.2042 | 1198349.8812 | 2593272.5391 | 1198350.2468 | 2593263.8743 | 1198350.9126 | 2593260.5069 | 1198351.2738
123 | 2593314.7078 | 1198348.7981 | 2593309.0851 | 1198347.1834
124 | 2593314.7078 | 1198348.7981 | 2593326.6729 | 1198352.377
125 | 2593233.0993 | 1198361.0912 | 2593230.9397 | 1198363.279 | 2593227.5899 | 1198367.2063
126 | 2593209.5788 | 1198352.0736 | 2593207.1907 | 1198351.1665 | 2593192.9144 | 1198345.6577 | 2593189.2356 | 1198344.8949 | 2593183.8444 | 1198344.8566 | 2593179.5 | 1198345.0808
127 | 2593281.2042 | 1198349.8812 | 2593284.2103 | 1198355.0249 | 2593284.8523 | 1198357.0698 | 2593285.0082 | 1198360.2713 | 2593284.2614 | 1198379.916
128 | 2593333.2583 | 1198354.3468 | 2593326.6729 | 1198352.377
129 | 2593223.7755 | 1198373.2978 | 2593227.1146 | 1198367.7636 | 2593227.5899 | 1198367.2063
130 | 2593177.0783 | 1198345.2057 | 2593179.5 | 1198345.0808
131 | 2593284.2614 | 1198379.916 | 2593284.2614 | 1198379.916 | 2593297.5265 | 1198380.5927
132 | 2593336.8131 | 1198355.41 | 2593333.2583 | 1198354.3468
133 | 2593215.9941 | 1198384.9495 | 2593218.6558 | 1198382.0365 | 2593222.6913 | 1198375.0948 | 2593223.7755 | 1198373.2978
134 | 2593177.0783 | 1198345.2057 | 2593171.0065 | 1198345.519
135 | 2593308.9967 | 1198381.1778 | 2593297.5265 | 1198380.5927
136 | 2593057.9677 | 1198296.8922 | 2593057.9005 | 1198297.65
137 | 2593057.9005 | 1198297.65 | 2593057.8272 | 1198298.4785 | 2593057.491 | 1198310.5187 | 2593057.8318 | 1198315.3986 | 2593059.2531 | 1198319.5881 | 2593063.2596 | 1198327.0207 | 2593065.8004 | 1198331.3867 | 2593069.4211 | 1198334.5842 | 2593073.1467 | 1198336.2807 | 2593076.0715 | 1198336.8443 | 2593078.361 | 1198337.1144
138 | 2593090.1173 | 1198338.5013 | 2593078.361 | 1198337.1144
139 | 2593119.1792 | 1198341.9299 | 2593090.1173 | 1198338.5013
140 | 2593119.1792 | 1198341.9299 | 2593153.7066 | 1198346.0032 | 2593155.1554 | 1198346.0218
141 | 2593155.1554 | 1198346.0218 | 2593160.0422 | 1198346.0848 | 2593167.9754 | 1198345.6754
142 | 2593155.1554 | 1198346.0218 | 2593146.3428 | 1198394.5314
143 | 2593171.0065 | 1198345.519 | 2593167.9754 | 1198345.6754
144 | 2593215.9941 | 1198384.9495 | 2593214.1612 | 1198386.9554 | 2593209.4682 | 1198391.5299 | 2593205.9064 | 1198393.9929
145 | 2593336.4241 | 1198375.0543 | 2593328.8226 | 1198379.9655 | 2593323.4869 | 1198381.917 | 2593308.9967 | 1198381.1778
146 | 2593336.8131 | 1198355.41 | 2593338.8298 | 1198361.0997 | 2593339.3616 | 1198366.7799 | 2593338.8786 | 1198370.6158 | 2593336.4241 | 1198375.0543
147 | 2593336.8131 | 1198355.41 | 2593360.2019 | 1198364.6216
148 | 2593361.8918 | 1198365.2871 | 2593369.228 | 1198368.1693
149 | 2593361.8918 | 1198365.2871 | 2593360.2019 | 1198364.6216
150 | 2593369.228 | 1198368.1693 | 2593368.4765 | 1198384.7086
151 | 2593369.228 | 1198368.1693 | 2593394.823 | 1198376.7897 | 2593395.4093 | 1198376.9817
152 | 2593367.7291 | 1198401.1575 | 2593368.4765 | 1198384.7086
153 | 2593404.9845 | 1198379.3319 | 2593401.5873 | 1198379.0055 | 2593395.4093 | 1198376.9817
154 | 2593367.7291 | 1198401.1575 | 2593367.7264 | 1198401.2151
155 | 2593191.2332 | 1198036.5945 | 2593195.7897 | 1198045.4495 | 2593196.7226 | 1198051.5314
156 | 2593191.2332 | 1198036.5945 | 2593174.6662 | 1198032.568
157 | 2593156.3001 | 1198028.1043 | 2593174.6662 | 1198032.568
158 | 2593132.1389 | 1198127.8857 | 2593121.6582 | 1198126.5695

## bus_geodata
| x | y | coords
0 | 2593331.1363 | 1198096.0345
1 | 2593351.1361 | 1198098.112
2 | 2593322.5391 | 1198095.8319
3 | 2593354.6169 | 1198070.3079
4 | 2593365.0302 | 1198102.2005
5 | 2593322.9653 | 1198118.7418
6 | 2593371.3671 | 1198104.0652
7 | 2593322.9654 | 1198118.7472
8 | 2593383.4829 | 1198107.5264
9 | 2593323.1633 | 1198129.3824
10 | 2593386.8062 | 1198108.4624
11 | 2593335.5782 | 1198129.0833
12 | 2593311.5906 | 1198129.5875
13 | 2592868.7199 | 1198005.0731
14 | 2592861.9813 | 1198001.8691
15 | 2592905.6528 | 1198018.7874
16 | 2592846.9319 | 1197968.0311
17 | 2592920.0614 | 1198029.1485
18 | 2593046.1078 | 1198070.0391
19 | 2593107.0825 | 1198124.7391
20 | 2592954.586 | 1197983.6988
21 | 2592889.8915 | 1197969.9025
22 | 2592924.1448 | 1197982.7349
23 | 2592925.8738 | 1197983.1307
24 | 2593111.1798 | 1198125.2537
25 | 2593164.0966 | 1198131.899
26 | 2593153.0714 | 1198130.5144
27 | 2593181.7667 | 1198134.1747
28 | 2593162.9934 | 1198148.7918
29 | 2593204.7504 | 1198103.0922
30 | 2593202.4514 | 1198088.5271
31 | 2593226.3728 | 1198106.0134
32 | 2593142.6007 | 1198129.1995
33 | 2593191.8776 | 1198135.4769
34 | 2593162.1587 | 1198161.5726
35 | 2593200.5467 | 1198076.4606
36 | 2593224.8932 | 1198127.6431
37 | 2593248.0411 | 1198109.0792
38 | 2593238.7269 | 1198272.2541
39 | 2593267.0065 | 1198272.9896
40 | 2593210.5033 | 1198271.798
41 | 2593265.7312 | 1198263.0635
42 | 2593273.9068 | 1198307.5113
43 | 2593210.7926 | 1198245.2835
44 | 2593286.847 | 1198261.3824
45 | 2593259.0307 | 1198218.6769
46 | 2593277.5531 | 1198325.1119
47 | 2593156.2451 | 1198271.0132
48 | 2593132.9452 | 1198270.6762
49 | 2593301.2732 | 1198259.5879
50 | 2593258.9018 | 1198217.3802
51 | 2593278.7301 | 1198337.0883
52 | 2593105.3367 | 1198270.2769
53 | 2593384.2501 | 1198278.2933
54 | 2593411.2612 | 1198279.5304
55 | 2593383.3304 | 1198304.746
56 | 2593406.7198 | 1198263.1935
57 | 2593410.0558 | 1198304.2381
58 | 2593372.0925 | 1198315.1266
59 | 2593376.2518 | 1198262.2381
60 | 2593403.06 | 1198240.2362
61 | 2593409.9063 | 1198307.3024
62 | 2593296.5438 | 1198227.71
63 | 2593339.0052 | 1198260.0344
64 | 2593258.7733 | 1198195.3608
65 | 2593279.0982 | 1198212.1544
66 | 2593265.9218 | 1198341.7503
67 | 2593060.3823 | 1198269.6267
68 | 2593170.5992 | 1198163.9619
69 | 2593180.7475 | 1198164.3973
70 | 2593188.2147 | 1198166.145
71 | 2593138.9592 | 1198157.7975
72 | 2593198.6876 | 1198168.1229
73 | 2593129.0336 | 1198154.9853
74 | 2593218.9473 | 1198171.5903
75 | 2593118.6668 | 1198152.5405
76 | 2593219.8756 | 1198158.5062
77 | 2593235.2057 | 1198178.471
78 | 2593108.1715 | 1198150.9407
79 | 2593258.8409 | 1198194.1021
80 | 2593259.5904 | 1198180.1595
81 | 2593336.5618 | 1198245.5363
82 | 2593260.1879 | 1198169.9089
83 | 2593398.8605 | 1198207.9838
84 | 2593368.0146 | 1198236.9227
85 | 2593366.2764 | 1198214.0058
86 | 2593332.428 | 1198221.31
87 | 2593275.9529 | 1198169.5695
88 | 2593260.3445 | 1198160.3814
89 | 2593282.1713 | 1198169.4356
90 | 2593258.3828 | 1198138.9342
91 | 2593397.199 | 1198111.3896
92 | 2593394.7261 | 1198148.7439
93 | 2593258.0631 | 1198136.3378
94 | 2593269.062 | 1198136.1305
95 | 2593275.3379 | 1198136.0122
96 | 2593248.5918 | 1198057.5935
97 | 2593288.453 | 1198169.3009
98 | 2593281.5573 | 1198135.8949
99 | 2593299.816 | 1198169.0581
100 | 2593306.0958 | 1198168.9226
101 | 2593312.3147 | 1198168.7885
102 | 2593323.9241 | 1198162.4103
103 | 2593336.0647 | 1198162.2381
104 | 2593323.8489 | 1198159.1477
105 | 2593342.2825 | 1198162.1499
106 | 2593323.7062 | 1198152.9511
107 | 2593341.7967 | 1198128.9335
108 | 2593305.367 | 1198129.6978
109 | 2593348.0909 | 1198128.7819
110 | 2593299.0796 | 1198129.8093
111 | 2593348.576 | 1198162.0607
112 | 2593293.6787 | 1198129.905
113 | 2593240.6238 | 1198355.1191
114 | 2593235.7846 | 1198358.3708
115 | 2593260.5069 | 1198351.2738
116 | 2593309.0851 | 1198347.1834
117 | 2593314.7078 | 1198348.7981
118 | 2593233.0993 | 1198361.0912
119 | 2593209.5788 | 1198352.0736
120 | 2593281.2042 | 1198349.8812
121 | 2593326.6729 | 1198352.377
122 | 2593227.5899 | 1198367.2063
123 | 2593179.5 | 1198345.0808
124 | 2593284.2614 | 1198379.916
125 | 2593333.2583 | 1198354.3468
126 | 2593223.7755 | 1198373.2978
127 | 2593177.0783 | 1198345.2057
128 | 2593297.5265 | 1198380.5927
129 | 2593057.9677 | 1198296.8922
130 | 2593057.9005 | 1198297.65
131 | 2593078.361 | 1198337.1144
132 | 2593090.1173 | 1198338.5013
133 | 2593119.1792 | 1198341.9299
134 | 2593155.1554 | 1198346.0218
135 | 2593167.9754 | 1198345.6754
136 | 2593146.3428 | 1198394.5314
137 | 2593171.0065 | 1198345.519
138 | 2593215.9941 | 1198384.9495
139 | 2593205.9064 | 1198393.9929
140 | 2593308.9967 | 1198381.1778
141 | 2593336.4241 | 1198375.0543
142 | 2593336.8131 | 1198355.41
143 | 2593361.8918 | 1198365.2871
144 | 2593369.228 | 1198368.1693
145 | 2593360.2019 | 1198364.6216
146 | 2593368.4765 | 1198384.7086
147 | 2593395.4093 | 1198376.9817
148 | 2593367.7291 | 1198401.1575
149 | 2593404.9845 | 1198379.3319
150 | 2593367.7264 | 1198401.2151
151 | 2593196.7226 | 1198051.5314
152 | 2593191.2332 | 1198036.5945
153 | 2593174.6662 | 1198032.568
154 | 2593168.8337 | 1198065.5592
155 | 2593156.3001 | 1198028.1043
156 | 2593202.3528 | 1198136.826
157 | 2593121.6582 | 1198126.5695
158 | 2593132.1389 | 1198127.8857
159 | 2593105.232 | 1198150.8219
160 | 2593258.9018 | 1198217.3802

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1