## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-254_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-254_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-254_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-254_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-254_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-254_0_4_node_17 | 0.4 | n |  | TRUE
6 | bus_LV_351-254_0_4_node_21 | 0.4 | n |  | TRUE
7 | bus_LV_351-254_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_351-254_0_4_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_351-254_0_4_node_32 | 0.4 | n |  | TRUE
10 | bus_LV_351-254_0_4_node_33 | 0.4 | n |  | TRUE
11 | bus_LV_351-254_0_4_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_351-254_0_4_node_36 | 0.4 | n |  | TRUE
13 | bus_LV_351-254_0_4_node_38 | 0.4 | n |  | TRUE
14 | bus_LV_351-254_0_4_node_15 | 0.4 | n |  | TRUE
15 | bus_LV_351-254_0_4_node_29 | 0.4 | n |  | TRUE
16 | bus_LV_351-254_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_351-254_0_4_node_79 | 0.4 | n |  | TRUE
18 | bus_LV_351-254_0_4_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_351-254_0_4_node_26 | 0.4 | n |  | TRUE
20 | bus_LV_351-254_0_4_node_22 | 0.4 | n |  | TRUE
21 | bus_LV_351-254_0_4_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_351-254_0_4_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_351-254_0_4_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_351-254_0_4_node_35 | 0.4 | n |  | TRUE
25 | bus_LV_351-254_0_4_node_34 | 0.4 | n |  | TRUE
26 | bus_LV_351-254_0_4_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_351-254_0_4_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_351-254_0_4_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_351-254_0_4_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_351-254_0_4_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_351-254_0_4_node_77 | 0.4 | n |  | TRUE
32 | bus_LV_351-254_0_4_node_76 | 0.4 | n |  | TRUE
33 | bus_LV_351-254_0_4_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_351-254_0_4_node_39 | 0.4 | n |  | TRUE
35 | bus_LV_351-254_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_351-254_0_4_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_351-254_0_4_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_351-254_0_4_node_61 | 0.4 | n |  | TRUE
39 | bus_LV_351-254_0_4_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_351-254_0_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_351-254_0_4_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_351-254_0_4_node_74 | 0.4 | n |  | TRUE
43 | bus_LV_351-254_0_4_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_351-254_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_351-254_0_4_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_351-254_0_4_node_44 | 0.4 | n |  | TRUE
47 | bus_LV_351-254_0_4_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_351-254_0_4_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_351-254_0_4_node_46 | 0.4 | n |  | TRUE
50 | bus_LV_351-254_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_351-254_0_4_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_351-254_0_4_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_351-254_0_4_node_75 | 0.4 | n |  | TRUE
54 | bus_LV_351-254_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_351-254_0_4_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_351-254_0_4_node_48 | 0.4 | n |  | TRUE
57 | bus_LV_351-254_0_4_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_351-254_0_4_node_78 | 0.4 | n |  | TRUE
59 | bus_LV_351-254_0_4_node_57 | 0.4 | n |  | TRUE
60 | bus_LV_351-254_0_4_node_55 | 0.4 | n |  | TRUE
61 | bus_LV_351-254_0_4_node_54 | 0.4 | n |  | TRUE
62 | bus_LV_351-254_0_4_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_351-254_0_4_node_59 | 0.4 | n |  | TRUE
64 | bus_LV_351-254_0_4_node_60 | 0.4 | n |  | TRUE
65 | bus_LV_351-254_0_4_node_62 | 0.4 | n |  | TRUE
66 | bus_LV_351-254_0_4_node_67 | 0.4 | n |  | TRUE
67 | bus_LV_351-254_0_4_node_68 | 0.4 | n |  | TRUE
68 | bus_LV_351-254_0_4_node_69 | 0.4 | n |  | TRUE
69 | bus_MV_596_0_node_18 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-254_0_4_load_0 | 0 | 0.0087106 | 0.0021831 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-254_0_4_load_1 | 1 | 0.0085791 | 0.0021501 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-254_0_4_load_3 | 3 | 0.0086943 | 0.002179 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-254_0_4_load_21 | 6 | 0.017375 | 0.0043546 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-254_0_4_load_32 | 9 | 0.013957 | 0.0034979 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-254_0_4_load_38 | 13 | 0.0042447 | 0.0010638 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-254_0_4_load_29 | 15 | 0.028882 | 0.0072385 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-254_0_4_load_28 | 16 | 0.016957 | 0.0042497 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-254_0_4_load_79 | 17 | 0.0095252 | 0.0023872 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-254_0_4_load_26 | 19 | 0.027561 | 0.0069075 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-254_0_4_load_22 | 20 | 0.016817 | 0.0042146 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-254_0_4_load_30 | 21 | 0.010561 | 0.0026469 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-254_0_4_load_58 | 22 | 0.0059717 | 0.0014967 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-254_0_4_load_27 | 23 | 0.0041409 | 0.0010378 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-254_0_4_load_35 | 24 | 0.0025158 | 0.00063052 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-254_0_4_load_34 | 25 | 0.0027179 | 0.00068117 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-254_0_4_load_73 | 26 | 0.0088674 | 0.0022224 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-254_0_4_load_40 | 27 | 0.008907 | 0.0022323 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-254_0_4_load_31 | 28 | 0.0083793 | 0.0021001 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-254_0_4_load_65 | 29 | 0.0026771 | 0.00067094 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-254_0_4_load_66 | 30 | 0.0026751 | 0.00067043 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-254_0_4_load_77 | 31 | 0.0044969 | 0.001127 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-254_0_4_load_76 | 32 | 0.0044954 | 0.0011266 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-254_0_4_load_39 | 34 | 0.0089227 | 0.0022362 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-254_0_4_load_24 | 35 | 0.016686 | 0.004182 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-254_0_4_load_23 | 36 | 0.010828 | 0.0027137 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-254_0_4_load_25 | 37 | 0.01749 | 0.0043833 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-254_0_4_load_72 | 39 | 0.0047146 | 0.0011816 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-254_0_4_load_63 | 40 | 0.0048657 | 0.0012195 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-254_0_4_load_71 | 41 | 0.0027345 | 0.00068534 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-254_0_4_load_74 | 42 | 0.0078753 | 0.0019737 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-254_0_4_load_70 | 43 | 0.002681 | 0.00067191 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-254_0_4_load_41 | 44 | 0.019679 | 0.0049319 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-254_0_4_load_44 | 46 | 0.0098453 | 0.0024675 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-254_0_4_load_45 | 47 | 0.017522 | 0.0043915 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-254_0_4_load_46 | 49 | 0.0081453 | 0.0020414 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-254_0_4_load_47 | 50 | 0.017531 | 0.0043938 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-254_0_4_load_50 | 51 | 0.0073502 | 0.0018421 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-254_0_4_load_52 | 52 | 0.0081782 | 0.0020496 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-254_0_4_load_75 | 53 | 0.020024 | 0.0050186 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-254_0_4_load_48 | 56 | 0.017474 | 0.0043794 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-254_0_4_load_51 | 57 | 0.0066427 | 0.0016648 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-254_0_4_load_78 | 58 | 0.0046038 | 0.0011538 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-254_0_4_load_57 | 59 | 0.0045886 | 0.00115 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-254_0_4_load_55 | 60 | 0.0046041 | 0.0011539 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-254_0_4_load_54 | 61 | 0.0081732 | 0.0020484 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-254_0_4_load_56 | 62 | 0.0026936 | 0.00067507 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-254_0_4_load_59 | 63 | 0.013336 | 0.0033422 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-254_0_4_load_60 | 64 | 0.0092247 | 0.0023119 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-254_0_4_load_62 | 65 | 0.0072573 | 0.0018188 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-254_0_4_load_67 | 66 | 0.0026788 | 0.00067136 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-254_0_4_load_68 | 67 | 0.0025 | 0.00062655 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-254_0_4_load_69 | 68 | 0.0026775 | 0.00067104 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-254_0_4_line_0 |  | 0 | 1 | 0.015233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-254_0_4_line_1 |  | 0 | 2 | 0.014895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-254_0_4_line_2 |  | 1 | 3 | 0.015229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-254_0_4_line_3 |  | 2 | 4 | 0.013333 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-254_0_4_line_4 |  | 2 | 5 | 0.027473 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-254_0_4_line_5 |  | 4 | 6 | 0.016826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-254_0_4_line_6 |  | 5 | 17 | 0.0060081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-254_0_4_line_7 |  | 5 | 8 | 0.012701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-254_0_4_line_8 |  | 6 | 20 | 0.013323 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-254_0_4_line_9 |  | 7 | 8 | 0.008844 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-254_0_4_line_10 |  | 7 | 9 | 0.015327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-254_0_4_line_11 |  | 7 | 10 | 0.029713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-254_0_4_line_12 |  | 9 | 21 | 0.019391 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-254_0_4_line_13 |  | 10 | 22 | 0.015451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_351-254_0_4_line_14 |  | 10 | 23 | 0.014027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_351-254_0_4_line_15 |  | 11 | 12 | 0.031724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-254_0_4_line_16 |  | 11 | 13 | 0.013721 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-254_0_4_line_17 |  | 12 | 33 | 0.028407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-254_0_4_line_18 |  | 12 | 25 | 0.0096042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-254_0_4_line_19 |  | 13 | 34 | 0.02024 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-254_0_4_line_20 |  | 14 | 15 | 0.031464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-254_0_4_line_21 |  | 14 | 16 | 0.016618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-254_0_4_line_22 |  | 16 | 18 | 0.008759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-254_0_4_line_23 |  | 18 | 19 | 0.031841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-254_0_4_line_24 |  | 19 | 35 | 0.0062944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-254_0_4_line_25 |  | 20 | 36 | 0.010489 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-254_0_4_line_26 |  | 21 | 28 | 0.016838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-254_0_4_line_27 |  | 22 | 38 | 0.0025585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_351-254_0_4_line_28 |  | 23 | 37 | 0.0052352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_351-254_0_4_line_29 |  | 24 | 25 | 0.0073544 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-254_0_4_line_30 |  | 26 | 27 | 0.048649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-254_0_4_line_31 |  | 27 | 34 | 0.0097979 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-254_0_4_line_32 |  | 29 | 30 | 0.007497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-254_0_4_line_33 |  | 30 | 66 | 0.007499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-254_0_4_line_34 |  | 31 | 32 | 0.0080664 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-254_0_4_line_35 |  | 32 | 47 | 0.0075395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-254_0_4_line_36 |  | 33 | 39 | 0.015007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
37 | LV_351-254_0_4_line_37 |  | 33 | 40 | 0.023231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
38 | LV_351-254_0_4_line_38 |  | 33 | 41 | 0.0099673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-254_0_4_line_39 |  | 35 | 37 | 0.021634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-254_0_4_line_40 |  | 38 | 63 | 0.013689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-254_0_4_line_41 |  | 38 | 40 | 0.007107 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_351-254_0_4_line_42 |  | 39 | 42 | 0.0024319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_351-254_0_4_line_43 |  | 41 | 43 | 0.0075786 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-254_0_4_line_44 |  | 42 | 53 | 0.016875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
45 | LV_351-254_0_4_line_45 |  | 43 | 68 | 0.0074975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-254_0_4_line_46 |  | 44 | 45 | 0.0012521 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-254_0_4_line_47 |  | 45 | 46 | 0.012594 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-254_0_4_line_48 |  | 45 | 47 | 0.025463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-254_0_4_line_49 |  | 46 | 51 | 0.00013815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-254_0_4_line_50 |  | 48 | 49 | 0.012528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-254_0_4_line_51 |  | 48 | 50 | 0.00014217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-254_0_4_line_52 |  | 49 | 52 | 0.00013929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-254_0_4_line_53 |  | 50 | 53 | 0.016877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_351-254_0_4_line_54 |  | 51 | 54 | 0.012272 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-254_0_4_line_55 |  | 52 | 55 | 0.011431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-254_0_4_line_56 |  | 54 | 57 | 0.0088412 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-254_0_4_line_57 |  | 54 | 56 | 0.0035422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-254_0_4_line_58 |  | 55 | 59 | 0.0095264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-254_0_4_line_59 |  | 55 | 58 | 0.0088875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-254_0_4_line_60 |  | 57 | 58 | 0.010079 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-254_0_4_line_61 |  | 59 | 60 | 0.008179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-254_0_4_line_62 |  | 60 | 61 | 2.814e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-254_0_4_line_63 |  | 61 | 62 | 0.0022182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-254_0_4_line_64 |  | 63 | 64 | 0.017361 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-254_0_4_line_65 |  | 64 | 65 | 0.015352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-254_0_4_line_66 |  | 66 | 67 | 0.0072538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-254_0_4_line_67 |  | 67 | 68 | 0.0072502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-254_0_4_trafo_25 | 0.63 MVA 20/0.4 kV | 69 | 37 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2601561.7319 | 1200926.361 | 2601576.4239 | 1200930.3855
1 | 2601547.3665 | 1200922.426 | 2601561.7319 | 1200926.361
2 | 2601591.1123 | 1200934.4089 | 2601576.4239 | 1200930.3855
3 | 2601550.1935 | 1200909.3975 | 2601547.3665 | 1200922.426
4 | 2601534.2477 | 1200939.7766 | 2601535.7396 | 1200939.6324 | 2601536.9347 | 1200939.1658 | 2601538.0918 | 1200938.5213 | 2601543.6174 | 1200939.7344 | 2601547.3665 | 1200922.426
5 | 2601550.1935 | 1200909.3975 | 2601566.4339 | 1200913.7962
6 | 2601534.2477 | 1200939.7766 | 2601528.3885 | 1200938.4477
7 | 2601531.7938 | 1200952.2382 | 2601533.2265 | 1200945.068 | 2601534.2477 | 1200939.7766
8 | 2601566.4339 | 1200913.7962 | 2601579.2936 | 1200917.2792
9 | 2601531.7938 | 1200952.2382 | 2601533.7879 | 1200952.6612 | 2601540.356 | 1200954.5304
10 | 2601540.356 | 1200954.5304 | 2601544.641 | 1200955.7433 | 2601555.1668 | 1200958.4735
11 | 2601540.356 | 1200954.5304 | 2601534.4881 | 1200983.6558
12 | 2601555.1668 | 1200958.4735 | 2601569.9091 | 1200962.2975 | 2601573.9572 | 1200963.2615
13 | 2601534.4881 | 1200983.6558 | 2601531.2456 | 1200998.7628
14 | 2601534.4881 | 1200983.6558 | 2601527.4175 | 1200982.2978 | 2601520.7217 | 1200980.9673
15 | 2601512.0852 | 1201089.7852 | 2601518.9961 | 1201058.8258
16 | 2601512.0852 | 1201089.7852 | 2601506.2402 | 1201088.183 | 2601500.2733 | 1201086.7252 | 2601498.788 | 1201086.4124
17 | 2601524.4829 | 1201030.9566 | 2601518.9961 | 1201058.8258
18 | 2601518.9961 | 1201058.8258 | 2601528.2321 | 1201061.4593
19 | 2601498.788 | 1201086.4124 | 2601478.9825 | 1201082.2411
20 | 2601469.4748 | 1200939.2052 | 2601500.2728 | 1200945.6461
21 | 2601469.4748 | 1200939.2052 | 2601469.109 | 1200941.1395 | 2601465.9428 | 1200955.4431
22 | 2601464.0497 | 1200963.995 | 2601465.9428 | 1200955.4431
23 | 2601464.0497 | 1200963.995 | 2601462.7849 | 1200969.8757 | 2601488.1537 | 1200974.7122
24 | 2601494.3368 | 1200975.891 | 2601488.1537 | 1200974.7122
25 | 2601579.2936 | 1200917.2792 | 2601589.4182 | 1200920.0214
26 | 2601590.3368 | 1200967.1623 | 2601573.9572 | 1200963.2615
27 | 2601530.7086 | 1201001.2643 | 2601531.2456 | 1200998.7628
28 | 2601520.7217 | 1200980.9673 | 2601515.5869 | 1200979.9471
29 | 2601535.3046 | 1201063.4759 | 2601528.2321 | 1201061.4593
30 | 2601469.3949 | 1201080.2219 | 2601421.7905 | 1201070.196
31 | 2601478.9825 | 1201082.2411 | 2601469.3949 | 1201080.2219
32 | 2601576.8999 | 1201046.0236 | 2601569.6835 | 1201043.9919
33 | 2601569.6835 | 1201043.9919 | 2601562.4651 | 1201041.9596
34 | 2601414.944 | 1201006.9664 | 2601407.0423 | 1201005.3453
35 | 2601422.3297 | 1201008.4817 | 2601414.944 | 1201006.9664
36 | 2601524.4829 | 1201030.9566 | 2601517.443 | 1201028.7981 | 2601509.9704 | 1201027.1904
37 | 2601524.4829 | 1201030.9566 | 2601529.2502 | 1201008.2201
38 | 2601524.4829 | 1201030.9566 | 2601533.5397 | 1201033.8159 | 2601533.992 | 1201033.9432
39 | 2601494.3368 | 1200975.891 | 2601514.9812 | 1200979.8268 | 2601515.5869 | 1200979.9471
40 | 2601530.7086 | 1201001.2643 | 2601543.8868 | 1201004.9703
41 | 2601530.7086 | 1201001.2643 | 2601529.2502 | 1201008.2201
42 | 2601509.9704 | 1201027.1904 | 2601507.5929 | 1201026.6789
43 | 2601533.992 | 1201033.9432 | 2601541.287 | 1201035.9971
44 | 2601507.5929 | 1201026.6789 | 2601491.0954 | 1201023.1294
45 | 2601548.5039 | 1201038.0289 | 2601541.287 | 1201035.9971
46 | 2601447.2171 | 1201013.8624 | 2601448.4428 | 1201014.1183
47 | 2601447.2171 | 1201013.8624 | 2601449.7579 | 1201001.5272
48 | 2601447.2171 | 1201013.8624 | 2601423.8211 | 1201008.7877 | 2601422.3297 | 1201008.4817
49 | 2601449.7858 | 1201001.3919 | 2601449.7579 | 1201001.5272
50 | 2601474.4567 | 1201019.5496 | 2601477.1238 | 1201007.3085
51 | 2601474.5957 | 1201019.5795 | 2601474.4567 | 1201019.5496
52 | 2601477.1535 | 1201007.1724 | 2601477.1238 | 1201007.3085
53 | 2601474.5957 | 1201019.5795 | 2601491.0954 | 1201023.1294
54 | 2601452.2615 | 1200989.3726 | 2601449.7858 | 1201001.3919
55 | 2601478.9833 | 1200996.0158 | 2601479.2495 | 1200996.7496 | 2601479.2646 | 1200997.4833 | 2601477.1535 | 1201007.1724
56 | 2601452.2615 | 1200989.3726 | 2601460.9209 | 1200991.1563
57 | 2601452.2615 | 1200989.3726 | 2601452.9707 | 1200985.9022
58 | 2601478.9833 | 1200996.0158 | 2601480.5513 | 1200995.6715 | 2601488.3031 | 1200997.3005
59 | 2601478.9833 | 1200996.0158 | 2601478.055 | 1200995.0039 | 2601476.7916 | 1200994.4255 | 2601470.7927 | 1200993.1898
60 | 2601470.7927 | 1200993.1898 | 2601460.9209 | 1200991.1563
61 | 2601488.3031 | 1200997.3005 | 2601496.3072 | 1200998.9825
62 | 2601496.3347 | 1200998.9883 | 2601496.3072 | 1200998.9825
63 | 2601498.5056 | 1200999.4445 | 2601496.3347 | 1200998.9883
64 | 2601543.8868 | 1201004.9703 | 2601560.5996 | 1201009.6704
65 | 2601560.5996 | 1201009.6704 | 2601575.3784 | 1201013.8265
66 | 2601562.4651 | 1201041.9596 | 2601555.4828 | 1201039.9938
67 | 2601555.4828 | 1201039.9938 | 2601548.5039 | 1201038.0289

## bus_geodata
| x | y | coords
0 | 2601561.7319 | 1200926.361
1 | 2601576.4239 | 1200930.3855
2 | 2601547.3665 | 1200922.426
3 | 2601591.1123 | 1200934.4089
4 | 2601550.1935 | 1200909.3975
5 | 2601534.2477 | 1200939.7766
6 | 2601566.4339 | 1200913.7962
7 | 2601540.356 | 1200954.5304
8 | 2601531.7938 | 1200952.2382
9 | 2601555.1668 | 1200958.4735
10 | 2601534.4881 | 1200983.6558
11 | 2601512.0852 | 1201089.7852
12 | 2601518.9961 | 1201058.8258
13 | 2601498.788 | 1201086.4124
14 | 2601469.4748 | 1200939.2052
15 | 2601500.2728 | 1200945.6461
16 | 2601465.9428 | 1200955.4431
17 | 2601528.3885 | 1200938.4477
18 | 2601464.0497 | 1200963.995
19 | 2601488.1537 | 1200974.7122
20 | 2601579.2936 | 1200917.2792
21 | 2601573.9572 | 1200963.2615
22 | 2601531.2456 | 1200998.7628
23 | 2601520.7217 | 1200980.9673
24 | 2601535.3046 | 1201063.4759
25 | 2601528.2321 | 1201061.4593
26 | 2601421.7905 | 1201070.196
27 | 2601469.3949 | 1201080.2219
28 | 2601590.3368 | 1200967.1623
29 | 2601576.8999 | 1201046.0236
30 | 2601569.6835 | 1201043.9919
31 | 2601407.0423 | 1201005.3453
32 | 2601414.944 | 1201006.9664
33 | 2601524.4829 | 1201030.9566
34 | 2601478.9825 | 1201082.2411
35 | 2601494.3368 | 1200975.891
36 | 2601589.4182 | 1200920.0214
37 | 2601515.5869 | 1200979.9471
38 | 2601530.7086 | 1201001.2643
39 | 2601509.9704 | 1201027.1904
40 | 2601529.2502 | 1201008.2201
41 | 2601533.992 | 1201033.9432
42 | 2601507.5929 | 1201026.6789
43 | 2601541.287 | 1201035.9971
44 | 2601448.4428 | 1201014.1183
45 | 2601447.2171 | 1201013.8624
46 | 2601449.7579 | 1201001.5272
47 | 2601422.3297 | 1201008.4817
48 | 2601474.4567 | 1201019.5496
49 | 2601477.1238 | 1201007.3085
50 | 2601474.5957 | 1201019.5795
51 | 2601449.7858 | 1201001.3919
52 | 2601477.1535 | 1201007.1724
53 | 2601491.0954 | 1201023.1294
54 | 2601452.2615 | 1200989.3726
55 | 2601478.9833 | 1200996.0158
56 | 2601452.9707 | 1200985.9022
57 | 2601460.9209 | 1200991.1563
58 | 2601470.7927 | 1200993.1898
59 | 2601488.3031 | 1200997.3005
60 | 2601496.3072 | 1200998.9825
61 | 2601496.3347 | 1200998.9883
62 | 2601498.5056 | 1200999.4445
63 | 2601543.8868 | 1201004.9703
64 | 2601560.5996 | 1201009.6704
65 | 2601575.3784 | 1201013.8265
66 | 2601562.4651 | 1201041.9596
67 | 2601555.4828 | 1201039.9938
68 | 2601548.5039 | 1201038.0289
69 | 2601534.4881 | 1200983.6558

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1