## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-258_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-258_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-258_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-258_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-258_0_4_node_6 | 0.4 | n |  | TRUE
5 | bus_LV_351-258_0_4_node_43 | 0.4 | n |  | TRUE
6 | bus_LV_351-258_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_351-258_0_4_node_54 | 0.4 | n |  | TRUE
8 | bus_LV_351-258_0_4_node_52 | 0.4 | n |  | TRUE
9 | bus_LV_351-258_0_4_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_351-258_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_351-258_0_4_node_15 | 0.4 | n |  | TRUE
12 | bus_LV_351-258_0_4_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_351-258_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_351-258_0_4_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_351-258_0_4_node_20 | 0.4 | n |  | TRUE
16 | bus_LV_351-258_0_4_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_351-258_0_4_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_351-258_0_4_node_55 | 0.4 | n |  | TRUE
19 | bus_LV_351-258_0_4_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_351-258_0_4_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_351-258_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_351-258_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_351-258_0_4_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_351-258_0_4_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_351-258_0_4_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_351-258_0_4_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_351-258_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_351-258_0_4_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_351-258_0_4_node_28 | 0.4 | n |  | TRUE
30 | bus_LV_351-258_0_4_node_53 | 0.4 | n |  | TRUE
31 | bus_LV_351-258_0_4_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_351-258_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_351-258_0_4_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_351-258_0_4_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_351-258_0_4_node_64 | 0.4 | n |  | TRUE
36 | bus_LV_351-258_0_4_node_78 | 0.4 | n |  | TRUE
37 | bus_LV_351-258_0_4_node_44 | 0.4 | n |  | TRUE
38 | bus_LV_351-258_0_4_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_351-258_0_4_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_351-258_0_4_node_63 | 0.4 | n |  | TRUE
41 | bus_LV_351-258_0_4_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_351-258_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_351-258_0_4_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_351-258_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_351-258_0_4_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_351-258_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_351-258_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_351-258_0_4_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_351-258_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_351-258_0_4_node_40 | 0.4 | n |  | TRUE
51 | bus_LV_351-258_0_4_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_351-258_0_4_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_351-258_0_4_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_351-258_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_351-258_0_4_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_351-258_0_4_node_56 | 0.4 | n |  | TRUE
57 | bus_LV_351-258_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_351-258_0_4_node_58 | 0.4 | n |  | TRUE
59 | bus_LV_351-258_0_4_node_59 | 0.4 | n |  | TRUE
60 | bus_LV_351-258_0_4_node_60 | 0.4 | n |  | TRUE
61 | bus_LV_351-258_0_4_node_61 | 0.4 | n |  | TRUE
62 | bus_LV_351-258_0_4_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_351-258_0_4_node_67 | 0.4 | n |  | TRUE
64 | bus_LV_351-258_0_4_node_68 | 0.4 | n |  | TRUE
65 | bus_LV_351-258_0_4_node_69 | 0.4 | n |  | TRUE
66 | bus_LV_351-258_0_4_node_70 | 0.4 | n |  | TRUE
67 | bus_LV_351-258_0_4_node_71 | 0.4 | n |  | TRUE
68 | bus_LV_351-258_0_4_node_72 | 0.4 | n |  | TRUE
69 | bus_LV_351-258_0_4_node_73 | 0.4 | n |  | TRUE
70 | bus_LV_351-258_0_4_node_74 | 0.4 | n |  | TRUE
71 | bus_LV_351-258_0_4_node_75 | 0.4 | n |  | TRUE
72 | bus_LV_351-258_0_4_node_76 | 0.4 | n |  | TRUE
73 | bus_MV_596_0_node_32 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-258_0_4_load_0 | 0 | 0.01415 | 0.0035462 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-258_0_4_load_1 | 1 | 0.0029342 | 0.00073538 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-258_0_4_load_3 | 3 | 0.0029352 | 0.00073562 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-258_0_4_load_43 | 5 | 0.0029342 | 0.00073539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-258_0_4_load_54 | 7 | 0.0087321 | 0.0021885 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-258_0_4_load_52 | 8 | 0.014694 | 0.0036828 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-258_0_4_load_25 | 9 | 0.030068 | 0.0075357 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-258_0_4_load_26 | 12 | 0.0026756 | 0.00067058 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-258_0_4_load_20 | 15 | 0.012764 | 0.003199 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-258_0_4_load_27 | 16 | 0.0032032 | 0.00080279 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-258_0_4_load_45 | 17 | 0.0031398 | 0.0007869 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-258_0_4_load_55 | 18 | 0.0089626 | 0.0022462 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-258_0_4_load_38 | 19 | 0.0029697 | 0.00074428 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-258_0_4_load_39 | 20 | 0.0031356 | 0.00078586 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-258_0_4_load_24 | 21 | 0.028051 | 0.0070304 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-258_0_4_load_17 | 24 | 0.0023799 | 0.00059645 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-258_0_4_load_13 | 25 | 0.0023958 | 0.00060044 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-258_0_4_load_19 | 26 | 0.0024701 | 0.00061907 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-258_0_4_load_23 | 27 | 0.029972 | 0.0075117 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-258_0_4_load_21 | 28 | 0.012806 | 0.0032096 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-258_0_4_load_28 | 29 | 0.0096362 | 0.0024151 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-258_0_4_load_53 | 30 | 0.0059686 | 0.0014959 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-258_0_4_load_65 | 31 | 0.0032665 | 0.00081866 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-258_0_4_load_33 | 32 | 0.0066568 | 0.0016684 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-258_0_4_load_34 | 33 | 0.0032202 | 0.00080705 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-258_0_4_load_32 | 34 | 0.014912 | 0.0037372 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-258_0_4_load_64 | 35 | 0.0023423 | 0.00058703 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-258_0_4_load_78 | 36 | 0.0024894 | 0.0006239 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-258_0_4_load_44 | 37 | 0.0065669 | 0.0016458 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-258_0_4_load_51 | 38 | 0.0031408 | 0.00078715 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-258_0_4_load_30 | 39 | 0.0095461 | 0.0023925 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-258_0_4_load_63 | 40 | 0.0023467 | 0.00058814 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-258_0_4_load_77 | 41 | 0.0024749 | 0.00062028 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-258_0_4_load_31 | 43 | 0.0029867 | 0.00074855 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-258_0_4_load_35 | 44 | 0.0029266 | 0.00073348 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-258_0_4_load_36 | 45 | 0.0029316 | 0.00073473 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-258_0_4_load_50 | 46 | 0.0031454 | 0.00078831 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-258_0_4_load_37 | 47 | 0.0029254 | 0.00073317 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-258_0_4_load_42 | 48 | 0.0029252 | 0.00073312 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-258_0_4_load_41 | 49 | 0.0029254 | 0.00073317 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-258_0_4_load_40 | 50 | 0.002919 | 0.00073158 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-258_0_4_load_46 | 51 | 0.0031458 | 0.00078841 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-258_0_4_load_47 | 52 | 0.003142 | 0.00078747 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-258_0_4_load_48 | 53 | 0.0031452 | 0.00078827 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-258_0_4_load_49 | 54 | 0.0031467 | 0.00078865 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-258_0_4_load_66 | 55 | 0.0032111 | 0.00080477 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-258_0_4_load_56 | 56 | 0.0087808 | 0.0022007 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-258_0_4_load_57 | 57 | 0.0027662 | 0.00069329 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-258_0_4_load_58 | 58 | 0.0023631 | 0.00059224 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-258_0_4_load_59 | 59 | 0.0023487 | 0.00058865 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-258_0_4_load_60 | 60 | 0.0047105 | 0.0011806 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-258_0_4_load_61 | 61 | 0.0023625 | 0.0005921 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-258_0_4_load_62 | 62 | 0.002357 | 0.00059072 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-258_0_4_load_67 | 63 | 0.0033498 | 0.00083954 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-258_0_4_load_68 | 64 | 0.0032458 | 0.00081348 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-258_0_4_load_69 | 65 | 0.0032694 | 0.00081938 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-258_0_4_load_70 | 66 | 0.0032581 | 0.00081657 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-258_0_4_load_71 | 67 | 0.0024946 | 0.0006252 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-258_0_4_load_72 | 68 | 0.0024893 | 0.00062387 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-258_0_4_load_73 | 69 | 0.0024947 | 0.00062523 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-258_0_4_load_74 | 70 | 0.0024846 | 0.00062269 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-258_0_4_load_75 | 71 | 0.0024926 | 0.00062471 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-258_0_4_load_76 | 72 | 0.0025043 | 0.00062764 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-258_0_4_line_0 |  | 0 | 1 | 0.0088041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-258_0_4_line_1 |  | 0 | 2 | 0.0070365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-258_0_4_line_2 |  | 1 | 3 | 0.0070027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-258_0_4_line_3 |  | 2 | 4 | 0.046409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-258_0_4_line_4 |  | 3 | 5 | 0.0070016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-258_0_4_line_5 |  | 4 | 9 | 0.013418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-258_0_4_line_6 |  | 5 | 17 | 0.0072442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-258_0_4_line_7 |  | 6 | 7 | 0.015815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-258_0_4_line_8 |  | 6 | 8 | 0.0066525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-258_0_4_line_9 |  | 7 | 18 | 0.0072645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-258_0_4_line_10 |  | 9 | 21 | 0.015396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-258_0_4_line_11 |  | 10 | 11 | 0.028407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-258_0_4_line_12 |  | 10 | 12 | 0.062043 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-258_0_4_line_13 |  | 11 | 26 | 0.023971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-258_0_4_line_14 |  | 11 | 25 | 0.021015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-258_0_4_line_15 |  | 13 | 14 | 0.090724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-258_0_4_line_16 |  | 13 | 15 | 0.028377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-258_0_4_line_17 |  | 14 | 16 | 0.01593 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-258_0_4_line_18 |  | 15 | 28 | 0.0087288 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-258_0_4_line_19 |  | 16 | 29 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-258_0_4_line_20 |  | 17 | 51 | 0.0074951 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-258_0_4_line_21 |  | 18 | 56 | 0.0072914 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-258_0_4_line_22 |  | 19 | 20 | 0.0073195 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-258_0_4_line_23 |  | 20 | 50 | 0.0072513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-258_0_4_line_24 |  | 21 | 27 | 0.015407 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-258_0_4_line_25 |  | 22 | 23 | 0.026566 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_351-258_0_4_line_26 |  | 22 | 24 | 0.017217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
27 | LV_351-258_0_4_line_27 |  | 22 | 25 | 0.010706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-258_0_4_line_28 |  | 23 | 32 | 0.017943 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-258_0_4_line_29 |  | 23 | 33 | 0.009144 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-258_0_4_line_30 |  | 23 | 34 | 0.015254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-258_0_4_line_31 |  | 24 | 35 | 0.0072699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_351-258_0_4_line_32 |  | 26 | 36 | 0.0069745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-258_0_4_line_33 |  | 29 | 42 | 0.010862 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-258_0_4_line_34 |  | 30 | 31 | 0.0098993 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-258_0_4_line_35 |  | 31 | 55 | 0.0069417 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-258_0_4_line_36 |  | 32 | 37 | 0.0098467 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-258_0_4_line_37 |  | 33 | 38 | 0.0075848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-258_0_4_line_38 |  | 34 | 39 | 0.014626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-258_0_4_line_39 |  | 35 | 40 | 0.0072192 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
40 | LV_351-258_0_4_line_40 |  | 36 | 41 | 0.0069775 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-258_0_4_line_41 |  | 38 | 46 | 0.0074938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-258_0_4_line_42 |  | 39 | 42 | 0.0037016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-258_0_4_line_43 |  | 40 | 62 | 0.0072411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
44 | LV_351-258_0_4_line_44 |  | 41 | 72 | 0.0069942 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-258_0_4_line_45 |  | 42 | 43 | 0.0079828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-258_0_4_line_46 |  | 43 | 44 | 0.0055596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-258_0_4_line_47 |  | 44 | 45 | 0.0070051 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-258_0_4_line_48 |  | 45 | 47 | 0.0069955 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-258_0_4_line_49 |  | 46 | 54 | 0.0074969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-258_0_4_line_50 |  | 47 | 48 | 0.006994 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-258_0_4_line_51 |  | 48 | 49 | 0.0069962 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-258_0_4_line_52 |  | 49 | 50 | 0.0069907 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-258_0_4_line_53 |  | 51 | 52 | 0.007492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-258_0_4_line_54 |  | 52 | 53 | 0.0074898 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-258_0_4_line_55 |  | 53 | 54 | 0.0074917 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-258_0_4_line_56 |  | 55 | 63 | 0.007025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-258_0_4_line_57 |  | 56 | 57 | 0.0072355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-258_0_4_line_58 |  | 57 | 58 | 0.0072609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-258_0_4_line_59 |  | 58 | 59 | 0.0072535 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
60 | LV_351-258_0_4_line_60 |  | 59 | 60 | 0.010875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_351-258_0_4_line_61 |  | 60 | 61 | 0.010889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_351-258_0_4_line_62 |  | 61 | 62 | 0.0072641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_351-258_0_4_line_63 |  | 63 | 64 | 0.0070656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-258_0_4_line_64 |  | 64 | 65 | 0.006978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-258_0_4_line_65 |  | 65 | 66 | 0.0069939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-258_0_4_line_66 |  | 66 | 67 | 0.0069944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-258_0_4_line_67 |  | 67 | 68 | 0.0070749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-258_0_4_line_68 |  | 68 | 69 | 0.0070032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-258_0_4_line_69 |  | 69 | 70 | 0.0070012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-258_0_4_line_70 |  | 70 | 71 | 0.0069976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-258_0_4_line_71 |  | 71 | 72 | 0.0070194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-258_0_4_trafo_58 | 0.63 MVA 20/0.4 kV | 73 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2601598.9739 | 1201141.2526 | 2601590.4953 | 1201138.8806
1 | 2601605.7502 | 1201143.1484 | 2601598.9739 | 1201141.2526
2 | 2601590.4953 | 1201138.8806 | 2601583.7516 | 1201136.9939
3 | 2601605.7502 | 1201143.1484 | 2601608.6651 | 1201143.9496 | 2601613.8556 | 1201145.0848 | 2601618.0643 | 1201146.1309 | 2601626.4969 | 1201148.0119 | 2601633.7802 | 1201150.1705 | 2601636.9246 | 1201146.4694 | 2601645.7787 | 1201137.4446
4 | 2601583.7516 | 1201136.9939 | 2601577.0089 | 1201135.1076
5 | 2601645.7787 | 1201137.4446 | 2601655.1798 | 1201127.8699
6 | 2601577.0089 | 1201135.1076 | 2601570.0326 | 1201133.1559
7 | 2601627.6376 | 1201122.5096 | 2601615.3465 | 1201118.9934 | 2601612.4291 | 1201118.1705
8 | 2601627.6376 | 1201122.5096 | 2601632.4673 | 1201117.9346
9 | 2601612.4291 | 1201118.1705 | 2601605.4374 | 1201116.1985
10 | 2601655.1798 | 1201127.8699 | 2601664.2103 | 1201118.6727 | 2601665.9688 | 1201116.8869
11 | 2601524.4829 | 1201030.9566 | 2601518.9961 | 1201058.8258
12 | 2601524.4829 | 1201030.9566 | 2601533.5397 | 1201033.8159 | 2601584.1185 | 1201048.0559
13 | 2601518.9961 | 1201058.8258 | 2601542.048 | 1201065.3986
14 | 2601518.9961 | 1201058.8258 | 2601514.4177 | 1201079.3361
15 | 2601484.811 | 1201167.7096 | 2601487.4564 | 1201181.3286 | 2601493.559 | 1201187.6891 | 2601495.1341 | 1201189.3348 | 2601503.1238 | 1201197.6634 | 2601514.2634 | 1201209.7948 | 2601539.6291 | 1201186.822 | 2601542.2403 | 1201184.4547
16 | 2601484.811 | 1201167.7096 | 2601480.592 | 1201146.0413 | 2601479.9303 | 1201143.94 | 2601478.8042 | 1201142.3612 | 2601477.1149 | 1201141.0156
17 | 2601542.2403 | 1201184.4547 | 2601532.2549 | 1201172.0424
18 | 2601468.6385 | 1201139.0079 | 2601474.2305 | 1201140.0588 | 2601477.1149 | 1201141.0156
19 | 2601532.2549 | 1201172.0424 | 2601531.2913 | 1201170.8446 | 2601524.1852 | 1201159.9482 | 2601523.4135 | 1201158.4079
20 | 2601570.0326 | 1201133.1559 | 2601562.8146 | 1201131.1365
21 | 2601605.4374 | 1201116.1985 | 2601598.4198 | 1201114.2191
22 | 2601579.5852 | 1201162.1846 | 2601572.5352 | 1201160.2168
23 | 2601572.5352 | 1201160.2168 | 2601565.5508 | 1201158.2673
24 | 2601676.7788 | 1201105.9089 | 2601665.9688 | 1201116.8869
25 | 2601510.724 | 1201116.2102 | 2601510.2913 | 1201111.4854 | 2601510.5373 | 1201101.3466 | 2601511.2164 | 1201094.532 | 2601512.0852 | 1201089.7852
26 | 2601512.0852 | 1201089.7852 | 2601523.5088 | 1201093.0898 | 2601528.6341 | 1201094.5354
27 | 2601512.0852 | 1201089.7852 | 2601514.4177 | 1201079.3361
28 | 2601510.724 | 1201116.2102 | 2601505.0009 | 1201114.3412 | 2601493.3292 | 1201111.9105
29 | 2601510.724 | 1201116.2102 | 2601518.4488 | 1201118.7246 | 2601519.4314 | 1201118.9995
30 | 2601510.724 | 1201116.2102 | 2601511.5823 | 1201123.6811 | 2601512.6615 | 1201130.1627 | 2601512.9313 | 1201131.2941
31 | 2601535.631 | 1201096.5089 | 2601528.6341 | 1201094.5354
32 | 2601548.7552 | 1201067.311 | 2601542.048 | 1201065.3986
33 | 2601518.5481 | 1201148.6963 | 2601523.4135 | 1201158.4079
34 | 2601645.9687 | 1201094.578 | 2601636.4278 | 1201091.9386
35 | 2601636.4278 | 1201091.9386 | 2601629.7374 | 1201090.0878
36 | 2601483.6893 | 1201109.9029 | 2601493.3292 | 1201111.9105
37 | 2601519.4314 | 1201118.9995 | 2601526.7358 | 1201121.043
38 | 2601517.1839 | 1201145.2552 | 2601516.19 | 1201142.7481 | 2601514.7297 | 1201138.8345 | 2601512.9313 | 1201131.2941
39 | 2601542.5791 | 1201098.4687 | 2601535.631 | 1201096.5089
40 | 2601555.4652 | 1201069.2243 | 2601548.7552 | 1201067.311
41 | 2601533.9524 | 1201123.0619 | 2601526.7358 | 1201121.043
42 | 2601518.5481 | 1201148.6963 | 2601517.1839 | 1201145.2552
43 | 2601549.5483 | 1201100.4344 | 2601542.5791 | 1201098.4687
44 | 2601562.1914 | 1201071.1421 | 2601555.4652 | 1201069.2243
45 | 2601518.5481 | 1201148.6963 | 2601523.29 | 1201147.7302 | 2601526.4334 | 1201147.7088
46 | 2601526.4334 | 1201147.7088 | 2601526.4334 | 1201147.7088 | 2601528.8004 | 1201148.0095 | 2601531.8571 | 1201148.8627
47 | 2601531.8571 | 1201148.8627 | 2601538.6044 | 1201150.746
48 | 2601538.6044 | 1201150.746 | 2601545.3423 | 1201152.6267
49 | 2601533.9524 | 1201123.0619 | 2601541.1721 | 1201125.0817
50 | 2601552.0788 | 1201154.507 | 2601545.3423 | 1201152.6267
51 | 2601558.8174 | 1201156.3879 | 2601552.0788 | 1201154.507
52 | 2601565.5508 | 1201158.2673 | 2601558.8174 | 1201156.3879
53 | 2601562.8146 | 1201131.1365 | 2601555.5997 | 1201129.1181
54 | 2601555.5997 | 1201129.1181 | 2601548.3868 | 1201127.1002
55 | 2601548.3868 | 1201127.1002 | 2601541.1721 | 1201125.0817
56 | 2601629.7374 | 1201090.0878 | 2601622.9667 | 1201088.2148
57 | 2601598.4198 | 1201114.2191 | 2601591.456 | 1201112.2549
58 | 2601591.456 | 1201112.2549 | 2601584.4678 | 1201110.2838
59 | 2601584.4678 | 1201110.2838 | 2601577.4866 | 1201108.3147
60 | 2601577.4866 | 1201108.3147 | 2601567.0202 | 1201105.3625
61 | 2601567.0202 | 1201105.3625 | 2601556.5396 | 1201102.4064
62 | 2601556.5396 | 1201102.4064 | 2601549.5483 | 1201100.4344
63 | 2601622.9667 | 1201088.2148 | 2601616.1569 | 1201086.3309
64 | 2601616.1569 | 1201086.3309 | 2601609.4315 | 1201084.4704
65 | 2601609.4315 | 1201084.4704 | 2601602.6907 | 1201082.6057
66 | 2601602.6907 | 1201082.6057 | 2601595.9495 | 1201080.7408
67 | 2601595.9495 | 1201080.7408 | 2601592.7894 | 1201079.8666 | 2601589.1388 | 1201078.8257
68 | 2601589.1388 | 1201078.8257 | 2601582.404 | 1201076.9054
69 | 2601582.404 | 1201076.9054 | 2601575.6711 | 1201074.9856
70 | 2601575.6711 | 1201074.9856 | 2601568.9418 | 1201073.0669
71 | 2601568.9418 | 1201073.0669 | 2601562.1914 | 1201071.1421

## bus_geodata
| x | y | coords
0 | 2601598.9739 | 1201141.2526
1 | 2601590.4953 | 1201138.8806
2 | 2601605.7502 | 1201143.1484
3 | 2601583.7516 | 1201136.9939
4 | 2601645.7787 | 1201137.4446
5 | 2601577.0089 | 1201135.1076
6 | 2601627.6376 | 1201122.5096
7 | 2601612.4291 | 1201118.1705
8 | 2601632.4673 | 1201117.9346
9 | 2601655.1798 | 1201127.8699
10 | 2601524.4829 | 1201030.9566
11 | 2601518.9961 | 1201058.8258
12 | 2601584.1185 | 1201048.0559
13 | 2601484.811 | 1201167.7096
14 | 2601542.2403 | 1201184.4547
15 | 2601477.1149 | 1201141.0156
16 | 2601532.2549 | 1201172.0424
17 | 2601570.0326 | 1201133.1559
18 | 2601605.4374 | 1201116.1985
19 | 2601579.5852 | 1201162.1846
20 | 2601572.5352 | 1201160.2168
21 | 2601665.9688 | 1201116.8869
22 | 2601512.0852 | 1201089.7852
23 | 2601510.724 | 1201116.2102
24 | 2601528.6341 | 1201094.5354
25 | 2601514.4177 | 1201079.3361
26 | 2601542.048 | 1201065.3986
27 | 2601676.7788 | 1201105.9089
28 | 2601468.6385 | 1201139.0079
29 | 2601523.4135 | 1201158.4079
30 | 2601645.9687 | 1201094.578
31 | 2601636.4278 | 1201091.9386
32 | 2601493.3292 | 1201111.9105
33 | 2601519.4314 | 1201118.9995
34 | 2601512.9313 | 1201131.2941
35 | 2601535.631 | 1201096.5089
36 | 2601548.7552 | 1201067.311
37 | 2601483.6893 | 1201109.9029
38 | 2601526.7358 | 1201121.043
39 | 2601517.1839 | 1201145.2552
40 | 2601542.5791 | 1201098.4687
41 | 2601555.4652 | 1201069.2243
42 | 2601518.5481 | 1201148.6963
43 | 2601526.4334 | 1201147.7088
44 | 2601531.8571 | 1201148.8627
45 | 2601538.6043 | 1201150.746
46 | 2601533.9524 | 1201123.0619
47 | 2601545.3423 | 1201152.6267
48 | 2601552.0788 | 1201154.507
49 | 2601558.8174 | 1201156.3879
50 | 2601565.5508 | 1201158.2673
51 | 2601562.8146 | 1201131.1365
52 | 2601555.5997 | 1201129.1181
53 | 2601548.3868 | 1201127.1002
54 | 2601541.1721 | 1201125.0817
55 | 2601629.7374 | 1201090.0878
56 | 2601598.4198 | 1201114.2191
57 | 2601591.456 | 1201112.2549
58 | 2601584.4678 | 1201110.2838
59 | 2601577.4866 | 1201108.3147
60 | 2601567.0202 | 1201105.3625
61 | 2601556.5396 | 1201102.4064
62 | 2601549.5483 | 1201100.4344
63 | 2601622.9667 | 1201088.2148
64 | 2601616.1569 | 1201086.3309
65 | 2601609.4315 | 1201084.4704
66 | 2601602.6907 | 1201082.6057
67 | 2601595.9495 | 1201080.7408
68 | 2601589.1388 | 1201078.8257
69 | 2601582.404 | 1201076.9054
70 | 2601575.6711 | 1201074.9856
71 | 2601568.9418 | 1201073.0669
72 | 2601562.1914 | 1201071.1421
73 | 2601584.4678 | 1201110.2838

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1