## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-275_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-275_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-275_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-275_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-275_0_5_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_351-275_0_5_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_351-275_0_5_node_37 | 0.4 | n |  | TRUE
7 | bus_LV_351-275_0_5_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_351-275_0_5_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_351-275_0_5_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_351-275_0_5_node_22 | 0.4 | n |  | TRUE
11 | bus_LV_351-275_0_5_node_55 | 0.4 | n |  | TRUE
12 | bus_LV_351-275_0_5_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_351-275_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_351-275_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_351-275_0_5_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_351-275_0_5_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_351-275_0_5_node_49 | 0.4 | n |  | TRUE
18 | bus_LV_351-275_0_5_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_351-275_0_5_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_351-275_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_351-275_0_5_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_351-275_0_5_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_351-275_0_5_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_351-275_0_5_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_351-275_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_351-275_0_5_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_351-275_0_5_node_26 | 0.4 | n |  | TRUE
28 | bus_LV_351-275_0_5_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_351-275_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_351-275_0_5_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_351-275_0_5_node_30 | 0.4 | n |  | TRUE
32 | bus_LV_351-275_0_5_node_57 | 0.4 | n |  | TRUE
33 | bus_LV_351-275_0_5_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_351-275_0_5_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_351-275_0_5_node_51 | 0.4 | n |  | TRUE
36 | bus_LV_351-275_0_5_node_42 | 0.4 | n |  | TRUE
37 | bus_LV_351-275_0_5_node_45 | 0.4 | n |  | TRUE
38 | bus_LV_351-275_0_5_node_44 | 0.4 | n |  | TRUE
39 | bus_LV_351-275_0_5_node_28 | 0.4 | n |  | TRUE
40 | bus_LV_351-275_0_5_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_351-275_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_351-275_0_5_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_351-275_0_5_node_32 | 0.4 | n |  | TRUE
44 | bus_LV_351-275_0_5_node_29 | 0.4 | n |  | TRUE
45 | bus_LV_351-275_0_5_node_19 | 0.4 | n |  | TRUE
46 | bus_LV_351-275_0_5_node_21 | 0.4 | n |  | TRUE
47 | bus_LV_351-275_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_351-275_0_5_node_31 | 0.4 | n |  | TRUE
49 | bus_LV_351-275_0_5_node_33 | 0.4 | n |  | TRUE
50 | bus_LV_351-275_0_5_node_43 | 0.4 | n |  | TRUE
51 | bus_LV_351-275_0_5_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_351-275_0_5_node_52 | 0.4 | n |  | TRUE
53 | bus_LV_351-275_0_5_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_351-275_0_5_node_54 | 0.4 | n |  | TRUE
55 | bus_LV_351-275_0_5_node_58 | 0.4 | n |  | TRUE
56 | bus_LV_351-275_0_5_node_59 | 0.4 | n |  | TRUE
57 | bus_MV_593_0_node_178 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-275_0_5_load_0 | 0 | 0.011417 | 0.0028615 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-275_0_5_load_56 | 5 | 0.0095409 | 0.0023912 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-275_0_5_load_37 | 6 | 0.0065448 | 0.0016403 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-275_0_5_load_36 | 7 | 0.015335 | 0.0038433 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-275_0_5_load_22 | 10 | 0.0064568 | 0.0016182 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-275_0_5_load_55 | 11 | 0.03279 | 0.0082179 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-275_0_5_load_50 | 15 | 0.025508 | 0.0063928 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-275_0_5_load_49 | 17 | 0.0084254 | 0.0021116 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-275_0_5_load_47 | 18 | 0.0093039 | 0.0023318 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-275_0_5_load_41 | 19 | 0.0056926 | 0.0014267 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-275_0_5_load_48 | 22 | 0.068847 | 0.017255 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-275_0_5_load_60 | 24 | 0.038232 | 0.0095819 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-275_0_5_load_25 | 26 | 0.0058229 | 0.0014594 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-275_0_5_load_24 | 28 | 0.0058043 | 0.0014547 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-275_0_5_load_40 | 30 | 0.010434 | 0.0026151 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-275_0_5_load_30 | 31 | 0.0026836 | 0.00067257 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-275_0_5_load_57 | 32 | 0.010658 | 0.0026712 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-275_0_5_load_39 | 33 | 0.0032541 | 0.00081556 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-275_0_5_load_20 | 34 | 0.0030447 | 0.00076308 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-275_0_5_load_51 | 35 | 0.011389 | 0.0028545 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-275_0_5_load_42 | 36 | 0.0080202 | 0.00201 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-275_0_5_load_45 | 37 | 0.0093713 | 0.0023487 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-275_0_5_load_44 | 38 | 0.020045 | 0.0050238 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-275_0_5_load_28 | 39 | 0.0030238 | 0.00075784 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-275_0_5_load_27 | 40 | 0.0022753 | 0.00057023 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-275_0_5_load_34 | 41 | 0.0023479 | 0.00058845 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-275_0_5_load_38 | 42 | 0.0068914 | 0.0017271 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-275_0_5_load_32 | 43 | 0.0044379 | 0.0011123 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-275_0_5_load_29 | 44 | 0.0063919 | 0.001602 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-275_0_5_load_19 | 45 | 0.0046411 | 0.0011632 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-275_0_5_load_21 | 46 | 0.011277 | 0.0028264 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-275_0_5_load_35 | 47 | 0.0064344 | 0.0016126 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-275_0_5_load_31 | 48 | 0.0031144 | 0.00078054 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-275_0_5_load_33 | 49 | 0.0068417 | 0.0017147 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-275_0_5_load_43 | 50 | 0.008592 | 0.0021534 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-275_0_5_load_52 | 52 | 0.0096971 | 0.0024303 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-275_0_5_load_53 | 53 | 0.02201 | 0.0055162 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-275_0_5_load_54 | 54 | 0.0097657 | 0.0024475 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-275_0_5_load_58 | 55 | 0.01047 | 0.0026239 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-275_0_5_load_59 | 56 | 0.010732 | 0.0026897 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 3 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-275_0_5_line_0 |  | 0 | 1 | 0.010754 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-275_0_5_line_1 |  | 1 | 2 | 0.002972 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
2 | LV_351-275_0_5_line_2 |  | 1 | 3 | 0.014527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
3 | LV_351-275_0_5_line_3 |  | 2 | 4 | 0.016139 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
4 | LV_351-275_0_5_line_4 |  | 2 | 5 | 0.033494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-275_0_5_line_5 |  | 3 | 6 | 0.032527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
6 | LV_351-275_0_5_line_6 |  | 3 | 7 | 0.020045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-275_0_5_line_7 |  | 4 | 11 | 0.016218 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-275_0_5_line_8 |  | 5 | 32 | 0.015919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-275_0_5_line_9 |  | 6 | 18 | 0.010682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_351-275_0_5_line_10 |  | 7 | 26 | 0.025082 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-275_0_5_line_11 |  | 8 | 9 | 0.032756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-275_0_5_line_12 |  | 8 | 10 | 0.012877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-275_0_5_line_13 |  | 9 | 27 | 0.00339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-275_0_5_line_14 |  | 9 | 33 | 0.0092636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-275_0_5_line_15 |  | 10 | 34 | 0.014809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-275_0_5_line_16 |  | 11 | 21 | 0.046494 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-275_0_5_line_17 |  | 12 | 13 | 0.0087147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-275_0_5_line_18 |  | 12 | 14 | 0.031841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-275_0_5_line_19 |  | 12 | 15 | 0.019902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-275_0_5_line_20 |  | 13 | 18 | 0.010701 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-275_0_5_line_21 |  | 14 | 19 | 0.0094809 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-275_0_5_line_22 |  | 14 | 16 | 0.027584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-275_0_5_line_23 |  | 15 | 35 | 0.021301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-275_0_5_line_24 |  | 16 | 17 | 0.046233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-275_0_5_line_25 |  | 19 | 36 | 0.0094446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-275_0_5_line_26 |  | 20 | 21 | 0.030295 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-275_0_5_line_27 |  | 20 | 22 | 0.04011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-275_0_5_line_28 |  | 21 | 23 | 0.050462 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-275_0_5_line_29 |  | 23 | 24 | 0.067645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-275_0_5_line_30 |  | 25 | 26 | 0.021732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-275_0_5_line_31 |  | 25 | 27 | 0.003205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-275_0_5_line_32 |  | 25 | 28 | 0.0155 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-275_0_5_line_33 |  | 27 | 30 | 0.021097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-275_0_5_line_34 |  | 29 | 30 | 0.016038 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-275_0_5_line_35 |  | 29 | 31 | 0.034428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-275_0_5_line_36 |  | 31 | 44 | 0.014281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-275_0_5_line_37 |  | 32 | 55 | 0.014984 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-275_0_5_line_38 |  | 33 | 47 | 0.0020468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-275_0_5_line_39 |  | 34 | 45 | 0.0027966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-275_0_5_line_40 |  | 35 | 52 | 0.020492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-275_0_5_line_41 |  | 36 | 50 | 0.0094402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-275_0_5_line_42 |  | 37 | 38 | 0.0037653 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-275_0_5_line_43 |  | 38 | 51 | 0.0098957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-275_0_5_line_44 |  | 39 | 40 | 0.005628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-275_0_5_line_45 |  | 40 | 44 | 0.0043971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-275_0_5_line_46 |  | 41 | 42 | 0.023309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-275_0_5_line_47 |  | 41 | 43 | 0.010007 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-275_0_5_line_48 |  | 43 | 48 | 0.0062649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-275_0_5_line_49 |  | 45 | 46 | 0.0057703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-275_0_5_line_50 |  | 47 | 49 | 0.022135 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-275_0_5_line_51 |  | 48 | 49 | 0.018814 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-275_0_5_line_52 |  | 50 | 51 | 0.0074115 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-275_0_5_line_53 |  | 52 | 53 | 0.0024244 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-275_0_5_line_54 |  | 53 | 54 | 0.016496 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-275_0_5_line_55 |  | 55 | 56 | 0.014661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-275_0_5_trafo_3 | 0.63 MVA 20/0.4 kV | 57 | 3 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2600211.3607 | 1198127.5147 | 2600211.9775 | 1198128.5486 | 2600213.1349 | 1198129.5047 | 2600220.0187 | 1198133.6749
1 | 2600211.3607 | 1198127.5147 | 2600210.9571 | 1198126.1028 | 2600210.7515 | 1198124.6132
2 | 2600204.7582 | 1198140.4548 | 2600205.5045 | 1198138.9985 | 2600208.8324 | 1198132.484 | 2600210.7591 | 1198128.7042 | 2600211.3607 | 1198127.5147
3 | 2600199.4356 | 1198126.5139 | 2600202.6645 | 1198120.3218 | 2600206.7385 | 1198122.4897 | 2600210.7515 | 1198124.6132
4 | 2600210.7515 | 1198124.6132 | 2600211.0257 | 1198123.0679 | 2600211.772 | 1198121.4448 | 2600215.2903 | 1198115.4417 | 2600220.3621 | 1198107.6932 | 2600226.5228 | 1198100.2672 | 2600229.5868 | 1198097.2924
5 | 2600204.7582 | 1198140.4548 | 2600203.0905 | 1198141.7221 | 2600201.6969 | 1198143.3785 | 2600189.891 | 1198169.0626
6 | 2600204.7582 | 1198140.4548 | 2600206.6315 | 1198139.6544 | 2600208.5124 | 1198139.1875 | 2600210.6827 | 1198138.9986 | 2600212.6549 | 1198139.1432 | 2600214.7719 | 1198139.6546 | 2600216.7974 | 1198140.6441 | 2600223.1814 | 1198144.5449
7 | 2600199.4356 | 1198126.5139 | 2600185.4067 | 1198118.377
8 | 2600229.5868 | 1198097.2924 | 2600234.5036 | 1198092.5189 | 2600240.253 | 1198087.9944 | 2600241.6951 | 1198087.0035
9 | 2600189.891 | 1198169.0626 | 2600185.4296 | 1198178.7685
10 | 2600244.5843 | 1198157.6227 | 2600223.1814 | 1198144.5449
11 | 2600233.7786 | 1198147.526 | 2600261.8849 | 1198164.4803
12 | 2600233.7786 | 1198147.526 | 2600241.6944 | 1198137.369
13 | 2600264.7862 | 1198166.248 | 2600261.8849 | 1198164.4803
14 | 2600261.8849 | 1198164.4803 | 2600266.7789 | 1198156.615
15 | 2600241.6944 | 1198137.369 | 2600245.9859 | 1198131.8624 | 2600251.2762 | 1198126.0928
16 | 2600145.4762 | 1198094.5626 | 2600148.408 | 1198096.3525 | 2600178.7155 | 1198114.496 | 2600185.4067 | 1198118.377
17 | 2600173.0106 | 1198184.9224 | 2600177.115 | 1198186.7123 | 2600180.9605 | 1198188.4911
18 | 2600159.7755 | 1198213.8932 | 2600173.0106 | 1198184.9224
19 | 2600173.0106 | 1198184.9224 | 2600154.8726 | 1198176.7301
20 | 2600180.9605 | 1198188.4911 | 2600185.4296 | 1198178.7685
21 | 2600159.7755 | 1198213.8932 | 2600151.157 | 1198209.9425
22 | 2600159.7755 | 1198213.8932 | 2600148.3681 | 1198239.0175
23 | 2600154.8726 | 1198176.7301 | 2600145.0488 | 1198172.293 | 2600144.1883 | 1198171.7149 | 2600143.3888 | 1198170.8811 | 2600143.0537 | 1198170.114 | 2600142.8177 | 1198169.4137 | 2600142.7187 | 1198168.5021 | 2600142.8482 | 1198167.5349 | 2600143.2061 | 1198166.4565 | 2600144.757 | 1198163.0705
24 | 2600148.3681 | 1198239.0175 | 2600106.2646 | 1198219.9171
25 | 2600151.157 | 1198209.9425 | 2600142.5714 | 1198206.0069
26 | 2600124.8242 | 1198103.7229 | 2600125.9893 | 1198102.6445 | 2600131.2285 | 1198097.8087 | 2600131.5711 | 1198098.887 | 2600131.9595 | 1198100.2211 | 2600132.4011 | 1198101.9998 | 2600132.4773 | 1198103.2671 | 2600136.7874 | 1198101.9554 | 2600140.9757 | 1198098.8871 | 2600144.7985 | 1198095.452 | 2600145.4762 | 1198094.5626
27 | 2600124.8242 | 1198103.7229 | 2600125.9893 | 1198104.8346 | 2600126.7203 | 1198106.1019 | 2600127.063 | 1198107.5694 | 2600127.0172 | 1198108.8367 | 2600121.2449 | 1198124.734 | 2600113.845 | 1198140.4253
28 | 2600189.2098 | 1198070.6617 | 2600187.1385 | 1198071.4954 | 2600170.4995 | 1198077.8207 | 2600165.5649 | 1198079.7661 | 2600160.3485 | 1198081.9895 | 2600154.6677 | 1198085.8025 | 2600149.7331 | 1198089.9713 | 2600145.4762 | 1198094.5626
29 | 2600192.9636 | 1198089.9943 | 2600195.2101 | 1198085.7143 | 2600196.6342 | 1198084.2913 | 2600198.2714 | 1198083.2797 | 2600202.5587 | 1198082.0569 | 2600215.0171 | 1198074.5199 | 2600219.7157 | 1198072.2855 | 2600220.7361 | 1198071.4628 | 2600221.1473 | 1198070.2511 | 2600218.9009 | 1198069.8397 | 2600209.7095 | 1198070.4509 | 2600206.6483 | 1198069.8394 | 2600202.1554 | 1198069.2279 | 2600195.6141 | 1198069.4278 | 2600189.2098 | 1198070.6617
30 | 2600263.1108 | 1198168.9827 | 2600258.2449 | 1198165.9698 | 2600244.5843 | 1198157.6227
31 | 2600264.7862 | 1198166.248 | 2600263.1108 | 1198168.9827
32 | 2600263.1108 | 1198168.9827 | 2600258.7396 | 1198176.053 | 2600255.0418 | 1198182.2167
33 | 2600264.7862 | 1198166.248 | 2600282.8563 | 1198177.1371
34 | 2600296.593 | 1198185.4149 | 2600282.8563 | 1198177.1371
35 | 2600296.593 | 1198185.4149 | 2600315.0135 | 1198156.3288
36 | 2600315.0135 | 1198156.3288 | 2600322.654 | 1198144.2642
37 | 2600241.6951 | 1198087.0035 | 2600245.0582 | 1198084.6927 | 2600254.4217 | 1198079.1069
38 | 2600266.7789 | 1198156.615 | 2600267.8603 | 1198154.8771
39 | 2600253.1663 | 1198124.0315 | 2600251.2762 | 1198126.0928
40 | 2600144.757 | 1198163.0705 | 2600153.2903 | 1198144.4398
41 | 2600133.9899 | 1198202.0732 | 2600142.5714 | 1198206.0069
42 | 2600118.1566 | 1198196.8297 | 2600114.7373 | 1198195.2529
43 | 2600127.2525 | 1198198.9848 | 2600124.6863 | 1198199.8408 | 2600118.1566 | 1198196.8297
44 | 2600328.0178 | 1198135.7947 | 2600325.0067 | 1198140.5493
45 | 2600322.654 | 1198144.2642 | 2600325.0067 | 1198140.5493
46 | 2600298.0904 | 1198106.2932 | 2600288.5956 | 1198085.0058
47 | 2600292.8036 | 1198114.7898 | 2600298.0904 | 1198106.2932
48 | 2600292.8036 | 1198114.7898 | 2600289.4938 | 1198120.109
49 | 2600257.066 | 1198119.7785 | 2600253.1663 | 1198124.0315
50 | 2600279.5543 | 1198136.0831 | 2600267.8603 | 1198154.8771
51 | 2600279.5543 | 1198136.0831 | 2600289.4938 | 1198120.109
52 | 2600127.2525 | 1198198.9848 | 2600133.9899 | 1198202.0732
53 | 2600154.2999 | 1198142.2356 | 2600153.2903 | 1198144.4398
54 | 2600154.2999 | 1198142.2356 | 2600161.1694 | 1198127.2376
55 | 2600254.4217 | 1198079.1069 | 2600267.0129 | 1198071.5954

## bus_geodata
| x | y | coords
0 | 2600220.0187 | 1198133.6749
1 | 2600211.3607 | 1198127.5147
2 | 2600210.7515 | 1198124.6132
3 | 2600204.7582 | 1198140.4548
4 | 2600199.4356 | 1198126.5139
5 | 2600229.5868 | 1198097.2924
6 | 2600189.891 | 1198169.0626
7 | 2600223.1814 | 1198144.5449
8 | 2600233.7786 | 1198147.526
9 | 2600261.8849 | 1198164.4803
10 | 2600241.6944 | 1198137.369
11 | 2600185.4067 | 1198118.377
12 | 2600173.0106 | 1198184.9224
13 | 2600180.9605 | 1198188.4911
14 | 2600159.7755 | 1198213.8932
15 | 2600154.8726 | 1198176.7301
16 | 2600148.3681 | 1198239.0175
17 | 2600106.2646 | 1198219.9171
18 | 2600185.4296 | 1198178.7685
19 | 2600151.157 | 1198209.9425
20 | 2600124.8242 | 1198103.7229
21 | 2600145.4762 | 1198094.5626
22 | 2600113.845 | 1198140.4253
23 | 2600189.2098 | 1198070.6617
24 | 2600192.9636 | 1198089.9943
25 | 2600263.1108 | 1198168.9827
26 | 2600244.5843 | 1198157.6227
27 | 2600264.7862 | 1198166.248
28 | 2600255.0418 | 1198182.2167
29 | 2600296.593 | 1198185.4149
30 | 2600282.8563 | 1198177.1371
31 | 2600315.0135 | 1198156.3288
32 | 2600241.6951 | 1198087.0035
33 | 2600266.7789 | 1198156.6149
34 | 2600251.2762 | 1198126.0928
35 | 2600144.757 | 1198163.0705
36 | 2600142.5714 | 1198206.0069
37 | 2600114.7373 | 1198195.2529
38 | 2600118.1566 | 1198196.8297
39 | 2600328.0178 | 1198135.7947
40 | 2600325.0067 | 1198140.5493
41 | 2600298.0904 | 1198106.2932
42 | 2600288.5956 | 1198085.0058
43 | 2600292.8036 | 1198114.7898
44 | 2600322.654 | 1198144.2642
45 | 2600253.1663 | 1198124.0315
46 | 2600257.066 | 1198119.7785
47 | 2600267.8603 | 1198154.8771
48 | 2600289.4938 | 1198120.109
49 | 2600279.5543 | 1198136.0831
50 | 2600133.9899 | 1198202.0732
51 | 2600127.2525 | 1198198.9848
52 | 2600153.2903 | 1198144.4398
53 | 2600154.2999 | 1198142.2356
54 | 2600161.1694 | 1198127.2376
55 | 2600254.4217 | 1198079.1069
56 | 2600267.0129 | 1198071.5954
57 | 2600199.2602 | 1198137.6087

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1