## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-276_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-276_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-276_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-276_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-276_0_4_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_351-276_0_4_node_48 | 0.4 | n |  | TRUE
6 | bus_LV_351-276_0_4_node_16 | 0.4 | n |  | TRUE
7 | bus_LV_351-276_0_4_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_351-276_0_4_node_51 | 0.4 | n |  | TRUE
9 | bus_LV_351-276_0_4_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_351-276_0_4_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_351-276_0_4_node_20 | 0.4 | n |  | TRUE
12 | bus_LV_351-276_0_4_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_351-276_0_4_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_351-276_0_4_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_351-276_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_351-276_0_4_node_46 | 0.4 | n |  | TRUE
17 | bus_LV_351-276_0_4_node_52 | 0.4 | n |  | TRUE
18 | bus_LV_351-276_0_4_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_351-276_0_4_node_37 | 0.4 | n |  | TRUE
20 | bus_LV_351-276_0_4_node_34 | 0.4 | n |  | TRUE
21 | bus_LV_351-276_0_4_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_351-276_0_4_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_351-276_0_4_node_47 | 0.4 | n |  | TRUE
24 | bus_LV_351-276_0_4_node_41 | 0.4 | n |  | TRUE
25 | bus_LV_351-276_0_4_node_4 | 0.4 | n |  | TRUE
26 | bus_LV_351-276_0_4_node_5 | 0.4 | n |  | TRUE
27 | bus_LV_351-276_0_4_node_6 | 0.4 | n |  | TRUE
28 | bus_LV_351-276_0_4_node_7 | 0.4 | n |  | TRUE
29 | bus_LV_351-276_0_4_node_8 | 0.4 | n |  | TRUE
30 | bus_LV_351-276_0_4_node_39 | 0.4 | n |  | TRUE
31 | bus_LV_351-276_0_4_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_351-276_0_4_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_351-276_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_351-276_0_4_node_9 | 0.4 | n |  | TRUE
35 | bus_LV_351-276_0_4_node_10 | 0.4 | n |  | TRUE
36 | bus_LV_351-276_0_4_node_11 | 0.4 | n |  | TRUE
37 | bus_LV_351-276_0_4_node_12 | 0.4 | n |  | TRUE
38 | bus_LV_351-276_0_4_node_13 | 0.4 | n |  | TRUE
39 | bus_LV_351-276_0_4_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_351-276_0_4_node_50 | 0.4 | n |  | TRUE
41 | bus_LV_351-276_0_4_node_44 | 0.4 | n |  | TRUE
42 | bus_LV_351-276_0_4_node_53 | 0.4 | n |  | TRUE
43 | bus_LV_351-276_0_4_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_351-276_0_4_node_54 | 0.4 | n |  | TRUE
45 | bus_LV_351-276_0_4_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_351-276_0_4_node_31 | 0.4 | n |  | TRUE
47 | bus_LV_351-276_0_4_node_29 | 0.4 | n |  | TRUE
48 | bus_LV_351-276_0_4_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_351-276_0_4_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_351-276_0_4_node_27 | 0.4 | n |  | TRUE
51 | bus_LV_351-276_0_4_node_28 | 0.4 | n |  | TRUE
52 | bus_MV_593_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-276_0_4_load_0 | 0 | 0.013407 | 0.0033601 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-276_0_4_load_1 | 1 | 0.013498 | 0.0033829 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-276_0_4_load_2 | 2 | 0.028384 | 0.0071136 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-276_0_4_load_48 | 5 | 0.020753 | 0.0052012 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-276_0_4_load_51 | 8 | 0.01656 | 0.0041504 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-276_0_4_load_45 | 12 | 0.01243 | 0.0031152 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-276_0_4_load_43 | 13 | 0.0090976 | 0.0022801 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-276_0_4_load_42 | 14 | 0.0044269 | 0.0011095 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-276_0_4_load_46 | 16 | 0.011498 | 0.0028816 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-276_0_4_load_52 | 17 | 0.0094913 | 0.0023788 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-276_0_4_load_40 | 18 | 0.0047339 | 0.0011864 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-276_0_4_load_37 | 19 | 0.004678 | 0.0011724 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-276_0_4_load_34 | 20 | 0.0092074 | 0.0023076 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-276_0_4_load_47 | 23 | 0.026006 | 0.0065176 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-276_0_4_load_41 | 24 | 0.01215 | 0.0030452 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-276_0_4_load_4 | 25 | 0.0053837 | 0.0013493 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-276_0_4_load_5 | 26 | 0.0095501 | 0.0023935 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-276_0_4_load_6 | 27 | 0.0095017 | 0.0023814 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-276_0_4_load_8 | 29 | 0.0094935 | 0.0023793 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-276_0_4_load_33 | 31 | 0.0095678 | 0.0023979 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-276_0_4_load_30 | 32 | 0.014576 | 0.003653 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-276_0_4_load_9 | 34 | 0.0090916 | 0.0022786 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-276_0_4_load_10 | 35 | 0.0069568 | 0.0017435 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-276_0_4_load_11 | 36 | 0.0090713 | 0.0022735 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-276_0_4_load_12 | 37 | 0.0091464 | 0.0022923 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-276_0_4_load_13 | 38 | 0.0090637 | 0.0022716 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-276_0_4_load_49 | 39 | 0.010572 | 0.0026495 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-276_0_4_load_50 | 40 | 0.015618 | 0.0039143 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-276_0_4_load_44 | 41 | 0.011251 | 0.0028197 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-276_0_4_load_53 | 42 | 0.0091535 | 0.0022941 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-276_0_4_load_55 | 43 | 0.0095391 | 0.0023907 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-276_0_4_load_54 | 44 | 0.0091767 | 0.0022999 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-276_0_4_load_35 | 45 | 0.0098057 | 0.0024575 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-276_0_4_load_31 | 46 | 0.0030952 | 0.00077572 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-276_0_4_load_38 | 48 | 0.0087165 | 0.0021846 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-276_0_4_load_36 | 49 | 0.0083057 | 0.0020816 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-276_0_4_load_27 | 50 | 0.01459 | 0.0036566 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-276_0_4_load_28 | 51 | 0.011505 | 0.0028835 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-276_0_4_line_0 |  | 0 | 1 | 0.016598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-276_0_4_line_1 |  | 0 | 2 | 0.021325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-276_0_4_line_2 |  | 2 | 3 | 0.017132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-276_0_4_line_3 |  | 3 | 4 | 0.10207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-276_0_4_line_4 |  | 4 | 5 | 0.01398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-276_0_4_line_5 |  | 5 | 39 | 0.016661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-276_0_4_line_6 |  | 6 | 7 | 0.044178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_351-276_0_4_line_7 |  | 6 | 8 | 0.0033284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-276_0_4_line_8 |  | 7 | 19 | 0.027804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_351-276_0_4_line_9 |  | 7 | 20 | 0.013404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-276_0_4_line_10 |  | 8 | 40 | 0.040584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-276_0_4_line_11 |  | 9 | 10 | 0.058387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-276_0_4_line_12 |  | 9 | 11 | 0.012662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-276_0_4_line_13 |  | 9 | 12 | 0.022788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-276_0_4_line_14 |  | 10 | 13 | 0.010787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-276_0_4_line_15 |  | 10 | 14 | 0.013667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_351-276_0_4_line_16 |  | 11 | 18 | 0.096359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-276_0_4_line_17 |  | 12 | 41 | 0.017224 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-276_0_4_line_18 |  | 13 | 38 | 0.01319 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-276_0_4_line_19 |  | 14 | 33 | 0.026767 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_351-276_0_4_line_20 |  | 15 | 16 | 0.039837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-276_0_4_line_21 |  | 15 | 17 | 0.018896 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-276_0_4_line_22 |  | 16 | 41 | 0.016062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-276_0_4_line_23 |  | 17 | 42 | 0.015249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-276_0_4_line_24 |  | 18 | 24 | 0.018728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-276_0_4_line_25 |  | 19 | 30 | 0.013321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
26 | LV_351-276_0_4_line_26 |  | 20 | 45 | 0.013229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-276_0_4_line_27 |  | 21 | 22 | 0.059481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-276_0_4_line_28 |  | 21 | 23 | 0.089522 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-276_0_4_line_29 |  | 22 | 24 | 0.05404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-276_0_4_line_30 |  | 25 | 26 | 0.011952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
31 | LV_351-276_0_4_line_31 |  | 25 | 27 | 0.0097644 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
32 | LV_351-276_0_4_line_32 |  | 26 | 28 | 0.014803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_351-276_0_4_line_33 |  | 27 | 29 | 0.012795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_351-276_0_4_line_34 |  | 28 | 30 | 0.037577 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
35 | LV_351-276_0_4_line_35 |  | 29 | 31 | 0.016587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_351-276_0_4_line_36 |  | 30 | 32 | 0.018178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-276_0_4_line_37 |  | 31 | 33 | 0.010915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
38 | LV_351-276_0_4_line_38 |  | 32 | 51 | 0.016671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-276_0_4_line_39 |  | 34 | 35 | 0.0096327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-276_0_4_line_40 |  | 34 | 36 | 0.013578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-276_0_4_line_41 |  | 35 | 37 | 0.011682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-276_0_4_line_42 |  | 36 | 38 | 0.013149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-276_0_4_line_43 |  | 39 | 40 | 0.01849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-276_0_4_line_44 |  | 42 | 44 | 0.014588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-276_0_4_line_45 |  | 43 | 44 | 0.014744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-276_0_4_line_46 |  | 45 | 49 | 0.013264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-276_0_4_line_47 |  | 46 | 47 | 0.01142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-276_0_4_line_48 |  | 47 | 50 | 0.0152 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-276_0_4_line_49 |  | 48 | 49 | 0.013329 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-276_0_4_line_50 |  | 50 | 51 | 0.019478 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-276_0_4_trafo_8 | 0.63 MVA 20/0.4 kV | 52 | 29 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26
0 | 2600083.9515 | 1198379.4086 | 2600077.0129 | 1198394.4864
1 | 2600083.9515 | 1198379.4086 | 2600092.8664 | 1198360.0367
2 | 2600100.0286 | 1198344.4734 | 2600092.8664 | 1198360.0367
3 | 2600045.8044 | 1198375.7568 | 2600047.0227 | 1198375.7457 | 2600051.1575 | 1198375.7234 | 2600051.4239 | 1198366.0071 | 2600051.6067 | 1198363.6836 | 2600052.3377 | 1198356.124 | 2600052.7489 | 1198353.0224 | 2600057.8354 | 1198325.7523 | 2600060.6072 | 1198326.4526 | 2600068.3894 | 1198330.0101 | 2600082.2025 | 1198336.3246 | 2600083.8016 | 1198337.0583 | 2600100.0286 | 1198344.4734
4 | 2600045.8044 | 1198375.7568 | 2600045.6776 | 1198389.736
5 | 2600045.6776 | 1198389.736 | 2600045.5264 | 1198406.3965
6 | 2600039.4162 | 1198468.095 | 2600040.7792 | 1198468.6175 | 2600045.8276 | 1198470.5185 | 2600050.1222 | 1198472.1972 | 2600051.4472 | 1198472.7085 | 2600063.0365 | 1198449.7963 | 2600065.3818 | 1198444.6935
7 | 2600039.4162 | 1198468.095 | 2600040.5167 | 1198464.9538
8 | 2600065.3818 | 1198444.6935 | 2600077.0629 | 1198419.4621
9 | 2600065.3818 | 1198444.6935 | 2600068.7017 | 1198445.8497 | 2600075.5472 | 1198446.9948 | 2600078.2248 | 1198448.2285
10 | 2600045.3587 | 1198424.8854 | 2600045.2259 | 1198439.5242 | 2600044.6777 | 1198445.7275 | 2600043.7488 | 1198452.2865 | 2600042.599 | 1198458.1452 | 2600041.1066 | 1198463.2702 | 2600040.5167 | 1198464.9538
11 | 2600191.6025 | 1198374.1348 | 2600205.0885 | 1198352.1345 | 2600205.614 | 1198350.4447 | 2600205.6826 | 1198349.1106 | 2600205.5151 | 1198347.7766 | 2600206.307 | 1198347.621 | 2600209.1397 | 1198347.043 | 2600211.9495 | 1198346.5539 | 2600217.257 | 1198346.7763 | 2600231.0089 | 1198355.4702
12 | 2600241.6388 | 1198362.3964 | 2600231.0089 | 1198355.4702
13 | 2600231.0089 | 1198355.4702 | 2600229.7524 | 1198357.4157 | 2600229.2727 | 1198358.5829 | 2600228.869 | 1198359.8725 | 2600228.6406 | 1198361.0509 | 2600228.6025 | 1198362.2071 | 2600228.6786 | 1198363.241 | 2600229.143 | 1198367.3988 | 2600229.1734 | 1198368.0102 | 2600229.1429 | 1198368.6327 | 2600228.8536 | 1198369.3776 | 2600224.9623 | 1198376.648
14 | 2600191.6025 | 1198374.1348 | 2600182.2943 | 1198368.6843
15 | 2600191.6025 | 1198374.1348 | 2600183.2783 | 1198384.9741
16 | 2600241.6388 | 1198362.3964 | 2600233.7192 | 1198373.2242 | 2600231.8536 | 1198376.3814 | 2600229.9117 | 1198380.4613 | 2600222.9287 | 1198396.6253 | 2600219.4407 | 1198413.4564 | 2600214.3614 | 1198430.899 | 2600208.0103 | 1198450.387 | 2600207.6575 | 1198451.6358
17 | 2600217.0613 | 1198391.3946 | 2600222.2666 | 1198381.2838 | 2600223.4621 | 1198380.6612 | 2600225.0993 | 1198378.1377 | 2600224.9623 | 1198376.648
18 | 2600170.9121 | 1198362.0194 | 2600182.2943 | 1198368.6843
19 | 2600166.5649 | 1198405.8735 | 2600167.2883 | 1198404.8953 | 2600174.2254 | 1198396.6688 | 2600180.2563 | 1198388.9092 | 2600183.2783 | 1198384.9741
20 | 2600179.3729 | 1198396.6577 | 2600181.4593 | 1198398.3587 | 2600184.33 | 1198400.6822 | 2600185.3807 | 1198402.0385 | 2600186.1727 | 1198402.8723 | 2600187.7184 | 1198404.0285 | 2600190.7033 | 1198405.5849 | 2600193.1019 | 1198407.0635 | 2600195.9726 | 1198409.1758 | 2600196.4599 | 1198410.1319 | 2600196.9396 | 1198410.8323 | 2600197.5335 | 1198411.3993 | 2600198.2645 | 1198411.9663 | 2600199.2468 | 1198412.4999 | 2600200.2824 | 1198412.7667 | 2600201.3027 | 1198412.889 | 2600202.087 | 1198412.8668 | 2600202.9399 | 1198412.6779 | 2600203.7775 | 1198412.3555 | 2600204.5694 | 1198411.8775 | 2600205.2624 | 1198411.355 | 2600205.9172 | 1198410.7213 | 2600206.6559 | 1198409.8209 | 2600207.1432 | 1198408.7981 | 2600207.6077 | 1198407.4974 | 2600207.7753 | 1198406.2523 | 2600208.6283 | 1198404.6334
21 | 2600179.3729 | 1198396.6577 | 2600169.5422 | 1198408.8418 | 2600167.6806 | 1198411.4946
22 | 2600217.0613 | 1198391.3946 | 2600215.8623 | 1198393.7236 | 2600214.5298 | 1198394.524 | 2600213.616 | 1198395.2243 | 2600212.7174 | 1198396.1804 | 2600212.0702 | 1198397.2143 | 2600211.6361 | 1198398.3593 | 2600211.2782 | 1198399.6044 | 2600208.6283 | 1198404.6334
23 | 2600167.6806 | 1198411.4946 | 2600160.9527 | 1198421.0816 | 2600158.9834 | 1198424.0198
24 | 2600207.6575 | 1198451.6358 | 2600202.565 | 1198469.6581
25 | 2600082.6593 | 1198407.3736 | 2600077.0629 | 1198419.4621
26 | 2600078.2248 | 1198448.2285 | 2600081.5551 | 1198449.7629 | 2600087.7914 | 1198452.3643 | 2600090.2507 | 1198453.7138
27 | 2600192.5056 | 1198522.6475 | 2600193.7696 | 1198522.7476 | 2600198.1556 | 1198523.0923 | 2600199.9301 | 1198506.6836 | 2600202.428 | 1198490.8974 | 2600207.8647 | 1198491.0865 | 2600223.5127 | 1198488.341
28 | 2600223.5127 | 1198488.341 | 2600230.9217 | 1198484.3613 | 2600237.6073 | 1198482.8273 | 2600240.6988 | 1198482.1159 | 2600242.5035 | 1198480.9153 | 2600244.4529 | 1198479.27 | 2600245.6179 | 1198477.3468 | 2600246.3871 | 1198474.8122 | 2600246.5318 | 1198472.2441 | 2600246.6775 | 1198438.0481 | 2600247.2335 | 1198434.8353 | 2600249.2286 | 1198432.2451 | 2600252.541 | 1198429.7883 | 2600257.422 | 1198428.5656 | 2600259.3333 | 1198428.4545 | 2600266.4277 | 1198428.5752
29 | 2600192.5056 | 1198522.6475 | 2600193.45 | 1198514.1874 | 2600194.7751 | 1198502.6368 | 2600197.311 | 1198490.208 | 2600199.9688 | 1198478.8465 | 2600202.565 | 1198469.6581
30 | 2600123.1905 | 1198381.2426 | 2600120.3976 | 1198380.1704 | 2600116.9025 | 1198378.047 | 2600112.8134 | 1198375.4011
31 | 2600123.1905 | 1198381.2426 | 2600130.5327 | 1198384.0614 | 2600132.1772 | 1198385.0124
32 | 2600098.2161 | 1198373.1554 | 2600105.846 | 1198373.8224 | 2600112.8134 | 1198375.4011
33 | 2600143.1236 | 1198391.6011 | 2600142.1831 | 1198390.7985 | 2600132.1772 | 1198385.0124
34 | 2600082.6593 | 1198407.3736 | 2600098.2161 | 1198373.1554
35 | 2600143.1236 | 1198391.6011 | 2600146.1046 | 1198394.1448 | 2600157.0955 | 1198400.4453
36 | 2600082.6593 | 1198407.3736 | 2600092.3223 | 1198411.8427 | 2600099.4641 | 1198414.2356
37 | 2600166.5649 | 1198405.8735 | 2600157.0955 | 1198400.4453
38 | 2600099.4641 | 1198414.2356 | 2600101.5131 | 1198414.9221 | 2600108.5642 | 1198418.4574 | 2600114.1914 | 1198421.9482 | 2600114.1914 | 1198421.9482
39 | 2600147.9064 | 1198348.4201 | 2600140.5312 | 1198343.6955 | 2600139.7194 | 1198343.3719
40 | 2600147.9064 | 1198348.4201 | 2600150.2323 | 1198349.9101 | 2600159.5655 | 1198355.3753
41 | 2600139.7194 | 1198343.3719 | 2600128.868 | 1198339.0452
42 | 2600159.5655 | 1198355.3753 | 2600170.9121 | 1198362.0194
43 | 2600045.3587 | 1198424.8854 | 2600045.5264 | 1198406.3965
44 | 2600158.9834 | 1198424.0198 | 2600150.8614 | 1198436.1375
45 | 2600142.6523 | 1198448.3851 | 2600150.8614 | 1198436.1375
46 | 2600101.6646 | 1198460.4605 | 2600095.4898 | 1198456.5888 | 2600090.2507 | 1198453.7138
47 | 2600142.9135 | 1198441.3811 | 2600136.666 | 1198450.9408
48 | 2600142.9135 | 1198441.3811 | 2600130.3239 | 1198432.8632
49 | 2600112.9576 | 1198467.5414 | 2600101.6646 | 1198460.4605
50 | 2600114.1914 | 1198421.9482 | 2600130.3239 | 1198432.8632

## bus_geodata
| x | y | coords
0 | 2600083.9515 | 1198379.4086
1 | 2600077.0129 | 1198394.4864
2 | 2600092.8664 | 1198360.0367
3 | 2600100.0286 | 1198344.4734
4 | 2600045.8044 | 1198375.7568
5 | 2600045.6776 | 1198389.736
6 | 2600039.4162 | 1198468.095
7 | 2600065.3818 | 1198444.6935
8 | 2600040.5167 | 1198464.9538
9 | 2600231.0089 | 1198355.4702
10 | 2600191.6025 | 1198374.1348
11 | 2600241.6388 | 1198362.3964
12 | 2600224.9623 | 1198376.648
13 | 2600182.2943 | 1198368.6843
14 | 2600183.2783 | 1198384.9741
15 | 2600179.3729 | 1198396.6577
16 | 2600208.6283 | 1198404.6334
17 | 2600167.6806 | 1198411.4946
18 | 2600207.6575 | 1198451.6358
19 | 2600077.0629 | 1198419.4621
20 | 2600078.2248 | 1198448.2285
21 | 2600223.5127 | 1198488.341
22 | 2600192.5056 | 1198522.6475
23 | 2600266.4277 | 1198428.5752
24 | 2600202.565 | 1198469.6581
25 | 2600123.1905 | 1198381.2426
26 | 2600112.8134 | 1198375.4011
27 | 2600132.1772 | 1198385.0124
28 | 2600098.2161 | 1198373.1554
29 | 2600143.1236 | 1198391.6011
30 | 2600082.6593 | 1198407.3736
31 | 2600157.0955 | 1198400.4453
32 | 2600099.4641 | 1198414.2356
33 | 2600166.5649 | 1198405.8735
34 | 2600147.9064 | 1198348.4201
35 | 2600139.7194 | 1198343.3719
36 | 2600159.5655 | 1198355.3753
37 | 2600128.868 | 1198339.0452
38 | 2600170.9121 | 1198362.0194
39 | 2600045.5264 | 1198406.3965
40 | 2600045.3587 | 1198424.8854
41 | 2600217.0613 | 1198391.3946
42 | 2600158.9834 | 1198424.0198
43 | 2600142.6523 | 1198448.3851
44 | 2600150.8614 | 1198436.1375
45 | 2600090.2507 | 1198453.7138
46 | 2600136.666 | 1198450.9408
47 | 2600142.9135 | 1198441.3811
48 | 2600112.9576 | 1198467.5414
49 | 2600101.6646 | 1198460.4605
50 | 2600130.3239 | 1198432.8632
51 | 2600114.1914 | 1198421.9482
52 | 2600166.5649 | 1198405.8735

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1