## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-277_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-277_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-277_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-277_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-277_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-277_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-277_0_6_node_60 | 0.4 | n |  | TRUE
7 | bus_LV_351-277_0_6_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_351-277_0_6_node_72 | 0.4 | n |  | TRUE
9 | bus_LV_351-277_0_6_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_351-277_0_6_node_74 | 0.4 | n |  | TRUE
11 | bus_LV_351-277_0_6_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_351-277_0_6_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_351-277_0_6_node_73 | 0.4 | n |  | TRUE
14 | bus_LV_351-277_0_6_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_351-277_0_6_node_68 | 0.4 | n |  | TRUE
16 | bus_LV_351-277_0_6_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_351-277_0_6_node_75 | 0.4 | n |  | TRUE
18 | bus_LV_351-277_0_6_node_76 | 0.4 | n |  | TRUE
19 | bus_LV_351-277_0_6_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_351-277_0_6_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_351-277_0_6_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_351-277_0_6_node_8 | 0.4 | n |  | TRUE
23 | bus_LV_351-277_0_6_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_351-277_0_6_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_351-277_0_6_node_12 | 0.4 | n |  | TRUE
26 | bus_LV_351-277_0_6_node_40 | 0.4 | n |  | TRUE
27 | bus_LV_351-277_0_6_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_351-277_0_6_node_49 | 0.4 | n |  | TRUE
29 | bus_LV_351-277_0_6_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_351-277_0_6_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_351-277_0_6_node_46 | 0.4 | n |  | TRUE
32 | bus_LV_351-277_0_6_node_43 | 0.4 | n |  | TRUE
33 | bus_LV_351-277_0_6_node_42 | 0.4 | n |  | TRUE
34 | bus_LV_351-277_0_6_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_351-277_0_6_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_351-277_0_6_node_53 | 0.4 | n |  | TRUE
37 | bus_LV_351-277_0_6_node_39 | 0.4 | n |  | TRUE
38 | bus_LV_351-277_0_6_node_51 | 0.4 | n |  | TRUE
39 | bus_LV_351-277_0_6_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_351-277_0_6_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_351-277_0_6_node_57 | 0.4 | n |  | TRUE
42 | bus_LV_351-277_0_6_node_19 | 0.4 | n |  | TRUE
43 | bus_LV_351-277_0_6_node_61 | 0.4 | n |  | TRUE
44 | bus_LV_351-277_0_6_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_351-277_0_6_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_351-277_0_6_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_351-277_0_6_node_20 | 0.4 | n |  | TRUE
48 | bus_LV_351-277_0_6_node_28 | 0.4 | n |  | TRUE
49 | bus_LV_351-277_0_6_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_351-277_0_6_node_26 | 0.4 | n |  | TRUE
51 | bus_LV_351-277_0_6_node_56 | 0.4 | n |  | TRUE
52 | bus_LV_351-277_0_6_node_77 | 0.4 | n |  | TRUE
53 | bus_LV_351-277_0_6_node_58 | 0.4 | n |  | TRUE
54 | bus_LV_351-277_0_6_node_38 | 0.4 | n |  | TRUE
55 | bus_LV_351-277_0_6_node_55 | 0.4 | n |  | TRUE
56 | bus_LV_351-277_0_6_node_33 | 0.4 | n |  | TRUE
57 | bus_LV_351-277_0_6_node_59 | 0.4 | n |  | TRUE
58 | bus_LV_351-277_0_6_node_30 | 0.4 | n |  | TRUE
59 | bus_LV_351-277_0_6_node_47 | 0.4 | n |  | TRUE
60 | bus_LV_351-277_0_6_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_351-277_0_6_node_70 | 0.4 | n |  | TRUE
62 | bus_LV_351-277_0_6_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_351-277_0_6_node_50 | 0.4 | n |  | TRUE
64 | bus_LV_351-277_0_6_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_351-277_0_6_node_45 | 0.4 | n |  | TRUE
66 | bus_LV_351-277_0_6_node_41 | 0.4 | n |  | TRUE
67 | bus_LV_351-277_0_6_node_37 | 0.4 | n |  | TRUE
68 | bus_LV_351-277_0_6_node_29 | 0.4 | n |  | TRUE
69 | bus_LV_351-277_0_6_node_67 | 0.4 | n |  | TRUE
70 | bus_LV_351-277_0_6_node_64 | 0.4 | n |  | TRUE
71 | bus_LV_351-277_0_6_node_78 | 0.4 | n |  | TRUE
72 | bus_LV_351-277_0_6_node_79 | 0.4 | n |  | TRUE
73 | bus_LV_351-277_0_6_node_65 | 0.4 | n |  | TRUE
74 | bus_LV_351-277_0_6_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_351-277_0_6_node_80 | 0.4 | n |  | TRUE
76 | bus_LV_351-277_0_6_node_62 | 0.4 | n |  | TRUE
77 | bus_MV_593_0_node_176 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-277_0_6_load_0 | 0 | 0.0066126 | 0.0016573 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-277_0_6_load_1 | 1 | 0.0103 | 0.0025815 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-277_0_6_load_3 | 3 | 0.011799 | 0.002957 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-277_0_6_load_60 | 6 | 0.013966 | 0.0035002 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-277_0_6_load_72 | 8 | 0.0078147 | 0.0019585 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-277_0_6_load_74 | 10 | 0.0049187 | 0.0012328 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-277_0_6_load_73 | 13 | 0.011915 | 0.0029861 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-277_0_6_load_68 | 15 | 0.010881 | 0.0027271 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-277_0_6_load_75 | 17 | 0.011781 | 0.0029527 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-277_0_6_load_9 | 20 | 0.026462 | 0.0066321 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-277_0_6_load_6 | 21 | 0.015346 | 0.003846 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-277_0_6_load_25 | 23 | 0.0074379 | 0.0018641 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-277_0_6_load_49 | 28 | 0.0084389 | 0.002115 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-277_0_6_load_31 | 29 | 0.022399 | 0.0056138 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-277_0_6_load_46 | 31 | 0.013107 | 0.0032849 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-277_0_6_load_43 | 32 | 0.013223 | 0.003314 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-277_0_6_load_42 | 33 | 0.0033292 | 0.00083438 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-277_0_6_load_44 | 34 | 0.014831 | 0.003717 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-277_0_6_load_53 | 36 | 0.008122 | 0.0020356 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-277_0_6_load_51 | 38 | 0.00849 | 0.0021278 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-277_0_6_load_27 | 40 | 0.0098561 | 0.0024702 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-277_0_6_load_57 | 41 | 0.010963 | 0.0027476 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-277_0_6_load_61 | 43 | 0.0084371 | 0.0021145 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-277_0_6_load_32 | 45 | 0.0057634 | 0.0014444 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-277_0_6_load_71 | 46 | 0.0052264 | 0.0013098 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-277_0_6_load_28 | 48 | 0.01903 | 0.0047693 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-277_0_6_load_54 | 49 | 0.0058826 | 0.0014743 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-277_0_6_load_26 | 50 | 0.010529 | 0.0026387 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-277_0_6_load_56 | 51 | 0.013481 | 0.0033787 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-277_0_6_load_77 | 52 | 0.012741 | 0.0031931 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-277_0_6_load_58 | 53 | 0.0094402 | 0.0023659 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-277_0_6_load_38 | 54 | 0.0070753 | 0.0017732 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-277_0_6_load_33 | 56 | 0.003345 | 0.00083833 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-277_0_6_load_59 | 57 | 0.0081672 | 0.0020469 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-277_0_6_load_30 | 58 | 0.030971 | 0.007762 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-277_0_6_load_47 | 59 | 0.010543 | 0.0026423 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-277_0_6_load_69 | 60 | 0.008064 | 0.002021 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-277_0_6_load_70 | 61 | 0.0046212 | 0.0011582 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-277_0_6_load_52 | 62 | 0.0067026 | 0.0016798 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-277_0_6_load_50 | 63 | 0.0068392 | 0.0017141 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-277_0_6_load_45 | 65 | 0.0095332 | 0.0023892 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-277_0_6_load_41 | 66 | 0.0094787 | 0.0023756 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-277_0_6_load_37 | 67 | 0.0098689 | 0.0024734 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-277_0_6_load_29 | 68 | 0.025891 | 0.0064888 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-277_0_6_load_67 | 69 | 0.0089236 | 0.0022365 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-277_0_6_load_64 | 70 | 0.010174 | 0.0025498 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-277_0_6_load_79 | 72 | 0.01253 | 0.0031402 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-277_0_6_load_65 | 73 | 0.011139 | 0.0027917 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-277_0_6_load_48 | 74 | 0.0094479 | 0.0023679 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-277_0_6_load_80 | 75 | 0.013946 | 0.0034952 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-277_0_6_load_62 | 76 | 0.01378 | 0.0034536 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 25 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-277_0_6_line_0 |  | 0 | 1 | 0.01289 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-277_0_6_line_1 |  | 0 | 2 | 0.0091926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-277_0_6_line_2 |  | 1 | 3 | 0.0071623 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-277_0_6_line_3 |  | 2 | 4 | 0.031757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-277_0_6_line_4 |  | 2 | 5 | 0.031543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-277_0_6_line_5 |  | 4 | 6 | 0.011759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-277_0_6_line_6 |  | 5 | 7 | 0.012667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-277_0_6_line_7 |  | 5 | 8 | 0.010645 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-277_0_6_line_8 |  | 6 | 43 | 0.01184 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-277_0_6_line_9 |  | 7 | 44 | 0.016996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-277_0_6_line_10 |  | 7 | 45 | 0.013575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_351-277_0_6_line_11 |  | 8 | 46 | 0.01194 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-277_0_6_line_12 |  | 9 | 10 | 0.01863 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-277_0_6_line_13 |  | 9 | 11 | 0.027258 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-277_0_6_line_14 |  | 11 | 30 | 0.023346 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-277_0_6_line_15 |  | 11 | 31 | 0.024104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-277_0_6_line_16 |  | 11 | 16 | 0.030054 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-277_0_6_line_17 |  | 12 | 13 | 0.004652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-277_0_6_line_18 |  | 12 | 14 | 0.002189 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-277_0_6_line_19 |  | 14 | 15 | 0.01596 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-277_0_6_line_20 |  | 15 | 64 | 0.010578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-277_0_6_line_21 |  | 16 | 17 | 0.006138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-277_0_6_line_22 |  | 16 | 18 | 0.015385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-277_0_6_line_23 |  | 18 | 52 | 0.006499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-277_0_6_line_24 |  | 19 | 20 | 0.013268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-277_0_6_line_25 |  | 19 | 21 | 0.051687 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-277_0_6_line_26 |  | 21 | 22 | 0.028157 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-277_0_6_line_27 |  | 22 | 23 | 0.03811 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-277_0_6_line_28 |  | 22 | 24 | 0.011732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-277_0_6_line_29 |  | 23 | 50 | 0.015443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-277_0_6_line_30 |  | 24 | 34 | 0.0093761 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-277_0_6_line_31 |  | 25 | 26 | 0.007166 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-277_0_6_line_32 |  | 25 | 27 | 0.005503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
33 | LV_351-277_0_6_line_33 |  | 25 | 28 | 0.015971 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
34 | LV_351-277_0_6_line_34 |  | 25 | 29 | 0.02229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-277_0_6_line_35 |  | 26 | 53 | 0.017399 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-277_0_6_line_36 |  | 26 | 54 | 0.015266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-277_0_6_line_37 |  | 27 | 55 | 0.018641 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-277_0_6_line_38 |  | 27 | 56 | 0.034894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
39 | LV_351-277_0_6_line_39 |  | 28 | 57 | 0.011677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
40 | LV_351-277_0_6_line_40 |  | 29 | 58 | 0.040562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-277_0_6_line_41 |  | 30 | 32 | 0.021662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-277_0_6_line_42 |  | 30 | 33 | 0.038126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-277_0_6_line_43 |  | 31 | 59 | 0.018724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-277_0_6_line_44 |  | 32 | 51 | 0.021599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-277_0_6_line_45 |  | 34 | 65 | 0.020117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-277_0_6_line_46 |  | 35 | 36 | 0.022493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
47 | LV_351-277_0_6_line_47 |  | 35 | 37 | 0.005197 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
48 | LV_351-277_0_6_line_48 |  | 35 | 38 | 0.013816 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-277_0_6_line_49 |  | 36 | 57 | 0.011461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
50 | LV_351-277_0_6_line_50 |  | 37 | 66 | 0.021416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-277_0_6_line_51 |  | 37 | 67 | 0.014294 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-277_0_6_line_52 |  | 38 | 63 | 0.015925 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-277_0_6_line_53 |  | 39 | 40 | 0.027931 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-277_0_6_line_54 |  | 39 | 41 | 0.010619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-277_0_6_line_55 |  | 39 | 42 | 0.04493 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-277_0_6_line_56 |  | 40 | 50 | 0.018788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-277_0_6_line_57 |  | 42 | 47 | 0.036086 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-277_0_6_line_58 |  | 42 | 48 | 0.016965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-277_0_6_line_59 |  | 43 | 76 | 0.011588 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-277_0_6_line_60 |  | 44 | 69 | 0.004156 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-277_0_6_line_61 |  | 44 | 70 | 0.0022327 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-277_0_6_line_62 |  | 45 | 56 | 0.01012 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
63 | LV_351-277_0_6_line_63 |  | 46 | 61 | 0.010203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-277_0_6_line_64 |  | 47 | 49 | 0.015625 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-277_0_6_line_65 |  | 53 | 74 | 0.017389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-277_0_6_line_66 |  | 55 | 71 | 0.014849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-277_0_6_line_67 |  | 55 | 72 | 0.006305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-277_0_6_line_68 |  | 58 | 68 | 0.03782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-277_0_6_line_69 |  | 59 | 74 | 0.017393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-277_0_6_line_70 |  | 60 | 61 | 0.01293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-277_0_6_line_71 |  | 62 | 63 | 0.028879 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-277_0_6_line_72 |  | 64 | 73 | 0.0066805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-277_0_6_line_73 |  | 65 | 66 | 0.01743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-277_0_6_line_74 |  | 70 | 73 | 0.015877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-277_0_6_line_75 |  | 71 | 75 | 0.006543 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-277_0_6_trafo_12 | 0.63 MVA 20/0.4 kV | 77 | 25 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2600073.8303 | 1198297.9759 | 2600085.5217 | 1198303.4037
1 | 2600065.1988 | 1198294.8691 | 2600067.6965 | 1198295.6139 | 2600070.9937 | 1198296.6589 | 2600073.8303 | 1198297.9759
2 | 2600092.018 | 1198306.4197 | 2600085.5217 | 1198303.4037
3 | 2600065.1988 | 1198294.8691 | 2600060.828 | 1198311.767 | 2600057.8354 | 1198325.7523
4 | 2600073.2553 | 1198264.375 | 2600070.2626 | 1198276.2592 | 2600065.1988 | 1198294.8691
5 | 2600057.8354 | 1198325.7523 | 2600060.6072 | 1198326.4526 | 2600068.3894 | 1198330.0101 | 2600068.7013 | 1198330.1526
6 | 2600076.5144 | 1198252.1352 | 2600073.2553 | 1198264.375
7 | 2600073.2553 | 1198264.375 | 2600083.2154 | 1198268.1326
8 | 2600068.7013 | 1198330.1526 | 2600079.4691 | 1198335.075
9 | 2600076.5144 | 1198252.1352 | 2600080.9843 | 1198235.7375
10 | 2600076.5144 | 1198252.1352 | 2600073.6208 | 1198252.1574 | 2600064.4144 | 1198252.2019 | 2600062.94 | 1198252.2043
11 | 2600083.2154 | 1198268.1326 | 2600093.4882 | 1198274.2174
12 | 2599984.5262 | 1198175.1947 | 2599986.026 | 1198156.6293
13 | 2599986.026 | 1198156.6293 | 2599989.5593 | 1198155.0395 | 2600003.0225 | 1198149.9699 | 2600004.6521 | 1198149.7587 | 2600006.297 | 1198149.792 | 2600008.1093 | 1198150.3812 | 2600009.8303 | 1198151.6596 | 2600010.8812 | 1198153.027
14 | 2600010.8812 | 1198153.027 | 2600011.9625 | 1198152.6268 | 2600014.6963 | 1198151.7263 | 2600017.2244 | 1198150.9036 | 2600018.2144 | 1198150.5923 | 2600018.557 | 1198148.9581 | 2600019.3033 | 1198147.5129 | 2600020.6283 | 1198145.623 | 2600022.1284 | 1198144.1778 | 2600023.9331 | 1198142.8882 | 2600026.2785 | 1198142.0433 | 2600029.3702 | 1198141.1428
15 | 2600010.8812 | 1198153.027 | 2600011.3609 | 1198153.7941 | 2600011.8178 | 1198154.8613 | 2600015.1152 | 1198164.2441 | 2600015.5797 | 1198166.234 | 2600015.7397 | 1198167.9016 | 2600015.6712 | 1198169.836 | 2600015.5113 | 1198171.359 | 2600015.0838 | 1198176.2476
16 | 2600010.8812 | 1198153.027 | 2600011.9625 | 1198152.6268 | 2600014.6963 | 1198151.7263 | 2600017.2244 | 1198150.9036 | 2600018.2144 | 1198150.5923 | 2600018.2525 | 1198152.6045 | 2600018.5114 | 1198154.0497 | 2600021.7707 | 1198163.8327 | 2600022.1514 | 1198165.5781 | 2600022.3266 | 1198167.2012 | 2600022.3799 | 1198168.7575 | 2600022.0906 | 1198172.3039
17 | 2600093.8384 | 1198183.0761 | 2600098.0342 | 1198185.1106
18 | 2600097.1204 | 1198187.1005 | 2600098.0342 | 1198185.1106
19 | 2600097.1204 | 1198187.1005 | 2600091.5462 | 1198199.8851 | 2600090.8837 | 1198201.7861
20 | 2600087.8301 | 1198211.9137 | 2600090.8837 | 1198201.7861
21 | 2600022.0906 | 1198172.3039 | 2600028.2282 | 1198172.7707
22 | 2600022.0906 | 1198172.3039 | 2600020.8342 | 1198187.6343
23 | 2600020.8342 | 1198187.6343 | 2600027.3298 | 1198188.1679
24 | 2599882.541 | 1198222.6669 | 2599880.7973 | 1198225.8131 | 2599877.6069 | 1198232.5946 | 2599876.8639 | 1198234.6405
25 | 2599882.541 | 1198222.6669 | 2599885.6096 | 1198217.2306 | 2599888.9448 | 1198212.9059 | 2599891.8536 | 1198209.4929 | 2599894.7395 | 1198206.569 | 2599897.7169 | 1198204.2455 | 2599904.3417 | 1198199.3538 | 2599921.5215 | 1198190.3888
26 | 2599946.6268 | 1198183.1997 | 2599946.2613 | 1198182.7217 | 2599945.7207 | 1198182.2436 | 2599944.9972 | 1198181.7545 | 2599944.1139 | 1198181.2987 | 2599942.3091 | 1198180.7985 | 2599940.8318 | 1198180.8097 | 2599939.3241 | 1198181.0987 | 2599921.5215 | 1198190.3888
27 | 2599946.6268 | 1198183.1997 | 2599947.4645 | 1198184.5115 | 2599947.8453 | 1198185.3453 | 2599948.0661 | 1198186.3903 | 2599948.1347 | 1198187.6465 | 2599948.1195 | 1198188.8582 | 2599945.6452 | 1198216.4063 | 2599945.2464 | 1198220.828
28 | 2599946.6268 | 1198183.1997 | 2599947.7538 | 1198182.6549 | 2599951.4699 | 1198180.7983 | 2599956.1987 | 1198178.4192 | 2599957.1201 | 1198177.9522
29 | 2599943.8593 | 1198236.2084 | 2599945.2464 | 1198220.828
30 | 2599957.1201 | 1198177.9522 | 2599956.3067 | 1198187.2929
31 | 2600012.4661 | 1198251.4907 | 2600009.2678 | 1198248.3668 | 2600007.425 | 1198246.388
32 | 2600012.4661 | 1198251.4907 | 2600016.5248 | 1198252.1354 | 2600017.9259 | 1198252.2799
33 | 2600012.4661 | 1198251.4907 | 2600008.8795 | 1198251.0683 | 2600007.3489 | 1198250.9793 | 2599996.5229 | 1198251.0158
34 | 2600012.4661 | 1198251.4907 | 2600012.7167 | 1198273.7798
35 | 2600007.425 | 1198246.388 | 2600008.0494 | 1198245.6765 | 2600008.453 | 1198245.154 | 2600009.0089 | 1198243.7755 | 2600009.283 | 1198242.5971 | 2600010.4236 | 1198229.5507
36 | 2600007.425 | 1198246.388 | 2600006.9072 | 1198246.8883 | 2600006.0011 | 1198247.4108 | 2600005.2015 | 1198247.6776 | 2600004.1126 | 1198247.8221 | 2599992.5541 | 1198247.8531
37 | 2600017.9259 | 1198252.2799 | 2600017.9716 | 1198249.9009 | 2600017.0502 | 1198248.9782 | 2600016.441 | 1198248.1778 | 2600016.0755 | 1198247.2662 | 2600016.045 | 1198246.1322 | 2600017.012 | 1198234.337
38 | 2600017.9259 | 1198252.2799 | 2600052.8199 | 1198252.2213
39 | 2599996.5229 | 1198251.0158 | 2599984.8463 | 1198251.055
40 | 2600012.7167 | 1198273.7798 | 2600013.1726 | 1198314.3394
41 | 2600029.3702 | 1198141.1428 | 2600050.0682 | 1198134.7535
42 | 2600029.3702 | 1198141.1428 | 2600030.5658 | 1198145.1449 | 2600031.1826 | 1198146.4011 | 2600032.1802 | 1198147.3572 | 2600048.1107 | 1198156.3619 | 2600049.1007 | 1198156.6731 | 2600050.2124 | 1198156.7621 | 2600051.2785 | 1198156.6287 | 2600052.238 | 1198156.373 | 2600060.1398 | 1198152.8582
43 | 2600015.0838 | 1198176.2476 | 2600013.4531 | 1198194.9
44 | 2600070.5122 | 1198127.8097 | 2600066.813 | 1198129.2362 | 2600059.5864 | 1198131.8154 | 2600050.0682 | 1198134.7535
45 | 2599956.3067 | 1198187.2929 | 2599954.5616 | 1198207.3344
46 | 2599950.8926 | 1198251.1692 | 2599973.3853 | 1198251.0936
47 | 2599951.5169 | 1198246.0109 | 2599951.357 | 1198247.3449 | 2599950.8926 | 1198251.1692
48 | 2599950.8926 | 1198251.1692 | 2599950.3292 | 1198255.7717 | 2599949.598 | 1198264.9222
49 | 2599984.8463 | 1198251.055 | 2599973.3853 | 1198251.0936
50 | 2599951.5169 | 1198246.0109 | 2599951.2808 | 1198245.0104 | 2599953.0495 | 1198224.6991
51 | 2599951.5169 | 1198246.0109 | 2599952.1642 | 1198247.0114 | 2599952.9333 | 1198247.5673 | 2599953.9461 | 1198247.9563 | 2599965.0149 | 1198247.9267
52 | 2599948.4181 | 1198280.8028 | 2599948.9132 | 1198273.4923 | 2599949.598 | 1198264.9222
53 | 2599940.0269 | 1198282.7641 | 2599940.4836 | 1198273.637 | 2599942.1716 | 1198254.9206
54 | 2599940.0269 | 1198282.7641 | 2599929.408 | 1198282.7941
55 | 2599940.0269 | 1198282.7641 | 2599940.994 | 1198282.7641 | 2599944.6643 | 1198282.764 | 2599944.5046 | 1198291.8244 | 2599944.2916 | 1198299.9287 | 2599944.2311 | 1198323.0522
56 | 2599942.1716 | 1198254.9206 | 2599943.8593 | 1198236.2084
57 | 2599944.2311 | 1198323.0522 | 2599944.216 | 1198327.0432 | 2599944.1557 | 1198355.3917 | 2599947.9021 | 1198355.3694
58 | 2599944.2311 | 1198323.0522 | 2599927.2661 | 1198323.1734
59 | 2600090.0079 | 1198339.8943 | 2600083.8016 | 1198337.0583 | 2600082.2025 | 1198336.3246 | 2600079.4691 | 1198335.075
60 | 2600084.9974 | 1198236.8604 | 2600080.9843 | 1198235.7375
61 | 2600080.9843 | 1198235.7375 | 2600081.5728 | 1198233.5838
62 | 2600052.8199 | 1198252.2213 | 2600062.94 | 1198252.2043
63 | 2600102.2666 | 1198279.417 | 2600093.4882 | 1198274.2174
64 | 2599947.9021 | 1198355.3694 | 2599963.5272 | 1198355.3804
65 | 2600010.4236 | 1198229.5507 | 2600011.9382 | 1198212.2274
66 | 2600017.012 | 1198234.337 | 2600018.2226 | 1198219.5402
67 | 2600023.3095 | 1198234.9039 | 2600017.012 | 1198234.337
68 | 2600013.1726 | 1198314.3394 | 2600013.4112 | 1198335.5578 | 2600015.3377 | 1198336.8362 | 2600015.3378 | 1198351.1244
69 | 2600013.4531 | 1198194.9 | 2600011.9382 | 1198212.2274
70 | 2600113.3913 | 1198286.0065 | 2600102.2666 | 1198279.417
71 | 2599948.4181 | 1198280.8028 | 2599948.2966 | 1198282.5972 | 2599948.1215 | 1198285.5654 | 2599947.7257 | 1198294.259 | 2599947.7702 | 1198309.6639
72 | 2600087.8301 | 1198211.9137 | 2600085.8954 | 1198218.3079
73 | 2599954.5616 | 1198207.3344 | 2599953.0495 | 1198224.6991
74 | 2600081.5728 | 1198233.5838 | 2600084.3653 | 1198223.3643 | 2600085.8954 | 1198218.3079
75 | 2600024.7638 | 1198220.0627 | 2600018.2226 | 1198219.5402

## bus_geodata
| x | y | coords
0 | 2600073.8303 | 1198297.9759
1 | 2600085.5217 | 1198303.4037
2 | 2600065.1988 | 1198294.8691
3 | 2600092.018 | 1198306.4197
4 | 2600057.8354 | 1198325.7523
5 | 2600073.2553 | 1198264.375
6 | 2600068.7013 | 1198330.1526
7 | 2600076.5144 | 1198252.1352
8 | 2600083.2154 | 1198268.1326
9 | 2599986.026 | 1198156.6293
10 | 2599984.5262 | 1198175.1947
11 | 2600010.8812 | 1198153.027
12 | 2600098.0342 | 1198185.1106
13 | 2600093.8384 | 1198183.0761
14 | 2600097.1204 | 1198187.1005
15 | 2600090.8837 | 1198201.7861
16 | 2600022.0906 | 1198172.3039
17 | 2600028.2282 | 1198172.7707
18 | 2600020.8342 | 1198187.6343
19 | 2599882.541 | 1198222.6669
20 | 2599876.8639 | 1198234.6405
21 | 2599921.5215 | 1198190.3888
22 | 2599946.6268 | 1198183.1997
23 | 2599945.2464 | 1198220.828
24 | 2599957.1201 | 1198177.9522
25 | 2600012.4661 | 1198251.4907
26 | 2600007.425 | 1198246.388
27 | 2600017.9259 | 1198252.2799
28 | 2599996.5229 | 1198251.0158
29 | 2600012.7167 | 1198273.7798
30 | 2600029.3702 | 1198141.1427
31 | 2600015.0838 | 1198176.2476
32 | 2600050.0682 | 1198134.7535
33 | 2600060.1398 | 1198152.8582
34 | 2599956.3067 | 1198187.2929
35 | 2599950.8926 | 1198251.1692
36 | 2599973.3853 | 1198251.0936
37 | 2599951.5169 | 1198246.0109
38 | 2599949.598 | 1198264.9222
39 | 2599940.0269 | 1198282.7641
40 | 2599942.1716 | 1198254.9206
41 | 2599929.408 | 1198282.7941
42 | 2599944.2312 | 1198323.0522
43 | 2600079.4691 | 1198335.075
44 | 2600080.9843 | 1198235.7375
45 | 2600062.94 | 1198252.2043
46 | 2600093.4882 | 1198274.2174
47 | 2599947.9021 | 1198355.3694
48 | 2599927.2661 | 1198323.1734
49 | 2599963.5272 | 1198355.3804
50 | 2599943.8593 | 1198236.2084
51 | 2600070.5122 | 1198127.8097
52 | 2600027.3298 | 1198188.1679
53 | 2600010.4236 | 1198229.5507
54 | 2599992.5541 | 1198247.8531
55 | 2600017.012 | 1198234.337
56 | 2600052.8199 | 1198252.2213
57 | 2599984.8463 | 1198251.055
58 | 2600013.1726 | 1198314.3394
59 | 2600013.4531 | 1198194.9
60 | 2600113.3913 | 1198286.0065
61 | 2600102.2666 | 1198279.417
62 | 2599947.7702 | 1198309.6639
63 | 2599948.4181 | 1198280.8028
64 | 2600087.8301 | 1198211.9137
65 | 2599954.5616 | 1198207.3344
66 | 2599953.0495 | 1198224.6991
67 | 2599965.0149 | 1198247.9267
68 | 2600015.3378 | 1198351.1244
69 | 2600084.9974 | 1198236.8604
70 | 2600081.5728 | 1198233.5838
71 | 2600018.2226 | 1198219.5402
72 | 2600023.3095 | 1198234.9039
73 | 2600085.8954 | 1198218.3079
74 | 2600011.9382 | 1198212.2274
75 | 2600024.7638 | 1198220.0627
76 | 2600090.0079 | 1198339.8943
77 | 2600017.9259 | 1198252.2799

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1