## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-283_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-283_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-283_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-283_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-283_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-283_0_3_node_60 | 0.4 | n |  | TRUE
6 | bus_LV_351-283_0_3_node_36 | 0.4 | n |  | TRUE
7 | bus_LV_351-283_0_3_node_8 | 0.4 | n |  | TRUE
8 | bus_LV_351-283_0_3_node_61 | 0.4 | n |  | TRUE
9 | bus_LV_351-283_0_3_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_351-283_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_351-283_0_3_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_351-283_0_3_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_351-283_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_351-283_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_351-283_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_351-283_0_3_node_53 | 0.4 | n |  | TRUE
17 | bus_LV_351-283_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_351-283_0_3_node_59 | 0.4 | n |  | TRUE
19 | bus_LV_351-283_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_351-283_0_3_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_351-283_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_351-283_0_3_node_64 | 0.4 | n |  | TRUE
23 | bus_LV_351-283_0_3_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_351-283_0_3_node_75 | 0.4 | n |  | TRUE
25 | bus_LV_351-283_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_351-283_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_351-283_0_3_node_71 | 0.4 | n |  | TRUE
28 | bus_LV_351-283_0_3_node_83 | 0.4 | n |  | TRUE
29 | bus_LV_351-283_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_351-283_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_351-283_0_3_node_70 | 0.4 | n |  | TRUE
32 | bus_LV_351-283_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_351-283_0_3_node_67 | 0.4 | n |  | TRUE
34 | bus_LV_351-283_0_3_node_66 | 0.4 | n |  | TRUE
35 | bus_LV_351-283_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_351-283_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_351-283_0_3_node_62 | 0.4 | n |  | TRUE
38 | bus_LV_351-283_0_3_node_69 | 0.4 | n |  | TRUE
39 | bus_LV_351-283_0_3_node_51 | 0.4 | n |  | TRUE
40 | bus_LV_351-283_0_3_node_74 | 0.4 | n |  | TRUE
41 | bus_LV_351-283_0_3_node_26 | 0.4 | n |  | TRUE
42 | bus_LV_351-283_0_3_node_68 | 0.4 | n |  | TRUE
43 | bus_LV_351-283_0_3_node_85 | 0.4 | n |  | TRUE
44 | bus_LV_351-283_0_3_node_72 | 0.4 | n |  | TRUE
45 | bus_LV_351-283_0_3_node_63 | 0.4 | n |  | TRUE
46 | bus_LV_351-283_0_3_node_52 | 0.4 | n |  | TRUE
47 | bus_LV_351-283_0_3_node_58 | 0.4 | n |  | TRUE
48 | bus_LV_351-283_0_3_node_76 | 0.4 | n |  | TRUE
49 | bus_LV_351-283_0_3_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_351-283_0_3_node_73 | 0.4 | n |  | TRUE
51 | bus_MV_593_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-283_0_3_load_0 | 0 | 0.0058092 | 0.0014559 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-283_0_3_load_1 | 1 | 0.0043233 | 0.0010835 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-283_0_3_load_2 | 2 | 0.0082222 | 0.0020607 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-283_0_3_load_3 | 3 | 0.0044406 | 0.0011129 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-283_0_3_load_60 | 5 | 0.0056298 | 0.001411 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-283_0_3_load_36 | 6 | 0.011352 | 0.002845 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-283_0_3_load_8 | 7 | 0.0087936 | 0.0022039 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-283_0_3_load_61 | 8 | 0.0041297 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-283_0_3_load_65 | 9 | 0.0079118 | 0.0019829 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-283_0_3_load_6 | 10 | 0.0089806 | 0.0022507 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-283_0_3_load_5 | 11 | 0.0090575 | 0.00227 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-283_0_3_load_42 | 17 | 0.016784 | 0.0042066 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-283_0_3_load_41 | 20 | 0.050016 | 0.012535 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-283_0_3_load_64 | 22 | 0.008334 | 0.0020887 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-283_0_3_load_75 | 24 | 0.0098583 | 0.0024707 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-283_0_3_load_71 | 27 | 0.0046238 | 0.0011588 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-283_0_3_load_83 | 28 | 0.0049288 | 0.0012353 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-283_0_3_load_70 | 31 | 0.0053416 | 0.0013387 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-283_0_3_load_67 | 33 | 0.0060312 | 0.0015115 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-283_0_3_load_66 | 34 | 0.011416 | 0.0028612 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-283_0_3_load_62 | 37 | 0.0024455 | 0.00061289 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-283_0_3_load_69 | 38 | 0.0037216 | 0.00093272 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-283_0_3_load_51 | 39 | 0.0026267 | 0.00065831 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-283_0_3_load_74 | 40 | 0.020077 | 0.0050317 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-283_0_3_load_68 | 42 | 0.0060258 | 0.0015102 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-283_0_3_load_85 | 43 | 0.013822 | 0.0034641 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-283_0_3_load_72 | 44 | 0.0066521 | 0.0016672 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-283_0_3_load_63 | 45 | 0.017613 | 0.0044141 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-283_0_3_load_52 | 46 | 0.0022542 | 0.00056496 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-283_0_3_load_58 | 47 | 0.0098425 | 0.0024668 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-283_0_3_load_76 | 48 | 0.0095777 | 0.0024004 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-283_0_3_load_82 | 49 | 0.0066827 | 0.0016748 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-283_0_3_load_73 | 50 | 0.010856 | 0.0027208 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 45 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-283_0_3_line_0 |  | 0 | 1 | 0.0046707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-283_0_3_line_1 |  | 0 | 2 | 0.016706 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-283_0_3_line_2 |  | 1 | 3 | 0.01857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-283_0_3_line_3 |  | 2 | 4 | 0.01986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-283_0_3_line_4 |  | 3 | 5 | 0.0014393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-283_0_3_line_5 |  | 4 | 6 | 0.0020495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-283_0_3_line_6 |  | 4 | 7 | 0.015974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-283_0_3_line_7 |  | 5 | 8 | 0.018089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-283_0_3_line_8 |  | 6 | 9 | 0.012739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-283_0_3_line_9 |  | 7 | 10 | 0.028233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-283_0_3_line_10 |  | 8 | 37 | 0.00031169 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-283_0_3_line_11 |  | 9 | 21 | 0.014126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-283_0_3_line_12 |  | 10 | 11 | 0.023228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-283_0_3_line_13 |  | 11 | 12 | 0.016385 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-283_0_3_line_14 |  | 12 | 13 | 0.058053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
15 | LV_351-283_0_3_line_15 |  | 12 | 14 | 0.015698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-283_0_3_line_16 |  | 13 | 15 | 0.03204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-283_0_3_line_17 |  | 13 | 16 | 0.026132 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
18 | LV_351-283_0_3_line_18 |  | 14 | 23 | 0.013437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-283_0_3_line_19 |  | 14 | 24 | 0.0040586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-283_0_3_line_20 |  | 15 | 17 | 0.012219 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-283_0_3_line_21 |  | 15 | 18 | 0.03532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-283_0_3_line_22 |  | 16 | 45 | 0.0071225 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
23 | LV_351-283_0_3_line_23 |  | 16 | 46 | 0.013487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-283_0_3_line_24 |  | 17 | 19 | 0.012916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-283_0_3_line_25 |  | 18 | 47 | 0.009908 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-283_0_3_line_26 |  | 19 | 20 | 0.032448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-283_0_3_line_27 |  | 21 | 22 | 0.014651 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-283_0_3_line_28 |  | 23 | 40 | 0.013437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-283_0_3_line_29 |  | 23 | 29 | 0.012508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-283_0_3_line_30 |  | 24 | 48 | 0.016492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-283_0_3_line_31 |  | 25 | 26 | 0.0099872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-283_0_3_line_32 |  | 25 | 27 | 0.015796 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-283_0_3_line_33 |  | 25 | 28 | 0.01014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-283_0_3_line_34 |  | 26 | 44 | 0.016571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-283_0_3_line_35 |  | 27 | 31 | 0.0091729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-283_0_3_line_36 |  | 28 | 49 | 0.0026298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-283_0_3_line_37 |  | 29 | 30 | 0.080102 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-283_0_3_line_38 |  | 29 | 31 | 0.021204 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-283_0_3_line_39 |  | 30 | 43 | 0.016628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-283_0_3_line_40 |  | 32 | 33 | 0.016428 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-283_0_3_line_41 |  | 32 | 34 | 0.016688 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-283_0_3_line_42 |  | 33 | 41 | 0.038475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-283_0_3_line_43 |  | 35 | 36 | 0.026582 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-283_0_3_line_44 |  | 35 | 37 | 0.012234 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-283_0_3_line_45 |  | 35 | 38 | 0.018284 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-283_0_3_line_46 |  | 36 | 39 | 0.0034099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-283_0_3_line_47 |  | 38 | 42 | 0.02366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-283_0_3_line_48 |  | 41 | 42 | 0.020729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-283_0_3_line_49 |  | 44 | 50 | 0.024298 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-283_0_3_trafo_63 | 0.63 MVA 20/0.4 kV | 51 | 45 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2599606.6101 | 1198662.167 | 2599608.5761 | 1198666.4038
1 | 2599606.6101 | 1198662.167 | 2599599.5783 | 1198647.0125
2 | 2599608.5761 | 1198666.4038 | 2599612.2557 | 1198674.3339 | 2599616.5135 | 1198683.1911
3 | 2599590.0869 | 1198629.8675 | 2599591.1454 | 1198630.4344 | 2599591.8688 | 1198631.2236 | 2599592.6227 | 1198632.3797 | 2599593.3766 | 1198633.647 | 2599599.5783 | 1198647.0125
4 | 2599617.137 | 1198684.4883 | 2599616.5135 | 1198683.1911
5 | 2599590.0869 | 1198629.8675 | 2599589.1199 | 1198629.6897 | 2599588.0539 | 1198629.712 | 2599588.0539 | 1198629.712
6 | 2599590.0869 | 1198629.8675 | 2599588.1988 | 1198632.7247 | 2599576.3954 | 1198636.9864
7 | 2599617.137 | 1198684.4883 | 2599620.0311 | 1198690.5087 | 2599624.9749 | 1198700.7909
8 | 2599575.9725 | 1198633.7238 | 2599586.1123 | 1198630.1791 | 2599587.0412 | 1198629.9233 | 2599588.0539 | 1198629.712
9 | 2599576.3954 | 1198636.9864 | 2599568.9503 | 1198639.6745 | 2599549.8333 | 1198646.5557
10 | 2599624.9749 | 1198700.7909 | 2599625.1099 | 1198701.0718
11 | 2599562.6379 | 1198638.3854 | 2599575.9725 | 1198633.7238
12 | 2599527.7179 | 1198652.8071 | 2599529.357 | 1198652.9962 | 2599531.3215 | 1198652.996 | 2599532.7758 | 1198652.6957 | 2599549.8333 | 1198646.5557
13 | 2599511.4403 | 1198650.93 | 2599527.7179 | 1198652.8071
14 | 2599511.4403 | 1198650.93 | 2599510.0261 | 1198672.5195 | 2599509.2044 | 1198679.49 | 2599506.2668 | 1198695.3654 | 2599514.4752 | 1198697.4546 | 2599518.9982 | 1198699.0106
15 | 2599512.4744 | 1198635.266 | 2599511.6684 | 1198647.4949 | 2599511.4403 | 1198650.93
16 | 2599509.5042 | 1198709.4282 | 2599502.8567 | 1198706.2715 | 2599503.047 | 1198705.749 | 2599506.2668 | 1198695.3654 | 2599514.4752 | 1198697.4546 | 2599518.9982 | 1198699.0106
17 | 2599542.5571 | 1198703.2441 | 2599537.9202 | 1198705.7903 | 2599533.4354 | 1198705.9463 | 2599528.4176 | 1198704.9462 | 2599522.463 | 1198702.3232 | 2599518.9982 | 1198699.0106
18 | 2599499.0427 | 1198634.8782 | 2599500.8168 | 1198634.9336 | 2599503.8702 | 1198635.0223 | 2599505.4844 | 1198635.0666 | 2599506.1088 | 1198635.0776 | 2599506.855 | 1198635.0998 | 2599508.1647 | 1198635.1441 | 2599509.9541 | 1198635.1884 | 2599512.4744 | 1198635.266
19 | 2599512.4744 | 1198635.266 | 2599512.7978 | 1198631.2204
20 | 2599509.5042 | 1198709.4282 | 2599504.9602 | 1198720.7706
21 | 2599539.4905 | 1198725.7341 | 2599537.5713 | 1198721.1318 | 2599509.5042 | 1198709.4282
22 | 2599542.5571 | 1198703.2441 | 2599545.1076 | 1198700.0088 | 2599545.1911 | 1198697.0072
23 | 2599542.5571 | 1198703.2441 | 2599554.4639 | 1198709.5795
24 | 2599494.9019 | 1198728.0062 | 2599503.9547 | 1198723.2805 | 2599504.9602 | 1198720.7706
25 | 2599539.4905 | 1198725.7341 | 2599535.8328 | 1198734.9423
26 | 2599494.9019 | 1198728.0062 | 2599494.3005 | 1198729.6404 | 2599483.4891 | 1198758.3809
27 | 2599562.6379 | 1198638.3854 | 2599557.73 | 1198624.5812
28 | 2599499.0427 | 1198634.8782 | 2599499.86 | 1198621.4658
29 | 2599498.1302 | 1198647.3516 | 2599498.5713 | 1198642.5268 | 2599499.0427 | 1198634.8782
30 | 2599512.7978 | 1198631.2204 | 2599514.1121 | 1198614.7803
31 | 2599457.35 | 1198668.6226 | 2599456.5425 | 1198665.043 | 2599462.0398 | 1198661.9297
32 | 2599457.35 | 1198668.6226 | 2599471.1434 | 1198660.9248
33 | 2599457.35 | 1198668.6226 | 2599448.5172 | 1198673.6021
34 | 2599462.0398 | 1198661.9297 | 2599461.0803 | 1198661.8964 | 2599460.3493 | 1198661.6186 | 2599459.6792 | 1198661.0961 | 2599459.2527 | 1198660.2957 | 2599456.7328 | 1198647.4687
35 | 2599479.1534 | 1198656.4545 | 2599471.1434 | 1198660.9248
36 | 2599446.2263 | 1198674.8935 | 2599448.5172 | 1198673.6021
37 | 2599498.1302 | 1198647.3516 | 2599495.9017 | 1198673.199 | 2599494.5319 | 1198681.3813 | 2599491.8222 | 1198691.5759 | 2599488.3361 | 1198704.3275 | 2599481.2188 | 1198725.2393
38 | 2599498.1302 | 1198647.3516 | 2599496.0286 | 1198647.6298 | 2599495.2824 | 1198647.8299 | 2599494.5058 | 1198648.0857 | 2599493.0135 | 1198648.7195 | 2599479.1534 | 1198656.4545
39 | 2599468.8142 | 1198714.3348 | 2599479.2771 | 1198724.4613 | 2599481.2188 | 1198725.2393
40 | 2599664.4033 | 1198635.8874 | 2599671.2415 | 1198650.8245
41 | 2599664.4033 | 1198635.8874 | 2599660.489 | 1198627.3498 | 2599659.994 | 1198626.7939 | 2599659.027 | 1198626.4049 | 2599658.1132 | 1198626.2382 | 2599655.9659 | 1198625.5936 | 2599654.1917 | 1198624.0707
42 | 2599687.2953 | 1198685.7903 | 2599686.153 | 1198683.4002 | 2599685.559 | 1198682.0996 | 2599671.2415 | 1198650.8245
43 | 2599618.1 | 1198728.2512 | 2599619.2496 | 1198726.9726 | 2599632.4522 | 1198720.6461 | 2599630.495 | 1198716.066 | 2599631.9569 | 1198715.3766 | 2599631.2258 | 1198713.8314 | 2599630.411 | 1198712.0972
44 | 2599630.411 | 1198712.0972 | 2599625.1099 | 1198701.0718
45 | 2599630.411 | 1198712.0972 | 2599647.006 | 1198704.4226
46 | 2599618.1 | 1198728.2512 | 2599614.9019 | 1198727.5288 | 2599614.7711 | 1198727.5399
47 | 2599668.4811 | 1198694.4912 | 2599647.006 | 1198704.4226
48 | 2599687.2953 | 1198685.7903 | 2599668.4811 | 1198694.4912
49 | 2599456.7328 | 1198647.4687 | 2599452.0489 | 1198623.6261

## bus_geodata
| x | y | coords
0 | 2599606.6101 | 1198662.167
1 | 2599608.5761 | 1198666.4038
2 | 2599599.5783 | 1198647.0125
3 | 2599616.5135 | 1198683.1911
4 | 2599590.0869 | 1198629.8675
5 | 2599617.137 | 1198684.4883
6 | 2599588.0539 | 1198629.712
7 | 2599576.3954 | 1198636.9864
8 | 2599624.9749 | 1198700.7909
9 | 2599575.9725 | 1198633.7238
10 | 2599549.8333 | 1198646.5557
11 | 2599527.7179 | 1198652.8071
12 | 2599511.4403 | 1198650.93
13 | 2599518.9982 | 1198699.0106
14 | 2599512.4744 | 1198635.266
15 | 2599509.5042 | 1198709.4282
16 | 2599542.5571 | 1198703.2441
17 | 2599504.9602 | 1198720.7706
18 | 2599539.4905 | 1198725.7341
19 | 2599494.9019 | 1198728.0062
20 | 2599483.4891 | 1198758.3809
21 | 2599562.6379 | 1198638.3854
22 | 2599557.73 | 1198624.5812
23 | 2599499.0427 | 1198634.8782
24 | 2599512.7978 | 1198631.2204
25 | 2599457.35 | 1198668.6226
26 | 2599462.0398 | 1198661.9297
27 | 2599471.1434 | 1198660.9248
28 | 2599448.5172 | 1198673.6021
29 | 2599498.1302 | 1198647.3516
30 | 2599481.2188 | 1198725.2393
31 | 2599479.1534 | 1198656.4545
32 | 2599664.4033 | 1198635.8874
33 | 2599671.2415 | 1198650.8245
34 | 2599654.1917 | 1198624.0707
35 | 2599630.411 | 1198712.0972
36 | 2599618.1 | 1198728.2512
37 | 2599625.1099 | 1198701.0718
38 | 2599647.0059 | 1198704.4226
39 | 2599614.7711 | 1198727.5399
40 | 2599499.86 | 1198621.4658
41 | 2599687.2953 | 1198685.7903
42 | 2599668.4811 | 1198694.4912
43 | 2599468.8142 | 1198714.3348
44 | 2599456.7328 | 1198647.4687
45 | 2599545.1911 | 1198697.0072
46 | 2599554.4639 | 1198709.5795
47 | 2599535.8328 | 1198734.9423
48 | 2599514.1121 | 1198614.7803
49 | 2599446.2263 | 1198674.8935
50 | 2599452.0489 | 1198623.6261
51 | 2599542.5571 | 1198703.2441

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1