## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-310_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-310_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-310_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-310_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-310_0_5_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_351-310_0_5_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_351-310_0_5_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_351-310_0_5_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_351-310_0_5_node_34 | 0.4 | n |  | TRUE
9 | bus_LV_351-310_0_5_node_85 | 0.4 | n |  | TRUE
10 | bus_LV_351-310_0_5_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_351-310_0_5_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_351-310_0_5_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_351-310_0_5_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_351-310_0_5_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_351-310_0_5_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_351-310_0_5_node_79 | 0.4 | n |  | TRUE
17 | bus_LV_351-310_0_5_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_351-310_0_5_node_110 | 0.4 | n |  | TRUE
19 | bus_LV_351-310_0_5_node_77 | 0.4 | n |  | TRUE
20 | bus_LV_351-310_0_5_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_351-310_0_5_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_351-310_0_5_node_95 | 0.4 | n |  | TRUE
23 | bus_LV_351-310_0_5_node_99 | 0.4 | n |  | TRUE
24 | bus_LV_351-310_0_5_node_13 | 0.4 | n |  | TRUE
25 | bus_LV_351-310_0_5_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_351-310_0_5_node_35 | 0.4 | n |  | TRUE
27 | bus_LV_351-310_0_5_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_351-310_0_5_node_51 | 0.4 | n |  | TRUE
29 | bus_LV_351-310_0_5_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_351-310_0_5_node_52 | 0.4 | n |  | TRUE
31 | bus_LV_351-310_0_5_node_65 | 0.4 | n |  | TRUE
32 | bus_LV_351-310_0_5_node_69 | 0.4 | n |  | TRUE
33 | bus_LV_351-310_0_5_node_15 | 0.4 | n |  | TRUE
34 | bus_LV_351-310_0_5_node_111 | 0.4 | n |  | TRUE
35 | bus_LV_351-310_0_5_node_98 | 0.4 | n |  | TRUE
36 | bus_LV_351-310_0_5_node_86 | 0.4 | n |  | TRUE
37 | bus_LV_351-310_0_5_node_88 | 0.4 | n |  | TRUE
38 | bus_LV_351-310_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_351-310_0_5_node_101 | 0.4 | n |  | TRUE
40 | bus_LV_351-310_0_5_node_19 | 0.4 | n |  | TRUE
41 | bus_LV_351-310_0_5_node_100 | 0.4 | n |  | TRUE
42 | bus_LV_351-310_0_5_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_351-310_0_5_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_351-310_0_5_node_80 | 0.4 | n |  | TRUE
45 | bus_LV_351-310_0_5_node_23 | 0.4 | n |  | TRUE
46 | bus_LV_351-310_0_5_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_351-310_0_5_node_87 | 0.4 | n |  | TRUE
48 | bus_LV_351-310_0_5_node_24 | 0.4 | n |  | TRUE
49 | bus_LV_351-310_0_5_node_89 | 0.4 | n |  | TRUE
50 | bus_LV_351-310_0_5_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_351-310_0_5_node_113 | 0.4 | n |  | TRUE
52 | bus_LV_351-310_0_5_node_57 | 0.4 | n |  | TRUE
53 | bus_LV_351-310_0_5_node_106 | 0.4 | n |  | TRUE
54 | bus_LV_351-310_0_5_node_103 | 0.4 | n |  | TRUE
55 | bus_LV_351-310_0_5_node_50 | 0.4 | n |  | TRUE
56 | bus_LV_351-310_0_5_node_36 | 0.4 | n |  | TRUE
57 | bus_LV_351-310_0_5_node_107 | 0.4 | n |  | TRUE
58 | bus_LV_351-310_0_5_node_39 | 0.4 | n |  | TRUE
59 | bus_LV_351-310_0_5_node_40 | 0.4 | n |  | TRUE
60 | bus_LV_351-310_0_5_node_97 | 0.4 | n |  | TRUE
61 | bus_LV_351-310_0_5_node_93 | 0.4 | n |  | TRUE
62 | bus_LV_351-310_0_5_node_91 | 0.4 | n |  | TRUE
63 | bus_LV_351-310_0_5_node_90 | 0.4 | n |  | TRUE
64 | bus_LV_351-310_0_5_node_94 | 0.4 | n |  | TRUE
65 | bus_LV_351-310_0_5_node_56 | 0.4 | n |  | TRUE
66 | bus_LV_351-310_0_5_node_66 | 0.4 | n |  | TRUE
67 | bus_LV_351-310_0_5_node_70 | 0.4 | n |  | TRUE
68 | bus_LV_351-310_0_5_node_74 | 0.4 | n |  | TRUE
69 | bus_LV_351-310_0_5_node_59 | 0.4 | n |  | TRUE
70 | bus_LV_351-310_0_5_node_112 | 0.4 | n |  | TRUE
71 | bus_LV_351-310_0_5_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_351-310_0_5_node_96 | 0.4 | n |  | TRUE
73 | bus_LV_351-310_0_5_node_55 | 0.4 | n |  | TRUE
74 | bus_LV_351-310_0_5_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_351-310_0_5_node_61 | 0.4 | n |  | TRUE
76 | bus_LV_351-310_0_5_node_84 | 0.4 | n |  | TRUE
77 | bus_LV_351-310_0_5_node_82 | 0.4 | n |  | TRUE
78 | bus_LV_351-310_0_5_node_68 | 0.4 | n |  | TRUE
79 | bus_LV_351-310_0_5_node_67 | 0.4 | n |  | TRUE
80 | bus_LV_351-310_0_5_node_62 | 0.4 | n |  | TRUE
81 | bus_LV_351-310_0_5_node_63 | 0.4 | n |  | TRUE
82 | bus_LV_351-310_0_5_node_75 | 0.4 | n |  | TRUE
83 | bus_LV_351-310_0_5_node_73 | 0.4 | n |  | TRUE
84 | bus_LV_351-310_0_5_node_72 | 0.4 | n |  | TRUE
85 | bus_LV_351-310_0_5_node_114 | 0.4 | n |  | TRUE
86 | bus_LV_351-310_0_5_node_102 | 0.4 | n |  | TRUE
87 | bus_LV_351-310_0_5_node_45 | 0.4 | n |  | TRUE
88 | bus_LV_351-310_0_5_node_42 | 0.4 | n |  | TRUE
89 | bus_LV_351-310_0_5_node_43 | 0.4 | n |  | TRUE
90 | bus_LV_351-310_0_5_node_48 | 0.4 | n |  | TRUE
91 | bus_LV_351-310_0_5_node_49 | 0.4 | n |  | TRUE
92 | bus_LV_351-310_0_5_node_92 | 0.4 | n |  | TRUE
93 | bus_LV_351-310_0_5_node_58 | 0.4 | n |  | TRUE
94 | bus_LV_351-310_0_5_node_60 | 0.4 | n |  | TRUE
95 | bus_LV_351-310_0_5_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_351-310_0_5_node_81 | 0.4 | n |  | TRUE
97 | bus_LV_351-310_0_5_node_64 | 0.4 | n |  | TRUE
98 | bus_LV_351-310_0_5_node_83 | 0.4 | n |  | TRUE
99 | bus_LV_351-310_0_5_node_71 | 0.4 | n |  | TRUE
100 | bus_LV_351-310_0_5_node_108 | 0.4 | n |  | TRUE
101 | bus_LV_351-310_0_5_node_109 | 0.4 | n |  | TRUE
102 | bus_MV_600_0_node_24 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-310_0_5_load_0 | 0 | 0.018726 | 0.0046931 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-310_0_5_load_2 | 2 | 0.017682 | 0.0044315 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-310_0_5_load_3 | 3 | 0.039304 | 0.0098504 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-310_0_5_load_41 | 4 | 0.0075347 | 0.0018884 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-310_0_5_load_85 | 9 | 0.0087752 | 0.0021993 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-310_0_5_load_4 | 10 | 0.040164 | 0.010066 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-310_0_5_load_5 | 11 | 0.0092718 | 0.0023237 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-310_0_5_load_7 | 12 | 0.0086673 | 0.0021722 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-310_0_5_load_79 | 16 | 0.0097122 | 0.0024341 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-310_0_5_load_110 | 18 | 0.0029297 | 0.00073426 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-310_0_5_load_77 | 19 | 0.0029514 | 0.00073968 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-310_0_5_load_95 | 22 | 0.013169 | 0.0033005 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-310_0_5_load_99 | 23 | 0.0079893 | 0.0020023 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-310_0_5_load_53 | 25 | 0.014164 | 0.00355 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-310_0_5_load_51 | 28 | 0.0037352 | 0.00093613 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-310_0_5_load_52 | 30 | 0.0099822 | 0.0025018 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-310_0_5_load_69 | 32 | 0.0044116 | 0.0011056 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-310_0_5_load_111 | 34 | 0.0074007 | 0.0018548 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-310_0_5_load_98 | 35 | 0.012229 | 0.0030648 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-310_0_5_load_86 | 36 | 0.0032281 | 0.00080905 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-310_0_5_load_88 | 37 | 0.0032593 | 0.00081686 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-310_0_5_load_101 | 39 | 0.0034619 | 0.00086764 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-310_0_5_load_100 | 41 | 0.0050897 | 0.0012756 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-310_0_5_load_76 | 43 | 0.0047466 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-310_0_5_load_80 | 44 | 0.016932 | 0.0042435 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-310_0_5_load_87 | 47 | 0.0019258 | 0.00048265 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-310_0_5_load_47 | 50 | 0.0051581 | 0.0012927 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-310_0_5_load_113 | 51 | 0.004724 | 0.001184 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-310_0_5_load_57 | 52 | 0.0034472 | 0.00086396 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-310_0_5_load_103 | 54 | 0.0037724 | 0.00094545 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-310_0_5_load_50 | 55 | 0.0043286 | 0.0010848 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-310_0_5_load_107 | 57 | 0.0058924 | 0.0014768 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-310_0_5_load_97 | 60 | 0.0065855 | 0.0016505 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-310_0_5_load_93 | 61 | 0.015505 | 0.0038859 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-310_0_5_load_91 | 62 | 0.0021314 | 0.00053417 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-310_0_5_load_90 | 63 | 0.0056235 | 0.0014094 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-310_0_5_load_94 | 64 | 0.007683 | 0.0019255 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-310_0_5_load_56 | 65 | 0.0069356 | 0.0017382 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-310_0_5_load_66 | 66 | 0.0060228 | 0.0015095 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-310_0_5_load_70 | 67 | 0.0021717 | 0.00054427 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-310_0_5_load_74 | 68 | 0.0037868 | 0.00094905 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-310_0_5_load_112 | 70 | 0.021024 | 0.0052691 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-310_0_5_load_46 | 71 | 0.0032644 | 0.00081814 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-310_0_5_load_96 | 72 | 0.0057747 | 0.0014473 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-310_0_5_load_55 | 73 | 0.018025 | 0.0045174 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-310_0_5_load_54 | 74 | 0.018458 | 0.0046261 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-310_0_5_load_82 | 77 | 0.0044613 | 0.0011181 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-310_0_5_load_67 | 79 | 0.0044069 | 0.0011045 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-310_0_5_load_62 | 80 | 0.0042504 | 0.0010653 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-310_0_5_load_63 | 81 | 0.0033383 | 0.00083665 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-310_0_5_load_75 | 82 | 0.0027084 | 0.00067878 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-310_0_5_load_72 | 84 | 0.0029562 | 0.00074088 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-310_0_5_load_114 | 85 | 0.017463 | 0.0043768 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-310_0_5_load_102 | 86 | 0.0063173 | 0.0015833 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-310_0_5_load_45 | 87 | 0.0028267 | 0.00070844 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-310_0_5_load_42 | 88 | 0.0030276 | 0.00075879 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-310_0_5_load_43 | 89 | 0.0028763 | 0.00072088 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-310_0_5_load_48 | 90 | 0.0032608 | 0.00081724 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-310_0_5_load_49 | 91 | 0.0032629 | 0.00081777 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-310_0_5_load_92 | 92 | 0.0032624 | 0.00081763 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-310_0_5_load_60 | 94 | 0.0050153 | 0.001257 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-310_0_5_load_78 | 95 | 0.0034997 | 0.0008771 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-310_0_5_load_81 | 96 | 0.005301 | 0.0013286 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-310_0_5_load_64 | 97 | 0.0032952 | 0.00082586 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-310_0_5_load_83 | 98 | 0.0057426 | 0.0014392 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-310_0_5_load_108 | 100 | 0.0075724 | 0.0018978 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_351-310_0_5_load_109 | 101 | 0.0081179 | 0.0020345 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 77 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-310_0_5_line_0 |  | 0 | 1 | 0.050945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-310_0_5_line_1 |  | 1 | 2 | 0.013717 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_351-310_0_5_line_2 |  | 1 | 3 | 0.04595 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_351-310_0_5_line_3 |  | 2 | 4 | 0.044929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_351-310_0_5_line_4 |  | 3 | 5 | 0.037618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_351-310_0_5_line_5 |  | 4 | 6 | 0.012459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_351-310_0_5_line_6 |  | 5 | 7 | 0.005599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-310_0_5_line_7 |  | 5 | 8 | 0.058223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-310_0_5_line_8 |  | 5 | 9 | 0.035826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
9 | LV_351-310_0_5_line_9 |  | 6 | 14 | 0.048629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_351-310_0_5_line_10 |  | 7 | 44 | 0.017282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-310_0_5_line_11 |  | 8 | 53 | 0.021597 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-310_0_5_line_12 |  | 8 | 54 | 0.073134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-310_0_5_line_13 |  | 9 | 13 | 0.003396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
14 | LV_351-310_0_5_line_14 |  | 10 | 11 | 0.041059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-310_0_5_line_15 |  | 11 | 12 | 0.015114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-310_0_5_line_16 |  | 12 | 13 | 0.01413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-310_0_5_line_17 |  | 13 | 33 | 0.038715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
18 | LV_351-310_0_5_line_18 |  | 14 | 15 | 0.043158 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
19 | LV_351-310_0_5_line_19 |  | 14 | 16 | 0.059025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-310_0_5_line_20 |  | 15 | 52 | 0.0024055 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-310_0_5_line_21 |  | 15 | 42 | 0.003484 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_351-310_0_5_line_22 |  | 17 | 18 | 0.006452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-310_0_5_line_23 |  | 17 | 19 | 0.01883 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-310_0_5_line_24 |  | 19 | 42 | 0.028978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-310_0_5_line_25 |  | 20 | 21 | 0.023365 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-310_0_5_line_26 |  | 20 | 22 | 0.018749 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-310_0_5_line_27 |  | 20 | 23 | 0.0080827 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-310_0_5_line_28 |  | 21 | 38 | 0.032089 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-310_0_5_line_29 |  | 21 | 39 | 0.013008 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-310_0_5_line_30 |  | 22 | 64 | 0.017413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-310_0_5_line_31 |  | 23 | 56 | 0.0092039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-310_0_5_line_32 |  | 24 | 25 | 0.017626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-310_0_5_line_33 |  | 24 | 26 | 0.051564 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-310_0_5_line_34 |  | 24 | 27 | 0.017843 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-310_0_5_line_35 |  | 24 | 28 | 0.055145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
36 | LV_351-310_0_5_line_36 |  | 25 | 65 | 0.021769 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-310_0_5_line_37 |  | 26 | 49 | 0.018291 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-310_0_5_line_38 |  | 26 | 55 | 0.015459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-310_0_5_line_39 |  | 27 | 36 | 0.01784 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-310_0_5_line_40 |  | 27 | 37 | 0.021642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-310_0_5_line_41 |  | 28 | 30 | 0.028732 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_351-310_0_5_line_42 |  | 29 | 30 | 0.016268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
43 | LV_351-310_0_5_line_43 |  | 29 | 31 | 0.053885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_351-310_0_5_line_44 |  | 29 | 32 | 0.023374 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-310_0_5_line_45 |  | 31 | 66 | 0.045748 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_351-310_0_5_line_46 |  | 32 | 67 | 0.014099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-310_0_5_line_47 |  | 33 | 34 | 0.027841 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-310_0_5_line_48 |  | 33 | 35 | 0.014642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-310_0_5_line_49 |  | 34 | 40 | 0.0094129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-310_0_5_line_50 |  | 35 | 60 | 0.015699 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-310_0_5_line_51 |  | 36 | 68 | 0.010464 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-310_0_5_line_52 |  | 37 | 47 | 0.0081975 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-310_0_5_line_53 |  | 38 | 57 | 0.01033 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-310_0_5_line_54 |  | 40 | 41 | 0.010355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-310_0_5_line_55 |  | 41 | 56 | 0.0029553 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-310_0_5_line_56 |  | 42 | 43 | 0.011414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_351-310_0_5_line_57 |  | 43 | 69 | 0.017756 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
58 | LV_351-310_0_5_line_58 |  | 45 | 46 | 0.055953 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-310_0_5_line_59 |  | 45 | 47 | 0.051731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-310_0_5_line_60 |  | 46 | 51 | 0.040649 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-310_0_5_line_61 |  | 48 | 49 | 0.044097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-310_0_5_line_62 |  | 48 | 50 | 0.0093275 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-310_0_5_line_63 |  | 49 | 70 | 0.014726 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-310_0_5_line_64 |  | 50 | 71 | 0.016877 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-310_0_5_line_65 |  | 53 | 85 | 0.044606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-310_0_5_line_66 |  | 54 | 86 | 0.013432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-310_0_5_line_67 |  | 55 | 87 | 0.020662 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-310_0_5_line_68 |  | 58 | 59 | 0.003388 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-310_0_5_line_69 |  | 58 | 60 | 0.010463 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-310_0_5_line_70 |  | 59 | 61 | 0.013922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-310_0_5_line_71 |  | 62 | 63 | 0.022101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-310_0_5_line_72 |  | 63 | 92 | 0.015331 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-310_0_5_line_73 |  | 64 | 72 | 0.015251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-310_0_5_line_74 |  | 65 | 74 | 0.02741 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-310_0_5_line_75 |  | 66 | 79 | 0.02894 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
76 | LV_351-310_0_5_line_76 |  | 67 | 99 | 0.0026015 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-310_0_5_line_77 |  | 68 | 83 | 0.0095559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-310_0_5_line_78 |  | 69 | 95 | 0.0081405 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
79 | LV_351-310_0_5_line_79 |  | 69 | 93 | 0.003457 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-310_0_5_line_80 |  | 71 | 90 | 0.0077208 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-310_0_5_line_81 |  | 73 | 74 | 0.03401 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-310_0_5_line_82 |  | 75 | 76 | 0.005151 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
83 | LV_351-310_0_5_line_83 |  | 75 | 77 | 0.013981 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
84 | LV_351-310_0_5_line_84 |  | 76 | 97 | 0.018829 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-310_0_5_line_85 |  | 76 | 78 | 0.004402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
86 | LV_351-310_0_5_line_86 |  | 76 | 95 | 0.012296 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
87 | LV_351-310_0_5_line_87 |  | 77 | 98 | 0.02076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-310_0_5_line_88 |  | 78 | 79 | 0.010232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_351-310_0_5_line_89 |  | 80 | 81 | 0.00897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
90 | LV_351-310_0_5_line_90 |  | 81 | 97 | 0.0077831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_351-310_0_5_line_91 |  | 82 | 83 | 0.012328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_351-310_0_5_line_92 |  | 83 | 84 | 0.025508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_351-310_0_5_line_93 |  | 87 | 89 | 0.020103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_351-310_0_5_line_94 |  | 88 | 89 | 0.019386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_351-310_0_5_line_95 |  | 90 | 91 | 0.0077228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_351-310_0_5_line_96 |  | 91 | 92 | 0.0054856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_351-310_0_5_line_97 |  | 93 | 94 | 0.013524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_351-310_0_5_line_98 |  | 94 | 96 | 0.011395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_351-310_0_5_line_99 |  | 99 | 100 | 0.036133 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_351-310_0_5_line_100 |  | 99 | 101 | 0.073303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-310_0_5_trafo_82 | 0.63 MVA 20/0.4 kV | 102 | 77 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28
0 | 2598707.44 | 1199197.6521 | 2598694.1869 | 1199207.2047 | 2598692.6185 | 1199207.4051 | 2598681.5525 | 1199192.5442 | 2598678.9942 | 1199191.9 | 2598671.9396 | 1199182.3661
1 | 2598707.44 | 1199197.6521 | 2598699.1558 | 1199186.7194
2 | 2598707.44 | 1199197.6521 | 2598723.5934 | 1199219.3934 | 2598732.9761 | 1199231.7646 | 2598734.8791 | 1199234.507
3 | 2598674.4086 | 1199149.4565 | 2598674.6294 | 1199150.0898 | 2598677.5546 | 1199156.9483 | 2598683.2593 | 1199165.7406 | 2598699.1558 | 1199186.7194
4 | 2598740.5298 | 1199270.5948 | 2598741.7464 | 1199263.5129 | 2598742.1109 | 1199259.1994 | 2598742.0034 | 1199255.1417 | 2598741.2181 | 1199249.9502 | 2598740.1741 | 1199246.0039 | 2598738.1401 | 1199240.3902 | 2598736.0073 | 1199236.1329 | 2598734.8791 | 1199234.507
5 | 2598670.3628 | 1199137.673 | 2598672.1304 | 1199142.9198 | 2598674.4086 | 1199149.4565
6 | 2598740.5298 | 1199270.5948 | 2598746.0118 | 1199271.8053
7 | 2598729.9626 | 1199305.9827 | 2598733.0083 | 1199307.1938 | 2598733.2669 | 1199306.0598 | 2598733.5635 | 1199304.7702 | 2598733.7461 | 1199303.9919 | 2598732.2993 | 1199303.2363 | 2598730.4413 | 1199301.8804 | 2598729.1697 | 1199301.1136 | 2598726.9767 | 1199299.7801 | 2598725.5681 | 1199299.0578 | 2598723.3066 | 1199297.891 | 2598722.1645 | 1199297.4911 | 2598723.2601 | 1199294.4781 | 2598724.2119 | 1199294.7447 | 2598726.5571 | 1199295.7669 | 2598728.8642 | 1199296.9559 | 2598730.0362 | 1199294.71 | 2598732.4791 | 1199289.9847 | 2598733.2401 | 1199288.5171 | 2598733.651 | 1199287.7277 | 2598734.062 | 1199286.9383 | 2598734.8687 | 1199285.3928 | 2598736.3527 | 1199282.5243 | 2598737.8823 | 1199279.5779 | 2598738.3389 | 1199278.6662 | 2598738.864 | 1199277.6322 | 2598739.4878 | 1199274.9862 | 2598739.9898 | 1199272.8628 | 2598740.5298 | 1199270.5948
8 | 2598740.5298 | 1199270.5948 | 2598723.086 | 1199264.9401 | 2598716.7509 | 1199262.329 | 2598713.5681 | 1199260.7956 | 2598711.5883 | 1199259.5287 | 2598707.7155 | 1199256.7739
9 | 2598670.3628 | 1199137.673 | 2598669.3108 | 1199132.2148 | 2598668.5254 | 1199127.2345 | 2598668.0064 | 1199121.665 | 2598668.1648 | 1199115.4172 | 2598668.423 | 1199112.4155 | 2598669.0462 | 1199107.9018 | 2598670.0348 | 1199102.4987 | 2598672.2026 | 1199093.6824 | 2598673.3904 | 1199094.0378 | 2598676.0783 | 1199094.8376
10 | 2598746.0118 | 1199271.8053 | 2598746.4071 | 1199268.9037 | 2598746.3294 | 1199261.6887 | 2598745.909 | 1199254.5628
11 | 2598724.9424 | 1199326.984 | 2598726.3798 | 1199320.1356 | 2598726.57 | 1199319.3796 | 2598727.1633 | 1199317.0449 | 2598727.3915 | 1199316.1332 | 2598728.7683 | 1199310.6966 | 2598728.9661 | 1199309.9184 | 2598729.6888 | 1199307.0723 | 2598729.9626 | 1199305.9827
12 | 2598729.9626 | 1199305.9827 | 2598728.8586 | 1199305.5717 | 2598726.0262 | 1199304.8052 | 2598722.638 | 1199303.9722 | 2598702.5605 | 1199300.9418 | 2598688.3154 | 1199299.5999 | 2598672.1517 | 1199298.7922 | 2598664.7896 | 1199299.3053 | 2598657.4882 | 1199300.195
13 | 2598704.9482 | 1199254.8055 | 2598707.7155 | 1199256.7739
14 | 2598658.9227 | 1199201.8717 | 2598661.8821 | 1199206.3562 | 2598671.5848 | 1199218.9051 | 2598678.7359 | 1199227.2523 | 2598683.6555 | 1199232.365 | 2598684.7987 | 1199233.672
15 | 2598684.7987 | 1199233.672 | 2598694.7493 | 1199245.0484
16 | 2598704.9482 | 1199254.8055 | 2598700.3791 | 1199250.7821 | 2598696.5563 | 1199247.1144 | 2598694.7493 | 1199245.0484
17 | 2598678.0547 | 1199244.3172 | 2598682.1653 | 1199241.0589 | 2598689.857 | 1199249.7062 | 2598699.2469 | 1199260.1763 | 2598700.48 | 1199259.0199 | 2598703.0148 | 1199256.6291 | 2598704.9482 | 1199254.8055
18 | 2598712.3246 | 1199116.2852 | 2598704.1537 | 1199109.9948 | 2598689.1975 | 1199098.0141 | 2598687.3091 | 1199097.1918 | 2598685.5426 | 1199096.8476 | 2598683.7763 | 1199097.1371 | 2598681.7205 | 1199096.5261 | 2598676.0783 | 1199094.8376
19 | 2598676.0783 | 1199094.8376 | 2598673.4085 | 1199106.0887 | 2598672.3904 | 1199115.1494 | 2598672.3005 | 1199121.6195 | 2598672.4921 | 1199126.9557 | 2598673.133 | 1199132.5807 | 2598674.3525 | 1199138.1056 | 2598675.7697 | 1199142.919 | 2598679.5386 | 1199152.3936
20 | 2598712.3246 | 1199116.2852 | 2598714.2284 | 1199117.7556
21 | 2598712.3246 | 1199116.2852 | 2598712.7965 | 1199115.4735 | 2598714.0599 | 1199113.261
22 | 2598743.7603 | 1199075.7564 | 2598738.4146 | 1199072.1223
23 | 2598738.4146 | 1199072.1223 | 2598731.032 | 1199084.5751 | 2598728.8154 | 1199088.3216
24 | 2598714.0599 | 1199113.261 | 2598728.8154 | 1199088.3216
25 | 2598595.0564 | 1199263.6252 | 2598601.1474 | 1199264.1351 | 2598610.1011 | 1199264.8889 | 2598618.3391 | 1199265.5872
26 | 2598618.3391 | 1199265.5872 | 2598618.3539 | 1199263.9197 | 2598617.7062 | 1199261.5853 | 2598616.236 | 1199258.395 | 2598612.824 | 1199253.7712 | 2598610.8592 | 1199251.6816 | 2598609.1281 | 1199249.8346
27 | 2598618.3391 | 1199265.5872 | 2598626.4058 | 1199266.0947
28 | 2598583.6037 | 1199286.1401 | 2598584.2799 | 1199280.637 | 2598592.7844 | 1199281.4798 | 2598592.9364 | 1199280.3014 | 2598593.6811 | 1199274.4425 | 2598593.871 | 1199272.9416 | 2598594.0838 | 1199271.2851 | 2598594.912 | 1199264.7592 | 2598595.0564 | 1199263.6252
29 | 2598595.0564 | 1199263.6252 | 2598589.0113 | 1199263.7046 | 2598582.0617 | 1199263.2824
30 | 2598597.2208 | 1199237.1298 | 2598609.1281 | 1199249.8346
31 | 2598635.5916 | 1199266.6725 | 2598626.4058 | 1199266.0947
32 | 2598932.3071 | 1199071.6708 | 2598931.8733 | 1199072.8049 | 2598922.1472 | 1199086.0242
33 | 2598925.1931 | 1199096.9524 | 2598945.0674 | 1199069.6118 | 2598943.8795 | 1199068.7893 | 2598941.2828 | 1199067.0111 | 2598937.7496 | 1199064.6216 | 2598933.3347 | 1199070.3477 | 2598932.3071 | 1199071.6708
34 | 2598932.3071 | 1199071.6708 | 2598933.3347 | 1199070.3477 | 2598937.7496 | 1199064.6216 | 2598941.7306 | 1199059.4736 | 2598943.215 | 1199057.5501
35 | 2598932.3071 | 1199071.6708 | 2598932.2383 | 1199070.5814 | 2598931.9564 | 1199069.5364 | 2598930.9663 | 1199067.8468 | 2598929.3366 | 1199066.0906 | 2598927.4405 | 1199064.6347 | 2598924.7298 | 1199063.3901 | 2598921.8896 | 1199062.4457 | 2598919.2095 | 1199061.9015 | 2598916.5675 | 1199061.6685 | 2598913.4535 | 1199061.9026 | 2598910.4081 | 1199062.5146 | 2598907.8652 | 1199063.4267 | 2598904.919 | 1199065.0837 | 2598885.7218 | 1199076.9194
36 | 2598922.1472 | 1199086.0242 | 2598909.2464 | 1199103.5584
37 | 2598925.1931 | 1199096.9524 | 2598939.8364 | 1199107.9666
38 | 2598925.1931 | 1199096.9524 | 2598916.1033 | 1199109.4565
39 | 2598943.215 | 1199057.5501 | 2598942.2786 | 1199058.0394 | 2598941.068 | 1199058.3509 | 2598939.9412 | 1199058.3511 | 2598939.0275 | 1199058.1401 | 2598932.7074 | 1199054.9507 | 2598928.4815 | 1199053.5063 | 2598926.5887 | 1199053.1612
40 | 2598943.215 | 1199057.5501 | 2598944.1513 | 1199056.8829 | 2598956.7368 | 1199040.7112
41 | 2598861.2648 | 1199091.998 | 2598885.7218 | 1199076.9194
42 | 2598847.0233 | 1199099.725 | 2598848.4089 | 1199099.3245 | 2598849.6879 | 1199098.8573 | 2598851.2257 | 1199098.1121 | 2598852.6645 | 1199097.3003 | 2598861.2648 | 1199091.998
43 | 2598801.5638 | 1199074.6099 | 2598802.7212 | 1199075.0432 | 2598804.3051 | 1199076.1212 | 2598827.6684 | 1199096.0937 | 2598830.7142 | 1199097.8829 | 2598834.1711 | 1199098.9272 | 2598839.1126 | 1199099.7711 | 2598840.9323 | 1199099.9597 | 2598842.7063 | 1199100.0705 | 2598844.3357 | 1199100.0813 | 2598845.8279 | 1199099.9364 | 2598847.0233 | 1199099.725
44 | 2598847.0233 | 1199099.725 | 2598848.7381 | 1199108.496 | 2598849.1498 | 1199111.2418 | 2598848.9752 | 1199113.5097 | 2598848.5645 | 1199115.5664 | 2598847.697 | 1199117.8123 | 2598845.1935 | 1199122.0021
45 | 2598801.5638 | 1199074.6099 | 2598800.201 | 1199074.8103 | 2598799.0438 | 1199075.1663 | 2598798.0008 | 1199075.8113 | 2598797.1635 | 1199076.6453 | 2598776.5829 | 1199111.8185
46 | 2598845.1935 | 1199122.0021 | 2598844.9798 | 1199122.3597 | 2598837.4525 | 1199133.7853
47 | 2598678.0547 | 1199244.3172 | 2598656.2496 | 1199261.6282
48 | 2598678.0547 | 1199244.3172 | 2598672.7769 | 1199237.6593 | 2598669.0144 | 1199232.7997
49 | 2598648.8774 | 1199267.4809 | 2598656.2496 | 1199261.6282
50 | 2598659.4518 | 1199220.3494 | 2598661.1246 | 1199222.6095 | 2598669.0144 | 1199232.7997
51 | 2598916.1774 | 1199052.5637 | 2598916.1774 | 1199052.5637 | 2598920.167 | 1199052.4295 | 2598924.0958 | 1199052.7067 | 2598926.5887 | 1199053.1612
52 | 2598961.7715 | 1199034.2419 | 2598956.7368 | 1199040.7112
53 | 2598583.6037 | 1199286.1401 | 2598593.8754 | 1199287.2362
54 | 2598648.8774 | 1199267.4809 | 2598638.5415 | 1199266.852
55 | 2598635.5916 | 1199266.6725 | 2598638.5415 | 1199266.852
56 | 2598714.0599 | 1199113.261 | 2598723.1129 | 1199120.2122
57 | 2598737.1487 | 1199131.0875 | 2598726.1602 | 1199122.5521 | 2598723.1129 | 1199120.2122
58 | 2598978.196 | 1199033.5307 | 2598974.3201 | 1199031.1079 | 2598995.6415 | 1199003.5337 | 2599000.7191 | 1198998.8637 | 2598998.13 | 1198996.9186 | 2598995.5333 | 1198994.9625 | 2598994.2845 | 1198994.0178 | 2598993.028 | 1198993.0731
59 | 2598993.028 | 1198993.0731 | 2598990.912 | 1198996.7977 | 2598961.7715 | 1199034.2419
60 | 2598978.196 | 1199033.5307 | 2598978.4064 | 1199060.1894 | 2598977.8438 | 1199064.514 | 2598976.4659 | 1199065.5371 | 2598972.6366 | 1199067.7723 | 2598974.2056 | 1199070.8848
61 | 2598968.3282 | 1199114.2869 | 2598957.0351 | 1199104.3837 | 2598954.6976 | 1199103.4725 | 2598952.4593 | 1199104.5735 | 2598943.6674 | 1199114.8362 | 2598940.5377 | 1199112.5912 | 2598937.7431 | 1199110.4795 | 2598939.8364 | 1199107.9666
62 | 2598968.3282 | 1199114.2869 | 2598962.3246 | 1199121.4255
63 | 2598949.2677 | 1199096.6365 | 2598939.8364 | 1199107.9666
64 | 2598951.4618 | 1199134.3421 | 2598962.3246 | 1199121.4255
65 | 2598684.9883 | 1199332.6517 | 2598723.7485 | 1199332.8207 | 2598724.0298 | 1199331.4422 | 2598724.6534 | 1199328.3626 | 2598724.9424 | 1199326.984
66 | 2598644.155 | 1199301.8198 | 2598657.4882 | 1199300.195
67 | 2598916.1033 | 1199109.4565 | 2598903.9538 | 1199126.1695
68 | 2598653.2268 | 1199211.939 | 2598651.3836 | 1199209.0935
69 | 2598653.2268 | 1199211.939 | 2598659.4518 | 1199220.3494
70 | 2598651.3836 | 1199209.0935 | 2598640.1677 | 1199217.3416
71 | 2598932.3453 | 1199164.5938 | 2598931.5108 | 1199167.9892 | 2598930.8876 | 1199173.6924 | 2598930.5308 | 1199179.1398 | 2598930.0824 | 1199183.4199 | 2598929.2579 | 1199186.4137
72 | 2598932.3453 | 1199164.5938 | 2598932.6748 | 1199163.2531 | 2598934.3717 | 1199158.3502 | 2598936.0916 | 1199154.1698 | 2598938.1004 | 1199150.4342
73 | 2598597.2208 | 1199237.1298 | 2598586.7918 | 1199226.0025
74 | 2598909.2464 | 1199103.5584 | 2598893.0024 | 1199125.6366
75 | 2598776.5829 | 1199111.8185 | 2598761.9677 | 1199136.7964
76 | 2598836.0213 | 1199135.9577 | 2598837.4525 | 1199133.7853
77 | 2598906.9042 | 1199054.7556 | 2598909.7059 | 1199053.7656 | 2598912.5914 | 1199053.1425 | 2598916.1774 | 1199052.5637
78 | 2598737.1487 | 1199131.0875 | 2598743.6106 | 1199136.0385
79 | 2598734.987 | 1199133.7894 | 2598737.1487 | 1199131.0875
80 | 2598951.4618 | 1199134.3421 | 2598946.4924 | 1199140.251
81 | 2598872.8468 | 1199153.0312 | 2598893.0024 | 1199125.6366
82 | 2598752.0675 | 1199147.0594 | 2598753.9013 | 1199142.2453
83 | 2598752.0675 | 1199147.0594 | 2598743.7271 | 1199158.2797
84 | 2598753.9013 | 1199142.2453 | 2598754.7844 | 1199141.8783 | 2598755.3705 | 1199141.3556 | 2598755.9567 | 1199140.7552 | 2598764.196 | 1199126.7505
85 | 2598756.7572 | 1199145.602 | 2598753.9013 | 1199142.2453
86 | 2598753.9013 | 1199142.2453 | 2598752.6907 | 1199142.2234 | 2598751.5943 | 1199141.9901 | 2598750.5663 | 1199141.3678 | 2598743.6106 | 1199136.0385
87 | 2598743.7271 | 1199158.2797 | 2598743.4057 | 1199158.712 | 2598730.815 | 1199174.5357
88 | 2598756.7572 | 1199145.602 | 2598758.5914 | 1199142.5667 | 2598761.9677 | 1199136.7964
89 | 2598768.1426 | 1199120.0423 | 2598772.6911 | 1199112.3111
90 | 2598764.196 | 1199126.7505 | 2598768.1426 | 1199120.0423
91 | 2598906.9042 | 1199054.7556 | 2598902.6194 | 1199043.1957
92 | 2598906.9042 | 1199054.7556 | 2598904.1559 | 1199055.979 | 2598884.9814 | 1199067.7499
93 | 2598892.1331 | 1199142.4303 | 2598903.9538 | 1199126.1695
94 | 2598880.7343 | 1199158.1107 | 2598892.1331 | 1199142.4303
95 | 2598941.5217 | 1199146.1616 | 2598946.4924 | 1199140.251
96 | 2598938.1004 | 1199150.4342 | 2598938.4053 | 1199149.8671 | 2598941.5217 | 1199146.1616
97 | 2598734.987 | 1199133.7894 | 2598726.7544 | 1199144.5185
98 | 2598719.8174 | 1199153.559 | 2598726.7544 | 1199144.5185
99 | 2598836.0213 | 1199135.9577 | 2598832.8993 | 1199133.9795 | 2598834.3835 | 1199131.8003 | 2598829.2664 | 1199128.3884 | 2598824.7356 | 1199125.3544 | 2598824.2177 | 1199124.6652 | 2598824.0347 | 1199123.3201 | 2598823.5549 | 1199122.6865 | 2598818.6281 | 1199119.5526 | 2598817.6002 | 1199119.2637 | 2598816.6333 | 1199119.4418 | 2598812.9186 | 1199123.1446 | 2598812.4165 | 1199125.1902
100 | 2598788.4718 | 1199162.204 | 2598802.4676 | 1199171.0724 | 2598810.2269 | 1199175.9957 | 2598820.5172 | 1199159.7403 | 2598835.1384 | 1199137.292 | 2598836.0213 | 1199135.9577

## bus_geodata
| x | y | coords
0 | 2598671.9396 | 1199182.3661
1 | 2598707.44 | 1199197.6521
2 | 2598699.1558 | 1199186.7194
3 | 2598734.8791 | 1199234.507
4 | 2598674.4086 | 1199149.4565
5 | 2598740.5298 | 1199270.5948
6 | 2598670.3628 | 1199137.673
7 | 2598746.0118 | 1199271.8053
8 | 2598729.9626 | 1199305.9827
9 | 2598707.7155 | 1199256.7739
10 | 2598658.9227 | 1199201.8717
11 | 2598684.7987 | 1199233.672
12 | 2598694.7493 | 1199245.0484
13 | 2598704.9482 | 1199254.8055
14 | 2598676.0783 | 1199094.8376
15 | 2598712.3246 | 1199116.2852
16 | 2598679.5386 | 1199152.3936
17 | 2598738.4146 | 1199072.1223
18 | 2598743.7603 | 1199075.7564
19 | 2598728.8154 | 1199088.3216
20 | 2598618.3391 | 1199265.5872
21 | 2598595.0564 | 1199263.6252
22 | 2598609.1281 | 1199249.8346
23 | 2598626.4058 | 1199266.0947
24 | 2598932.3071 | 1199071.6708
25 | 2598922.1472 | 1199086.0242
26 | 2598925.1931 | 1199096.9524
27 | 2598943.215 | 1199057.5501
28 | 2598885.7218 | 1199076.9194
29 | 2598847.0233 | 1199099.725
30 | 2598861.2648 | 1199091.998
31 | 2598801.5638 | 1199074.6099
32 | 2598845.1935 | 1199122.0021
33 | 2598678.0547 | 1199244.3172
34 | 2598656.2496 | 1199261.6282
35 | 2598669.0144 | 1199232.7997
36 | 2598926.5887 | 1199053.1612
37 | 2598956.7368 | 1199040.7112
38 | 2598583.6037 | 1199286.1401
39 | 2598582.0617 | 1199263.2824
40 | 2598648.8774 | 1199267.4809
41 | 2598638.5415 | 1199266.852
42 | 2598714.0599 | 1199113.261
43 | 2598723.1129 | 1199120.2122
44 | 2598745.909 | 1199254.5628
45 | 2598993.028 | 1198993.0731
46 | 2598978.196 | 1199033.5307
47 | 2598961.7715 | 1199034.2419
48 | 2598968.3282 | 1199114.2869
49 | 2598939.8364 | 1199107.9666
50 | 2598962.3246 | 1199121.4255
51 | 2598974.2056 | 1199070.8848
52 | 2598714.2284 | 1199117.7556
53 | 2598724.9424 | 1199326.984
54 | 2598657.4882 | 1199300.195
55 | 2598916.1033 | 1199109.4565
56 | 2598635.5916 | 1199266.6725
57 | 2598593.8754 | 1199287.2362
58 | 2598653.2268 | 1199211.939
59 | 2598651.3836 | 1199209.0935
60 | 2598659.4518 | 1199220.3494
61 | 2598640.1677 | 1199217.3416
62 | 2598929.2579 | 1199186.4137
63 | 2598932.3453 | 1199164.5938
64 | 2598597.2208 | 1199237.1298
65 | 2598909.2464 | 1199103.5584
66 | 2598776.5829 | 1199111.8185
67 | 2598837.4525 | 1199133.7853
68 | 2598916.1774 | 1199052.5637
69 | 2598737.1487 | 1199131.0875
70 | 2598949.2677 | 1199096.6365
71 | 2598951.4618 | 1199134.3421
72 | 2598586.7918 | 1199226.0025
73 | 2598872.8468 | 1199153.0313
74 | 2598893.0024 | 1199125.6366
75 | 2598752.0675 | 1199147.0594
76 | 2598753.9013 | 1199142.2453
77 | 2598743.7271 | 1199158.2797
78 | 2598756.7572 | 1199145.602
79 | 2598761.9677 | 1199136.7964
80 | 2598772.6911 | 1199112.3111
81 | 2598768.1426 | 1199120.0423
82 | 2598902.6194 | 1199043.1957
83 | 2598906.9042 | 1199054.7556
84 | 2598884.9814 | 1199067.7499
85 | 2598684.9883 | 1199332.6517
86 | 2598644.155 | 1199301.8198
87 | 2598903.9538 | 1199126.1695
88 | 2598880.7343 | 1199158.1107
89 | 2598892.1331 | 1199142.4303
90 | 2598946.4924 | 1199140.251
91 | 2598941.5217 | 1199146.1615
92 | 2598938.1004 | 1199150.4342
93 | 2598734.987 | 1199133.7894
94 | 2598726.7544 | 1199144.5185
95 | 2598743.6106 | 1199136.0385
96 | 2598719.8174 | 1199153.559
97 | 2598764.196 | 1199126.7505
98 | 2598730.815 | 1199174.5357
99 | 2598836.0213 | 1199135.9577
100 | 2598812.4165 | 1199125.1902
101 | 2598788.4718 | 1199162.204
102 | 2598752.0675 | 1199147.0594

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1