## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-312_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-312_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-312_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-312_0_2_node_28 | 0.4 | n |  | TRUE
4 | bus_LV_351-312_0_2_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_351-312_0_2_node_47 | 0.4 | n |  | TRUE
6 | bus_LV_351-312_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_351-312_0_2_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_351-312_0_2_node_69 | 0.4 | n |  | TRUE
9 | bus_LV_351-312_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_351-312_0_2_node_73 | 0.4 | n |  | TRUE
11 | bus_LV_351-312_0_2_node_118 | 0.4 | n |  | TRUE
12 | bus_LV_351-312_0_2_node_63 | 0.4 | n |  | TRUE
13 | bus_LV_351-312_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_351-312_0_2_node_51 | 0.4 | n |  | TRUE
15 | bus_LV_351-312_0_2_node_74 | 0.4 | n |  | TRUE
16 | bus_LV_351-312_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_351-312_0_2_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_351-312_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_351-312_0_2_node_44 | 0.4 | n |  | TRUE
20 | bus_LV_351-312_0_2_node_50 | 0.4 | n |  | TRUE
21 | bus_LV_351-312_0_2_node_39 | 0.4 | n |  | TRUE
22 | bus_LV_351-312_0_2_node_48 | 0.4 | n |  | TRUE
23 | bus_LV_351-312_0_2_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_351-312_0_2_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_351-312_0_2_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_351-312_0_2_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_351-312_0_2_node_40 | 0.4 | n |  | TRUE
28 | bus_LV_351-312_0_2_node_41 | 0.4 | n |  | TRUE
29 | bus_LV_351-312_0_2_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_351-312_0_2_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_351-312_0_2_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_351-312_0_2_node_61 | 0.4 | n |  | TRUE
33 | bus_LV_351-312_0_2_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_351-312_0_2_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_351-312_0_2_node_66 | 0.4 | n |  | TRUE
36 | bus_LV_351-312_0_2_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_351-312_0_2_node_117 | 0.4 | n |  | TRUE
38 | bus_LV_351-312_0_2_node_21 | 0.4 | n |  | TRUE
39 | bus_LV_351-312_0_2_node_65 | 0.4 | n |  | TRUE
40 | bus_LV_351-312_0_2_node_67 | 0.4 | n |  | TRUE
41 | bus_LV_351-312_0_2_node_52 | 0.4 | n |  | TRUE
42 | bus_LV_351-312_0_2_node_70 | 0.4 | n |  | TRUE
43 | bus_LV_351-312_0_2_node_72 | 0.4 | n |  | TRUE
44 | bus_LV_351-312_0_2_node_71 | 0.4 | n |  | TRUE
45 | bus_LV_351-312_0_2_node_62 | 0.4 | n |  | TRUE
46 | bus_LV_351-312_0_2_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_351-312_0_2_node_57 | 0.4 | n |  | TRUE
48 | bus_LV_351-312_0_2_node_49 | 0.4 | n |  | TRUE
49 | bus_LV_351-312_0_2_node_60 | 0.4 | n |  | TRUE
50 | bus_LV_351-312_0_2_node_59 | 0.4 | n |  | TRUE
51 | bus_LV_351-312_0_2_node_64 | 0.4 | n |  | TRUE
52 | bus_LV_351-312_0_2_node_68 | 0.4 | n |  | TRUE
53 | bus_LV_351-312_0_2_node_112 | 0.4 | n |  | TRUE
54 | bus_LV_351-312_0_2_node_113 | 0.4 | n |  | TRUE
55 | bus_LV_351-312_0_2_node_53 | 0.4 | n |  | TRUE
56 | bus_LV_351-312_0_2_node_58 | 0.4 | n |  | TRUE
57 | bus_LV_351-312_0_2_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_351-312_0_2_node_116 | 0.4 | n |  | TRUE
59 | bus_LV_351-312_0_2_node_114 | 0.4 | n |  | TRUE
60 | bus_MV_600_0_node_27 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-312_0_2_load_0 | 0 | 0.012911 | 0.0032359 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-312_0_2_load_1 | 1 | 0.0088984 | 0.0022301 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-312_0_2_load_47 | 5 | 0.0040955 | 0.0010264 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-312_0_2_load_69 | 8 | 0.004355 | 0.0010915 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-312_0_2_load_73 | 10 | 0.0025166 | 0.00063072 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-312_0_2_load_118 | 11 | 0.0026085 | 0.00065374 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-312_0_2_load_63 | 12 | 0.0035634 | 0.00089308 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-312_0_2_load_51 | 14 | 0.02072 | 0.005193 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-312_0_2_load_74 | 15 | 0.0025403 | 0.00063665 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-312_0_2_load_46 | 17 | 0.0039745 | 0.00099611 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-312_0_2_load_44 | 19 | 0.0021921 | 0.00054939 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-312_0_2_load_50 | 20 | 0.0028139 | 0.00070523 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-312_0_2_load_39 | 21 | 0.0046557 | 0.0011668 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-312_0_2_load_48 | 22 | 0.0048351 | 0.0012118 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-312_0_2_load_45 | 24 | 0.0025422 | 0.00063713 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-312_0_2_load_42 | 26 | 0.0025682 | 0.00064365 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-312_0_2_load_40 | 27 | 0.0038022 | 0.00095291 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-312_0_2_load_38 | 29 | 0.0046756 | 0.0011718 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-312_0_2_load_61 | 32 | 0.003849 | 0.00096466 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-312_0_2_load_66 | 35 | 0.0028441 | 0.0007128 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-312_0_2_load_117 | 37 | 0.0018353 | 0.00045996 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-312_0_2_load_65 | 39 | 0.0025257 | 0.00063299 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-312_0_2_load_67 | 40 | 0.0018936 | 0.00047459 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-312_0_2_load_52 | 41 | 0.0037341 | 0.00093585 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-312_0_2_load_70 | 42 | 0.0021332 | 0.00053462 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-312_0_2_load_72 | 43 | 0.002523 | 0.00063233 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-312_0_2_load_71 | 44 | 0.002586 | 0.0006481 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-312_0_2_load_62 | 45 | 0.0040014 | 0.0010029 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-312_0_2_load_43 | 46 | 0.0021969 | 0.0005506 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-312_0_2_load_57 | 47 | 0.002743 | 0.00068745 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-312_0_2_load_49 | 48 | 0.0035798 | 0.00089718 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-312_0_2_load_60 | 49 | 0.0033548 | 0.00084078 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-312_0_2_load_59 | 50 | 0.0033643 | 0.00084318 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-312_0_2_load_64 | 51 | 0.0039227 | 0.00098312 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-312_0_2_load_68 | 52 | 0.0018421 | 0.00046166 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-312_0_2_load_112 | 53 | 0.0027924 | 0.00069984 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-312_0_2_load_113 | 54 | 0.0028175 | 0.00070614 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-312_0_2_load_53 | 55 | 0.0035729 | 0.00089546 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-312_0_2_load_54 | 57 | 0.0063314 | 0.0015868 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-312_0_2_load_116 | 58 | 0.0028814 | 0.00072216 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-312_0_2_load_114 | 59 | 0.0027421 | 0.00068724 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 46 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-312_0_2_line_0 |  | 0 | 1 | 0.028656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-312_0_2_line_1 |  | 0 | 2 | 0.013906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-312_0_2_line_2 |  | 2 | 3 | 0.021745 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-312_0_2_line_3 |  | 3 | 41 | 0.0097952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-312_0_2_line_4 |  | 3 | 4 | 0.035217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-312_0_2_line_5 |  | 4 | 5 | 0.031146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-312_0_2_line_6 |  | 5 | 16 | 0.035187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-312_0_2_line_7 |  | 6 | 7 | 0.0085948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-312_0_2_line_8 |  | 6 | 8 | 0.015059 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-312_0_2_line_9 |  | 7 | 12 | 0.003852 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-312_0_2_line_10 |  | 7 | 9 | 0.0092004 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-312_0_2_line_11 |  | 9 | 10 | 0.014638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-312_0_2_line_12 |  | 9 | 11 | 0.0082458 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-312_0_2_line_13 |  | 10 | 43 | 0.0067988 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-312_0_2_line_14 |  | 11 | 34 | 0.022301 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-312_0_2_line_15 |  | 12 | 45 | 0.017547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-312_0_2_line_16 |  | 13 | 14 | 0.01826 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-312_0_2_line_17 |  | 13 | 15 | 0.01895 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-312_0_2_line_18 |  | 14 | 17 | 0.0094661 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-312_0_2_line_19 |  | 15 | 42 | 0.0076394 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-312_0_2_line_20 |  | 16 | 17 | 0.022215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-312_0_2_line_21 |  | 16 | 18 | 0.0092207 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-312_0_2_line_22 |  | 16 | 19 | 0.0086865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
23 | LV_351-312_0_2_line_23 |  | 18 | 20 | 0.029487 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-312_0_2_line_24 |  | 18 | 21 | 0.018239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-312_0_2_line_25 |  | 18 | 22 | 0.014321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-312_0_2_line_26 |  | 19 | 46 | 0.00612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_351-312_0_2_line_27 |  | 20 | 47 | 0.0074262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-312_0_2_line_28 |  | 21 | 29 | 0.016576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-312_0_2_line_29 |  | 22 | 48 | 0.009481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-312_0_2_line_30 |  | 23 | 24 | 0.0022546 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-312_0_2_line_31 |  | 23 | 25 | 0.009966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-312_0_2_line_32 |  | 23 | 26 | 0.010268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-312_0_2_line_33 |  | 24 | 31 | 0.011998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-312_0_2_line_34 |  | 25 | 27 | 0.030572 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-312_0_2_line_35 |  | 25 | 28 | 0.006186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-312_0_2_line_36 |  | 25 | 29 | 0.015911 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-312_0_2_line_37 |  | 28 | 49 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-312_0_2_line_38 |  | 28 | 50 | 0.028638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-312_0_2_line_39 |  | 30 | 31 | 0.0096838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-312_0_2_line_40 |  | 30 | 32 | 0.011223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-312_0_2_line_41 |  | 32 | 45 | 0.020848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-312_0_2_line_42 |  | 33 | 34 | 0.010705 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-312_0_2_line_43 |  | 33 | 35 | 0.01312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-312_0_2_line_44 |  | 34 | 36 | 0.056321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-312_0_2_line_45 |  | 34 | 37 | 0.020819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-312_0_2_line_46 |  | 35 | 38 | 0.038377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-312_0_2_line_47 |  | 36 | 40 | 0.010256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-312_0_2_line_48 |  | 38 | 39 | 0.039483 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-312_0_2_line_49 |  | 39 | 51 | 0.02229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-312_0_2_line_50 |  | 40 | 52 | 0.00014393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-312_0_2_line_51 |  | 41 | 55 | 0.023269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-312_0_2_line_52 |  | 43 | 44 | 0.006889 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-312_0_2_line_53 |  | 47 | 56 | 0.0027053 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-312_0_2_line_54 |  | 53 | 54 | 0.023016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-312_0_2_line_55 |  | 54 | 59 | 0.0074246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-312_0_2_line_56 |  | 55 | 57 | 0.02718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-312_0_2_line_57 |  | 56 | 58 | 0.006452 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-312_0_2_line_58 |  | 56 | 59 | 0.0054129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-312_0_2_trafo_43 | 0.63 MVA 20/0.4 kV | 60 | 46 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2598689.9698 | 1199023.612 | 2598682.9265 | 1199051.3894
1 | 2598693.3876 | 1199010.1327 | 2598689.9698 | 1199023.612
2 | 2598693.3876 | 1199010.1327 | 2598696.0196 | 1198999.771 | 2598696.2326 | 1198998.6815 | 2598697.2454 | 1198999.3817 | 2598699.903 | 1199001.2376 | 2598703.2232 | 1199003.5492 | 2598704.3959 | 1199004.3604
3 | 2598704.3959 | 1199004.3604 | 2598703.8479 | 1199005.2277 | 2598703.5207 | 1199006.106 | 2598701.5851 | 1199013.6951
4 | 2598704.3959 | 1199004.3604 | 2598703.2232 | 1199003.5492 | 2598699.903 | 1199001.2376 | 2598701.5386 | 1198995.234 | 2598703.6479 | 1198996.1562 | 2598705.9626 | 1198996.6893 | 2598707.7823 | 1198996.511 | 2598709.2974 | 1198996.0549 | 2598710.5687 | 1198995.1652 | 2598711.2157 | 1198994.4314 | 2598711.4819 | 1198993.1306 | 2598711.1693 | 1198991.4965 | 2598710.4455 | 1198989.3288 | 2598709.3563 | 1198987.4058 | 2598708.4805 | 1198986.4055 | 2598711.267 | 1198985.8267 | 2598712.4852 | 1198985.5819
5 | 2598712.4852 | 1198985.5819 | 2598712.6986 | 1198986.549 | 2598713.0034 | 1198987.4161 | 2598713.567 | 1198988.3498 | 2598715.0901 | 1198989.639 | 2598735.0279 | 1199006.5597
6 | 2598761.8557 | 1199029.3276 | 2598735.0279 | 1199006.5597
7 | 2598844.7337 | 1199036.5472 | 2598845.3656 | 1199035.88 | 2598848.0755 | 1199032.989 | 2598850.8703 | 1199035.4342
8 | 2598844.7337 | 1199036.5472 | 2598844.673 | 1199037.103 | 2598844.4751 | 1199037.7145 | 2598844.1098 | 1199038.3371 | 2598834.847 | 1199047.6502
9 | 2598853.7793 | 1199037.9683 | 2598852.9949 | 1199037.2792 | 2598850.8703 | 1199035.4342
10 | 2598851.8283 | 1199028.9861 | 2598851.0899 | 1199029.7756 | 2598848.0755 | 1199032.989 | 2598850.8703 | 1199035.4342
11 | 2598851.8283 | 1199028.9861 | 2598850.6101 | 1199029.1865 | 2598849.5061 | 1199029.1089 | 2598848.5924 | 1199028.8311 | 2598840.0433 | 1199021.3789
12 | 2598851.8283 | 1199028.9861 | 2598852.8332 | 1199028.4078 | 2598857.7669 | 1199023.321
13 | 2598840.0433 | 1199021.3789 | 2598834.9182 | 1199016.9114
14 | 2598873.295 | 1199007.3146 | 2598870.3795 | 1199010.3168 | 2598857.7669 | 1199023.321
15 | 2598853.7793 | 1199037.9683 | 2598841.619 | 1199050.618
16 | 2598794.7318 | 1198991.7337 | 2598782.7112 | 1199005.4793
17 | 2598794.7318 | 1198991.7337 | 2598809.0806 | 1199004.1116
18 | 2598776.4797 | 1199012.605 | 2598782.7112 | 1199005.4793
19 | 2598809.0806 | 1199004.1116 | 2598814.8652 | 1199009.1016
20 | 2598761.8557 | 1199029.3276 | 2598776.4797 | 1199012.605
21 | 2598758.1648 | 1199037.7774 | 2598758.8801 | 1199036.143 | 2598760.1815 | 1199033.1633 | 2598761.3914 | 1199030.3949 | 2598761.8557 | 1199029.3276
22 | 2598761.8557 | 1199029.3276 | 2598768.4675 | 1199034.9614
23 | 2598758.1648 | 1199037.7774 | 2598743.4652 | 1199063.3395
24 | 2598758.1648 | 1199037.7774 | 2598772.0779 | 1199049.5712
25 | 2598758.1648 | 1199037.7774 | 2598747.324 | 1199028.4192
26 | 2598773.1258 | 1199038.9307 | 2598768.4675 | 1199034.9614
27 | 2598743.4652 | 1199063.3395 | 2598739.7632 | 1199069.7771
28 | 2598772.0779 | 1199049.5712 | 2598784.7221 | 1199060.2894
29 | 2598740.1472 | 1199022.2239 | 2598747.324 | 1199028.4192
30 | 2598801.1804 | 1199061.6253 | 2598803.3885 | 1199062.0806
31 | 2598796.8424 | 1199070.5977 | 2598799.3615 | 1199065.3832 | 2598800.6857 | 1199062.6481 | 2598801.1804 | 1199061.6253
32 | 2598801.1804 | 1199061.6253 | 2598799.589 | 1199061.2921 | 2598799.056 | 1199061.0254 | 2598792.932 | 1199055.8072
33 | 2598813.2192 | 1199068.4152 | 2598812.1838 | 1199068.4043 | 2598811.3081 | 1199068.2711 | 2598810.6685 | 1199067.9711 | 2598803.9977 | 1199062.4584 | 2598803.3885 | 1199062.0806
34 | 2598796.8424 | 1199070.5977 | 2598795.054 | 1199074.3 | 2598781.6367 | 1199097.1059
35 | 2598801.5638 | 1199074.6099 | 2598800.6805 | 1199073.8541 | 2598796.8424 | 1199070.5977
36 | 2598796.8424 | 1199070.5977 | 2598793.6441 | 1199067.8524 | 2598784.7221 | 1199060.2894
37 | 2598801.5638 | 1199074.6099 | 2598800.201 | 1199074.8103 | 2598799.0438 | 1199075.1663 | 2598798.0008 | 1199075.8113 | 2598797.1635 | 1199076.6453 | 2598792.3611 | 1199084.8527
38 | 2598801.5638 | 1199074.6099 | 2598802.7212 | 1199075.0432 | 2598804.3051 | 1199076.1212 | 2598823.6777 | 1199092.6822
39 | 2598813.2192 | 1199068.4152 | 2598814.0569 | 1199069.0821 | 2598816.8973 | 1199071.3716 | 2598819.692 | 1199073.6167 | 2598820.7658 | 1199074.4836
40 | 2598820.7658 | 1199074.4836 | 2598820.8645 | 1199073.3274 | 2598821.1764 | 1199072.2712 | 2598821.7549 | 1199071.2816 | 2598827.1707 | 1199065.6479
41 | 2598827.1707 | 1199065.6479 | 2598841.619 | 1199050.618
42 | 2598873.295 | 1199007.3146 | 2598874.3306 | 1199008.2816 | 2598875.8232 | 1199009.6709 | 2598877.7956 | 1199011.4937 | 2598878.519 | 1199012.1606 | 2598876.0374 | 1199014.7403
43 | 2598876.0374 | 1199014.7403 | 2598885.4239 | 1199023.9067
44 | 2598873.295 | 1199007.3146 | 2598870.2793 | 1199004.5248 | 2598866.266 | 1199000.8126 | 2598852.7641 | 1198988.2975 | 2598841.2954 | 1198977.6719 | 2598848.588 | 1198970.1998 | 2598849.1284 | 1198969.4215 | 2598849.3567 | 1198968.7322 | 2598849.4555 | 1198968.1541
45 | 2598873.295 | 1199007.3146 | 2598875.0915 | 1199005.4577 | 2598887.674 | 1198992.2593
46 | 2598906.9042 | 1199054.7556 | 2598902.0669 | 1199041.7051 | 2598899.1195 | 1199037.2811 | 2598885.4239 | 1199023.9067
47 | 2598849.4555 | 1198968.1541 | 2598853.4832 | 1198967.7197 | 2598856.7032 | 1198964.484 | 2598857.8629 | 1198963.3249
48 | 2598906.9042 | 1199054.7556 | 2598904.1559 | 1199055.979 | 2598873.071 | 1199075.0615
49 | 2598854.0749 | 1199086.7229 | 2598873.071 | 1199075.0615
50 | 2598857.8629 | 1198963.3249 | 2598857.9647 | 1198963.2232
51 | 2598701.5851 | 1199013.6951 | 2598695.8344 | 1199036.2422
52 | 2598829.7252 | 1199012.3846 | 2598834.9182 | 1199016.9114
53 | 2598738.4146 | 1199072.1223 | 2598739.7632 | 1199069.7771
54 | 2598720.1466 | 1199102.9733 | 2598731.032 | 1199084.5751 | 2598731.868 | 1199083.1651
55 | 2598731.868 | 1199083.1651 | 2598735.6542 | 1199076.7785
56 | 2598695.8344 | 1199036.2422 | 2598689.1171 | 1199062.579
57 | 2598743.7603 | 1199075.7564 | 2598738.4146 | 1199072.1223
58 | 2598738.4146 | 1199072.1223 | 2598735.6542 | 1199076.7785

## bus_geodata
| x | y | coords
0 | 2598689.9698 | 1199023.612
1 | 2598682.9265 | 1199051.3894
2 | 2598693.3876 | 1199010.1327
3 | 2598704.3959 | 1199004.3604
4 | 2598712.4852 | 1198985.5819
5 | 2598735.0279 | 1199006.5597
6 | 2598844.7337 | 1199036.5472
7 | 2598850.8703 | 1199035.4342
8 | 2598834.847 | 1199047.6502
9 | 2598851.8283 | 1199028.9861
10 | 2598840.0433 | 1199021.3789
11 | 2598857.7669 | 1199023.321
12 | 2598853.7793 | 1199037.9683
13 | 2598794.7318 | 1198991.7337
14 | 2598782.7112 | 1199005.4793
15 | 2598809.0806 | 1199004.1116
16 | 2598761.8557 | 1199029.3276
17 | 2598776.4797 | 1199012.605
18 | 2598758.1648 | 1199037.7774
19 | 2598768.4675 | 1199034.9614
20 | 2598743.4652 | 1199063.3395
21 | 2598772.0779 | 1199049.5712
22 | 2598747.324 | 1199028.4192
23 | 2598801.1804 | 1199061.6253
24 | 2598803.3885 | 1199062.0806
25 | 2598796.8424 | 1199070.5977
26 | 2598792.932 | 1199055.8072
27 | 2598781.6367 | 1199097.1059
28 | 2598801.5638 | 1199074.6099
29 | 2598784.7221 | 1199060.2894
30 | 2598820.7658 | 1199074.4836
31 | 2598813.2192 | 1199068.4152
32 | 2598827.1707 | 1199065.6479
33 | 2598876.0374 | 1199014.7403
34 | 2598873.295 | 1199007.3146
35 | 2598885.4239 | 1199023.9067
36 | 2598849.4555 | 1198968.1541
37 | 2598887.674 | 1198992.2593
38 | 2598906.9042 | 1199054.7556
39 | 2598873.071 | 1199075.0615
40 | 2598857.8629 | 1198963.3249
41 | 2598701.5851 | 1199013.6951
42 | 2598814.8652 | 1199009.1016
43 | 2598834.9182 | 1199016.9114
44 | 2598829.7252 | 1199012.3846
45 | 2598841.619 | 1199050.618
46 | 2598773.1258 | 1199038.9307
47 | 2598739.7632 | 1199069.7771
48 | 2598740.1472 | 1199022.2239
49 | 2598792.3611 | 1199084.8527
50 | 2598823.6777 | 1199092.6822
51 | 2598854.0749 | 1199086.7229
52 | 2598857.9647 | 1198963.2232
53 | 2598720.1466 | 1199102.9733
54 | 2598731.868 | 1199083.1651
55 | 2598695.8344 | 1199036.2422
56 | 2598738.4146 | 1199072.1223
57 | 2598689.1171 | 1199062.579
58 | 2598743.7603 | 1199075.7564
59 | 2598735.6542 | 1199076.7785
60 | 2598761.8557 | 1199029.3276

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1