## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-312_1_5_node_3 | 0.4 | n |  | TRUE
1 | bus_LV_351-312_1_5_node_30 | 0.4 | n |  | TRUE
2 | bus_LV_351-312_1_5_node_4 | 0.4 | n |  | TRUE
3 | bus_LV_351-312_1_5_node_94 | 0.4 | n |  | TRUE
4 | bus_LV_351-312_1_5_node_24 | 0.4 | n |  | TRUE
5 | bus_LV_351-312_1_5_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_351-312_1_5_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_351-312_1_5_node_55 | 0.4 | n |  | TRUE
8 | bus_LV_351-312_1_5_node_37 | 0.4 | n |  | TRUE
9 | bus_LV_351-312_1_5_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_351-312_1_5_node_31 | 0.4 | n |  | TRUE
11 | bus_LV_351-312_1_5_node_32 | 0.4 | n |  | TRUE
12 | bus_LV_351-312_1_5_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_351-312_1_5_node_36 | 0.4 | n |  | TRUE
14 | bus_LV_351-312_1_5_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_351-312_1_5_node_89 | 0.4 | n |  | TRUE
16 | bus_LV_351-312_1_5_node_90 | 0.4 | n |  | TRUE
17 | bus_LV_351-312_1_5_node_115 | 0.4 | n |  | TRUE
18 | bus_LV_351-312_1_5_node_75 | 0.4 | n |  | TRUE
19 | bus_LV_351-312_1_5_node_76 | 0.4 | n |  | TRUE
20 | bus_LV_351-312_1_5_node_77 | 0.4 | n |  | TRUE
21 | bus_LV_351-312_1_5_node_78 | 0.4 | n |  | TRUE
22 | bus_LV_351-312_1_5_node_80 | 0.4 | n |  | TRUE
23 | bus_LV_351-312_1_5_node_79 | 0.4 | n |  | TRUE
24 | bus_LV_351-312_1_5_node_93 | 0.4 | n |  | TRUE
25 | bus_LV_351-312_1_5_node_96 | 0.4 | n |  | TRUE
26 | bus_LV_351-312_1_5_node_111 | 0.4 | n |  | TRUE
27 | bus_LV_351-312_1_5_node_81 | 0.4 | n |  | TRUE
28 | bus_LV_351-312_1_5_node_82 | 0.4 | n |  | TRUE
29 | bus_LV_351-312_1_5_node_83 | 0.4 | n |  | TRUE
30 | bus_LV_351-312_1_5_node_84 | 0.4 | n |  | TRUE
31 | bus_LV_351-312_1_5_node_85 | 0.4 | n |  | TRUE
32 | bus_LV_351-312_1_5_node_97 | 0.4 | n |  | TRUE
33 | bus_LV_351-312_1_5_node_86 | 0.4 | n |  | TRUE
34 | bus_LV_351-312_1_5_node_87 | 0.4 | n |  | TRUE
35 | bus_LV_351-312_1_5_node_88 | 0.4 | n |  | TRUE
36 | bus_LV_351-312_1_5_node_105 | 0.4 | n |  | TRUE
37 | bus_LV_351-312_1_5_node_107 | 0.4 | n |  | TRUE
38 | bus_LV_351-312_1_5_node_91 | 0.4 | n |  | TRUE
39 | bus_LV_351-312_1_5_node_92 | 0.4 | n |  | TRUE
40 | bus_LV_351-312_1_5_node_100 | 0.4 | n |  | TRUE
41 | bus_LV_351-312_1_5_node_104 | 0.4 | n |  | TRUE
42 | bus_LV_351-312_1_5_node_109 | 0.4 | n |  | TRUE
43 | bus_LV_351-312_1_5_node_98 | 0.4 | n |  | TRUE
44 | bus_LV_351-312_1_5_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_351-312_1_5_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_351-312_1_5_node_102 | 0.4 | n |  | TRUE
47 | bus_LV_351-312_1_5_node_103 | 0.4 | n |  | TRUE
48 | bus_LV_351-312_1_5_node_106 | 0.4 | n |  | TRUE
49 | bus_LV_351-312_1_5_node_108 | 0.4 | n |  | TRUE
50 | bus_LV_351-312_1_5_node_110 | 0.4 | n |  | TRUE
51 | bus_MV_600_0_node_34 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-312_1_5_load_3 | 0 | 0.036842 | 0.0092335 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-312_1_5_load_4 | 2 | 0.039563 | 0.0099155 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-312_1_5_load_56 | 5 | 0.0054158 | 0.0013573 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-312_1_5_load_55 | 7 | 0.0054814 | 0.0013738 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-312_1_5_load_37 | 8 | 0.011659 | 0.0029219 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-312_1_5_load_31 | 10 | 0.013503 | 0.0033841 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-312_1_5_load_36 | 13 | 0.013867 | 0.0034754 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-312_1_5_load_115 | 17 | 0.0027223 | 0.00068227 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-312_1_5_load_75 | 18 | 0.01113 | 0.0027893 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-312_1_5_load_76 | 19 | 0.0095896 | 0.0024034 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-312_1_5_load_78 | 21 | 0.013232 | 0.0033163 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-312_1_5_load_111 | 26 | 0.0095322 | 0.002389 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-312_1_5_load_81 | 27 | 0.013649 | 0.0034208 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-312_1_5_load_82 | 28 | 0.028131 | 0.0070502 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-312_1_5_load_83 | 29 | 0.013116 | 0.0032871 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-312_1_5_load_84 | 30 | 0.026023 | 0.0065221 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-312_1_5_load_85 | 31 | 0.013727 | 0.0034403 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-312_1_5_load_97 | 32 | 0.023427 | 0.0058713 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-312_1_5_load_86 | 33 | 0.0017771 | 0.00044538 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-312_1_5_load_105 | 36 | 0.0057978 | 0.0014531 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-312_1_5_load_107 | 37 | 0.012618 | 0.0031625 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-312_1_5_load_100 | 40 | 0.016977 | 0.0042549 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-312_1_5_load_104 | 41 | 0.027831 | 0.006975 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-312_1_5_load_109 | 42 | 0.0080758 | 0.002024 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-312_1_5_load_98 | 43 | 0.01231 | 0.0030852 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-312_1_5_load_99 | 44 | 0.0021781 | 0.00054588 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-312_1_5_load_101 | 45 | 0.0046819 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-312_1_5_load_102 | 46 | 0.014697 | 0.0036834 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-312_1_5_load_103 | 47 | 0.0078166 | 0.001959 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-312_1_5_load_106 | 48 | 0.011534 | 0.0028906 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-312_1_5_load_108 | 49 | 0.011223 | 0.0028127 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-312_1_5_load_110 | 50 | 0.0063262 | 0.0015855 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 28 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-312_1_5_line_0 |  | 0 | 1 | 0.015501 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-312_1_5_line_1 |  | 1 | 9 | 0.022142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-312_1_5_line_2 |  | 1 | 6 | 0.004034 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-312_1_5_line_3 |  | 2 | 3 | 0.0090778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-312_1_5_line_4 |  | 3 | 25 | 0.047126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-312_1_5_line_5 |  | 4 | 5 | 0.011444 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-312_1_5_line_6 |  | 4 | 6 | 0.012538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-312_1_5_line_7 |  | 4 | 7 | 0.009437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-312_1_5_line_8 |  | 5 | 17 | 0.008011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-312_1_5_line_9 |  | 6 | 8 | 0.022355 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-312_1_5_line_10 |  | 9 | 13 | 0.017619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-312_1_5_line_11 |  | 9 | 11 | 0.022448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-312_1_5_line_12 |  | 10 | 11 | 0.013339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-312_1_5_line_13 |  | 11 | 12 | 0.16029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
14 | LV_351-312_1_5_line_14 |  | 12 | 14 | 0.044836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
15 | LV_351-312_1_5_line_15 |  | 14 | 15 | 0.092876 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_351-312_1_5_line_16 |  | 14 | 16 | 0.10729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
17 | LV_351-312_1_5_line_17 |  | 15 | 36 | 0.066757 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_351-312_1_5_line_18 |  | 15 | 35 | 0.017253 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-312_1_5_line_19 |  | 16 | 24 | 0.027368 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
20 | LV_351-312_1_5_line_20 |  | 16 | 37 | 0.013913 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-312_1_5_line_21 |  | 18 | 19 | 0.021057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
22 | LV_351-312_1_5_line_22 |  | 18 | 20 | 0.034309 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
23 | LV_351-312_1_5_line_23 |  | 19 | 21 | 0.021878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
24 | LV_351-312_1_5_line_24 |  | 20 | 22 | 0.005586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
25 | LV_351-312_1_5_line_25 |  | 21 | 23 | 0.034893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
26 | LV_351-312_1_5_line_26 |  | 22 | 25 | 0.040416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
27 | LV_351-312_1_5_line_27 |  | 22 | 26 | 0.043864 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-312_1_5_line_28 |  | 23 | 24 | 0.025026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
29 | LV_351-312_1_5_line_29 |  | 24 | 42 | 0.0097964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-312_1_5_line_30 |  | 25 | 43 | 0.018431 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
31 | LV_351-312_1_5_line_31 |  | 27 | 28 | 0.023332 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-312_1_5_line_32 |  | 27 | 29 | 0.016422 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-312_1_5_line_33 |  | 28 | 30 | 0.026217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_351-312_1_5_line_34 |  | 29 | 31 | 0.016825 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-312_1_5_line_35 |  | 30 | 32 | 0.017129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
36 | LV_351-312_1_5_line_36 |  | 32 | 43 | 0.016698 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_351-312_1_5_line_37 |  | 33 | 34 | 0.12042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-312_1_5_line_38 |  | 34 | 35 | 0.024393 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-312_1_5_line_39 |  | 36 | 47 | 0.016712 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
40 | LV_351-312_1_5_line_40 |  | 37 | 48 | 0.015985 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-312_1_5_line_41 |  | 38 | 39 | 0.018126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
42 | LV_351-312_1_5_line_42 |  | 38 | 40 | 0.1096 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
43 | LV_351-312_1_5_line_43 |  | 39 | 41 | 0.070448 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
44 | LV_351-312_1_5_line_44 |  | 40 | 44 | 0.04443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-312_1_5_line_45 |  | 41 | 46 | 0.069037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_351-312_1_5_line_46 |  | 42 | 49 | 0.012411 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-312_1_5_line_47 |  | 45 | 46 | 0.028838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_351-312_1_5_line_48 |  | 45 | 47 | 0.013871 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
49 | LV_351-312_1_5_line_49 |  | 49 | 50 | 0.014874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-312_1_5_trafo_82 | 0.63 MVA 20/0.4 kV | 51 | 28 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2598672.2026 | 1199093.6824 | 2598676.0126 | 1199078.6564
1 | 2598668.1648 | 1199115.4172 | 2598668.423 | 1199112.4155 | 2598669.0462 | 1199107.9018 | 2598670.0348 | 1199102.4987 | 2598672.2026 | 1199093.6824
2 | 2598672.2026 | 1199093.6824 | 2598673.3904 | 1199094.0378 | 2598676.0783 | 1199094.8376
3 | 2598621.906 | 1199030.4494 | 2598627.692 | 1199028.1579 | 2598630.3445 | 1199027.1031
4 | 2598576.2565 | 1199042.5561 | 2598618.7237 | 1199031.7175 | 2598621.906 | 1199030.4494
5 | 2598683.6455 | 1199090.9894 | 2598688.062 | 1199093.2785 | 2598693.1914 | 1199097.221
6 | 2598676.0783 | 1199094.8376 | 2598677.4398 | 1199088.9786 | 2598683.6455 | 1199090.9894
7 | 2598683.6455 | 1199090.9894 | 2598683.5069 | 1199084.5749 | 2598684.2535 | 1199081.6475
8 | 2598699.543 | 1199102.103 | 2598693.1914 | 1199097.221
9 | 2598676.0783 | 1199094.8376 | 2598673.4085 | 1199106.0887 | 2598672.3904 | 1199115.1494 | 2598672.3671 | 1199116.8234
10 | 2598668.1648 | 1199115.4172 | 2598650.5526 | 1199114.9459
11 | 2598668.1648 | 1199115.4172 | 2598668.0064 | 1199121.665 | 2598668.5254 | 1199127.2345 | 2598669.3108 | 1199132.2148 | 2598670.3628 | 1199137.673
12 | 2598670.3628 | 1199137.673 | 2598666.0306 | 1199137.6518 | 2598657.025 | 1199137.5224
13 | 2598670.3628 | 1199137.673 | 2598672.1304 | 1199142.9198 | 2598674.6294 | 1199150.0898 | 2598677.5546 | 1199156.9483 | 2598683.2593 | 1199165.7406 | 2598707.44 | 1199197.6521 | 2598723.5934 | 1199219.3934 | 2598732.9761 | 1199231.7646 | 2598736.0073 | 1199236.1329 | 2598738.1401 | 1199240.3902 | 2598740.1741 | 1199246.0039 | 2598741.2181 | 1199249.9502 | 2598742.0034 | 1199255.1417 | 2598742.1109 | 1199259.1994 | 2598741.7464 | 1199263.5129 | 2598740.5298 | 1199270.5948 | 2598746.0118 | 1199271.8053
14 | 2598704.9482 | 1199254.8055 | 2598711.5883 | 1199259.5287 | 2598713.5681 | 1199260.7956 | 2598716.7509 | 1199262.329 | 2598723.086 | 1199264.9401 | 2598740.5298 | 1199270.5948 | 2598746.0118 | 1199271.8053
15 | 2598618.3391 | 1199265.5872 | 2598635.5916 | 1199266.6725 | 2598648.8774 | 1199267.4809 | 2598689.9605 | 1199269.4501 | 2598693.7128 | 1199264.113 | 2598694.8622 | 1199263.2901 | 2598698.4552 | 1199260.7435 | 2598699.2469 | 1199260.1763 | 2598700.48 | 1199259.0199 | 2598703.0148 | 1199256.6291 | 2598704.9482 | 1199254.8055
16 | 2598637.7273 | 1199187.6742 | 2598642.4472 | 1199185.3162 | 2598644.816 | 1199189.4401 | 2598647.6494 | 1199194.2642 | 2598649.9268 | 1199197.899 | 2598655.3877 | 1199206.1354 | 2598657.3298 | 1199208.9364 | 2598662.8971 | 1199216.4725 | 2598666.987 | 1199222.1412 | 2598676.9257 | 1199234.779 | 2598682.1653 | 1199241.0589 | 2598689.857 | 1199249.7062 | 2598699.2469 | 1199260.1763 | 2598700.48 | 1199259.0199 | 2598703.0148 | 1199256.6291 | 2598704.9482 | 1199254.8055
17 | 2598618.3391 | 1199265.5872 | 2598618.3539 | 1199263.9197 | 2598617.7062 | 1199261.5853 | 2598616.236 | 1199258.395 | 2598612.824 | 1199253.7712 | 2598610.8592 | 1199251.6816 | 2598576.2986 | 1199214.8065
18 | 2598601.1474 | 1199264.1351 | 2598610.1011 | 1199264.8889 | 2598618.3391 | 1199265.5872
19 | 2598624.9381 | 1199163.4643 | 2598637.7273 | 1199187.6742
20 | 2598637.7273 | 1199187.6742 | 2598625.2198 | 1199193.7687
21 | 2598568.577 | 1199100.3985 | 2598577.9911 | 1199119.2338
22 | 2598582.6155 | 1199078.9295 | 2598564.1239 | 1199087.9945 | 2598563.5608 | 1199089.0508 | 2598563.622 | 1199090.4849 | 2598568.577 | 1199100.3985
23 | 2598587.7722 | 1199138.8035 | 2598577.9911 | 1199119.2338
24 | 2598582.6155 | 1199078.9295 | 2598580.1245 | 1199073.9274
25 | 2598613.5959 | 1199141.144 | 2598595.0741 | 1199150.3535 | 2598594.0766 | 1199150.2203 | 2598593.2619 | 1199149.787 | 2598587.7722 | 1199138.8035
26 | 2598576.2565 | 1199042.5561 | 2598571.8486 | 1199044.6805 | 2598585.1795 | 1199071.4248 | 2598580.1245 | 1199073.9274
27 | 2598580.1245 | 1199073.9274 | 2598558.801 | 1199084.4384 | 2598557.2327 | 1199084.9947 | 2598555.4206 | 1199084.9951 | 2598554.2328 | 1199084.6174 | 2598552.6641 | 1199083.6284 | 2598546.7229 | 1199071.4905
28 | 2598624.9381 | 1199163.4643 | 2598613.5959 | 1199141.144
29 | 2598624.9381 | 1199163.4643 | 2598616.1687 | 1199167.8309
30 | 2598576.2565 | 1199042.5561 | 2598584.4216 | 1199059.0794
31 | 2598621.5884 | 1199133.713 | 2598611.1772 | 1199112.8325
32 | 2598621.5884 | 1199133.713 | 2598628.9163 | 1199148.4097
33 | 2598599.4788 | 1199089.3704 | 2598611.1772 | 1199112.8325
34 | 2598636.4962 | 1199163.4289 | 2598635.6121 | 1199161.8386 | 2598628.9163 | 1199148.4097
35 | 2598599.4788 | 1199089.3704 | 2598591.8354 | 1199074.0411
36 | 2598584.4216 | 1199059.0794 | 2598589.5493 | 1199069.456 | 2598591.8354 | 1199074.0411
37 | 2598576.799 | 1199262.9628 | 2598570.3267 | 1199259.6404 | 2598518.1268 | 1199254.2064 | 2598466.0791 | 1199248.6505 | 2598457.8034 | 1199247.7981
38 | 2598576.799 | 1199262.9628 | 2598589.0113 | 1199263.7046 | 2598595.0564 | 1199263.6252 | 2598601.1474 | 1199264.1351
39 | 2598565.0706 | 1199202.4326 | 2598569.7959 | 1199207.8684 | 2598576.2986 | 1199214.8065
40 | 2598610.8499 | 1199200.7706 | 2598625.2198 | 1199193.7687
41 | 2598461.737 | 1199042.3413 | 2598465.8936 | 1199040.3391 | 2598469.5046 | 1199047.8866 | 2598474.1332 | 1199045.6397
42 | 2598461.737 | 1199042.3413 | 2598483.0983 | 1199087.9933 | 2598498.9899 | 1199123.1746 | 2598508.5496 | 1199140.5925 | 2598508.9216 | 1199141.2098
43 | 2598474.1332 | 1199045.6397 | 2598503.8075 | 1199109.5329
44 | 2598532.8623 | 1199178.5954 | 2598524.6443 | 1199167.3026 | 2598508.9216 | 1199141.2098
45 | 2598503.8075 | 1199109.5329 | 2598508.7118 | 1199120.0926 | 2598520.9833 | 1199142.6904 | 2598534.5413 | 1199164.254 | 2598538.1703 | 1199169.2905
46 | 2598605.0592 | 1199173.3628 | 2598616.1687 | 1199167.8309
47 | 2598555.9896 | 1199191.9476 | 2598551.7311 | 1199186.984 | 2598542.9345 | 1199175.9025 | 2598538.1703 | 1199169.2905
48 | 2598555.9896 | 1199191.9476 | 2598558.5397 | 1199194.9198 | 2598565.0706 | 1199202.4326
49 | 2598605.0592 | 1199173.3628 | 2598591.7443 | 1199179.9928

## bus_geodata
| x | y | coords
0 | 2598676.0126 | 1199078.6564
1 | 2598672.2026 | 1199093.6824
2 | 2598630.3445 | 1199027.1031
3 | 2598621.906 | 1199030.4494
4 | 2598683.6455 | 1199090.9894
5 | 2598693.1914 | 1199097.221
6 | 2598676.0783 | 1199094.8376
7 | 2598684.2535 | 1199081.6475
8 | 2598672.3671 | 1199116.8234
9 | 2598668.1648 | 1199115.4172
10 | 2598657.025 | 1199137.5224
11 | 2598670.3628 | 1199137.673
12 | 2598746.0118 | 1199271.8053
13 | 2598650.5526 | 1199114.9459
14 | 2598704.9482 | 1199254.8055
15 | 2598618.3391 | 1199265.5872
16 | 2598637.7273 | 1199187.6742
17 | 2598699.543 | 1199102.103
18 | 2598568.577 | 1199100.3985
19 | 2598577.9911 | 1199119.2338
20 | 2598582.6155 | 1199078.9295
21 | 2598587.7722 | 1199138.8035
22 | 2598580.1245 | 1199073.9274
23 | 2598613.5959 | 1199141.144
24 | 2598624.9381 | 1199163.4643
25 | 2598576.2565 | 1199042.5561
26 | 2598546.7229 | 1199071.4905
27 | 2598621.5884 | 1199133.713
28 | 2598611.1772 | 1199112.8325
29 | 2598628.9163 | 1199148.4097
30 | 2598599.4788 | 1199089.3704
31 | 2598636.4962 | 1199163.4289
32 | 2598591.8354 | 1199074.0411
33 | 2598457.8034 | 1199247.7981
34 | 2598576.799 | 1199262.9628
35 | 2598601.1474 | 1199264.1351
36 | 2598576.2986 | 1199214.8065
37 | 2598625.2198 | 1199193.7687
38 | 2598461.737 | 1199042.3413
39 | 2598474.1332 | 1199045.6397
40 | 2598508.9216 | 1199141.2098
41 | 2598503.8075 | 1199109.5329
42 | 2598616.1687 | 1199167.8309
43 | 2598584.4216 | 1199059.0794
44 | 2598532.8623 | 1199178.5954
45 | 2598555.9896 | 1199191.9476
46 | 2598538.1703 | 1199169.2905
47 | 2598565.0706 | 1199202.4326
48 | 2598610.8499 | 1199200.7706
49 | 2598605.0592 | 1199173.3628
50 | 2598591.7443 | 1199179.9928
51 | 2598576.2565 | 1199042.5561

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1