## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-320_0_7_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-320_0_7_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_351-320_0_7_node_12 | 0.4 | n |  | TRUE
3 | bus_LV_351-320_0_7_node_31 | 0.4 | n |  | TRUE
4 | bus_LV_351-320_0_7_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-320_0_7_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_351-320_0_7_node_101 | 0.4 | n |  | TRUE
7 | bus_LV_351-320_0_7_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_351-320_0_7_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_351-320_0_7_node_55 | 0.4 | n |  | TRUE
10 | bus_LV_351-320_0_7_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_351-320_0_7_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_351-320_0_7_node_66 | 0.4 | n |  | TRUE
13 | bus_LV_351-320_0_7_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_351-320_0_7_node_77 | 0.4 | n |  | TRUE
15 | bus_LV_351-320_0_7_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_351-320_0_7_node_34 | 0.4 | n |  | TRUE
17 | bus_LV_351-320_0_7_node_43 | 0.4 | n |  | TRUE
18 | bus_LV_351-320_0_7_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_351-320_0_7_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_351-320_0_7_node_122 | 0.4 | n |  | TRUE
21 | bus_LV_351-320_0_7_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_351-320_0_7_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_351-320_0_7_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_351-320_0_7_node_73 | 0.4 | n |  | TRUE
25 | bus_LV_351-320_0_7_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_351-320_0_7_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_351-320_0_7_node_70 | 0.4 | n |  | TRUE
28 | bus_LV_351-320_0_7_node_98 | 0.4 | n |  | TRUE
29 | bus_LV_351-320_0_7_node_121 | 0.4 | n |  | TRUE
30 | bus_LV_351-320_0_7_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_351-320_0_7_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_351-320_0_7_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_351-320_0_7_node_74 | 0.4 | n |  | TRUE
34 | bus_LV_351-320_0_7_node_100 | 0.4 | n |  | TRUE
35 | bus_LV_351-320_0_7_node_111 | 0.4 | n |  | TRUE
36 | bus_LV_351-320_0_7_node_22 | 0.4 | n |  | TRUE
37 | bus_LV_351-320_0_7_node_109 | 0.4 | n |  | TRUE
38 | bus_LV_351-320_0_7_node_63 | 0.4 | n |  | TRUE
39 | bus_LV_351-320_0_7_node_24 | 0.4 | n |  | TRUE
40 | bus_LV_351-320_0_7_node_27 | 0.4 | n |  | TRUE
41 | bus_LV_351-320_0_7_node_85 | 0.4 | n |  | TRUE
42 | bus_LV_351-320_0_7_node_30 | 0.4 | n |  | TRUE
43 | bus_LV_351-320_0_7_node_33 | 0.4 | n |  | TRUE
44 | bus_LV_351-320_0_7_node_28 | 0.4 | n |  | TRUE
45 | bus_LV_351-320_0_7_node_64 | 0.4 | n |  | TRUE
46 | bus_LV_351-320_0_7_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_351-320_0_7_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_351-320_0_7_node_58 | 0.4 | n |  | TRUE
49 | bus_LV_351-320_0_7_node_56 | 0.4 | n |  | TRUE
50 | bus_LV_351-320_0_7_node_81 | 0.4 | n |  | TRUE
51 | bus_LV_351-320_0_7_node_61 | 0.4 | n |  | TRUE
52 | bus_LV_351-320_0_7_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_351-320_0_7_node_79 | 0.4 | n |  | TRUE
54 | bus_LV_351-320_0_7_node_76 | 0.4 | n |  | TRUE
55 | bus_LV_351-320_0_7_node_35 | 0.4 | n |  | TRUE
56 | bus_LV_351-320_0_7_node_32 | 0.4 | n |  | TRUE
57 | bus_LV_351-320_0_7_node_41 | 0.4 | n |  | TRUE
58 | bus_LV_351-320_0_7_node_38 | 0.4 | n |  | TRUE
59 | bus_LV_351-320_0_7_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_351-320_0_7_node_69 | 0.4 | n |  | TRUE
61 | bus_LV_351-320_0_7_node_99 | 0.4 | n |  | TRUE
62 | bus_LV_351-320_0_7_node_110 | 0.4 | n |  | TRUE
63 | bus_LV_351-320_0_7_node_86 | 0.4 | n |  | TRUE
64 | bus_LV_351-320_0_7_node_118 | 0.4 | n |  | TRUE
65 | bus_LV_351-320_0_7_node_119 | 0.4 | n |  | TRUE
66 | bus_LV_351-320_0_7_node_54 | 0.4 | n |  | TRUE
67 | bus_LV_351-320_0_7_node_96 | 0.4 | n |  | TRUE
68 | bus_LV_351-320_0_7_node_59 | 0.4 | n |  | TRUE
69 | bus_LV_351-320_0_7_node_44 | 0.4 | n |  | TRUE
70 | bus_LV_351-320_0_7_node_42 | 0.4 | n |  | TRUE
71 | bus_LV_351-320_0_7_node_45 | 0.4 | n |  | TRUE
72 | bus_LV_351-320_0_7_node_46 | 0.4 | n |  | TRUE
73 | bus_LV_351-320_0_7_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_351-320_0_7_node_48 | 0.4 | n |  | TRUE
75 | bus_LV_351-320_0_7_node_49 | 0.4 | n |  | TRUE
76 | bus_LV_351-320_0_7_node_82 | 0.4 | n |  | TRUE
77 | bus_LV_351-320_0_7_node_114 | 0.4 | n |  | TRUE
78 | bus_LV_351-320_0_7_node_83 | 0.4 | n |  | TRUE
79 | bus_LV_351-320_0_7_node_90 | 0.4 | n |  | TRUE
80 | bus_LV_351-320_0_7_node_50 | 0.4 | n |  | TRUE
81 | bus_LV_351-320_0_7_node_51 | 0.4 | n |  | TRUE
82 | bus_LV_351-320_0_7_node_52 | 0.4 | n |  | TRUE
83 | bus_LV_351-320_0_7_node_53 | 0.4 | n |  | TRUE
84 | bus_LV_351-320_0_7_node_71 | 0.4 | n |  | TRUE
85 | bus_LV_351-320_0_7_node_113 | 0.4 | n |  | TRUE
86 | bus_LV_351-320_0_7_node_57 | 0.4 | n |  | TRUE
87 | bus_LV_351-320_0_7_node_80 | 0.4 | n |  | TRUE
88 | bus_LV_351-320_0_7_node_91 | 0.4 | n |  | TRUE
89 | bus_LV_351-320_0_7_node_93 | 0.4 | n |  | TRUE
90 | bus_LV_351-320_0_7_node_78 | 0.4 | n |  | TRUE
91 | bus_LV_351-320_0_7_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_351-320_0_7_node_97 | 0.4 | n |  | TRUE
93 | bus_LV_351-320_0_7_node_102 | 0.4 | n |  | TRUE
94 | bus_LV_351-320_0_7_node_103 | 0.4 | n |  | TRUE
95 | bus_LV_351-320_0_7_node_67 | 0.4 | n |  | TRUE
96 | bus_LV_351-320_0_7_node_68 | 0.4 | n |  | TRUE
97 | bus_LV_351-320_0_7_node_108 | 0.4 | n |  | TRUE
98 | bus_LV_351-320_0_7_node_112 | 0.4 | n |  | TRUE
99 | bus_LV_351-320_0_7_node_107 | 0.4 | n |  | TRUE
100 | bus_LV_351-320_0_7_node_92 | 0.4 | n |  | TRUE
101 | bus_LV_351-320_0_7_node_87 | 0.4 | n |  | TRUE
102 | bus_LV_351-320_0_7_node_88 | 0.4 | n |  | TRUE
103 | bus_LV_351-320_0_7_node_94 | 0.4 | n |  | TRUE
104 | bus_LV_351-320_0_7_node_95 | 0.4 | n |  | TRUE
105 | bus_LV_351-320_0_7_node_105 | 0.4 | n |  | TRUE
106 | bus_LV_351-320_0_7_node_106 | 0.4 | n |  | TRUE
107 | bus_LV_351-320_0_7_node_115 | 0.4 | n |  | TRUE
108 | bus_LV_351-320_0_7_node_120 | 0.4 | n |  | TRUE
109 | bus_LV_351-320_0_7_node_104 | 0.4 | n |  | TRUE
110 | bus_LV_351-320_0_7_node_116 | 0.4 | n |  | TRUE
111 | bus_LV_351-320_0_7_node_117 | 0.4 | n |  | TRUE
112 | bus_MV_600_0_node_169 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-320_0_7_load_0 | 0 | 0.014576 | 0.0036531 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-320_0_7_load_31 | 3 | 0.0089658 | 0.002247 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-320_0_7_load_101 | 6 | 0.012249 | 0.0030698 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-320_0_7_load_36 | 7 | 0.0051716 | 0.0012961 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-320_0_7_load_55 | 9 | 0.0089643 | 0.0022467 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-320_0_7_load_66 | 12 | 0.010939 | 0.0027415 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-320_0_7_load_77 | 14 | 0.010077 | 0.0025255 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-320_0_7_load_43 | 17 | 0.0063287 | 0.0015861 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-320_0_7_load_40 | 18 | 0.0062769 | 0.0015731 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-320_0_7_load_122 | 20 | 0.0061165 | 0.0015329 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-320_0_7_load_75 | 23 | 0.013305 | 0.0033345 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-320_0_7_load_73 | 24 | 0.015009 | 0.0037617 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-320_0_7_load_98 | 28 | 0.0060105 | 0.0015064 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-320_0_7_load_121 | 29 | 0.0044728 | 0.001121 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-320_0_7_load_74 | 33 | 0.0053038 | 0.0013293 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-320_0_7_load_100 | 34 | 0.0079396 | 0.0019898 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-320_0_7_load_111 | 35 | 0.015503 | 0.0038854 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-320_0_7_load_109 | 37 | 0.006172 | 0.0015468 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-320_0_7_load_63 | 38 | 0.0024845 | 0.00062267 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-320_0_7_load_85 | 41 | 0.010857 | 0.002721 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-320_0_7_load_33 | 43 | 0.009429 | 0.0023631 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-320_0_7_load_64 | 45 | 0.0075853 | 0.0019011 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-320_0_7_load_60 | 47 | 0.0076419 | 0.0019153 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-320_0_7_load_58 | 48 | 0.0045894 | 0.0011502 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-320_0_7_load_56 | 49 | 0.0089476 | 0.0022425 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-320_0_7_load_81 | 50 | 0.0085808 | 0.0021506 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-320_0_7_load_61 | 51 | 0.0088761 | 0.0022246 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-320_0_7_load_84 | 52 | 0.0039483 | 0.00098954 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-320_0_7_load_76 | 54 | 0.010515 | 0.0026354 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-320_0_7_load_35 | 55 | 0.0092122 | 0.0023088 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-320_0_7_load_32 | 56 | 0.0084543 | 0.0021188 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-320_0_7_load_38 | 58 | 0.0043158 | 0.0010816 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-320_0_7_load_37 | 59 | 0.012031 | 0.0030152 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-320_0_7_load_69 | 60 | 0.015348 | 0.0038466 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-320_0_7_load_99 | 61 | 0.005046 | 0.0012647 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-320_0_7_load_110 | 62 | 0.0032231 | 0.00080779 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-320_0_7_load_86 | 63 | 0.010883 | 0.0027275 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-320_0_7_load_118 | 64 | 0.0082314 | 0.002063 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-320_0_7_load_119 | 65 | 0.0034156 | 0.00085602 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-320_0_7_load_54 | 66 | 0.0059048 | 0.0014799 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-320_0_7_load_96 | 67 | 0.0081954 | 0.002054 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-320_0_7_load_44 | 69 | 0.0097483 | 0.0024431 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-320_0_7_load_42 | 70 | 0.00833 | 0.0020877 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-320_0_7_load_45 | 71 | 0.002996 | 0.00075087 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-320_0_7_load_46 | 72 | 0.0072834 | 0.0018254 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-320_0_7_load_47 | 73 | 0.0072374 | 0.0018139 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-320_0_7_load_48 | 74 | 0.0029888 | 0.00074908 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-320_0_7_load_49 | 75 | 0.0028568 | 0.00071597 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-320_0_7_load_82 | 76 | 0.0029179 | 0.0007313 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-320_0_7_load_114 | 77 | 0.0041817 | 0.001048 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-320_0_7_load_83 | 78 | 0.0075083 | 0.0018817 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-320_0_7_load_90 | 79 | 0.0072733 | 0.0018229 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-320_0_7_load_50 | 80 | 0.0017951 | 0.0004499 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-320_0_7_load_51 | 81 | 0.0075973 | 0.0019041 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-320_0_7_load_52 | 82 | 0.0076068 | 0.0019064 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-320_0_7_load_71 | 84 | 0.0075853 | 0.0019011 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-320_0_7_load_113 | 85 | 0.0057666 | 0.0014453 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-320_0_7_load_80 | 87 | 0.0029825 | 0.00074748 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-320_0_7_load_91 | 88 | 0.0037391 | 0.00093711 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-320_0_7_load_93 | 89 | 0.0069105 | 0.0017319 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-320_0_7_load_97 | 92 | 0.0043211 | 0.001083 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-320_0_7_load_102 | 93 | 0.0030256 | 0.00075829 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_351-320_0_7_load_103 | 94 | 0.0092801 | 0.0023258 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_351-320_0_7_load_67 | 95 | 0.01089 | 0.0027292 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_351-320_0_7_load_108 | 97 | 0.0055857 | 0.0013999 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_351-320_0_7_load_107 | 99 | 0.016541 | 0.0041456 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_351-320_0_7_load_92 | 100 | 0.0043574 | 0.0010921 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_351-320_0_7_load_87 | 101 | 0.0038545 | 0.00096604 | 0 | 0 |  | 1 | TRUE | wye
68 | LV_351-320_0_7_load_88 | 102 | 0.0074783 | 0.0018742 | 0 | 0 |  | 1 | TRUE | wye
69 | LV_351-320_0_7_load_94 | 103 | 0.0070611 | 0.0017697 | 0 | 0 |  | 1 | TRUE | wye
70 | LV_351-320_0_7_load_95 | 104 | 0.0041295 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
71 | LV_351-320_0_7_load_105 | 105 | 0.0071221 | 0.001785 | 0 | 0 |  | 1 | TRUE | wye
72 | LV_351-320_0_7_load_106 | 106 | 0.0039163 | 0.00098151 | 0 | 0 |  | 1 | TRUE | wye
73 | LV_351-320_0_7_load_115 | 107 | 0.0031768 | 0.00079618 | 0 | 0 |  | 1 | TRUE | wye
74 | LV_351-320_0_7_load_120 | 108 | 0.0081983 | 0.0020547 | 0 | 0 |  | 1 | TRUE | wye
75 | LV_351-320_0_7_load_104 | 109 | 0.0090937 | 0.0022791 | 0 | 0 |  | 1 | TRUE | wye
76 | LV_351-320_0_7_load_116 | 110 | 0.0044225 | 0.0011084 | 0 | 0 |  | 1 | TRUE | wye
77 | LV_351-320_0_7_load_117 | 111 | 0.0065545 | 0.0016427 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 90 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-320_0_7_line_0 |  | 0 | 1 | 0.016421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-320_0_7_line_1 |  | 1 | 2 | 0.001432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-320_0_7_line_2 |  | 1 | 3 | 0.029552 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-320_0_7_line_3 |  | 2 | 18 | 0.0097262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-320_0_7_line_4 |  | 2 | 8 | 0.022215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-320_0_7_line_5 |  | 4 | 5 | 0.0187 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-320_0_7_line_6 |  | 4 | 6 | 0.017681 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-320_0_7_line_7 |  | 5 | 7 | 0.013599 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-320_0_7_line_8 |  | 6 | 42 | 0.026099 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-320_0_7_line_9 |  | 8 | 9 | 0.01736 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-320_0_7_line_10 |  | 9 | 49 | 0.017524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
11 | LV_351-320_0_7_line_11 |  | 10 | 11 | 0.033037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-320_0_7_line_12 |  | 10 | 12 | 0.017083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-320_0_7_line_13 |  | 11 | 13 | 0.004061 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-320_0_7_line_14 |  | 13 | 14 | 0.017409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-320_0_7_line_15 |  | 14 | 54 | 0.017674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-320_0_7_line_16 |  | 15 | 16 | 0.016269 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-320_0_7_line_17 |  | 15 | 17 | 0.0089899 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-320_0_7_line_18 |  | 16 | 55 | 0.011663 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-320_0_7_line_19 |  | 16 | 56 | 0.011083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-320_0_7_line_20 |  | 17 | 57 | 0.011335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-320_0_7_line_21 |  | 18 | 57 | 0.025537 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-320_0_7_line_22 |  | 19 | 20 | 0.014525 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-320_0_7_line_23 |  | 19 | 21 | 0.019409 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-320_0_7_line_24 |  | 21 | 29 | 0.008585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-320_0_7_line_25 |  | 21 | 30 | 0.15045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-320_0_7_line_26 |  | 22 | 23 | 0.044203 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-320_0_7_line_27 |  | 22 | 24 | 0.029874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-320_0_7_line_28 |  | 23 | 36 | 0.0025549 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-320_0_7_line_29 |  | 24 | 26 | 0.024774 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-320_0_7_line_30 |  | 25 | 26 | 0.023387 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-320_0_7_line_31 |  | 25 | 27 | 0.013532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-320_0_7_line_32 |  | 25 | 28 | 0.017429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-320_0_7_line_33 |  | 27 | 60 | 0.013502 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-320_0_7_line_34 |  | 28 | 61 | 0.016514 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-320_0_7_line_35 |  | 30 | 38 | 0.018449 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-320_0_7_line_36 |  | 31 | 32 | 0.012114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-320_0_7_line_37 |  | 31 | 33 | 0.026064 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-320_0_7_line_38 |  | 32 | 34 | 0.023739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-320_0_7_line_39 |  | 32 | 35 | 0.013178 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-320_0_7_line_40 |  | 34 | 61 | 0.015287 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-320_0_7_line_41 |  | 36 | 37 | 0.02111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-320_0_7_line_42 |  | 37 | 62 | 0.018604 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-320_0_7_line_43 |  | 38 | 44 | 0.0033045 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-320_0_7_line_44 |  | 39 | 40 | 0.030505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-320_0_7_line_45 |  | 39 | 41 | 0.0099787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-320_0_7_line_46 |  | 40 | 42 | 0.006915 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-320_0_7_line_47 |  | 40 | 43 | 0.0056817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-320_0_7_line_48 |  | 41 | 63 | 0.017396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-320_0_7_line_49 |  | 43 | 56 | 0.015186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-320_0_7_line_50 |  | 44 | 45 | 0.022666 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-320_0_7_line_51 |  | 45 | 66 | 0.012676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-320_0_7_line_52 |  | 46 | 47 | 0.017532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-320_0_7_line_53 |  | 46 | 48 | 0.008459 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-320_0_7_line_54 |  | 47 | 67 | 0.016897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-320_0_7_line_55 |  | 48 | 68 | 0.022638 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-320_0_7_line_56 |  | 49 | 86 | 0.020001 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
57 | LV_351-320_0_7_line_57 |  | 50 | 51 | 0.017634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-320_0_7_line_58 |  | 51 | 68 | 0.014404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-320_0_7_line_59 |  | 52 | 53 | 0.010738 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-320_0_7_line_60 |  | 53 | 90 | 0.010181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
61 | LV_351-320_0_7_line_61 |  | 53 | 96 | 0.009939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
62 | LV_351-320_0_7_line_62 |  | 54 | 90 | 0.019481 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-320_0_7_line_63 |  | 55 | 59 | 0.016946 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-320_0_7_line_64 |  | 57 | 70 | 0.012441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-320_0_7_line_65 |  | 58 | 59 | 0.0059932 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-320_0_7_line_66 |  | 60 | 83 | 0.020773 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-320_0_7_line_67 |  | 64 | 65 | 0.0089247 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-320_0_7_line_68 |  | 65 | 108 | 0.010541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-320_0_7_line_69 |  | 66 | 82 | 0.0045815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-320_0_7_line_70 |  | 67 | 92 | 0.0019996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-320_0_7_line_71 |  | 68 | 91 | 0.00963 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-320_0_7_line_72 |  | 69 | 70 | 0.017057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-320_0_7_line_73 |  | 71 | 72 | 0.01108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-320_0_7_line_74 |  | 71 | 73 | 0.0063715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-320_0_7_line_75 |  | 72 | 74 | 0.004293 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-320_0_7_line_76 |  | 73 | 75 | 0.0051673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-320_0_7_line_77 |  | 74 | 76 | 0.011648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-320_0_7_line_78 |  | 75 | 77 | 0.012357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-320_0_7_line_79 |  | 76 | 78 | 0.0013041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-320_0_7_line_80 |  | 77 | 79 | 0.0013145 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-320_0_7_line_81 |  | 78 | 91 | 0.017598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-320_0_7_line_82 |  | 79 | 102 | 0.01682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-320_0_7_line_83 |  | 80 | 81 | 0.0025402 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-320_0_7_line_84 |  | 80 | 82 | 0.014795 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-320_0_7_line_85 |  | 81 | 83 | 0.01576 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-320_0_7_line_86 |  | 83 | 84 | 0.0046658 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-320_0_7_line_87 |  | 84 | 85 | 0.017508 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
88 | LV_351-320_0_7_line_88 |  | 85 | 98 | 0.0093359 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
89 | LV_351-320_0_7_line_89 |  | 86 | 87 | 0.020268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
90 | LV_351-320_0_7_line_90 |  | 86 | 88 | 0.015583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
91 | LV_351-320_0_7_line_91 |  | 87 | 89 | 0.016906 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
92 | LV_351-320_0_7_line_92 |  | 87 | 90 | 0.01656 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
93 | LV_351-320_0_7_line_93 |  | 88 | 91 | 0.0050893 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_351-320_0_7_line_94 |  | 89 | 100 | 0.00046027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_351-320_0_7_line_95 |  | 92 | 107 | 0.012161 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_351-320_0_7_line_96 |  | 93 | 94 | 0.0046348 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_351-320_0_7_line_97 |  | 94 | 109 | 0.020315 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_351-320_0_7_line_98 |  | 95 | 96 | 0.015256 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_351-320_0_7_line_99 |  | 96 | 97 | 0.017432 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
100 | LV_351-320_0_7_line_100 |  | 97 | 98 | 0.007838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
101 | LV_351-320_0_7_line_101 |  | 98 | 99 | 0.025974 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
102 | LV_351-320_0_7_line_102 |  | 100 | 103 | 0.015032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
103 | LV_351-320_0_7_line_103 |  | 101 | 102 | 0.0035011 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
104 | LV_351-320_0_7_line_104 |  | 103 | 104 | 0.0011919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
105 | LV_351-320_0_7_line_105 |  | 104 | 105 | 0.015503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
106 | LV_351-320_0_7_line_106 |  | 105 | 106 | 0.012882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
107 | LV_351-320_0_7_line_107 |  | 106 | 111 | 0.0034119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
108 | LV_351-320_0_7_line_108 |  | 107 | 108 | 0.0029865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
109 | LV_351-320_0_7_line_109 |  | 109 | 110 | 0.0062282 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
110 | LV_351-320_0_7_line_110 |  | 110 | 111 | 0.012223 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-320_0_7_trafo_78 | 0.63 MVA 20/0.4 kV | 112 | 90 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19
0 | 2598170.0694 | 1199217.9655 | 2598153.7335 | 1199216.2974
1 | 2598171.5008 | 1199218.0762 | 2598170.0694 | 1199217.9655
2 | 2598170.0694 | 1199217.9655 | 2598170.335 | 1199215.1861 | 2598171.018 | 1199208.0599 | 2598172.9204 | 1199188.5515
3 | 2598171.5008 | 1199218.0762 | 2598181.1778 | 1199219.0544
4 | 2598166.7408 | 1199237.1212 | 2598169.5046 | 1199237.4094 | 2598169.8538 | 1199234.0408 | 2598170.036 | 1199232.3732 | 2598170.2864 | 1199230.0052 | 2598170.5673 | 1199227.2258 | 2598170.8177 | 1199224.8134 | 2598170.9696 | 1199223.357 | 2598171.5008 | 1199218.0762
5 | 2598286.7831 | 1199183.2331 | 2598287.269 | 1199178.5749 | 2598288.4525 | 1199164.6115
6 | 2598286.7831 | 1199183.2331 | 2598286.115 | 1199189.6923 | 2598284.8239 | 1199200.8045
7 | 2598288.4525 | 1199164.6115 | 2598284.0592 | 1199163.7679 | 2598283.1531 | 1199163.5903 | 2598275.0958 | 1199162.0546
8 | 2598281.3067 | 1199226.6135 | 2598281.7023 | 1199225.6128 | 2598282.0978 | 1199224.2676 | 2598284.8239 | 1199200.8045
9 | 2598166.7408 | 1199237.1212 | 2598165.0962 | 1199254.403
10 | 2598165.0962 | 1199254.403 | 2598163.436 | 1199271.8484
11 | 2598207.2996 | 1199241.3329 | 2598224.8723 | 1199243.1507 | 2598240.1608 | 1199244.7357
12 | 2598240.1608 | 1199244.7357 | 2598238.3132 | 1199261.7184
13 | 2598207.2996 | 1199241.3329 | 2598203.2491 | 1199240.9117
14 | 2598203.2491 | 1199240.9117 | 2598201.517 | 1199258.2339
15 | 2598199.7586 | 1199275.8205 | 2598201.517 | 1199258.2339
16 | 2598226.8077 | 1199223.6618 | 2598243.0556 | 1199225.1576
17 | 2598226.8077 | 1199223.6618 | 2598217.8632 | 1199222.7599
18 | 2598243.0556 | 1199225.1576 | 2598243.3819 | 1199221.6668 | 2598243.7765 | 1199217.4088 | 2598244.1388 | 1199213.5447
19 | 2598243.0556 | 1199225.1576 | 2598254.0766 | 1199226.3266
20 | 2598206.5854 | 1199221.6226 | 2598217.8632 | 1199222.7599
21 | 2598206.5854 | 1199221.6226 | 2598181.1778 | 1199219.0544
22 | 2598095.198 | 1199518.7175 | 2598082.3979 | 1199511.7847
23 | 2598087.6752 | 1199493.1063 | 2598082.3979 | 1199511.7847
24 | 2598087.6752 | 1199493.1063 | 2598090.3752 | 1199484.9566
25 | 2598087.6752 | 1199493.1063 | 2598111.0581 | 1199501.0806 | 2598116.7989 | 1199502.1905 | 2598120.948 | 1199501.8889 | 2598125.0051 | 1199499.6197 | 2598127.9652 | 1199495.2831 | 2598129.6462 | 1199490.5578 | 2598130.8317 | 1199483.7538 | 2598130.3193 | 1199476.6946 | 2598127.794 | 1199460.4756 | 2598125.3679 | 1199445.0571 | 2598131.3355 | 1199441.053 | 2598134.426 | 1199439.5067 | 2598138.3389 | 1199438.3604 | 2598150.3758 | 1199439.2236 | 2598155.6436 | 1199437.521 | 2598156.9675 | 1199434.6968 | 2598157.8726 | 1199431.9395 | 2598158.5187 | 1199428.7932 | 2598165.1386 | 1199417.3071
26 | 2598315.6927 | 1199392.2142 | 2598315.684 | 1199362.6873 | 2598311.8531 | 1199358.1971 | 2598303.5232 | 1199355.4425
27 | 2598315.6927 | 1199392.2142 | 2598300.6257 | 1199391.9852 | 2598286.6233 | 1199387.1757
28 | 2598302.9365 | 1199353.764 | 2598303.9872 | 1199354.0528 | 2598303.5232 | 1199355.4425
29 | 2598263.9782 | 1199377.6329 | 2598283.8513 | 1199384.8086 | 2598286.6233 | 1199387.1757
30 | 2598255.9036 | 1199363.0943 | 2598262.6041 | 1199365.3934 | 2598259.1204 | 1199376.0224 | 2598263.9782 | 1199377.6329
31 | 2598243.0736 | 1199358.6847 | 2598255.9036 | 1199363.0943
32 | 2598255.9036 | 1199363.0943 | 2598254.1697 | 1199369.476 | 2598251.6975 | 1199376.7584 | 2598250.5446 | 1199379.6637
33 | 2598243.0736 | 1199358.6847 | 2598230.2268 | 1199354.5282
34 | 2598250.5446 | 1199379.6637 | 2598244.4532 | 1199395.0134
35 | 2598165.1386 | 1199417.3071 | 2598166.1201 | 1199415.3391 | 2598171.024 | 1199418.2613 | 2598174.8613 | 1199418.6047 | 2598178.2486 | 1199416.8583 | 2598179.7096 | 1199414.3787
36 | 2598229.2395 | 1199430.9499 | 2598234.0289 | 1199432.8494 | 2598236.7091 | 1199433.9825 | 2598239.1914 | 1199435.0157 | 2598240.4554 | 1199435.5267
37 | 2598240.4554 | 1199435.5267 | 2598250.8217 | 1199411.6131
38 | 2598229.2395 | 1199430.9499 | 2598234.2304 | 1199419.5645 | 2598238.6073 | 1199409.138
39 | 2598229.2395 | 1199430.9499 | 2598228.4558 | 1199432.3842 | 2598227.5806 | 1199433.385 | 2598226.4921 | 1199433.9301 | 2598225.0761 | 1199434.264 | 2598223.4621 | 1199434.4091 | 2598222.0231 | 1199434.1427 | 2598217.8886 | 1199432.4764
40 | 2598238.6073 | 1199409.138 | 2598243.0098 | 1199398.6506 | 2598244.4532 | 1199395.0134
41 | 2598302.9365 | 1199353.764 | 2598305.2034 | 1199347.3488 | 2598312.0637 | 1199349.5702 | 2598318.7857 | 1199347.3003
42 | 2598318.7857 | 1199347.3003 | 2598320.005 | 1199351.2021 | 2598324.2529 | 1199349.7778 | 2598325.3502 | 1199353.2127 | 2598331.4352 | 1199351.1331
43 | 2598182.7478 | 1199415.6784 | 2598179.7096 | 1199414.3787
44 | 2598274.8281 | 1199228.5276 | 2598274.2053 | 1199233.4749 | 2598273.947 | 1199235.5427 | 2598273.4457 | 1199239.5117 | 2598273.1191 | 1199242.1243 | 2598272.671 | 1199245.7041 | 2598272.3672 | 1199248.0832 | 2598273.8671 | 1199248.3051 | 2598275.1007 | 1199248.7939 | 2598276.3648 | 1199249.6829 | 2598277.1949 | 1199250.5164 | 2598277.9034 | 1199251.8391 | 2598278.3607 | 1199253.551 | 2598278.4298 | 1199255.5076
45 | 2598278.4298 | 1199255.5076 | 2598277.5507 | 1199265.4475
46 | 2598281.3067 | 1199226.6135 | 2598280.477 | 1199227.2808 | 2598279.1829 | 1199227.926 | 2598277.9648 | 1199228.2821 | 2598276.6477 | 1199228.4826 | 2598274.8281 | 1199228.5276
47 | 2598274.8281 | 1199228.5276 | 2598269.1781 | 1199227.9283
48 | 2598277.5507 | 1199265.4475 | 2598277.2233 | 1199269.1486 | 2598275.5181 | 1199282.7221
49 | 2598254.0766 | 1199226.3266 | 2598269.1781 | 1199227.9283
50 | 2598182.7478 | 1199415.6784 | 2598185.3723 | 1199409.2186 | 2598191.4458 | 1199394.7484
51 | 2598196.3516 | 1199383.0601 | 2598191.4458 | 1199394.7484
52 | 2598094.5553 | 1199279.4229 | 2598092.7629 | 1199296.8634
53 | 2598094.5553 | 1199279.4229 | 2598102.9703 | 1199280.285
54 | 2598092.7629 | 1199296.8634 | 2598091.163 | 1199312.4306 | 2598090.9843 | 1199313.6652
55 | 2598125.4901 | 1199282.5922 | 2598102.9703 | 1199280.285
56 | 2598155.6634 | 1199285.673 | 2598156.1949 | 1199281.0593 | 2598157.1314 | 1199281.159 | 2598159.2252 | 1199281.3807 | 2598160.6184 | 1199281.4469 | 2598161.9431 | 1199281.1352 | 2598162.6432 | 1199280.1789 | 2598163.436 | 1199271.8484
57 | 2598128.5675 | 1199250.7026 | 2598126.8698 | 1199268.2548
58 | 2598125.4901 | 1199282.5922 | 2598125.9074 | 1199278.1897 | 2598126.7648 | 1199269.3403 | 2598126.8698 | 1199268.2548
59 | 2598202.5641 | 1199290.4607 | 2598203.5944 | 1199279.7723
60 | 2598202.5641 | 1199290.4607 | 2598192.4074 | 1199289.4189
61 | 2598202.5641 | 1199290.4607 | 2598206.1502 | 1199290.8264 | 2598207.9318 | 1199291.0705 | 2598209.9496 | 1199291.5368 | 2598211.2897 | 1199292.1922 | 2598212.0817 | 1199292.8034
62 | 2598192.4074 | 1199289.4189 | 2598192.878 | 1199284.7718 | 2598194.9717 | 1199284.9824 | 2598196.9742 | 1199285.1819 | 2598197.8116 | 1199285.1038 | 2598198.413 | 1199284.8145 | 2598198.8087 | 1199284.2808 | 2598198.976 | 1199283.6471 | 2598199.7586 | 1199275.8205
63 | 2598245.7209 | 1199196.6724 | 2598244.1388 | 1199213.5447
64 | 2598206.5854 | 1199221.6226 | 2598206.9117 | 1199218.0539 | 2598207.5263 | 1199211.3724 | 2598207.7176 | 1199209.2328
65 | 2598245.7209 | 1199196.6724 | 2598246.2805 | 1199190.7053
66 | 2598210.4621 | 1199348.1336 | 2598230.2268 | 1199354.5282
67 | 2598082.5185 | 1199349.16 | 2598083.3176 | 1199347.5298 | 2598085.473 | 1199340.7552
68 | 2598088.0911 | 1199330.5573 | 2598086.8161 | 1199336.5338 | 2598085.473 | 1199340.7552
69 | 2598196.3516 | 1199383.0601 | 2598198.1247 | 1199378.8356
70 | 2598090.9843 | 1199313.6652 | 2598090.6978 | 1199315.6443
71 | 2598135.0986 | 1199283.5674 | 2598125.4901 | 1199282.5922
72 | 2598209.237 | 1199192.2436 | 2598207.7176 | 1199209.2328
73 | 2598131.8361 | 1199318.2548 | 2598131.3653 | 1199322.0337 | 2598129.868 | 1199329.1495
74 | 2598128.556 | 1199335.3844 | 2598129.868 | 1199329.1495
75 | 2598132.3668 | 1199313.9947 | 2598131.8361 | 1199318.2548
76 | 2598128.556 | 1199335.3844 | 2598128.3778 | 1199336.2311 | 2598127.2939 | 1199340.3944
77 | 2598133.4259 | 1199302.3953 | 2598132.4664 | 1199313.1952 | 2598132.3668 | 1199313.9947
78 | 2598123.4916 | 1199352.1395 | 2598123.7995 | 1199351.4296 | 2598126.2791 | 1199344.2917 | 2598127.2939 | 1199340.3944
79 | 2598133.4259 | 1199302.3953 | 2598133.5413 | 1199301.0963
80 | 2598122.9685 | 1199353.3454 | 2598123.4916 | 1199352.1395
81 | 2598135.0986 | 1199283.5674 | 2598133.5413 | 1199301.0963
82 | 2598116.275 | 1199368.7764 | 2598122.9685 | 1199353.3454
83 | 2598203.812 | 1199365.177 | 2598204.7793 | 1199362.8282
84 | 2598203.812 | 1199365.177 | 2598201.4397 | 1199370.9375 | 2598198.1247 | 1199378.8356
85 | 2598210.4621 | 1199348.1336 | 2598208.568 | 1199353.537 | 2598205.35 | 1199361.4423 | 2598204.7793 | 1199362.8282
86 | 2598210.4621 | 1199348.1336 | 2598211.2375 | 1199344.4758 | 2598211.3592 | 1199343.5571
87 | 2598213.4432 | 1199326.1749 | 2598213.4321 | 1199326.2765 | 2598212.4832 | 1199335.0704 | 2598211.3592 | 1199343.5571
88 | 2598214.4494 | 1199316.8934 | 2598213.4432 | 1199326.1749
89 | 2598175.8855 | 1199287.7343 | 2598155.6634 | 1199285.673
90 | 2598155.6634 | 1199285.673 | 2598140.1615 | 1199284.0858
91 | 2598175.8855 | 1199287.7343 | 2598174.293 | 1199304.5651
92 | 2598175.8855 | 1199287.7343 | 2598192.4074 | 1199289.4189
93 | 2598135.0986 | 1199283.5674 | 2598140.1615 | 1199284.0858
94 | 2598174.293 | 1199304.5651 | 2598174.2497 | 1199305.0234
95 | 2598088.7142 | 1199327.6365 | 2598089.4843 | 1199324.0263 | 2598090.6978 | 1199315.6443
96 | 2598149.3477 | 1199392.2585 | 2598151.2079 | 1199388.0133
97 | 2598151.2079 | 1199388.0133 | 2598153.5248 | 1199382.7257 | 2598159.2806 | 1199369.3711
98 | 2598212.0817 | 1199292.8034 | 2598222.7842 | 1199285.9631 | 2598225.3266 | 1199286.2057
99 | 2598212.0817 | 1199292.8034 | 2598213.0185 | 1199293.7147 | 2598213.9096 | 1199294.7261 | 2598214.5418 | 1199295.682 | 2598215.0903 | 1199296.8825 | 2598215.4942 | 1199298.0385 | 2598215.7002 | 1199299.417 | 2598215.754 | 1199301.0178 | 2598215.625 | 1199302.4964 | 2598215.0873 | 1199309.0813
100 | 2598214.4494 | 1199316.8934 | 2598215.0873 | 1199309.0813
101 | 2598214.4494 | 1199316.8934 | 2598240.2725 | 1199319.6912
102 | 2598174.2497 | 1199305.0234 | 2598172.8336 | 1199319.9888
103 | 2598114.8817 | 1199371.9883 | 2598116.275 | 1199368.7764
104 | 2598172.7214 | 1199321.1755 | 2598172.7214 | 1199321.1755 | 2598172.8336 | 1199319.9888
105 | 2598172.7214 | 1199321.1755 | 2598171.8558 | 1199328.5463 | 2598170.3401 | 1199336.4846
106 | 2598170.3401 | 1199336.4846 | 2598170.2064 | 1199337.1848 | 2598168.9366 | 1199342.2657 | 2598166.8875 | 1199348.8884
107 | 2598165.879 | 1199352.1478 | 2598166.8875 | 1199348.8884
108 | 2598088.0911 | 1199330.5573 | 2598088.7142 | 1199327.6365
109 | 2598159.2806 | 1199369.3711 | 2598161.3455 | 1199364.5801 | 2598161.6958 | 1199363.6315
110 | 2598165.879 | 1199352.1478 | 2598165.5825 | 1199353.1059 | 2598161.6958 | 1199363.6315

## bus_geodata
| x | y | coords
0 | 2598153.7335 | 1199216.2974
1 | 2598170.0694 | 1199217.9655
2 | 2598171.5008 | 1199218.0762
3 | 2598172.9204 | 1199188.5515
4 | 2598286.7831 | 1199183.2331
5 | 2598288.4525 | 1199164.6115
6 | 2598284.8239 | 1199200.8045
7 | 2598275.0958 | 1199162.0546
8 | 2598166.7408 | 1199237.1212
9 | 2598165.0962 | 1199254.403
10 | 2598240.1608 | 1199244.7357
11 | 2598207.2996 | 1199241.3329
12 | 2598238.3132 | 1199261.7184
13 | 2598203.2491 | 1199240.9117
14 | 2598201.517 | 1199258.2339
15 | 2598226.8077 | 1199223.6618
16 | 2598243.0556 | 1199225.1576
17 | 2598217.8632 | 1199222.7599
18 | 2598181.1778 | 1199219.0544
19 | 2598082.3979 | 1199511.7847
20 | 2598095.198 | 1199518.7175
21 | 2598087.6752 | 1199493.1063
22 | 2598315.6927 | 1199392.2142
23 | 2598303.5232 | 1199355.4425
24 | 2598286.6233 | 1199387.1757
25 | 2598255.9036 | 1199363.0943
26 | 2598263.9782 | 1199377.6329
27 | 2598243.0736 | 1199358.6847
28 | 2598250.5446 | 1199379.6637
29 | 2598090.3752 | 1199484.9566
30 | 2598165.1386 | 1199417.3071
31 | 2598240.4554 | 1199435.5267
32 | 2598229.2395 | 1199430.9499
33 | 2598250.8217 | 1199411.6131
34 | 2598238.6073 | 1199409.138
35 | 2598217.8886 | 1199432.4764
36 | 2598302.9365 | 1199353.764
37 | 2598318.7857 | 1199347.3003
38 | 2598179.7096 | 1199414.3787
39 | 2598278.4298 | 1199255.5076
40 | 2598274.8281 | 1199228.5276
41 | 2598277.5507 | 1199265.4475
42 | 2598281.3067 | 1199226.6135
43 | 2598269.1781 | 1199227.9283
44 | 2598182.7478 | 1199415.6784
45 | 2598191.4458 | 1199394.7484
46 | 2598094.5553 | 1199279.4229
47 | 2598092.7629 | 1199296.8634
48 | 2598102.9703 | 1199280.285
49 | 2598163.436 | 1199271.8484
50 | 2598128.5675 | 1199250.7026
51 | 2598126.8698 | 1199268.2548
52 | 2598203.5944 | 1199279.7723
53 | 2598202.5641 | 1199290.4607
54 | 2598199.7586 | 1199275.8205
55 | 2598244.1388 | 1199213.5447
56 | 2598254.0766 | 1199226.3266
57 | 2598206.5854 | 1199221.6226
58 | 2598246.2805 | 1199190.7053
59 | 2598245.7209 | 1199196.6724
60 | 2598230.2268 | 1199354.5282
61 | 2598244.4532 | 1199395.0134
62 | 2598331.4352 | 1199351.1331
63 | 2598275.5181 | 1199282.7221
64 | 2598082.5185 | 1199349.16
65 | 2598085.473 | 1199340.7552
66 | 2598196.3516 | 1199383.0601
67 | 2598090.9843 | 1199313.6652
68 | 2598125.4901 | 1199282.5922
69 | 2598209.237 | 1199192.2436
70 | 2598207.7176 | 1199209.2328
71 | 2598129.868 | 1199329.1495
72 | 2598131.8361 | 1199318.2548
73 | 2598128.556 | 1199335.3844
74 | 2598132.3668 | 1199313.9947
75 | 2598127.2939 | 1199340.3944
76 | 2598133.4259 | 1199302.3953
77 | 2598123.4916 | 1199352.1395
78 | 2598133.5413 | 1199301.0963
79 | 2598122.9685 | 1199353.3454
80 | 2598203.812 | 1199365.177
81 | 2598204.7793 | 1199362.8282
82 | 2598198.1247 | 1199378.8356
83 | 2598210.4621 | 1199348.1336
84 | 2598211.3592 | 1199343.5571
85 | 2598213.4432 | 1199326.1749
86 | 2598155.6634 | 1199285.673
87 | 2598175.8855 | 1199287.7343
88 | 2598140.1615 | 1199284.0858
89 | 2598174.293 | 1199304.5651
90 | 2598192.4074 | 1199289.4189
91 | 2598135.0986 | 1199283.5674
92 | 2598090.6978 | 1199315.6443
93 | 2598149.3477 | 1199392.2585
94 | 2598151.2079 | 1199388.0133
95 | 2598225.3266 | 1199286.2057
96 | 2598212.0817 | 1199292.8034
97 | 2598215.0873 | 1199309.0813
98 | 2598214.4494 | 1199316.8934
99 | 2598240.2725 | 1199319.6912
100 | 2598174.2497 | 1199305.0234
101 | 2598114.8817 | 1199371.9883
102 | 2598116.275 | 1199368.7764
103 | 2598172.8336 | 1199319.9888
104 | 2598172.7214 | 1199321.1755
105 | 2598170.3401 | 1199336.4846
106 | 2598166.8875 | 1199348.8884
107 | 2598088.7142 | 1199327.6365
108 | 2598088.0911 | 1199330.5573
109 | 2598159.2806 | 1199369.3711
110 | 2598161.6958 | 1199363.6315
111 | 2598165.879 | 1199352.1478
112 | 2598202.5641 | 1199290.4607

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1