## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-321_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-321_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-321_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-321_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-321_0_5_node_17 | 0.4 | n |  | TRUE
5 | bus_LV_351-321_0_5_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_351-321_0_5_node_20 | 0.4 | n |  | TRUE
7 | bus_LV_351-321_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_351-321_0_5_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_351-321_0_5_node_65 | 0.4 | n |  | TRUE
10 | bus_LV_351-321_0_5_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_351-321_0_5_node_11 | 0.4 | n |  | TRUE
12 | bus_LV_351-321_0_5_node_71 | 0.4 | n |  | TRUE
13 | bus_LV_351-321_0_5_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_351-321_0_5_node_34 | 0.4 | n |  | TRUE
15 | bus_LV_351-321_0_5_node_93 | 0.4 | n |  | TRUE
16 | bus_LV_351-321_0_5_node_63 | 0.4 | n |  | TRUE
17 | bus_LV_351-321_0_5_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_351-321_0_5_node_62 | 0.4 | n |  | TRUE
19 | bus_LV_351-321_0_5_node_61 | 0.4 | n |  | TRUE
20 | bus_LV_351-321_0_5_node_40 | 0.4 | n |  | TRUE
21 | bus_LV_351-321_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_351-321_0_5_node_70 | 0.4 | n |  | TRUE
23 | bus_LV_351-321_0_5_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_351-321_0_5_node_69 | 0.4 | n |  | TRUE
25 | bus_LV_351-321_0_5_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_351-321_0_5_node_73 | 0.4 | n |  | TRUE
27 | bus_LV_351-321_0_5_node_72 | 0.4 | n |  | TRUE
28 | bus_LV_351-321_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_351-321_0_5_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_351-321_0_5_node_36 | 0.4 | n |  | TRUE
31 | bus_LV_351-321_0_5_node_64 | 0.4 | n |  | TRUE
32 | bus_LV_351-321_0_5_node_49 | 0.4 | n |  | TRUE
33 | bus_LV_351-321_0_5_node_51 | 0.4 | n |  | TRUE
34 | bus_LV_351-321_0_5_node_48 | 0.4 | n |  | TRUE
35 | bus_LV_351-321_0_5_node_57 | 0.4 | n |  | TRUE
36 | bus_LV_351-321_0_5_node_55 | 0.4 | n |  | TRUE
37 | bus_LV_351-321_0_5_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_351-321_0_5_node_56 | 0.4 | n |  | TRUE
39 | bus_LV_351-321_0_5_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_351-321_0_5_node_25 | 0.4 | n |  | TRUE
41 | bus_LV_351-321_0_5_node_94 | 0.4 | n |  | TRUE
42 | bus_LV_351-321_0_5_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_351-321_0_5_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_351-321_0_5_node_21 | 0.4 | n |  | TRUE
45 | bus_LV_351-321_0_5_node_90 | 0.4 | n |  | TRUE
46 | bus_LV_351-321_0_5_node_89 | 0.4 | n |  | TRUE
47 | bus_LV_351-321_0_5_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_351-321_0_5_node_77 | 0.4 | n |  | TRUE
49 | bus_LV_351-321_0_5_node_78 | 0.4 | n |  | TRUE
50 | bus_LV_351-321_0_5_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_351-321_0_5_node_88 | 0.4 | n |  | TRUE
52 | bus_LV_351-321_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_351-321_0_5_node_26 | 0.4 | n |  | TRUE
54 | bus_LV_351-321_0_5_node_27 | 0.4 | n |  | TRUE
55 | bus_LV_351-321_0_5_node_33 | 0.4 | n |  | TRUE
56 | bus_LV_351-321_0_5_node_81 | 0.4 | n |  | TRUE
57 | bus_LV_351-321_0_5_node_31 | 0.4 | n |  | TRUE
58 | bus_LV_351-321_0_5_node_82 | 0.4 | n |  | TRUE
59 | bus_LV_351-321_0_5_node_37 | 0.4 | n |  | TRUE
60 | bus_LV_351-321_0_5_node_38 | 0.4 | n |  | TRUE
61 | bus_LV_351-321_0_5_node_75 | 0.4 | n |  | TRUE
62 | bus_LV_351-321_0_5_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_351-321_0_5_node_66 | 0.4 | n |  | TRUE
64 | bus_LV_351-321_0_5_node_52 | 0.4 | n |  | TRUE
65 | bus_LV_351-321_0_5_node_43 | 0.4 | n |  | TRUE
66 | bus_LV_351-321_0_5_node_44 | 0.4 | n |  | TRUE
67 | bus_LV_351-321_0_5_node_46 | 0.4 | n |  | TRUE
68 | bus_LV_351-321_0_5_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_351-321_0_5_node_68 | 0.4 | n |  | TRUE
70 | bus_LV_351-321_0_5_node_60 | 0.4 | n |  | TRUE
71 | bus_LV_351-321_0_5_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_351-321_0_5_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_351-321_0_5_node_53 | 0.4 | n |  | TRUE
74 | bus_LV_351-321_0_5_node_54 | 0.4 | n |  | TRUE
75 | bus_LV_351-321_0_5_node_91 | 0.4 | n |  | TRUE
76 | bus_LV_351-321_0_5_node_92 | 0.4 | n |  | TRUE
77 | bus_LV_351-321_0_5_node_84 | 0.4 | n |  | TRUE
78 | bus_LV_351-321_0_5_node_79 | 0.4 | n |  | TRUE
79 | bus_LV_351-321_0_5_node_87 | 0.4 | n |  | TRUE
80 | bus_LV_351-321_0_5_node_86 | 0.4 | n |  | TRUE
81 | bus_LV_351-321_0_5_node_83 | 0.4 | n |  | TRUE
82 | bus_LV_351-321_0_5_node_85 | 0.4 | n |  | TRUE
83 | bus_MV_600_0_node_44 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-321_0_5_load_0 | 0 | 0.0062534 | 0.0015672 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-321_0_5_load_3 | 3 | 0.0079429 | 0.0019907 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-321_0_5_load_20 | 6 | 0.010347 | 0.0025932 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-321_0_5_load_65 | 9 | 0.010943 | 0.0027425 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-321_0_5_load_71 | 12 | 0.0094088 | 0.0023581 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-321_0_5_load_93 | 15 | 0.0088265 | 0.0022121 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-321_0_5_load_63 | 16 | 0.0088781 | 0.0022251 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-321_0_5_load_62 | 18 | 0.0076115 | 0.0019076 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-321_0_5_load_61 | 19 | 0.0046756 | 0.0011718 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-321_0_5_load_40 | 20 | 0.010924 | 0.0027377 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-321_0_5_load_70 | 22 | 0.0094144 | 0.0023595 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-321_0_5_load_39 | 23 | 0.052321 | 0.013113 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-321_0_5_load_69 | 24 | 0.011104 | 0.002783 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-321_0_5_load_72 | 27 | 0.0085939 | 0.0021538 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-321_0_5_load_22 | 28 | 0.0079519 | 0.0019929 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-321_0_5_load_36 | 30 | 0.0026577 | 0.00066609 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-321_0_5_load_64 | 31 | 0.011781 | 0.0029526 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-321_0_5_load_51 | 33 | 0.0048622 | 0.0012186 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-321_0_5_load_48 | 34 | 0.011435 | 0.0028659 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-321_0_5_load_57 | 35 | 0.0078296 | 0.0019623 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-321_0_5_load_55 | 36 | 0.0086446 | 0.0021666 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-321_0_5_load_32 | 37 | 0.0088681 | 0.0022226 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-321_0_5_load_67 | 39 | 0.011089 | 0.0027791 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-321_0_5_load_94 | 41 | 0.013085 | 0.0032795 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-321_0_5_load_21 | 44 | 0.010199 | 0.0025562 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-321_0_5_load_90 | 45 | 0.0089983 | 0.0022552 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-321_0_5_load_89 | 46 | 0.0089974 | 0.002255 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-321_0_5_load_77 | 48 | 0.007219 | 0.0018092 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-321_0_5_load_78 | 49 | 0.010916 | 0.0027358 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-321_0_5_load_88 | 51 | 0.0089316 | 0.0022385 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-321_0_5_load_26 | 53 | 0.0088827 | 0.0022262 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-321_0_5_load_27 | 54 | 0.0088586 | 0.0022202 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-321_0_5_load_81 | 56 | 0.0097257 | 0.0024375 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-321_0_5_load_31 | 57 | 0.0088779 | 0.002225 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-321_0_5_load_82 | 58 | 0.0086374 | 0.0021647 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-321_0_5_load_37 | 59 | 0.0088726 | 0.0022237 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-321_0_5_load_38 | 60 | 0.0087278 | 0.0021874 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-321_0_5_load_75 | 61 | 0.0087658 | 0.0021969 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-321_0_5_load_76 | 62 | 0.008805 | 0.0022067 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-321_0_5_load_52 | 64 | 0.0066754 | 0.001673 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-321_0_5_load_43 | 65 | 0.0082692 | 0.0020724 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-321_0_5_load_44 | 66 | 0.0082749 | 0.0020739 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-321_0_5_load_68 | 69 | 0.0037091 | 0.00092959 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-321_0_5_load_58 | 71 | 0.0082872 | 0.002077 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-321_0_5_load_59 | 72 | 0.0082961 | 0.0020792 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-321_0_5_load_53 | 73 | 0.0033774 | 0.00084645 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-321_0_5_load_54 | 74 | 0.0070983 | 0.001779 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-321_0_5_load_91 | 75 | 0.011193 | 0.0028052 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-321_0_5_load_92 | 76 | 0.011178 | 0.0028015 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-321_0_5_load_84 | 77 | 0.0045367 | 0.001137 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-321_0_5_load_79 | 78 | 0.00455 | 0.0011403 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-321_0_5_load_87 | 79 | 0.01068 | 0.0026767 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-321_0_5_load_86 | 80 | 0.011532 | 0.0028901 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-321_0_5_load_83 | 81 | 0.0093001 | 0.0023308 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-321_0_5_load_85 | 82 | 0.01155 | 0.0028946 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 57 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-321_0_5_line_0 |  | 0 | 1 | 0.025602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-321_0_5_line_1 |  | 0 | 2 | 0.0097299 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-321_0_5_line_2 |  | 1 | 3 | 0.011822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-321_0_5_line_3 |  | 2 | 4 | 0.001686 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_351-321_0_5_line_4 |  | 2 | 5 | 0.021922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_351-321_0_5_line_5 |  | 3 | 6 | 0.0171 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-321_0_5_line_6 |  | 4 | 28 | 0.011396 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_351-321_0_5_line_7 |  | 5 | 16 | 0.017982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_351-321_0_5_line_8 |  | 7 | 8 | 0.041482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-321_0_5_line_9 |  | 7 | 9 | 0.013803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-321_0_5_line_10 |  | 8 | 24 | 0.018065 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-321_0_5_line_11 |  | 9 | 31 | 0.013239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-321_0_5_line_12 |  | 10 | 11 | 0.027369 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-321_0_5_line_13 |  | 10 | 12 | 0.001146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-321_0_5_line_14 |  | 11 | 20 | 0.015475 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-321_0_5_line_15 |  | 12 | 22 | 0.016273 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-321_0_5_line_16 |  | 13 | 14 | 0.033635 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-321_0_5_line_17 |  | 13 | 15 | 0.005629 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-321_0_5_line_18 |  | 14 | 37 | 0.012682 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-321_0_5_line_19 |  | 16 | 18 | 0.017707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
20 | LV_351-321_0_5_line_20 |  | 17 | 18 | 0.013848 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-321_0_5_line_21 |  | 17 | 19 | 0.022838 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-321_0_5_line_22 |  | 19 | 38 | 0.013646 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-321_0_5_line_23 |  | 21 | 22 | 0.01631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-321_0_5_line_24 |  | 21 | 23 | 0.021468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-321_0_5_line_25 |  | 23 | 29 | 0.02579 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-321_0_5_line_26 |  | 24 | 39 | 0.017477 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-321_0_5_line_27 |  | 25 | 26 | 0.040933 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-321_0_5_line_28 |  | 25 | 27 | 0.013499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-321_0_5_line_29 |  | 26 | 45 | 0.00073957 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-321_0_5_line_30 |  | 26 | 46 | 0.015983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-321_0_5_line_31 |  | 28 | 44 | 0.017026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
32 | LV_351-321_0_5_line_32 |  | 29 | 30 | 0.015828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-321_0_5_line_33 |  | 30 | 47 | 0.033037 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-321_0_5_line_34 |  | 32 | 33 | 0.014815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-321_0_5_line_35 |  | 32 | 34 | 0.031601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-321_0_5_line_36 |  | 34 | 68 | 0.017991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-321_0_5_line_37 |  | 35 | 36 | 0.017676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-321_0_5_line_38 |  | 36 | 73 | 0.015568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-321_0_5_line_39 |  | 37 | 57 | 0.017026 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-321_0_5_line_40 |  | 38 | 70 | 0.000587 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-321_0_5_line_41 |  | 38 | 74 | 0.01679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-321_0_5_line_42 |  | 39 | 63 | 0.0149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-321_0_5_line_43 |  | 40 | 41 | 0.002013 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-321_0_5_line_44 |  | 40 | 42 | 0.015849 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-321_0_5_line_45 |  | 42 | 43 | 0.023278 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
46 | LV_351-321_0_5_line_46 |  | 42 | 44 | 0.018335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
47 | LV_351-321_0_5_line_47 |  | 43 | 50 | 0.01389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_351-321_0_5_line_48 |  | 43 | 51 | 0.014505 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-321_0_5_line_49 |  | 45 | 75 | 0.016831 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-321_0_5_line_50 |  | 46 | 51 | 0.016418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-321_0_5_line_51 |  | 47 | 59 | 0.012511 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-321_0_5_line_52 |  | 47 | 60 | 0.013929 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-321_0_5_line_53 |  | 47 | 55 | 0.032778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
54 | LV_351-321_0_5_line_54 |  | 48 | 49 | 0.011491 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-321_0_5_line_55 |  | 49 | 78 | 0.013642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-321_0_5_line_56 |  | 50 | 52 | 0.026875 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
57 | LV_351-321_0_5_line_57 |  | 50 | 53 | 0.01731 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-321_0_5_line_58 |  | 52 | 55 | 0.009126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
59 | LV_351-321_0_5_line_59 |  | 52 | 56 | 0.014618 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-321_0_5_line_60 |  | 53 | 54 | 0.017016 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-321_0_5_line_61 |  | 55 | 57 | 0.017317 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
62 | LV_351-321_0_5_line_62 |  | 56 | 58 | 0.015763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-321_0_5_line_63 |  | 58 | 81 | 0.016124 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-321_0_5_line_64 |  | 60 | 61 | 0.015788 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-321_0_5_line_65 |  | 61 | 62 | 0.015836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-321_0_5_line_66 |  | 62 | 77 | 0.015789 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-321_0_5_line_67 |  | 63 | 64 | 0.011886 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-321_0_5_line_68 |  | 64 | 68 | 0.019855 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-321_0_5_line_69 |  | 65 | 66 | 0.017542 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-321_0_5_line_70 |  | 66 | 67 | 0.014381 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-321_0_5_line_71 |  | 67 | 68 | 0.004022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-321_0_5_line_72 |  | 67 | 69 | 0.015724 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-321_0_5_line_73 |  | 69 | 70 | 0.020728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-321_0_5_line_74 |  | 70 | 72 | 0.014455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-321_0_5_line_75 |  | 71 | 72 | 0.017538 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-321_0_5_line_76 |  | 73 | 74 | 0.00085707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-321_0_5_line_77 |  | 75 | 76 | 0.016441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-321_0_5_line_78 |  | 77 | 78 | 0.015902 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-321_0_5_line_79 |  | 79 | 80 | 0.016198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-321_0_5_line_80 |  | 80 | 82 | 0.016281 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-321_0_5_line_81 |  | 81 | 82 | 0.015695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-321_0_5_trafo_31 | 0.63 MVA 20/0.4 kV | 83 | 57 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2598134.2539 | 1199214.3084 | 2598108.7815 | 1199211.7389
1 | 2598099.1007 | 1199210.7624 | 2598108.7815 | 1199211.7389
2 | 2598134.2539 | 1199214.3084 | 2598134.6561 | 1199210.4062 | 2598135.4657 | 1199202.5486
3 | 2598099.1007 | 1199210.7624 | 2598097.4181 | 1199210.5962
4 | 2598094.4931 | 1199229.6296 | 2598097.158 | 1199229.9067 | 2598097.4463 | 1199227.0606 | 2598097.7727 | 1199223.881 | 2598097.9093 | 1199222.5024 | 2598098.0231 | 1199221.4018 | 2598098.1445 | 1199220.19 | 2598098.3039 | 1199218.6447 | 2598098.6226 | 1199215.4762 | 2598099.1007 | 1199210.7624
5 | 2598135.4657 | 1199202.5486 | 2598135.529 | 1199201.9347 | 2598137.2023 | 1199185.5373
6 | 2598097.4181 | 1199210.5962 | 2598097.6912 | 1199207.8058 | 2598098.5317 | 1199199.2545
7 | 2598094.4931 | 1199229.6296 | 2598092.8907 | 1199247.5399
8 | 2597946.0228 | 1199214.2168 | 2597966.8696 | 1199216.3661 | 2597987.2824 | 1199218.5046
9 | 2597946.0228 | 1199214.2168 | 2597945.6448 | 1199221.8099 | 2597945.3729 | 1199228.0046
10 | 2597987.2824 | 1199218.5046 | 2597986.5914 | 1199223.6742 | 2597984.7776 | 1199236.3945
11 | 2597945.1402 | 1199241.2406 | 2597945.2974 | 1199229.7254 | 2597945.3729 | 1199228.0046
12 | 2597902.243 | 1199209.6857 | 2597911.5243 | 1199210.6718 | 2597911.8354 | 1199207.6478 | 2597911.9794 | 1199206.0358 | 2597912.2222 | 1199203.6122 | 2597912.4574 | 1199201.2997 | 2597912.6698 | 1199199.1207 | 2597912.8596 | 1199197.6643 | 2597913.3375 | 1199192.7282
13 | 2597913.3375 | 1199192.7282 | 2597914.4781 | 1199192.8392
14 | 2597902.243 | 1199209.6857 | 2597901.7708 | 1199225.1536
15 | 2597930.6741 | 1199194.4156 | 2597914.4781 | 1199192.8392
16 | 2597991.0523 | 1199200.0045 | 2598024.6219 | 1199203.3169
17 | 2597991.5757 | 1199194.4013 | 2597991.0523 | 1199200.0045
18 | 2598024.6219 | 1199203.3169 | 2598024.8571 | 1199200.9377 | 2598025.6309 | 1199192.7998 | 2598025.8332 | 1199190.6924
19 | 2598092.8907 | 1199247.5399 | 2598091.3129 | 1199265.1762
20 | 2598090.0708 | 1199278.9686 | 2598090.3439 | 1199276.0892 | 2598090.7383 | 1199271.5978 | 2598091.3129 | 1199265.1762
21 | 2598090.0708 | 1199278.9686 | 2598067.3513 | 1199276.645
22 | 2598053.7759 | 1199275.2566 | 2598067.3513 | 1199276.645
23 | 2597946.9071 | 1199195.9956 | 2597930.6741 | 1199194.4156
24 | 2597946.9071 | 1199195.9956 | 2597946.9213 | 1199193.0163 | 2597947.0687 | 1199179.5312 | 2597947.1882 | 1199174.53
25 | 2597947.8039 | 1199148.7478 | 2597947.1882 | 1199174.53
26 | 2597984.7776 | 1199236.3945 | 2597982.3107 | 1199253.6961
27 | 2598086.4303 | 1199115.1933 | 2598093.6716 | 1199116.8695 | 2598112.159 | 1199120.9323 | 2598126.5043 | 1199124.0737
28 | 2598126.5043 | 1199124.0737 | 2598127.5382 | 1199119.4709 | 2598129.5901 | 1199110.9328
29 | 2598086.6051 | 1199114.4746 | 2598086.4303 | 1199115.1933
30 | 2598086.4303 | 1199115.1933 | 2598083.3302 | 1199130.8728
31 | 2598100.2056 | 1199182.3113 | 2598098.6473 | 1199198.078 | 2598098.5317 | 1199199.2545
32 | 2597947.8039 | 1199148.7478 | 2597959.8411 | 1199148.4434 | 2597963.5981 | 1199148.9212
33 | 2597996.3883 | 1199152.9441 | 2597989.216 | 1199152.1795 | 2597963.5981 | 1199148.9212
34 | 2598003.5799 | 1199319.0194 | 2597991.1961 | 1199310.8869
35 | 2598003.5799 | 1199319.0194 | 2598006.8217 | 1199314.6381 | 2598007.8184 | 1199312.6034 | 2598008.5256 | 1199310.3352 | 2598008.9209 | 1199308.5564 | 2598011.0066 | 1199288.9804
36 | 2598012.9127 | 1199271.0905 | 2598011.0066 | 1199288.9804
37 | 2598046.0538 | 1199325.4658 | 2598047.1527 | 1199321.6725 | 2598048.9166 | 1199314.5348 | 2598049.9348 | 1199308.6313 | 2598049.9911 | 1199308.2513
38 | 2598049.9911 | 1199308.2513 | 2598050.8235 | 1199302.6389 | 2598051.8841 | 1199292.8022
39 | 2598025.8332 | 1199190.6924 | 2598026.6247 | 1199182.4494 | 2598026.822 | 1199180.415 | 2598027.4485 | 1199173.743
40 | 2598053.7759 | 1199275.2566 | 2598053.1896 | 1199275.2012
41 | 2598053.7759 | 1199275.2566 | 2598051.976 | 1199291.95
42 | 2597981.308 | 1199268.5112 | 2597981.1382 | 1199261.9189 | 2597982.3107 | 1199253.6961
43 | 2598111.2269 | 1199157.5411 | 2598111.4395 | 1199155.5399
44 | 2598111.2269 | 1199157.5411 | 2598110.726 | 1199162.177 | 2598110.4223 | 1199164.9342 | 2598102.0546 | 1199164.0698
45 | 2598078.8549 | 1199161.465 | 2598102.0546 | 1199164.0698
46 | 2598102.0546 | 1199164.0698 | 2598101.7967 | 1199166.838 | 2598101.2349 | 1199171.8965 | 2598100.2056 | 1199182.3113
47 | 2598078.8549 | 1199161.465 | 2598064.9824 | 1199160.2023
48 | 2598078.8549 | 1199161.465 | 2598080.6762 | 1199147.0748
49 | 2598086.6051 | 1199114.4746 | 2598088.7342 | 1199105.7208 | 2598090.8651 | 1199098.1944
50 | 2598080.6762 | 1199147.0748 | 2598080.6926 | 1199146.9455 | 2598083.1924 | 1199131.5698 | 2598083.3302 | 1199130.8728
51 | 2597996.3883 | 1199152.9441 | 2597990.2984 | 1199156.0367 | 2597989.5828 | 1199156.1926 | 2597988.7149 | 1199156.2152 | 2597984.6549 | 1199155.8082
52 | 2597996.3883 | 1199152.9441 | 2597997.9943 | 1199139.108
53 | 2597996.3883 | 1199152.9441 | 2598029.0674 | 1199156.5014
54 | 2598020.9162 | 1199054.4162 | 2598017.9865 | 1199059.0642 | 2598015.1642 | 1199064.3553
55 | 2598015.1642 | 1199064.3553 | 2598014.8668 | 1199064.9128 | 2598012.7975 | 1199069.6716 | 2598010.7818 | 1199075.2197 | 2598010.2767 | 1199077.0697
56 | 2598038.1737 | 1199157.421 | 2598064.9824 | 1199160.2023
57 | 2598064.9824 | 1199160.2023 | 2598064.7855 | 1199163.3151 | 2598064.5806 | 1199165.5164 | 2598063.4235 | 1199177.4406
58 | 2598038.1737 | 1199157.421 | 2598029.0674 | 1199156.5014
59 | 2598038.1737 | 1199157.421 | 2598039.8909 | 1199142.9041
60 | 2598061.7818 | 1199194.3769 | 2598062.4638 | 1199187.3732 | 2598062.7293 | 1199184.5939 | 2598063.4235 | 1199177.4406
61 | 2598029.0674 | 1199156.5014 | 2598027.4485 | 1199173.743
62 | 2598039.8909 | 1199142.9041 | 2598041.5141 | 1199129.1825 | 2598041.8703 | 1199127.2692
63 | 2598041.8703 | 1199127.2692 | 2598044.8214 | 1199111.4179
64 | 2597997.9943 | 1199139.108 | 2597998.9085 | 1199131.2316 | 2598000.1389 | 1199123.4699
65 | 2598000.1389 | 1199123.4699 | 2598001.3776 | 1199115.6557 | 2598002.9137 | 1199107.8817
66 | 2598002.9137 | 1199107.8817 | 2598004.4861 | 1199099.924 | 2598006.2864 | 1199092.4611
67 | 2597981.308 | 1199268.5112 | 2597984.2316 | 1199268.399 | 2597987.3455 | 1199268.4757 | 2597993.1603 | 1199269.0704
68 | 2598012.9127 | 1199271.0905 | 2597993.1603 | 1199269.0704
69 | 2598018.3813 | 1199257.193 | 2598020.1512 | 1199239.7408
70 | 2598016.9252 | 1199271.5004 | 2598017.1983 | 1199268.7433 | 2598017.4411 | 1199266.4642 | 2598018.3813 | 1199257.193
71 | 2598012.9127 | 1199271.0905 | 2598016.9252 | 1199271.5004
72 | 2598016.9252 | 1199271.5004 | 2598032.5683 | 1199273.0968
73 | 2598053.1896 | 1199275.2012 | 2598032.5683 | 1199273.0968
74 | 2598053.1896 | 1199275.2012 | 2598053.4551 | 1199272.3551 | 2598053.6904 | 1199270.1761 | 2598054.6486 | 1199260.8197
75 | 2598056.4352 | 1199243.3728 | 2598054.6486 | 1199260.8197
76 | 2598051.8841 | 1199292.8022 | 2598051.976 | 1199291.95
77 | 2598090.8651 | 1199098.1944 | 2598095.3352 | 1199082.4061 | 2598095.3458 | 1199082.376
78 | 2598006.2864 | 1199092.4611 | 2598007.8922 | 1199085.8042 | 2598010.2767 | 1199077.0697
79 | 2598058.2623 | 1199065.202 | 2598053.2054 | 1199080.5906
80 | 2598048.577 | 1199096.1992 | 2598052.7284 | 1199082.0424 | 2598053.2054 | 1199080.5906
81 | 2598044.8214 | 1199111.4179 | 2598046.0512 | 1199104.8124 | 2598048.577 | 1199096.1992

## bus_geodata
| x | y | coords
0 | 2598108.7815 | 1199211.7389
1 | 2598134.2539 | 1199214.3084
2 | 2598099.1007 | 1199210.7624
3 | 2598135.4657 | 1199202.5486
4 | 2598097.4181 | 1199210.5962
5 | 2598094.4931 | 1199229.6296
6 | 2598137.2023 | 1199185.5373
7 | 2597946.0228 | 1199214.2168
8 | 2597987.2824 | 1199218.5046
9 | 2597945.3729 | 1199228.0046
10 | 2597913.3375 | 1199192.7282
11 | 2597902.243 | 1199209.6857
12 | 2597914.4781 | 1199192.8392
13 | 2597991.0523 | 1199200.0045
14 | 2598024.6219 | 1199203.3169
15 | 2597991.5757 | 1199194.4013
16 | 2598092.8907 | 1199247.5399
17 | 2598090.0708 | 1199278.9686
18 | 2598091.3129 | 1199265.1762
19 | 2598067.3513 | 1199276.645
20 | 2597901.7708 | 1199225.1536
21 | 2597946.9071 | 1199195.9956
22 | 2597930.6741 | 1199194.4156
23 | 2597947.1882 | 1199174.53
24 | 2597984.7776 | 1199236.3945
25 | 2598126.5043 | 1199124.0737
26 | 2598086.4303 | 1199115.1933
27 | 2598129.5901 | 1199110.9328
28 | 2598098.5317 | 1199199.2545
29 | 2597947.8039 | 1199148.7478
30 | 2597963.5981 | 1199148.9212
31 | 2597945.1402 | 1199241.2406
32 | 2598003.5799 | 1199319.0194
33 | 2597991.1961 | 1199310.8869
34 | 2598011.0066 | 1199288.9804
35 | 2598046.0538 | 1199325.4658
36 | 2598049.9911 | 1199308.2513
37 | 2598025.8332 | 1199190.6924
38 | 2598053.7759 | 1199275.2566
39 | 2597982.3107 | 1199253.6961
40 | 2598111.2269 | 1199157.5411
41 | 2598111.4395 | 1199155.5399
42 | 2598102.0546 | 1199164.0698
43 | 2598078.8549 | 1199161.465
44 | 2598100.2056 | 1199182.3113
45 | 2598086.6051 | 1199114.4746
46 | 2598083.3302 | 1199130.8728
47 | 2597996.3883 | 1199152.9441
48 | 2598020.9162 | 1199054.4162
49 | 2598015.1642 | 1199064.3553
50 | 2598064.9824 | 1199160.2023
51 | 2598080.6762 | 1199147.0748
52 | 2598038.1737 | 1199157.421
53 | 2598063.4235 | 1199177.4406
54 | 2598061.7818 | 1199194.3769
55 | 2598029.0674 | 1199156.5014
56 | 2598039.8909 | 1199142.9041
57 | 2598027.4485 | 1199173.7429
58 | 2598041.8703 | 1199127.2692
59 | 2597984.6549 | 1199155.8082
60 | 2597997.9943 | 1199139.108
61 | 2598000.1389 | 1199123.4699
62 | 2598002.9137 | 1199107.8817
63 | 2597981.308 | 1199268.5112
64 | 2597993.1603 | 1199269.0704
65 | 2598020.1512 | 1199239.7408
66 | 2598018.3813 | 1199257.193
67 | 2598016.9252 | 1199271.5004
68 | 2598012.9127 | 1199271.0905
69 | 2598032.5683 | 1199273.0968
70 | 2598053.1896 | 1199275.2012
71 | 2598056.4352 | 1199243.3728
72 | 2598054.6486 | 1199260.8197
73 | 2598051.8841 | 1199292.8022
74 | 2598051.976 | 1199291.95
75 | 2598090.8651 | 1199098.1944
76 | 2598095.3458 | 1199082.376
77 | 2598006.2864 | 1199092.4611
78 | 2598010.2767 | 1199077.0697
79 | 2598058.2623 | 1199065.202
80 | 2598053.2054 | 1199080.5906
81 | 2598044.8214 | 1199111.4179
82 | 2598048.577 | 1199096.1992
83 | 2598029.0674 | 1199156.5014

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1