## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-330_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-330_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-330_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-330_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-330_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-330_0_5_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_351-330_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_351-330_0_5_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_351-330_0_5_node_20 | 0.4 | n |  | TRUE
9 | bus_LV_351-330_0_5_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_351-330_0_5_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_351-330_0_5_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_351-330_0_5_node_26 | 0.4 | n |  | TRUE
13 | bus_LV_351-330_0_5_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_351-330_0_5_node_47 | 0.4 | n |  | TRUE
15 | bus_LV_351-330_0_5_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_351-330_0_5_node_48 | 0.4 | n |  | TRUE
17 | bus_LV_351-330_0_5_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_351-330_0_5_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_351-330_0_5_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_351-330_0_5_node_36 | 0.4 | n |  | TRUE
21 | bus_LV_351-330_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_351-330_0_5_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_351-330_0_5_node_42 | 0.4 | n |  | TRUE
24 | bus_LV_351-330_0_5_node_11 | 0.4 | n |  | TRUE
25 | bus_LV_351-330_0_5_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_351-330_0_5_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_351-330_0_5_node_24 | 0.4 | n |  | TRUE
28 | bus_LV_351-330_0_5_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_351-330_0_5_node_8 | 0.4 | n |  | TRUE
30 | bus_LV_351-330_0_5_node_5 | 0.4 | n |  | TRUE
31 | bus_LV_351-330_0_5_node_6 | 0.4 | n |  | TRUE
32 | bus_LV_351-330_0_5_node_7 | 0.4 | n |  | TRUE
33 | bus_LV_351-330_0_5_node_10 | 0.4 | n |  | TRUE
34 | bus_LV_351-330_0_5_node_49 | 0.4 | n |  | TRUE
35 | bus_LV_351-330_0_5_node_43 | 0.4 | n |  | TRUE
36 | bus_LV_351-330_0_5_node_44 | 0.4 | n |  | TRUE
37 | bus_LV_351-330_0_5_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_351-330_0_5_node_46 | 0.4 | n |  | TRUE
39 | bus_LV_351-330_0_5_node_32 | 0.4 | n |  | TRUE
40 | bus_LV_351-330_0_5_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_351-330_0_5_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_351-330_0_5_node_31 | 0.4 | n |  | TRUE
43 | bus_LV_351-330_0_5_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_351-330_0_5_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_351-330_0_5_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_351-330_0_5_node_35 | 0.4 | n |  | TRUE
47 | bus_LV_351-330_0_5_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_351-330_0_5_node_39 | 0.4 | n |  | TRUE
49 | bus_MV_600_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-330_0_5_load_0 | 0 | 0.018745 | 0.0046979 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-330_0_5_load_1 | 1 | 0.0055315 | 0.0013863 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-330_0_5_load_2 | 2 | 0.013122 | 0.0032888 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-330_0_5_load_50 | 9 | 0.038346 | 0.0096104 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-330_0_5_load_45 | 13 | 0.014523 | 0.0036398 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-330_0_5_load_47 | 14 | 0.015566 | 0.0039011 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-330_0_5_load_48 | 16 | 0.0060022 | 0.0015043 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-330_0_5_load_36 | 20 | 0.0033814 | 0.00084746 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-330_0_5_load_42 | 23 | 0.00554 | 0.0013885 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-330_0_5_load_11 | 24 | 0.061297 | 0.015362 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-330_0_5_load_27 | 25 | 0.032075 | 0.0080387 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-330_0_5_load_24 | 27 | 0.048167 | 0.012072 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-330_0_5_load_29 | 28 | 0.0048341 | 0.0012115 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-330_0_5_load_5 | 30 | 0.01221 | 0.0030602 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-330_0_5_load_6 | 31 | 0.01221 | 0.0030602 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-330_0_5_load_7 | 32 | 0.0069166 | 0.0017335 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-330_0_5_load_10 | 33 | 0.070457 | 0.017658 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-330_0_5_load_49 | 34 | 0.0030784 | 0.00077153 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-330_0_5_load_43 | 35 | 0.0090531 | 0.0022689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-330_0_5_load_44 | 36 | 0.0064887 | 0.0016262 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-330_0_5_load_25 | 37 | 0.017272 | 0.0043289 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-330_0_5_load_46 | 38 | 0.01415 | 0.0035464 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-330_0_5_load_32 | 39 | 0.0011917 | 0.00029866 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-330_0_5_load_37 | 40 | 0.0033058 | 0.00082851 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-330_0_5_load_30 | 41 | 0.0060012 | 0.001504 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-330_0_5_load_31 | 42 | 0.0047235 | 0.0011838 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-330_0_5_load_41 | 43 | 0.0046577 | 0.0011673 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-330_0_5_load_40 | 44 | 0.0092621 | 0.0023213 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-330_0_5_load_33 | 45 | 0.00092559 | 0.00023198 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-330_0_5_load_35 | 46 | 0.00092369 | 0.0002315 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-330_0_5_load_38 | 47 | 0.0033178 | 0.00083151 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-330_0_5_load_39 | 48 | 0.0033201 | 0.00083209 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-330_0_5_line_0 |  | 0 | 1 | 0.028574 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
1 | LV_351-330_0_5_line_1 |  | 0 | 2 | 0.03354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
2 | LV_351-330_0_5_line_2 |  | 1 | 3 | 0.01088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
3 | LV_351-330_0_5_line_3 |  | 2 | 4 | 0.024632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-330_0_5_line_4 |  | 3 | 5 | 0.014021 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_351-330_0_5_line_5 |  | 4 | 6 | 0.041335 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-330_0_5_line_6 |  | 5 | 26 | 0.039668 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_351-330_0_5_line_7 |  | 5 | 27 | 0.02185 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
8 | LV_351-330_0_5_line_8 |  | 6 | 7 | 0.080023 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-330_0_5_line_9 |  | 7 | 24 | 0.0091806 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-330_0_5_line_10 |  | 8 | 9 | 0.036215 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-330_0_5_line_11 |  | 8 | 10 | 0.077713 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-330_0_5_line_12 |  | 10 | 14 | 0.024232 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-330_0_5_line_13 |  | 11 | 12 | 0.000472 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-330_0_5_line_14 |  | 11 | 13 | 0.033312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-330_0_5_line_15 |  | 12 | 36 | 0.026983 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-330_0_5_line_16 |  | 12 | 37 | 0.011842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-330_0_5_line_17 |  | 13 | 38 | 0.012345 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-330_0_5_line_18 |  | 14 | 38 | 0.01693 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-330_0_5_line_19 |  | 15 | 16 | 0.022851 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-330_0_5_line_20 |  | 15 | 17 | 0.041704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-330_0_5_line_21 |  | 16 | 34 | 0.019142 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-330_0_5_line_22 |  | 17 | 25 | 0.024782 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-330_0_5_line_23 |  | 18 | 19 | 0.025518 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-330_0_5_line_24 |  | 18 | 20 | 0.0090785 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-330_0_5_line_25 |  | 19 | 39 | 0.010605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-330_0_5_line_26 |  | 20 | 40 | 0.0068742 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-330_0_5_line_27 |  | 21 | 22 | 0.003744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-330_0_5_line_28 |  | 21 | 23 | 0.0092057 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-330_0_5_line_29 |  | 22 | 25 | 0.020716 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-330_0_5_line_30 |  | 23 | 35 | 0.012406 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-330_0_5_line_31 |  | 24 | 33 | 0.04083 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-330_0_5_line_32 |  | 26 | 28 | 0.0079708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-330_0_5_line_33 |  | 26 | 29 | 0.004922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
34 | LV_351-330_0_5_line_34 |  | 27 | 37 | 0.0035611 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-330_0_5_line_35 |  | 28 | 41 | 0.0072527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-330_0_5_line_36 |  | 29 | 31 | 0.012111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
37 | LV_351-330_0_5_line_37 |  | 30 | 31 | 0.026966 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-330_0_5_line_38 |  | 30 | 32 | 0.027042 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-330_0_5_line_39 |  | 35 | 46 | 0.01486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-330_0_5_line_40 |  | 39 | 45 | 0.016591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-330_0_5_line_41 |  | 40 | 47 | 0.0068088 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-330_0_5_line_42 |  | 41 | 42 | 0.0066575 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-330_0_5_line_43 |  | 42 | 43 | 0.0068846 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-330_0_5_line_44 |  | 43 | 44 | 0.010217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-330_0_5_line_45 |  | 44 | 48 | 0.010211 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-330_0_5_line_46 |  | 45 | 46 | 0.014354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-330_0_5_line_47 |  | 47 | 48 | 0.0068239 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-330_0_5_trafo_6 | 0.63 MVA 20/0.4 kV | 49 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2598523.7819 | 1199406.6081 | 2598506.3965 | 1199407.5805 | 2598499.0265 | 1199406.7486 | 2598495.5621 | 1199405.3266
1 | 2598523.7819 | 1199406.6081 | 2598525.3687 | 1199406.5194 | 2598540.1608 | 1199404.0587 | 2598553.0576 | 1199403.2105 | 2598557.0887 | 1199403.1879
2 | 2598492.3465 | 1199394.933 | 2598495.5621 | 1199405.3266
3 | 2598581.5085 | 1199402.2362 | 2598580.0165 | 1199403.0592 | 2598557.0887 | 1199403.1879
4 | 2598478.9786 | 1199399.2833 | 2598492.3465 | 1199394.933
5 | 2598560.5095 | 1199366.7891 | 2598562.9166 | 1199371.9135 | 2598564.4403 | 1199375.7151 | 2598566.108 | 1199377.5379 | 2598567.2734 | 1199379.3831 | 2598572.3003 | 1199387.6084 | 2598581.5085 | 1199402.2362
6 | 2598443.8829 | 1199406.4744 | 2598445.1173 | 1199410.3317 | 2598478.9786 | 1199399.2833
7 | 2598478.9786 | 1199399.2833 | 2598480.5866 | 1199405.1415 | 2598481.5793 | 1199416.4362 | 2598481.9079 | 1199420.8606
8 | 2598523.6354 | 1199357.6159 | 2598524.1523 | 1199354.4585 | 2598525.9538 | 1199343.3521 | 2598526.5163 | 1199339.8501 | 2598547.4921 | 1199343.0909 | 2598555.677 | 1199345.0009 | 2598555.4491 | 1199346.713 | 2598560.2915 | 1199347.8235 | 2598567.8861 | 1199363.8524 | 2598567.2086 | 1199364.2861 | 2598565.5947 | 1199364.7979 | 2598563.486 | 1199365.5099 | 2598560.5095 | 1199366.7891
9 | 2598523.6354 | 1199357.6159 | 2598516.7831 | 1199356.6616 | 2598514.6211 | 1199357.3274
10 | 2598414.4635 | 1199511.083 | 2598425.4929 | 1199503.2646 | 2598427.6395 | 1199501.7854 | 2598428.9105 | 1199500.3621 | 2598429.519 | 1199498.6277 | 2598427.8473 | 1199482.3416
11 | 2598396.1198 | 1199444.5302 | 2598396.5402 | 1199450.411 | 2598395.0023 | 1199450.5448 | 2598395.2395 | 1199454.6914 | 2598400.7974 | 1199455.1457 | 2598400.0439 | 1199455.9908 | 2598399.397 | 1199457.0471 | 2598399.0167 | 1199458.359 | 2598398.8268 | 1199459.7154 | 2598400.7988 | 1199487.5964 | 2598401.1648 | 1199489.6863 | 2598401.8355 | 1199492.2097 | 2598403.1306 | 1199495.0108 | 2598409.3303 | 1199504.0473 | 2598414.4635 | 1199511.083
12 | 2598396.1198 | 1199444.5302 | 2598420.2418 | 1199442.2212
13 | 2598482.5439 | 1199436.2577 | 2598483.0159 | 1199436.2242
14 | 2598482.5439 | 1199436.2577 | 2598449.3837 | 1199439.4318
15 | 2598483.0159 | 1199436.2242 | 2598509.911 | 1199434.0466
16 | 2598483.0159 | 1199436.2242 | 2598482.6566 | 1199430.9437 | 2598482.1716 | 1199424.412
17 | 2598449.3837 | 1199439.4318 | 2598437.0948 | 1199440.6081
18 | 2598437.0948 | 1199440.6081 | 2598420.2418 | 1199442.2212
19 | 2598403.0521 | 1199350.5001 | 2598396.7403 | 1199349.4569 | 2598393.9664 | 1199340.3194 | 2598389.8017 | 1199339.7425 | 2598390.136 | 1199337.3856 | 2598389.8177 | 1199337.3584
20 | 2598403.0521 | 1199350.5001 | 2598421.0045 | 1199350.3728 | 2598418.6874 | 1199341.024 | 2598419.1199 | 1199335.4654 | 2598422.5005 | 1199336.3316 | 2598427.3963 | 1199337.5864
21 | 2598389.8177 | 1199337.3584 | 2598376.5152 | 1199336.2222 | 2598371.0264 | 1199338.0669
22 | 2598427.3963 | 1199337.5864 | 2598426.8635 | 1199338.3759 | 2598426.4679 | 1199339.2209 | 2598426.3158 | 1199340.0659 | 2598426.2857 | 1199341.2443 | 2598426.4611 | 1199342.3782 | 2598432.6655 | 1199361.0878
23 | 2598369.1497 | 1199431.3863 | 2598365.7817 | 1199421.0707 | 2598362.3143 | 1199409.6322 | 2598362.1389 | 1199408.3204 | 2598362.3212 | 1199406.9419
24 | 2598369.1497 | 1199431.3863 | 2598371.3346 | 1199430.7187 | 2598377.7819 | 1199428.5765
25 | 2598362.3212 | 1199406.9419 | 2598362.8233 | 1199405.7856 | 2598363.828 | 1199404.8181 | 2598365.4266 | 1199404.095 | 2598371.3324 | 1199402.224
26 | 2598377.7819 | 1199428.5765 | 2598384.3054 | 1199426.4089
27 | 2598439.1861 | 1199380.7508 | 2598435.6005 | 1199381.8635
28 | 2598435.6005 | 1199381.8635 | 2598426.8247 | 1199384.6437
29 | 2598439.1861 | 1199380.7508 | 2598432.6655 | 1199361.0878
30 | 2598426.8247 | 1199384.6437 | 2598414.9982 | 1199388.3904
31 | 2598475.5994 | 1199369.3444 | 2598514.6211 | 1199357.3274
32 | 2598443.8829 | 1199406.4744 | 2598440.0157 | 1199407.8984 | 2598436.3624 | 1199409.1123
33 | 2598448.5114 | 1199404.7611 | 2598447.3771 | 1199405.1838 | 2598443.8829 | 1199406.4744
34 | 2598482.1716 | 1199424.412 | 2598481.9079 | 1199420.8606
35 | 2598429.4797 | 1199411.3992 | 2598436.3624 | 1199409.1123
36 | 2598448.5114 | 1199404.7611 | 2598449.2956 | 1199404.9276 | 2598450.1407 | 1199404.9274 | 2598451.1304 | 1199404.8048 | 2598460.1282 | 1199401.8608
37 | 2598485.7562 | 1199393.4705 | 2598477.8586 | 1199396.0596 | 2598460.1282 | 1199401.8608
38 | 2598485.7562 | 1199393.4705 | 2598490.823 | 1199391.8095 | 2598511.4568 | 1199385.0581
39 | 2598414.9982 | 1199388.3904 | 2598400.8319 | 1199392.8784
40 | 2598371.3324 | 1199402.224 | 2598387.1483 | 1199397.2134
41 | 2598384.3054 | 1199426.4089 | 2598390.767 | 1199424.262
42 | 2598423.1618 | 1199413.4984 | 2598429.4797 | 1199411.3992
43 | 2598416.6284 | 1199415.6692 | 2598423.1618 | 1199413.4984
44 | 2598406.9329 | 1199418.8906 | 2598416.6284 | 1199415.6692
45 | 2598397.2427 | 1199422.1103 | 2598406.9329 | 1199418.8906
46 | 2598400.8319 | 1199392.8784 | 2598387.1483 | 1199397.2134
47 | 2598390.767 | 1199424.262 | 2598397.2427 | 1199422.1103

## bus_geodata
| x | y | coords
0 | 2598523.7819 | 1199406.6081
1 | 2598495.5621 | 1199405.3266
2 | 2598557.0887 | 1199403.1879
3 | 2598492.3465 | 1199394.933
4 | 2598581.5085 | 1199402.2362
5 | 2598478.9786 | 1199399.2833
6 | 2598560.5095 | 1199366.7891
7 | 2598523.6354 | 1199357.6159
8 | 2598414.4635 | 1199511.083
9 | 2598427.8473 | 1199482.3416
10 | 2598396.1198 | 1199444.5302
11 | 2598482.5439 | 1199436.2577
12 | 2598483.0159 | 1199436.2242
13 | 2598449.3837 | 1199439.4318
14 | 2598420.2418 | 1199442.2212
15 | 2598403.0521 | 1199350.5001
16 | 2598389.8177 | 1199337.3584
17 | 2598427.3963 | 1199337.5864
18 | 2598369.1497 | 1199431.3863
19 | 2598362.3212 | 1199406.9419
20 | 2598377.7819 | 1199428.5765
21 | 2598435.6005 | 1199381.8635
22 | 2598439.1861 | 1199380.7508
23 | 2598426.8247 | 1199384.6437
24 | 2598514.6211 | 1199357.3274
25 | 2598432.6655 | 1199361.0878
26 | 2598443.8829 | 1199406.4744
27 | 2598481.9079 | 1199420.8606
28 | 2598436.3624 | 1199409.1123
29 | 2598448.5114 | 1199404.7611
30 | 2598485.7562 | 1199393.4705
31 | 2598460.1282 | 1199401.8608
32 | 2598511.4568 | 1199385.0581
33 | 2598475.5994 | 1199369.3444
34 | 2598371.0264 | 1199338.0669
35 | 2598414.9982 | 1199388.3904
36 | 2598509.911 | 1199434.0466
37 | 2598482.1716 | 1199424.412
38 | 2598437.0948 | 1199440.6081
39 | 2598371.3324 | 1199402.224
40 | 2598384.3054 | 1199426.4089
41 | 2598429.4797 | 1199411.3992
42 | 2598423.1618 | 1199413.4984
43 | 2598416.6284 | 1199415.6692
44 | 2598406.9329 | 1199418.8906
45 | 2598387.1483 | 1199397.2134
46 | 2598400.8319 | 1199392.8784
47 | 2598390.767 | 1199424.262
48 | 2598397.2427 | 1199422.1103
49 | 2598460.1282 | 1199401.8608

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1