## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-332_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-332_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-332_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_351-332_0_2_node_7 | 0.4 | n |  | TRUE
4 | bus_LV_351-332_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-332_0_2_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_351-332_0_2_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_351-332_0_2_node_34 | 0.4 | n |  | TRUE
8 | bus_LV_351-332_0_2_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_351-332_0_2_node_20 | 0.4 | n |  | TRUE
10 | bus_LV_351-332_0_2_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_351-332_0_2_node_16 | 0.4 | n |  | TRUE
12 | bus_LV_351-332_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_351-332_0_2_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_351-332_0_2_node_17 | 0.4 | n |  | TRUE
15 | bus_LV_351-332_0_2_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_351-332_0_2_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_351-332_0_2_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_351-332_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_351-332_0_2_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_351-332_0_2_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_351-332_0_2_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_351-332_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_351-332_0_2_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_351-332_0_2_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_351-332_0_2_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_351-332_0_2_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_351-332_0_2_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_351-332_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_351-332_0_2_node_31 | 0.4 | n |  | TRUE
30 | bus_LV_351-332_0_2_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_351-332_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_351-332_0_2_node_30 | 0.4 | n |  | TRUE
33 | bus_LV_351-332_0_2_node_33 | 0.4 | n |  | TRUE
34 | bus_MV_600_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-332_0_2_load_0 | 0 | 0.0037293 | 0.00093465 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-332_0_2_load_3 | 2 | 0.0016167 | 0.00040519 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-332_0_2_load_34 | 7 | 0.035289 | 0.0088443 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-332_0_2_load_20 | 9 | 0.029951 | 0.0075065 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-332_0_2_load_18 | 10 | 0.004749 | 0.0011902 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-332_0_2_load_16 | 11 | 0.0027271 | 0.00068346 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-332_0_2_load_35 | 13 | 0.0069084 | 0.0017314 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-332_0_2_load_26 | 16 | 0.0084492 | 0.0021176 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-332_0_2_load_27 | 20 | 0.050743 | 0.012717 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-332_0_2_load_36 | 21 | 0.0075424 | 0.0018903 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-332_0_2_load_28 | 23 | 0.00085312 | 0.00021381 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-332_0_2_load_23 | 24 | 0.0079041 | 0.001981 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-332_0_2_load_21 | 25 | 0.013305 | 0.0033346 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-332_0_2_load_25 | 27 | 0.037195 | 0.009322 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-332_0_2_load_29 | 28 | 0.00086391 | 0.00021652 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-332_0_2_load_31 | 29 | 0.011449 | 0.0028694 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-332_0_2_load_32 | 30 | 0.0093648 | 0.002347 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-332_0_2_load_22 | 31 | 0.099043 | 0.024823 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-332_0_2_load_30 | 32 | 0.011321 | 0.0028374 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-332_0_2_load_33 | 33 | 0.0093532 | 0.0023441 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-332_0_2_line_0 |  | 0 | 1 | 0.0055878 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-332_0_2_line_1 |  | 1 | 2 | 0.020395 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-332_0_2_line_2 |  | 1 | 3 | 0.17392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-332_0_2_line_3 |  | 3 | 10 | 0.016608 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-332_0_2_line_4 |  | 3 | 11 | 0.019482 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-332_0_2_line_5 |  | 4 | 5 | 0.067746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-332_0_2_line_6 |  | 4 | 6 | 0.072613 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-332_0_2_line_7 |  | 4 | 7 | 0.03179 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-332_0_2_line_8 |  | 5 | 8 | 0.11763 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_351-332_0_2_line_9 |  | 5 | 9 | 0.013353 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
10 | LV_351-332_0_2_line_10 |  | 6 | 24 | 0.0055495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-332_0_2_line_11 |  | 8 | 15 | 0.038647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
12 | LV_351-332_0_2_line_12 |  | 9 | 25 | 0.043578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_351-332_0_2_line_13 |  | 11 | 14 | 0.02854 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-332_0_2_line_14 |  | 12 | 13 | 0.036265 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-332_0_2_line_15 |  | 12 | 14 | 0.14628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-332_0_2_line_16 |  | 14 | 26 | 0.11916 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-332_0_2_line_17 |  | 15 | 16 | 0.017702 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-332_0_2_line_18 |  | 16 | 19 | 0.012969 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-332_0_2_line_19 |  | 17 | 18 | 0.033677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-332_0_2_line_20 |  | 17 | 19 | 0.012532 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-332_0_2_line_21 |  | 17 | 20 | 0.014507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-332_0_2_line_22 |  | 18 | 21 | 0.018919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-332_0_2_line_23 |  | 18 | 22 | 0.097126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-332_0_2_line_24 |  | 22 | 23 | 0.010022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-332_0_2_line_25 |  | 23 | 28 | 0.012266 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-332_0_2_line_26 |  | 24 | 26 | 0.0087418 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-332_0_2_line_27 |  | 25 | 31 | 0.022744 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
28 | LV_351-332_0_2_line_28 |  | 26 | 27 | 0.027632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-332_0_2_line_29 |  | 28 | 32 | 0.031526 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-332_0_2_line_30 |  | 29 | 30 | 0.011305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-332_0_2_line_31 |  | 30 | 33 | 0.0092404 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-332_0_2_line_32 |  | 32 | 33 | 0.011268 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-332_0_2_trafo_22 | 0.63 MVA 20/0.4 kV | 34 | 31 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39 | x40 | y40
0 | 2598843.819 | 1199845.0582 | 2598838.5937 | 1199843.0784
1 | 2598843.819 | 1199845.0582 | 2598836.6341 | 1199864.146
2 | 2598843.819 | 1199845.0582 | 2598867.0855 | 1199853.9805 | 2598869.6587 | 1199854.3246 | 2598871.5923 | 1199854.2797 | 2598873.7619 | 1199853.8568 | 2598875.8171 | 1199852.8114 | 2598877.4231 | 1199851.3214 | 2598878.892 | 1199849.3089 | 2598881.4034 | 1199845.1729 | 2598883.4277 | 1199841.8485 | 2598891.6198 | 1199845.182 | 2598900.3068 | 1199849.6382 | 2598907.7072 | 1199853.4166 | 2598911.3751 | 1199845.8896 | 2598914.2895 | 1199839.0965 | 2598918.0637 | 1199830.2243 | 2598923.588 | 1199816.5159 | 2598925.9009 | 1199809.445 | 2598926.1127 | 1199802.3856 | 2598923.8658 | 1199796.2161 | 2598919.7234 | 1199791.1809 | 2598913.937 | 1199787.9024 | 2598902.8746 | 1199783.4911 | 2598893.959 | 1199778.8015 | 2598891.3322 | 1199776.9454
3 | 2598891.3322 | 1199776.9454 | 2598888.4557 | 1199782.9048 | 2598885.4653 | 1199789.9091 | 2598884.1943 | 1199791.9215
4 | 2598891.3322 | 1199776.9454 | 2598884.3274 | 1199771.9886 | 2598875.6355 | 1199765.4106
5 | 2598992.9497 | 1199738.6835 | 2598994.1221 | 1199738.6721 | 2598998.37 | 1199738.538 | 2599003.5544 | 1199738.0924 | 2599005.823 | 1199737.7029 | 2599007.452 | 1199737.1912 | 2599008.8299 | 1199736.6462 | 2599011.281 | 1199735.1338 | 2599012.8185 | 1199733.7884 | 2599014.7442 | 1199731.6091 | 2599015.9773 | 1199730.0636 | 2599017.606 | 1199727.8066 | 2599018.6714 | 1199725.6163 | 2599023.5495 | 1199715.0542 | 2599032.6208 | 1199695.9313 | 2599034.2494 | 1199692.4958
6 | 2598922.231 | 1199727.7464 | 2598925.7943 | 1199729.8135 | 2598929.9209 | 1199731.8804 | 2598933.6439 | 1199733.4361 | 2598937.0167 | 1199734.7028 | 2598941.3487 | 1199736.0249 | 2598946.5409 | 1199736.9022 | 2598951.832 | 1199737.2569 | 2598988.8843 | 1199738.5397 | 2598992.9497 | 1199738.6835
7 | 2598992.9497 | 1199738.6835 | 2598992.7664 | 1199735.4707 | 2598987.6723 | 1199729.8686 | 2598971.4238 | 1199716.5644
8 | 2599034.2494 | 1199692.4958 | 2599038.5796 | 1199683.4013 | 2599039.4472 | 1199681.8114 | 2599040.2768 | 1199680.4661 | 2599041.0988 | 1199679.1764 | 2599041.738 | 1199677.7311 | 2599042.1794 | 1199676.4525 | 2599042.5521 | 1199675.0072 | 2599042.8108 | 1199673.7732 | 2599043.0922 | 1199672.2168 | 2599043.3127 | 1199670.5269 | 2599043.5637 | 1199669.115 | 2599043.807 | 1199667.7476 | 2599044.2786 | 1199665.2573 | 2599044.9786 | 1199662.9448 | 2599049.9784 | 1199651.5934 | 2599051.295 | 1199648.6249 | 2599054.1564 | 1199642.1321 | 2599058.7149 | 1199632.2927 | 2599070.4125 | 1199609.9343 | 2599067.0549 | 1199608.6119 | 2599065.2885 | 1199607.8451 | 2599066.0571 | 1199606.0663 | 2599067.5487 | 1199602.6086 | 2599063.6277 | 1199600.8083 | 2599065.7127 | 1199595.1716 | 2599060.6572 | 1199592.9935
9 | 2599034.2494 | 1199692.4958 | 2599030.138 | 1199690.2843 | 2599025.3413 | 1199687.139 | 2599023.1967 | 1199685.1154
10 | 2598922.231 | 1199727.7464 | 2598919.1398 | 1199725.6236 | 2598917.8139 | 1199724.4069
11 | 2599029.5492 | 1199588.1852 | 2599033.0124 | 1199583.9934 | 2599036.6355 | 1199579.6238 | 2599044.8812 | 1199583.48 | 2599046.1679 | 1199584.0912 | 2599060.6572 | 1199592.9935
12 | 2598989.8158 | 1199657.6694 | 2598993.9404 | 1199660.3635 | 2598999.2852 | 1199662.5526 | 2599023.1967 | 1199685.1154
13 | 2598853.3075 | 1199747.6485 | 2598861.6222 | 1199754.7061 | 2598867.6298 | 1199759.3518 | 2598875.6355 | 1199765.4106
14 | 2598825.8744 | 1199802.4502 | 2598827.3661 | 1199800.6823 | 2598829.4674 | 1199801.5601 | 2598855.9394 | 1199811.9046 | 2598857.1873 | 1199808.8138
15 | 2598825.8744 | 1199802.4502 | 2598817.1638 | 1199795.4038 | 2598789.9725 | 1199768.4396 | 2598783.7588 | 1199761.237 | 2598789.4446 | 1199756.5889 | 2598790.5941 | 1199756.055 | 2598791.8958 | 1199755.7434 | 2598792.9692 | 1199755.6654 | 2598794.2482 | 1199755.8986 | 2598796.0602 | 1199756.4318 | 2598797.796 | 1199756.8428 | 2598799.608 | 1199757.0203 | 2598801.1381 | 1199756.9421 | 2598802.5921 | 1199756.6639 | 2598804.3506 | 1199755.9742 | 2598805.9871 | 1199754.9845 | 2598807.6465 | 1199753.5834 | 2598820.8897 | 1199738.239 | 2598822.5719 | 1199737.0158 | 2598825.1296 | 1199735.7924 | 2598826.7358 | 1199735.4141 | 2598828.3193 | 1199735.3582 | 2598829.5679 | 1199735.5358 | 2598830.9459 | 1199736.0469 | 2598832.5524 | 1199736.5023 | 2598833.4202 | 1199736.5022 | 2598834.113 | 1199736.2241 | 2598836.9976 | 1199733.1552 | 2598839.5789 | 1199735.4559 | 2598852.0892 | 1199746.6148 | 2598853.3075 | 1199747.6485
16 | 2598853.3075 | 1199747.6485 | 2598855.2712 | 1199745.5025 | 2598853.695 | 1199744.1132 | 2598845.243 | 1199736.0773 | 2598840.9943 | 1199732.4429 | 2598840.5069 | 1199731.8982 | 2598840.0423 | 1199730.8978 | 2598839.9051 | 1199730.1863 | 2598839.9353 | 1199728.5076 | 2598840.1557 | 1199726.8734 | 2598840.4219 | 1199725.8061 | 2598840.7948 | 1199724.9722 | 2598841.7233 | 1199723.5379 | 2598842.5606 | 1199722.8485 | 2598844.0297 | 1199722.0255 | 2598845.1942 | 1199720.9581 | 2598847.2265 | 1199718.9121 | 2598847.8354 | 1199718.4228 | 2598849.6471 | 1199717.5553 | 2598852.0374 | 1199716.6099 | 2598853.0651 | 1199716.4985 | 2598853.7884 | 1199716.4984 | 2598854.4507 | 1199716.5427 | 2598856.8717 | 1199716.9091 | 2598859.4983 | 1199717.6867 | 2598863.6097 | 1199719.5202 | 2598864.9877 | 1199719.9868 | 2598866.5332 | 1199720.3534 | 2598868.132 | 1199720.4753 | 2598870.0276 | 1199720.3638 | 2598871.6948 | 1199720.0633 | 2598873.0041 | 1199719.585 | 2598873.9556 | 1199718.9511 | 2598874.8538 | 1199718.195 | 2598881.6735 | 1199710.7118 | 2598895.897 | 1199723.4047 | 2598896.8332 | 1199722.3818 | 2598901.6816 | 1199717.0891 | 2598902.3818 | 1199716.3219 | 2598908.8691 | 1199721.2566 | 2598911.3503 | 1199718.5213
17 | 2599029.5492 | 1199588.1852 | 2599014.8171 | 1199578.371
18 | 2599003.9432 | 1199571.3029 | 2599012.6156 | 1199576.9043 | 2599014.8171 | 1199578.371
19 | 2599009.3013 | 1199562.386 | 2599007.5576 | 1199560.9523 | 2599001.9688 | 1199556.4953 | 2599000.1946 | 1199555.0726 | 2598981.5631 | 1199543.2586
20 | 2599003.9432 | 1199571.3029 | 2599007.6197 | 1199567.2556 | 2599010.9916 | 1199563.5419 | 2599009.3013 | 1199562.386
21 | 2599009.3013 | 1199562.386 | 2599016.3878 | 1199554.6807 | 2599017.2175 | 1199554.0024 | 2599018.1691 | 1199553.5909 | 2599019.1131 | 1199553.4462 | 2599020.08 | 1199553.5683
22 | 2598981.5631 | 1199543.2586 | 2598982.3315 | 1199540.2902 | 2598973.7349 | 1199533.4992 | 2598977.0155 | 1199529.83
23 | 2598976.3594 | 1199480.6816 | 2598975.7353 | 1199481.5822 | 2598974.6545 | 1199483.2054 | 2598972.3255 | 1199486.9968 | 2598971.6633 | 1199487.4861 | 2598962.8483 | 1199493.9467 | 2598961.5847 | 1199495.1587 | 2598960.1158 | 1199497.2268 | 2598954.2328 | 1199508.4894 | 2598953.2054 | 1199510.2239 | 2598952.1626 | 1199511.5804 | 2598949.9476 | 1199513.8376 | 2598944.6954 | 1199518.4188 | 2598943.2872 | 1199519.9754 | 2598945.8758 | 1199520.6309 | 2598981.5631 | 1199543.2586
24 | 2598976.3594 | 1199480.6816 | 2598980.6461 | 1199483.36 | 2598981.537 | 1199483.76 | 2598982.4658 | 1199484.0044 | 2598985.4798 | 1199484.3211
25 | 2598997.679 | 1199485.603 | 2598985.4798 | 1199484.3211
26 | 2598911.3503 | 1199718.5213 | 2598913.5357 | 1199720.5331 | 2598916.5357 | 1199723.2339 | 2598917.8139 | 1199724.4069
27 | 2598989.8158 | 1199657.6694 | 2598986.4026 | 1199655.44 | 2598971.6144 | 1199644.0477
28 | 2598911.3503 | 1199718.5213 | 2598901.7638 | 1199709.2293 | 2598891.515 | 1199699.2831
29 | 2599029.0328 | 1199488.8975 | 2598997.679 | 1199485.603
30 | 2599049.4287 | 1199491.0406 | 2599060.672 | 1199492.222
31 | 2599040.2389 | 1199490.075 | 2599049.4287 | 1199491.0406
32 | 2599040.2389 | 1199490.075 | 2599029.0328 | 1199488.8975

## bus_geodata
| x | y | coords
0 | 2598838.5937 | 1199843.0784
1 | 2598843.819 | 1199845.0582
2 | 2598836.6341 | 1199864.146
3 | 2598891.3322 | 1199776.9454
4 | 2598992.9497 | 1199738.6835
5 | 2599034.2494 | 1199692.4958
6 | 2598922.231 | 1199727.7464
7 | 2598971.4238 | 1199716.5644
8 | 2599060.6572 | 1199592.9935
9 | 2599023.1967 | 1199685.1154
10 | 2598884.1943 | 1199791.9215
11 | 2598875.6355 | 1199765.4106
12 | 2598825.8744 | 1199802.4502
13 | 2598857.1873 | 1199808.8138
14 | 2598853.3075 | 1199747.6485
15 | 2599029.5492 | 1199588.1852
16 | 2599014.8171 | 1199578.371
17 | 2599009.3013 | 1199562.386
18 | 2598981.5631 | 1199543.2586
19 | 2599003.9432 | 1199571.3029
20 | 2599020.08 | 1199553.5683
21 | 2598977.0155 | 1199529.83
22 | 2598976.3594 | 1199480.6816
23 | 2598985.4798 | 1199484.3211
24 | 2598917.8139 | 1199724.4069
25 | 2598989.8158 | 1199657.6694
26 | 2598911.3503 | 1199718.5213
27 | 2598891.515 | 1199699.2831
28 | 2598997.679 | 1199485.603
29 | 2599060.672 | 1199492.222
30 | 2599049.4287 | 1199491.0406
31 | 2598971.6144 | 1199644.0477
32 | 2599029.0328 | 1199488.8975
33 | 2599040.2389 | 1199490.075
34 | 2598940.0625 | 1199657.9166

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1