## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-347_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-347_0_4_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_351-347_0_4_node_1 | 0.4 | n |  | TRUE
3 | bus_LV_351-347_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-347_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-347_0_4_node_28 | 0.4 | n |  | TRUE
6 | bus_LV_351-347_0_4_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_351-347_0_4_node_52 | 0.4 | n |  | TRUE
8 | bus_LV_351-347_0_4_node_53 | 0.4 | n |  | TRUE
9 | bus_LV_351-347_0_4_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_351-347_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_351-347_0_4_node_83 | 0.4 | n |  | TRUE
12 | bus_LV_351-347_0_4_node_33 | 0.4 | n |  | TRUE
13 | bus_LV_351-347_0_4_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_351-347_0_4_node_57 | 0.4 | n |  | TRUE
15 | bus_LV_351-347_0_4_node_54 | 0.4 | n |  | TRUE
16 | bus_LV_351-347_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_351-347_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_351-347_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_351-347_0_4_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_351-347_0_4_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_351-347_0_4_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_351-347_0_4_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_351-347_0_4_node_18 | 0.4 | n |  | TRUE
24 | bus_LV_351-347_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_351-347_0_4_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_351-347_0_4_node_64 | 0.4 | n |  | TRUE
27 | bus_LV_351-347_0_4_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_351-347_0_4_node_62 | 0.4 | n |  | TRUE
29 | bus_LV_351-347_0_4_node_56 | 0.4 | n |  | TRUE
30 | bus_LV_351-347_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_351-347_0_4_node_59 | 0.4 | n |  | TRUE
32 | bus_LV_351-347_0_4_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_351-347_0_4_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_351-347_0_4_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_351-347_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_351-347_0_4_node_61 | 0.4 | n |  | TRUE
37 | bus_LV_351-347_0_4_node_66 | 0.4 | n |  | TRUE
38 | bus_LV_351-347_0_4_node_71 | 0.4 | n |  | TRUE
39 | bus_LV_351-347_0_4_node_81 | 0.4 | n |  | TRUE
40 | bus_LV_351-347_0_4_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_351-347_0_4_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_351-347_0_4_node_42 | 0.4 | n |  | TRUE
43 | bus_LV_351-347_0_4_node_41 | 0.4 | n |  | TRUE
44 | bus_LV_351-347_0_4_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_351-347_0_4_node_55 | 0.4 | n |  | TRUE
46 | bus_LV_351-347_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_351-347_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_351-347_0_4_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_351-347_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_351-347_0_4_node_76 | 0.4 | n |  | TRUE
51 | bus_LV_351-347_0_4_node_75 | 0.4 | n |  | TRUE
52 | bus_LV_351-347_0_4_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_351-347_0_4_node_60 | 0.4 | n |  | TRUE
54 | bus_LV_351-347_0_4_node_65 | 0.4 | n |  | TRUE
55 | bus_LV_351-347_0_4_node_70 | 0.4 | n |  | TRUE
56 | bus_LV_351-347_0_4_node_69 | 0.4 | n |  | TRUE
57 | bus_LV_351-347_0_4_node_47 | 0.4 | n |  | TRUE
58 | bus_LV_351-347_0_4_node_67 | 0.4 | n |  | TRUE
59 | bus_LV_351-347_0_4_node_82 | 0.4 | n |  | TRUE
60 | bus_LV_351-347_0_4_node_73 | 0.4 | n |  | TRUE
61 | bus_LV_351-347_0_4_node_74 | 0.4 | n |  | TRUE
62 | bus_LV_351-347_0_4_node_39 | 0.4 | n |  | TRUE
63 | bus_LV_351-347_0_4_node_40 | 0.4 | n |  | TRUE
64 | bus_LV_351-347_0_4_node_49 | 0.4 | n |  | TRUE
65 | bus_LV_351-347_0_4_node_80 | 0.4 | n |  | TRUE
66 | bus_LV_351-347_0_4_node_43 | 0.4 | n |  | TRUE
67 | bus_LV_351-347_0_4_node_44 | 0.4 | n |  | TRUE
68 | bus_LV_351-347_0_4_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_351-347_0_4_node_77 | 0.4 | n |  | TRUE
70 | bus_LV_351-347_0_4_node_79 | 0.4 | n |  | TRUE
71 | bus_LV_351-347_0_4_node_68 | 0.4 | n |  | TRUE
72 | bus_LV_351-347_0_4_node_78 | 0.4 | n |  | TRUE
73 | bus_MV_604_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-347_0_4_load_0 | 0 | 0.01295 | 0.0032455 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-347_0_4_load_28 | 5 | 0.005679 | 0.0014233 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-347_0_4_load_52 | 7 | 0.0056291 | 0.0014108 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-347_0_4_load_53 | 8 | 0.0063307 | 0.0015866 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-347_0_4_load_34 | 9 | 0.0093224 | 0.0023364 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-347_0_4_load_83 | 11 | 0.011312 | 0.002835 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-347_0_4_load_33 | 12 | 0.017031 | 0.0042684 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-347_0_4_load_57 | 14 | 0.0060974 | 0.0015282 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-347_0_4_load_54 | 15 | 0.0073404 | 0.0018397 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-347_0_4_load_45 | 20 | 0.0073933 | 0.0018529 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-347_0_4_load_32 | 22 | 0.006653 | 0.0016674 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-347_0_4_load_31 | 24 | 0.0046151 | 0.0011567 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-347_0_4_load_63 | 27 | 0.0073328 | 0.0018378 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-347_0_4_load_62 | 28 | 0.0067473 | 0.001691 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-347_0_4_load_56 | 29 | 0.0088507 | 0.0022182 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-347_0_4_load_58 | 32 | 0.0065767 | 0.0016483 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-347_0_4_load_71 | 38 | 0.003822 | 0.00095788 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-347_0_4_load_81 | 39 | 0.01816 | 0.0045512 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-347_0_4_load_36 | 40 | 0.011401 | 0.0028575 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-347_0_4_load_51 | 41 | 0.0056499 | 0.001416 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-347_0_4_load_42 | 42 | 0.0096168 | 0.0024102 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-347_0_4_load_41 | 43 | 0.0096841 | 0.0024271 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-347_0_4_load_35 | 44 | 0.016962 | 0.0042512 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-347_0_4_load_55 | 45 | 0.01029 | 0.002579 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-347_0_4_load_29 | 46 | 0.0073092 | 0.0018319 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-347_0_4_load_30 | 47 | 0.0083918 | 0.0021032 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-347_0_4_load_37 | 48 | 0.013374 | 0.003352 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-347_0_4_load_38 | 49 | 0.010317 | 0.0025856 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-347_0_4_load_76 | 50 | 0.0038231 | 0.00095817 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-347_0_4_load_75 | 51 | 0.0034719 | 0.00087015 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-347_0_4_load_72 | 52 | 0.003116 | 0.00078095 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-347_0_4_load_60 | 53 | 0.0092425 | 0.0023164 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-347_0_4_load_65 | 54 | 0.0048727 | 0.0012212 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-347_0_4_load_70 | 55 | 0.0029916 | 0.00074977 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-347_0_4_load_69 | 56 | 0.0029713 | 0.00074468 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-347_0_4_load_47 | 57 | 0.0060102 | 0.0015063 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-347_0_4_load_67 | 58 | 0.0037074 | 0.00092916 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-347_0_4_load_82 | 59 | 0.025993 | 0.0065145 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-347_0_4_load_73 | 60 | 0.003256 | 0.00081603 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-347_0_4_load_74 | 61 | 0.0032753 | 0.00082087 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-347_0_4_load_39 | 62 | 0.010388 | 0.0026036 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-347_0_4_load_40 | 63 | 0.0075968 | 0.0019039 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-347_0_4_load_49 | 64 | 0.0097157 | 0.002435 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-347_0_4_load_80 | 65 | 0.0059513 | 0.0014915 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-347_0_4_load_43 | 66 | 0.008647 | 0.0021672 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-347_0_4_load_44 | 67 | 0.0086699 | 0.0021729 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-347_0_4_load_50 | 68 | 0.0055312 | 0.0013862 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-347_0_4_load_77 | 69 | 0.0031139 | 0.00078042 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-347_0_4_load_79 | 70 | 0.0034824 | 0.00087277 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-347_0_4_load_68 | 71 | 0.0037013 | 0.00092764 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-347_0_4_load_78 | 72 | 0.0036177 | 0.00090667 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 64 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-347_0_4_line_0 |  | 0 | 1 | 0.009338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-347_0_4_line_1 |  | 1 | 5 | 0.019541 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-347_0_4_line_2 |  | 1 | 6 | 0.0076497 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-347_0_4_line_3 |  | 2 | 3 | 0.003076 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-347_0_4_line_4 |  | 2 | 4 | 0.003882 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-347_0_4_line_5 |  | 3 | 7 | 0.01533 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-347_0_4_line_6 |  | 3 | 8 | 0.0075836 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
7 | LV_351-347_0_4_line_7 |  | 4 | 9 | 0.0078897 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-347_0_4_line_8 |  | 5 | 40 | 0.011815 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-347_0_4_line_9 |  | 6 | 9 | 0.012798 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-347_0_4_line_10 |  | 6 | 12 | 0.021231 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-347_0_4_line_11 |  | 6 | 10 | 0.037339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-347_0_4_line_12 |  | 7 | 41 | 0.0089134 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-347_0_4_line_13 |  | 8 | 33 | 0.017824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
14 | LV_351-347_0_4_line_14 |  | 10 | 11 | 0.017228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-347_0_4_line_15 |  | 12 | 16 | 0.012743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-347_0_4_line_16 |  | 13 | 14 | 0.016392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-347_0_4_line_17 |  | 13 | 15 | 0.010856 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-347_0_4_line_18 |  | 14 | 32 | 0.0093642 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-347_0_4_line_19 |  | 15 | 45 | 0.023201 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-347_0_4_line_20 |  | 16 | 17 | 0.003149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-347_0_4_line_21 |  | 17 | 39 | 0.026226 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-347_0_4_line_22 |  | 18 | 19 | 0.003747 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-347_0_4_line_23 |  | 18 | 20 | 0.016503 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-347_0_4_line_24 |  | 19 | 50 | 0.0062676 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-347_0_4_line_25 |  | 19 | 51 | 0.0009062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-347_0_4_line_26 |  | 20 | 34 | 0.0089632 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_351-347_0_4_line_27 |  | 21 | 22 | 0.0099648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-347_0_4_line_28 |  | 21 | 23 | 0.0099049 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-347_0_4_line_29 |  | 21 | 24 | 0.017032 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-347_0_4_line_30 |  | 23 | 28 | 0.018425 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-347_0_4_line_31 |  | 23 | 29 | 0.011976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-347_0_4_line_32 |  | 24 | 47 | 0.010817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-347_0_4_line_33 |  | 25 | 26 | 0.005052 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-347_0_4_line_34 |  | 25 | 27 | 0.011529 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-347_0_4_line_35 |  | 26 | 52 | 0.013904 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-347_0_4_line_36 |  | 26 | 38 | 0.0093571 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-347_0_4_line_37 |  | 27 | 28 | 0.0091601 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-347_0_4_line_38 |  | 30 | 31 | 0.025513 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-347_0_4_line_39 |  | 30 | 32 | 0.013923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-347_0_4_line_40 |  | 31 | 53 | 0.01631 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-347_0_4_line_41 |  | 33 | 34 | 0.00321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
42 | LV_351-347_0_4_line_42 |  | 34 | 57 | 0.014903 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
43 | LV_351-347_0_4_line_43 |  | 35 | 36 | 0.003634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-347_0_4_line_44 |  | 35 | 37 | 0.006583 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-347_0_4_line_45 |  | 35 | 38 | 0.015764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-347_0_4_line_46 |  | 36 | 53 | 0.018248 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-347_0_4_line_47 |  | 37 | 58 | 0.018528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-347_0_4_line_48 |  | 37 | 54 | 0.0068495 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-347_0_4_line_49 |  | 39 | 59 | 0.023159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-347_0_4_line_50 |  | 40 | 44 | 0.015708 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-347_0_4_line_51 |  | 41 | 68 | 0.0090486 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-347_0_4_line_52 |  | 42 | 43 | 0.010241 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-347_0_4_line_53 |  | 43 | 66 | 0.0096704 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-347_0_4_line_54 |  | 46 | 47 | 0.012262 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-347_0_4_line_55 |  | 48 | 49 | 0.010808 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-347_0_4_line_56 |  | 49 | 62 | 0.010679 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-347_0_4_line_57 |  | 50 | 69 | 0.0069249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-347_0_4_line_58 |  | 51 | 61 | 0.0069077 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-347_0_4_line_59 |  | 52 | 70 | 0.0069437 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-347_0_4_line_60 |  | 55 | 56 | 0.0056109 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-347_0_4_line_61 |  | 56 | 71 | 0.0062982 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-347_0_4_line_62 |  | 57 | 65 | 0.0092947 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
63 | LV_351-347_0_4_line_63 |  | 58 | 71 | 0.0070126 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-347_0_4_line_64 |  | 60 | 61 | 0.0068586 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-347_0_4_line_65 |  | 62 | 63 | 0.010451 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-347_0_4_line_66 |  | 63 | 64 | 0.013996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-347_0_4_line_67 |  | 64 | 65 | 0.01228 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
68 | LV_351-347_0_4_line_68 |  | 66 | 67 | 0.0089027 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-347_0_4_line_69 |  | 67 | 68 | 0.0090461 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-347_0_4_line_70 |  | 69 | 72 | 0.0069093 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-347_0_4_line_71 |  | 70 | 72 | 0.007176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-347_0_4_trafo_49 | 0.63 MVA 20/0.4 kV | 73 | 64 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11
0 | 2599086.3218 | 1200519.3085 | 2599082.1808 | 1200510.9389
1 | 2599086.3218 | 1200519.3085 | 2599091.4899 | 1200516.9731 | 2599104.1311 | 1200511.2667
2 | 2599081.1074 | 1200517.6196 | 2599082.2876 | 1200520.1763 | 2599082.6303 | 1200520.91 | 2599086.3218 | 1200519.3085
3 | 2599075.121 | 1200497.1874 | 2599073.5677 | 1200494.5307
4 | 2599071.772 | 1200499.1668 | 2599075.121 | 1200497.1874
5 | 2599073.5677 | 1200494.5307 | 2599086.699 | 1200486.6195
6 | 2599073.5677 | 1200494.5307 | 2599069.6497 | 1200488.0376
7 | 2599071.772 | 1200499.1668 | 2599074.1172 | 1200503.2797 | 2599075.4997 | 1200506.1159
8 | 2599114.8996 | 1200506.4057 | 2599104.1311 | 1200511.2667
9 | 2599081.1074 | 1200517.6196 | 2599075.4997 | 1200506.1159
10 | 2599081.1074 | 1200517.6196 | 2599075.0944 | 1200520.511 | 2599068.6172 | 1200523.6027 | 2599061.9842 | 1200526.8421
11 | 2599081.1074 | 1200517.6196 | 2599082.2876 | 1200520.1763 | 2599082.6303 | 1200520.91 | 2599085.7142 | 1200527.1573 | 2599101.1957 | 1200520.1843 | 2599100.4499 | 1200521.1405 | 2599099.8487 | 1200522.0856 | 2599099.3769 | 1200523.2641 | 2599098.9814 | 1200524.7427 | 2599098.7001 | 1200527.0884 | 2599098.6166 | 1200528.3002 | 2599098.6472 | 1200529.3563
12 | 2599094.3338 | 1200482.0198 | 2599086.699 | 1200486.6195
13 | 2599060.441 | 1200472.7767 | 2599069.6497 | 1200488.0376
14 | 2599098.6472 | 1200529.3563 | 2599114.3251 | 1200522.2157
15 | 2599050.5327 | 1200532.4327 | 2599060.3513 | 1200527.6396 | 2599061.9842 | 1200526.8421
16 | 2599083.4285 | 1200330.7855 | 2599082.6597 | 1200330.6967 | 2599081.9441 | 1200330.7524 | 2599068.0834 | 1200336.2202
17 | 2599083.4285 | 1200330.7855 | 2599084.0603 | 1200331.03 | 2599084.5552 | 1200331.5079 | 2599089.4072 | 1200339.6639
18 | 2599059.3725 | 1200339.6566 | 2599068.0834 | 1200336.2202
19 | 2599089.4072 | 1200339.6639 | 2599101.269 | 1200359.603
20 | 2599048.3325 | 1200530.2541 | 2599048.934 | 1200531.1767 | 2599049.7182 | 1200531.9659 | 2599050.5327 | 1200532.4327
21 | 2599048.3325 | 1200530.2541 | 2599034.8699 | 1200507.7467
22 | 2599044.0095 | 1200444.8201 | 2599044.5425 | 1200445.7316 | 2599045.9054 | 1200448.0548
23 | 2599045.9054 | 1200448.0548 | 2599047.4054 | 1200450.6115 | 2599054.2453 | 1200462.2958
24 | 2599044.0095 | 1200444.8201 | 2599049.3722 | 1200441.576
25 | 2599044.0095 | 1200444.8201 | 2599043.2316 | 1200445.2849
26 | 2599058.7735 | 1200470.0311 | 2599054.2453 | 1200462.2958
27 | 2599131.6766 | 1200392.433 | 2599132.5139 | 1200392.3996 | 2599133.4045 | 1200392.1215 | 2599140.4946 | 1200388.0144
28 | 2599123.1747 | 1200397.5149 | 2599124.0576 | 1200396.9922 | 2599127.6654 | 1200394.835 | 2599130.3446 | 1200393.2337 | 2599131.6766 | 1200392.433
29 | 2599131.6766 | 1200392.433 | 2599130.9914 | 1200392.133 | 2599130.2606 | 1200391.4327 | 2599122.5036 | 1200378.2773
30 | 2599123.1747 | 1200397.5149 | 2599122.9768 | 1200397.8818 | 2599122.6724 | 1200398.1931 | 2599122.2081 | 1200398.4933 | 2599107.4704 | 1200407.0057
31 | 2599123.1747 | 1200397.5149 | 2599123.205 | 1200396.9146 | 2599123.0755 | 1200396.2587 | 2599117.6017 | 1200387.0575
32 | 2599122.5036 | 1200378.2773 | 2599117.0094 | 1200368.9593
33 | 2599085.1864 | 1200419.9109 | 2599089.5553 | 1200417.3532
34 | 2599089.5553 | 1200417.3532 | 2599099.5383 | 1200411.5872
35 | 2599085.1864 | 1200419.9109 | 2599073.2902 | 1200427.1072
36 | 2599085.1864 | 1200419.9109 | 2599085.6963 | 1200418.9102 | 2599085.6886 | 1200418.5545 | 2599085.6581 | 1200418.0653 | 2599085.5057 | 1200417.4206 | 2599085.262 | 1200416.698 | 2599082.1814 | 1200411.5923
37 | 2599099.5383 | 1200411.5872 | 2599107.4704 | 1200407.0057
38 | 2599046.4205 | 1200344.7659 | 2599059.4106 | 1200366.7422
39 | 2599046.4205 | 1200344.7659 | 2599059.3725 | 1200339.6566
40 | 2599059.4106 | 1200366.7422 | 2599064.5807 | 1200375.3459 | 2599067.8197 | 1200380.7172
41 | 2599060.441 | 1200472.7767 | 2599058.7735 | 1200470.0311
42 | 2599058.7735 | 1200470.0311 | 2599071.5334 | 1200462.331
43 | 2599074.0463 | 1200398.0899 | 2599077.2431 | 1200396.344
44 | 2599070.5819 | 1200392.4874 | 2599071.2367 | 1200393.5435 | 2599074.0463 | 1200398.0899
45 | 2599074.0463 | 1200398.0899 | 2599075.4093 | 1200400.3686 | 2599082.1814 | 1200411.5923
46 | 2599077.2431 | 1200396.344 | 2599067.8197 | 1200380.7172
47 | 2599070.5819 | 1200392.4874 | 2599070.7115 | 1200393.677 | 2599070.4605 | 1200394.7554 | 2599069.9658 | 1200395.5559 | 2599069.2352 | 1200396.3119 | 2599056.6969 | 1200403.0441
48 | 2599070.5819 | 1200392.4874 | 2599067.0916 | 1200386.594
49 | 2599034.8699 | 1200507.7467 | 2599022.9818 | 1200487.8718
50 | 2599129.2164 | 1200499.943 | 2599114.8996 | 1200506.4057
51 | 2599102.0845 | 1200477.3503 | 2599094.3338 | 1200482.0198
52 | 2599134.5145 | 1200457.8124 | 2599125.7421 | 1200463.0975
53 | 2599117.4588 | 1200468.0879 | 2599125.7421 | 1200463.0975
54 | 2599110.7815 | 1200358.397 | 2599117.0094 | 1200368.9593
55 | 2599129.3329 | 1200427.4513 | 2599120.0794 | 1200433.0354
56 | 2599110.9366 | 1200438.5527 | 2599120.0794 | 1200433.0354
57 | 2599049.3722 | 1200441.576 | 2599055.2973 | 1200437.9917
58 | 2599037.3018 | 1200448.8281 | 2599043.2316 | 1200445.2849
59 | 2599067.349 | 1200430.7013 | 2599073.2902 | 1200427.1072
60 | 2599040.0263 | 1200411.9951 | 2599044.9696 | 1200409.3408
61 | 2599044.9696 | 1200409.3408 | 2599050.5185 | 1200406.3615
62 | 2599071.5334 | 1200462.331 | 2599079.4913 | 1200457.5287
63 | 2599056.6969 | 1200403.0441 | 2599050.5185 | 1200406.3615
64 | 2599031.4142 | 1200452.3462 | 2599037.3018 | 1200448.8281
65 | 2599110.9366 | 1200438.5527 | 2599101.9883 | 1200443.9527
66 | 2599101.9883 | 1200443.9527 | 2599090.0048 | 1200451.1842
67 | 2599079.4913 | 1200457.5287 | 2599090.0048 | 1200451.1842
68 | 2599117.4588 | 1200468.0879 | 2599109.833 | 1200472.6821
69 | 2599109.833 | 1200472.6821 | 2599102.0845 | 1200477.3503
70 | 2599055.2973 | 1200437.9917 | 2599061.209 | 1200434.4155
71 | 2599061.209 | 1200434.4155 | 2599067.349 | 1200430.7013

## bus_geodata
| x | y | coords
0 | 2599082.1808 | 1200510.9389
1 | 2599086.3218 | 1200519.3085
2 | 2599075.121 | 1200497.1874
3 | 2599073.5677 | 1200494.5307
4 | 2599071.772 | 1200499.1668
5 | 2599104.1311 | 1200511.2667
6 | 2599081.1074 | 1200517.6196
7 | 2599086.699 | 1200486.6195
8 | 2599069.6497 | 1200488.0376
9 | 2599075.4997 | 1200506.1159
10 | 2599098.6472 | 1200529.3563
11 | 2599114.3251 | 1200522.2157
12 | 2599061.9842 | 1200526.8421
13 | 2599083.4285 | 1200330.7855
14 | 2599068.0834 | 1200336.2202
15 | 2599089.4072 | 1200339.6639
16 | 2599050.5327 | 1200532.4327
17 | 2599048.3325 | 1200530.2541
18 | 2599045.9054 | 1200448.0548
19 | 2599044.0095 | 1200444.8201
20 | 2599054.2453 | 1200462.2958
21 | 2599131.6766 | 1200392.433
22 | 2599140.4946 | 1200388.0144
23 | 2599123.1747 | 1200397.5149
24 | 2599122.5036 | 1200378.2773
25 | 2599089.5553 | 1200417.3532
26 | 2599085.1864 | 1200419.9109
27 | 2599099.5383 | 1200411.5872
28 | 2599107.4704 | 1200407.0057
29 | 2599117.6017 | 1200387.0575
30 | 2599046.4205 | 1200344.7659
31 | 2599059.4106 | 1200366.7422
32 | 2599059.3725 | 1200339.6566
33 | 2599060.441 | 1200472.7767
34 | 2599058.7735 | 1200470.0311
35 | 2599074.0463 | 1200398.0899
36 | 2599077.2431 | 1200396.344
37 | 2599070.5819 | 1200392.4874
38 | 2599082.1814 | 1200411.5923
39 | 2599034.8699 | 1200507.7467
40 | 2599114.8996 | 1200506.4057
41 | 2599094.3338 | 1200482.0198
42 | 2599134.5145 | 1200457.8124
43 | 2599125.7421 | 1200463.0975
44 | 2599129.2164 | 1200499.943
45 | 2599101.269 | 1200359.603
46 | 2599110.7815 | 1200358.397
47 | 2599117.0094 | 1200368.9593
48 | 2599129.3329 | 1200427.4513
49 | 2599120.0794 | 1200433.0354
50 | 2599049.3722 | 1200441.576
51 | 2599043.2316 | 1200445.2849
52 | 2599073.2902 | 1200427.1072
53 | 2599067.8197 | 1200380.7172
54 | 2599067.0916 | 1200386.594
55 | 2599040.0263 | 1200411.9951
56 | 2599044.9696 | 1200409.3408
57 | 2599071.5334 | 1200462.331
58 | 2599056.6969 | 1200403.0441
59 | 2599022.9818 | 1200487.8718
60 | 2599031.4142 | 1200452.3462
61 | 2599037.3018 | 1200448.8281
62 | 2599110.9366 | 1200438.5527
63 | 2599101.9883 | 1200443.9527
64 | 2599090.0048 | 1200451.1842
65 | 2599079.4913 | 1200457.5287
66 | 2599117.4588 | 1200468.0879
67 | 2599109.833 | 1200472.6821
68 | 2599102.0845 | 1200477.3503
69 | 2599055.2973 | 1200437.9917
70 | 2599067.349 | 1200430.7013
71 | 2599050.5185 | 1200406.3615
72 | 2599061.209 | 1200434.4155
73 | 2599058.7735 | 1200470.0311

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1