## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-356_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-356_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-356_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-356_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_351-356_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-356_0_6_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_351-356_0_6_node_83 | 0.4 | n |  | TRUE
7 | bus_LV_351-356_0_6_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_351-356_0_6_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_351-356_0_6_node_25 | 0.4 | n |  | TRUE
10 | bus_LV_351-356_0_6_node_26 | 0.4 | n |  | TRUE
11 | bus_LV_351-356_0_6_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_351-356_0_6_node_84 | 0.4 | n |  | TRUE
13 | bus_LV_351-356_0_6_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_351-356_0_6_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_351-356_0_6_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_351-356_0_6_node_80 | 0.4 | n |  | TRUE
17 | bus_LV_351-356_0_6_node_50 | 0.4 | n |  | TRUE
18 | bus_LV_351-356_0_6_node_27 | 0.4 | n |  | TRUE
19 | bus_LV_351-356_0_6_node_42 | 0.4 | n |  | TRUE
20 | bus_LV_351-356_0_6_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_351-356_0_6_node_76 | 0.4 | n |  | TRUE
22 | bus_LV_351-356_0_6_node_77 | 0.4 | n |  | TRUE
23 | bus_LV_351-356_0_6_node_75 | 0.4 | n |  | TRUE
24 | bus_LV_351-356_0_6_node_85 | 0.4 | n |  | TRUE
25 | bus_LV_351-356_0_6_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_351-356_0_6_node_12 | 0.4 | n |  | TRUE
27 | bus_LV_351-356_0_6_node_14 | 0.4 | n |  | TRUE
28 | bus_LV_351-356_0_6_node_15 | 0.4 | n |  | TRUE
29 | bus_LV_351-356_0_6_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_351-356_0_6_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_351-356_0_6_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_351-356_0_6_node_28 | 0.4 | n |  | TRUE
33 | bus_LV_351-356_0_6_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_351-356_0_6_node_65 | 0.4 | n |  | TRUE
35 | bus_LV_351-356_0_6_node_79 | 0.4 | n |  | TRUE
36 | bus_LV_351-356_0_6_node_21 | 0.4 | n |  | TRUE
37 | bus_LV_351-356_0_6_node_78 | 0.4 | n |  | TRUE
38 | bus_LV_351-356_0_6_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_351-356_0_6_node_67 | 0.4 | n |  | TRUE
40 | bus_LV_351-356_0_6_node_54 | 0.4 | n |  | TRUE
41 | bus_LV_351-356_0_6_node_30 | 0.4 | n |  | TRUE
42 | bus_LV_351-356_0_6_node_32 | 0.4 | n |  | TRUE
43 | bus_LV_351-356_0_6_node_74 | 0.4 | n |  | TRUE
44 | bus_LV_351-356_0_6_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_351-356_0_6_node_61 | 0.4 | n |  | TRUE
46 | bus_LV_351-356_0_6_node_55 | 0.4 | n |  | TRUE
47 | bus_LV_351-356_0_6_node_63 | 0.4 | n |  | TRUE
48 | bus_LV_351-356_0_6_node_70 | 0.4 | n |  | TRUE
49 | bus_LV_351-356_0_6_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_351-356_0_6_node_37 | 0.4 | n |  | TRUE
51 | bus_LV_351-356_0_6_node_53 | 0.4 | n |  | TRUE
52 | bus_LV_351-356_0_6_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_351-356_0_6_node_73 | 0.4 | n |  | TRUE
54 | bus_LV_351-356_0_6_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_351-356_0_6_node_66 | 0.4 | n |  | TRUE
56 | bus_LV_351-356_0_6_node_88 | 0.4 | n |  | TRUE
57 | bus_LV_351-356_0_6_node_89 | 0.4 | n |  | TRUE
58 | bus_LV_351-356_0_6_node_41 | 0.4 | n |  | TRUE
59 | bus_LV_351-356_0_6_node_52 | 0.4 | n |  | TRUE
60 | bus_LV_351-356_0_6_node_51 | 0.4 | n |  | TRUE
61 | bus_LV_351-356_0_6_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_351-356_0_6_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_351-356_0_6_node_33 | 0.4 | n |  | TRUE
64 | bus_LV_351-356_0_6_node_34 | 0.4 | n |  | TRUE
65 | bus_LV_351-356_0_6_node_35 | 0.4 | n |  | TRUE
66 | bus_LV_351-356_0_6_node_36 | 0.4 | n |  | TRUE
67 | bus_LV_351-356_0_6_node_39 | 0.4 | n |  | TRUE
68 | bus_LV_351-356_0_6_node_40 | 0.4 | n |  | TRUE
69 | bus_LV_351-356_0_6_node_43 | 0.4 | n |  | TRUE
70 | bus_LV_351-356_0_6_node_44 | 0.4 | n |  | TRUE
71 | bus_LV_351-356_0_6_node_46 | 0.4 | n |  | TRUE
72 | bus_LV_351-356_0_6_node_45 | 0.4 | n |  | TRUE
73 | bus_LV_351-356_0_6_node_47 | 0.4 | n |  | TRUE
74 | bus_LV_351-356_0_6_node_87 | 0.4 | n |  | TRUE
75 | bus_LV_351-356_0_6_node_86 | 0.4 | n |  | TRUE
76 | bus_LV_351-356_0_6_node_81 | 0.4 | n |  | TRUE
77 | bus_LV_351-356_0_6_node_59 | 0.4 | n |  | TRUE
78 | bus_LV_351-356_0_6_node_48 | 0.4 | n |  | TRUE
79 | bus_LV_351-356_0_6_node_71 | 0.4 | n |  | TRUE
80 | bus_LV_351-356_0_6_node_58 | 0.4 | n |  | TRUE
81 | bus_LV_351-356_0_6_node_57 | 0.4 | n |  | TRUE
82 | bus_LV_351-356_0_6_node_62 | 0.4 | n |  | TRUE
83 | bus_LV_351-356_0_6_node_82 | 0.4 | n |  | TRUE
84 | bus_LV_351-356_0_6_node_64 | 0.4 | n |  | TRUE
85 | bus_LV_351-356_0_6_node_68 | 0.4 | n |  | TRUE
86 | bus_LV_351-356_0_6_node_69 | 0.4 | n |  | TRUE
87 | bus_MV_604_0_node_63 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-356_0_6_load_0 | 0 | 0.0092965 | 0.0023299 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-356_0_6_load_1 | 1 | 0.0049416 | 0.0012385 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-356_0_6_load_3 | 3 | 0.004911 | 0.0012308 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-356_0_6_load_6 | 5 | 0.0085169 | 0.0021345 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-356_0_6_load_83 | 6 | 0.0053241 | 0.0013343 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-356_0_6_load_7 | 7 | 0.0081632 | 0.0020459 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-356_0_6_load_13 | 11 | 0.011791 | 0.0029551 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-356_0_6_load_84 | 12 | 0.0055292 | 0.0013857 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-356_0_6_load_8 | 13 | 0.0056809 | 0.0014238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-356_0_6_load_80 | 16 | 0.015296 | 0.0038335 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-356_0_6_load_50 | 17 | 0.019062 | 0.0047774 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-356_0_6_load_42 | 19 | 0.0025276 | 0.00063348 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-356_0_6_load_77 | 22 | 0.0091516 | 0.0022936 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-356_0_6_load_75 | 23 | 0.0059624 | 0.0014943 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-356_0_6_load_85 | 24 | 0.0080428 | 0.0020157 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-356_0_6_load_10 | 25 | 0.032005 | 0.0080211 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-356_0_6_load_14 | 27 | 0.02294 | 0.0057493 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-356_0_6_load_15 | 28 | 0.0047221 | 0.0011835 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-356_0_6_load_16 | 29 | 0.017911 | 0.0044888 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-356_0_6_load_17 | 30 | 0.0067069 | 0.0016809 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-356_0_6_load_28 | 32 | 0.01057 | 0.0026491 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-356_0_6_load_79 | 35 | 0.016541 | 0.0041456 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-356_0_6_load_78 | 37 | 0.0099889 | 0.0025034 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-356_0_6_load_74 | 43 | 0.013985 | 0.0035051 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-356_0_6_load_61 | 45 | 0.0035272 | 0.000884 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-356_0_6_load_55 | 46 | 0.00993 | 0.0024887 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-356_0_6_load_63 | 47 | 0.014643 | 0.0036699 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-356_0_6_load_70 | 48 | 0.0081288 | 0.0020373 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-356_0_6_load_53 | 51 | 0.01175 | 0.0029448 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-356_0_6_load_72 | 52 | 0.014775 | 0.0037029 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-356_0_6_load_66 | 55 | 0.0098507 | 0.0024688 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-356_0_6_load_88 | 56 | 0.0080547 | 0.0020187 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-356_0_6_load_89 | 57 | 0.0058622 | 0.0014692 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-356_0_6_load_41 | 58 | 0.0027168 | 0.0006809 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-356_0_6_load_52 | 59 | 0.0060225 | 0.0015094 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-356_0_6_load_51 | 60 | 0.0059034 | 0.0014795 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-356_0_6_load_56 | 62 | 0.0061936 | 0.0015523 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-356_0_6_load_33 | 63 | 0.0037022 | 0.00092786 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-356_0_6_load_36 | 66 | 0.018017 | 0.0045156 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-356_0_6_load_39 | 67 | 0.011709 | 0.0029346 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-356_0_6_load_40 | 68 | 0.020259 | 0.0050775 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-356_0_6_load_44 | 70 | 0.0029435 | 0.00073771 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-356_0_6_load_47 | 73 | 0.0029647 | 0.00074302 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-356_0_6_load_87 | 74 | 0.0026098 | 0.00065407 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-356_0_6_load_86 | 75 | 0.0026107 | 0.00065431 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-356_0_6_load_81 | 76 | 0.0042074 | 0.0010545 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-356_0_6_load_59 | 77 | 0.0024857 | 0.00062299 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-356_0_6_load_48 | 78 | 0.0028502 | 0.00071432 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-356_0_6_load_71 | 79 | 0.0032521 | 0.00081506 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-356_0_6_load_58 | 80 | 0.0033754 | 0.00084595 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-356_0_6_load_57 | 81 | 0.0025819 | 0.00064709 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-356_0_6_load_62 | 82 | 0.0066906 | 0.0016768 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-356_0_6_load_82 | 83 | 0.0079335 | 0.0019883 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-356_0_6_load_64 | 84 | 0.0085784 | 0.0021499 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-356_0_6_load_68 | 85 | 0.0076207 | 0.0019099 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-356_0_6_load_69 | 86 | 0.0054434 | 0.0013642 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 58 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-356_0_6_line_0 |  | 0 | 1 | 0.0079251 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-356_0_6_line_1 |  | 0 | 2 | 0.0055606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-356_0_6_line_2 |  | 1 | 3 | 0.015307 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-356_0_6_line_3 |  | 2 | 4 | 0.004887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-356_0_6_line_4 |  | 2 | 5 | 0.028792 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-356_0_6_line_5 |  | 3 | 6 | 0.0058739 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-356_0_6_line_6 |  | 4 | 7 | 0.01561 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-356_0_6_line_7 |  | 5 | 9 | 0.022787 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-356_0_6_line_8 |  | 6 | 12 | 0.015471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-356_0_6_line_9 |  | 7 | 13 | 0.014667 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-356_0_6_line_10 |  | 8 | 9 | 0.0091539 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-356_0_6_line_11 |  | 8 | 10 | 0.0085423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_351-356_0_6_line_12 |  | 8 | 11 | 0.01398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
13 | LV_351-356_0_6_line_13 |  | 9 | 18 | 0.00174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-356_0_6_line_14 |  | 10 | 19 | 0.026129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
15 | LV_351-356_0_6_line_15 |  | 10 | 14 | 0.004652 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-356_0_6_line_16 |  | 11 | 20 | 0.012017 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
17 | LV_351-356_0_6_line_17 |  | 12 | 24 | 0.0078817 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-356_0_6_line_18 |  | 14 | 15 | 0.026859 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-356_0_6_line_19 |  | 14 | 16 | 0.01768 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-356_0_6_line_20 |  | 15 | 17 | 0.025509 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-356_0_6_line_21 |  | 16 | 55 | 0.013182 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-356_0_6_line_22 |  | 18 | 56 | 0.012334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-356_0_6_line_23 |  | 18 | 57 | 0.013441 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-356_0_6_line_24 |  | 19 | 58 | 0.005071 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
25 | LV_351-356_0_6_line_25 |  | 20 | 27 | 0.016366 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-356_0_6_line_26 |  | 20 | 25 | 0.018709 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
27 | LV_351-356_0_6_line_27 |  | 21 | 22 | 0.037443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-356_0_6_line_28 |  | 21 | 23 | 0.018104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-356_0_6_line_29 |  | 23 | 50 | 0.068689 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-356_0_6_line_30 |  | 25 | 26 | 0.02181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-356_0_6_line_31 |  | 26 | 28 | 0.02562 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-356_0_6_line_32 |  | 26 | 29 | 0.021634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-356_0_6_line_33 |  | 28 | 30 | 0.014545 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-356_0_6_line_34 |  | 29 | 31 | 0.0089869 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-356_0_6_line_35 |  | 31 | 32 | 0.015019 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-356_0_6_line_36 |  | 32 | 37 | 0.014339 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-356_0_6_line_37 |  | 33 | 34 | 0.003884 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-356_0_6_line_38 |  | 33 | 35 | 0.014443 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-356_0_6_line_39 |  | 34 | 39 | 0.024274 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-356_0_6_line_40 |  | 34 | 47 | 0.013129 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-356_0_6_line_41 |  | 35 | 36 | 0.013952 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-356_0_6_line_42 |  | 36 | 37 | 0.01246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-356_0_6_line_43 |  | 38 | 39 | 0.021217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-356_0_6_line_44 |  | 38 | 40 | 0.003803 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-356_0_6_line_45 |  | 39 | 48 | 0.0088101 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-356_0_6_line_46 |  | 40 | 51 | 0.0104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-356_0_6_line_47 |  | 41 | 42 | 0.02584 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
48 | LV_351-356_0_6_line_48 |  | 41 | 43 | 0.10181 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
49 | LV_351-356_0_6_line_49 |  | 42 | 46 | 0.027938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-356_0_6_line_50 |  | 42 | 44 | 0.004414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
51 | LV_351-356_0_6_line_51 |  | 43 | 49 | 0.073389 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-356_0_6_line_52 |  | 44 | 45 | 0.037598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
53 | LV_351-356_0_6_line_53 |  | 45 | 61 | 0.015216 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
54 | LV_351-356_0_6_line_54 |  | 46 | 62 | 0.015205 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-356_0_6_line_55 |  | 47 | 84 | 0.014177 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-356_0_6_line_56 |  | 48 | 85 | 0.0090964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-356_0_6_line_57 |  | 49 | 50 | 0.097998 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-356_0_6_line_58 |  | 50 | 64 | 0.056191 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-356_0_6_line_59 |  | 51 | 60 | 0.019254 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-356_0_6_line_60 |  | 52 | 53 | 0.00056828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-356_0_6_line_61 |  | 53 | 54 | 0.00386 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-356_0_6_line_62 |  | 54 | 76 | 0.010227 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-356_0_6_line_63 |  | 54 | 77 | 0.018364 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
64 | LV_351-356_0_6_line_64 |  | 54 | 72 | 0.012229 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
65 | LV_351-356_0_6_line_65 |  | 58 | 69 | 0.013235 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
66 | LV_351-356_0_6_line_66 |  | 59 | 60 | 0.018585 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-356_0_6_line_67 |  | 61 | 82 | 0.011772 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-356_0_6_line_68 |  | 61 | 80 | 0.016421 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
69 | LV_351-356_0_6_line_69 |  | 62 | 81 | 0.0011872 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-356_0_6_line_70 |  | 63 | 64 | 0.018029 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-356_0_6_line_71 |  | 63 | 65 | 0.013944 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
72 | LV_351-356_0_6_line_72 |  | 64 | 66 | 0.016976 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
73 | LV_351-356_0_6_line_73 |  | 65 | 67 | 0.025671 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-356_0_6_line_74 |  | 65 | 68 | 0.011176 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
75 | LV_351-356_0_6_line_75 |  | 69 | 70 | 0.010236 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-356_0_6_line_76 |  | 69 | 71 | 0.01715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
77 | LV_351-356_0_6_line_77 |  | 71 | 74 | 0.008199 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-356_0_6_line_78 |  | 71 | 75 | 0.008074 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-356_0_6_line_79 |  | 71 | 72 | 0.01598 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
80 | LV_351-356_0_6_line_80 |  | 72 | 73 | 0.0032996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-356_0_6_line_81 |  | 73 | 78 | 0.0075759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-356_0_6_line_82 |  | 76 | 79 | 0.0079573 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-356_0_6_line_83 |  | 77 | 80 | 0.02097 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
84 | LV_351-356_0_6_line_84 |  | 82 | 83 | 0.01617 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-356_0_6_line_85 |  | 85 | 86 | 0.0071938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-356_0_6_trafo_41 | 0.63 MVA 20/0.4 kV | 87 | 58 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17
0 | 2599525.301 | 1200002.9829 | 2599533.0103 | 1200001.146
1 | 2599520.1317 | 1200004.932 | 2599521.7151 | 1200004.0981 | 2599522.4154 | 1200003.7534 | 2599523.0472 | 1200003.5199 | 2599525.301 | 1200002.9829
2 | 2599533.0103 | 1200001.146 | 2599547.9002 | 1199997.5984
3 | 2599524.844 | 1200006.2767 | 2599520.1317 | 1200004.932
4 | 2599520.1317 | 1200004.932 | 2599514.4831 | 1200003.6763 | 2599492.2619 | 1200009.6332
5 | 2599547.9002 | 1199997.5984 | 2599553.6142 | 1199996.2369
6 | 2599524.844 | 1200006.2767 | 2599518.9598 | 1200009.2455 | 2599517.8255 | 1200009.6014 | 2599510.2857 | 1200011.7142
7 | 2599470.4226 | 1200016.1095 | 2599481.0875 | 1200012.6288 | 2599492.2619 | 1200009.6332
8 | 2599553.6142 | 1199996.2369 | 2599568.6636 | 1199992.6512
9 | 2599496.2292 | 1200015.8957 | 2599502.9433 | 1200013.7717 | 2599510.2857 | 1200011.7142
10 | 2599466.2134 | 1200021.4683 | 2599465.33 | 1200017.7776 | 2599470.4226 | 1200016.1095
11 | 2599460.9299 | 1200017.9559 | 2599461.9272 | 1200018.5561 | 2599462.2927 | 1200018.7117 | 2599462.7494 | 1200018.6561 | 2599465.33 | 1200017.7776 | 2599466.2134 | 1200021.4683
12 | 2599466.2134 | 1200021.4683 | 2599466.8836 | 1200024.4143 | 2599467.3329 | 1200026.3042 | 2599469.4125 | 1200035.0772
13 | 2599469.8896 | 1200014.4531 | 2599470.4226 | 1200016.1095
14 | 2599460.9299 | 1200017.9559 | 2599459.689 | 1200017.2223 | 2599459.4454 | 1200016.9888 | 2599459.3083 | 1200016.6776 | 2599455.6909 | 1200002.8928 | 2599455.5539 | 1200002.5482 | 2599454.7772 | 1200001.0141 | 2599453.7646 | 1199999.7468 | 2599452.6074 | 1199998.5241 | 2599450.5975 | 1199997.3014 | 2599448.733 | 1199996.5516
15 | 2599460.9299 | 1200017.9559 | 2599457.0935 | 1200020.6021
16 | 2599472.1842 | 1200046.7702 | 2599469.4125 | 1200035.0772
17 | 2599576.3308 | 1199990.8244 | 2599568.6636 | 1199992.6512
18 | 2599436.5025 | 1200030.6764 | 2599453.1584 | 1200026.8503 | 2599453.9653 | 1200026.6168 | 2599454.8483 | 1200026.261 | 2599458.2434 | 1200024.6709 | 2599457.0935 | 1200020.6021
19 | 2599457.0935 | 1200020.6021 | 2599453.1124 | 1200023.2706 | 2599440.5603 | 1200026.1927
20 | 2599436.5025 | 1200030.6764 | 2599434.5614 | 1200031.2324 | 2599432.2701 | 1200032.2554 | 2599430.291 | 1200033.423 | 2599428.3728 | 1200034.9462 | 2599416.108 | 1200045.5811
21 | 2599428.182 | 1200030.5216 | 2599431.5542 | 1200028.787 | 2599435.2918 | 1200027.4192 | 2599440.5603 | 1200026.1927
22 | 2599475.4613 | 1200007.2264 | 2599476.7102 | 1200012.2623 | 2599470.7878 | 1200014.164 | 2599469.8896 | 1200014.4531
23 | 2599461.5229 | 1200010.5407 | 2599463.0689 | 1200016.6438 | 2599468.9761 | 1200014.7533 | 2599469.8896 | 1200014.4531
24 | 2599443.8212 | 1199995.2966 | 2599448.5801 | 1199996.4901 | 2599448.733 | 1199996.5516
25 | 2599472.1842 | 1200046.7702 | 2599456.2866 | 1200050.6573
26 | 2599472.1842 | 1200046.7702 | 2599476.4271 | 1200064.9916
27 | 2599521.5635 | 1199928.7466 | 2599518.8079 | 1199931.0258 | 2599516.8973 | 1199932.927 | 2599504.4976 | 1199947.7695 | 2599502.9068 | 1199949.9597 | 2599501.8793 | 1199952.4056 | 2599500.4006 | 1199958.706
28 | 2599521.5635 | 1199928.7466 | 2599519.0663 | 1199926.0565 | 2599517.871 | 1199925.1005 | 2599515.8383 | 1199923.8667 | 2599509.3596 | 1199921.4216 | 2599506.7027 | 1199919.9321 | 2599506.267 | 1199919.5896
29 | 2599499.0158 | 1199861.6349 | 2599502.3657 | 1199864.1248 | 2599502.145 | 1199864.9586 | 2599498.9717 | 1199877.4434 | 2599496.2772 | 1199881.6793 | 2599492.6854 | 1199896.1874 | 2599493.5609 | 1199896.3985 | 2599496.8572 | 1199897.1875 | 2599498.7757 | 1199897.6543 | 2599498.1974 | 1199900.3224 | 2599497.9921 | 1199902.7793 | 2599498.1446 | 1199905.0694 | 2599498.7387 | 1199908.2155 | 2599499.6296 | 1199910.7501 | 2599500.8935 | 1199913.029 | 2599502.6143 | 1199915.8414 | 2599504.8222 | 1199918.4537 | 2599506.267 | 1199919.5896
30 | 2599481.3688 | 1200086.2349 | 2599481.1251 | 1200085.1677 | 2599476.4271 | 1200064.9916
31 | 2599481.3688 | 1200086.2349 | 2599506.282 | 1200080.2598
32 | 2599481.3688 | 1200086.2349 | 2599460.3347 | 1200091.2952
33 | 2599520.426 | 1200076.8676 | 2599506.282 | 1200080.2598
34 | 2599451.5971 | 1200093.3973 | 2599460.3347 | 1200091.2952
35 | 2599451.5971 | 1200093.3973 | 2599447.791 | 1200094.2871 | 2599436.7941 | 1200092.7068
36 | 2599422.6005 | 1200090.6671 | 2599436.7941 | 1200092.7068
37 | 2599392.2776 | 1200066.2448 | 2599389.7271 | 1200063.3102
38 | 2599392.2776 | 1200066.2448 | 2599401.7654 | 1200077.1346
39 | 2599373.7843 | 1200044.9688 | 2599389.7271 | 1200063.3102
40 | 2599389.7271 | 1200063.3102 | 2599399.7175 | 1200054.7918
41 | 2599410.9306 | 1200087.6542 | 2599401.7654 | 1200077.1346
42 | 2599410.9306 | 1200087.6542 | 2599412.3087 | 1200089.1882 | 2599422.6005 | 1200090.6671
43 | 2599373.7843 | 1200044.9688 | 2599359.783 | 1200028.9952
44 | 2599359.783 | 1200028.9952 | 2599357.2781 | 1200026.1273
45 | 2599373.7843 | 1200044.9688 | 2599376.8823 | 1200042.2892 | 2599380.4411 | 1200039.1976
46 | 2599357.2781 | 1200026.1273 | 2599350.4382 | 1200018.2931
47 | 2599333.4788 | 1199883.865 | 2599331.4542 | 1199886.5223 | 2599343.2939 | 1199902.6628 | 2599344.299 | 1199904.3636 | 2599344.4285 | 1199904.8527
48 | 2599333.4788 | 1199883.865 | 2599346.9664 | 1199866.0538 | 2599350.5441 | 1199863.5632 | 2599353.3379 | 1199862.6179 | 2599357.0682 | 1199862.5063 | 2599361.3163 | 1199863.9843 | 2599406.8971 | 1199892.8612 | 2599410.7069 | 1199883.6506
49 | 2599344.4285 | 1199904.8527 | 2599357.234 | 1199912.3107 | 2599366.2405 | 1199917.657 | 2599368.6291 | 1199918.7934
50 | 2599344.2768 | 1199909.1884 | 2599344.7105 | 1199907.1873 | 2599344.6494 | 1199905.6531 | 2599344.4285 | 1199904.8527
51 | 2599437.0049 | 1199815.1385 | 2599416.5322 | 1199868.9029 | 2599413.8686 | 1199876.007 | 2599410.7069 | 1199883.6506
52 | 2599344.2768 | 1199909.1884 | 2599343.7365 | 1199911.0005 | 2599343.3864 | 1199911.9011 | 2599337.8227 | 1199921.5403 | 2599337.3737 | 1199922.8299 | 2599337.4729 | 1199924.3529 | 2599338.9275 | 1199929.1331 | 2599340.6715 | 1199934.6136 | 2599341.9203 | 1199937.2815 | 2599345.6457 | 1199943.2378
53 | 2599353.8516 | 1199956.0457 | 2599352.405 | 1199954.0448 | 2599345.6457 | 1199943.2378
54 | 2599368.6291 | 1199918.7934 | 2599375.7949 | 1199922.2027 | 2599382.0253 | 1199925.9481
55 | 2599399.7175 | 1200054.7918 | 2599410.5052 | 1200045.5937
56 | 2599387.3165 | 1200033.2417 | 2599381.221 | 1200038.5201 | 2599380.4411 | 1200039.1976
57 | 2599499.0158 | 1199861.6349 | 2599503.9472 | 1199843.458 | 2599504.9822 | 1199839.567 | 2599501.9369 | 1199838.3666 | 2599501.3662 | 1199840.8569 | 2599437.0049 | 1199815.1385
58 | 2599456.5323 | 1199894.1121 | 2599463.528 | 1199890.5428 | 2599487.7583 | 1199879.112 | 2599490.3008 | 1199877.5109 | 2599492.3104 | 1199875.8321 | 2599494.259 | 1199873.564 | 2599495.8042 | 1199871.0847 | 2599496.8621 | 1199868.8501 | 2599497.7906 | 1199866.3487 | 2599499.0158 | 1199861.6349
59 | 2599337.7752 | 1200003.7892 | 2599350.4382 | 1200018.2931
60 | 2599395.655 | 1199997.7804 | 2599396.0837 | 1199997.4074
61 | 2599393.556 | 1199994.4839 | 2599396.0837 | 1199997.4074
62 | 2599393.556 | 1199994.4839 | 2599385.8492 | 1200001.2062
63 | 2599393.556 | 1199994.4839 | 2599381.5562 | 1199980.5833
64 | 2599393.556 | 1199994.4839 | 2599400.3001 | 1199988.4688 | 2599401.8529 | 1199987.4014 | 2599402.9186 | 1199986.9121 | 2599403.0633 | 1199986.8565
65 | 2599430.9945 | 1199992.034 | 2599435.5089 | 1199993.2119 | 2599443.8212 | 1199995.2966
66 | 2599337.7752 | 1200003.7892 | 2599325.5519 | 1199989.7889
67 | 2599353.8516 | 1199956.0457 | 2599359.4471 | 1199957.4124 | 2599360.3454 | 1199957.8348 | 2599362.7437 | 1199960.0801 | 2599364.0484 | 1199961.222
68 | 2599353.8516 | 1199956.0457 | 2599356.9961 | 1199960.3254 | 2599359.7523 | 1199963.1933 | 2599361.8307 | 1199964.9606 | 2599365.0055 | 1199967.3393 | 2599365.3795 | 1199967.5659
69 | 2599383.0427 | 1199926.5598 | 2599382.0253 | 1199925.9481
70 | 2599456.5323 | 1199894.1121 | 2599452.1552 | 1199896.3582 | 2599447.8591 | 1199908.743
71 | 2599443.2891 | 1199921.9173 | 2599447.8591 | 1199908.743
72 | 2599456.5323 | 1199894.1121 | 2599451.2411 | 1199910.2428
73 | 2599443.2891 | 1199921.9173 | 2599435.1197 | 1199946.2542
74 | 2599432.7301 | 1199920.3843 | 2599433.4532 | 1199919.7505 | 2599434.184 | 1199919.4614 | 2599435.1356 | 1199919.4946 | 2599443.2891 | 1199921.9173
75 | 2599430.9945 | 1199992.034 | 2599431.5576 | 1199989.8328 | 2599430.2406 | 1199989.4994 | 2599426.4494 | 1199988.5437 | 2599425.8784 | 1199988.3993 | 2599426.4035 | 1199986.3426
76 | 2599430.9945 | 1199992.034 | 2599416.4921 | 1199988.3225 | 2599417.0323 | 1199986.2102
77 | 2599417.0323 | 1199986.2102 | 2599418.6082 | 1199986.6102 | 2599422.1405 | 1199987.5103 | 2599422.8942 | 1199987.6992 | 2599423.4269 | 1199985.598
78 | 2599417.0323 | 1199986.2102 | 2599415.4565 | 1199985.8101 | 2599411.5815 | 1199984.8323 | 2599411.2923 | 1199984.7545 | 2599411.8249 | 1199982.6533
79 | 2599403.0633 | 1199986.8565 | 2599404.0529 | 1199986.4784 | 2599405.7048 | 1199986.1781 | 2599407.2044 | 1199986.1001 | 2599408.4758 | 1199986.2556 | 2599416.4921 | 1199988.3225 | 2599417.0323 | 1199986.2102
80 | 2599403.0633 | 1199986.8565 | 2599402.1038 | 1199984.8444 | 2599403.1011 | 1199984.4552
81 | 2599408.6808 | 1199981.8532 | 2599408.3385 | 1199984.0655 | 2599407.6457 | 1199983.8433 | 2599405.2249 | 1199983.9325 | 2599403.1011 | 1199984.4552
82 | 2599379.8526 | 1200006.4367 | 2599385.8492 | 1200001.2062
83 | 2599365.3795 | 1199967.5659 | 2599367.6473 | 1199968.9399 | 2599371.2102 | 1199970.9294 | 2599373.5551 | 1199972.3966 | 2599375.8848 | 1199974.3307 | 2599378.7398 | 1199977.3208 | 2599381.5562 | 1199980.5833
84 | 2599364.0484 | 1199961.222 | 2599365.2713 | 1199962.2921 | 2599367.6467 | 1199963.8594 | 2599370.4026 | 1199965.2598 | 2599374.0492 | 1199966.8491 | 2599376.6681 | 1199967.916 | 2599378.1858 | 1199968.8876
85 | 2599387.3165 | 1200033.2417 | 2599388.437 | 1200032.2714 | 2599391.8319 | 1200029.325 | 2599392.751 | 1200028.5283

## bus_geodata
| x | y | coords
0 | 2599525.301 | 1200002.9829
1 | 2599533.0103 | 1200001.146
2 | 2599520.1317 | 1200004.932
3 | 2599547.9002 | 1199997.5984
4 | 2599524.844 | 1200006.2767
5 | 2599492.2619 | 1200009.6332
6 | 2599553.6142 | 1199996.2369
7 | 2599510.2857 | 1200011.7142
8 | 2599466.2134 | 1200021.4683
9 | 2599470.4226 | 1200016.1095
10 | 2599460.9299 | 1200017.9559
11 | 2599469.4125 | 1200035.0772
12 | 2599568.6636 | 1199992.6512
13 | 2599496.2292 | 1200015.8957
14 | 2599457.0935 | 1200020.6021
15 | 2599436.5025 | 1200030.6764
16 | 2599440.5603 | 1200026.1927
17 | 2599416.108 | 1200045.5811
18 | 2599469.8896 | 1200014.4531
19 | 2599448.733 | 1199996.5516
20 | 2599472.1842 | 1200046.7702
21 | 2599521.5635 | 1199928.7466
22 | 2599500.4006 | 1199958.706
23 | 2599506.267 | 1199919.5896
24 | 2599576.3308 | 1199990.8244
25 | 2599476.4271 | 1200064.9916
26 | 2599481.3688 | 1200086.2349
27 | 2599456.2866 | 1200050.6573
28 | 2599506.282 | 1200080.2598
29 | 2599460.3347 | 1200091.2952
30 | 2599520.426 | 1200076.8676
31 | 2599451.5971 | 1200093.3973
32 | 2599436.7941 | 1200092.7068
33 | 2599392.2776 | 1200066.2448
34 | 2599389.7271 | 1200063.3102
35 | 2599401.7654 | 1200077.1346
36 | 2599410.9306 | 1200087.6542
37 | 2599422.6005 | 1200090.6671
38 | 2599359.783 | 1200028.9952
39 | 2599373.7843 | 1200044.9688
40 | 2599357.2781 | 1200026.1273
41 | 2599333.4788 | 1199883.865
42 | 2599344.4285 | 1199904.8527
43 | 2599410.7069 | 1199883.6506
44 | 2599344.2768 | 1199909.1884
45 | 2599345.6457 | 1199943.2378
46 | 2599368.6291 | 1199918.7934
47 | 2599399.7175 | 1200054.7918
48 | 2599380.4411 | 1200039.1976
49 | 2599437.0049 | 1199815.1385
50 | 2599499.0158 | 1199861.6349
51 | 2599350.4382 | 1200018.2931
52 | 2599395.655 | 1199997.7804
53 | 2599396.0837 | 1199997.4074
54 | 2599393.556 | 1199994.4839
55 | 2599428.182 | 1200030.5216
56 | 2599475.4613 | 1200007.2264
57 | 2599461.5229 | 1200010.5407
58 | 2599443.8212 | 1199995.2966
59 | 2599325.5519 | 1199989.7889
60 | 2599337.7752 | 1200003.7892
61 | 2599353.8516 | 1199956.0457
62 | 2599382.0253 | 1199925.9481
63 | 2599447.8591 | 1199908.743
64 | 2599456.5323 | 1199894.1121
65 | 2599443.2891 | 1199921.9173
66 | 2599451.2411 | 1199910.2428
67 | 2599435.1197 | 1199946.2542
68 | 2599432.7301 | 1199920.3843
69 | 2599430.9945 | 1199992.034
70 | 2599426.4035 | 1199986.3426
71 | 2599417.0323 | 1199986.2102
72 | 2599403.0633 | 1199986.8565
73 | 2599403.1011 | 1199984.4552
74 | 2599423.4269 | 1199985.598
75 | 2599411.8249 | 1199982.6533
76 | 2599385.8492 | 1200001.2062
77 | 2599381.5562 | 1199980.5833
78 | 2599408.6808 | 1199981.8532
79 | 2599379.8526 | 1200006.4367
80 | 2599365.3795 | 1199967.5659
81 | 2599383.0427 | 1199926.5598
82 | 2599364.0484 | 1199961.222
83 | 2599378.1858 | 1199968.8876
84 | 2599410.5052 | 1200045.5937
85 | 2599387.3165 | 1200033.2417
86 | 2599392.751 | 1200028.5283
87 | 2599430.9945 | 1199992.034

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1