## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-357_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-357_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-357_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-357_0_4_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_351-357_0_4_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_351-357_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_351-357_0_4_node_32 | 0.4 | n |  | TRUE
7 | bus_LV_351-357_0_4_node_43 | 0.4 | n |  | TRUE
8 | bus_LV_351-357_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_351-357_0_4_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_351-357_0_4_node_47 | 0.4 | n |  | TRUE
11 | bus_LV_351-357_0_4_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_351-357_0_4_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_351-357_0_4_node_16 | 0.4 | n |  | TRUE
14 | bus_LV_351-357_0_4_node_35 | 0.4 | n |  | TRUE
15 | bus_LV_351-357_0_4_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_351-357_0_4_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_351-357_0_4_node_17 | 0.4 | n |  | TRUE
18 | bus_LV_351-357_0_4_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_351-357_0_4_node_50 | 0.4 | n |  | TRUE
20 | bus_LV_351-357_0_4_node_44 | 0.4 | n |  | TRUE
21 | bus_LV_351-357_0_4_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_351-357_0_4_node_54 | 0.4 | n |  | TRUE
23 | bus_LV_351-357_0_4_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_351-357_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_351-357_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_351-357_0_4_node_33 | 0.4 | n |  | TRUE
27 | bus_LV_351-357_0_4_node_42 | 0.4 | n |  | TRUE
28 | bus_LV_351-357_0_4_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_351-357_0_4_node_46 | 0.4 | n |  | TRUE
30 | bus_LV_351-357_0_4_node_48 | 0.4 | n |  | TRUE
31 | bus_LV_351-357_0_4_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_351-357_0_4_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_351-357_0_4_node_36 | 0.4 | n |  | TRUE
34 | bus_LV_351-357_0_4_node_20 | 0.4 | n |  | TRUE
35 | bus_LV_351-357_0_4_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_351-357_0_4_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_351-357_0_4_node_18 | 0.4 | n |  | TRUE
38 | bus_LV_351-357_0_4_node_22 | 0.4 | n |  | TRUE
39 | bus_LV_351-357_0_4_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_351-357_0_4_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_351-357_0_4_node_24 | 0.4 | n |  | TRUE
42 | bus_LV_351-357_0_4_node_25 | 0.4 | n |  | TRUE
43 | bus_LV_351-357_0_4_node_26 | 0.4 | n |  | TRUE
44 | bus_LV_351-357_0_4_node_27 | 0.4 | n |  | TRUE
45 | bus_LV_351-357_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_351-357_0_4_node_29 | 0.4 | n |  | TRUE
47 | bus_LV_351-357_0_4_node_30 | 0.4 | n |  | TRUE
48 | bus_LV_351-357_0_4_node_41 | 0.4 | n |  | TRUE
49 | bus_MV_604_0_node_66 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-357_0_4_load_0 | 0 | 0.0098935 | 0.0024795 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-357_0_4_load_1 | 1 | 0.0067748 | 0.0016979 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-357_0_4_load_4 | 3 | 0.026212 | 0.0065694 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-357_0_4_load_32 | 6 | 0.047599 | 0.01193 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-357_0_4_load_43 | 7 | 0.006777 | 0.0016985 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-357_0_4_load_47 | 10 | 0.0087372 | 0.0021897 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-357_0_4_load_35 | 14 | 0.018415 | 0.0046151 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-357_0_4_load_17 | 17 | 0.073064 | 0.018312 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-357_0_4_load_49 | 18 | 0.0064976 | 0.0016285 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-357_0_4_load_50 | 19 | 0.0065468 | 0.0016408 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-357_0_4_load_44 | 20 | 0.010917 | 0.002736 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-357_0_4_load_54 | 22 | 0.015457 | 0.0038739 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-357_0_4_load_39 | 25 | 0.0079437 | 0.0019909 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-357_0_4_load_42 | 27 | 0.010479 | 0.0026263 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-357_0_4_load_40 | 28 | 0.0086622 | 0.0021709 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-357_0_4_load_46 | 29 | 0.007735 | 0.0019386 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-357_0_4_load_48 | 30 | 0.0064948 | 0.0016277 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-357_0_4_load_45 | 32 | 0.007761 | 0.0019451 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-357_0_4_load_36 | 33 | 0.020187 | 0.0050594 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-357_0_4_load_38 | 35 | 0.03777 | 0.0094661 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-357_0_4_load_18 | 37 | 0.011605 | 0.0029084 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-357_0_4_load_21 | 39 | 0.0041251 | 0.0010338 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-357_0_4_load_53 | 40 | 0.016804 | 0.0042115 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-357_0_4_load_24 | 41 | 0.056466 | 0.014152 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-357_0_4_load_27 | 44 | 0.011942 | 0.0029929 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-357_0_4_load_28 | 45 | 0.0094929 | 0.0023791 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-357_0_4_load_29 | 46 | 0.018697 | 0.0046859 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-357_0_4_load_41 | 48 | 0.0056058 | 0.001405 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-357_0_4_line_0 |  | 0 | 1 | 5.9484e-05 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-357_0_4_line_1 |  | 0 | 2 | 0.025167 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-357_0_4_line_2 |  | 2 | 3 | 0.011715 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-357_0_4_line_3 |  | 3 | 4 | 0.022648 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-357_0_4_line_4 |  | 4 | 5 | 0.00357 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-357_0_4_line_5 |  | 4 | 6 | 0.082468 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-357_0_4_line_6 |  | 5 | 7 | 0.001527 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-357_0_4_line_7 |  | 6 | 26 | 0.022991 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-357_0_4_line_8 |  | 7 | 27 | 0.012392 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-357_0_4_line_9 |  | 8 | 9 | 0.064695 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-357_0_4_line_10 |  | 8 | 10 | 0.04343 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-357_0_4_line_11 |  | 9 | 25 | 0.012303 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-357_0_4_line_12 |  | 10 | 29 | 0.010206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-357_0_4_line_13 |  | 11 | 12 | 0.012919 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-357_0_4_line_14 |  | 11 | 13 | 0.012857 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-357_0_4_line_15 |  | 11 | 14 | 0.066423 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
16 | LV_351-357_0_4_line_16 |  | 12 | 18 | 0.022578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-357_0_4_line_17 |  | 12 | 19 | 0.012108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-357_0_4_line_18 |  | 13 | 17 | 0.0029591 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-357_0_4_line_19 |  | 14 | 23 | 0.018819 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
20 | LV_351-357_0_4_line_20 |  | 15 | 16 | 0.005939 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-357_0_4_line_21 |  | 15 | 17 | 0.050334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-357_0_4_line_22 |  | 16 | 20 | 0.047516 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-357_0_4_line_23 |  | 18 | 30 | 0.01559 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-357_0_4_line_24 |  | 19 | 31 | 0.014948 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-357_0_4_line_25 |  | 20 | 32 | 0.013937 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-357_0_4_line_26 |  | 21 | 22 | 0.022924 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-357_0_4_line_27 |  | 21 | 23 | 0.0056146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
28 | LV_351-357_0_4_line_28 |  | 21 | 24 | 0.0063677 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
29 | LV_351-357_0_4_line_29 |  | 23 | 33 | 0.051764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-357_0_4_line_30 |  | 23 | 34 | 0.002555 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-357_0_4_line_31 |  | 24 | 35 | 0.036909 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
32 | LV_351-357_0_4_line_32 |  | 24 | 36 | 0.018834 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-357_0_4_line_33 |  | 25 | 28 | 0.019609 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-357_0_4_line_34 |  | 26 | 36 | 0.08672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-357_0_4_line_35 |  | 27 | 48 | 0.012945 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-357_0_4_line_36 |  | 29 | 32 | 0.010196 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-357_0_4_line_37 |  | 31 | 47 | 0.003703 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-357_0_4_line_38 |  | 34 | 38 | 0.069138 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-357_0_4_line_39 |  | 34 | 37 | 0.018619 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-357_0_4_line_40 |  | 35 | 43 | 0.0082802 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-357_0_4_line_41 |  | 36 | 39 | 0.043243 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-357_0_4_line_42 |  | 38 | 40 | 0.024305 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-357_0_4_line_43 |  | 41 | 42 | 0.010081 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-357_0_4_line_44 |  | 42 | 43 | 0.008728 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-357_0_4_line_45 |  | 43 | 44 | 0.021261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-357_0_4_line_46 |  | 45 | 46 | 0.02996 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-357_0_4_line_47 |  | 45 | 47 | 0.014221 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-357_0_4_trafo_38 | 0.63 MVA 20/0.4 kV | 49 | 35 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27
0 | 2599614.4178 | 1199968.4093 | 2599614.4162 | 1199968.3498
1 | 2599613.7695 | 1199943.191 | 2599614.4162 | 1199968.3498
2 | 2599613.7695 | 1199943.191 | 2599613.4712 | 1199931.4798
3 | 2599612.9066 | 1199908.8393 | 2599613.0288 | 1199914.1088 | 2599613.4712 | 1199931.4798
4 | 2599612.8226 | 1199905.2707 | 2599612.9066 | 1199908.8393
5 | 2599612.9066 | 1199908.8393 | 2599580.9561 | 1199909.5311 | 2599580.073 | 1199909.6423 | 2599579.3574 | 1199909.7647 | 2599578.5505 | 1199910.076 | 2599577.9872 | 1199910.3429 | 2599577.4239 | 1199910.7431 | 2599576.9824 | 1199911.1211 | 2599576.5333 | 1199911.6659 | 2599576.1146 | 1199912.1996 | 2599575.6122 | 1199912.9445 | 2599575.0947 | 1199913.8672 | 2599571.9895 | 1199923.417 | 2599571.4415 | 1199924.7956 | 2599570.6118 | 1199926.1853 | 2599569.7288 | 1199927.386 | 2599568.5185 | 1199928.6868 | 2599567.1407 | 1199929.8654 | 2599565.9076 | 1199930.7882 | 2599563.7304 | 1199931.9445 | 2599561.7512 | 1199932.8341 | 2599560.1754 | 1199933.3345 | 2599558.8584 | 1199933.6125 | 2599557.2446 | 1199933.7349 | 2599555.9276 | 1199933.6906 | 2599548.5889 | 1199933.1687 | 2599547.2262 | 1199932.9465 | 2599543.6568 | 1199931.9018
6 | 2599612.8226 | 1199905.2707 | 2599611.2961 | 1199905.309
7 | 2599521.5635 | 1199928.7466 | 2599522.7586 | 1199928.1017 | 2599524.4181 | 1199927.579 | 2599526.6105 | 1199927.3231 | 2599528.5823 | 1199927.4897 | 2599543.6568 | 1199931.9018
8 | 2599598.9076 | 1199905.6199 | 2599611.2961 | 1199905.309
9 | 2599613.2794 | 1199807.3515 | 2599616.0885 | 1199806.5397 | 2599670.6792 | 1199791.9057 | 2599669.1868 | 1199786.8698
10 | 2599669.1868 | 1199786.8698 | 2599668.2581 | 1199788.8932 | 2599667.9308 | 1199789.2489 | 2599667.5273 | 1199789.4602 | 2599628.6583 | 1199799.9711
11 | 2599613.2794 | 1199807.3515 | 2599616.41 | 1199819.2498
12 | 2599628.6583 | 1199799.9711 | 2599618.8059 | 1199802.6353
13 | 2599507.8283 | 1199747.862 | 2599516.9491 | 1199753.4975 | 2599517.8323 | 1199754.2311 | 2599518.5251 | 1199755.0537
14 | 2599518.5251 | 1199755.0537 | 2599523.2377 | 1199756.9543 | 2599526.3058 | 1199758.188 | 2599530.5235 | 1199759.6662
15 | 2599518.5251 | 1199755.0537 | 2599518.9058 | 1199756.0209 | 2599519.1343 | 1199756.9102 | 2599519.1801 | 1199757.8774 | 2599515.8699 | 1199773.0191 | 2599505.8952 | 1199819.9687
16 | 2599507.8283 | 1199747.862 | 2599488.7987 | 1199735.7114
17 | 2599507.8283 | 1199747.862 | 2599501.0394 | 1199757.8872
18 | 2599530.5235 | 1199759.6662 | 2599533.323 | 1199760.6248
19 | 2599501.9369 | 1199838.3666 | 2599502.5533 | 1199835.6984 | 2599505.8952 | 1199819.9687
20 | 2599581.7139 | 1199774.4697 | 2599587.5454 | 1199775.681
21 | 2599581.7139 | 1199774.4697 | 2599577.4429 | 1199773.2694 | 2599534.7107 | 1199761.0999 | 2599533.323 | 1199760.6248
22 | 2599587.5454 | 1199775.681 | 2599585.9316 | 1199776.6261 | 2599585.0105 | 1199777.3821 | 2599584.2264 | 1199778.316 | 2599583.648 | 1199779.5389 | 2599583.3968 | 1199780.7396 | 2599582.6216 | 1199796.5926 | 2599582.6064 | 1199797.1596 | 2599582.6674 | 1199797.6487 | 2599586.1475 | 1199810.5887 | 2599586.5206 | 1199811.0667 | 2599586.9697 | 1199811.2001 | 2599587.3352 | 1199811.1889 | 2599590.0986 | 1199810.4439 | 2599590.4335 | 1199810.3882 | 2599590.738 | 1199810.4327 | 2599591.4841 | 1199810.6994 | 2599591.7734 | 1199810.7439 | 2599592.0399 | 1199810.7216 | 2599595.91 | 1199809.6304
23 | 2599475.1286 | 1199728.288 | 2599476.9256 | 1199728.9771 | 2599483.6481 | 1199732.4227 | 2599488.7987 | 1199735.7114
24 | 2599492.6579 | 1199770.2643 | 2599501.0394 | 1199757.8872
25 | 2599595.91 | 1199809.6304 | 2599599.8885 | 1199808.5087 | 2599600.3148 | 1199808.3864 | 2599600.6193 | 1199808.1529 | 2599600.9771 | 1199807.6637 | 2599601.1446 | 1199807.497 | 2599601.4034 | 1199807.3413 | 2599608.9639 | 1199805.2968
26 | 2599527.9426 | 1199842.1106 | 2599505.4692 | 1199837.2768
27 | 2599501.9369 | 1199838.3666 | 2599504.9822 | 1199839.567 | 2599505.4692 | 1199837.2768
28 | 2599503.9472 | 1199843.458 | 2599504.9822 | 1199839.567 | 2599505.4692 | 1199837.2768
29 | 2599501.9369 | 1199838.3666 | 2599453.7612 | 1199819.4282
30 | 2599501.3662 | 1199840.8569 | 2599501.9369 | 1199838.3666
31 | 2599503.9472 | 1199843.458 | 2599540.0178 | 1199851.2817
32 | 2599499.0158 | 1199861.6349 | 2599503.9472 | 1199843.458
33 | 2599621.3997 | 1199838.2138 | 2599616.41 | 1199819.2498
34 | 2599499.0158 | 1199861.6349 | 2599502.3657 | 1199864.1248 | 2599502.145 | 1199864.9586 | 2599498.9717 | 1199877.4434 | 2599496.2772 | 1199881.6793 | 2599492.6854 | 1199896.1874 | 2599493.5609 | 1199896.3985 | 2599496.8572 | 1199897.1875 | 2599498.7757 | 1199897.6543 | 2599498.1974 | 1199900.3224 | 2599497.9921 | 1199902.7793 | 2599498.1446 | 1199905.0694 | 2599498.7387 | 1199908.2155 | 2599499.6296 | 1199910.7501 | 2599500.8935 | 1199913.029 | 2599502.6143 | 1199915.8414 | 2599504.8222 | 1199918.4537 | 2599506.7027 | 1199919.9321 | 2599509.3596 | 1199921.4216 | 2599515.8383 | 1199923.8667 | 2599517.871 | 1199925.1005 | 2599519.0663 | 1199926.0565 | 2599521.5635 | 1199928.7466
35 | 2599585.9664 | 1199905.9446 | 2599598.9076 | 1199905.6199
36 | 2599608.9639 | 1199805.2968 | 2599618.8059 | 1199802.6353
37 | 2599492.6579 | 1199770.2643 | 2599490.0314 | 1199769.9978 | 2599488.958 | 1199770.0423
38 | 2599501.3662 | 1199840.8569 | 2599437.0049 | 1199815.1385
39 | 2599501.3662 | 1199840.8569 | 2599496.6919 | 1199858.8794
40 | 2599548.1099 | 1199853.0369 | 2599540.0178 | 1199851.2817
41 | 2599499.0158 | 1199861.6349 | 2599497.7906 | 1199866.3487 | 2599496.8621 | 1199868.8501 | 2599495.8042 | 1199871.0847 | 2599494.259 | 1199873.564 | 2599492.3104 | 1199875.8321 | 2599490.3008 | 1199877.5109 | 2599487.7583 | 1199879.112 | 2599468.1355 | 1199888.3692
42 | 2599437.0049 | 1199815.1385 | 2599428.3559 | 1199837.8521
43 | 2599546.413 | 1199861.5972 | 2599536.4927 | 1199859.8024
44 | 2599546.413 | 1199861.5972 | 2599547.0446 | 1199858.4065 | 2599547.6685 | 1199855.2604 | 2599548.1099 | 1199853.0369
45 | 2599548.1099 | 1199853.0369 | 2599564.5157 | 1199856.2706 | 2599566.5713 | 1199857.8268 | 2599567.1348 | 1199859.7055
46 | 2599479.3152 | 1199797.369 | 2599475.5087 | 1199796.758 | 2599472.3188 | 1199795.1686 | 2599469.928 | 1199792.0783 | 2599469.3035 | 1199789.3324 | 2599469.661 | 1199786.7754 | 2599470.8103 | 1199783.7737 | 2599473.2917 | 1199779.7046 | 2599476.5803 | 1199775.6049
47 | 2599488.958 | 1199770.0423 | 2599485.7835 | 1199770.1649 | 2599481.1778 | 1199771.3216 | 2599477.189 | 1199774.8461 | 2599476.5803 | 1199775.6049

## bus_geodata
| x | y | coords
0 | 2599614.4162 | 1199968.3498
1 | 2599614.4178 | 1199968.4093
2 | 2599613.7695 | 1199943.191
3 | 2599613.4712 | 1199931.4798
4 | 2599612.9066 | 1199908.8393
5 | 2599612.8226 | 1199905.2707
6 | 2599543.6568 | 1199931.9018
7 | 2599611.2961 | 1199905.309
8 | 2599669.1868 | 1199786.8698
9 | 2599613.2794 | 1199807.3515
10 | 2599628.6583 | 1199799.9711
11 | 2599518.5251 | 1199755.0537
12 | 2599507.8283 | 1199747.862
13 | 2599530.5235 | 1199759.6662
14 | 2599505.8952 | 1199819.9687
15 | 2599581.7139 | 1199774.4697
16 | 2599587.5454 | 1199775.681
17 | 2599533.323 | 1199760.6248
18 | 2599488.7987 | 1199735.7114
19 | 2599501.0394 | 1199757.8872
20 | 2599595.91 | 1199809.6304
21 | 2599505.4692 | 1199837.2768
22 | 2599527.9426 | 1199842.1106
23 | 2599501.9369 | 1199838.3666
24 | 2599503.9472 | 1199843.458
25 | 2599616.41 | 1199819.2498
26 | 2599521.5635 | 1199928.7466
27 | 2599598.9076 | 1199905.6199
28 | 2599621.3997 | 1199838.2138
29 | 2599618.8059 | 1199802.6353
30 | 2599475.1286 | 1199728.288
31 | 2599492.6579 | 1199770.2643
32 | 2599608.9639 | 1199805.2968
33 | 2599453.7612 | 1199819.4282
34 | 2599501.3662 | 1199840.8569
35 | 2599540.0178 | 1199851.2817
36 | 2599499.0158 | 1199861.6349
37 | 2599496.6919 | 1199858.8794
38 | 2599437.0049 | 1199815.1385
39 | 2599468.1355 | 1199888.3692
40 | 2599428.3559 | 1199837.8521
41 | 2599536.4927 | 1199859.8024
42 | 2599546.413 | 1199861.5972
43 | 2599548.1099 | 1199853.0369
44 | 2599567.1348 | 1199859.7055
45 | 2599476.5803 | 1199775.6049
46 | 2599479.3152 | 1199797.369
47 | 2599488.958 | 1199770.0423
48 | 2599585.9664 | 1199905.9446
49 | 2599548.1099 | 1199853.0369

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1