## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-364_1_3_node_27 | 0.4 | n |  | TRUE
1 | bus_LV_351-364_1_3_node_28 | 0.4 | n |  | TRUE
2 | bus_LV_351-364_1_3_node_60 | 0.4 | n |  | TRUE
3 | bus_LV_351-364_1_3_node_46 | 0.4 | n |  | TRUE
4 | bus_LV_351-364_1_3_node_37 | 0.4 | n |  | TRUE
5 | bus_LV_351-364_1_3_node_34 | 0.4 | n |  | TRUE
6 | bus_LV_351-364_1_3_node_35 | 0.4 | n |  | TRUE
7 | bus_LV_351-364_1_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_351-364_1_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_351-364_1_3_node_50 | 0.4 | n |  | TRUE
10 | bus_LV_351-364_1_3_node_57 | 0.4 | n |  | TRUE
11 | bus_LV_351-364_1_3_node_61 | 0.4 | n |  | TRUE
12 | bus_LV_351-364_1_3_node_52 | 0.4 | n |  | TRUE
13 | bus_LV_351-364_1_3_node_100 | 0.4 | n |  | TRUE
14 | bus_LV_351-364_1_3_node_103 | 0.4 | n |  | TRUE
15 | bus_LV_351-364_1_3_node_75 | 0.4 | n |  | TRUE
16 | bus_LV_351-364_1_3_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_351-364_1_3_node_54 | 0.4 | n |  | TRUE
18 | bus_LV_351-364_1_3_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_351-364_1_3_node_59 | 0.4 | n |  | TRUE
20 | bus_LV_351-364_1_3_node_84 | 0.4 | n |  | TRUE
21 | bus_LV_351-364_1_3_node_81 | 0.4 | n |  | TRUE
22 | bus_LV_351-364_1_3_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_351-364_1_3_node_85 | 0.4 | n |  | TRUE
24 | bus_LV_351-364_1_3_node_83 | 0.4 | n |  | TRUE
25 | bus_LV_351-364_1_3_node_67 | 0.4 | n |  | TRUE
26 | bus_LV_351-364_1_3_node_55 | 0.4 | n |  | TRUE
27 | bus_LV_351-364_1_3_node_56 | 0.4 | n |  | TRUE
28 | bus_LV_351-364_1_3_node_68 | 0.4 | n |  | TRUE
29 | bus_LV_351-364_1_3_node_69 | 0.4 | n |  | TRUE
30 | bus_LV_351-364_1_3_node_64 | 0.4 | n |  | TRUE
31 | bus_LV_351-364_1_3_node_66 | 0.4 | n |  | TRUE
32 | bus_LV_351-364_1_3_node_45 | 0.4 | n |  | TRUE
33 | bus_LV_351-364_1_3_node_40 | 0.4 | n |  | TRUE
34 | bus_LV_351-364_1_3_node_42 | 0.4 | n |  | TRUE
35 | bus_LV_351-364_1_3_node_44 | 0.4 | n |  | TRUE
36 | bus_LV_351-364_1_3_node_76 | 0.4 | n |  | TRUE
37 | bus_LV_351-364_1_3_node_77 | 0.4 | n |  | TRUE
38 | bus_LV_351-364_1_3_node_80 | 0.4 | n |  | TRUE
39 | bus_LV_351-364_1_3_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_351-364_1_3_node_79 | 0.4 | n |  | TRUE
41 | bus_LV_351-364_1_3_node_97 | 0.4 | n |  | TRUE
42 | bus_LV_351-364_1_3_node_87 | 0.4 | n |  | TRUE
43 | bus_LV_351-364_1_3_node_86 | 0.4 | n |  | TRUE
44 | bus_LV_351-364_1_3_node_99 | 0.4 | n |  | TRUE
45 | bus_LV_351-364_1_3_node_101 | 0.4 | n |  | TRUE
46 | bus_LV_351-364_1_3_node_71 | 0.4 | n |  | TRUE
47 | bus_LV_351-364_1_3_node_73 | 0.4 | n |  | TRUE
48 | bus_LV_351-364_1_3_node_62 | 0.4 | n |  | TRUE
49 | bus_LV_351-364_1_3_node_96 | 0.4 | n |  | TRUE
50 | bus_LV_351-364_1_3_node_94 | 0.4 | n |  | TRUE
51 | bus_LV_351-364_1_3_node_63 | 0.4 | n |  | TRUE
52 | bus_LV_351-364_1_3_node_72 | 0.4 | n |  | TRUE
53 | bus_LV_351-364_1_3_node_82 | 0.4 | n |  | TRUE
54 | bus_LV_351-364_1_3_node_95 | 0.4 | n |  | TRUE
55 | bus_LV_351-364_1_3_node_98 | 0.4 | n |  | TRUE
56 | bus_LV_351-364_1_3_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_351-364_1_3_node_93 | 0.4 | n |  | TRUE
58 | bus_MV_405_1_node_206 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-364_1_3_load_60 | 2 | 0.010004 | 0.0025073 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-364_1_3_load_46 | 3 | 0.025611 | 0.0064186 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-364_1_3_load_37 | 4 | 0.0061051 | 0.0015301 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-364_1_3_load_34 | 5 | 0.0061634 | 0.0015447 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-364_1_3_load_35 | 6 | 0.0051351 | 0.001287 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-364_1_3_load_61 | 11 | 0.0044143 | 0.0011063 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-364_1_3_load_100 | 13 | 0.0091141 | 0.0022842 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-364_1_3_load_103 | 14 | 0.011244 | 0.0028181 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-364_1_3_load_70 | 18 | 0.012783 | 0.0032037 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-364_1_3_load_84 | 20 | 0.007179 | 0.0017992 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-364_1_3_load_85 | 23 | 0.010601 | 0.002657 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-364_1_3_load_83 | 24 | 0.0098758 | 0.0024751 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-364_1_3_load_67 | 25 | 0.0099095 | 0.0024835 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-364_1_3_load_68 | 28 | 0.010868 | 0.0027238 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-364_1_3_load_69 | 29 | 0.001973 | 0.00049449 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-364_1_3_load_66 | 31 | 0.0045514 | 0.0011407 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-364_1_3_load_45 | 32 | 0.0050131 | 0.0012564 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-364_1_3_load_40 | 33 | 0.0071457 | 0.0017909 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-364_1_3_load_42 | 34 | 0.00891 | 0.0022331 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-364_1_3_load_44 | 35 | 0.0057633 | 0.0014444 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-364_1_3_load_77 | 37 | 0.0087695 | 0.0021978 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-364_1_3_load_74 | 39 | 0.0058695 | 0.001471 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-364_1_3_load_97 | 41 | 0.0081116 | 0.002033 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-364_1_3_load_87 | 42 | 0.010517 | 0.0026358 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-364_1_3_load_86 | 43 | 0.01053 | 0.002639 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-364_1_3_load_99 | 44 | 0.0034167 | 0.00085631 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-364_1_3_load_101 | 45 | 0.0026573 | 0.00066598 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-364_1_3_load_71 | 46 | 0.0027022 | 0.00067724 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-364_1_3_load_73 | 47 | 0.0065424 | 0.0016397 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-364_1_3_load_62 | 48 | 0.0096502 | 0.0024186 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-364_1_3_load_63 | 51 | 0.0090279 | 0.0022626 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-364_1_3_load_72 | 52 | 0.01278 | 0.003203 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-364_1_3_load_82 | 53 | 0.0099634 | 0.0024971 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-364_1_3_load_95 | 54 | 0.012027 | 0.0030143 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-364_1_3_load_98 | 55 | 0.0080568 | 0.0020192 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-364_1_3_load_92 | 56 | 0.011271 | 0.0028247 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-364_1_3_load_93 | 57 | 0.0093078 | 0.0023328 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-364_1_3_line_0 |  | 0 | 1 | 0.052684 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-364_1_3_line_1 |  | 0 | 2 | 0.023173 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-364_1_3_line_2 |  | 1 | 3 | 0.038746 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-364_1_3_line_3 |  | 2 | 4 | 0.022314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
4 | LV_351-364_1_3_line_4 |  | 4 | 6 | 0.082673 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
5 | LV_351-364_1_3_line_5 |  | 5 | 6 | 0.029119 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
6 | LV_351-364_1_3_line_6 |  | 5 | 7 | 0.023935 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
7 | LV_351-364_1_3_line_7 |  | 7 | 8 | 0.012104 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
8 | LV_351-364_1_3_line_8 |  | 8 | 9 | 0.027249 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
9 | LV_351-364_1_3_line_9 |  | 8 | 10 | 0.022014 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
10 | LV_351-364_1_3_line_10 |  | 8 | 11 | 0.018198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
11 | LV_351-364_1_3_line_11 |  | 9 | 12 | 0.037398 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
12 | LV_351-364_1_3_line_12 |  | 9 | 13 | 0.013072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
13 | LV_351-364_1_3_line_13 |  | 10 | 25 | 0.017743 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-364_1_3_line_14 |  | 10 | 26 | 0.046328 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-364_1_3_line_15 |  | 11 | 32 | 0.023614 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
16 | LV_351-364_1_3_line_16 |  | 12 | 14 | 0.013978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 3 | cs | TRUE
17 | LV_351-364_1_3_line_17 |  | 12 | 15 | 0.028378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
18 | LV_351-364_1_3_line_18 |  | 13 | 45 | 0.0086499 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-364_1_3_line_19 |  | 15 | 47 | 0.0074147 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-364_1_3_line_20 |  | 15 | 17 | 0.006471 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-364_1_3_line_21 |  | 16 | 17 | 0.055025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-364_1_3_line_22 |  | 16 | 18 | 0.024062 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-364_1_3_line_23 |  | 18 | 46 | 0.010977 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-364_1_3_line_24 |  | 19 | 20 | 0.021805 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-364_1_3_line_25 |  | 19 | 21 | 0.007636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-364_1_3_line_26 |  | 20 | 50 | 0.022261 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-364_1_3_line_27 |  | 21 | 28 | 0.010547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-364_1_3_line_28 |  | 22 | 23 | 0.012723 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-364_1_3_line_29 |  | 22 | 24 | 0.024334 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-364_1_3_line_30 |  | 23 | 49 | 0.029672 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-364_1_3_line_31 |  | 25 | 27 | 0.018865 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-364_1_3_line_32 |  | 26 | 30 | 0.007603 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-364_1_3_line_33 |  | 26 | 31 | 0.015321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-364_1_3_line_34 |  | 27 | 28 | 0.020116 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-364_1_3_line_35 |  | 27 | 29 | 0.013822 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-364_1_3_line_36 |  | 30 | 48 | 0.052455 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-364_1_3_line_37 |  | 32 | 35 | 0.027759 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-364_1_3_line_38 |  | 33 | 34 | 0.029433 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-364_1_3_line_39 |  | 34 | 35 | 0.027734 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-364_1_3_line_40 |  | 36 | 37 | 0.041647 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-364_1_3_line_41 |  | 36 | 38 | 0.011039 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-364_1_3_line_42 |  | 36 | 39 | 0.0081091 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-364_1_3_line_43 |  | 37 | 53 | 0.031842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-364_1_3_line_44 |  | 38 | 42 | 0.0016874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-364_1_3_line_45 |  | 38 | 43 | 0.019403 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-364_1_3_line_46 |  | 38 | 40 | 0.030114 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-364_1_3_line_47 |  | 39 | 47 | 0.025923 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
48 | LV_351-364_1_3_line_48 |  | 40 | 41 | 0.015565 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-364_1_3_line_49 |  | 41 | 55 | 0.016354 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-364_1_3_line_50 |  | 42 | 44 | 0.026616 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-364_1_3_line_51 |  | 46 | 52 | 0.0099414 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-364_1_3_line_52 |  | 48 | 51 | 0.026416 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-364_1_3_line_53 |  | 49 | 54 | 0.012995 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-364_1_3_line_54 |  | 50 | 56 | 0.016095 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-364_1_3_line_55 |  | 54 | 57 | 0.016626 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-364_1_3_line_56 |  | 56 | 57 | 0.016938 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-364_1_3_trafo_103 | 0.63 MVA 20/0.4 kV | 58 | 14 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16
0 | 2600785.015 | 1202380.3501 | 2600782.7255 | 1202372.4789 | 2600781.5615 | 1202370.222 | 2600765.1413 | 1202359.4699 | 2600748.6981 | 1202349.5181 | 2600747.3665 | 1202348.9066 | 2600745.6467 | 1202349.0064
1 | 2600745.6467 | 1202349.0064 | 2600744.3758 | 1202349.6955 | 2600740.7225 | 1202355.754 | 2600739.5352 | 1202357.7549 | 2600738.0284 | 1202358.4329 | 2600735.6847 | 1202358.0769 | 2600731.9561 | 1202357.1204 | 2600728.8287 | 1202355.6637 | 2600727.9551 | 1202355.1692
2 | 2600785.015 | 1202380.3501 | 2600776.0666 | 1202377.1029 | 2600772.1553 | 1202376.7578 | 2600769.7582 | 1202377.18 | 2600761.6761 | 1202383.8826 | 2600757.1857 | 1202390.3745 | 2600756.0442 | 1202390.8858 | 2600752.8254 | 1202391.0299
3 | 2600710.4074 | 1202341.4797 | 2600711.7998 | 1202342.8327 | 2600722.2012 | 1202351.5274 | 2600725.3514 | 1202353.6956 | 2600727.9551 | 1202355.1692
4 | 2600710.4074 | 1202341.4797 | 2600702.829 | 1202334.1159 | 2600697.9899 | 1202328.5902 | 2600692.2149 | 1202321.7303 | 2600690.2366 | 1202319.629 | 2600688.2963 | 1202318.4949 | 2600686.2721 | 1202318.4057 | 2600684.2859 | 1202319.1615 | 2600682.9922 | 1202320.0618 | 2600681.9571 | 1202321.5292 | 2600681.3329 | 1202323.5747 | 2600682.3067 | 1202326.2762 | 2600686.7655 | 1202330.4122 | 2600690.3263 | 1202335.2152 | 2600693.1869 | 1202341.1632 | 2600694.8525 | 1202350.2127 | 2600695.7022 | 1202360.4425
5 | 2600703.5251 | 1202388.2334 | 2600700.153 | 1202381.8414 | 2600697.6961 | 1202372.6695 | 2600695.8785 | 1202362.5639 | 2600695.7022 | 1202360.4425
6 | 2600703.9396 | 1202410.2127 | 2600705.8727 | 1202407.6337 | 2600706.9763 | 1202405.7217 | 2600707.4177 | 1202404.6434 | 2600707.8366 | 1202401.5862 | 2600707.5935 | 1202397.1838 | 2600705.4786 | 1202391.9363 | 2600703.5251 | 1202388.2334
7 | 2600693.9794 | 1202403.3524 | 2600695.3871 | 1202404.442 | 2600698.6285 | 1202406.9882 | 2600701.4514 | 1202408.9229 | 2600703.9396 | 1202410.2127
8 | 2600675.2455 | 1202395.5907 | 2600678.9441 | 1202392.6895 | 2600690.0754 | 1202406.3536 | 2600692.9673 | 1202404.1527 | 2600693.9794 | 1202403.3524
9 | 2600691.4818 | 1202420.0278 | 2600691.3906 | 1202418.816 | 2600691.0331 | 1202417.2485 | 2600690.3636 | 1202415.5253 | 2600686.141 | 1202409.3882 | 2600687.6174 | 1202408.2433 | 2600690.0754 | 1202406.3536 | 2600692.9673 | 1202404.1527 | 2600693.9794 | 1202403.3524
10 | 2600693.9794 | 1202403.3524 | 2600691.362 | 1202401.0175 | 2600689.0566 | 1202398.4826 | 2600682.0313 | 1202389.6775
11 | 2600675.2455 | 1202395.5907 | 2600651.2935 | 1202366.8173
12 | 2600675.2455 | 1202395.5907 | 2600665.0238 | 1202403.7382
13 | 2600691.4818 | 1202420.0278 | 2600691.1849 | 1202421.2284 | 2600690.4694 | 1202422.5846 | 2600689.0996 | 1202424.1298 | 2600678.9218 | 1202432.0687
14 | 2600691.4818 | 1202420.0278 | 2600692.9198 | 1202421.9957 | 2600694.6849 | 1202424.4083 | 2600696.9827 | 1202427.5436 | 2600698.4815 | 1202429.6004 | 2600700.6804 | 1202431.8907 | 2600703.4348 | 1202434.3368 | 2600705.2229 | 1202435.6599 | 2600707.186 | 1202437.0275 | 2600726.9085 | 1202448.8472
15 | 2600666.5952 | 1202371.8119 | 2600675.5589 | 1202382.0168 | 2600679.6448 | 1202386.6864 | 2600682.0313 | 1202389.6775
16 | 2600651.2935 | 1202366.8173 | 2600640.4794 | 1202375.7099
17 | 2600631.7463 | 1202347.4605 | 2600632.903 | 1202347.305 | 2600634.1053 | 1202347.4162 | 2600635.0336 | 1202347.8277 | 2600636.1978 | 1202348.7838 | 2600651.2935 | 1202366.8173
18 | 2600658.2597 | 1202409.1297 | 2600665.0238 | 1202403.7382
19 | 2600631.7463 | 1202347.4605 | 2600625.0141 | 1202350.5676
20 | 2600631.7463 | 1202347.4605 | 2600630.118 | 1202346.0151 | 2600626.8994 | 1202343.1577
21 | 2600589.0526 | 1202304.0554 | 2600592.2179 | 1202307.4575 | 2600620.9418 | 1202335.0861 | 2600621.5276 | 1202336.1868 | 2600621.8015 | 1202337.3096 | 2600621.8318 | 1202338.6437 | 2600623.6427 | 1202340.2558 | 2600626.8994 | 1202343.1577
22 | 2600589.0526 | 1202304.0554 | 2600586.3966 | 1202306.7122 | 2600586.1759 | 1202307.1902 | 2600586.0236 | 1202307.8683 | 2600585.3762 | 1202314.583 | 2600585.0717 | 1202315.5835 | 2600584.4629 | 1202316.4506 | 2600583.5573 | 1202316.9063 | 2600574.7394 | 1202319.5951
23 | 2600574.7394 | 1202319.5951 | 2600564.24 | 1202322.7967
24 | 2600631.6517 | 1202464.0123 | 2600623.1911 | 1202451.6493 | 2600619.5364 | 1202445.8866
25 | 2600638.4853 | 1202460.5667 | 2600635.3348 | 1202462.1561 | 2600631.6517 | 1202464.0123
26 | 2600608.6669 | 1202426.4788 | 2600615.5903 | 1202439.6644 | 2600619.5364 | 1202445.8866
27 | 2600638.4853 | 1202460.5667 | 2600647.495 | 1202455.0834
28 | 2600572.9508 | 1202482.9174 | 2600571.2539 | 1202482.7838 | 2600570.0059 | 1202482.3613 | 2600568.9027 | 1202481.3829 | 2600564.5573 | 1202474.3954
29 | 2600572.9508 | 1202482.9174 | 2600587.2415 | 1202480.0615 | 2600594.6456 | 1202478.3278 | 2600596.709 | 1202477.7002
30 | 2600550.0263 | 1202448.5413 | 2600553.9902 | 1202456.3125 | 2600560.8758 | 1202468.4752 | 2600564.5573 | 1202474.3954
31 | 2600664.0471 | 1202443.6711 | 2600678.9218 | 1202432.0687
32 | 2600733.3837 | 1202452.8612 | 2600726.9085 | 1202448.8472
33 | 2600726.9085 | 1202448.8472 | 2600725.6755 | 1202450.8815 | 2600724.4579 | 1202452.2599 | 2600723.0728 | 1202453.238 | 2600721.7716 | 1202453.5603 | 2600720.4704 | 1202453.5601 | 2600718.9181 | 1202453.1486 | 2600717.2136 | 1202452.3369 | 2600716.156 | 1202451.2806 | 2600715.2583 | 1202449.7464
34 | 2600664.0471 | 1202443.6711 | 2600657.571 | 1202448.5287 | 2600648.1651 | 1202454.6755 | 2600647.495 | 1202455.0834
35 | 2600664.0471 | 1202443.6711 | 2600655.8452 | 1202432.531
36 | 2600733.3837 | 1202452.8612 | 2600729.0992 | 1202456.6072 | 2600688.8666 | 1202480.4439
37 | 2600666.5952 | 1202371.8119 | 2600649.6893 | 1202352.565 | 2600648.2471 | 1202350.9823
38 | 2600628.7963 | 1202331.2302 | 2600607.3063 | 1202311.1178
39 | 2600628.7963 | 1202331.2302 | 2600633.6422 | 1202335.7655 | 2600642.2326 | 1202344.382 | 2600648.2471 | 1202350.9823
40 | 2600592.5937 | 1202360.8753 | 2600591.2315 | 1202361.998 | 2600590.3411 | 1202363.0207 | 2600589.8768 | 1202363.9879 | 2600589.618 | 1202364.8327 | 2600589.4353 | 1202365.711 | 2600589.5493 | 1202367.3341 | 2600595.9928 | 1202388.3126 | 2600599.8119 | 1202399.0077 | 2600600.094 | 1202399.695
41 | 2600583.9949 | 1202360.4188 | 2600584.885 | 1202363.2537 | 2600590.2499 | 1202361.6088 | 2600592.5937 | 1202360.8753
42 | 2600592.5937 | 1202360.8753 | 2600600.3423 | 1202358.4842
43 | 2600613.4418 | 1202428.5758 | 2600611.7032 | 1202425.5008 | 2600604.9548 | 1202411.5371 | 2600600.094 | 1202399.695
44 | 2600583.9949 | 1202360.4188 | 2600582.3818 | 1202360.9139
45 | 2600583.9949 | 1202360.4188 | 2600602.5404 | 1202354.7141
46 | 2600583.9949 | 1202360.4188 | 2600584.885 | 1202363.2537 | 2600592.8119 | 1202389.2129
47 | 2600625.0141 | 1202350.5676 | 2600623.9918 | 1202351.0395 | 2600621.4425 | 1202351.9731 | 2600600.3423 | 1202358.4842
48 | 2600592.8119 | 1202389.2129 | 2600577.9346 | 1202393.7889
49 | 2600577.9346 | 1202393.7889 | 2600562.3031 | 1202398.597
50 | 2600582.3818 | 1202360.9139 | 2600556.9376 | 1202368.7236
51 | 2600554.7308 | 1202325.6962 | 2600564.24 | 1202322.7967
52 | 2600688.8666 | 1202480.4439 | 2600666.1399 | 1202493.9089
53 | 2600550.0263 | 1202448.5413 | 2600562.1888 | 1202443.9654
54 | 2600608.6669 | 1202426.4788 | 2600593.6028 | 1202432.1464
55 | 2600562.1888 | 1202443.9654 | 2600577.7501 | 1202438.1107
56 | 2600593.6028 | 1202432.1464 | 2600577.7501 | 1202438.1107

## bus_geodata
| x | y | coords
0 | 2600745.6467 | 1202349.0064
1 | 2600785.015 | 1202380.3501
2 | 2600727.9551 | 1202355.1692
3 | 2600752.8254 | 1202391.0299
4 | 2600710.4074 | 1202341.4797
5 | 2600703.5251 | 1202388.2334
6 | 2600695.7022 | 1202360.4425
7 | 2600703.9396 | 1202410.2127
8 | 2600693.9794 | 1202403.3524
9 | 2600675.2455 | 1202395.5907
10 | 2600691.4818 | 1202420.0278
11 | 2600682.0313 | 1202389.6775
12 | 2600651.2935 | 1202366.8173
13 | 2600665.0238 | 1202403.7382
14 | 2600640.4794 | 1202375.7099
15 | 2600631.7463 | 1202347.4605
16 | 2600589.0526 | 1202304.0554
17 | 2600626.8994 | 1202343.1577
18 | 2600574.7394 | 1202319.5951
19 | 2600631.6517 | 1202464.0123
20 | 2600619.5364 | 1202445.8866
21 | 2600638.4853 | 1202460.5667
22 | 2600572.9508 | 1202482.9174
23 | 2600564.5573 | 1202474.3954
24 | 2600596.709 | 1202477.7002
25 | 2600678.9218 | 1202432.0687
26 | 2600726.9085 | 1202448.8472
27 | 2600664.0471 | 1202443.6711
28 | 2600647.495 | 1202455.0834
29 | 2600655.8452 | 1202432.531
30 | 2600733.3837 | 1202452.8612
31 | 2600715.2583 | 1202449.7464
32 | 2600666.5952 | 1202371.8119
33 | 2600607.3063 | 1202311.1178
34 | 2600628.7963 | 1202331.2302
35 | 2600648.2471 | 1202350.9823
36 | 2600592.5937 | 1202360.8753
37 | 2600600.094 | 1202399.695
38 | 2600583.9949 | 1202360.4188
39 | 2600600.3423 | 1202358.4842
40 | 2600592.8119 | 1202389.2129
41 | 2600577.9346 | 1202393.7889
42 | 2600582.3818 | 1202360.9139
43 | 2600602.5404 | 1202354.7141
44 | 2600556.9376 | 1202368.7236
45 | 2600658.2597 | 1202409.1297
46 | 2600564.24 | 1202322.7967
47 | 2600625.0141 | 1202350.5676
48 | 2600688.8666 | 1202480.4439
49 | 2600550.0263 | 1202448.5413
50 | 2600608.6669 | 1202426.4788
51 | 2600666.1399 | 1202493.9089
52 | 2600554.7308 | 1202325.6962
53 | 2600613.4418 | 1202428.5758
54 | 2600562.1888 | 1202443.9654
55 | 2600562.3031 | 1202398.597
56 | 2600593.6028 | 1202432.1464
57 | 2600577.7501 | 1202438.1107
58 | 2600651.2935 | 1202366.8173

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1