## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_351-366_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_351-366_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_351-366_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_351-366_0_5_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_351-366_0_5_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_351-366_0_5_node_7 | 0.4 | n |  | TRUE
6 | bus_LV_351-366_0_5_node_76 | 0.4 | n |  | TRUE
7 | bus_LV_351-366_0_5_node_71 | 0.4 | n |  | TRUE
8 | bus_LV_351-366_0_5_node_77 | 0.4 | n |  | TRUE
9 | bus_LV_351-366_0_5_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_351-366_0_5_node_66 | 0.4 | n |  | TRUE
11 | bus_LV_351-366_0_5_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_351-366_0_5_node_59 | 0.4 | n |  | TRUE
13 | bus_LV_351-366_0_5_node_69 | 0.4 | n |  | TRUE
14 | bus_LV_351-366_0_5_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_351-366_0_5_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_351-366_0_5_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_351-366_0_5_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_351-366_0_5_node_118 | 0.4 | n |  | TRUE
19 | bus_LV_351-366_0_5_node_116 | 0.4 | n |  | TRUE
20 | bus_LV_351-366_0_5_node_117 | 0.4 | n |  | TRUE
21 | bus_LV_351-366_0_5_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_351-366_0_5_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_351-366_0_5_node_105 | 0.4 | n |  | TRUE
24 | bus_LV_351-366_0_5_node_100 | 0.4 | n |  | TRUE
25 | bus_LV_351-366_0_5_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_351-366_0_5_node_24 | 0.4 | n |  | TRUE
27 | bus_LV_351-366_0_5_node_102 | 0.4 | n |  | TRUE
28 | bus_LV_351-366_0_5_node_115 | 0.4 | n |  | TRUE
29 | bus_LV_351-366_0_5_node_67 | 0.4 | n |  | TRUE
30 | bus_LV_351-366_0_5_node_119 | 0.4 | n |  | TRUE
31 | bus_LV_351-366_0_5_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_351-366_0_5_node_93 | 0.4 | n |  | TRUE
33 | bus_LV_351-366_0_5_node_97 | 0.4 | n |  | TRUE
34 | bus_LV_351-366_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_351-366_0_5_node_83 | 0.4 | n |  | TRUE
36 | bus_LV_351-366_0_5_node_90 | 0.4 | n |  | TRUE
37 | bus_LV_351-366_0_5_node_28 | 0.4 | n |  | TRUE
38 | bus_LV_351-366_0_5_node_58 | 0.4 | n |  | TRUE
39 | bus_LV_351-366_0_5_node_112 | 0.4 | n |  | TRUE
40 | bus_LV_351-366_0_5_node_86 | 0.4 | n |  | TRUE
41 | bus_LV_351-366_0_5_node_87 | 0.4 | n |  | TRUE
42 | bus_LV_351-366_0_5_node_92 | 0.4 | n |  | TRUE
43 | bus_LV_351-366_0_5_node_70 | 0.4 | n |  | TRUE
44 | bus_LV_351-366_0_5_node_84 | 0.4 | n |  | TRUE
45 | bus_LV_351-366_0_5_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_351-366_0_5_node_103 | 0.4 | n |  | TRUE
47 | bus_LV_351-366_0_5_node_89 | 0.4 | n |  | TRUE
48 | bus_LV_351-366_0_5_node_80 | 0.4 | n |  | TRUE
49 | bus_LV_351-366_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_351-366_0_5_node_48 | 0.4 | n |  | TRUE
51 | bus_LV_351-366_0_5_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_351-366_0_5_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_351-366_0_5_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_351-366_0_5_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_351-366_0_5_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_351-366_0_5_node_95 | 0.4 | n |  | TRUE
57 | bus_LV_351-366_0_5_node_54 | 0.4 | n |  | TRUE
58 | bus_LV_351-366_0_5_node_33 | 0.4 | n |  | TRUE
59 | bus_LV_351-366_0_5_node_34 | 0.4 | n |  | TRUE
60 | bus_LV_351-366_0_5_node_35 | 0.4 | n |  | TRUE
61 | bus_LV_351-366_0_5_node_36 | 0.4 | n |  | TRUE
62 | bus_LV_351-366_0_5_node_37 | 0.4 | n |  | TRUE
63 | bus_LV_351-366_0_5_node_38 | 0.4 | n |  | TRUE
64 | bus_LV_351-366_0_5_node_75 | 0.4 | n |  | TRUE
65 | bus_LV_351-366_0_5_node_85 | 0.4 | n |  | TRUE
66 | bus_LV_351-366_0_5_node_81 | 0.4 | n |  | TRUE
67 | bus_LV_351-366_0_5_node_64 | 0.4 | n |  | TRUE
68 | bus_LV_351-366_0_5_node_73 | 0.4 | n |  | TRUE
69 | bus_LV_351-366_0_5_node_55 | 0.4 | n |  | TRUE
70 | bus_LV_351-366_0_5_node_39 | 0.4 | n |  | TRUE
71 | bus_LV_351-366_0_5_node_40 | 0.4 | n |  | TRUE
72 | bus_LV_351-366_0_5_node_41 | 0.4 | n |  | TRUE
73 | bus_LV_351-366_0_5_node_43 | 0.4 | n |  | TRUE
74 | bus_LV_351-366_0_5_node_45 | 0.4 | n |  | TRUE
75 | bus_LV_351-366_0_5_node_46 | 0.4 | n |  | TRUE
76 | bus_LV_351-366_0_5_node_42 | 0.4 | n |  | TRUE
77 | bus_LV_351-366_0_5_node_63 | 0.4 | n |  | TRUE
78 | bus_LV_351-366_0_5_node_91 | 0.4 | n |  | TRUE
79 | bus_LV_351-366_0_5_node_79 | 0.4 | n |  | TRUE
80 | bus_LV_351-366_0_5_node_44 | 0.4 | n |  | TRUE
81 | bus_LV_351-366_0_5_node_82 | 0.4 | n |  | TRUE
82 | bus_LV_351-366_0_5_node_61 | 0.4 | n |  | TRUE
83 | bus_LV_351-366_0_5_node_94 | 0.4 | n |  | TRUE
84 | bus_LV_351-366_0_5_node_96 | 0.4 | n |  | TRUE
85 | bus_LV_351-366_0_5_node_65 | 0.4 | n |  | TRUE
86 | bus_LV_351-366_0_5_node_60 | 0.4 | n |  | TRUE
87 | bus_LV_351-366_0_5_node_52 | 0.4 | n |  | TRUE
88 | bus_LV_351-366_0_5_node_53 | 0.4 | n |  | TRUE
89 | bus_LV_351-366_0_5_node_57 | 0.4 | n |  | TRUE
90 | bus_LV_351-366_0_5_node_74 | 0.4 | n |  | TRUE
91 | bus_LV_351-366_0_5_node_62 | 0.4 | n |  | TRUE
92 | bus_LV_351-366_0_5_node_113 | 0.4 | n |  | TRUE
93 | bus_LV_351-366_0_5_node_104 | 0.4 | n |  | TRUE
94 | bus_LV_351-366_0_5_node_72 | 0.4 | n |  | TRUE
95 | bus_LV_351-366_0_5_node_78 | 0.4 | n |  | TRUE
96 | bus_LV_351-366_0_5_node_99 | 0.4 | n |  | TRUE
97 | bus_LV_351-366_0_5_node_106 | 0.4 | n |  | TRUE
98 | bus_LV_351-366_0_5_node_107 | 0.4 | n |  | TRUE
99 | bus_LV_351-366_0_5_node_108 | 0.4 | n |  | TRUE
100 | bus_LV_351-366_0_5_node_109 | 0.4 | n |  | TRUE
101 | bus_LV_351-366_0_5_node_110 | 0.4 | n |  | TRUE
102 | bus_LV_351-366_0_5_node_114 | 0.4 | n |  | TRUE
103 | bus_MV_405_1_node_89 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_351-366_0_5_load_0 | 0 | 0.0022118 | 0.00055433 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_351-366_0_5_load_1 | 1 | 0.011152 | 0.0027949 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_351-366_0_5_load_76 | 6 | 0.0074442 | 0.0018657 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_351-366_0_5_load_71 | 7 | 0.024374 | 0.0061088 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_351-366_0_5_load_66 | 10 | 0.0056788 | 0.0014232 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_351-366_0_5_load_59 | 12 | 0.0022793 | 0.00057125 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_351-366_0_5_load_69 | 13 | 0.0049603 | 0.0012432 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_351-366_0_5_load_118 | 18 | 0.017341 | 0.0043462 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_351-366_0_5_load_116 | 19 | 0.017342 | 0.0043463 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_351-366_0_5_load_117 | 20 | 0.0077434 | 0.0019407 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_351-366_0_5_load_105 | 23 | 0.034546 | 0.0086582 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_351-366_0_5_load_100 | 24 | 0.0018352 | 0.00045994 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_351-366_0_5_load_102 | 27 | 0.0014762 | 0.00036997 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_351-366_0_5_load_115 | 28 | 0.011542 | 0.0028927 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_351-366_0_5_load_119 | 30 | 0.0032715 | 0.0008199 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_351-366_0_5_load_97 | 33 | 0.014536 | 0.0036432 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_351-366_0_5_load_83 | 35 | 0.0062524 | 0.001567 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_351-366_0_5_load_58 | 38 | 0.0071959 | 0.0018035 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_351-366_0_5_load_112 | 39 | 0.0019941 | 0.00049976 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_351-366_0_5_load_86 | 40 | 0.0035444 | 0.0008883 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_351-366_0_5_load_87 | 41 | 0.0074415 | 0.001865 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_351-366_0_5_load_92 | 42 | 0.0038564 | 0.0009665 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_351-366_0_5_load_84 | 44 | 0.0029081 | 0.00072883 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_351-366_0_5_load_32 | 45 | 0.0020798 | 0.00052124 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_351-366_0_5_load_103 | 46 | 0.0013989 | 0.00035061 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_351-366_0_5_load_89 | 47 | 0.0045407 | 0.001138 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_351-366_0_5_load_47 | 49 | 0.0032259 | 0.00080848 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_351-366_0_5_load_29 | 51 | 0.0055111 | 0.0013812 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_351-366_0_5_load_56 | 55 | 0.0057398 | 0.0014385 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_351-366_0_5_load_95 | 56 | 0.016291 | 0.0040829 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_351-366_0_5_load_33 | 58 | 0.00473 | 0.0011854 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_351-366_0_5_load_34 | 59 | 0.0022469 | 0.00056313 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_351-366_0_5_load_36 | 61 | 0.0040169 | 0.0010067 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_351-366_0_5_load_37 | 62 | 0.0029466 | 0.00073848 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_351-366_0_5_load_38 | 63 | 0.0046156 | 0.0011568 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_351-366_0_5_load_75 | 64 | 0.0027833 | 0.00069757 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_351-366_0_5_load_81 | 66 | 0.0043541 | 0.0010912 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_351-366_0_5_load_64 | 67 | 0.0064129 | 0.0016072 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_351-366_0_5_load_73 | 68 | 0.0076881 | 0.0019268 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_351-366_0_5_load_55 | 69 | 0.0056705 | 0.0014212 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_351-366_0_5_load_39 | 70 | 0.0091043 | 0.0022818 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_351-366_0_5_load_43 | 73 | 0.0095352 | 0.0023897 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_351-366_0_5_load_45 | 74 | 0.0049964 | 0.0012522 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_351-366_0_5_load_46 | 75 | 0.0062885 | 0.001576 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_351-366_0_5_load_63 | 77 | 0.013163 | 0.0032989 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_351-366_0_5_load_91 | 78 | 0.0095428 | 0.0023917 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_351-366_0_5_load_79 | 79 | 0.0045398 | 0.0011378 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_351-366_0_5_load_44 | 80 | 0.0065978 | 0.0016536 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_351-366_0_5_load_82 | 81 | 0.0045276 | 0.0011347 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_351-366_0_5_load_96 | 84 | 0.0080959 | 0.002029 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_351-366_0_5_load_65 | 85 | 0.017087 | 0.0042824 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_351-366_0_5_load_60 | 86 | 0.004276 | 0.0010717 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_351-366_0_5_load_52 | 87 | 0.0051637 | 0.0012941 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_351-366_0_5_load_53 | 88 | 0.0016355 | 0.00040989 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_351-366_0_5_load_57 | 89 | 0.0034789 | 0.0008719 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_351-366_0_5_load_74 | 90 | 0.0030674 | 0.00076876 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_351-366_0_5_load_104 | 93 | 0.0016492 | 0.00041332 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_351-366_0_5_load_72 | 94 | 0.017084 | 0.0042816 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_351-366_0_5_load_99 | 96 | 0.0035443 | 0.00088828 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_351-366_0_5_load_106 | 97 | 0.0056129 | 0.0014067 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_351-366_0_5_load_109 | 100 | 0.012783 | 0.0032036 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_351-366_0_5_load_114 | 102 | 0.0044394 | 0.0011126 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 96 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_351-366_0_5_line_0 |  | 0 | 1 | 0.016434 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
1 | LV_351-366_0_5_line_1 |  | 0 | 2 | 0.014352 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
2 | LV_351-366_0_5_line_2 |  | 2 | 3 | 0.023308 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
3 | LV_351-366_0_5_line_3 |  | 3 | 7 | 0.01634 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
4 | LV_351-366_0_5_line_4 |  | 3 | 8 | 0.008146 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
5 | LV_351-366_0_5_line_5 |  | 4 | 5 | 0.049612 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
6 | LV_351-366_0_5_line_6 |  | 4 | 6 | 0.011965 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
7 | LV_351-366_0_5_line_7 |  | 5 | 9 | 0.031446 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
8 | LV_351-366_0_5_line_8 |  | 5 | 10 | 0.016753 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
9 | LV_351-366_0_5_line_9 |  | 6 | 8 | 0.018264 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
10 | LV_351-366_0_5_line_10 |  | 7 | 11 | 0.026837 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
11 | LV_351-366_0_5_line_11 |  | 9 | 24 | 0.037605 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
12 | LV_351-366_0_5_line_12 |  | 9 | 21 | 0.045729 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 2 | cs | TRUE
13 | LV_351-366_0_5_line_13 |  | 10 | 14 | 0.035812 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
14 | LV_351-366_0_5_line_14 |  | 11 | 12 | 0.017297 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
15 | LV_351-366_0_5_line_15 |  | 11 | 13 | 0.029492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
16 | LV_351-366_0_5_line_16 |  | 12 | 37 | 0.014804 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
17 | LV_351-366_0_5_line_17 |  | 13 | 43 | 0.021926 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
18 | LV_351-366_0_5_line_18 |  | 14 | 15 | 0.043636 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
19 | LV_351-366_0_5_line_19 |  | 15 | 19 | 0.026797 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
20 | LV_351-366_0_5_line_20 |  | 15 | 16 | 0.04108 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
21 | LV_351-366_0_5_line_21 |  | 16 | 17 | 0.042905 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
22 | LV_351-366_0_5_line_22 |  | 16 | 18 | 0.029206 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
23 | LV_351-366_0_5_line_23 |  | 17 | 20 | 0.02793 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
24 | LV_351-366_0_5_line_24 |  | 21 | 22 | 0.046578 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
25 | LV_351-366_0_5_line_25 |  | 21 | 23 | 0.033707 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
26 | LV_351-366_0_5_line_26 |  | 22 | 28 | 0.018547 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
27 | LV_351-366_0_5_line_27 |  | 22 | 25 | 0.084978 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
28 | LV_351-366_0_5_line_28 |  | 25 | 26 | 0.0083524 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
29 | LV_351-366_0_5_line_29 |  | 25 | 27 | 0.019349 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
30 | LV_351-366_0_5_line_30 |  | 26 | 29 | 0.032413 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
31 | LV_351-366_0_5_line_31 |  | 26 | 30 | 0.016314 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
32 | LV_351-366_0_5_line_32 |  | 27 | 46 | 0.028025 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
33 | LV_351-366_0_5_line_33 |  | 29 | 39 | 0.0031928 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
34 | LV_351-366_0_5_line_34 |  | 31 | 32 | 0.033568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
35 | LV_351-366_0_5_line_35 |  | 31 | 33 | 0.017127 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
36 | LV_351-366_0_5_line_36 |  | 32 | 42 | 0.014675 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
37 | LV_351-366_0_5_line_37 |  | 34 | 35 | 0.04442 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
38 | LV_351-366_0_5_line_38 |  | 34 | 36 | 0.026137 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
39 | LV_351-366_0_5_line_39 |  | 36 | 47 | 0.015377 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
40 | LV_351-366_0_5_line_40 |  | 36 | 48 | 0.035312 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
41 | LV_351-366_0_5_line_41 |  | 37 | 38 | 0.0047627 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
42 | LV_351-366_0_5_line_42 |  | 39 | 92 | 0.0193 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
43 | LV_351-366_0_5_line_43 |  | 40 | 41 | 0.0024683 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
44 | LV_351-366_0_5_line_44 |  | 41 | 95 | 0.021674 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
45 | LV_351-366_0_5_line_45 |  | 42 | 78 | 0.00067438 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
46 | LV_351-366_0_5_line_46 |  | 43 | 94 | 0.027813 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
47 | LV_351-366_0_5_line_47 |  | 43 | 68 | 0.002781 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
48 | LV_351-366_0_5_line_48 |  | 44 | 45 | 0.0080246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
49 | LV_351-366_0_5_line_49 |  | 45 | 52 | 0.031198 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
50 | LV_351-366_0_5_line_50 |  | 46 | 93 | 0.02507 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
51 | LV_351-366_0_5_line_51 |  | 47 | 80 | 0.003149 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
52 | LV_351-366_0_5_line_52 |  | 48 | 79 | 0.013936 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
53 | LV_351-366_0_5_line_53 |  | 49 | 50 | 0.018246 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
54 | LV_351-366_0_5_line_54 |  | 50 | 54 | 0.013217 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
55 | LV_351-366_0_5_line_55 |  | 51 | 52 | 0.015718 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
56 | LV_351-366_0_5_line_56 |  | 52 | 53 | 0.006429 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
57 | LV_351-366_0_5_line_57 |  | 53 | 54 | 0.012887 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
58 | LV_351-366_0_5_line_58 |  | 53 | 55 | 0.017901 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
59 | LV_351-366_0_5_line_59 |  | 54 | 56 | 0.023163 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
60 | LV_351-366_0_5_line_60 |  | 55 | 57 | 0.045022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
61 | LV_351-366_0_5_line_61 |  | 57 | 89 | 0.010255 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
62 | LV_351-366_0_5_line_62 |  | 57 | 87 | 0.0026103 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
63 | LV_351-366_0_5_line_63 |  | 58 | 59 | 0.030325 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
64 | LV_351-366_0_5_line_64 |  | 58 | 60 | 0.0023041 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
65 | LV_351-366_0_5_line_65 |  | 59 | 61 | 0.0080725 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
66 | LV_351-366_0_5_line_66 |  | 60 | 62 | 0.010964 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
67 | LV_351-366_0_5_line_67 |  | 60 | 63 | 0.028885 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
68 | LV_351-366_0_5_line_68 |  | 61 | 64 | 0.025321 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
69 | LV_351-366_0_5_line_69 |  | 62 | 65 | 0.034338 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
70 | LV_351-366_0_5_line_70 |  | 63 | 66 | 0.028606 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
71 | LV_351-366_0_5_line_71 |  | 65 | 67 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
72 | LV_351-366_0_5_line_72 |  | 65 | 68 | 0.013824 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
73 | LV_351-366_0_5_line_73 |  | 66 | 69 | 0.032186 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
74 | LV_351-366_0_5_line_74 |  | 67 | 91 | 0.0052762 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
75 | LV_351-366_0_5_line_75 |  | 69 | 88 | 0.011853 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
76 | LV_351-366_0_5_line_76 |  | 70 | 71 | 0.012628 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
77 | LV_351-366_0_5_line_77 |  | 70 | 72 | 0.024159 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
78 | LV_351-366_0_5_line_78 |  | 71 | 73 | 0.02378 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
79 | LV_351-366_0_5_line_79 |  | 72 | 74 | 0.003492 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
80 | LV_351-366_0_5_line_80 |  | 72 | 75 | 0.018842 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
81 | LV_351-366_0_5_line_81 |  | 73 | 79 | 0.0024727 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
82 | LV_351-366_0_5_line_82 |  | 74 | 81 | 0.020602 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
83 | LV_351-366_0_5_line_83 |  | 75 | 82 | 0.017986 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
84 | LV_351-366_0_5_line_84 |  | 76 | 77 | 0.023528 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
85 | LV_351-366_0_5_line_85 |  | 76 | 78 | 0.021111 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
86 | LV_351-366_0_5_line_86 |  | 77 | 82 | 0.029072 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
87 | LV_351-366_0_5_line_87 |  | 82 | 86 | 0.0091175 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
88 | LV_351-366_0_5_line_88 |  | 83 | 84 | 0.022154 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
89 | LV_351-366_0_5_line_89 |  | 83 | 85 | 0.026022 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
90 | LV_351-366_0_5_line_90 |  | 84 | 96 | 0.0021233 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
91 | LV_351-366_0_5_line_91 |  | 85 | 91 | 0.027874 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 4 | cs | TRUE
92 | LV_351-366_0_5_line_92 |  | 86 | 91 | 0.024285 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
93 | LV_351-366_0_5_line_93 |  | 87 | 88 | 0.020105 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
94 | LV_351-366_0_5_line_94 |  | 89 | 90 | 0.020922 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
95 | LV_351-366_0_5_line_95 |  | 92 | 101 | 0.009778 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
96 | LV_351-366_0_5_line_96 |  | 94 | 95 | 0.025174 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
97 | LV_351-366_0_5_line_97 |  | 97 | 98 | 0.029764 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
98 | LV_351-366_0_5_line_98 |  | 97 | 99 | 0.041117 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
99 | LV_351-366_0_5_line_99 |  | 98 | 100 | 0.026474 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
100 | LV_351-366_0_5_line_100 |  | 99 | 101 | 0.012828 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE
101 | LV_351-366_0_5_line_101 |  | 101 | 102 | 0.0094568 | 0.125 | 0.08 | 261 | 0 | 0.364 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_351-366_0_5_trafo_99 | 0.63 MVA 20/0.4 kV | 103 | 96 | 0.63 | 20 | 0.4 | 6 | 1.206 | 1.65 | 0.2619 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22
0 | 2601016.5435 | 1202448.5436 | 2601003.968 | 1202459.1234
1 | 2601025.0039 | 1202437.0698 | 2601018.6865 | 1202446.7407 | 2601016.5435 | 1202448.5436
2 | 2601005.1907 | 1202424.7934 | 2601010.2582 | 1202427.9292 | 2601022.805 | 1202435.7021 | 2601025.0039 | 1202437.0698
3 | 2601005.1907 | 1202424.7934 | 2601017.8277 | 1202414.434
4 | 2601005.1907 | 1202424.7934 | 2600998.8588 | 1202429.9396
5 | 2600938.4569 | 1202466.5392 | 2600940.9534 | 1202462.8821 | 2600948.8817 | 1202468.0193 | 2600949.4983 | 1202466.3519 | 2600950.3736 | 1202464.8067 | 2600951.4696 | 1202463.4061 | 2600952.7709 | 1202462.1945 | 2600954.9018 | 1202460.8386 | 2600957.2761 | 1202459.9829 | 2600959.7796 | 1202459.6609 | 2600962.2907 | 1202459.8947 | 2600967.7783 | 1202452.1135 | 2600969.4527 | 1202449.7903 | 2600975.5708 | 1202449.2131
6 | 2600975.5708 | 1202449.2131 | 2600984.7885 | 1202441.5845
7 | 2600938.4569 | 1202466.5392 | 2600942.3982 | 1202469.3413 | 2600943.1514 | 1202470.2419 | 2600943.6231 | 1202471.2203 | 2600944.1553 | 1202474.3554 | 2600944.5962 | 1202476.9902 | 2600944.5276 | 1202478.0352 | 2600944.2003 | 1202478.9357 | 2600943.5838 | 1202479.6582 | 2600941.5366 | 1202481.4366 | 2600944.9907 | 1202485.1169 | 2600946.6037 | 1202486.8847 | 2600948.5742 | 1202489.0418 | 2600950.2404 | 1202490.8652
8 | 2600938.4569 | 1202466.5392 | 2600924.6009 | 1202457.1234
9 | 2600998.8588 | 1202429.9396 | 2600984.7885 | 1202441.5845
10 | 2601038.89 | 1202397.8175 | 2601031.3861 | 1202403.3193 | 2601017.8277 | 1202414.434
11 | 2600950.2404 | 1202490.8652 | 2600953.3521 | 1202494.2564 | 2600948.8315 | 1202498.5914 | 2600947.8192 | 1202500.1032 | 2600946.8145 | 1202502.1152 | 2600946.312 | 1202503.7827 | 2600945.9542 | 1202505.3057 | 2600945.8779 | 1202506.8065 | 2600946.0602 | 1202508.4519 | 2600946.6231 | 1202510.3752 | 2600948.2661 | 1202514.6889 | 2600951.0123 | 1202519.9477 | 2600953.0645 | 1202522.9709
12 | 2600917.4571 | 1202504.3567 | 2600919.8688 | 1202507.6699 | 2600925.2949 | 1202503.6796 | 2600930.2566 | 1202500.8344 | 2600931.0554 | 1202502.1908 | 2600932.1434 | 1202503.3249 | 2600933.4597 | 1202504.1811 | 2600934.9435 | 1202504.7038 | 2600936.511 | 1202504.8819 | 2600938.0709 | 1202504.6931 | 2600939.7299 | 1202504.0597 | 2600941.1606 | 1202503.0149 | 2600942.2794 | 1202501.6476 | 2600943.0025 | 1202500.0247 | 2600943.2767 | 1202498.2793 | 2600943.0943 | 1202496.5228 | 2600950.2404 | 1202490.8652
13 | 2600894.9806 | 1202436.9949 | 2600924.6009 | 1202457.1234
14 | 2601038.89 | 1202397.8175 | 2601044.986 | 1202393.3494 | 2601052.7403 | 1202387.4579
15 | 2601038.89 | 1202397.8175 | 2601035.0252 | 1202392.5029 | 2601032.0428 | 1202388.9338 | 2601026.2302 | 1202382.2182 | 2601018.628 | 1202376.7103
16 | 2601063.9591 | 1202377.8108 | 2601055.3286 | 1202385.4913 | 2601052.7403 | 1202387.4579
17 | 2601000.4442 | 1202364.4601 | 2601017.2824 | 1202375.7355 | 2601018.628 | 1202376.7103
18 | 2600882.6221 | 1202441.7291 | 2600889.6981 | 1202448.1335 | 2600896.4544 | 1202454.5824 | 2600899.1637 | 1202451.9925 | 2600902.4286 | 1202448.8579 | 2600893.0246 | 1202439.8073 | 2600894.9806 | 1202436.9949
19 | 2600882.6221 | 1202441.7291 | 2600861.3685 | 1202458.0505
20 | 2600848.5727 | 1202418.8122 | 2600866.5449 | 1202429.9873 | 2600876.9309 | 1202437.237 | 2600882.6221 | 1202441.7291
21 | 2600811.8443 | 1202396.4621 | 2600848.5727 | 1202418.8122
22 | 2600848.5727 | 1202418.8122 | 2600824.7539 | 1202435.7129
23 | 2600811.8443 | 1202396.4621 | 2600789.4569 | 1202413.1623
24 | 2600914.4998 | 1202538.697 | 2600915.2916 | 1202535.6622 | 2600910.8783 | 1202534.5721 | 2600913.6496 | 1202523.8222 | 2600910.7054 | 1202519.6751 | 2600922.3186 | 1202510.9053 | 2600919.8688 | 1202507.6699 | 2600917.4571 | 1202504.3567
25 | 2600917.4571 | 1202504.3567 | 2600901.2855 | 1202516.2386 | 2600898.7742 | 1202517.6835 | 2600896.0955 | 1202518.8504 | 2600892.9831 | 1202519.7616 | 2600890.2209 | 1202520.2503 | 2600888.4501 | 1202520.3309
26 | 2600914.4998 | 1202538.697 | 2600916.1662 | 1202539.1642 | 2600923.7829 | 1202540.944 | 2600932.5334 | 1202543.0242
27 | 2600847.1342 | 1202538.1876 | 2600849.3792 | 1202536.3758 | 2600853.2604 | 1202533.2302 | 2600857.3014 | 1202529.9734 | 2600861.1141 | 1202526.8945 | 2600863.6787 | 1202524.827 | 2600864.744 | 1202525.3941 | 2600867.5288 | 1202526.862 | 2600871.8582 | 1202529.1638 | 2600874.917 | 1202530.4871 | 2600877.291 | 1202531.2545 | 2600879.5586 | 1202531.6662 | 2600882.7316 | 1202532.0779 | 2600887.4875 | 1202532.1564 | 2600890.7747 | 1202531.89 | 2600895.2113 | 1202529.5005 | 2600899.8822 | 1202538.9173 | 2600900.8865 | 1202540.107 | 2600901.7538 | 1202540.852 | 2600907.0726 | 1202542.0645 | 2600907.9101 | 1202538.7072 | 2600914.1115 | 1202540.1755 | 2600914.4998 | 1202538.697
28 | 2600840.6351 | 1202543.4341 | 2600843.7933 | 1202540.8775 | 2600847.1342 | 1202538.1876
29 | 2600847.1342 | 1202538.1876 | 2600856.7811 | 1202551.9297 | 2600858.1745 | 1202554.0757
30 | 2600825.6646 | 1202566.8115 | 2600841.6005 | 1202551.1939 | 2600842.8106 | 1202550.0046 | 2600844.3098 | 1202548.6707 | 2600840.6351 | 1202543.4341
31 | 2600840.6351 | 1202543.4341 | 2600830.3378 | 1202530.7802
32 | 2600858.1745 | 1202554.0757 | 2600863.4227 | 1202562.1583 | 2600872.558 | 1202578.1161
33 | 2600825.6646 | 1202566.8115 | 2600823.3852 | 1202569.0473
34 | 2600887.6045 | 1202399.7515 | 2600891.1274 | 1202401.9087 | 2600894.2775 | 1202403.7657 | 2600891.5831 | 1202408.2456 | 2600892.2755 | 1202408.6903 | 2600895.943 | 1202410.9476 | 2600895.0601 | 1202412.5372 | 2600896.3003 | 1202413.2823 | 2600904.6929 | 1202418.3417 | 2600906.7093 | 1202419.5649
35 | 2600906.7093 | 1202419.5649 | 2600921.1855 | 1202428.718
36 | 2600887.6045 | 1202399.7515 | 2600889.7889 | 1202396.2499 | 2600896.5926 | 1202390.3477 | 2600897.8858 | 1202389.5091
37 | 2600806.3407 | 1202350.5144 | 2600800.71 | 1202347.123 | 2600798.9372 | 1202344.9883 | 2600798.5876 | 1202341.8421 | 2600799.5619 | 1202339.4076 | 2600801.5407 | 1202337.1288 | 2600806.2817 | 1202335.0727 | 2600827.2662 | 1202332.8809
38 | 2600828.8406 | 1202363.9133 | 2600808.8441 | 1202351.8265 | 2600806.3407 | 1202350.5144
39 | 2600828.8406 | 1202363.9133 | 2600830.8193 | 1202361.7457 | 2600834.2437 | 1202361.5461 | 2600841.121 | 1202355.722
40 | 2600859.0634 | 1202382.3161 | 2600836.5028 | 1202368.539 | 2600828.8406 | 1202363.9133
41 | 2601063.9591 | 1202377.8108 | 2601067.5175 | 1202374.6452
42 | 2600809.607 | 1202582.5624 | 2600823.3852 | 1202569.0473
43 | 2600953.3267 | 1202424.1805 | 2600955.2284 | 1202422.6071
44 | 2600971.7722 | 1202408.9019 | 2600966.1402 | 1202415.3823 | 2600961.7871 | 1202418.2165 | 2600955.4706 | 1202422.4068 | 2600955.2284 | 1202422.6071
45 | 2600898.4517 | 1202389.1422 | 2600897.8858 | 1202389.5091
46 | 2601000.4442 | 1202364.4601 | 2600985.6956 | 1202388.0409
47 | 2601000.4442 | 1202364.4601 | 2600998.1615 | 1202362.9255 | 2600998.1358 | 1202362.9092
48 | 2600807.1083 | 1202303.1329 | 2600802.0318 | 1202303.6997 | 2600800.1825 | 1202304.2775 | 2600799.2509 | 1202304.5788
49 | 2600820.9293 | 1202281.4456 | 2600822.7627 | 1202285.9927 | 2600822.2521 | 1202291.729 | 2600821.4528 | 1202294.3859 | 2600820.372 | 1202296.3869 | 2600818.8726 | 1202298.2988 | 2600817.3353 | 1202299.7328 | 2600815.3262 | 1202301.111 | 2600812.9518 | 1202302.0779 | 2600810.3873 | 1202302.7669 | 2600807.1083 | 1202303.1329
50 | 2600872.558 | 1202578.1161 | 2600885.0134 | 1202599.8735
51 | 2600843.5241 | 1202353.6869 | 2600841.121 | 1202355.722
52 | 2600859.0634 | 1202382.3161 | 2600860.3801 | 1202380.0928 | 2600868.9791 | 1202372.6814
53 | 2600825.4307 | 1202249.729 | 2600828.4519 | 1202248.1174 | 2600831.2612 | 1202237.9567 | 2600832.4044 | 1202233.8321
54 | 2600825.4307 | 1202249.729 | 2600826.2674 | 1202252.7196 | 2600826.2516 | 1202256.9107 | 2600825.3301 | 1202262.7582
55 | 2600820.9293 | 1202281.4456 | 2600818.7908 | 1202283.313 | 2600813.3421 | 1202284.8353 | 2600806.1398 | 1202284.314
56 | 2600820.9293 | 1202281.4456 | 2600822.2309 | 1202279.0222 | 2600823.1293 | 1202275.4537
57 | 2600823.1293 | 1202275.4537 | 2600824.6828 | 1202266.8492 | 2600825.3301 | 1202262.7582
58 | 2600823.1293 | 1202275.4537 | 2600829.8104 | 1202276.9331 | 2600840.7001 | 1202278.8552
59 | 2600825.3301 | 1202262.7582 | 2600848.1045 | 1202266.9822
60 | 2600885.2307 | 1202285.3894 | 2600881.1215 | 1202284.9442 | 2600871.016 | 1202283.8422 | 2600846.5133 | 1202279.8813 | 2600840.7001 | 1202278.8552
61 | 2600885.2307 | 1202285.3894 | 2600884.9185 | 1202286.8902 | 2600880.5123 | 1202287.9902 | 2600876.4375 | 1202288.9245
62 | 2600885.2307 | 1202285.3894 | 2600887.8256 | 1202285.6722
63 | 2601038.0665 | 1202316.473 | 2601027.8615 | 1202316.8831 | 2601014.7579 | 1202315.9361 | 2601007.8199 | 1202315.2331
64 | 2601005.5275 | 1202315.0008 | 2601007.8199 | 1202315.2331
65 | 2601038.0665 | 1202316.473 | 2601046.1325 | 1202316.1489
66 | 2601005.5275 | 1202315.0008 | 2601005.3218 | 1202316.6683 | 2601002.9637 | 1202325.6482
67 | 2601005.5275 | 1202315.0008 | 2601000.5204 | 1202314.4997 | 2600991.7772 | 1202313.131 | 2600978.6282 | 1202309.6382 | 2600977.291 | 1202309.2313
68 | 2601071.4468 | 1202316.4077 | 2601067.1122 | 1202316.2447 | 2601049.0773 | 1202316.0305 | 2601046.1325 | 1202316.1489
69 | 2600986.4591 | 1202355.5086 | 2600990.1812 | 1202349.5282 | 2601001.4538 | 1202331.3979 | 2601002.9637 | 1202325.6482
70 | 2600977.291 | 1202309.2313 | 2600961.7051 | 1202304.4884 | 2600949.947 | 1202300.8281
71 | 2600986.4591 | 1202355.5086 | 2600975.9133 | 1202348.8256 | 2600975.7911 | 1202348.7506
72 | 2600986.4591 | 1202355.5086 | 2600998.1358 | 1202362.9092
73 | 2600919.2995 | 1202291.0038 | 2600930.1569 | 1202294.6674 | 2600949.947 | 1202300.8281
74 | 2600971.2947 | 1202345.9901 | 2600975.7911 | 1202348.7506
75 | 2600907.7229 | 1202288.5196 | 2600907.9832 | 1202288.5609 | 2600917.7309 | 1202290.4745 | 2600919.2995 | 1202291.0038
76 | 2600889.8931 | 1202357.529 | 2600896.4815 | 1202346.7563
77 | 2600905.4136 | 1202324.8357 | 2600905.3674 | 1202329.1603 | 2600904.1416 | 1202333.5514 | 2600901.9875 | 1202337.7533 | 2600896.4815 | 1202346.7563
78 | 2600889.8931 | 1202357.529 | 2600887.351 | 1202361.1195 | 2600882.4499 | 1202365.1655 | 2600875.2127 | 1202368.533 | 2600870.8521 | 1202371.0671
79 | 2600905.4136 | 1202324.8357 | 2600901.9218 | 1202324.8111
80 | 2600905.4136 | 1202324.8357 | 2600911.9808 | 1202324.87 | 2600924.1289 | 1202326.6291
81 | 2600870.8521 | 1202371.0671 | 2600868.9791 | 1202372.6814
82 | 2600881.4168 | 1202326.6375 | 2600898.9759 | 1202324.7904 | 2600901.9218 | 1202324.8111
83 | 2600941.5357 | 1202330.9887 | 2600938.3626 | 1202329.7542 | 2600926.7355 | 1202327.0066 | 2600924.1289 | 1202326.6291
84 | 2600914.4239 | 1202375.8757 | 2600926.7009 | 1202356.2891 | 2600926.9217 | 1202355.9418
85 | 2600914.4239 | 1202375.8757 | 2600909.8116 | 1202382.0562 | 2600907.8025 | 1202383.0786 | 2600898.4517 | 1202389.1422
86 | 2600941.5357 | 1202330.9887 | 2600940.7514 | 1202334.1903 | 2600926.9217 | 1202355.9418
87 | 2600941.5357 | 1202330.9887 | 2600948.9927 | 1202333.8802 | 2600949.997 | 1202334.3749
88 | 2600943.4824 | 1202392.122 | 2600938.2003 | 1202399.8142 | 2600934.4258 | 1202401.1366 | 2600930.8567 | 1202402.648 | 2600927.038 | 1202405.7936
89 | 2600943.4824 | 1202392.122 | 2600952.4943 | 1202377.5265 | 2600957.1548 | 1202369.9811
90 | 2600927.038 | 1202405.7936 | 2600925.3991 | 1202407.1436
91 | 2600971.2947 | 1202345.9901 | 2600969.0415 | 1202350.7367 | 2600957.1548 | 1202369.9811
92 | 2600971.2947 | 1202345.9901 | 2600961.9966 | 1202340.2856 | 2600949.997 | 1202334.3749
93 | 2600907.7229 | 1202288.5196 | 2600894.1186 | 1202286.3578 | 2600887.8256 | 1202285.6722
94 | 2600876.4375 | 1202288.9245 | 2600866.7992 | 1202291.1345 | 2600856.2421 | 1202294.3406
95 | 2600809.607 | 1202582.5624 | 2600811.4254 | 1202584.4081 | 2600816.4925 | 1202589.5226
96 | 2600971.7722 | 1202408.9019 | 2600973.7814 | 1202407.0901 | 2600985.6956 | 1202388.0409
97 | 2600757.647 | 1202547.9709 | 2600778.5096 | 1202569.1999
98 | 2600807.3298 | 1202598.5263 | 2600778.5096 | 1202569.1999
99 | 2600776.6269 | 1202529.4631 | 2600773.9405 | 1202531.9863 | 2600772.1445 | 1202533.7315 | 2600757.647 | 1202547.9709
100 | 2600816.4925 | 1202589.5226 | 2600807.3298 | 1202598.5263
101 | 2600816.4925 | 1202589.5226 | 2600823.0793 | 1202596.3083

## bus_geodata
| x | y | coords
0 | 2601016.5435 | 1202448.5436
1 | 2601003.968 | 1202459.1234
2 | 2601025.0039 | 1202437.0698
3 | 2601005.1907 | 1202424.7934
4 | 2600975.5708 | 1202449.2131
5 | 2600938.4569 | 1202466.5392
6 | 2600984.7885 | 1202441.5845
7 | 2601017.8277 | 1202414.434
8 | 2600998.8588 | 1202429.9396
9 | 2600950.2404 | 1202490.8652
10 | 2600924.6009 | 1202457.1234
11 | 2601038.89 | 1202397.8175
12 | 2601052.7403 | 1202387.4579
13 | 2601018.628 | 1202376.7103
14 | 2600894.9806 | 1202436.9949
15 | 2600882.6221 | 1202441.7291
16 | 2600848.5727 | 1202418.8122
17 | 2600811.8443 | 1202396.4621
18 | 2600824.7539 | 1202435.7129
19 | 2600861.3685 | 1202458.0505
20 | 2600789.4569 | 1202413.1623
21 | 2600917.4571 | 1202504.3567
22 | 2600914.4998 | 1202538.697
23 | 2600888.4501 | 1202520.3309
24 | 2600953.0645 | 1202522.9709
25 | 2600847.1342 | 1202538.1876
26 | 2600840.6351 | 1202543.4341
27 | 2600858.1745 | 1202554.0757
28 | 2600932.5334 | 1202543.0242
29 | 2600825.6646 | 1202566.8115
30 | 2600830.3378 | 1202530.7802
31 | 2600906.7093 | 1202419.5649
32 | 2600887.6045 | 1202399.7515
33 | 2600921.1855 | 1202428.718
34 | 2600806.3407 | 1202350.5144
35 | 2600827.2662 | 1202332.8809
36 | 2600828.8406 | 1202363.9133
37 | 2601063.9591 | 1202377.8108
38 | 2601067.5175 | 1202374.6452
39 | 2600823.3852 | 1202569.0473
40 | 2600953.3267 | 1202424.1805
41 | 2600955.2284 | 1202422.6071
42 | 2600897.8858 | 1202389.5091
43 | 2601000.4442 | 1202364.4601
44 | 2600799.2509 | 1202304.5788
45 | 2600807.1083 | 1202303.1329
46 | 2600872.558 | 1202578.1161
47 | 2600841.121 | 1202355.722
48 | 2600859.0634 | 1202382.3161
49 | 2600832.4044 | 1202233.8321
50 | 2600825.4307 | 1202249.729
51 | 2600806.1398 | 1202284.314
52 | 2600820.9293 | 1202281.4456
53 | 2600823.1293 | 1202275.4537
54 | 2600825.3301 | 1202262.7582
55 | 2600840.7001 | 1202278.8552
56 | 2600848.1045 | 1202266.9822
57 | 2600885.2307 | 1202285.3894
58 | 2601007.8199 | 1202315.2331
59 | 2601038.0665 | 1202316.473
60 | 2601005.5275 | 1202315.0008
61 | 2601046.1325 | 1202316.1489
62 | 2601002.9637 | 1202325.6482
63 | 2600977.291 | 1202309.2313
64 | 2601071.4468 | 1202316.4077
65 | 2600986.4591 | 1202355.5086
66 | 2600949.947 | 1202300.8281
67 | 2600975.7911 | 1202348.7506
68 | 2600998.1358 | 1202362.9092
69 | 2600919.2995 | 1202291.0038
70 | 2600896.4815 | 1202346.7563
71 | 2600889.8931 | 1202357.529
72 | 2600905.4136 | 1202324.8357
73 | 2600870.8521 | 1202371.0671
74 | 2600901.9218 | 1202324.8111
75 | 2600924.1289 | 1202326.6291
76 | 2600914.4239 | 1202375.8757
77 | 2600926.9217 | 1202355.9418
78 | 2600898.4517 | 1202389.1422
79 | 2600868.9791 | 1202372.6814
80 | 2600843.5241 | 1202353.6869
81 | 2600881.4168 | 1202326.6375
82 | 2600941.5357 | 1202330.9887
83 | 2600943.4824 | 1202392.122
84 | 2600927.038 | 1202405.7936
85 | 2600957.1548 | 1202369.9811
86 | 2600949.997 | 1202334.3749
87 | 2600887.8256 | 1202285.6722
88 | 2600907.7229 | 1202288.5196
89 | 2600876.4375 | 1202288.9245
90 | 2600856.2421 | 1202294.3406
91 | 2600971.2947 | 1202345.9901
92 | 2600809.607 | 1202582.5624
93 | 2600885.0134 | 1202599.8735
94 | 2600985.6956 | 1202388.0409
95 | 2600971.7722 | 1202408.9019
96 | 2600925.3991 | 1202407.1436
97 | 2600778.5096 | 1202569.1999
98 | 2600757.647 | 1202547.9709
99 | 2600807.3298 | 1202598.5263
100 | 2600776.6269 | 1202529.4631
101 | 2600816.4925 | 1202589.5226
102 | 2600823.0793 | 1202596.3083
103 | 2600915.8639 | 1202416.5312

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | FALSE | FALSE |  | 50 | 1